## Utility - IPP
Edit only values in cells with white backgrounds.
2007-01-19
Results
Equation |  |  |  | First Year PPA (cents/kWh) | 12.088
3.1 | Real LCOE (cents/kWh) | 9.383 |  | Actual IRR | 80.41%
3.2 | Nominal LCOE (cents/kWh) | 12.088 |  | Actual Min DSCR | 5 |  | PV Cost Stacked Bar Breakdown |  |  | CSP Cost Stacked Bar Breakdown |  |  | Generic Cost Stacked Bar Breakdown
[7 empty] | Stacked bar items highlighted |  |  | Stacked bar items highlighted |  |  | Stacked bar items highlighted
Values from SAM Inputs
| Financials |  |  | Array |  |  |  | Capital Costs |  |  | Capital Costs |  |  | Capital Costs
| General |  |  | Performance
| Analysis Period | 30 |  | System Degradation (%/yr) | 1% |  |  |  |  | Site Improvements | 100000
| Inflation Rate | 2.5% |  | Array Size (kW) | 1000 |  | Module | 100000 |  | Solar Field | 600000
| Real Discount Rate | 5.5% |  | Heat Rate (MMBtus/MWh) | 10 |  | Inverter | 150000 |  | HTF System | 50000
| Taxes and Insurance |  |  | Costs |  |  | Storage | 0 |  | Storage | 50000
| Federal Tax | 28% |  | Capital (Direct) Cost | 1000000 |  | BOS | 500000 |  | Fossil Backup | 0
| State Tax | 7% |  | Contingency | 10% |  | Installation | 250000 |  | Power Plant | 200000 |  | Direct | 1000000
| Property Tax | 3% |  | Total Capital (Direct) Cost | 1100000 |  | Contingency | 100000 |  | Contingency | 100000 |  | Contingency | 100000
| Sales Tax | 6% |  | Engineer, Procure, Construct | 5% |  | Total Direct | 1100000 |  | Total Direct | 1100000 |  | Total Direct | 1100000
| Insurance | 2% |  | Project, Land, Other | 10%
| Loan |  |  | % of Direct Costs Sales Tax Applies | 80% |  | Engineer, Procure, Construct | 55000 |  | Engineer, Procure, Construct | 55000 |  | Engineer, Procure, Construct | 55000
4.1.2 | Amount | 658900 |  | Total Indirect Cost | 217800 |  | Project, Land, Misc | 110000 |  | Project, Land, Misc | 110000 |  | Project, Land, Misc | 110000
| Loan (Debt) Percent | 50% |  | Total Installed Cost | 1317800 |  | Sales tax | 52800 |  | Sales tax | 52800 |  | Sales tax | 52800
| Term | 15 |  |  |  |  | Total Indirect | 217800 |  | Total Indirect | 217800 |  | Total Indirect | 217800
| Rate | 6% |  | Fixed O&M ($/kW-yr) | 150
| Depreciation |  |  | Fixed O&M Real Escalation | 1% |  | Total Installed Cost | 1317800 |  | Total Installed Cost | 1317800 |  | Total Installed Cost | 1317800
| Federal Type | MACRS (MidQuarter) |  | Variable O&M ($/MWh) | 0.1
| State Type | MACRS (MidQuarter) |  | Variable O&M Real Escalation | 2% |  |  | Present Value (nominal) |  |  | Present Value (nominal) |  |  | Present Value (nominal)
| Power Purchase Agreement |  |  | Fuel Cost ($/MMBtu) | 1.3
| PPA Escalation | 0% |  | Fuel Cost Escalation | 3% |  | Fixed | 2366084.8218 |  | Fixed | 2366084.8218 |  | Fixed | 2366084.8218
| Constraining Assumptions |  |  | Fixed (Annual) O&M ($/yr) | 1000 |  | Variable | 13750.2451 |  | Variable | 13750.2451 |  | Variable | 13750.2451
| Minimum Required IRR | 15% |  | Fixed (Annual) O&M Real Esc. | 4% |  | Fuel | 2259281.2516 |  | Fuel | 2259281.2516 |  | Fuel | 2259281.2516
| Minimum Required DSCR | 5 |  | Costs - Fixed Incentive/Buy-Downs |  |  | Fixed (Annual) | 22430.4767 |  | Fixed (Annual) | 22430.4767 |  | Fixed (Annual) | 22430.4767
| Positive Cashflow | no |  | Federal Fixed | 0 |  | O and M | 4661546.7953 |  | O and M | 4661546.7953 |  | O and M | 4661546.7953
|  |  |  | State Fixed | 0
|  |  |  | Utility Fixed | 0 |  | Property Taxes | 560563.0064 |  | Property Taxes | 560563.0064 |  | Property Taxes | 560563.0064
|  |  |  | Other Fixed | 0 |  | Insurance | 373708.671 |  | Insurance | 373708.671 |  | Insurance | 373708.671
|  |  |  | Federal CBI | 0 |  | Insurance and Property tax | 934271.6774 |  | Insurance and Property tax | 934271.6774 |  | Insurance and Property tax | 934271.6774
|  |  |  | State CBI | 0
|  |  |  | Utility CBI | 0
|  |  |  | Other CBI | 0
|  |  |  | Total Adjusted Installed Costs | 1317800
Values from SAM Outputs
Results Page
| First Year Annual Output (kWh) | 8760000 | Includes effect of system derate factor.
Intermediate Values
6.5 | Effective Tax Rate | 33.04%
4.2.17 | Credit Basis - Fed | 1317800 | Depr. Basis - Fed | 1317800
| Credit Basis - State | 1317800 | Depr. Basis - State | 1317800
3.3 | Nominal Discount Rate | 8.137%
| Open Solver (Tools, Solver) to see PPA calculation |  |  | Actual | Required
5.4 | PPA | 12.088 | Min DSCR | 5 | 5
|  |  | IRR | 80.41% | 15%
|  |  | min cash flow | -198853.7158 | no
|  | NPV of Target IRR |  | 1783595.0187
|  | NPV of Target + delta |  | 1773716.4263
|  | Incentives | [6 empty] | Taxable |  | Reduced Basis if non-taxed (Fixed &CBI) or Reduce Basis (ITC)?
[9 empty] | Federal | State | Fed ITC Basis | State ITC Basis | Fed Depr Basis | State Depr Basis
| Percent w/ Maximum | Fixed, Federal |  | % | 1000000000000 | $ |  |  | x | x
| Percent w/ Maximum | Fixed, State |  | % | 1000000000000 | $ |  |  | x | x
| Percent w/ Maximum | Fixed, Utility |  | % | 1000000000000 | $ |  |  | x | x
| Percent w/ Maximum | Fixed, Other |  | % | 1000000000000 | $ |  |  | x | x
Maximum
|  | CBI, Federal |  | $/W | 1000000000000 | $ |  |  |  |  | x | x
|  | CBI, State |  | $/W | 1000000000000 | $ |  |  | x | x
|  | CBI, Utility |  | $/W | 1000000000000 | $ |  |  | x | x
|  | CBI, Other |  | $/W | 1000000000000 | $ |  |  | x | x
|  | ITC, Federal |  | $ |  |  |  |  | n/a | no |  |  | x | x
|  | ITC, State |  | $ |  |  |  |  | no | n/a
| Percent w/ Maximum | ITC, Federal |  | % | 1000000000000 | $ |  |  | n/a | no |  |  | x | x
| Percent w/ Maximum | ITC, State |  | % | 1000000000000 | $ |  |  | no | n/a
[5 empty] | Term |  | Escal.
|  | PTC, Federal |  | $/kwh | 10 | years | 2 | % | n/a | no | no | assume no | no | assume no
|  | PTC, State |  | $/kwh | 10 | years | 2 | % | no | n/a | no | assume no | no | assume no
Term
|  | PBI, Federal |  | $/kwh | 10 | years | 2 | % | x | x | no | assume no | no | assume no
|  | PBI, State |  | $/kwh | 10 | years | 2 | % | x | x | no | assume no | no | assume no
|  | PBI, Utility |  | $/kwh | 10 | years | 2 | % | x | x | no | assume no | no | assume no
|  | PBI, Other |  | $/kwh | 10 | years | 2 | % | x | x | no | assume no | no | assume no
| Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Output (kWh)
|  |  | 8760000 | 8672400 | 8585676 | 8499819.24 | 8414821.0476 | 8330672.8371 | 8247366.1088 | 8164892.4477 | 8083243.5232 | 8002411.088 | 7922386.9771 | 7843163.1073 | 7764731.4762 | 7687084.1615 | 7610213.3199 | 7534111.1867 | 7458770.0748 | 7384182.374 | 7310340.5503 | 7237237.1448 | 7164864.7734 | 7093216.1256 | 7022283.9644 | 6952061.1247 | 6882540.5135 | 6813715.1083 | 6745577.9573 | 6678122.1777 | 6611340.9559 | 6545227.5463
First Cost
658900
Operating Costs
| Fixed O&M |  | 150000 | 155250 | 160683.75 | 166307.6812 | 172128.4501 | 178152.9458 | 184388.299 | 190841.8894 | 197521.3555 | 204434.603 | 211589.8141 | 218995.4576 | 226660.2986 | 234593.4091 | 242804.1784 | 251302.3246 | 260097.906 | 269201.3327 | 278623.3793 | 288375.1976 | 298468.3295 | 308914.7211 | 319726.7363 | 330917.1721 | 342499.2731 | 354486.7476 | 366893.7838 | 379735.0662 | 393025.7936 | 406781.6963
| Variable O&M |  | 876000 | 906265.8 | 937577.2834 | 969970.5785 | 1003483.062 | 1038153.4018 | 1074021.6018 | 1111129.0482 | 1149518.5568 | 1189234.4229 | 1230322.4723 | 1272830.1137 | 1316806.3941 | 1362302.055 | 1409369.591 | 1458063.3104 | 1508439.3978 | 1560555.9789 | 1614473.188 | 1670253.2367 | 1727960.486 | 1787661.5208 | 1849425.2263 | 1913322.8679 | 1979428.173 | 2047817.4164 | 2118569.5081 | 2191766.0846 | 2267491.6028 | 2345833.4377
| Property Tax |  | 39534 | 40522.35 | 41535.4087 | 42573.794 | 43638.1388 | 44729.0923 | 45847.3196 | 46993.5026 | 48168.3402 | 49372.5487 | 50606.8624 | 51872.0339 | 53168.8348 | 54498.0556 | 55860.507 | 57257.0197 | 58688.4452 | 60155.6563 | 61659.5477 | 63201.0364 | 64781.0624 | 66400.5889 | 68060.6036 | 69762.1187 | 71506.1717 | 73293.826 | 75126.1716 | 77004.3259 | 78929.4341 | 80902.6699
| Insurance |  | 26356 | 27014.9 | 27690.2725 | 28382.5293 | 29092.0925 | 29819.3949 | 30564.8797 | 31329.0017 | 32112.2268 | 32915.0324 | 33737.9082 | 34581.356 | 35445.8899 | 36332.0371 | 37240.338 | 38171.3465 | 39125.6301 | 40103.7709 | 41106.3652 | 42134.0243 | 43187.3749 | 44267.0593 | 45373.7358 | 46508.0791 | 47670.7811 | 48862.5507 | 50084.1144 | 51336.2173 | 52619.6227 | 53935.1133
| TOTAL |  | 1091890 | 1129053.05 | 1167486.7146 | 1207234.5831 | 1248341.7435 | 1290854.8348 | 1334822.1001 | 1380293.4419 | 1427320.4793 | 1475956.607 | 1526257.057 | 1578278.9611 | 1632081.4173 | 1687725.5568 | 1745274.6144 | 1804794.0012 | 1866351.3791 | 1930016.7389 | 1995862.4803 | 2063963.495 | 2134397.2528 | 2207243.89 | 2282586.302 | 2360510.2378 | 2441104.3989 | 2524460.5406 | 2610673.578 | 2699841.694 | 2792066.4532 | 2887452.9172
Finance Costs
| Beginning Balance |  | -658900 | -630591.8348 | -600585.1797 | -568778.1254 | -535062.6477 | -499324.2414 | -461441.5307 | -421285.8574 | -378720.8437 | -333601.9291 | -285775.8797 | -235080.2673 | -181342.9182 | -124381.3281 | -64002.0426 | -1.2878e-09 | -2.5757e-09 | -5.1514e-09 | -1.0303e-08 | -2.0606e-08 | -4.1211e-08 | -8.2422e-08 | -1.6484e-07 | -3.2969e-07 | -6.5938e-07 | -1.3188e-06 | -2.6375e-06 | -5.275e-06 | -1.055e-05 | -2.11e-05
| Principal Payment |  | 28308.1652 | 30006.6551 | 31807.0544 | 33715.4776 | 35738.4063 | 37882.7107 | 40155.6733 | 42565.0137 | 45118.9145 | 47826.0494 | 50695.6124 | 53737.3491 | 56961.5901 | 60379.2855 | 64002.0426 | -1.2878e-09 | -2.5757e-09 | -5.1514e-09 | -1.0303e-08 | -2.0606e-08 | -4.1211e-08 | -8.2422e-08 | -1.6484e-07 | -3.2969e-07 | -6.5938e-07 | -1.3188e-06 | -2.6375e-06 | -5.275e-06 | -1.055e-05 | -2.11e-05
| Interest Payment |  | 39534 | 37835.5101 | 36035.1108 | 34126.6875 | 32103.7589 | 29959.4545 | 27686.4918 | 25277.1514 | 22723.2506 | 20016.1157 | 17146.5528 | 14104.816 | 10880.5751 | 7462.8797 | 3840.1226 | 7.7271e-11 | 1.5454e-10 | 3.0908e-10 | 6.1817e-10 | 1.2363e-09 | 2.4727e-09 | 4.9453e-09 | 9.8906e-09 | 1.9781e-08 | 3.9563e-08 | 7.9125e-08 | 1.5825e-07 | 3.165e-07 | 6.33e-07 | 1.266e-06
| TOTAL |  | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | -1.2106e-09 | -2.4211e-09 | -4.8423e-09 | -9.6846e-09 | -1.9369e-08 | -3.8738e-08 | -7.7477e-08 | -1.5495e-07 | -3.0991e-07 | -6.1981e-07 | -1.2396e-06 | -2.4793e-06 | -4.9585e-06 | -9.917e-06 | -1.9834e-05
Tax Deductions
| Federal Depreciation Schedule |  | 35% | 26% | 15.6% | 11.01% | 11.01% | 1.38% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| State Depreciation Schedule |  | 35% | 26% | 15.6% | 11.01% | 11.01% | 1.38% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| Federal Depreciation |  | 461230 | 342628 | 205576.8 | 145089.78 | 145089.78 | 18185.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| State Depreciation |  | 461230 | 342628 | 205576.8 | 145089.78 | 145089.78 | 18185.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal Incentives
| ITC | PBI, Other 1: 0
| PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Incentives
| ITC | PBI, Other 1: 0
| PTC |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility Incentives
| PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Incentives
| PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PRO-FORMA CASH FLOW:
| Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
| Electric Output (kWh) |  | 8760000 | 8672400 | 8585676 | 8499819.24 | 8414821.0476 | 8330672.8371 | 8247366.1088 | 8164892.4477 | 8083243.5232 | 8002411.088 | 7922386.9771 | 7843163.1073 | 7764731.4762 | 7687084.1615 | 7610213.3199 | 7534111.1867 | 7458770.0748 | 7384182.374 | 7310340.5503 | 7237237.1448 | 7164864.7734 | 7093216.1256 | 7022283.9644 | 6952061.1247 | 6882540.5135 | 6813715.1083 | 6745577.9573 | 6678122.1777 | 6611340.9559 | 6545227.5463
| Electricity Sales Price ($/kWh) |  | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088 | 0.12088
Operating Revenues
| Revenues |  | 1058906.5017 | 1048317.4367 | 1037834.2623 | 1027455.9197 | 1017181.3605 | 1007009.5469 | 996939.4514 | 986970.0569 | 977100.3563 | 967329.3528 | 957656.0592 | 948079.4986 | 938598.7037 | 929212.7166 | 919920.5895 | 910721.3836 | 901614.1697 | 892598.028 | 883672.0478 | 874835.3273 | 866086.974 | 857426.1043 | 848851.8432 | 840363.3248 | 831959.6915 | 823640.0946 | 815403.6937 | 807249.6567 | 799177.1602 | 791185.3886
Operating Expenses
| Fixed (Annual) O & M Expense |  | 1000 | 1065 | 1134.225 | 1207.9496 | 1286.4664 | 1370.0867 | 1459.1423 | 1553.9865 | 1654.9957 | 1762.5704 | 1877.1375 | 1999.1514 | 2129.0962 | 2267.4875 | 2414.8742 | 2571.841 | 2739.0107 | 2917.0464 | 3106.6544 | 3308.5869 | 3523.6451 | 3752.682 | 3996.6063 | 4256.3857 | 4533.0508 | 4827.6991 | 5141.4996 | 5475.697 | 5831.6173 | 6210.6725
| Fixed O & M Expense |  | 150000 | 155250 | 160683.75 | 166307.6812 | 172128.4501 | 178152.9458 | 184388.299 | 190841.8894 | 197521.3555 | 204434.603 | 211589.8141 | 218995.4576 | 226660.2986 | 234593.4091 | 242804.1784 | 251302.3246 | 260097.906 | 269201.3327 | 278623.3793 | 288375.1976 | 298468.3295 | 308914.7211 | 319726.7363 | 330917.1721 | 342499.2731 | 354486.7476 | 366893.7838 | 379735.0662 | 393025.7936 | 406781.6963
| Variable O & M Expense |  | 876 | 906.2658 | 937.5773 | 969.9706 | 1003.4831 | 1038.1534 | 1074.0216 | 1111.129 | 1149.5186 | 1189.2344 | 1230.3225 | 1272.8301 | 1316.8064 | 1362.3021 | 1409.3696 | 1458.0633 | 1508.4394 | 1560.556 | 1614.4732 | 1670.2532 | 1727.9605 | 1787.6615 | 1849.4252 | 1913.3229 | 1979.4282 | 2047.8174 | 2118.5695 | 2191.7661 | 2267.4916 | 2345.8334
| Fuel O & M Expense |  | 113880 | 120143.4 | 126751.287 | 133722.6078 | 141077.3512 | 148836.6055 | 157022.6188 | 165658.8629 | 174770.1003 | 184382.4558 | 194523.4909 | 205222.2829 | 216509.5085 | 228417.5314 | 240980.4957 | 254234.4229 | 268217.3162 | 282969.2686 | 298532.5784 | 314951.8702 | 332274.223 | 350549.3053 | 369829.5171 | 390170.1405 | 411629.4983 | 434269.1207 | 458153.9223 | 483352.388 | 509936.7694 | 537983.2917
| Insurance |  | 26356 | 27014.9 | 27690.2725 | 28382.5293 | 29092.0925 | 29819.3949 | 30564.8797 | 31329.0017 | 32112.2268 | 32915.0324 | 33737.9082 | 34581.356 | 35445.8899 | 36332.0371 | 37240.338 | 38171.3465 | 39125.6301 | 40103.7709 | 41106.3652 | 42134.0243 | 43187.3749 | 44267.0593 | 45373.7358 | 46508.0791 | 47670.7811 | 48862.5507 | 50084.1144 | 51336.2173 | 52619.6227 | 53935.1133
| Property Taxes |  | 39534 | 40522.35 | 41535.4087 | 42573.794 | 43638.1388 | 44729.0923 | 45847.3196 | 46993.5026 | 48168.3402 | 49372.5487 | 50606.8624 | 51872.0339 | 53168.8348 | 54498.0556 | 55860.507 | 57257.0197 | 58688.4452 | 60155.6563 | 61659.5477 | 63201.0364 | 64781.0624 | 66400.5889 | 68060.6036 | 69762.1187 | 71506.1717 | 73293.826 | 75126.1716 | 77004.3259 | 78929.4341 | 80902.6699
| Total Operating Expenses |  | 331646 | 344901.9158 | 358732.5205 | 373164.5325 | 388225.9821 | 403946.2786 | 420356.281 | 437488.3722 | 455376.537 | 474056.4447 | 493565.5356 | 513943.1119 | 535230.4343 | 557470.8228 | 580709.7629 | 604995.0181 | 630376.7476 | 656907.6308 | 684642.9982 | 713640.9687 | 743962.5954 | 775672.018 | 808836.6243 | 843527.2191 | 879818.2031 | 917787.7615 | 957518.0612 | 999095.4606 | 1042610.7286 | 1088159.2771
| Operating Income |  | 727260.5017 | 703415.5209 | 679101.7418 | 654291.3872 | 628955.3784 | 603063.2683 | 576583.1704 | 549481.6847 | 521723.8193 | 493272.908 | 464090.5237 | 434136.3867 | 403368.2693 | 371741.8938 | 339210.8266 | 305726.3655 | 271237.4221 | 235690.3972 | 199029.0496 | 161194.3586 | 122124.3786 | 81754.0862 | 40015.2189 | -3163.8943 | -47858.5116 | -94147.6668 | -142114.3675 | -191845.8038 | -243433.5685 | -296973.8885
Financing
| Debt Funds | 0: 658900
| Equity Funds | 0: 658900
| Total Capital Investment | 0: 1317800
| Cash Available Before Debt |  | 727260.5017 | 703415.5209 | 679101.7418 | 654291.3872 | 628955.3784 | 603063.2683 | 576583.1704 | 549481.6847 | 521723.8193 | 493272.908 | 464090.5237 | 434136.3867 | 403368.2693 | 371741.8938 | 339210.8266 | 305726.3655 | 271237.4221 | 235690.3972 | 199029.0496 | 161194.3586 | 122124.3786 | 81754.0862 | 40015.2189 | -3163.8943 | -47858.5116 | -94147.6668 | -142114.3675 | -191845.8038 | -243433.5685 | -296973.8885
| Debt Interest Payment |  | 39534 | 37835.5101 | 36035.1108 | 34126.6875 | 32103.7589 | 29959.4545 | 27686.4918 | 25277.1514 | 22723.2506 | 20016.1157 | 17146.5528 | 14104.816 | 10880.5751 | 7462.8797 | 3840.1226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Debt Repayment |  | 28308.1652 | 30006.6551 | 31807.0544 | 33715.4776 | 35738.4063 | 37882.7107 | 40155.6733 | 42565.0137 | 45118.9145 | 47826.0494 | 50695.6124 | 53737.3491 | 56961.5901 | 60379.2855 | 64002.0426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Debt Payment |  | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 67842.1652 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Effect on Equity (State)
| Operating Income |  | 727260.5017 | 703415.5209 | 679101.7418 | 654291.3872 | 628955.3784 | 603063.2683 | 576583.1704 | 549481.6847 | 521723.8193 | 493272.908 | 464090.5237 | 434136.3867 | 403368.2693 | 371741.8938 | 339210.8266 | 305726.3655 | 271237.4221 | 235690.3972 | 199029.0496 | 161194.3586 | 122124.3786 | 81754.0862 | 40015.2189 | -3163.8943 | -47858.5116 | -94147.6668 | -142114.3675 | -191845.8038 | -243433.5685 | -296973.8885
| Investment Based Incentives (IBI) | 1: 0
| Federal IBI | 1: 0
| State IBI | 1: 0
| Utility IBI | 1: 0
| Other IBI | 1: 0
| Capacity Based Incentives (CBI) | 1: 0
| Federal CBI | 1: 0
| State CBI | 1: 0
| Utility CBI | 1: 0
| Other CBI | 1: 0
| Performance Based Incentives (PBI) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Federal PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| State PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Utility PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation |  | 461230 | 342628 | 205576.8 | 145089.78 | 145089.78 | 18185.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest Payment |  | 39534 | 37835.5101 | 36035.1108 | 34126.6875 | 32103.7589 | 29959.4545 | 27686.4918 | 25277.1514 | 22723.2506 | 20016.1157 | 17146.5528 | 14104.816 | 10880.5751 | 7462.8797 | 3840.1226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sales Tax | 1: 52800
| Total Income |  | 173696.5017 | 322952.0108 | 437489.831 | 475074.9196 | 451761.8395 | 554918.1738 | 548896.6786 | 524204.5333 | 499000.5687 | 473256.7923 | 446943.9709 | 420031.5707 | 392487.6942 | 364279.0141 | 335370.704 | 305726.3655 | 271237.4221 | 235690.3972 | 199029.0496 | 161194.3586 | 122124.3786 | 81754.0862 | 40015.2189 | -3163.8943 | -47858.5116 | -94147.6668 | -142114.3675 | -191845.8038 | -243433.5685 | -296973.8885
| Total Taxable Income |  | 173696.5017 | 322952.0108 | 437489.831 | 475074.9196 | 451761.8395 | 554918.1738 | 548896.6786 | 524204.5333 | 499000.5687 | 473256.7923 | 446943.9709 | 420031.5707 | 392487.6942 | 364279.0141 | 335370.704 | 305726.3655 | 271237.4221 | 235690.3972 | 199029.0496 | 161194.3586 | 122124.3786 | 81754.0862 | 40015.2189 | -3163.8943 | -47858.5116 | -94147.6668 | -142114.3675 | -191845.8038 | -243433.5685 | -296973.8885
| Income Taxes |  | 12158.7551 | 22606.6408 | 30624.2882 | 33255.2444 | 31623.3288 | 38844.2722 | 38422.7675 | 36694.3173 | 34930.0398 | 33127.9755 | 31286.078 | 29402.2099 | 27474.1386 | 25499.531 | 23475.9493 | 21400.8456 | 18986.6195 | 16498.3278 | 13932.0335 | 11283.6051 | 8548.7065 | 5722.786 | 2801.0653 | -221.4726 | -3350.0958 | -6590.3367 | -9948.0057 | -13429.2063 | -17040.3498 | -20788.1722
| Production Tax Credit |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment Tax Credit | 1: 0
| Tax Savings (Liability) |  | -12158.7551 | -22606.6408 | -30624.2882 | -33255.2444 | -31623.3288 | -38844.2722 | -38422.7675 | -36694.3173 | -34930.0398 | -33127.9755 | -31286.078 | -29402.2099 | -27474.1386 | -25499.531 | -23475.9493 | -21400.8456 | -18986.6195 | -16498.3278 | -13932.0335 | -11283.6051 | -8548.7065 | -5722.786 | -2801.0653 | 221.4726 | 3350.0958 | 6590.3367 | 9948.0057 | 13429.2063 | 17040.3498 | 20788.1722
`
Tax Effect on Equity (Federal)
| Operating Income |  | 727260.5017 | 703415.5209 | 679101.7418 | 654291.3872 | 628955.3784 | 603063.2683 | 576583.1704 | 549481.6847 | 521723.8193 | 493272.908 | 464090.5237 | 434136.3867 | 403368.2693 | 371741.8938 | 339210.8266 | 305726.3655 | 271237.4221 | 235690.3972 | 199029.0496 | 161194.3586 | 122124.3786 | 81754.0862 | 40015.2189 | -3163.8943 | -47858.5116 | -94147.6668 | -142114.3675 | -191845.8038 | -243433.5685 | -296973.8885
| Investment Based Incentives (IBI) | 1: 0
| Federal IBI | 1: 0
| State IBI | 1: 0
| Utility IBI | 1: 0
| Other IBI | 1: 0
| Capacity Based Incentives (CBI) | 1: 0
| Federal CBI | 1: 0
| State CBI | 1: 0
| Utility CBI | 1: 0
| Other CBI | 1: 0
| Performance Based Incentives (PBI) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Federal PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| State PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Utility PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation |  | 461230 | 342628 | 205576.8 | 145089.78 | 145089.78 | 18185.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest Payment |  | 39534 | 37835.5101 | 36035.1108 | 34126.6875 | 32103.7589 | 29959.4545 | 27686.4918 | 25277.1514 | 22723.2506 | 20016.1157 | 17146.5528 | 14104.816 | 10880.5751 | 7462.8797 | 3840.1226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sales Tax | 1: 52800
| State Tax Savings (Liability) |  | -12158.7551 | -22606.6408 | -30624.2882 | -33255.2444 | -31623.3288 | -38844.2722 | -38422.7675 | -36694.3173 | -34930.0398 | -33127.9755 | -31286.078 | -29402.2099 | -27474.1386 | -25499.531 | -23475.9493 | -21400.8456 | -18986.6195 | -16498.3278 | -13932.0335 | -11283.6051 | -8548.7065 | -5722.786 | -2801.0653 | 221.4726 | 3350.0958 | 6590.3367 | 9948.0057 | 13429.2063 | 17040.3498 | 20788.1722
| Total Income |  | 161537.7466 | 300345.37 | 406865.5428 | 441819.6753 | 420138.5108 | 516073.9016 | 510473.9111 | 487510.2159 | 464070.5289 | 440128.8168 | 415657.8929 | 390629.3608 | 365013.5556 | 338779.4832 | 311894.7547 | 284325.5199 | 252250.8026 | 219192.0694 | 185097.0161 | 149910.7535 | 113575.6721 | 76031.3002 | 37214.1536 | -2942.4217 | -44508.4158 | -87557.3302 | -132166.3618 | -178416.5976 | -226393.2187 | -276185.7163
| Total Taxable Income |  | 161537.7466 | 300345.37 | 406865.5428 | 441819.6753 | 420138.5108 | 516073.9016 | 510473.9111 | 487510.2159 | 464070.5289 | 440128.8168 | 415657.8929 | 390629.3608 | 365013.5556 | 338779.4832 | 311894.7547 | 284325.5199 | 252250.8026 | 219192.0694 | 185097.0161 | 149910.7535 | 113575.6721 | 76031.3002 | 37214.1536 | -2942.4217 | -44508.4158 | -87557.3302 | -132166.3618 | -178416.5976 | -226393.2187 | -276185.7163
| Income Taxes |  | 45230.569 | 84096.7036 | 113922.352 | 123709.5091 | 117638.783 | 144500.6925 | 142932.6951 | 136502.8605 | 129939.7481 | 123236.0687 | 116384.21 | 109376.221 | 102203.7956 | 94858.2553 | 87330.5313 | 79611.1456 | 70630.2247 | 61373.7794 | 51827.1645 | 41975.011 | 31801.1882 | 21288.7641 | 10419.963 | -823.8781 | -12462.3564 | -24516.0524 | -37006.5813 | -49956.6473 | -63390.1012 | -77332.0006
| Production Tax Credit |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Investment Tax Credit | 1: 0
| Tax Savings (Liability) |  | -45230.569 | -84096.7036 | -113922.352 | -123709.5091 | -117638.783 | -144500.6925 | -142932.6951 | -136502.8605 | -129939.7481 | -123236.0687 | -116384.21 | -109376.221 | -102203.7956 | -94858.2553 | -87330.5313 | -79611.1456 | -70630.2247 | -61373.7794 | -51827.1645 | -41975.011 | -31801.1882 | -21288.7641 | -10419.963 | 823.8781 | 12462.3564 | 24516.0524 | 37006.5813 | 49956.6473 | 63390.1012 | 77332.0006
| State and Federal Tax Savings (Liability) |  | -57389.3242 | -106703.3444 | -144546.6402 | -156964.7534 | -149262.1118 | -183344.9646 | -181355.4626 | -173197.1778 | -164869.7879 | -156364.0442 | -147670.288 | -138778.431 | -129677.9342 | -120357.7863 | -110806.4806 | -101011.9912 | -89616.8443 | -77872.1072 | -65759.198 | -53258.6161 | -40349.8947 | -27011.5501 | -13221.0283 | 1045.3507 | 15812.4522 | 31106.3891 | 46954.587 | 63385.8536 | 80430.451 | 98120.1728
| After Tax Net Equity Cash Flow | -658900 | 602029.0124 | 528870.0113 | 466712.9364 | 429484.4685 | 411851.1014 | 351876.1385 | 327385.5426 | 308442.3417 | 289011.8662 | 269066.6987 | 248578.0705 | 227515.7906 | 205848.17 | 183541.9424 | 160562.1808 | 204714.3743 | 181620.5779 | 157818.29 | 133269.8516 | 107935.7425 | 81774.4839 | 54742.5361 | 26794.1906 | -2118.5436 | -32046.0594 | -63041.2777 | -95159.7805 | -128459.9502 | -163003.1174 | -198853.7158
| After Tax Net Equity Cost Flow | -658900 | -456877.4893 | -519447.4253 | -571121.3259 | -597971.4511 | -605330.259 | -655133.4084 | -669553.9088 | -678527.7151 | -688088.4901 | -698262.6541 | -709077.9887 | -720563.708 | -732750.5337 | -745670.7742 | -759358.4087 | -706007.0092 | -719993.5919 | -734779.7381 | -750402.1961 | -766899.5847 | -784312.4901 | -802683.5681 | -822057.6526 | -842481.8684 | -864005.7509 | -886681.3723 | -910563.4742 | -935709.607 | -962180.2776 | -990039.1043
| Pre-tax Debt Coverage Ratio | 1: 10.7199; 2: 10.3684; 3: 10.01; 4: 9.6443; 5: 9.2709; 6: 8.8892; 7: 8.4989; 8: 8.0994; 9: 7.6903; 10: 7.2709; 11: 6.8407; 12: 6.3992; 13: 5.9457; 14: 5.4795; 15: 5
- Button requires Solver add-in (Tools, Add-Ins). - Open Solver to see calculation (Tools, Solver). - Note that small discrepancies between these results and those in Solar Advisor are due to differences in the search algorithm used by the Excel Solver and Solar Advisor.

## NPV Detail
rate | NPV
-100% | #DIV/0!
-95% | -2.2263e+44
-90% | -2.1654e+35
-85% | -1.1815e+30
-80% | -2.2116e+26
-75% | -2.8753e+23
-70% | -1.2748e+21
-65% | -1.3186e+19
-60% | -2.5373e+17
-55% | -7845803025307427
-50% | -3.5273e+14
-45% | -2.1453e+13
-40% | -1.6719e+12
-35% | -159838699064.1123
-30% | -18027138748.1677
-25% | -2295199490.7041
-20% | -305773839.2089
-15% | -33067648.604
-10% | 3259560.5138
-5% | 5984473.6904
0% | 4617863.8745
5% | 3297067.9922
10% | 2389209.4658
15% | 1783595.0187
20% | 1367425.3144
25% | 1069261.9142
30% | 846945.2728
35% | 675379.6831
40% | 539137.7086
45% | 428365.5727
50% | 336528.3296
55% | 259140.2318
60% | 193026.6152
65% | 135879.7688
70% | 85982.5695
75% | 42031.0278
80% | 3017.0332
85% | -31851.1546
90% | -63204.0875
95% | -91550.2348
100% | -117304.2215
80.41% | 0