Data Quality Notes for the Lake Pontchartrain Sediment Database

Annotations based on quality screening techniques are provided in the qualifier field to the right of each chemical attribute column as illustrated here. Abbreviations and codes at the beginning of a qualifier field (for example, AG_Q) are explained below.

Ratios with zinc provide the main discriminant function for metals and inorganic constituents. Other               appropriate normalizing constituents can be used for organic compounds (see Manheim and others,               1998). Values exceeding the indicated ratios are regarded as anomalous. Alert level calls attention to               unusual concentration levels. It does not necessarily imply data quality problems. High alert levels are               normally due to presence of contaminants. Low alert levels may signify sediment mineralogy that is               naturally low in trace metals, or a leachate procedure designed to recover contaminants but not more               refractory trace elements in unpolluted sediments.

Table B1.  Codes used in quality control field of sediment database

[in consolidated table as well as full database, appendixes C and D]

| Code | Explanation |
| --- | --- |
| <DL | Less than detection limit. (Concentration reads "0" because the measurement fell below the detection limit). |
| DV | Discriminant value (For discussion of discriminant functions see "Analytical Methods and Quality Control" section). |
| DVS | 25% of samples for this component and source show unresolved anomalies in discriminant values. |
| HA | High Alert (see table 8 for alert levels). |
| LA | Low Alert (see table 8 for alert levels). |
| Leach | Leachate method was used for metal analysis. Values resulting from this type of analysis have valid uses but are not comparable to those resulting from total dissolution methods. See "Discussion" and "Inorganic Chemistry" sections for more explanation. |
| LW | Source reports data on a wet-weight basis, which gives lower apparent values than dry-weight basis. |
| mean (n = *) | Multiple samples were collected from the same location and analyzed; the value reported is the mean (n = number of replicates). |
| ND | Not detected. |
| Repl. DL | A replicate value is below detection limit (the value reported is the mean of the others). |
| W | Warning: unresolved questions (no quality-control corroboration or causal relationships for anomalous data are available). |
|  | EMAP-specific quality codes |
| CH-A | Analyte was not detected (Method Detection Limit reported as the variable DETLIMIT) |
| CH-B | Analyte detected, but below Method Detection Limit - Use with discretion. |
| CH-C | Lab experienced minor deficiencies meeting the QC requirements; reliable for EMAP assessments. |
| CH-I | Co-elution; matrix interference. |
| CH-N | No sediment sample taken in the field. |
| CH-X | Analyte not required by EMAP protocol -- not reported here; may be included in other data sets. |
| CH-Z | Missing concentration value because all constituent analytes were non-detects. |

Table B2.  Interpretive Notes

(for consolidated table as well as full database, appendices C and D, respectively)

| Methodologies |
| --- |
| Leachate vs. total dissolution analysis | All metal analyses reported by Demcheck and others (1996), Schurtz and St Pé (1984), Byrne and DeLeon (1986, 1987), Landrum (1994), LDEQ (1989), and Marot and Holmes (in review) were performed by leachate methods. Data by Flowers and Isphording (1990), Macauley and Summers (1998), and Sarkar (1995) were performed by total dissolution techniques. Aluminum, iron, and barium values, in particular, are much lower when analyzed by leachate methods than those analyzed by total dissolution methods. Results from these two methods should not be combined without normalization. Variable water content complicates interpretation of data for Byrne and DeLeon (1986, 1987), and Voyksner (1985). See "Discussion" for further information. |
| Dry vs. wet weight | The following data are reported on a wet weight basis (and, therefore, will be lower by the proportion of water in the samples): - As, Hg, and Se data of Byrne and DeLeon (1986), - organics data of Ferrario and others (1985), - organics data of Schurtz and St. Pé (1984), and - the single sample of Voyksner (1985). All others are on a dry weight basis. |
| Organics |
| Organic constituents and toxicities | There is no low alert range for organic compounds, because many are not found naturally in sediments. Toxic ranges begin at roughly 0.18 ug/g for the most toxic ("ERM") PCB levels. Long and others (1995) report toxicity ranges for PAH congeners in the 0.5 to 9.6 ug/g range, with Total PAH having much higher values. Total PCBs have a range in the vicinity of .027, and pesticides 0.005 - 0.025. The large body of information on organics found in Macauley and Summers (1998) was analyzed using more recent, high-sensitivity methods at the Texas A&M Geochemical and Environmental Research Group (GERG), which serves several Federal agency programs. These data showed no internal evidence of quality problems. |
| Inorganics |
| Ag/Zn | Ag/Zn ratio refers to Ag/Zn x 1000. Note that data of Schurtz and St. Pé (1984), Demcheck and others (1996), and Byrne and DeLeon (1986, 1987) are leachate analyses, which yield lower recovery than total dissolution methods. |
| Al | Leachate analyses for Al are expected to yield significantly lower concentrations than total dissolution analyses used in Flowers and Isphording (1990), Macauley and Summers (1998), and Sarkar (1995). |
| As/Zn | As/Zn ratios have particularly wide scatter. Some data, analyzed by leachate techniques, showed low but consistent ratio patterns. These are attributed to low recovery of non-contaminant As. Data sets with anomalously high discriminant levels that could not be validated are marked with "W". |
| Cd | A number of EPA-EMAP data fall below the low alert level for Cd (.04). These values may represent local background levels for natural, uncontaminated sediments. Two data sources showed anomalous Cd values and discriminant ratios (Cd/Zn) that were not corroborated by other investigators’ data in comparable areas. The entire data sets were marked with "W". |
| Cr | Extreme, high-alert values of Cr are found only in Bayou Trepagnier where major metal concentrations were discharged into the waterway from a petrochemical complex (see also Mo, Pb, and Zn). See "Discussion" for comments on Cr analyzed by leachate methods. |
| Mo | Elevated Mo values are exclusively found in Bayou Trepagnier, where this metal may have been leached from Mo-containing stainless steels in a petrochemical plant. |
| Pb | Extreme Pb values are found mainly in Bayou Trepagnier. |
| Zn | Extreme Zn values are found mainly in Bayou Trepagnier. |
| Sources |
| Demcheck and others (1996) | Metals were extracted using standard digestion method 3050 RCRA, hot acid leach. Most were then analyzed using Inductively Coupled Plasma (ICP) spectrometry, USEPA method 200.7 (Atomic Emission Spectrometry). The exceptions are arsenic (As), selenium (Se), and thallium (Tl), which were analyzed using Graphite Furnace Atomic Absorption Spectrometry, method 200.9; and mercury (Hg) which was analyzed using Flameless (Cold Vapor) Atomic Absorption Spectrometry, USEPA method 245.5. Nitrogen (nitrate, nitrite) is reported in bottom material (sediments) as "mg/kg as N" (mg/kg = ug/g). These parameters are normally reported for water column data, not sediments. The specific methods are not reported. |
| LDEQ (1989) | Although most metals are stated to have been analyzed by atomic absorption graphite furnace, whether these refer to total metal or acid extraction is not clearly indicated in the analytical notes (p. 23 in the LDEQ report). |
| Tarver and Dugas (1973) | Coordinates for sample locations were derived from a sketch map with a probable error of +/- 1minute. |
| Tarver and Savoie (1976) | The sample locations were only given in generalized terms (grid squares drawn on a map with sides of approximately 3 minutes in length). The coordinates used in this database have been approximated by calculating the coordinates of the centroids of these grid squares. Locations for stations along the edge of lakes are the approximated centroids of the irregular shape formed by the square and the shoreline. |

Table B3.  Station class codes used for EPA EMAP data in "GEN_CMMNTS" field in sediment database

Table B3 refers to the selection process for USEPA EMAP stations. It may be noted that the EMAP

monitoring concept called for stations whose positions were selected in statistically random ways,

permitting the agency to compare regional areas in a statistically conformable way. Many of the EMAP

stations were resampled in successive years and therefore reveal spatial variability (Macauley and

Summers, 1998).

Also, see http://www.epa.gov/emap/html/dataI/estuary/data/ for further information regarding the EMAP

program.

| Code | Explanation |
| --- | --- |
| BASE | Stations that were randomly selected based on EMAP sampling design (grid). |
| INDEX | Stations that were paired with small estuary and tidal river base sites. They were intended to represent the area of sediment deposition with the estuary or river. Not random. |
| ITE | Indicator Testing and Evaluation Sites - only for 1991. Selected specifically to test indicators' ability to discriminate between degraded and reference sites. |
| SUPPL | Stations that were randomly selected by using the EMAP grid design and reducing it to fit within a single estuary. |
| QA/QC | The replicate sampling of a base station (exact location) within a short time span. (Collection methods quality reference.) |
| REP-91 | Between-year replicates of 1991 base sites. These 1991 sites were sampled every year to represent variation and long term trends. (No within-year replicates, see next definition.) |
| REP-92 REP-93 REP-94 | Randomly selected sites that are "near-by" to one another to evaluate variability REP-93 within a given area (for example, within a hexagon or small estuary). Used to test the REP-94 EMAP design. |
| VARIANCE | Trend sites selected to evaluate variation and long term trends (selected in addition to the REP-91 sites). |

EPA Disclaimer:  "Although the data described in this article have been funded wholly or in part by the U.S. Environmental Protection Agency through its EMAP Estuaries Program, it has not been subjected to

Agency review, and therefore does not necessarily reflect the views of the Agency and no official

endorsement should be inferred."

Table B4.  Miscellaneous abbreviations used in sediment database

STATION TABLE FIELDS

AGNC1_SPON:  (Agency or researcher sponsoring or publishing the work)

- LDEQ = Louisiana Department of Environmental Quality

- LDEQ-OWR-WPCD = Louisiana Department of Environmental Quality - Office of Water Resources - Water Pollution Control Division

- LDNR-CZMD = Louisiana Department of Natural Resources - Coastal Zone Management Division

- LSU = Louisiana State University

- UNO = University of New Orleans

- USEPA = United States Environmental Protection Agency

- USACE = United States Army Corps of Engineers

- USGS = United States Geological Survey

- USGS - WRD = United States Geological Survey - Water Resources Division

SRCE_OR_REF (or COM_ON_REF):  (Source of information, or reference)

Byrne, C.J., and DeLeon, I.R., 1986, Trace metal residues in biota and sediments from Lake Pontchartrain, Louisiana: Bulletin of Environmental Contamination and Toxicology, v. 37, p. 151-158.

Byrne, C.J., and DeLeon, I.R., 1987, Contribution of heavy metals from municipal runoff to the sediments of Lake Pontchartrain: Chemosphere, v. 16, issue 10-12, p. 2579-2583.

Chew, D.L., and Swilley, L.J., 1987, Clam shell dredging in Lakes Pontchartrain and Maurepas, Louisiana: Draft Environmental Impact Statement and Appendices: U.S. Army Corps of Engineers, approx. 162 p. plus appendixes. [Same data as in Schurtz and St. Pé, 1984.]

Childers, G.W., 1985, A baseline study of the water quality and selected faunal communities in Lake Maurepas, its major tributaries, and Pass Manchac: Hammond, LA, Southeastern Louisiana University, Department of Biological Sciences, 330 p.

Crocker, J.A., 1988, Sediment deposition in Lake Pontchartrain from the 1973 Bonnet Carré Spillway operation: New Orleans, LA, University of New Orleans, Department of Geology and Geophysics, M.Sc. thesis, 81 p.

Demcheck, D.K., Garrison, C.R., and McGee, B.D., 1996, Selected water-quality data for the lower Mississippi River, Bonnet Carré Spillway, and Lake Pontchartrain area, Louisiana, April through June 1994 and 1974-84: U.S. Geological Survey, Open-File Report 96-652-A, 125 p.

Dunbar, J.B., Blaes, M.R., Dueitt, S.E., May, J.R., 1995, Geological investigation of the Mississippi River deltaic plain: Vicksburg, MS, U.S. Army Corps of Engineers, Waterways Experiment Station, Technical Report GL-84-15.

Ferrario, J.B., Lawler, G.C., DeLeon, I.R., and Laseter, J.L., 1985, Volatile organic pollutants in biota and sediments of Lake Pontchartrain: Bulletin of Environmental Contamination and Toxicology, v. 34, p. 246-255.

Flocks, J.G., 1998 [and unpub. data], New field sampling techniques and data description, in Manheim, F.T., ed., Lake Pontchartrain Basin: Bottom sediments and regional scientific and educational resources: U.S. Geological Survey Open-File Report 98-805, 1 CD-ROM.

Flowers, G.C., 1987, unpub. data. [Data used in Flowers and Isphording, 1990.]

Flowers, G.C., and Isphording, W.C., 1990, Environmental sedimentology of the Pontchartrain Estuary: Gulf Coast Association of Geological Societies Transactions, v. 40, p. 237-250.

Landrum, K.E., 1994 [unpub. data], Environmental sedimentology and trace-metal geochemistry of the Barataria Basin and St. Bernard Delta Estuaries, Louisiana: Draft report to the Louisiana Department of Environmental Quality, 101 p. plus appendixes. [See also Landrum, 1995].

Landrum, K.E., 1995, Trace metal variability of estuarine sediments, St. Bernard Geomorphic Region, Louisiana: Gulf Coast Association of Geological Societies Transactions, v. 45, p. 365-370.

LDEQ, 1989, Impact assessment of Bayou Trepagnier: Baton Rouge, LA, Louisiana Department of Environmental Quality, Office of Water Resources, Water Pollution Control Division, 71 p. plus appendixes.

Macauley, J.M., and Summers, J.K., 1998, Environmental Monitoring Assessment Program (EMAP) Louisiana Province Database: USEPA Office of Research and Development, online at http://www.epa.gov/emap/html/dataI/estuary/data/.

Marot, M.E., and Holmes, C.W., in review, Recent sediment distribution in Lake Pontchartrain, Louisiana, as monitored by Beryllium-7: U.S. Geological Survey Open-File Report 99-xxx.

McFall, J., Antoine, S.R., and DeLeon, I.R., 1985, Base-neutral extractable organic pollutants in biota and sediments from Lake Pontchartrain: Chemosphere, v. 14, no. 10, p. 1561-1569.

Overton, E.B., Byrne, C.J., McFall, J.A., Antoine, S.R., and Laseter, J.L., 1984, Organic chemical and heavy metal analyses of sediment, biota, and water from Lake Pontchartrain, Louisiana: Baton Rouge, LA, Center for Bio-Organic Studies, University of New Orleans, 170 p. [Report for Louisiana Department of Natural Resources; same project as Schurtz and St. Pé, 1984].

Roberts, D.W., 1981, Structure and function of nearshore and open lake benthic communities in Lake Pontchartrain, Louisiana: Baton Rouge, LA, Louisiana State University, M.Sc. thesis.

Sarkar, S., 1995, Heavy metal transport from Bayou Trepagnier into Lake Pontchartrain: New Orleans, LA, Tulane University, M.Sc. thesis, 25 p.

Schurtz, M.H., and St. Pé, K.M., 1984, Report on interim findings: Water quality investigation of environmental conditions in Lake Pontchartrain: Louisiana Department of Environmental Quality, Water Pollution Control Division, 86 p. plus appendixes.

Sikora, W.B., and Sikora, J.P., 1982, Ecological characterization of the benthic community of Lake Pontchartrain, Louisiana: Baton Rouge, LA, Louisiana State University, Coastal Ecology Laboratory, Center for Wetlands Resources, 214 p.

Tarver, J.W., and Dugas, R.J., 1973, A study of the clam, Rangia cuneata, in Lake Pontchartrain and Lake Maurepas: Louisiana Wild Life and Fisheries Commission; Oyster, Water Bottoms and Seafoods Division, Technical Bulletin 5, 97 p.

Tarver, J.W., and Savoie, L.B., 1976, An inventory and study of the Lake Pontchartrain-Lake Maurepas estuarine complex: Louisiana Wild Life and Fisheries Commission; Oyster, Water Bottoms and Seafoods Division, Technical Bulletin 10, 159 p.

Voyksner, R.D., 1985, Final report: Analysis of metals and organics in sediment and biota: Research Triangle Park, NC, Research Triangle Institute, report number RTI/2830/00-01Q, 68 p.

PROJ_NAME:  (Name of project when data source/study is part of a larger study)

EMAP = Environmental Monitoring and Assessment Program

AREA_CODE:  (Alphabetical code corresponding to approximate sample location)

BLaBr = Bayou LaBranche

BretS = Breton Sound

BTrep = Bayou Trepagnier

CMent = Chef Menteur

EngCa = Engineers Canal

ICW = Intracoastal Waterway

IHNC = Inner Harbor Navigation Canal

LBorg = Lake Borgne

LMaur = Lake Maurepas

LP = Lake Pontchartrain

LP-BC = Lake Pontchartrain, Bonnet Carre Region

LP-CE = Lake Pontchartrain, central region east of Causeway

LP-CW = Lake Pontchartrain, central region west of Causeway

LP-NO = Lake Pontchartrain, New Orleans region

LP-NS = Lake Pontchartrain, north shore region

LP-PH = Lake Pontchartrain, Pointe aux Herbes region

LP-RG = Lake Pontchartrain, Rigolets region

LP-WS = Lake Pontchartrain, west shore region

MissB = Mississippi Bayou

MRGO = Mississippi River Gulf Outlet
Rigol = Rigolets

ORIG_STATN: (Original name or number of station at which sample was collected)

Each EPA EMAP sample name is a code for the station location that is 8 characters long with the following placements defined as:

Characters 1,2 - Province code - e.g. "LA" in LA94LR01 signifies the Louisianian Province

Characters 3,4 - Year - e.g. "94" in LA94LR01 signifies 1994 sampling year

Characters 5,6 - Class - e.g. "LR" in LA94LR01 signifies Large Estuary Random class

"SR" in LA94SR01 signifies Small Estuary Random class

"RR" in LA94RR01 signifies Tidal River Random class

"SP" in LA94SP14 signifies Small Estuary Replicate

"RP" in LA94RP05 signifies Tidal River Replicate

"LS" in LA94LS01 signifies Large Estuary Supplement

"IN" in LA91IN01 signifies Indicator, Testing, and Evaluation class

"QC" in LA91QC11 signifies Quality Control Revisit

"RI" in LA91RI01 signifies Tidal River Index class

"SI" in LA91SI01 signifies Small Estuary Index class

"TR" in LA94TR01 signifies Temporal Replicate

"TT" in LA94TT01 signifies Temporal Replicate

"VR" in LA94VR01 signifies Temporal Replicate

Characters 7,8 - Station Number - e.g. "01" in LA94LR01 signifies station 1 in LR class

INIT_NTRER:  (Initials of the person who entered the data from the original source)

agm = Andrew G. McIntire

LH = Laura Hayes

INORGANICS TABLE FIELDS

COMMENT1:  (Any further information about analysis for all or specific metals)

ICP-AES = Inductively Coupled Plasma - Atomic Emission Spectrometry

GRAIN SIZE TABLE FIELDS

COMMENT_O:  (further comments on grain size analysis)

Texture too coarse? = Texture values from this source tend to form a distinct group. Sand is higher than in data from other sources or expected from hydrologic setting.

UNITS

cm = centimeters

ft = feet

g = grams

in = inches

lat = latitude

long = longitude

m = meters

mg/kg = milligrams per kilogram (1 µg/g = 1 mg/kg)

ng/g = nanograms per gram (1µg/g = 1000 ng)

ppb = parts per billion (1 µg/g = 1000 ppb)

ppm = parts per million (1 µg/g = 1 ppm)

µg/g  = micrograms per gram

µg/kg = micrograms per kilogram (1 µg/g = 1000 µg/kg)

FIELD HEADINGS ENDING IN…

C = concentration

Q = qualifier

DL or D = detection limit

For codes and abbreviations used in any qualifier field (headings ending in "Q"), see appendix B, table B1.