BOREAS TE-12 Leaf Optical Data for SSA Species

Summary

The BOREAS TE-12 team collected several data sets in support of its efforts to characterize and interpret information on the reflectance, transmittance, and gas exchange of boreal vegetation.  This data set contains measurements of hemispherical spectral reflectance and transmittance factors of individual leaves, needles (ages: current and past 2 years' growth, i.e., for 1993, the growing seasons of 1993, 1992, and 1991 were measured; in 1994, the growing seasons of 1994, 1993, and 1992 were measured), twigs (reflectance only), and substrate at near-normal incidence measured using a LI-COR LI-1800-12 integrating sphere attached to a Spectron Engineering SE590 spectroradiometer. Procedures of Daughtry et al. (1989) were followed.  These procedures permitted measurement of samples that: 1) filled the entire integrating sphere sample port, and 2) were narrow with a length greater than the sample port diameter.   Optical properties were measured at the SSA Fen, YJP, YA, and OBS sites.  The data are stored in tabular ASCII files.

Table of Contents

*  1 Data Set Overview

*  2 Investigator(s)

*  3 Theory of Measurements

*  4 Equipment

*  5 Data Acquisition Methods

*  6 Observations

*  7 Data Description

*  8 Data Organization

*  9 Data Manipulations

*  10 Errors

*  11 Notes

*  12 Application of the Data Set

*  13 Future Modifications and Plans

*  14 Software

*  15 Data Access

*  16 Output Products and Availability

*  17 References

*  18 Glossary of Terms

*  19 List of Acronyms

*  20 Document Information

1.  Data Set Overview

This data set includes measurements of leaf optical properties of individual leaves and needles collected during the growing seasons of 1993 and 1994.

1.1  Data Set Identification

BOREAS TE-12 Leaf Optical Data for SSA Species

1.2 Data Set Introduction

Hemispherical spectral reflectance and transmittance factors of individual leaves, needles (ages: current and past 2 years' growth, i.e., for 1993, the growing seasons of 1993, 1992, and 1991 were measured; in 1994, the growing seasons of 1994, 1993, and 1992 were measured), twigs (reflectance only) and substrate at near-normal incidence measured using a LI-COR LI-1800-12 integrating sphere attached to a Spectron Engineering SE590 spectroradiometer. Each SE590 has a unique wavelength associated with each of its 252 bands. A cubic spline interpolation was applied to the 252-bands to standardize the wavelengths to every 5 nm from 400 to 1000 nm, so that wavelength-to-wavelength comparisons can be made between SE590s.

1.3  Objective/Purpose

The purpose of this work was to characterize optical properties of boreal forest canopy and substrate elements.

1.4  Summary of Parameters

Hemispherical reflectance and transmittance factors of needles and twigs (from current and past years' growth) and individual leaves and substrate  elements.  Measurements were made for both tops and bottoms of leaves and needles.

1.5  Discussion

Intensive Field Campaign (IFC)-1993:

Optical properties were measured at two sites in the BOReal Ecosystem-Atmosphere Study (BOREAS) Southern Study Area (SSA): at or near the Nipawin Fen (FEN) and Nipawin Jack Pine  [Young-Dry] (YJP). Canopy access was limited to only ground level collection of samples.  Samples from trees were from various heights within the tree, but generally were from the lower third of the entire canopy height. Black spruce [Picea mariana], jack pine [Pinus banksiana], Labrador tea [Ledum groenlandicum], and aspen [Populus tremuloides] were sampled near the  SSA-FEN site.  Bog birch [Betula pumila], buck bean [Menyanthes trifloiate], marsh marigold [Caltha palustris], and cinquefoil [Potentilla palustris] were sampled in the SSA-FEN site.  Jack pine needles and substrate (dead needles, bark, blueberry [Vaccinium sp.], and bearberry [Arctostaphylos uva-ursi]) were sampled at the SSA-YJP site.

Procedures of Daughtry et al. (1989) were followed.  These procedures permitted measurement of two sample types:  type 1, which filled the entire integrating  sphere sample port, and type 2, which were narrow with a length greater than the sample port diameter.  One of the two external light sources was used with the  integrating sphere: a standard illuminator with a beam (11.4-mm diameter spot size)  and a modified illuminator with a restricted beam spot (slitted illuminator--3.5-mm x 11-mm spot size).  Sample type 1 used the standard light source, while sample type 2 used either the standard or the modified light source depending on sample length.

Optical properties measured for sample type 1 were reflectance and transmittance of the adaxial (top) and abaxial (bottom) surfaces.  Measurement procedures limited to sample type 2 reflectance and transmittance measurements to only one surface of a sample; generally, the adaxial surface was measured.

Focused Field Campaign (FCC)-Winter (W):

Optical properties were measured at two sites in the SSA: Old Jack Pine  (OJP) and Old Black Spruce (OBS). The measurement methods described above were used.  Jack pine trees were sampled at SSA-OJP, and black spruce trees were sampled at SSA-OBS.  Adaxial and abaxial surfaces of the needles were measured.

FFC-Thaw (T):

Optical properties were measured at two sites in the SSA: OJP and OBS.   Jack pine trees were sampled at SSA-OJP, and black spruce trees were sampled at SSA-OBS. Measurements were made following the modified procedures of Daughtry et al. (1989) in which an image analysis system was used to measure the nonintercepted illumination beam.  Reflectance and transmittance of  the adaxial and abaxial surfaces of the samples were measured.

IFC-1, #-2, and #-3:

Optical properties were measured at five sites in the SSA: YJP, FEN, OBS, Old Aspen (OA), and Young Aspen (YA).  Jack pine, bearberry, and fuzzy-spiked wild rye [Elymus Innovatus] and some substrate components (dead needles and bark) were sampled at SSA-YJP. Bog birch (of various  senescing stages), buck bean, and a sedge [Carex sp.] were measured at SSA-FEN. Black spruce, wildrose [Rosa woodsii], Labrador tea [Ledum groenlandicum], and blueberry were sampled at SSA-OBS.  Mature aspen was measured at SSA-OA during IFC-1 only.  Young aspen, hazelnut [Corylus cornuta], alder [Alnus crispa], and balsam poplar [Populus balsamifera] were measured at the SSA-YA (IFC-2 and -3); aspen, hazelnut, and balsam poplar were measured at various senescent stages during IFC-3 only.

Optical properties were measured following the modified procedures of Daughtry et al. (1989).  An image analysis system was used to measure the nonintercepted illumination beam area.  Reflectance and transmittance of the adaxial (top) and abaxial (bottom) surfaces were measured for sample types 1 and 2.  Generally, the adaxial surface was measured.

1.6  Related Data Sets

BOREAS TE-12 SSA Shoot Geometry Data

BOREAS TE-12 SSA Water Potential Data

BOREAS TE-10 Leaf Optical Properties

2. Investigator(s)

2.1  Investigator(s) Name and Title.

Elizabeth A. Walter-Shea

Associate Professor

2.2  Title of Investigation

Radiation and Gas Exchange of Canopy Elements in a Boreal Forest

2.3  Contacts Information

Contact 1:

Mark A. Mesarch

University of Nebraska- Lincoln

Lincoln, NE

(402) 472-5904

(402) 472-0284

(402) 472-6614 (fax)

mmesarch@unlinfo.unl.edu

Contact 2:

Elizabeth A. Walter-Shea

University of Nebraska- Lincoln

Lincoln, NE

(402) 472-1553

(402) 472-6614 (fax)

agme012@unlvm.unl.edu

Contact 3:

Cynthia J. Hays

University of Nebraska- Lincoln

Lincoln, NE

(402) 472-6701

(402) 472-6614 (fax)

agme025@unlvm.unl.edu

Contact 4:

Shelaine Curd

Raytheon STX Corporation

NASA GSFC

Greenbelt, MD

(301) 286-2447

(301) 286-2039 (fax)

shelaine.curd@gsfc.nasa.gov

Contact 5:

Andrea Papagno

Raytheon STX Corporation

NASA GSFC

Greenbelt, MD

(301) 286-3134

(301) 286-2039 (fax)

apapagno@pop900.gsfc.nasa.gov

3.  Theory Of Measurements

Leaves, needles, and bark are canopy elements that are important in scattering radiation in boreal forest vegetation (Norman and Jarvis,  1974). Needle and bark properties can vary considerably depending on age and  height in the canopy;  elements deep in the canopy may be covered with algae and fungi, and shade-induced effects on shoot development may exist (Norman and Jarvis, 1974; Smith and Carter, 1988).  In the near-infrared portion of the electromagnetic spectrum, little radiation is absorbed; thus, scattering by canopy elements will be significant.  In contrast, leaves and needles absorb a large portion of photosynthetically active radiation (PAR) (Daughtry et  al., 1989; Williams, 1991).  Conifer needles absorb more PAR than deciduous leaves; twigs, especially the current year's growth, also absorb PAR  (Williams, 1991).  Thus, the scattering component of PAR may be small except in  sparse canopies with high underlying surface albedo.

In the LI-COR 1800-12 integrating sphere (LI-COR, Inc., Lincoln, Nebraska), the sample is held to the outside of the sphere, with a small section of the sample acting as part of the sphere wall.  The interior of the sphere is coated with barium sulfate to make a uniform diffuse reflector.  In this type of sphere, the sensor, in this case the SE590, does not directly observe the sample.  The field of view of the sensor is a section of the sphere wall.

To calculate reflectance, a comparison of the wall illumination caused by a beam of radiation reflected by the sample material to that reflected from the reference material is calculated.  The LI-COR 1800-12 uses the same illumination source for both cases.  The source is moved between ports to illuminate the sample and reference material.  Under ideal conditions, the sample reflectance is given by the ratio of the illuminated sample output and the reference output.  In reality, other factors must be considered.  First, the reference material is not a perfect reflector.  Also, not all of the incoming radiation beam hits the sample or reference; some radiation is scattered off of the sphere walls without hitting the target. Finally, adjustments must be made if the sample does not cover the entire port of the integration sphere.

Transmittance is calculated by comparing the wall illumination from radiation passed through the sample to the illumination when no sample was present.  As with reflectance measurements, corrections must be made to the ideal case.  Daughtry et al. (1989) describes the measurement methods for the three cases of leaf sizes.  Case 1 is for leaves that can completely cover the sample port of the integration sphere; case 2 is for leaves that are too narrow to cover the sample port but are long enough to be attached to a sample holder outside of the view through the sample port.

The difficulty in determining the reflectance and transmittance of leaves that are too small to cover the sample port (case 2) is that what is observed in the sample port now consists of a combination of the leaves and the material between the leaves; air for case 2.  The problem in this case is to determine the area of leaves covering the sample port and adjust the measured reflected and transmitted fluxes by that fractional area.  The fractional area of the needles was determined using a solid-state camera.  The image of the sample was transferred to a PC, where the areas were calculated.

4.Equipment

4.1  Instrument Description

The Spectron Engineering SE590 is a portable battery- or A/C-operated spectroradiometer consisting of a CE500 data analyzer/logger controller, CE390 spectral detector head, and an external battery charger/power supply.  The CE500 is a self-contained microprocessor-based controller that processes the signal from the detector head, amplifying and digitizing it with 12-bit resolution. For each spectral scan, the controller actuates the CE390 shutter, measures and stores the dark current, calculates optimum integration time, acquires the spectrum, and automatically subtracts the noise for all 256 spectral elements.  A series of scans can be taken and automatically averaged; for these measurements, four scans were averaged for full leaf samples and eight scans were averaged for all other samples.  The entire 12-bit binary spectrum is stored in a double-precision register until it is transmitted through the RS-232C port.  The spectral detector head uses a diffraction grating as the dispersive element; the spectrum is imaged onto a 256-element photodiode array.  Each element integrates simultaneously, acquiring the spectrum in a fraction of a second.  The interconnect cable from the spectral head to the controller couples the spectral signals to the  controller, and the timing and control signals to the detector head.  A shutter in the detector head, operated by the controller, closes the light path for dark current measurements.  For further information, consult the SE590  operating manual.  Serial Number 1571 was used.

The LI-COR LI-1800-12 Integrating Sphere is an instrument for collecting radiation that has been reflected from or transmitted through a sample  material.  An external light source illuminates a spot on the sample. Either a  standard light source (11.4-mm diameter) or a modified light source that restricts  the illumination spot size (3.5-mm x 11-mm) was used. The lamp used in the  external light source is a 6-Volt 10-Watt glass-halogen. For a further description, see the LI-COR Integrating Sphere Instruction Manual. Serial Number IS115-8304 was used in 1993, and IS319 was used in 1994.

An image analysis system was used to measure the gaps between sample elements (e.g., needles, twigs) when a sample did not fill the entire  integrating sphere sample port or a single sample element was too narrow to be completely encompassed by the modified light source.

A Coho solid-state camera (model 4812-2000/ES16) with a 60-mm focal 1ength:2.8 Nikon lens was used to view a sample. A near-infrared filter was added to  the lens after 20-August-1994.  The camera was mounted approximately 24.1 cm above the sample. The lens was set at an aperture of 11 mm.

The sample was placed on a Wolff two-bulb fluorescent light table. Red transparencies were placed under the sample to restrict the total amount  of light in the system to an area of peak response (608 nm) to avoid  saturating the signal from the camera. After 30-August-1994, a black cloth was draped around the camera lens down to the light table to reduce the amount of extraneous light shining on the sample or into the lens.

A Data Translation frame grabber board (UM-08128-B) was used to input the signal from the camera to an IBM 80286.  SPSS’ software JAVA version 1.4  was used to measure the areas of the gaps between needles. The display  monitor was an IBM VGA with 640- by 480- pixels.

4.1.1 Collection Environment

Measurements of black spruce and jack pine needles were made in the  control environment of the laboratory.  Aspen leaves were measured on-site at the SSA-YA and SSA-OA site.  Other samples were measured at the site where they were collected or back at the lab.

4.1.2 Source/Platform

The Spectron Engineering SE590 was connected to the LI-COR integrating sphere.  This assembly was mounted on a camera tripod and adjusted to ensure that the light source was level.

4.1.3 Source/Platform Mission Objectives

None given.

4.1.4 Key Variables

Specular reflectance, transmittance and absorbance of needle and leaf elements.

4.1.5  Principles of Operation

The SE590 spectral detector head uses a diffraction grating as the dispersive element; the spectrum is imaged onto a 256-element photodiode array.  Each element integrates simultaneously, acquiring the spectrum in a fraction of  a second.

The LI-COR LI-1800-12 integrating sphere is an external integrating sphere, which means that the sample is external to the sphere; when it is in place, a small part of the sample actually makes up part of the sphere wall.  For further information, see the LI-COR 1800-12 Integrating Sphere Instruction Manual.

The Cohu solid state camera transmits a signal to the frame grabber board, which translates the intensity of each pixel to a gray scale from 0 (black) to 255 (white) levels.  The JAVA software program was set up to count the number of pixels in a defined area of interest for a range of gray scales that represent the "white" gaps between the sample needle elements.

4.1.6  Instrument Measurement Geometry

The SE590 was mounted on the LI-COR LI-1800-12 integrating sphere.  A tripod is attached to the support connecting the SE590 and integrating sphere. A modified external light source with a slitted beam  (3.5 mm x 11 mm) was used to illuminate narrow  samples and associated reference. A standard external light source with a  circular beam (11.4-mm diameter spot size) was used to illuminate all other samples and associated reference.  The light source was kept in a horizontal position according to integrating sphere manual requirements.

4.1.7  Manufacturer of Instrument

Spectron Engineering SE590 Spectroradiometer:

Spectron Engineering, Inc.

25 Yuma Court

Denver, CO 80223

(303) 733-1060

LI-COR LI-1800-12 Integrating Sphere:

LI-COR, Inc.

Box 4425

Lincoln, NE 68504

(402) 467-3576

Cohu Solid State Camera:

Cohu, Inc., Electronics Division

5755 Kearny Villa Road

P.O. Box 85623

San Diego, CA 92138-0221

(619) 277-6700

(619) 277-0221 (fax)

Frame Grabber Board:

Data Translation, Inc.

100 Locke Drive

Marlboro, MA 01752-1192

(508) 481-3700

SPSS, Inc.

233 S. Wacker Drive

11th Floor

Chicago, IL 60606-6307

(800) 543-2185

(800) 841-0064 (fax)

4.2  Calibration

4.2.1  Specifications

Each SE590 has a unique wavelength associated with each of its 252 bands. A cubic spline interpolation was applied to the 252 bands to standardize  the wavelengths to every 5 nm from 400 to 1000 nm, so that wavelength to wavelength comparisons can be made between SE590s.

4.2.1.1  Tolerance

The SE590 response  was checked periodically using neutral density filters of  known transmittances (Mesarch et al., 1991).  For all measurement periods, no corrections were made to the SE590 response, because mean relative errors were less than 0.2 percent across wavelengths.  The collimation  of the LI-COR LI-1800-12 integrating sphere illuminator was checked daily by making a stray light measurement (LI-COR, 1983). Results from a temperature dependency study indicate that measurements at 1000 nm may result in discrepancies of approximately 50-W/m2/sr/µm if the instrument temperature varies for 16 to 43.5 ° C (Blad et al., 1990).  The temperature effect should be negligible because the suite of measurements required to calculate reflectance and transmittance ratios is acquired in a short period of time, during which temperature change is minor to nonexistent.

4.2.2  Frequency of Calibration

Transmittance filter tests were conducted before, during, and after field measurements.  A preseason wavelength characterization was performed at Goddard Space Flight Center (GSFC) in April 1993 and March 1994.

4.2.3  Other Calibration Information

Wavelengths, in nanometers, used for data reduction for IFC-1993 and FFC-W were:

channel wavelength      ch. wavelength     ch. wavelength

------- ----------      --- ----------     --- ----------

1 369.0514        2  371.7167        3  374.3852

4 377.0569        5  379.7318        6  382.4099

7 385.0912        8  387.7756        9  390.4633

10 393.1541       11  395.8481       12  398.5453

13 401.2457       14  403.9493       15  406.6561

16 409.3661       17  412.0792       18  414.7955

19 417.5151       20  420.2378       21  422.9637

22 425.6928       23  428.4250       24  431.1605

25 433.8992       26  436.6410       27  439.3860

28 442.1342       29  444.8856       30  447.6402

31 450.3980       32  453.1590       33  455.9231

34 458.6905       35  461.4610       36  464.2347

37 467.0116       38  469.7917       39  472.5750

40 475.3615       41  478.1512       42  480.9440

43 483.7400       44  486.5393       45  489.3417

46 492.1473       47  494.9561       48  497.7680

49 500.5832       50  503.4016       51  506.2231

52 509.0478       53  511.8757       54  514.7068

55 517.5411       56  520.3786       57  523.2193

58 526.0631       59  528.9102       60  531.7604

61 534.6138       62  537.4704       63  540.3302

64 543.1932       65  546.0594       66  548.9288

67 551.8013       68  554.6770       69  557.5560

70 560.4381       71  563.3234       72  566.2119

73 569.1035       74  571.9984       75  574.8965

76 577.7977       77  580.7021       78  583.6097

79 586.5205       80  589.4345       81  592.3517

82 595.2721       83  598.1956       84  601.1224

85 604.0523       86  606.9854       87  609.9217

88 612.8612       89  615.8039       90  618.7498

91 621.6989       92  624.6511       93  627.6065

94 630.5652       95  633.5270       96  636.4920

97 639.4602       98  642.4315       99  645.4061

100 648.3839      101  651.3648      102  654.3489

103 657.3362      104  660.3267      105  663.3204

106 666.3173      107  669.3174      108  672.3206

109 675.3271      110  678.3367      111  681.3495

112 684.3655      113  687.3847      114  690.4071

115 693.4327      116  696.4615      117  699.4934

118 702.5285      119  705.5669      120  708.6084

121 711.6531      122  714.7010      123  717.7520

124 720.8063      125  723.8638      126  726.9244

127 729.9882      128  733.0552      129  736.1254

130 739.1988      131  742.2754      132  745.3552

133 748.4381      134  751.5243      135  754.6136

136 757.7061      137  760.8018      138  763.9007

139 767.0028      140  770.1081      141  773.2166

142 776.3282      143  779.4430      144  782.5611

145 785.6823      146  788.8067      147  791.9343

148 795.0650      149  798.1990      150  801.3362

151 804.4765      152  807.6200      153  810.7667

154 813.9166      155  817.0697      156  820.2260

157 823.3855      158  826.5481      159  829.7140

160 832.8830      161  836.0552      162  839.2306

163 842.4092      164  845.5910      165  848.7760

166 851.9642      167  855.1555      168  858.3500

169 861.5478      170  864.7487      171  867.9528

172 871.1601      173  874.3705      174  877.5842

175 880.8011      176  884.0211      177  887.2443

178 890.4707      179  893.7003      180  896.9331

181 900.1691      182  903.4083      183  906.6506

184 909.8962      185  913.1449      186  916.3968

187 919.6519      188  922.9102      189  926.1717

190 929.4364      191  932.7043      192  935.9753

193 939.2495      194  942.5270      195  945.8076

196 949.0914      197  952.3784      198  955.6685

199 958.9619      200  962.2585      201  965.5582

202 968.8611      203  972.1672      204  975.4765

205 978.7890      206  982.1047      207  985.4236

208 988.7456      209  992.0709      210  995.3993

211 998.7309      212 1002.0650      213 1005.4030

214 1008.7440     215 1012.0890      216 1015.4360

217 1018.7870     218 1022.1410      219 1025.4980

220 1028.8590     221 1032.2220      222 1035.5890

223 1038.9590     224 1042.3320      225 1045.7080

226 1049.0870     227 1052.4700      228 1055.8560

229 1059.2450     230 1062.6370      231 1066.0320

232 1069.4310     233 1072.8330      234 1076.2380

235 1079.6460     236 1083.0570      237 1086.4720

238 1089.8890     239 1093.3100      240 1096.7340

241 1100.1620     242 1103.5920      243 1107.0260

244 1110.4620     245 1113.9020      246 1117.3460

247 1120.7920     248 1124.2420      249 1127.6940

250 1131.1500     251 1134.6090      252 1138.0720

Wavelengths, in nanometers, used for data reduction for FFC-T and IFC-1, -2, and -3 were:

channel wavelength   ch. wavelength   ch. wavelength

------- ----------   --- ----------   --- ----------

1 369.1879       2 371.884        3 374.5831

4 377.285        5 379.9898       6 382.6975

7 385.4081       8 388.1217       9 390.8381

10 393.5574      11 396.2796      12 399.0047

13 401.7327      14 404.4635      15 407.1973

16 409.934       17 412.6736      18 415.4161

19 418.1614      20 420.9097      21 423.6609

22 426.4149      23 429.1719      24 431.9317

25 434.6945      26 437.4601      27 440.2286

28 443.0001      29 445.7744      30 448.5516

31 451.3317      32 454.1147      33 456.9007

34 459.6895      35 462.4812      36 465.2758

37 468.0733      38 470.8737      39 473.6769

40 476.4831      41 479.2922      42 482.1042

43 484.9191      44 487.7368      45 490.5575

46 493.3811      47 496.2075      48 499.0369

49 501.8691      50 504.7043      51 507.5423

52 510.3832      53 513.2271      54 516.0738

55 518.9234      56 521.7759      57 524.6313

58 527.4897      59 530.3509      60 533.215

61 536.082       62 538.9519      63 541.8247

64 544.7003      65 547.5789      66 550.4604

67 553.3448      68 556.2321      69 559.1222

70 562.0153      71 564.9113      72 567.8101

73 570.7119      74 573.6165      75 576.5241

76 579.4345      77 582.3478      78 585.2641

79 588.1832      80 591.1052      81 594.0301

82 596.9579      83 599.8887      84 602.8223

85 605.7588      86 608.6982      87 611.6405

88 614.5857      89 617.5337      90 620.4847

91 623.4386      92 626.3954      93 629.3551

94 632.3176      95 635.2831      96 638.2515

97 641.2227      98 644.1969      99 647.1739

100 650.1539     101 653.1367     102 656.1224

103 659.1111     104 662.1026     105 665.097

106 668.0943     107 671.0945     108 674.0977

109 677.1037     110 680.1126     111 683.1244

112 686.1391     113 689.1567     114 692.1771

115 695.2005     116 698.2268     117 701.256

118 704.2881     119 707.323      120 710.3609

121 713.4017     122 716.4453     123 719.4919

124 722.5413     125 725.5937     126 728.6489

127 731.707      128 734.7681     129 737.832

130 740.8988     131 743.9685     132 747.0411

133 750.1167     134 753.1951     135 756.2764

136 759.3606     137 762.4477     138 765.5377

139 768.6305     140 771.7263     141 774.825

142 777.9266     143 781.0311     144 784.1384

145 787.2487     146 790.3619     147 793.4779

148 796.5969     149 799.7187     150 802.8435

151 805.9711     152 809.1016     153 812.2351

154 815.3714     155 818.5106     156 821.6527

157 824.7977     158 827.9457     159 831.0965

160 834.2502     161 837.4068     162 840.5663

163 843.7287     164 846.8939     165 850.0621

166 853.2332     167 856.4072     168 859.5841

169 862.7638     170 865.9465     171 869.1321

172 872.3205     173 875.5119     174 878.7061

175 881.9033     176 885.1033     177 888.3062

178 891.5121     179 894.7208     180 897.9324

181 901.1469     182 904.3643     183 907.5847

184 910.8079     185 914.034      186 917.263

187 920.4949     188 923.7297     189 926.9673

190 930.2079     191 933.4514     192 936.6978

193 939.9471     194 943.1992     195 946.4543

196 949.7123     197 952.9731     198 956.2369

199 959.5035     200 962.7731     201 966.0455

202 969.3208     203 972.5991     204 975.8802

205 979.1642     206 982.4511     207 985.7409

208 989.0337     209 992.3293     210 995.6278

211 998.9292     212 1002.233     213 1005.54

214 1008.85      215 1012.163     216 1015.479

217 1018.798     218 1022.12      219 1025.444

220 1028.772     221 1032.102     222 1035.435

223 1038.771     224 1042.11      225 1045.452

226 1048.797     227 1052.145     228 1055.496

229 1058.849     230 1062.206     231 1065.565

232 1068.927     233 1072.292     234 1075.66

235 1079.031     236 1082.405     237 1085.782

238 1089.161     239 1092.544     240 1095.929

241 1099.317     242 1102.709     243 1106.103

244 1109.5       245 1112.899     246 1116.302

247 1119.708     248 1123.116     249 1126.528

250 1129.942     251 1133.359     252 1136.78

5.  Data Acquisition Methods

The CANOPY_LOCATION parameter of the data set is a relative measure based upon the height of the sample location relative to the height of the canopy.  Therefore, a sample collected from the top of a short tree in a tall canopy and a sample collected from the bottom of a short tree in a short canopy can both be designated as "low" for the HEIGHT parameter.  CANOPY_LOCATION parameters used are HIGH, LOW, MIDDLE, GROUND, AND UNDER.  UNDER refers to an understory component being measured.  GROUND refers to the lower third of the total canopy height.

For IFC-1993 and IFC-1, -2, and -3:

Samples were cut from plants, covered with damp cheesecloth, sealed in a Ziploc-type storage bag, and stored and transported in a cool ice chest to  the lab for processing.  Generally, processing of conifer needles and twigs required 2 to 3 days to complete. If the samples were not measured on the same day they were cut from the plant, they were stored in a refrigerator for processing in the next 1 or 2 days.  The cut end of the samples from YA and FEN (i.e., aspen, bog birch, buck bean, marsh marigold, cinquefoil, and sedge) were placed in water-filled vials upon cutting and remained so until completion of optical measurements, generally within 10 minutes of cutting.

For FFC-W and FFC-T:

Samples were collected from trees and placed in Ziploc-type storage bags containing damp paper towels.  The samples were packed in ice and shipped to Lincoln, NE, for measurement.

Adaxial leaf surfaces of aspen, buck bean, bog birch, and  substrate element samples typically were brighter in color and had a glossier sheen than the abaxial surfaces. The abaxial surface of Labrador tea leaves was heavily pubescent; the current year's growth was white pubescent, and the prior years' growth having rust-colored pubescent.  The black spruce surface without the  whitish lines was defined as the adaxial surface.  Jack pine needles were attached to twigs in paired fascicles and generally had a semicircular cross-sectional shape.  The outer semicircular convex, curved side of the needle was considered the adaxial surface. (For a more detailed description of the shape of the needles, see the BOREAS TE-12 shoot geometry document.)

Approximately 40 needles for a particular age class (e.g., 1994 growth, 1993 growth) were selected from three shoots on a cut sample and placed in a bag.  Needles were randomly sampled from this mixture to produce three samples per age class.

A sample mount was designed to maintain the sample elements in the same orientation relative to one another for all measurements.  Two types of  sample mounts were constructed, one for each light source.  One sample mount had an aperture the same size as the integrating sphere sample port and slightly  larger than the illumination spot of the full lamp (e.g., 11.4-mm diameter); the  second sample mount had an aperture (5.5 mm x 15 mm) designed to hold the short black spruce needles and slightly larger than the beam dimensions of the slitted illuminator (3.5 mm x 11 mm) for the integrating sphere.  Approximately 6-11 sample elements (e.g., needles or twigs) were placed on the sample mount using transparent tape to affix the needle ends to the sample mount in such a

way that the tape would not be visible in the integrating sphere sample port. The elements were placed so that gaps between elements were approximately equal. Prior to 20-Jul-1994, elements were spaced a sample element apart.  Samples made after 20-Jul-1994 were constructed so that the sample elements were evenly spaced, but the fraction of nonintercepted illumination beam  was approximately 5-15-% of the total beam area.

Stray light was measured at the beginning of each day and/or at the beginning of a set of measurements with each light source used. The color of the  needles and twigs was coded using the Munsell color chips (Munsell, 1977) prior  to optical measurements. The method of sample measurement varied based on physical size of the sample element:

For sample type 1, the sample element filled the integrating sphere sample port  (samples included were aspen, hazelnut, balsam poplar, alder, blueberry, wildrose, bearberry,  sedge, bog birch, and buck bean).  Procedures for optical property measurements are described by Daughtry et al.(1989).  During the measurement, individual leaves remained attached to the branch that was cut from the plant.  Each leaf measured was inserted into the integrating sphere sample port with the adaxial (top) surface facing the inside of the sphere.  Three measurements followed: 1) light reflected from the reference for the adaxial surface, 2) light reflected from the adaxial surface, and 3) light transmitted through the abaxial (bottom) surface. The sample was removed from the sample port and reinserted so that the abaxial surface faced the inside of the sphere; the sample was arranged so that the same portion of the sample as for the adaxial surface was measured.  Three additional measurements followed: 1) light transmitted through the adaxial surface,  2) light reflected from the abaxial surface, and 3) light reflected from the reference for the abaxial surface.  The modified external light source was used for narrow leaf samples (e.g., wildrose, blueberry, and bearberry).  All  other samples were illuminated with the standard external light source.

For sample type 2, the sample elements were narrow and the tape holding the needles was not visible in the sample holder (samples included were jack pine and black spruce needles and twigs).

Prior to 20-Apr-1994:

The fraction of nonintercepted illumination beam was determined using the painting technique described in Daughtry et al. (1989). This method allowed only one surface to be measured per sample.  Either the standard or the modified light source was used depending on the sample mount used.

The sample mount was inserted into the integrating sphere sample holder with the adaxial needle surfaces facing inside the sphere.  Light reflected from the adaxial needle surface and from the reference with the sample in place (adaxial reference) was measured.  The sample mount was removed from the sphere.  Light reflected from the reference without a sample and integrating sphere wall (transmitted mode without sample) was measured.  The sample mount was placed back into the integrating sphere sample holder with the adaxial needle surfaces facing toward the inside of the sphere.  Light transmitted through the abaxial surfaces was measured.  The sample was turned so that the abaxial needle surfaces of the sample were facing the inside of the sphere.  Three additional measurements followed: 1) light transmitted through the adaxial needle surfaces, 2) light reflected from the reference with the sample in place (abaxial reference), and 3) light reflected from the abaxial needle surfaces.

After the entire suite of measurements was made, the sample mount was removed from the integrating sphere. The intended measured surface was painted with Testors (1149) black paint, with care taken not to paint the other side of the sample element. The sample mount was placed in the integrating sphere sample holder with the blackened surface facing away from the sphere.  Light transmitted through the blackened sample was measured.

After 20-Apr-1994:

A modified set of procedures for optical property measurements described by Daughtry et al. (1989) was used. The sample mount was attached to a mask with an aperture the size of the illumination light source beam.  This assembly was placed on the light table underneath an image analysis system's camera. The image was captured and the gap area measured by counting the number of "whitish" pixels. The area was ratioed to the total area of the incident beam (i.e., the area of the mask) to give the gap fraction (area of nonintercepted illumination beam).  The sample was then placed in the integrating sphere sample holder and the suite of measurements, described above, was made. The measurement of the blackened sample was not made.

Prior to 20-Apr-1994:

To calculate the fraction of nonintercepted illumination beam, the painting technique described in Daughtry et al. (1989) was used. The standard light source was used for all samples.

Multiple measurements of the transparent tape alone were made of reflectance and transmittance properties; little variation was found between pieces of tape.  Thus, a sample, constructed of tape only, was used to characterize the light reflected and transmitted through the tape for each sample in the suite of measurements described below. The tape sample was placed in the integrating sphere with the adhesive side of the tape facing the inside of the sphere. The light reflected from the tape and the light reflected from the reference with the sample in place (adhesive side) were measured.  The tape sample was turned so that the adhesive side was facing away from the inside of the sphere.  The light reflected from the reference with the sample in place (nonadhesive side) and the light transmitted through the tape were measured.  The needle sample mount was placed in the sample holder with the sample elements facing away from the inside of the sphere.  Light transmitted through the sample was measured. The sample mount was removed from the sphere.  The light transmitted through the sample port without the sample (i.e., a sphere wall reference) and the light reflected from the reference (without the sample) were measured. Then, the sample mount was placed in the sample holder with the  sample elements facing away from the inside of the sphere.  Light reflected from the reference with the sample in place (for transmittance calculation) was measured.  Then the sample mount was placed in the sample holder with the sample elements facing toward the inside of the sphere. Light reflected from the reference with the sample in place (for reflectance calculation) and the light reflected from the sample were measured.

After the entire suite of measurements was made, the sample mount was removed from the integrating sphere. The intended measured surface was painted with Testors (1149) black paint, with care taken not to paint the tape. The sample mount was placed in the integrating sphere sample holder with the blackened surface facing away from the sphere.  Transmitted radiation through the blackened sample was measured.

After 20-April-1994:

This method allows measurement of only one side of the sample.  The image analysis system was used, in the same manner as type 2, to measure the fraction of nonintercepted illumination beam.  The sample was then placed in the integrating sphere, and the suite of measurements, as described above, was made except for the measurement of the blackened sample.

For more details on the LI-COR LI-1800-12 integrating sphere configuration for each measurement, see Mesarch et al. (1991).

6.   Observations

6.1  Data Notes

None given.

6.2  Field Notes

Needle ages measured in 1993 were 1993 growth, 1992 growth and 1991 growth.  Needle and twig ages measured in 1994, unless otherwise noted, are 1994 growth, 1993 growth, and 1992 growth.

Sampled:  04-Aug-1993

Measured: 04-Aug-1993

Leaf optical properties from aspen near SSA-FEN; 3 trees x 3 branches x 3 replications;  both adaxial and abaxial surfaces. First replication was for a leaf at the top of the branchlet, second replication was for a leaf in the middle of the branchlet, and third replication was for a leaf on the lowest part of the branchlet. Branches were selected from the north side of the trees.

Sampled:  04-Aug-1993

Measured: 05-Aug-1993

Needle optical properties from jack pine near SSA-FEN; 3 trees x 1 branch x 3 ages x 3 replications of adaxial needle surfaces; several measurements of abaxial needle surface and adaxial twig surface.  Branches from trees 1 and 2 were sunlit, and the branch from tree 3 was shaded.

Sampled:  06-Aug-1993

Measured: 07-10-Aug-1993

Coordinate measurements of leaf gas exchange and needle optical properties from black spruce near SSA-FEN.  3 trees x 4 branches x 3 ages x 3 replications of adaxial needle surface. Tree 1 was sunlit, tree 2 was lightly shaded, and tree 3 was deeply shaded.  All trees were about 3 to 3.5 m tall in a grove of trees about 10 m tall. Needles from the shoots that were measured for photosynthesis rates were not used for optical property measurements.  Instead, needles from a shoot near those sampled for gas exchange were used.

Sampled:  16-Aug-1993

Measured: 17-18-Aug-1993

Optical properties from jack pine needle and substrate elements at SSA-YJP. 9 trees x 1 branch x 3 ages x 1 replication of adaxial needle surface; several measurements of abaxial needle surface and adaxial twig surface. 9 samples were measured of dead needles, bark, blueberry, bearberry, and leafy lichen; both adaxial and abaxial surfaces were measured of all substrate elements except the dead needles.

Sampled:  19-Aug-1993

Measured: 19-Aug-1993

Coordinated measurements of leaf gas exchange and leaf optical properties on aspen near SSA-FEN (11 trees x 1 branch x 1 replication on both adaxial and abaxial leaf surfaces).  Trees were approximately 2 m tall.  Also leaf optical properties of bog birch (5 plants x 3 color classes x 1 replication of adaxial and abaxial leaf surface) and buck bean (9 plants x 1 replication of adaxial and abaxial leaf surface).

Sampled:  20-Aug-1993

Measured: 21-Aug-1993

Coordinated measurements of leaf gas exchange and needle optical properties on black spruce near SSA-FEN. 5 trees x 1 branch x 3 ages x 1 replication of adaxial needle surface; several measurements of abaxial needle surface and adaxial twig surface.  Needles measured for photosynthesis rates were not used for optical property measurements; instead, needles from shoots close to the shoot used for gas exchange were used. Leaf optical properties of other vegetation in or near the  SSA-FEN (e.g., marsh marigold, cinquefoil and Labrador tea) were measured (5 plants x 1 replication of adaxial and abaxial leaf surface).

Sampled:  03-Feb-1994

Measured: 13-Feb-1994

Needle optical properties on jack pine collected at SSA-OJP. 7 trees x 1 branch x 3 ages x 3 replications; measurement of both adaxial and abaxial surfaces. Needles were from the 1993, 1992, and 1991 growth.

Sampled:  07-Feb-1994

Measured: 14-Feb-1994

Needle optical properties from black spruce collected at SSA-OBS. 8 trees x 1 branch x 3 ages x 3 replications; measurement of both adaxial and abaxial surfaces. Needles were from the 1993, 1992, and 1991 growth.

Sampled:  14-Apr-1994

Measured: 20-21-Apr-1994

Needle optical properties from jack pine collected at SSA-OJP. 1 tree x 3 branches x 3 ages x 3 replications; measurement of both adaxial and abaxial surfaces. Needles were from the 1993, 1992, and 1991 growth.

Sampled:  15-Apr-1994

Measured: 20-21-Apr-1994

Needle optical properties from black spruce collected at SSA-OBS. 6 trees x 2 branches x 3 ages x 3 replications; measurement of both adaxial and abaxial surfaces. Needles were from the 1993, 1992, and 1991 growth.

Sampled:  26-May-1994

Measured: 27-29-May-1994

Needle leaf optical properties on jack pine collected at SSA-YJP.  9 trees x 1 branch x 3 ages x 3 replications; measurements of both adaxial and abaxial surfaces. Trees were located about 150 m east of the hut and 20-50 m north of access road. Branches were from the south side of the trees and generally in full sunlight at 1230-1600 local time. Branches were collected 2-4 m from the soil surface. Needles were from the 1993, 1992, and 1991 growth.

Sampled:  29-May-1994

Measured: 29-May-1994

Leaf optical properties from aspen collected at SSA-YA.  3 trees x 3 branches x 3 replications; measurements of both adaxial and abaxial surfaces. Leaves were from branches sampled from the south side of the trees and 1.5-2 m from the soil surface.

Sampled:  01-Jun-1994

Measured: 2-4-Jun-1994

Needle optical properties from black spruce collected at SSA-OBS.  3 trees x 3 branches x 3 ages x 3 replications; measurements of mostly  adaxial surfaces. Needles were from the 1993, 1992, and 1991 growth. Samples were collected from the top of the trees via th canopy access tower and on the south-facing side of the trees.  Branches were sunlit.

Sampled:  04-Jun-1994

Measured: 04-Jun-1994

Needle optical properties from jack pine samples that were coordinated with shoot gas exchange measurements.  Samples were collected at SSA-YJP.  4 trees x 1 branch x 2 ages x 3 replications; measurements of both adaxial and abaxial surfaces. Needles were from the 1993 and 1992 growth. In addition, reflectance was measured from 1994's unexpended growth (the entire unexpended shoot); 1 replication for each tree.

Sampled:  06-Jun-1994

Measured: 06-Jun-1994

Measurements of leaf optical properties on aspen collected at SSA-OA. 3 trees x 3 branches x 3 replications for the top of the canopy and 1 tree x 3 branches x 3 replications from the lowest leaf level in the canopy. Measured adaxial and abaxial surfaces. Sample collection was made from the canopy access tower.

Sampled:  07-Jun-1994

Measured: 8-9-Jun-1994

Needle optical properties from black spruce collected at SSA-OBS.  3 trees x 3 branches x 3 ages x 3 replications; measurements of mostly adaxial surfaces. Needles were from the 1993, 1992, and 1991 growth. Samples were collected from lower in the canopy (approximately 9 m from the soil surface) via the canopy access tower.  Branches from trees 1 and 2 were mostly shaded. Branches from tree 3 were sunlit most of the time. Measured  reflectance properties of black spruce twigs.

Sampled:  07-Jun-1994

Measured: 07-Jun-1994

Leaf optical properties from aspen collected at SSA-YA.  3 trees x 3 branches x 3 replications from sunlit branches at the top of the canopy; measured adaxial and abaxial surfaces.

Sampled:  10-Jun-1994

Measured: 10-12-Jun-1994

Needle optical properties from jack pine collected at SSA-YJP.  9 trees x 1 branch x 3 ages x 3 replications; measurements of both adaxial and abaxial surfaces. Trees were located about 150 m east of the hut and 20-50 m south of the access road. Branches were collected near the top of the south side of trees. Needles were from the 1993 and 1992 growth.  In addition, reflectance was measured from 1994's growth (the shoot was just expanding) for the entire shoot. Measured reflectance for 3 replications of male cones from each tree.

Sampled:  15-Jun-1994

Measured: 15-Jun-1994

Leaf optical properties from aspen collected at SSA-YA.  3 trees x 3 branches x 3 replications for the top of the canopy; measured adaxial and abaxial surfaces. The optical property system was set up inside the van because rain prevented "outdoor" measurements.

Sampled:  21-Jul-1994

Measured: 23-24-Jul-1994

Needle optical properties from jack pine collected at SSA-YJP.  9 trees x 1 branch x 3 ages x 3 replications; measurements of both adaxial and abaxial surfaces. Trees were located about 250 m east of the hut and 80 m south of the access road. Branches were collected from the south side of sunlit trees, 1.5-2 m from the soil surface. Needles from 1994, 1993, and 1992 growth were measured.

Sampled:  25-Jul-1994

Measured: 26-27-Jul-1994

Needle optical properties from jack pine collected at SSA-YJP.  9 trees x 1 branch x 3 ages x 3 replications; measurements of both adaxial and abaxial surfaces. Trees were located about 150 m east of the hut and 20-40 m north of the access road. Branches were collected from the south side of sunlit trees at the top of the canopy. Twig reflectance was measured.  Needles from 1994, 1993, and 1992 growth were measured.

Sampled:  29-Jul-1994

Measured: 29-Jul-1994

Leaf optical properties from aspen collected at SSA-YA.  3 trees x 3 branches x 3 replications from the top of the canopy; measured adaxial and abaxial surfaces. Branches were sunlit. Leaf optical properties on understory components (hazelnut, balsam poplar, and alder) collected at SSA-YA.  9 trees x 1 replication.  Samples were shaded within the aspen canopy.

Sampled:  30-Jul-1994

Measured: 31-Jul-02-Aug-1994

Needle optical properties from black spruce collected at SSA-OBS.  3 trees x 3 branches x 3 ages x 3 replications; mostly adaxial surfaces.  Samples were collected from sunlit branches at the top of the canopy via the canopy access tower. Needles were from the 1994, 1993, and 1992 growth.

Sampled:  02-Aug-1994

Measured: 02-04-Aug-1994

Needle optical properties from black spruce collected at SSA-OBS.  3 trees x 3 branches x 3 ages x 3 replications; mostly adaxial surfaces.  Samples were collected from shaded branches lower in the canopy (approximately 9 m from the soil surface) via the canopy access tower.  Needles were from the 1994, 1993, and 1992 growth. Reflectance properties of black spruce twigs were measured.  Optical properties of understory components were also measured (e.g., wildrose, Labrador tea, and blueberry); 5 samples of each component.

Sample:   05-Aug-1994

Measured: 05-Aug-1994

Leaf optical properties on species (e.g., bog birch, buck bean, buck bean with dried, rusty residue {rimpis}, and sedge) at SSA-FEN.  5 samples of each species; adaxial and abaxial surfaces were measured.

Sampled:  04-Sep-1994

Measured: 05-06-Sep-1994

Needle optical properties from black spruce collected at SSA-OBS.  3 trees x 3 branches x 3 ages x 3 replications; mostly adaxial surfaces. Samples were collected from lower in the canopy (approximately 9 m from the soil surface) via the canopy access tower.  Trees 1 and 3 are sunlit samples, and tree 2 is shaded.  Measurements were not made on tree 3 branch 2. Needles from 1994, 1993, and 1992 growth were measured.

Sampled:  04-Sep-1994

Measured: 04-Sep-1994

Leaf optical properties from aspen collected at SSA-YA.  3 trees x 3 branches x 3 replications from sunlit branches at the top of the canopy; adaxial and abaxial surfaces were measured.

Sampled:  07-Sep-1994

Measured: 08-11-Sep-1994

Needle optical properties from black spruce collected at SSA-OBS.  3 trees x 3 branches x 3 ages x 3 replications. Samples were collected from the top of the canopy via the canopy access tower. Reflectance properties of black spruce twigs were measured.  Optical properties of understory components (e.g., wildrose, Labrador tea, and blueberry); 5 samples of each component.

Sampled:  07-Sep-1994

Measured: 07-Sep-1994

Coordinated measurements of leaf optical properties and gas exchange on aspen, hazelnut, and balsam poplar collected at SSA-YA.  3 leaf color classes x 3 replications from the middle of the canopy. The color classes were leaves that were identified as Strong Yellow Green (5GY 4/4 to 5GY 6/8), Moderate Yellow Green (2.5GY 5/6 to 2.5GY 7/4), and Strong Yellow (5Y 8/6 to 5Y 8/12).

Sampled:  11-Sep-1994

Measured: 11-13-Sep-1994

Needle optical properties from jack pine collected at SSA-YJP.  9 trees x 1 branch x 3 ages x 3 replications; both adaxial and abaxial surfaces were measured. Needles were from 1994, 1993, and 1992 growth.  Trees were located about 150 m east of the hut and 20-40 m north of the access road; branches were collected from the top of the canopy.  Twig reflectance was measured.  Understory components (e.g., brown and yellow jack pine needles, bark, bearberry, and fuzzy-spiked wild rye) were measured.

Sampled:  14-Sep-1994

Measured: 14-15-Sep-1994

Needle optical properties from jack pine collected at SSA-YJP.  9 trees x 1 branches x 3 ages x 3 replications; both adaxial and abaxial surfaces were measured. Trees were located about 100 m east of the hut and 20-40 m north of the access road (near the canopy access scaffolding).  Sunlit branches were collected from the south side of the trees approximately 2-3 m from soil surface.  Twig reflectance was measured.

7. Data Description

7.1  Spatial Characteristics

See below.

7.1.1  Spatial Coverage

The measurement sites and associated North American Datum 1983 (NAD83) coordinates are:

SSA-OBS canopy access tower located at the flux tower site, site id G8I4T, Lat/Long: 53.98717 N, 105.11779 W, Universal Transverse Mercator (UTM) Zone 13, N:5,982,100.5 E:492,276.5

SSA-FEN site id F0L9T, Lat/Long: 53.80206 N, 104.61798 W, UTM Zone 13, N:5,961,566.6 E: 525,159.8

SSA-OA canopy access tower located 100 m up the path to the flux tower site, site id C3B7T, Lat/Long: 53.62889 N, 106.19779 W, UTM Zone 13, N:5,942,899.9 E:420,790.5

SSA-YA canopy access tower, site id D0H4T, Lat/Long:  53.65601 N, 105.32314 W, UTM Zone 13, N:5,945,298.9, E:478,644.1

SSA-YJP near the flux tower site, site id F8L6T, Lat/Long: 53.87581 N, 104.64529 W, UTM Zone 13, N:5,969,762.5 E:523,320.2

7.1.2 Spatial Coverage Map.

Not available.

7.1.3  Spatial Resolution

The standard external light source has a spot size 11.4 mm in diameter. The modified external light source has a spot size restricted to 3.5 mm x 11 mm.  Jack pine needles were longer than the spot size of 11.4 mm, while the black spruce needles were slightly longer than the 3.5-mm narrow part of the modified external light source.  Broad leaves easily fit into the 11.4-mm diameter of the standard light source.

7.1.4 Projection

None given.

7.1.5 Grid Description

None given.

7.2  Temporal Characteristics

Aspen, hazelnut, balsam poplar, alder, marsh marigold, cinquefoil, sedge, buck bean, and bog birch leaves were measured on the same day that the samples were cut from the plant. Samples of aspen, hazelnut, and poplar were measured at least once every IFC; the other species were measured at least once during BOREAS.  Substrate elements were measured up to two days after they were collected.  Black spruce and jack pine samples were measured between 1 and 4 days after they were collected. Jack pine and black spruce samples  were collected two times each IFC.

7.2.1  Temporal Coverage.

Branches were collected from 1530-0023 Greenwich Mean Time (GMT).  Leaf, needle, and twig optical properties measurement times ranged from 1130-0500 GMT.  Measurements were not made continuously (IFC-1993: 04-Aug-1993 through 21-Aug-1993; IFC-1 1994: 26-May-1994 through 15-Jun-1994; IFC-2: 21-Jul-1994 through 05-Aug-1994; IFC-3: 04-Sep-1994 through 11-Sep-1994).

The following list gives the date, site, and type of samples collected:

Date       Site     Species

----------   -------  ----------

04-AUG-1993  SSA-FEN  Jack Pine

04-AUG-1993  SSA-FEN  Aspen

06-AUG-1993  SSA-FEN  Black Spruce

16-AUG-1993  SSA-YJP  Jack Pine

19-AUG-1993  SSA-FEN  Aspen

19-AUG-1993  SSA-FEN  Buck Bean

19-AUG-1993  SSA-FEN  Bog Birch

20-AUG-1993  SSA-FEN  Black Spruce

21-AUG-1993  SSA-FEN  Ledum

26-May-1994  SSA-YJP  Jack Pine

29-May-1994  SSA-YA   Aspen

01-JUN-1994  SSA-OBS  Black Spruce

04-JUN-1994  SSA-YJP  Jack Pine

06-JUN-1994  SSA-OA   Aspen

07-JUN-1994  SSA-OBS  Black Spruce

07-JUN-1994  SSA-YA   Aspen

10-JUN-1994  SSA-YJP  Jack Pine

15-JUN-1994  SSA-YA   Aspen

21-JUL-1994  SSA-YJP  Jack Pine

25-JUL-1994  SSA-YJP  Jack Pine

29-JUL-1994  SSA-YA   Aspen

29-JUL-1994  SSA-YA   Hazelnut

29-JUL-1994  SSA-YA   Alder

29-JUL-1994  SSA-YA   Balsam Poplar

30-JUL-1994  SSA-OBS  Black Spruce

02-AUG-1994  SSA-OBS  Black Spruce

02-AUG-1994  SSA-OBS  Ledum

02-AUG-1994  SSA-OBS  Wild Rose

02-AUG-1994  SSA-OBS  Blueberry

05-AUG-1994  SSA-FEN  Bog Birch

05-AUG-1994  SSA-FEN  Buck Bean

05-AUG-1994  SSA-FEN  Sedge

04-SEP-1994  SSA-OBS  Black Spruce

04-SEP-1994  SSA-YA   Aspen

07-SEP-1994  SSA-OBS  Black Spruce

07-SEP-1994  SSA-OBS  Ledum

07-SEP-1994  SSA-OBS  Wild Rose

07-SEP-1994  SSA-OBS  Blueberry

07-SEP-1994  SSA-YA   Aspen

07-SEP-1994  SSA-YA   Hazelnut

07-SEP-1994  SSA-OBS  Balsam Poplar

08-SEP-1994  SSA-YJP  Jack Pine

11-SEP-1994  SSA-YJP  Jack Pine

7.2.2 Temporal Coverage Map

None given.

7.2.3  Temporal Resolution

Measurements of sample type 1 required approximately 3 minutes. Measurements of sample type 2 required a minimum of 7 minutes. The most time-consuming part of the procedure was creating the sample.  The optimum time interval between sample measurements was a few minutes during a measurement period.

7.3 Data Characteristics

Data characteristics are defined in the companion data definition file (te12lod.def).

7.4 Sample Data Record

Sample data format shown in the companion data definition file (te12lod.def).

8. Data Organization

8.1 Data Granularity

All of the Leaf Optical Data for SSA Species are contained in one dataset.

8.2. Data Format

The data files contain numerical and character fields of varying length separated by commas.  The character fields are enclosed in single apostrophe marks. There are no spaces between the fields. Sample data records are shown in the companion data definition file (te12lod.def).

9.  Data Manipulations

9.1  Formulae

None given.

9.1.1  Derivation Techniques/Algorithms

For sample type 1: sample fills the integrating sphere sample port:

REFL(I) = [(R(I) - STR(I)) / (REF(I) - STR(I))] * 100                  [1]

where

REFL = hemispherical reflectance of adaxial or abaxial leaf surface

(percent)

I = channel

R = adaxial or abaxial reflected measurement (counts)

STR = stray light measurement (counts)

REF = adaxial or abaxial reference measurement (counts)

TRAN(I) = [T(I) / (REF(I)-STR(I))] * 100                               [2]

where

TRAN = hemispherical transmittance adaxial or abaxial leaf surface

(percent)

T = adaxial or abaxial transmitted measurement (counts)

REF = abaxial or adaxial reference measurement (counts)

Measurements of nonintercepted beam fraction for sample types 2 and 3 after 20-Apr-1994: The image analysis system was used to measure the gaps between the sample elements. The ratio of the total gap area to the incident beam  area was used as a measure of the fractional area of nonintercepted beam, FRACT.

For sample type 2:

REFL(I) = {[R(I) - STR(I)] * [1 - FRACT] /

[REFR(I) - STR(I)]} * 100                                  [3]

where

I = channel

R = adaxial or abaxial reflected measurement (counts)

STR = stray light measurement (counts)

REFL = hemispherical reflectance of surface (percent)

REFR = reference measurement with surface (intended to be calculated)

facing toward the sphere (counts)

FRACT = fractional area of nonintercepted beam

TRAN(I) = {[T(I) / (REFT(I) - STR(I))] - [(W(I) * FRACT) /

(REF(I) - STR(I))]} * [1.0 / (1.0 - FRACT)] * 100     [4]

where

TRAN = hemispherical transmittance of surface (percent)

REFT = reference measurement with surface (intended to be calculated)

facing away from sphere (counts)

REF = adaxial or abaxial reference measurement (counts)

W = integrating sphere wall reference measurement (transmitted without a

sample) (counts)

T = transmitted measurement of sample (counts)

For sample type 2 and measurements made before 20-Apr-1994: the fractional area of nonintercepted beam is calculated from a measurement of the painted sample.

FRAC1 = TBLACK(ii) / {[REFT(ii) - STR(ii)] * W(ii) /

[REFN(ii) - STR(ii)]}                                     [5]

where

FRAC1 = first iteration of fraction of beam not intercepted by sample

ii = channel centered at approximately 680 nanometers

TBLACK = transmitted measurement of painted sample (counts)

REFT = reference measurement with surface facing away from sphere (counts)

W = integrating sphere wall reference measurement (transmitted without a

sample) (counts)

REFN = reference measurement without sample (count)

STR = stray light measurement (counts)

TRAN680 = {[T(ii) / (REFT(ii) - STR(ii))] -

[(W(ii) * FRAC1) / (REFN(ii) - STR(ii)]} / (1.0 - FRAC1) [6]

where

TRAN680 = transmittance of sample at 680 nanometers

T = transmitted measurement of unpainted sample (counts)

FRACT = {[T(ii) / (REFT(ii) - STR(ii))] - TRAN680} /

{[W(ii) / [REFN(ii) - STR(ii)] - TRAN680}             [7]

where

FRACT = fractional area of nonintercepted beam

For instrument check using the neutral density filters:

TRAND(I) = {[T(I) / (REF(I) - STR(I))] *

[(X(I) - STR(I)) / W(I)]} * 100.0                               [8]

where

TRAND = transmittance of the neutral density filter (percent)

T = transmitted measurement of unpainted sample (counts)

I = channel

W = integrating sphere wall reference measurement (transmitted without a

sample) (counts)

REF = reference measurement with filter in sample port (counts)

X = reference measurement with nothing in sample port (counts)

STR = stray light measurement (counts)

9.2  Data Processing Sequence

9.2.1 Processing Steps

For sample type 1, where the sample filled the integrating sphere sample port (e.g., aspen, buck bean, bog birch, bearberry, and lichen).  Equation 1 was used to calculate the hemispherical reflectance for the adaxial and abaxial surfaces.  Equation 2 was used to calculate the hemispherical transmittance for adaxial and abaxial surfaces. Note that the transmittance calculations use the reference from the opposite surface (e.g., adaxial transmittance uses reference with abaxial surface facing into the sphere).

For sample type 2, where the narrow sample was not completely covering the sample port, but was long enough to extend across the sample mount (e.g., jack pine and black spruce),  equations 3 and 4 were used to calculate hemispherical reflectance and transmittance, respectively, based on the fraction of nonintercepted beam.

For sample type 2, where the narrow sample was not completely covering the sample port and the date was before 20-Apr-1994, the fraction of the nonintercepted beam was calculated using the measurement from the painting technique (e.g., jack pine and black spruce). Equation 5 was used to make a first estimate of the fraction of the illumination beam not intercepted by the sample.  Measurements from the instrument channel that was centered around 680 nm (i.e., channel 109 was centered at 678.97 nm and 677.10 nm in 1993 and 1994, respectively) were used, because minimal transmitted radiation through the sample at this wavelength was assumed (Daughtry et al., 1989).  Equation 5 was used to calculated the actual transmittance for the channel close to 680 nm, based on the estimate of the fraction of beam not striking the sample calculated in Equation 5.  The actual fraction of nonintercepted beam was calculated with Equation 7.

For the neutral density filter test of the integrating sphere and spectroradiometer, equation 8 was used to calculate the hemispherical transmittance of the neutral density filter.  Each filter was measured three times.  The results were compared to the known transmittances of the filters.

For all sample measurements:

Each SE590 has a unique centered wavelength associated with each of its 252 channels that varies over time.  A cubic spline interpolation was applied to the 252 channels to standardize the centered wavelength to every 5 nm from 400 to 1000 nm, so that from wavelength to wavelength and year to year, comparisons could be made among measurements from various SE590s used in BOREAS.

The measurements submitted are individual sample measurements or averaged by replication and/or branch.  Individual sample measurements are listed when a corresponding gas exchange measurement was made.  Average values were submitted for other measurements.  Averages are composed of all replications for a tree/age.  For example, black spruce samples collected on 01-Jun-1994 included 3 trees by 3 branches/tree by 3 ages by 3 replications/age for one height in the canopy.  Nine files would be submitted for this collection, one file for each tree and age class for this height.  All understory and substrate elements were averaged together per sampling date, unless age or color classification is stated.  Files that include averages also include standard deviations.

9.2.2  Processing Changes

For sample type 2, where the narrow sample was not completely covering the sample port and the date was before 20-Apr-1994, the fraction of the nonintercepted beam was calculated using the measurement from the painting technique (e.g., jack pine and black spruce).

9.3  Calculations

None given.

9.3.1  Special Corrections/Adjustments

None given.

9.3.2  Calculated Variables

None given.

9.4  Graphs and Plots

None given.

10.  Errors

10.1  Sources of Error

Errors can result if the sample thickness does not permit proper sealing around the sample holder of the integrating sphere (this can be a problem especially in the midvein area of leaves or with twigs and bark).  Light entering or exiting from the loose seal can result in erroneous values. If the light source is not maintained in a horizontal position, the light output can vary, leading to errors as the light source is placed in different configurations in the suite of measurements to calculate reflectance and transmittance. Samples of bark and lichen tended to crack when placed in the integrating sphere sample holder thus allowing light to pass through the sample; reflectances could be biased lower and transmittances could be biased higher than if no cracks were present.

Sample type 2 measurements had a greater chance of error than sample type 1 measurements, especially in the calculation and measurement of the fraction of nonintercepted beam. The measurement method requires that the sample always be placed in the integrating sphere sample holder in the same orientation relative to the integrating sphere for each measurement; otherwise, the fraction of nonintercepted illumination beam will not be representative of the true gap fraction between elements throughout the suite of measurements.  The sample mount was designed to minimize this error.  The lower light intensity of the modified external light source (compared to the standard light source) and the low reflectance and transmittance of the samples (particularly in the blue region of the spectrum; 400 to 500 nm) result in low illumination levels in the sphere that approach the sensitivity level of the SE590.

Samples created with large gap fractions complicated the transmittance measurements. Large fractions allowed more nonintercepted light into the sphere than small gap fractions, dominating the transmitted light signal.

Variations in the sample transmitted component may be masked by the nonintercepted light and/or be below the sensitivity of the SE590.

Errors in the calculation of the fraction of the nonintercepted beam using the  image analysis system were due to the variability of the light intensity of the fluorescent light source, resolution of the solid-state camera with respect to the individual gap areas to be measured, and the pixel-counting selection process. These errors resulted in approximately 10 to 30 percent relative error when estimating the fraction.  Larger relative errors tended to occur when samples were created with small fractions (i.e., 5 to 20 percent). However, the sensitivity of the optical property calculations to the error in the fraction is minimal at the small fractions.  Reflectance calculations are negligibly affected across the wavelength range of 400 to 1000 nm.  Transmittance calculations vary 1 to 1.5 percent absolute for small fractions with relative errors of 10 percent in fraction estimation.  Samples made before 20-Jul-1994 were constructed with a wide range of fractions, 30 to 80 percent, and the relative error in fraction measurement was also large (i.e., 10 to 30 percent).   Optical properties, especially transmittance, are more sensitive to errors in the gap fraction estimation when the gap fraction is large than when it is small. A 10 percent relative error in large gap fraction measurement gives a 1 to 5 percent and 5 percent absolute error in reflectance and transmittance calculations, respectively, across the wavelength range.

The following table lists the range of gap fractions that were measured/calculated, the extreme relative error of the gap fraction, and the resulting error in the calculation of optical properties using these gap

fractions.

Gap      Relative   Optical       Visible          Near Infrared

Range    Error      Measurement   Abs .    Rel.    Abs.    Rel.

----------------------------------------------------------------

1. Round Aperture

5 to 15  10%        Refl          <0.5     <3      1       2

Trans         1.25     16      1.25    4.6

20%        Refl          <0.5     <3      1.25    2.5

Trans         2        >20     2       5

30 to 60 10%        Refl          1.5      8.5     4.5     8.5

Trans         6.5      >20     5.5     14.5

20%        Refl          2        11.7    7       15.5

Trans         10       >20     8       20

40 to 80 10%        Refl          7.5      >20     12.5    20

Trans         15       >20     14      >20

30%        Refl          15       >20     22      >20

Trans         >20      >20     25      >20

2. Slitted Aperature

5 to 15  15%        Refl          <1       <6      1.25    2.5

Trans         1.5      20      1.75    5.8

30%        Refl          1.5      8       2       4

Trans         4        >20     2.5     7.7

Where Abs is Absolute and Rel is Relative.

Additional information may be found in the report by Mesarch et al., 1991.

10.2  Quality Assessment

The integrating sphere/SE590 system response changed little between the measurement periods as indicated by the transmittance measurements of neutral density filters.  Mean bias errors of known transmittances using the standard external light source averaged over the Thematic Mapper (TM) waveband regions were 0.13%, -0.09%, -0.09% and -0.03% (450-520, 520-600, 630-690, and 760-19900 nanometers, respectively). Mean bias errors of known transmittances using the modified external light source averaged over the TM waveband regions were 0.13%, -0.09%, -0.13% and -0.07%.

10.2.1 Data Validation by Source

None given.

10.2.2 Confidence Level/Accuracy Judgment

None given.

10.2.3 Measurement Error for Parameters

None given.

10.2.4 Additional Quality Assessments

None given.

10.2.5 Data Verification by Data Center

Data were examined for general consistency and clarity.

11.  Notes

None.

11.1 Limitations of the Data

None given.

11.2  Known Problems with the data.

Transmittance measurements for sample type 2 occasionally have negative values, which resulted from errors in the measurement of the fraction of  nonintercepted illumination beam and the sensitivity of the SE590, especially in the visible region of the spectrum (400 to 700 nm).

11.3  Usage Guidance

Reflectance measurements for all measurement are usable.  Transmittance measurements for sample type 2 may occasionally contain negative values and should be used with discretion. Transmittance measurements made before 20-Jul-1994, especially in the visible region of the spectrum (400 to 700 nm) may not show the small changes based on canopy location or light environment (shaded or unshaded), whereas measurements after 20-Jul-1994 may show more nuances of transmittance.

11.4  Other Relevant Information

Acknowledgment of other research staff who assisted in measurements:

Liquang Chen, UNL Graduate Student

Brian P. Lang, UNL Undergraduate Student

12. Application of the Data Set

This data set can be used to examine the optical properties of boreal vegetation.

13. Future Modifications and Plans

None given.

14. Software

14.1 Software Description

SPSS’ software JAVA version 1.4.

14.2 Software Access

None given.

15. Data Access

15.1 Contact Information

Ms. Beth Nelson

BOREAS Data Manager

NASA GSFC

Greenbelt, MD

(301) 286-4005

(301) 286-0239 (fax)

Elizabeth.Nelson@gsfc.nasa.gov

15.2 Data Center Identification

See Section 15.1.

15.3 Procedures for Obtaining Data

Users may place requests by telephone, electronic mail, or fax.

15.4 Data Center Status/Plans

The Terrestrial Ecology (TE)-12 Leaf optic data are available from the Earth Observing System Data and Information System (EOSDIS) Oak Ridge National Laboratory (ORNL) Distributed Active Archive Center (DAAC). The BOREAS contact at ORNL is:

ORNL DAAC User Services

Oak Ridge National Laboratory

(865) 241-3952

ornldaac@ornl.gov

ornl@eos.nasa.gov

16. Output Products and Availability

16.1  Tape Products

None.

16.2 Film Products

None.

16.3 Other Products

Tabular American Standard Code for Information Interchange (ASCII) files.

17. References

17.1 Platform/Sensor//Instrument/Data Processing Documentation

LI-COR LI-1800-12 Integrating Sphere Instruction Manual. 1983. Pub. No. 8305-0034.  LI-COR, inc., Lincoln, NE.

Spectron Engineering, Inc. Operating Manual: SE590 field-portable data-logging spectroradiometer, Spectron Engineering, Denver, CO  80223.

17.2  Journal Articles and Study Reports

Blad, B.L., E.A. Walter Shea, C.J. Hays, and M.A. Mesarch. 1990. Calibration of field reference panel and radiometers used in FIFE 1989. AgMet Progress Report 90-3. Department of Agricultural Meteorology. University of Nebraska-Lincoln. Lincoln, Nebraska  68583-0728.

Daughtry, C.S.T., L.L. Biehl, and K.J. Ranson. 1989. A new technique to measure the spectral properties of conifer needles. Remote Sens. Environ. 27:81-1991.

Mesarch, M. A., E.A. Walter-Shea, B.F. Robinson, J.M. Norman and C.J. Hays. 1991.  Performance evaluation and operation of a field-portable radiometer for individual leaf optical measurements.  AgMet Progress  Report 91-2. Department of Agricultural Meteorology, University of Nebraska-Lincoln, Lincoln, Nebraska  68583-0728.

Munsell Color Charts for Plant Tissue. 1977. MACBETH Div. of Kollmorgen Instrument Corp., Baltimore, MD.

Norman, J.M. and P.G. Jarvis. 1974. Photosynthesis in Stika Spruce [Picea

Sitchenis (Bong.) Carr.] III. Measurements of canopy structure and interception of radiation. J. Appl. Ecol. 11:375-398.

Sellers, P. and F. Hall. 1994. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1994-3.0, NASA BOREAS Report (EXPLAN 94).

Sellers, P., F. Hall, H. Margolis, B. Kelly, D. Baldocchi, G. den Hartog, J. Cihlar, M.G. Ryan, B. Goodison, P. Crill, K.J. Ranson, D. Lettenmaier, and D.E. Wickland. 1995. The boreal ecosystem-atmosphere study (BOREAS): an overview and early results from the 1994 field year. Bulletin of the American Meteorological Society. 76(9):1549-1577.

Sellers, P., F. Hall, and K.F. Huemmrich. 1996. Boreal Ecosystem-Atmosphere Study: 1994 Operations. NASA BOREAS Report (OPS DOC 94).

Sellers, P.and F. Hall. 1996. Boreal Ecosystem-Atmosphere Study: Experiment Plan. Version 1996-2.0, NASA BOREAS Report (EXPLAN 96).

Sellers, P., F. Hall, and K.F. Huemmrich. 1997. Boreal Ecosystem-Atmosphere Study: 1996 Operations. NASA BOREAS Report (OPS DOC 96).

Sellers, P.J., F.G. Hall, R.D. Kelly, A. Black, D. Baldocchi, J. Berry,

M. Ryan, K.J. Ranson, P.M. Crill, D.P. Lettenmaier, H. Margolis, J.

Cihlar, J. Newcomer, D. Fitzjarrald, P.G. Jarvis, S.T. Gower, D.

Halliwell, D. Williams, B. Goodison, D.E. Wickland, and F.E. Guertin. 1997.

BOREAS in 1997: Experiment overview, scientific results, and future

directions. JGR BOREAS Special Issue, 102 (D24), 28731-28769.

Smith, W.K. and G.A. Carter. 1988. Shoot structural effects on needle temperatures and photosynthesis in conifers. Amer. J. of Bot. 75:496-500.

Williams, D.L. 1991. A comparison of spectral reflectance properties at the needle, branch and canopy level for selected conifer species. Remote Sens. Environ. 35:79-1993.

17.3  Archive/DBMS Usage Documentation

None.

18. Glossary of Terms

Abaxial:  The bottom surface of a leaf or needle. For aspen, buck bean, bog birch, and substrate element samples, this side was not as bright in color and had a less glossier sheen than the adaxial surfaces. The abaxial surface of Labrador tea leaves was heavily pubescent; the current year's growth was white pubescent, and the prior years' growth having rust-colored pubescent. For black spruce, this was the surface with the whitish lines.  Jack pine needles were attached to twigs in paired fascicles and generally had a semicircular cross-sectional shape.  For jack pine needles, the inner semicircular concave, curveed side was considered to be the abaxial surface.

Absolute (Abs) Error:  Percent absolute error.

Adaxial:  The top surface of a leaf or needle.  For aspen, buck bean, bog birch, and substrate element samples, this side was typically brighter in color and had a glossier sheen than the abaxial surfaces. The adaxial surface of Labrador tea leaves was the least pubescent surface.  For black spruce, this was the surface without the whitish lines.  Jack pine needles were attached to twigs in paired fascicles and generally had a semicircular cross-sectional shape.  The outer semicircular convex, curved side of the needle was considered the adaxial surface.

Adaxial Transmittance:  The light shines on the adaxial surface, goes

through the needle, and then passes into the integrating sphere. The

spectroradiometer then measures the integrated light that is bouncing

around in the sphere.

Adaxial Reflectance:  The light shines on the adaxial surface, bounces

off this surface, and then bounces around in the integrating sphere.  The

spectroradiometer then measures the integrated light that is bouncing

around in the sphere.

Abaxial Transmittance: The light shines on the abaxial surface, goes

through the needle, and then passes into the integrating sphere. The

spectroradiometer then measures the integrated light that is bouncing

around in the sphere.

Abaxial Reflectance:  The light shines on the abaxial surface, bounces

off this surface, and then bounces around in the integrating sphere. The

spectroradiometer then measures the integrated light that is bouncing

around in the sphere.

Channel (ch):  One band on the SE590, each having a unique wavelength.

Reflectance (Refl):  The light shines on the specified surface and bounces

off this surface and then bounces around in the integrating sphere; the

spectroradiometer then measures the integrated light that is bouncing

around in the sphere

Relative (Rel) Error:  Percent relative error.

Transmittance (Trans):  The light shines on the specified surface, goes

through the needle and then passes into the integrating sphere; the

spectroradiometer then measures the integrated light that is bouncing

around in the sphere.

19.  List of Acronyms

ASCII  - American Standard Code for Inforamtion Interchange

BOREAS - BOReas Ecosystem-Atmosphere Study

BORIS  - BOREAS Information System

DAAC   - Distributed Active Archive Center

EOS    - Earth Observing System

EOSDIS - EOS Data and Information System

FEN    - Nipawin Fen site

FFC-T  - Focused Field Campaign/Thaw 1994

FFC-W  - Focused Field Campaign/Winter 1994

GMT    - Greenwich Mean Time

GSFC   - Goddard Space Flight Center

IFC    - Intensive Field Campaign

NAD    - North American Datum of 1983

NASA   - National Aeronautics and Space Administration

NSA    - Northern Study Area

OA     - Old Aspen

OBS    - Old Black Spruce

OJP    - Old Jack Pine

ORNL   - Oak Ridge National Laboratory

PANP   - Prince Albert National Park

PAR    - Photosynthetically Active Radiation

SSA    - Southern Study Area

Stdev  - Standard Deviation

TE     - Terrestrial Ecology

TM     - Thematic Mapper

UNL    - University of Nebraska - Lincoln

URL    - Uniform Resource Locator

UTM    - Universal Transverse Mercator

YA     - Young Aspen

YJP    - Young Jack Pine

20.  Document Information

20.1  Document Revision Date

Written: 30-Sept-1996

Last Updated: 14-Sep-1998

20.2  Document Review Date(s)

BORIS Review:  30-Apr-1997

Science Review:  27-Jul-1998

20.3  Document ID

20.4  Citation

Please acknowledge the efforts of E.A. Walter-Shea, M.A. Mesarch, and L. Chen at the University of Nebraska-Lincoln

20.5  Document Curator

20.6  Document URL

Keywords

Reflectance

Transmittance

Optical Properties

Integrating Sphere