## Instructions
DEVELOP INSTRUCTIONS FOR SPREADSHEET USE AND LIMITATIONS

## DataEntry
Data Entry Form for Youden Analysis | [7 empty] | Are NIST Values Available? | no | RMAP (Jan 1, 00 thru Oct 1, 00)
[10 empty] | 2000-10-01 | 2000-01-01
RMAP Group: | RMAP | [7 empty] | 0
Artifact #1: | 10 kg #1 | [7 empty] | 2.1
Artifact #2: | 10 kg #2
Tolerance: | 23 | [7 empty] | 0
Data Analyzed Using: | Median | [7 empty] | 2.1
Units: | milligrams
| Metrologist | Date 10 kg #1 | 10 kg #1 | Unc 10 kg #1 | Date 10 kg #2 | 10 kg #2 | Unc 10 kg #2 | Ave Unc
1 | A | 2000-01-01 | -2 | 5 | 2000-09-28 | -7 | 5 | 5
2 | B | 2000-01-15 | 1 | 8 | 2000-08-15 | -3 | 8 | 8
3 | C | 2000-04-30 | 4 | 6 | 2000-07-05 | -8 | 6 | 6
4 | D | 2000-05-05 | 3 | 4 | 2000-05-15 | 9 | 4 | 4
5 | E | 2000-07-07 | 2 | 2 | 2000-04-15 | -4 | 2 | 2
6 | F | 2000-08-01 | 0 | 7 | 2000-03-01 | 2 | 7 | 7
7 | G | 2000-08-10 | 1 | 5 | 2000-02-01 | -1 | 5 | 5
8 | H | 2000-10-01 | 2 | 9 | 2000-01-15 | -3 | 9 | 9
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Note on B7: Median or Mean or NIST
Note on K1: yes or no

## YoudenGraph
RMAP (Jan 1, 00 thru Oct 1, 00)
| 10 kg #1 |  | 10 kg #2 |  |  |  |  | (All values are in milligrams)
Median | 1.5 |  | -3 |  |  |  |  | Youden sd = | 2.92
Mean | 1.375 |  | -1.875 |  |  |  |  | Circle Radius = | 7.1539
[8 empty] | Circle Center = | Median
Metrologist | 10 kg #1 | 10 kg #2 | Unc | SYS | RAN | Unc Test
A | -2 | -7 | 5 | -4.9829 | 0.33219 | Warning |  |  |  | OUT R&S | Both the random and systematic error exceed the uncertainty
B | 1 | -3 | 8 | -0.25 | 0.25 | IN |  |  |  | OUT Sys | Only the systematic error exceeds the uncertainty
C | 4 | -8 | 6 | -1.3975 | 4.1926 | IN |  |  |  | OUT Ran | Only the random portion of the error exceeds the uncertainty
D | 3 | 9 | 4 | 6.8025 | 5.2909 | OUT R&S |  |  |  | Warning | Only the summation of the random and systematic errors exceed the uncertainty
E | 2 | -4 | 2 | -0.27951 | 0.83853 | IN |  |  |  | IN | The measurement process appears to be within control
F | 0 | 2 | 7 | 1.8271 | 3.3931 | IN
G | 1 | -1 | 5 | 0.77308 | 1.2885 | IN
H | 2 | -3 | 9 | 0.25 | 0.25 | IN

## LineGraphData
[5 empty] | RMAP (Jan 1, 00 thru Oct 1, 00) | [8 empty] | Median | Median |  |  | RMAP (Jan 1, 00 thru Oct 1, 00) 10 kg #1 (analyzed versus Median) | [6 empty] | RMAP (Jan 1, 00 thru Oct 1, 00) 10 kg #2 (analyzed versus Median) | [5 empty] | RMAP (Jan 1, 00 thru Oct 1, 00) Enormal Test (must be <1)
| 10 kg #1 |  | 10 kg #2 | [6 empty] | (All values are in milligrams) |  |  | Old 2sd = | 3.6936 | 10.82 |  |  |  | 10 kg #1 Enormal
Median | 1.5 |  | -3 |  |  |  |  | Median Value 10 kg #1 = | 1.5 | n=8 |  |  | New 2sd= | 3.6936 | 6.8173 | [19 empty] | RMAP (Jan 1, 00 thru Oct 1, 00) Precision Ratio (must be >3)
Mean | 1.375 |  | -1.875 |  |  |  |  | Median Unc 10 kg #1 = | 3.6936 | n=8 |  |  | New Value = | 1.5 | -3
[8 empty] | New Median Value 10 kg #1 = | 1.5 | n=8 |  |  |  | 8 | 8
[8 empty] | New Median Unc 10 kg #1 = | 3.6936 | n=8 |  |  |  | 8 | 7
[8 empty] | Median Value 10 kg #2 = | -3 | n=8
[8 empty] | Median Unc 10 kg #2 = | 10.82 | n=8
[8 empty] | New Median Value 10 kg #2 = | -3 | n=7
[8 empty] | New Median Unc 10 kg #2 = | 6.8173 | n=7
Tolerance: | 23 |  |  |  | Data Analyzed versus the Median values
|  |  |  | <1 | >3 |  |  |  |  | <1 | >3
Metrologist | Date | 10 kg #1 | Unc 10 kg #1 | En 10 kg #1 | Pr 10 kg #1 | Out 2sd | Date | 10 kg #2 | Unc 10 kg #2 | En 10 kg #2 | Pr 10 kg #2 | Out 2sd |  | 10 kg #1 | 10 kg #2 |  | Metrologist | Date | 10 kg #1 | Unc 10 kg #1 | Median | Median Unc | Median Unc | Metrologist | Date | 10 kg #2 | Unc 10 kg #2 | Median | Median Unc | Median Unc | Metrologist | En 10 kg #1 | En 10 kg #2 | EnLimit | Metrologist | Pr 10 kg #1 | Pr 10 kg #2 | PrLimit
A | 2000-01-01 | -2 | 5 | 0.56303 | 4.6 |  | 2000-09-28 | -7 | 5 | 0.47313 | 4.6 |  |  | -2 | -7 | 1 | A | 2000-01-01 | -2 | 5 | 1.5 | 5.1936 | -2.1936 | A | 2000-09-28 | -7 | 5 | -3 | 3.8173 | -9.8173 | A | 0.56303 | 0.47313 | 1 | A | 4.6 | 4.6 | 3
B | 2000-01-15 | 1 | 8 | 0.056744 | 2.875 |  | 2000-08-15 | -3 | 8 | 0 | 2.875 |  |  | 1 | -3 | 2 | B | 2000-01-15 | 1 | 8 | 1.5 | 5.1936 | -2.1936 | B | 2000-08-15 | -3 | 8 | -3 | 3.8173 | -9.8173 | B | 0.056744 | 0 | 1 | B | 2.875 | 2.875 | 3
C | 2000-04-30 | 4 | 6 | 0.35482 | 3.8333 |  | 2000-07-05 | -8 | 6 | 0.55056 | 3.8333 |  |  | 4 | -8 | 3 | C | 2000-04-30 | 4 | 6 | 1.5 | 5.1936 | -2.1936 | C | 2000-07-05 | -8 | 6 | -3 | 3.8173 | -9.8173 | C | 0.35482 | 0.55056 | 1 | C | 3.8333 | 3.8333 | 3
D | 2000-05-05 | 3 | 4 | 0.27551 | 5.75 |  | 2000-05-15 | 9 | 4 | 1.5182 | 5.75 | yes |  | 3 |  | 4 | D | 2000-05-05 | 3 | 4 | 1.5 | 5.1936 | -2.1936 | D | 2000-05-15 | 9 | 4 | -3 | 3.8173 | -9.8173 | D | 0.27551 | 1.5182 | 1 | D | 5.75 | 5.75 | 3
E | 2000-07-07 | 2 | 2 | 0.11904 | 11.5 |  | 2000-04-15 | -4 | 2 | 0.14075 | 11.5 |  |  | 2 | -4 | 5 | E | 2000-07-07 | 2 | 2 | 1.5 | 5.1936 | -2.1936 | E | 2000-04-15 | -4 | 2 | -3 | 3.8173 | -9.8173 | E | 0.11904 | 0.14075 | 1 | E | 11.5 | 11.5 | 3
F | 2000-08-01 | 0 | 7 | 0.18952 | 3.2857 |  | 2000-03-01 | 2 | 7 | 0.51171 | 3.2857 |  |  | 0 | 2 | 6 | F | 2000-08-01 | 0 | 7 | 1.5 | 5.1936 | -2.1936 | F | 2000-03-01 | 2 | 7 | -3 | 3.8173 | -9.8173 | F | 0.18952 | 0.51171 | 1 | F | 3.2857 | 3.2857 | 3
G | 2000-08-10 | 1 | 5 | 0.080433 | 4.6 |  | 2000-02-01 | -1 | 5 | 0.23656 | 4.6 |  |  | 1 | -1 | 7 | G | 2000-08-10 | 1 | 5 | 1.5 | 5.1936 | -2.1936 | G | 2000-02-01 | -1 | 5 | -3 | 3.8173 | -9.8173 | G | 0.080433 | 0.23656 | 1 | G | 4.6 | 4.6 | 3
H | 2000-10-01 | 2 | 9 | 0.051396 | 2.5556 |  | 2000-01-15 | -3 | 9 | 0 | 2.5556 |  |  | 2 | -3 | 8 | H | 2000-10-01 | 2 | 9 | 1.5 | 5.1936 | -2.1936 | H | 2000-01-15 | -3 | 9 | -3 | 3.8173 | -9.8173 | H | 0.051396 | 0 | 1 | H | 2.5556 | 2.5556 | 3
[16 empty] | 9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 21 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 22 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 23 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 24 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 25 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 26 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 27 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 28 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 29 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A
[16 empty] | 30 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A

## YoudenCalculations
| Median= | 1.5 | -3 |  |  |  |  | s= | 2.92 |  |  |  | 10 kg #1 | 1.5 |  |  | 10 kg #1 | Y | 10 kg #2 | Systematic
| Unc | 3.6936 | 10.82 |  |  |  |  | S*2.45= | 7.1539 | "95% confidence" |  |  | 10 kg #2 | -3 |  |  | -5.6539 | -3
[13 empty] | radius | 7.1539 | 0.28616 |  | -5.3677 | -0.99691
| 2sd = | 3.6936 | 10.82 | [6 empty] | Uncertainty Analysis | [6 empty] | -5.0816 | -0.19626
| Median= | 1.5 | -3 | [6 empty] | OUT R&S | Both the random and systematic error exceed the uncertainty | [5 empty] | -4.7954 | 0.39791
| Mean= | 1.375 | -1.875 | [6 empty] | OUT Sys | Only the systematic error exceeds the uncertainty | [5 empty] | -4.5093 | 0.88161
[7 empty] | 0.125 |  |  | OUT Ran | Only the random portion of the error exceeds the uncertainty | [5 empty] | -4.2231 | 1.2923
[10 empty] | Warning | Only the summation of the random and systematic errors exceed the uncertainty | [5 empty] | -3.937 | 1.6495
[10 empty] | IN | The measurement process appears to be within control | [5 empty] | -3.6508 | 1.9646
| Metrologist | 10 kg #1 | 10 kg #2 | sys | ran | SYS | RAN |  | RAN^2 | ERROR | Unc | Unc Test |  |  |  |  | -3.3646 | 2.2453
1 | A | -2 | -7 | -5.3033 | 0.35355 | -4.9829 | 0.33219 |  | 0.11035 | 5.3151 | 5 | Warning |  |  |  |  | -3.0785 | 2.4969
2 | B | 1 | -3 | -0.35355 | 0.35355 | -0.25 | 0.25 |  | 0.0625 | 0.5 | 8 | IN |  |  |  |  | -2.7923 | 2.7231
3 | C | 4 | -8 | -1.7678 | 5.3033 | -1.3975 | 4.1926 |  | 17.5781 | 5.5902 | 6 | IN |  |  |  |  | -2.5062 | 2.9269
4 | D | 3 | 9 | 9.5459 | 7.4246 | 6.8025 | 5.2909 |  | 27.9932 | 12.0934 | 4 | OUT R&S |  |  |  |  | -2.22 | 3.1106
5 | E | 2 | -4 | -0.35355 | 1.0607 | -0.27951 | 0.83853 |  | 0.70313 | 1.118 | 2 | IN |  |  |  |  | -1.9339 | 3.2759
6 | F | 0 | 2 | 2.4749 | 4.5962 | 1.8271 | 3.3931 |  | 11.5131 | 5.2202 | 7 | IN |  |  |  |  | -1.6477 | 3.4242
7 | G | 1 | -1 | 1.0607 | 1.7678 | 0.77308 | 1.2885 |  | 1.6602 | 2.0616 | 5 | IN |  |  |  |  | -1.3616 | 3.5567
8 | H | 2 | -3 | 0.35355 | 0.35355 | 0.25 | 0.25 |  | 0.0625 | 0.5 | 9 | IN |  |  |  |  | -1.0754 | 3.6742
9 | [16 empty] | -0.78925 | 3.7777
10 | [16 empty] | -0.50309 | 3.8677
11 | [16 empty] | -0.21693 | 3.9448
12 | [16 empty] | 0.069221 | 4.0094
13 | [16 empty] | 0.35538 | 4.0617
14 | [16 empty] | 0.64153 | 4.1022
15 | [16 empty] | 0.92769 | 4.131
16 | [16 empty] | 1.2138 | 4.1482
17 | [16 empty] | 1.5 | 4.1539
18 | [16 empty] | 1.7862 | 4.1482
19 | [16 empty] | 2.0723 | 4.131
20 | [16 empty] | 2.3585 | 4.1022
21 | [16 empty] | 2.6446 | 4.0617
22 | [16 empty] | 2.9308 | 4.0094
23 | [16 empty] | 3.2169 | 3.9448
24 | [16 empty] | 3.5031 | 3.8677
25 | [16 empty] | 3.7892 | 3.7777
26 | [16 empty] | 4.0754 | 3.6742
27 | [16 empty] | 4.3616 | 3.5567
28 | [16 empty] | 4.6477 | 3.4242
29 | [16 empty] | 4.9339 | 3.2759
30 | [16 empty] | 5.22 | 3.1106
[17 empty] | 5.5062 | 2.9269
[17 empty] | 5.7923 | 2.7231
[17 empty] | 6.0785 | 2.4969
[17 empty] | 6.3646 | 2.2453
[17 empty] | 6.6508 | 1.9646
[17 empty] | 6.937 | 1.6495
[17 empty] | 7.2231 | 1.2923
[17 empty] | 7.5093 | 0.88161
[17 empty] | 7.7954 | 0.39791
[17 empty] | 8.0816 | -0.19626
[17 empty] | 8.3677 | -0.99691
[17 empty] | 8.6539 | -3
[17 empty] | 8.3677 | -5.0031
[17 empty] | 8.0816 | -5.8037
[17 empty] | 7.7954 | -6.3979
[17 empty] | 7.5093 | -6.8816
[17 empty] | 7.2231 | -7.2923
[17 empty] | 6.937 | -7.6495
[17 empty] | 6.6508 | -7.9646
[17 empty] | 6.3646 | -8.2453
[17 empty] | 6.0785 | -8.4969
[17 empty] | 5.7923 | -8.7231
[17 empty] | 5.5062 | -8.9269
[17 empty] | 5.22 | -9.1106
[17 empty] | 4.9339 | -9.2759
[17 empty] | 4.6477 | -9.4242
[17 empty] | 4.3616 | -9.5567
[17 empty] | 4.0754 | -9.6742
[17 empty] | 3.7892 | -9.7777
[17 empty] | 3.5031 | -9.8677
[17 empty] | 3.2169 | -9.9448
[17 empty] | 2.9308 | -10.0094
[17 empty] | 2.6446 | -10.0617
[17 empty] | 2.3585 | -10.1022
[17 empty] | 2.0723 | -10.131
[17 empty] | 1.7862 | -10.1482
[17 empty] | 1.5 | -10.1539
[17 empty] | 1.2138 | -10.1482
[17 empty] | 0.92769 | -10.131
[17 empty] | 0.64153 | -10.1022
[17 empty] | 0.35538 | -10.0617
[17 empty] | 0.069221 | -10.0094
[17 empty] | -0.21693 | -9.9448
[17 empty] | -0.50309 | -9.8677
[17 empty] | -0.78925 | -9.7777
[17 empty] | -1.0754 | -9.6742
[17 empty] | -1.3616 | -9.5567
[17 empty] | -1.6477 | -9.4242
[17 empty] | -1.9339 | -9.2759
[17 empty] | -2.22 | -9.1106
[17 empty] | -2.5062 | -8.9269
[17 empty] | -2.7923 | -8.7231
[17 empty] | -3.0785 | -8.4969
[17 empty] | -3.3646 | -8.2453
[17 empty] | -3.6508 | -7.9646
[17 empty] | -3.937 | -7.6495
[17 empty] | -4.2231 | -7.2923
[17 empty] | -4.5093 | -6.8816
[17 empty] | -4.7954 | -6.3979
[17 empty] | -5.0816 | -5.8037
[17 empty] | -5.3677 | -5.0031
[17 empty] | -5.6539 | -3
[14 empty] | X1 |  |  | -5.6539 | -3
[14 empty] | X2 |  |  | 8.6539 | -3
[14 empty] | Y1 |  |  | 1.5 | 4.1539
[14 empty] | Y2 |  |  | 1.5 | -10.1539
[14 empty] | 4.5 |  |  | -15.5 |  |  | -20
[14 empty] | 4.5 |  |  | 1.5 |  |  | -3
[14 empty] | 17 |  |  | 18.5 |  |  | 14
[16 empty] | A | -2 |  | -7
[13 empty] | 6 |  |  | B | 1 |  | -3
[13 empty] | 17 |  |  | C | 4 |  | -8
[16 empty] | D | 3 |  | 9
[16 empty] | E | 2 |  | -4
[16 empty] | F | 0 |  | 2
[16 empty] | G | 1 |  | -1
[16 empty] | H | 2 |  | -3
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A
[16 empty] | #N/A | #N/A |  | #N/A