## Rolling 12 Month Forecast
Western Area Power Administration | [14 empty] | Starting Forecast Month: | 2007-11-01
Sierra Nevada Region
Twelve-Month Forecast of CVP Generation and Base Resource
[5 empty] | 2007-11-01 |  |  | Through | 2008-10-01
Values at Load Center (Tracy Substation)
| Exceedence Level: |  | 90% (Dry)
Month | CVP Generation |  | Project Use |  | First Preference |  | Reg & Res | Purchases and Exchanges | [5 empty] | Base Resource
| CVP Maximum Capability | CVP Energy Generation | Peak Project Use Demand | Project Use (PU) Load Energy | First Pref. (FP) Peak Demand | First Pref. (FP) Load Energy | Estimated Ancillary Services Capacity | PU Forward Purchase Off-Peak Energy | PU & FP Capacity Purchase Reqmts. | PU & FP Energy Purchase Reqmts. | CVP Corp Bank Energy for PU and FP | Bank Return Energy to CVP Corp | Ancilliary Services Purchase Reqmt. | Project Capacity Available for BR | Energy Available for Base Resource | Capacity Factor | Add'l CVP Capacity w/minimal Energy
| (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (GWh) | (GWh) | (MW) | (MW) | (GWh) | (%)
Column | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q
2007-11-01 | 895 | 210 | 125 | 125 | 23.069 | 13.5239 | 193 | 7.8 | 0 | 0 | 0 | 0 | 0 | 553.931 | 79.2761 | 19.8771
2007-12-01 | 1200 | 140 | 125 | 135 | 25.075 | 15.1207 | 193 | 7.995 | 0 | 0 | -5.1257 | 0 | 0 | 856.925 | 0 | 0
2008-01-01 | 1160 | 130 | 55 | 35 | 28.5855 | 16.6865 | 193 | 14.585 | 0 | 0 | 0 | 0 | 0 | 883.4145 | 92.8985 | 14.1342
2008-02-01 | 1165 | 160 | 30 | 15 | 25.075 | 13.1254 | 193 | 13.015 | 0 | 0 | 0 | 0 | 0 | 916.925 | 144.8896 | 22.7036
2008-03-01 | 1285 | 230 | 30 | 15 | 23.5705 | 13.3096 | 193 | 13.805 | 0 | 0 | 0 | 0 | 0 | 1038.4295 | 215.4954 | 27.8925
2008-04-01 | 1235 | 370 | 40 | 20 | 21.5645 | 12.4413 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 980.4355 | 337.5587 | 47.8187
2008-05-01 | 1385 | 420 | 50 | 35 | 22.066 | 13.2263 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1119.934 | 371.7737 | 44.6183
2008-06-01 | 1665 | 600 | 65 | 35 | 26.5795 | 13.2461 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1380.4205 | 551.7539 | 55.5139
2008-07-01 | 1555 | 540 | 100 | 65 | 29.6773 | 15.2959 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1232.3227 | 459.7041 | 50.1396
2008-08-01 | 1435 | 470 | 145 | 90 | 25.6532 | 13.8872 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1071.3468 | 366.1128 | 45.9316
2008-09-01 | 1140 | 300 | 120 | 80 | 25.1502 | 13.0217 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 801.8498 | 206.9783 | 35.8508
2008-10-01 | 1055 | 240 | 145 | 125 | 22.1322 | 12.7703 | 193 | 15.99 | 0 | 0 | 0 | 0 | 0 | 694.8678 | 118.2197 | 22.8673
Total | B: 3810; D: 775; F: 165.6551; H: 73.19; J: 0; K: -5.1257; L: 0; O: 2944.6606
| Exceedence Level |  | 50% (Average)
Month | A: CVP Generation; C: Project Use; E: First Preference; G: Reg & Res; H: Purchases and Exchanges; N: Base Resource
| Maximum CVP Capacity | CVP Energy Generation | Peak Project Use Demand | Project Use (PU) Load Energy | First Pref. (FP) Peak Demand | First Pref. (FP) Load Energy | Estimated Ancillary Services Capacity | PU Forward Purchase Off-Peak Energy | PU & FP Capacity Purchase Reqmts. | PU & FP Energy Purchase Reqmts. | CVP Corp Bank Energy for PU and FP | Bank Return Energy to CVP Corp | Ancilliary Services Purchase Reqmt. | Project Capacity Available for BR | Energy Available for Base Resource | Capacity Factor | Add'l CVP Capacity w/minimal Energy
| (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (GWh) | (GWh) | (MW) | (MW) | (GWh) | (%)
Column | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q
2007-11-01 | 905 | 170 | 145 | 145 | 23.069 | 13.5239 | 193 | 7.8 | 0 | 0 | 0 | 0 | 0 | 543.931 | 19.2761 | 4.922 | 0
2007-12-01 | 1245 | 160 | 120 | 130 | 25.075 | 15.1207 | 193 | 7.995 | 0 | 0 | 0 | 0 | 0 | 906.925 | 22.8743 | 3.39 | 0
2008-01-01 | 1220 | 130 | 110 | 120 | 28.5855 | 16.6865 | 193 | 14.585 | 0 | 0 | 0 | 0 | 0 | 888.4145 | 7.8985 | 1.195 | 0
2008-02-01 | 1100 | 130 | 85 | 50 | 25.075 | 13.1254 | 193 | 13.015 | 0 | 0 | 0 | 0 | 0 | 796.925 | 79.8896 | 14.4034 | 0
2008-03-01 | 1245 | 180 | 100 | 85 | 23.5705 | 13.3096 | 193 | 13.805 | 0 | 0 | 0 | 0 | 0 | 928.4295 | 95.4954 | 13.8249 | 0
2008-04-01 | 1355 | 400 | 75 | 50 | 21.5645 | 12.4413 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1065.4355 | 337.5587 | 44.0037 | 0
2008-05-01 | 1545 | 570 | 70 | 50 | 22.066 | 13.2263 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1259.934 | 506.7737 | 54.0622 | 0
2008-06-01 | 1880 | 590 | 85 | 50 | 26.5795 | 13.2461 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1575.4205 | 526.7539 | 46.4386 | 0
2008-07-01 | 1840 | 630 | 220 | 145 | 29.6773 | 15.2959 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1397.3227 | 469.7041 | 45.1809 | 0
2008-08-01 | 1745 | 500 | 210 | 135 | 25.6532 | 13.8872 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1316.3468 | 351.1128 | 35.8512 | 0
2008-09-01 | 1445 | 340 | 175 | 120 | 25.1502 | 13.0217 | 193 | 0 | 0 | 0 | 0 | 0 | 0 | 1051.8498 | 206.9783 | 27.3299 | 0
2008-10-01 | 1055 | 210 | 150 | 125 | 22.1322 | 12.7703 | 193 | 15.99 | 0 | 0 | 0 | 0 | 0 | 689.8678 | 88.2197 | 17.188 | 0
Total | B: 4010; D: 1205; F: 165.6551; H: 73.19; J: 0; K: 0; L: 0; O: 2712.5349
| Exceedence Level |  | 10% (Wet) - (Not Available)
Month | A: CVP Generation; C: Project Use; E: First Preference; G: Reg & Res; H: Purchases and Exchanges; N: Base Resource
| Maximum CVP Capacity | CVP Energy Generation | Peak Project Use Demand | Project Use (PU) Load Energy | First Pref. (FP) Peak Demand | First Pref. (FP) Load Energy | Estimated Ancillary Services Capacity | PU Forward Purchase Off-Peak Energy | PU & FP Capacity Purchase Reqmts. | PU & FP Energy Purchase Reqmts. | CVP Corp Bank Energy for PU and FP | Return Energy to CVP Corp | Ancilliary Services Purchase Reqmt. | Project Capacity Available for BR | Energy Available for Base Resource | Capacity Factor | Add'l CVP Capacity w/minimal Energy
| (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (GWh) | (GWh) | (MW) | (MW) | (GWh) | (%)
Column | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q
2007-11-01 | M: 0; N: 0; O: 0; P: 0
2007-12-01 | M: 0; N: 0; O: 0; P: 0
2008-01-01 | M: 0; N: 0; O: 0; P: 0
2008-02-01 | M: 0; N: 0; O: 0; P: 0
2008-03-01 | M: 0; N: 0; O: 0; P: 0
2008-04-01 | M: 0; N: 0; O: 0; P: 0
2008-05-01 | M: 0; N: 0; O: 0; P: 0
2008-06-01 | M: 0; N: 0; O: 0; P: 0
2008-07-01 | M: 0; N: 0; O: 0; P: 0
2008-08-01 | M: 0; N: 0; O: 0; P: 0
2008-09-01 | M: 0; N: 0; O: 0; P: 0
2008-10-01 | M: 0; N: 0; O: 0; P: 0
Total | B: 0; D: 0; F: 0; H: 0; J: 0; K: 0; L: 0; O: 0
Notes:
1. For the AS (Column G), it was assumed that Western's total operating reserve obligation to be equal to the sum of spinning reserve of 137 MW and regulation of 60 MW.
2. An average of 1.81 % losses would be assessed on both capacity and energy between generation and load.
3. Column Q denotes capacity at CVP plants with minimal energy, which is potentially useful for reserves but has been deemed unschedulable for Base Resource purposes.
4. CVP generation and Project Use data for 50% and 90% Exceedence Levels are based USBR October 2007 50% and October 2007 90% Exceedence monthly water forecasts, respectively, and revised as necessary.
5. Project Use purchase column H includes 25 MW LLH firm purchase in Q4 2007 to Q1 2008, an additional 25 MW during HE2300 - HE0600 everyday during Q1 2008, and 50 MW LLH purchase in Q4 2008.
6. Folsom generation is adjusted to account for potential powerplant bypass in November 2007.
0
0
0
0
0
0
0
0
0
0
0
0
Formulas:
Month = DATE(YEAR([Month, row above]),MONTH([Month, row above])+1,DAY([Month, row above]))