## SPS-ZAN
Task Validity: Y=Yes, N=No
Media Interface: N/A, D=Display, P=Printer, I=Internet, IC=Intercom, T=Telephone, F=Face-to-Face, M=Computer Modem
Support Tools: D=Documentation, E=Special Equipment, S=Special Software, T=Test Tools
Task Difficulty: E=Easy, S=Somewhat Difficult, D=Difficult/Complex
Task Criticality: N=Not Critical, M= Must be Acted Upon Within 24 hrs, C= Critical
Task Frequency: D=Daily Activity(on-going), W=Weekly Activity, M=Monthly Activity, A=As Required
B=Bi-Monthly Activity, S=Semi-Annual Activity, Q=Quarterly Activity, Y=Yearly Activity
Mental/Physical Demands: H=High, M=Moderate, L=Low
Task Manpower: O=One person, M=More than one person
Task Allocation: M=Manual, A=Automated
Task Priority Category: Primary=Task With Highest Rating on At Least 4 of the Following
Assessment Factors (I.e., "Difficulty", "Criticality", "Frequency", "M/P Demands","Task Manpower")
Principal=Task With Highest Rating on At Least 3 of the Same Aforementioned Factors
Other=All Other Tasks
Notes:
(1) Requirement for LRU repl. and return to operation in 30 minutes is the only known maintenance requirment for these COTs.
(2) A co-discriminator is safety. An unsafe design or maintenance procedure is a discriminator in the selection process.
(3) The human factors checklist and questionnaire will
serve as discriminators for usability and suitability.
Considerations:
Ease of Understanding System Status - Simple Controls - Displays - Information Complete/Accurate
Ease of Clearing Alarm - Letters / Colors / Knobs Appropriate-Controls Accessible/Responsive
Ease of Switching to Backup System
Ease of Checking History - Sorts Easily/Flexible
Ease of Running Diagnostics / Feedback / Stats. Useful /Logical
Ease of Returning System to Operational Status
POSITION | POSITION: | ACTIVITY | BASELINE
|  | NUMBER | Activity/Sub-activity |  |  |  | Assessment Factors
AF (SPS) |  |  |  | Task Validity Y,N | Media D,P,T,I,IC,F,M | Support Tools D,E,S,T | Difficulty E,S,D | Criticality N,M,C | Frequency--A, D,W,B,M,S,Q,Y | Mental/Physical Demands H,M,L | Task Manpower O,M | Task Allocation M,A | Priority Category: Primary; Principal; Other | Comments/Remarks
AFS 1.0 |  |  | Perform Periodic Maintenance
1.1 |  |  | Power-off and shut-down | Y | T,F, | D | E | C | A | M | O | M,A | OTHER | Task is performed | 0 | 1 | 1 | 0 | 0 | 2
|  |  | system (as required) |  | D,P, | [8 empty] | once per year | 0 | 0 | 0 | 0 | 0 | 0
1.2 |  |  | Monitor LRUs, external | Y | D,T | D | E | C | D | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | interfaces and software | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | components | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.3 |  |  | Execute equipment performance | Y | D,P, | D | S | V | ALL | M | M | M | OTHER |  | 0 | 0 | 1 | 0 | 1 | 2
|  |  | checks/certify equipment (tape |  | T,F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | derives, printers, and terminals) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.4 |  |  | Power-on/start-up system | Y | D,P | D,S | E | C | W,M, | H | O | M,A | PRINCIPAL |  | 0 | 1 | 1 | 1 | 0 | 3
|  |  | (as required) |  | T,F, |  |  |  | A | [5 empty] | 0 | 0 | 1 | 0 | 0 | 1
1.5 |  |  | Assess impact, and report | Y | T,F, | D | E | C | D | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | completion of maintenance |  | P | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | actions to AT and others | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.6 |  |  | Perform housekeeping routines | Y | T,P,I | D | E | C | D | L | O | M,A | OTHER | DSR task includes checking | 0 | 1 | 1 | 0 | 0 | 2
|  |  | (e.g., archive data, clear open | [10 empty] | printer
|  |  | error logs, etc.) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.7 |  |  | Execute system restoration | Y | D,P, | D,T,E | S | C | A | M | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures |  | T,F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Present System/sub-system | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | OCS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Micro-EARTS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DSR | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
AFS 2.0 | System Outages |  | Perform Corrective Maintenance | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | (CM) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.1 | System Outages |  | Respond to maintenance trouble | Y | T,F | N/A | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | calls | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.2 |  |  | Run diagnostics including (LAN) | Y | D,P, | D,E | S | C | A | M | O | M,A | OTHER | DSR uses special test | 0 | 1 | 1 | 0 | 0 | 2
|  |  | and execute troubleshooting |  | T,F | T | [7 empty] | tools | 0 | 0 | 0 | 0 | 0 | 0
|  |  | procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.3 |  |  | Switch to alternate/backup system | Y | D,T,F | D | D | C | A | M | O | M,A | PRINCIPAL |  | 1 | 1 | 1 | 0 | 0 | 3
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.4 |  |  | Shut-down/recover/start-up | Y | T,F, | D | E | C | A | M | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | system |  | D,P | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.5 |  |  | Remove/replace failed/faulty LRUs | Y | T,F,D | D,E | S | C | A | M | M | M | PRINCIPAL |  | 0 | 1 | 1 | 0 | 1 | 3
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.6 |  |  | Execute system configuration/ | Y | D | D | E | C | M,A | M | O | A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
re-configuration procedures
2.7 |  |  | Support system restorations | Y | D,P, | D,E, | S | C | A | M | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | (as required) |  | T,F | T | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.8 |  |  | Report completion of maintenance | Y | D,T | D | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | actions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.9 |  |  | Coordinate actions with AT/others | Y | T,F | D | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
2.1 |  |  | Maintain spares/repair parts | Y | T,F,D | D | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | inventory for LRUs | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.11 |  |  | Control shipment of failed items to | Y | T,F, | D,E,T | S | C | A | M | M | M | PRINCIPAL |  | 0 | 1 | 1 | 0 | 1 | 3
|  |  | depot repair sites |  | IC,I
AFS 3.0 |  |  | Perform System Hardware | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Modifications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.1 |  |  | Power-off and shut-down system | Y | D,P | D | S | C | A* | M | O | M,A | OTHER | *Task performed monthly | 0 | 1 | 0 | 0 | 0 | 1
|  |  | (as required) | [10 empty] | for DSR. | 0 | 0 | 0 | 0 | 0 | 0
3.2 |  |  | Receive modification requests | Y | D,P | D | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.3 |  |  | Install system software/ | Y | D,P,T | D | D | C | A | H | O,M | M,A | PRIMARY |  | 1 | 1 | 1 | 1 | 1 | 5
|  |  | hardware modifications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.4 |  |  | Perform functional check-out and | Y | D,P,T | D | S | C | A | M | O,M | M,A | PRINCIPAL |  | 0 | 1 | 1 | 0 | 1 | 3
|  |  | testing of system modifications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.5 |  |  | Report completion of system | Y | D,E,T | D,S | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | modifications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
AFS 4.0 |  |  | Perform Certification (if required) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.1 |  |  | Execute unit certification | Y | D,T | D | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.2 |  |  | Execute system certification | Y | D,T | D | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.3 |  |  | Execute service-type certification | Y | D,T | D | C | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.4 |  |  | Verify certification parameters | Y | D,T | D | C | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
4.5 |  |  | Identify/correct certification errors | Y | N/A | D | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
4.6 |  |  | Report completion of certification | Y | T | D | E | C | D,A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | processes | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.7 |  |  | Re-certify hardware/software/ | Y | T,D | D | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | firmware components | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | (as required) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.8 |  |  | Collect certification data and | Y | D,P, | D | S | C | D | M | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | analyze results |  | F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.9 |  |  | Execute SAR data and other | Y | D,T | D,S | D | C | A | H | O | M | PRIMARY | Task performed 6 to 8 | 1 | 1 | 1 | 1 | 0 | 4
|  |  | system programs (e.g., equipment | [10 empty] | times per year. | 0 | 0 | 0 | 0 | 0 | 0
|  |  | failures, status reports, hardware/ | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | software test schedules, trend | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | analysis reports, etc.) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
AFS 5.0 |  |  | Documentation of Procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.1 |  |  | Document (i.e., log) periodic | Y | D | D | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | maintenance actions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.2 |  |  | Document (i.e., log) corrective | Y | D | D | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | maintenance actions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.3 |  |  | Document system modifications | Y | D | D | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
5.4 |  |  | Maintain on-site publications | Y | D,P,T | D | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | (e.g., handbooks, tech. manuals, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | FRDF, and red-lined prints | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.5 |  |  | Document (I.e., log) certification | Y | D,T | D | E | C | D | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | processes/actions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.6 |  |  | Document failures/incident | Y | D,F | D | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | repair actions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
AFS 6.0 |  |  | Diagnostic Maintenance | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.1 |  |  | Maintain MDM (e.g. adaptation | Y | D,T,F | D | E | C | M | L | O | M,A | OTHER |  | 0 | 1 | 0 | 0 | 0 | 1
|  |  | data base, JCL execution, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | assembler, etc.) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.2 |  |  | Provide/maintain diagnostic | Y | D | D,E | S | C | A | M | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.3 |  |  | Provide OJT for diagnostic | Y | D,T | D,E,T | S | C | A | M | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
AFS 7.0 |  |  | Maintain On-line Certification | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Program | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
7.1 |  |  | Provide maintain on-line | Y | D | D | E | C | A | L | O | M,A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | certification procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
AFS 8.0 |  |  | Provide Radar Support | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
8.1 |  |  | Perform in-depth analysis of radar | Y | D,P | S,D | D | C | M,A | H | O | M,A | PRIMARY | Task performed off-line.
|  |  | information (e.g., QARS, ERIT) | [11 empty] | 1 | 1 | 1 | 1 | 0 | 4

## NOM-ZAN
Task Validity: Y=Yes, N=No
Media Interface: N/A, D=Display, P=Printer, I=Internet, IC=Intercom, T=Telephone, F=Face-to-Face, M=Computer Modem
Support Tools: D=Documentation, E=Special Equipment, S=Special Software, T=Test Tools
Task Difficulty: E=Easy, S=Somewhat Difficult, D=Difficult/Complex
Task Criticality: N=Not Critical, M= Must be Acted Upon Within 24 hrs, C= Critical
Task Frequency: D=Daily Activity(on-going), W=Weekly Activity, M=Monthly Activity, A=As Required
B=Bi-Monthly Activity, S=Semi-Monthly Activity, Q=Quarterly Activity, Y=Yearly Activity
Mental/Physical Demands: H=High, M=Moderate, L=Low
Task Manpower: O=One person, M=More than one person
Task Allocation: M=Manual, A=Automated
Task Priority Category: Primary=Task With the Highest Rating on At Least 4 of the Following
Assessment Factors (I.e., "Difficulty", "Criticality", "Frequency", "M/P Demands", "Task
Manpower") Principal=Task With Highest Rating on At Least 3 of the Same Aforementioned Factors.
Other= All Other Tasks.
Notes:
(1) Requirement for LRU repl. and return to operation in 30 minutes is the only known maintenance requirment for these COTs.
(2) A co-discriminator is safety. An unsafe design or maintenance procedure is a discriminator in the selection process.
(3) The human factors checklist and questionnaire will serve as
discriminators for usability and suitability.
Considerations:
Ease of Understanding System Status - Simple Controls - Displays - Information Complete/Accurate
Ease of Clearing Alarm - Letters / Colors / Knobs Appropriate-Controls Accessible/Responsive
Ease of Switching to Backup System
Ease of Checking History - Sorts Easily/Flexible
Ease of Running Diagnostics / Feedback / Stats. Useful /Logical
Ease of Returning System to Operational Status
Position | POSITION: | ACTIVITY | BASELINE
NOM |  | NUMBER | Activity/Sub-activity |  |  |  | Assessment Factors
|  |  |  | Task Validity Y,N | Media D,P,T,I,IC,F,M | Support Tools D,E,S,T | Difficulty E,S,D | Criticality N,M,C | Frequency--A, D,W,B,M,S,Q,Y | Mental/Physical Demands H,M,L | Task Manpower O,M | Task Allocation M,A | Priority Category: Primary; Principal; Other | Comments/Remarks
NOM 1.0 |  |  | Perform Facility Monitoring
1.1 |  |  | Monitor/evaluate LRUs, external/ | Y | D,P, | D,E,T | D | C | D,A | M | M | M/A | PRIMARY | Difficulty varies with level of | 1 | 1 | 1 | 0 | 1 | 4
|  |  | internal interfaces and software |  | I,T, | [8 empty] | experience and training | 0 | 0 | 0 | 0 | 0 | 0
|  |  | components |  | F,M | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.2 |  |  | Manipulate display screen data/ | Y | D,P, | D,S,E | D | C | D,A | M | M | M/A | PRIMARY |  | 1 | 1 | 1 | 0 | 1 | 4
|  |  | examine and enter parameters/ |  | T,M | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | print and analyze system messages | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.3 |  |  | Perform system start-up, shut- | Y | D,P, | D,E,S | D | C | A | H | O | M/A | PRIMARY | NOM starts-up system for OCS, | 1 | 1 | 1 | 1 | 0 | 4
|  |  | down, recovery, and special |  | M | [8 empty] | Miicro-EARTS and ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | commands/procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.4 |  |  | Perform system switch-overs,start-, | Y | D,M, | D | E | C | A | H | O | M/A | PRINCIPAL |  | 0 | 1 | 1 | 1 | 0 | 3
|  |  | overs, program aborts, recovery, |  | F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | PSW re-starts, element and unit | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | replacements(REPLs) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.5 |  |  | Perform system re-configuration/ | Y | D,P, | D | S | C | A | H | O | M/A | PRINCIPAL | Involves switching processors, e.g., | 0 | 1 | 1 | 1 | 0 | 3
|  |  | verification | [10 empty] | OCS to Slave | 0 | 0 | 0 | 0 | 0 | 0
1.6 |  |  | Execute health checking | Y | D,P, | D | S | C | D,A* | L | O | M/A | OTHER | * OCS is daily activity | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures (for status and | [10 empty] | *Micro-EARTS is every shift | 0 | 0 | 0 | 0 | 0 | 0
|  |  | reliability) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.7 |  |  | Review and analyze failures, | Y | D,P | D | S | C | A | H | O,M | M/A | PRINCIPAL |  | 0 | 1 | 1 | 1 | 0 | 3
|  |  | degraded conditions, and system/ | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | sub-system performance and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | recovery | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.8 |  |  | Execute on-line and off-line | Y | D,P | D | S | C | A | M | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | diagnostics/isolate faults/initiate | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | recovery of system, sub-systems, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | elements, and units | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.9 |  |  | Identify problems, solutions | Y | D,P | D | S | C | A | M | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | and execute preventive measures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.1 |  |  | Coordinate and schedule routine | Y | T,F | D | E | C | A | L | O | M | OTHER | OCS and Micro-EARTS are not | 0 | 1 | 1 | 0 | 0 | 2
|  |  | preventive and corrective | [10 empty] | affected | 0 | 0 | 0 | 0 | 0 | 0
|  |  | maintenance and actions with AT, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | AF, and other users | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.11 |  |  | Perform remote status and | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | monitoring of radars, navigational | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | aids, communications and weather | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | equipment, LRUs, internal/exterrnal | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | interfaces, and software | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
components
1.12 |  |  | Analyze system/sub-system/ | Y | D,P | D | S | N | A | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
equipment histories to identify
|  |  | outage trends and solutions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Present System/Sub-system | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | OCS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Micro-EARTS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DSR | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
NOM 2.0 | System Outages |  | Resolve System Alarms/Service | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
| System Outages |  | Problems | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.1 |  |  | Recognize/respond to system | Y | D,P, | D | S | C | A | L | O | M | OTHER | Alarm could be verbal | 0 | 1 | 1 | 0 | 0 | 2
|  |  | alarms/alerts |  | T,F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.2 |  |  | Analyze/respond to catastrophic | Y | [8 empty] | OTHER | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | communication line-failures | [10 empty] | Outside scope of OCS/Micro- | 0 | 0 | 0 | 0 | 0 | 0
[14 empty] | EARTS | 0 | 0 | 0 | 0 | 0 | 0
2.3 |  |  | Analyze/respond to radio voice | Y | [8 empty] | OTHER | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | and frequency communications | [10 empty] | Outside scope of OCS/Micro- | 0 | 0 | 0 | 0 | 0 | 0
|  |  | outages/degradation, and | [10 empty] | EARTS | 0 | 0 | 0 | 0 | 0 | 0
|  |  | performance reports | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.4 |  |  | Analyze/respond to system/sub- | Y | D,P, | D | S | C | A | M,H | O | M | PRINCIPAL |  | 0 | 1 | 1 | 1 | 0 | 3
|  |  | system equipment outages/ |  | T,S | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | degradation | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.5 |  |  | Analyze/respond to external/ | Y | D,P, | D | S | C | A | L,M | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
internal interface problem alarms/
|  |  | alerts | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.6 |  |  | Analyze/resolve problems with | Y | [8 empty] | OTHER | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | remote monitoring of system,sub- | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | systems, and outlying facilities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.7 |  |  | Recognize and initiate corrective | Y | D,P, | N/A | S | C | A | M | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | actions to resolve software |  | F,T | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | problems/failures/anomalies/ | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | performance | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
NOM 3.0 |  |  | Direct Technical Maintenance | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Activities(Preventive/Corrective) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.1 |  |  | Coordinate necessary system | Y | T,F | N/A | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | changes | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.2 |  |  | Coordinate, analyze, and respond | Y | [8 empty] | OTHER | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | to radio frequencies/radars/ | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | equipment re-assignment requests | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.3 |  |  | Direct, control and coordinate all | Y | T,F | N/A | S | C | A | M | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | maintenance activities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
NOM 4.0 |  |  | Perform Certification and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Verification | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.1 |  |  | Direct/coordinate certification | Y | T,F | D | E | M | D | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
|  |  | activities with AT, AF, and others | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.2 |  |  | Analyze performance of services/ | Y | D,P | D,E | E | M | D | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
|  |  | verify system integrity during | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | assigned shift | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.3 |  |  | Perform system/sub-system | Y | D,P | D | E | M | D | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
|  |  | certification | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.4 |  |  | Perform service-type certification | Y | D,P | D | E | M | D | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.5 |  |  | Analyze/respond to internal/ | Y | D,P | D | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | external system failures/incidents | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
NOM 5.0 |  |  | Manage Position Resources | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.1 |  |  | Brief/ communicate with NAS | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Operations Manager relief, and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | others as required | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.2 |  |  | Communicate and log routine | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | operational/maintenance | [12 empty] | 0 | 0 | 0 | 0 | 0
|  |  | information | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.3 |  |  | Assume other position | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | responsibilities including assisting, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | directing, reviewing, coordinating | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | managing activities, security, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | and facilities operations in the | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | absence of facility management | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
NOM 6.0 |  |  | Perform Special Actions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.1 |  |  | Respond to various emergencies, | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | disasters, and security situations | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.2 |  |  | Serve as leader for special | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | projects manager/participate in | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | special assignments | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.3 |  |  | Participate in daily and periodic AF | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | meetings | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.4 |  |  | Coordinate/perform security | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | activities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.5 |  |  | Act as a liaison for technical | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | administrative, personnel, and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | investigative activities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.6 |  |  | Coordinate facility housekeeping | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | duties/responsibilities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.7 |  |  | Act as operational lead in the | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | installation, modification, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | integration, development of | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | systems, services, and new facilities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.8 |  |  | Direct and coordinate all | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | installation and removal of | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | software/frimware upgrades, and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | necessary changes to hardware | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.9 |  |  | Coordinate the conduct of joint | Y | [9 empty] | Task has no impact on ATOP | 0 | 0 | 0 | 0 | 0 | 0
|  |  | baseline tests for major system | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | software deliveries/test new or | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | modified systems/identify | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | needed improvements | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0

## NAS-ZAN
Task Validity: Y=Yes, N=No
Media Interface: N/A, D=Display, P=Printer, I=Internet, IC=Intercom, T=Telephone, F=Face-to-Face, M=Computer Modem
Support Tools: D=Documentation, E=Special Equipment, S=Special Software, T=Test Tools
Task Difficulty: E=Easy, S=Somewhat Difficult, D=Difficult/Complex
Task Criticality: N=Not Critical, M= Must be Acted Upon Within 24 hrs, C= Critical
Task Frequency: D=Daily Activity(on-going), W=Weekly Activity, M=Monthly Activity, A=As Required
B=Bi-Monthly Activity, S=Semi-Annual Activity, Q=Quarterly Activity, Y=Yearly Activity
Mental/Physical Demands: H=High, M=Moderate, L=Low
Task Manpower: O=One person, M=More than one person
Task Allocation: M=Manual, A=Automated
Task Priority Rating: Pramary=Task With Highest Rating on At Least 4 of the Following
Assessment Factors (I.e., "Difficulty", "Criticality", "Frequency", "M/P Demands", "Task Manpower")
Principal=Task With Highest Rating on At Least 3 of the Same Aforementioned Assessment Factors
Other=All Other Tasks.
Notes:
(1) Requirement for LRU repl. and return to operation in 30 minutes is the only known maintenance requirment for these COTs.
(2) A co-discriminator is safety. An unsafe design or maintenance procedure is a discriminator in the selection process.
(3) The human factors schecklist and questionnaire will serve
as discriminators for usability and suitability.
Considerations:
Ease of Understanding System Status - Simple Controls - Displays - Information Complete/Accurate
Ease of Clearing Alarm - Letters / Colors / Knobs Appropriate-Controls Accessible/Responsive
Ease of Switching to Backup System
Ease of Checking History - Sorts Easily/Flexible
Ease of Running Diagnostics / Feedback / Stats. Useful /Logical
Ease of Returning System to Operational Status
Position | POSITION: | ACTIVITY | BASELINE
NAS |  | NUMBER | Activity/Sub-activity |  |  |  | Assessment Factors
|  |  |  | Task Validity Y,N | Media D,P,T,I,IC,F,M | Support Tools D,E,S,T | Difficulty E,S,D | Criticality N,M,C | Frequency--A, D,W,B,M,S,Q,Y | Mental/Physical Demands H,M,L | Task Manpower O,M | Task Allocation M,A | Priority Category: Primary; Principal; Other | Comments/Remarks
NAS 1.0 |  |  | Perform Facility Monitoring
1.1 |  |  | Monitor/evaluate LRUs, external/ | Y | D,P, | D,E,T | D* | C | D/A | M | M | M/A | PRIMARY | *Difficulty depends on situation. | 0 | 1 | 1 | 0 | 1 | 3
|  |  | internal interfaces and software |  | I,T, | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | components |  | F,M | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.2 |  |  | Manipulate display screen data/ | Y | D,P, | D,S,E | D | C | D/A | M | M | M/A | PRIMARY |  | 1 | 1 | 1 | 0 | 1 | 4
|  |  | examine and enter parameters/ |  | T,M | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
print and analyze system
|  |  | messages | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.3 |  |  | Direct system start-up, | Y | D,P, | D,E,S | D | C | D/A | H | O | M/A | PRINCIPAL | Approximately every 40 days. | 1 | 1 | 0 | 1 | 0 | 3
|  |  | shut-down, recovery, and special |  | M,T | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | commands/procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.4 |  |  | Direct system switch-overs, start- | Y | D,M, | D | E | C | A | H | O | M/A | PRINCIPAL |  | 0 | 1 | 1 | 1 | 0 | 3
|  |  | overs, program aborts, recovery, |  | F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | PSW re-starts, element and unit | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | replacements (REPLs) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.5 |  |  | Direct system re-configuration/ | Y | D,P, | D | S | C | A | H | O | M/A | PRINCIPAL |  | 0 | 1 | 1 | 1 | 0 | 3
|  |  | verification | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.6 |  |  | Execute health checking | Y | D,P, | D | S | C | D/A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures (for status and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | reliability) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.7 |  |  | Review and analyze failures, | Y | D,P | D | S | C | A | H | O,M | M/A | PRINCIPAL |  | 0 | 1 | 1 | 1 | 0 | 3
|  |  | degraded conditions, and system/ | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | sub-system performance and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | recovery | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.8 |  |  | Execute on-line and off-line | Y | D,P | D | S | C | A | M | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | diagnostics/isolate faults/initiate | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | recovery of system, sub-systems, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | elements, and units | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.9 |  |  | Identify problems, solutions | Y | D,P | D | S | C | A | M | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | and execute preventive measures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.1 |  |  | Coordinate and schedule routine | Y | T,F | D | S* | C | A | L | O | M | OTHER | Difficulty depends on type of | 0 | 1 | 1 | 0 | 0 | 2
|  |  | preventive and corrective | [10 empty] | problem. | 0 | 0 | 0 | 0 | 0 | 0
|  |  | maintenance and actions with AT, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.11 |  |  | Perform remote status and | Y | [9 empty] | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | monitoring of radars, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | navigational aids, communications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | and weather equipment, LRUs, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | external interfaces, and software | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
components
1.12 |  |  | Analyze system/sub-system/ | Y | D,P | D | S | N | A | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
equipment histories to identify
|  |  | outage trends and solutions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Present System/Sub-system | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | OCS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Micro-EARTS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DSR | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
NAS 2.0 | System Outages |  | Resolve System Alarm/Service | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
| System Outages |  | Problems | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.1 |  |  | Recognize/respond to system | Y | D,P, | D | S | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | alarms/alerts |  | T,F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.2 |  |  | Analyze/respond to catastrophic | Y | [8 empty] | OTHER | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | communication line-failures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.3 |  |  | Analyze/respond to radio voice | Y | [8 empty] | OTHER | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | and frequency communications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | outages/degradation, and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | performance reports | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.4 |  |  | Analyze/respond to system/sub- | Y | D,P, | D | S | C | A | M,H | O | M | PRINCIPAL |  | 0 | 1 | 1 | 1 | 0 | 3
|  |  | system equipment outages/ |  | T,S | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | degradation | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.5 |  |  | Analyze/respond to external/ | Y | D,P, | D | S | C | A | L,M | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
internal interface problem alarms/
|  |  | alerts | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.6 |  |  | Analyze/resolve problems with | Y | [8 empty] | OTHER | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | remote monitoring of system, sub- | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | systems, and outlying facilities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.7 |  |  | Recognize and initiate corrective | Y | D,P, | N/A | S | C | A | M | O | M | OTHER | Startover, rescue, and document for | 0 | 1 | 1 | 0 | 0 | 2
|  |  | actions to resolve software |  | F,T | [8 empty] | AOS resolution. | 0 | 0 | 0 | 0 | 0 | 0
|  |  | problems/failures/anomalies/ | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | performance | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
NAS 3.0 |  |  | Direct Technical Maintenance | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Activities (Preventive/Corrective) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.1 |  |  | Coordinate necessary system | Y | T,F | N/A | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | changes | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.2 |  |  | Coordinate, analyze, and respond | Y | [8 empty] | OTHER | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | to radio frequencies/radars/ | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | equipment re-assignment requests | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.3 |  |  | Direct, manage, and control all | Y | T,F | N/A | S | C | A | M | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | maintenance activities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
NAS 4.0 |  |  | Perform Certification and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Verification | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.1 |  |  | Direct/coordinate certification | Y | T,F | D | E | M | D | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
|  |  | activities with AT, AF, and others | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.2 |  |  | Analyze performance of services/ | Y | D,P | D,E | S* | M | D | L | O | M | OTHER | *Difficulty depends on type of task | 0 | 0 | 1 | 0 | 0 | 1
|  |  | verify system integrity during | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | assigned shift | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.3 |  |  | Perform system/sub-system | Y | D,P | D | E | M | D | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
|  |  | certification | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.4 |  |  | Perform service-type certification | Y | D,P | D | E | M | D | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.5 |  |  | Analyze/respond to internal/ | Y | D,P | D | S* | C | A | L | O | M | OTHER | *Difficulty depends on type of | 0 | 1 | 1 | 0 | 0 | 2
|  |  | external system failures/incidents | [10 empty] | incident. | 0 | 0 | 0 | 0 | 0 | 0
NAS 5.0 |  |  | Manage Position Resources | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.1 |  |  | Assume other position | Y | T,F | N/A | S* | C | A | M | O | M | OTHER | ATOP does not impact this task | 0 | 1 | 1 | 0 | 0 | 2
|  |  | responsibilities. including assisting, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | directing, reviewing, coordinating/ | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | managing activities, security, | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
and facilities operations in the
|  |  | absence of facility management | [12 empty] | 0 | 0 | 0 | 0 | 0
5.2 |  |  | Cummunicate and log routine | Y | D,P | D | E | C | A | M | O | M | OTHER
|  |  | operational/maintenance |  | T,F
information
5.3 |  |  | Brief/communicate with NAS | Y | P,T | D | E | C | D/A | L | O | M | OTHER
|  |  | Operations Manager relief, and |  | F
|  |  | others (as required) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
NAS 6.0 |  |  | Perform Special Actions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.1 |  |  | Respond to various emergencies, | Y | [9 empty] | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | disasters, and security situations | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.2 |  |  | Participate in daily and periodic AF | Y | [9 empty] | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | meetings | [10 empty] | Includes daily AT briefings | 0 | 0 | 0 | 0 | 0 | 0
6.3 |  |  | Serve as lead for special projects/ | Y | P,T | N/A | S* | C | A | M | M | M | PRINCIPAL | *Difficulty depends on type of
|  |  | manage/participate in special |  | F | [8 empty] | project.
assignments
6.4 |  |  | Act as operational lead in the | Y | P,T | D | S | C | A | M | O/M | M | OTHER
|  |  | installlation, modification, |  | F
integration, development of system
services and new facilities
6.5 |  |  | Coordinate/perform security | Y | [9 empty] | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | activities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.6 |  |  | Coordinate facility housekeeping | Y | [9 empty] | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | duties/responsibilities | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
6.7 |  |  | Direct and test all installation and | Y | D,P | D | S* | C | A | M | O/M | M/A | OTHER | *Difficulty depends o situation
|  |  | removal of software/firmware |  | T,F
upgrades, and necessary changes
to hardware
6.8 |  |  | Coordinate the conduct of joint | Y | [9 empty] | ATOP does not impact this task | 0 | 0 | 0 | 0 | 0 | 0
|  |  | baseline tests for major system | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | software deliveries/test new or | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | modificed systems/identify | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | needed improvements | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0

## COMP-ZAN
Task Validity: Y=Yes, N=No
Media Interface: N/A, D=Display, P=Printer, I=Internet, IC=Intercom, T=Telephone, F=Face-to-Face, M=Computer Modem
Support Tools: D=Documentation, E=Special Equipment, S=Special Software, T=Test Tools
Task Difficulty: E=Easy, S=Somewhat Difficult, D=Difficult/Complex
Task Criticality: N=Not Critical, M= Must be Acted Upon Within 24 hrs, C= Critical
Task Frequency: D=Daily Activity(on-going), W=Weekly Activity, M=Monthly Activity, A=As Required
B=Bi-Monthly Activity, S=Semi-Monthly Activity, Q=Quarterly Acivity, Y=Yearly Activity
Mental/Physical Demands: H=High, M=Moderate, L=Low
Task Manpower: O=One person, M=More than one person
Task Allocation: M=Manual, A=Automated
Task Priority Category: Primary=Task With Highest Rating on At Least 4 of the following assessment
factors (I.e., "Difficulty". "Criticality". "Frequency", "M/P Demands", "Task Manpower) Principal=
Task With Highest Rating on At Least 3 of the Same Aforementioned Assessment Factors
Other=All Other Tasks
Notes:
(1) Requirement for LRU repl. and return to operation in 30 minutes is the only known maintenance requirment for these COTs.
(2) A co-discriminator is safety. An unsafe design or maintenance procedure is a discriminator in the selection process.
(3) The human factors checklist and questionnaire
will be discriminators for usability and suitability
Considerations:
Ease of Understanding System Status - Simple Controls - Displays - Information Complete/Accurate
Ease of Clearing Alarm - Letters / Colors / Knobs Appropriate-Controls Accessible/Responsive
Ease of Switching to Backup System
Ease of Checking History - Sorts Easily/Flexible
Ease of Running Diagnostics / Feedback / Stats. Useful /Logical
Ease of Returning System to Operational Status
Comp. | POSITION: | ACTIVITY | BASELINE
Spec. |  | NUMBER | Activity/Sub-activity |  |  |  | Assessment Factors
|  |  |  | Task Validity Y,N | Media D,P,T,I,IC,F,M | Support Tools D,E,S,T | Difficulty E,S,D | Criticality N,M,C | Frequency--A, D,W,B,M,S,Q,Y | Mental/Physical Demands H,M,L | Task Manpower O,M | Task Allocation M,A | Priority Category: Primary; Principal; Other | Comments/Remarks
COP 1.0 |  |  | Perform Computer Operation
1.1 |  |  | Start-up and shut-down computer | Y | D | D | E | C | A | L | O | M | OTHER | Shared responsibility | 0 | 1 | 1 | 0 | 0 | 2
|  |  | system | [10 empty] | with ATSS | 0 | 0 | 0 | 0 | 0 | 0
1.2 |  |  | Back-up system files | Y | D,P | S | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
1.3 |  |  | Load operational programs | Y | D | D | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.4 |  |  | Execute support system software | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | bar: Y
|  |  | PC adaptions/threshold changes | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.5 |  |  | Run support system software | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | bar: Y
|  |  | utility programs | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.6 |  |  | Execute software debug tools | Y | D | S | S | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
1.7 |  |  | Enter and maintain operational | Y | D | S | D | C | M | L | M | M | PRINCIPAL |  | 1 | 1 | 0 | 0 | 1 | 3
data bases
1.8 |  |  | Perform system switch-over | Y | D,T | D | E | C | A | L | O | M | OTHER | Shared responsibility | 0 | 1 | 1 | 0 | 0 | 2
with ATSS
1.9 |  |  | Restore main processor to service | Y | D | D | D | C | A | H | O | M | PRIMARY | Shared responsibility | 1 | 1 | 1 | 1 | 0 | 4
with ATSS
1.1 |  |  | Change-out CDR (optical) for | Y | N/A | N/A | E | C | D | L | O | M | OTHER | Automatically archives | 0 | 1 | 1 | 0 | 0 | 2
|  |  | M-EARTS | [10 empty] | data | 0 | 0 | 0 | 0 | 0 | 0
1.11 |  |  | Restore system files | Y | D | S | E | C | A | L | O | M | OTHER | As a result ofAs | 0 | 1 | 1 | 0 | 0 | 2
1.12 |  |  | Perform system coordination | Y | F,T | D | E | C | A | L | O | M | OTHER | Shared responsibility | 0 | 1 | 1 | 0 | 0 | 2
|  |  | activities | [10 empty] | with ATSS
|  |  | Present System/Sub-system | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | OCS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Micro-EARTS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DSR | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0

## ATSS-ZAN
Task Validity: Y=Yes, N=No
Media Interface: N/A, D=Display, P=Printer, I=Internet, IC=Intercom, T=Telephone, F=Face-to-Face, M=Computer Modem
Support Tools: D=Documentation, E=Special Equipment, S=Special Software, T=Test Tools
Task Difficulty: E=Easy, S=Somewhat Difficult, D=Difficult/Complex
Task Criticality: N=Not Critical, M= Must be Acted Upon Within 24 hrs, C= Critical
Task Frequency: D=Daily Activity(on-going), W=Weekly Activity, M=Monthly Activity, A=As Required
B=Bi-Monthly Activity, Q=Quarterly Activity, S=Semi-Monthly Activity, Y=Yearly Activity
Mental/Physical Demands: H=High, M=Moderate, L=Low
Task Manpower: O=One person, M=More than one person
Task Allocation: M=Manual, A=Automated
Task Priority Category: Primary=Task With Highest Rating on At Least 4 of the Following Assessment Factors
(I.e, "Difficulty", "Criticality', "Frequency", "M/P Demands", "Task Manpower") Principal=
Task With Highest Rating on At Least 3 of the Same Aforementioned Assessment Factors
Other=All Other Tasks
Notes:
(1) Requirement for LRU repl. and return to operation in 30 minutes is the only known maintenance requirment for these COTs.
(2) A co-discriminator is safety. An unsafe design or maintenance procedure is a discriminator in the selection process.
(3) The human factors checklist and questionnaire will serve
as discriminators for usability and suitability.
Considerations:
Ease of Understanding System Status - Simple Controls - Displays - Information Complete/Accurate
Ease of Clearing Alarm - Letters / Colors / Knobs Appropriate-Controls Accessible/Responsive
Ease of Switching to Backup System
Ease of Checking History - Sorts Easily/Flexible
Ease of Running Diagnostics / Feedback / Stats. Useful /Logical
Ease of Returning System to Operational Status
POSITION | POSITION: | ACTIVITY | BASELINE
|  | NUMBER | Activity/Sub-activity |  |  |  | Assessment Factors
AF ATSS |  |  |  | Task Validity Y,N | Media D,P,T,I,IC,F,M | Support Tools D,E,S,T | Difficulty E,S,D | Criticality N,M,C | Frequency--A, D,W,B,M,S,Q,Y | Mental/Physical Demands H,M,L | Task Manpower O,M | Task Allocation M,A | Priority Category: Primary; Principal; Other | Comments/Remarks
AFS 1.0 |  |  | Perform Periodic Maintenance
1.1 |  |  | Power-off, shut-down | Y | D,P | D | S | C | A | M | O | M/A | OTHER |  |  |  | 1 | 0 | 0 | 1
|  |  | system (as required) |  | T,F
1.2 |  |  | Monitor LRUs, external | Y | D,T,F | D | E | C* | D | L | O | M | OTHER | *For DSR, task could be |  |  | 1 | 0 | 0 | 1
|  |  | interfaces and software | [10 empty] | complex and critical. |  |  | 0 | 0 | 0 | 0
|  |  | components | [13 empty] | 0 | 0 | 0 | 0
1.3 |  |  | Execute equipment performance | Y | D,P, | D | S | V | ALL | M | M | M | OTHER
|  |  | checks/certify equipment (e.g., |  | T,F | [11 empty] | 1 | 0 | 1 | 2
|  |  | tape drives, printers, terminals, | [13 empty] | 0 | 0 | 0 | 0
etc.)
1.4 |  |  | Perform preventive maintenance, | Y | N/A | D | E | C | M,A | L | O | M | OTHER | Dust builds-up on fans |  |  | 1 | 0 | 0 | 1
|  |  | including equipment cleaning and | [10 empty] | and filters |  |  | 0 | 0 | 0 | 0
|  |  | inspection | [12 empty] | 0 | 0 | 0 | 0 | 0
1.5 |  |  | Power-on/start-up system | Y | T,F, | D,S | E | C* | W,M, | H | O | M/A | OTHER | *Could be critcal as |  | 0 | 1 | 1 | 0 | 2
|  |  | (as required) |  | D,P |  |  |  | A |  |  |  |  | sequence of events must |  | 0 | 1 | 0 | 0 | 1
[14 empty] | be accomplished in proper | 0
[14 empty] | order | 0
1.6 |  |  | Assess impact, and report | Y | T,F, | D | E | C | D | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | completion of maintenance |  | P | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | actions to AT and others | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.7 |  |  | Perform housekeeping routines | Y | T,P,I | D | E | C | D | L | O | M/A | OTHER | Includes checking printer | 0 | 1 | 1 | 0 | 0 | 2
|  |  | (archive data, clear open error | [10 empty] | for DSR | 0 | 0 | 0 | 0 | 0 | 0
logs, story tapes, etc.)
1.8 |  |  | Execute system restoration | Y | D,P, | D,T,E | S | C | A | M | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures |  | T,F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Present System/Sub-system | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | OCS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Micro-EARTS | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DSR | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
AFS 2.0 | System Outages |  | Perform Corrective Maintenance | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | (CM) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.1 | System Outages |  | Respond to maintenance trouble | Y | T,F | N/A | E | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | calls | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.2 |  |  | Run diagnostics including (LAN) | Y | D,P, | D,E | S* | C | A | M | O | M/A | OTHER | DSR uses test bench | 0 | 1 | 1 | 0 | 0 | 2
|  |  | and execute troubleshooting |  | T,F | [8 empty] | as special equipment | 1 | 0 | 0 | 0 | 0 | 1
|  |  | procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.3 |  |  | Switch to alternate/backup system | Y | D,T,F | D | D | C | A | M | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.4 |  |  | Shut-down/recover/start-up | Y | T,F, | D | E | C | A | M | O | M/A | OTHER | DSR has more shut-downs. | 0 | 1 | 1 | 0 | 0 | 2
|  |  | system |  | D,P | [8 empty] | OCS recovery is more
[14 empty] | diffciult. | 0 | 0 | 0 | 0 | 0 | 0
2.5 |  |  | Remove/replace failed/faulty LRUs | Y | T,F,D | D,E | S | C | A | M | M | M | PRINCIPAL |  | 0 | 1 | 1 | 0 | 1 | 3
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.6 |  |  | Execute system configuration/ | Y | D | D | E | C | M,A | M | O | A | OTHER | *Difficult task for ODAPS. | 0 | 1 | 1 | 0 | 0 | 2
|  |  | re-configuration procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.7 |  |  | Perform system restoration | Y | D,P, | D,E, | S | C | A | M | O | M/A | OTHER | Task performed in | 0 | 1 | 1 | 0 | 0 | 2
[5 empty] | T,F | T | [7 empty] | conjunction with
[14 empty] | certification | 0 | 0 | 0 | 0 | 0 | 0
2.8 |  |  | Report completion of | Y | D,T | D | E | C | A | L | O | M/A | OTHER | Includes automatic logging | 0 | 1 | 1 | 0 | 0 | 2
|  |  | maintenance actions | [10 empty] | and reporting |  | 0 | 0 | 0 | 0 | 0
2.9 |  |  | Coordinate actions with AT/ | Y | T,F | D | E | C | A | L | O | M | OTHER | Includes NOM, NAS, Techs, | 0 | 1 | 1 | 0 | 0 | 2
|  |  | others | [10 empty] | Computer Operator, etc. | 0
2.1 |  |  | Maintain spares/repair parts | Y | D,P | D | E | C | A | L | O | M | OTHER |  |  | 1 | 1 | 0 | 0 | 2
|  |  | inventory for LRUs |  | T,F | [10 empty] | 0 | 0 | 0 | 0 | 0
AFS 3.0 |  |  | Perform System Hardware | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Modifications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.1 |  |  | Power-off and shut-down system | Y | D,P | D | S* | C | A | M | O | M/A | OTHER | Different task for Micro- | 0 | 1 | 1 | 0 | 0 | 2
|  |  | (as required) | [10 empty] | EARTS, OCS and DSR | 1 | 0 | 0 | 0 | 0 | 1
3.2 |  |  | Receive modification requests | Y | D,P | D | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
3.3 |  |  | Install system software/ | Y | D,P,T | D | D | C | A | H | O,M | M/A | PRINCIPAL |  | 0 | 1 | 1 | 1 | 0 | 3
|  |  | hardware modifications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.4 |  |  | Perform functional check-out/ | Y | D,P,T | D | S | C | A | M | O,M | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | testing of system modifications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.5 |  |  | Report completion of system | Y | D,E,T | D,S | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | modifications | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
AFS 4.0 |  |  | Perform Certification (If required) | [12 empty] | 0 | 0 | 0 | 0 | 0
4.1 |  |  | Execute unit certification | Y | D,T | D | E | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
procedures (Preventive and
Corrective Maintenance)
4.2 |  |  | Execute system certification | Y | D,T | D | S* | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.3 |  |  | Execute service-type certification | Y | D,T | D | C | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.4 |  |  | Verify certification parameters | Y | D,T | D | C | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
4.5 |  |  | Identify/correct certification errors | Y | N/A | D | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
4.6 |  |  | Report completion of certification | Y | T | D | E | C | D,A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | process | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.7 |  |  | Re-certify hardware/firmware | Y | T,D | D | S* | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | components (corrective and | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | preventive only) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.8 |  |  | Collect certification data and | Y | D,P, | D | S | C | D | M | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | analyze results |  | F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
AFS 5.0 |  |  | Document Procedures | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.1 |  |  | Document (i.e., log) periodic | Y | D | D | E | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | maintenance actions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.2 |  |  | Document (i.e., log) corrective | Y | D | D | E | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | maintenance actions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.3 |  |  | Document system modifications | Y | D | D | E | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
[15 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.4 |  |  | Maintain on-site publications | Y | D,P,T | D | E | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | (e.g., handbooks, tech. manuals, | [11 empty] | #REF! | 0 | 0 | 0 | 0 | #REF!
|  |  | FRDF, and red-lined prints | [11 empty] | #REF! | 0 | 0 | 0 | 0 | #REF!
5.5 |  |  | Document (i.e., log) certification | Y | D,T | D | E | C | D | L | O | M/A | OTHER |  |  | 1 | 1 | 0 | 0 | 2
|  |  | processes/actions | [12 empty] | 0 | 0 | 0 | 0 | 0
5.6 |  |  | Document failures/incident | Y | D,F | D | E | C | A | L | O | M/A | OTHER |  |  | 1 | 1 | 0 | 0 | 2
|  |  | repair actions | [12 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | bar: D
AFS 6.0 |  |  | Respond to System Failures/ | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
Incidents
6.1 |  |  | Receive request to investigate | Y | D,T | D | E | C | A | L | O | M/A | OTHER | Logging performed
|  |  | system failures/incidents | [10 empty] | automatically | bar: D
6.2 |  |  | Investiage system failures/incidents | Y | D,T | D | E | C | D | L | O | M/A | OTHER
6.3 |  |  | Diagnose hardware/software | Y | D | D,E | S | C | A | L | O | M/A | OTHER
failure/determine cause/impact | bar: D
AFS 7.0 |  |  | System Implementation,
Integration testing and Training
7.1 |  |  | Coordinate activities with AF, AT | Y | D,T | D | E | C | D | L | O | M/A | OTHER |  |  | 1 | 1 | 0 | 0 | 2
|  |  | and contractors | [12 empty] | 0 | 0 | 0 | 0 | 0
7.2 |  |  | Plan and oversee test activities | Y | D,F | D | E | C | A | L | O | M/A | OTHER |  |  | 1 | 1 | 0 | 0 | 2
[15 empty] | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | bar: D
7.3 |  |  | Plan and test transition of | Y | D | D | E | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | existing system to new system | [12 empty] | 0 | 0 | 0 | 0 | 0
AFS 8.0 |  |  | Remove and Replace Hardware
(First level)
8.1 |  |  | Install keyboard | Y | D,I | D | E | C | M | L | O | M/A | OTHER
F
8.2 |  |  | Install mouse | Y | D | D,E | S | C | A | M | O | M/A | OTHER
T
8.3 |  |  | Install cables | Y | D,T | D,E | S | C | A | M | O | M/A | OTHER
T

## ADAP-ZAN
Task Validity: Y=Yes, N=No
Media Interface: N/A, D=Display, P=Printer, I=Internet, IC=Intercom, T=Telephone, F=Face-to-Face, M=Computer Modem
Support Tools: D=Documentation, E=Special Equipment, S=Special Software, T=Test Tools
Task Difficulty: E=Easy, S=Somewhat Difficult, D=Difficult/Complex
Task Criticality: N=Not Critical, M= Must be Acted Upon Within 24 hrs, C= Critical
Task Frequency: D=Daily Activity(on-going), W=Weekly Activity, M=Monthly Activity, A=As Required
B=Bi-Weekly Activity, S=Semi-Annual Activity, Q=Quarterly Acivity, Y=Yearly Activity
Mental/Physical Demands: H=High, M=Moderate, L=Low
Task Manpower: O=One person, M=More than one person
Task Allocation: M=Manual, A=Automated
Task Priority Category: Primary=Task With Highest Rating on At Least 4 of the Following Assessment
Factors (I.e., "Difficulty", "Criticality", "Frequency", "M/P Demands", "Task Manpower"). Principal=
Task With Highest Rating on At Least 3 of the Same Aforementioned Assessment Factors
Other=All Other Tasks
Notes:
(1) Requirement for LRU repl. and return to operation in 30 minutes is the only known maintenance requirment for these COTs.
(2) A co-discriminator is safety. An unsafe design or maintenance procedure is a discriminator in the selection process.
(3) The human factors checklist and questionnaire will serve
as discriminators for usability and suitability.
Considerations:
Ease of Understanding System Status - Simple Controls - Displays - Information Complete/Accurate
Ease of Clearing Alarm - Letters / Colors / Knobs Appropriate-Controls Accessible/Responsive
Ease of Switching to Backup System
Ease of Checking History - Sorts Easily/Flexible
Ease of Running Diagnostics / Feedback / Stats. Useful /Logical
Ease of Returning System to Operational Status
AOS | POSITION: | ACTIVITY | BASELINE
Adap. |  | NUMBER | Activity/Sub-activity |  |  |  | Assessment Factors
|  |  |  | Task Validity Y,N | Media D,P,T,I,IC,F,M | Support Tools D,E,S,T | Difficulty E,S,D | Criticality N,M,C | Frequency--A, D,W,B,M,S,Q,Y | Mental/Physical Demands H,M,L | Task Manpower O,M | Task Allocation M,A | Priority Category: Primary; Principal; Other | Comments/Remarks
AOS 1.0 |  |  | Automation Info. & RMMS Security
1.1 |  |  | Maintain oceanic security | Y | D | D.S.T | E | C | A | L | O | A | OTHER | Task performed by contractor | 0 | 1 | 1 | 0 | 0 | 2
1.2 |  |  | Respond to security incursions | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | (hardware / software dependent) | Y | D | D,S,T | E | C | A | L | O | A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
AOS 2.0 | System Outages |  | Field Support | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.1 |  |  | Develop software/hardware | Y | D,T, | D,E,S, | D | C | A | M | O | A | PRINCIPAL |  | 1 | 1 | 1 | 0 | 0 | 3
|  |  | work-arounds |  | F,M | T | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
2.2 |  |  | Conduct advisory functions/ | Y | T,F | T,D,E, | S | C | A | M | O | M/A | OTHER | 40% easy,45% somewhat | 0 | 1 | 1 | 0 | 0 | 2
|  |  | coordination activities |  |  | S | [7 empty] | difficult, 5% difficult | 0 | 0 | 0 | 0 | 0 | 0
2.3 |  |  | Perform 1st level support/ | Y | M,F, | D,E,S, | D | C | D | M | M | M | PRIMARY | Adaptation, and maintain | 1 | 1 | 1 | 0 | 1 | 4
|  |  | adaptation |  | T,I | T | [7 empty] | software with ODAPS | 0 | 0 | 0 | 0 | 0 | 0
2.4 |  |  | Support priority restorations | Y | T | N/A | E | N | A | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
2.5 |  |  | Perform system capacity analysis | Y | D,T | T | E | N | M | L | O | M | OTHER | Includes trend analysis, CPU | 0 | 0 | 0 | 0 | 0 | 0
utilization percentage
2.6 |  |  | Perform problem reporting | Y | T,F, | D,E,S | S | C | A | L | O | M | OTHER | Involves interfacing with | 0 | 1 | 1 | 0 | 0 | 2
[5 empty] | M | T | [7 empty] | controllers and documenting
[14 empty] | problems | 0 | 0 | 0 | 0 | 0 | 0
AOS 3.0 |  |  | Life Cycle Management | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.1 |  |  | Manage contractor support | Y | T,F, | D,E,S | E | N | D | L | O | M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
3.2 |  |  | Maintain system software | Y | N/A | D,E,S, | S | C | D | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | configurations/changes |  |  | T | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
3.3 |  |  | Implement quality performance | Y | F | D | S* | C | D | L | O | M | OTHER | *Difficulty of task depends on | 0 | 1 | 1 | 0 | 0 | 2
|  |  | criteria (peer reviews) | [10 empty] | sitaution
3.4 |  |  | Integrate oceanic system with | Y | F,T, | D,E,S | S | C | A | L | O | M | OTHER | Interfaces include AIDC, FDIO, | 0 | 1 | 1 | 0 | 0 | 2
|  |  | new interfaces |  | M | T | [7 empty] | flight strip printers, etc. | 0 | 0 | 0 | 0 | 0 | 0
3.5 |  |  | Develop/manage software | Y | T,F, | D,E,S, | S | C | A | M | O | M | OTHER | Some modifications may be | 0 | 1 | 1 | 0 | 0 | 2
|  |  | modifications/NCPS |  | M | T | [7 empty] | critical | 0 | 0 | 0 | 0 | 0 | 0
AOS 4.0 |  |  | Documentation | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.1 |  |  | Maintain technical instruction | Y | D,T,I, | D,S | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
|  |  | books |  | F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.2 |  |  | Maintain CPFS | Y | D,T,I, | D,S | E | C | A | L | O | M | OTHER | DISC maintains TP, ODL and | 0 | 1 | 1 | 0 | 0 | 2
[5 empty] | F | [8 empty] | AIDC | 0 | 0 | 0 | 0 | 0 | 0
4.3 |  |  | Maintain user/operator manuals | Y | D,T,I, | D,S | E | C | A | L | O | M | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2
[5 empty] | F | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
4.4 |  |  | Extract system statistical | Y | D,P | D,S | E | N | D | L | O | M | OTHER
|  |  | information/prepare usage and |  | I
error reports
AOS 5.0 |  |  | System Failure/Incident Reporting | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0
5.1 |  |  | Report system failures/Incidents | Y | T,F,M | N/A | E | M | A | L | O | A/M | OTHER |  | 0 | 0 | 1 | 0 | 0 | 1
5.2 |  |  | Coordinate activities | Y | T,F | N/A | E | C | A | L | O | M/A | OTHER |  | 0 | 1 | 1 | 0 | 0 | 2