## COI-NJD-NOH-I5-RATS-WOM-WOS-DC
October 2009 | [7 empty] | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
COI | NJD | NOH | RATS | WoM | WoS | PDCI | Estimated Path Capacity | Day | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat
C | [6 empty] | COI (N-S)
COI (S-N)
| J | [5 empty] | North of John Day
|  | H |  |  |  |  | North of Hanford
|  |  | R |  |  |  | RATS N>S
RATS S>N
|  |  |  | M |  |  | West of McNary
[5 empty] | S |  | West of Slatt
[6 empty] | D | PDCI NOB (N>S)
PDCI NOB (S>N)
PDCI Power Order (N>S)
PDCI Power Order (S>N)
[7 empty] | Description | Day: Util
C | [5 empty] | D | Malin: 500kV Reactor 4 including LBD 11L4 (Installing new annunciators, actuation device and trip circuits) 192106 | PAC | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | to 31DEC08
C | J | H |  | M |  | D | Lower Monoumental-McNary 1 500kV Line (Replacing spacers) FY09 Spacer Replacement Program 205579 COS 1-001837 | BPA | 0800 C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C 1600
[6 empty] | D | Celilo: Converters 1 & 2 (SIR) | Day: BPA; 1 Thu: C; 2 Fri: C 1700
[6 empty] | D | Celilo: Converters 3 & 4 (SIR) | Day: BPA; 4 Sun: 0600 C; 5 Mon: C; 6 Tue: C; 7 Wed: C; 8 Thu: C; 9 Fri: C; 10 Sat: C; 11 Sun: C; 12 Mon: C; 13 Tue: C; 14 Wed: C; 15 Thu: C; 16 Fri: C; 17 Sat: C 2400
C | J | H |  |  |  | D | Vantage-Schultz 1 500kV Line (Replacing spacers) FY09 Spacer Replacement Program 205797 COS 1-001838 | Day: BPA; 5 Mon: 0700 C; 6 Tue: C; 7 Wed: C; 8 Thu: C 1430
C | J |  |  |  |  | D | Keeler: SVC (Annual maintenance) els 204901/dls 205083 | Day: BPA; 5 Mon: 0800 C; 6 Tue: C; 7 Wed: C; 8 Thu: C; 9 Fri: C 1400
[6 empty] | D | Sylmar: Converter 2 (SIR) | Day: LWP; 13 Tue: 0600 C; 14 Wed: C; 15 Thu: C; 16 Fri: C; 17 Sat: C 2400
[6 empty] | D | Celilo-Sylmar 1000kV Line, Poles 3 & 4 (SIR) | Day: BPA LWP; 18 Sun: 0000 C; 19 Mon: C; 20 Tue: C; 21 Wed: C; 22 Thu: C; 23 Fri: C; 24 Sat: C 2100
C | [5 empty] | D | Ponderosa-Sumer Lake Section of Grizzly-Summer Lake 1 500kV Line (Change spacers) 210588 COS 1-006837 | Day: BPA; 26 Mon: 0800 C; 27 Tue: C; 28 Wed: C; 29 Thu: C; 30 Fri: C; 31 Sat: C | to 07NOV09
C | J | H |  |  |  | D | Pearl-Keeler 1 500kV Line (Installing cell phone antennas on 16/5 and 16/4) 210986 | Day: BPA; 30 Fri: 0800 C; 31 Sat: C | to 01NOV09

## WoC-S,R-P, P-A & SoA
'October 2009 |  |  |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
WoC-S | RP | PA | S o A | Estimated Path Capacity | Day | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat
S |  |  |  | West of Cascades - South
| R |  |  | Raver-Paul
|  | P |  | Paul-Allston
|  |  | A | South of Allston
|  |  |  | Description | Day: Util
|  |  | A | McLoughlin-Pearl Tap section of Mcloughlin-Sherwood 1 230kV Line (Stringing conductor for new McLoughlin-Wilsonville 115kV Line on same tower) els 208165/dls 208212 | Day: PGE; 1 Thu: C; 2 Fri: C 1200
|  |  | A | McLoughlin-Sherwood 1 230kV Line (Reinstall jumpers on tower 12/3 to return line back to normal service) els 208169/dls 208210 | Day: PGE; 2 Fri: 1200 1600
|  |  | A | Pearl-Keeler 1 500kV Line (Installing cell phone antennas on 16/5 and 16/4) 210986 | Day: BPA; 30 Fri: 0800 C; 31 Sat: C | to 01NOV09

## WoC-N, NI & ELM
October 2009 |  |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
WoC-N | NI | ELM | NI & ELM Estimated Path Capacity | Day | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat
C |  |  | West of Cascades - North | bar: 12 Mon
| N |  | Estimated NI Westside (N-S) | bar: 12 Mon
Estimated NI Westside (S-N) | bar: 12 Mon
|  | E | Echo Lake-Monroe flow gate | bar: 12 Mon
|  |  | Description | Day: Util
| N |  | Monroe-Custer 1 500kV Line (Installing fiber optic cable on line) 186314 | BPA | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C 1800
| N |  | Monroe-Custer 1 500kV Line (Replacing spacers) 205553 FY09 Spacer Replacement Program | BPA | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C 1600
| N |  | Sedro Woolley=Bellingham 3 115kV Line (Rebuilding and reconductor line for upgrade) 205518 | Day: PSE; 1 Thu: C 1700
C | N |  | Vantage-Schultz 1 500kV Line (Replacing spacers) FY09 Spacer Replacement Program 205797 COS 1-001838 | Day: BPA; 5 Mon: 0700 C; 6 Tue: C; 7 Wed: C; 8 Thu: C 1430
| N | E | Echo Lake-Monroe 1 500kV Line (PCS repair and danger tree removal) 192265 COS 1-001852 | Day: BPA; 5 Mon: 0600 1800; 6 Tue: 0600 1800; 7 Wed: 0600 1800; 8 Thu: 0600 1800; 9 Fri: 0600 1800
| N |  | SnoKing: 230kV Main Bus Section 2 and PCB's A-1204, A-1195 & A-1196 (M/B and M/B Section Disconnects complete service) 204212 {Forces out 230/115kV Bank 1} | Day: BPA; 5 Mon: 0700 1900
| N | E | Echo Lake-Monroe 1 500kV Line (Seismic reinforcement) 203514 COS 1-001836 | Day: BPA; 6 Tue: 0600 C; 7 Wed: C; 8 Thu: C 1800

## MT>NW & WOH
October 2009 |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
MT>NW | WoH | MT>NW & WOH OUTAGES | Day | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat
M |  | Estimated MT>NW (E-W) | bar: 12 Mon
Estimated MT>NW (W-E) | bar: 12 Mon
| W | Estimated WOH (E-W) | bar: 12 Mon
|  | Description | Day: Util
| W | Noxon-Pine Creek 230kV Line (Replacing fiber cable mounting brackets) els 206565/dls 193805 | AVA | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C 1600

## ID-NW
October 2009 IDAHO-NW OUTAGES | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Day | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat
Estimated ID-NW E>W
Estimated ID-NW W>E
Estimated LaGrande E>W
Estimated LaGrande W>E
Estimated Harney
Description | Day: Util
Hells Canyon-Walla Walla 230kV Line (Line maintenance) els 196084/dls 196749 COS (IPC) 1-000599 & 1-001132 | IPC | 0800 C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C 1600
Hampton-Riley Section of Brasada-Harney 1 115kV Line (Changing poles) els 210579/dls 21XXXX COS 1-006931 | Day: BPA; 1 Thu: 0800 C; 2 Fri: C; 3 Sat: C; 4 Sun: C; 5 Mon: C; 6 Tue: C; 7 Wed: C; 8 Thu: C; 9 Fri: C 1630