METADATA FILE

August 3, 2005

Name of Observatory			Grantley Adams Airport

Country					Barbados

WMO Index Number		   	78954

Latitude and Longitude			13º04.820”North, 59º29.124W

(Measured by GPS Aug 2005)

Altitude of Barometer Cistern		184 feet above msl (measured)

Altitude of Rain Gauge			172 feet above msl (estimated)

Date of This Entry				August 3, 2005

Type of Observatory				Surface, Upper Air, Climatology

Hours of Operation				24

Surface Observations 			24 hourlies and 8 Synoptic

Upper Air Soundings Performed		12Z daily plus 00Z during Hurricane season

Additional CLIMAT parameters observed	Evaporation and Sunshine

Description of land and activities within 10 kilometers of observatory

The Observatory is located at Grantley Adams International Airport which is in the southeast quadrant of the island.  The observatory is roughly 1 ½  miles northwest of the shoreline.  The runway is oriented East-West and is between the observatory and the ocean.  The land surrounding the airport is relatively flat with a few hills that are several kilometers away and to the Northwest.  Agriculture is the main activity surrounding the observatory and is primarily sugar cane crops.  The housing and business activities are along the western shore and are at least 10 kilometers from the  observatory.  Of course there is considerable shipping in the capital city of Bridgetown which is several miles NW.  The airport is fairly busy with several flights per day using island hopping light aircraft as well as jumbo jets.

Description of the Instrument Field

The current instrument field is large in comparison to other observatories.  The field is grass covered, with ample spacing for all the instruments and is enclosed by a 12 foot fence.  The instrument field was originally located near the old airport terminal which is about a half mile from its present location.  The instrument field was moved to its present location in 1979.  During January 2004, the airport authorities at Grantley Adams constructed a huge aircraft hangar within a few yards of the existing instrument field. This hangar houses the SST Concorde Jet.  The Director of the Barbados Meteorological Service was not consulted about the location or design of this hangar and his concerns were ignored.   This hangar obstructs the entire northeast quadrant of the observing field.  All observed winds from 360 to 090 degrees are considered to be erroneous.  Also there are several instances when the accuracy of the collection of rainfall is questionable because the hangar interrupts the flow of the wind causing “deadspots” over the gauges. The IF is more or less surrounded by parking lots for equipment and automobiles.  The parking pavement begins just a few feet from the IF fence.  It is difficult to say whether the parking and other activities effect the temperature measurements.

INSTRUMENT DESCRIPTIONS

The Instrument Shelter is similar to the standard Simpson Shelter and is made of white wooden louvered slats.  The shelter is approximately 2 feet wide, 14 inches deep, and 14 inches high.  The floor of the shelter is roughly 5 feet above a cement pad and is facing North.

The official Psychrometer, Maximum and Minimum Thermometers are properly mounted within the Instrument Shelter.  The Psychrometer is standard Casella liquid in glass thermometers with a muslim wick permanently bathed distilled water.  The Psychrometer is not artificially aspirated.  The Casella Maximum and Minimum thermometers are properly mounted in a horizontal plane above the Psychrometer The thermometers were compared with the handheld Lufft E200 Stand V1 high precision thermometer.  The differences were usually less than two tenths of a degree and were dictated more by the error of parallax. The Contractor is satisfied that the observatory is making accurate temperature and humidity measurements.

The rain gauge is a standard metal collecting instrument sitting on the ground with the orifice approximately 12 inches above the ground.  The orifice is 5 inches in diameter. The rain is funneled into a glass bottle for manual measurement. The gauge is manufactured by Perkins of the UK.

The official wind system is part of a Casella Automatic Weather Station (s/n M103159) is mounted on a 10 meter mast and roughly 1 kilometer east of the existing instrument field.

A standard size evaporation pan with a wind counter is located centrally in the IF.

There is a Campbell-Stokes sunshine recorder that is properly exposed and the recording cardboard collars are accurately positioned.

The official barometer is a Negretta Precision Barometer Mark II ref. Met20005, s/n 8483/83 located in the observers office.  The barometer is 166 feet above sea level while The airport runway ranges between 152 and 159 feet above sea level.

CAUTIONS TO THE USER OF THIS DATA

The official records for the old instrument field date back to 1942.  Some of the records were lost during a hurricane in 1955.  Users of these records should note that during 1971-1972 the instruments were temporarily placed on the roof of a building which resulted in spurious temperature readings.  The instruments were removed from the roof and put back in their original location near the old terminal.

:Currently (2005), the airport is undergoing major renovation and expansion which is causing the authorities to once again move the instrument field.  The new instrument field will be 1 kilometer due east of the existing field and at nearly the same height above sea level.  The contractor used GPS to measure the location of the center of the field to be 13º 04.896 North and 59º28.588 West.  The new site is 100 square feet in area, grass covered and is near the east end of the runway and roughly one half mile from the ocean.  The authorities have indicated that this area will not be developed and the surrounding area will be kept free of buildings, traffic, and pavement.  The Director of the Meteorololgical Service installed the Casella Automatic Weather station in this new location in early 2005 to begin comparison readings in anticipation of the move.  The instruments are part of the basic Casella  station identified above and properly mounted.  While the airport authorities have indicated a move will occur during 2005 or 2006 the Met. Department does not think this will happen for a few years.

Photographs

The contractor has included photographs of the existing IF, the proposed new IF and the Upper Air Station which is on the other side of the runway and roughly 1 ½ miles to the southwest.