## Summary
| 2010 | 2020 | Cumulative
Savings from an EERS
Annual electricity savings (TWh) | 87.1198 | 386.1582
Estimated peak demand savings (MW) | 28018.3417 | 124191.2115
Annual direct gas savings (TBtu) | 355.1495 | 1568.7281
Total savings, all fuels (quads) | 1.2929 | 5.594
Program Costs
Program costs (billions)
Electric | 2.842 | 3.0926
Gas | 1.157 | 1.2479
Customer investments | 7.998 | 8.6809
Total costs | 11.997 | 13.0214
Discounted costs (2005 $, 4.5% real discount rate) | 9.627 | 6.7284
Program Benefits and Net Benefits
Program benefits (billions)
Electric | 6.3711 | 27.9773
Gas | 2.765 | 11.8935
Total | 9.1362 | 39.8708
Discounted benefits (2005$, 4.5% real disc. rate) | 7.3313 | 20.6021
Cumulative net benefits | -13.7185 | 64.0011
Benefit/cost ratio |  |  | 2.5671
Power sector CO2 emissions (MMT) | 2533 | 2835
Natrual gas consumption CO2 emissions (MMT) | 927 | 1005
CO2 emissions savings from EERS | 75.7815 | 320.3231
Note: 2010 and 2020 savings include savings from measures installed in prior years.

## Exec Sum
| 2010 | 2020 | Cumulative
Savings from an EERS
Annual electricity savings (TWh) | 87.1198 | 386.1582
Estimated peak demand savings (MW) | 28018.3417 | 124191.2115
Annual direct gas savings (TBtu) | 355.1495 | 1568.7281
Total savings, all fuels (quads) | 1.2929 | 5.594
Cumulative net benefits (billions) | -13.7185 | 64.0011
Benefit/cost ratio |  |  | 2.5671
CO2 emissions savings from an EERS (MMT) | 75.7815 | 320.3231
Note: 2010 and 2020 savings include savings from measures installed in prior years.

## yr by yr
Estimated Savings From and Costs of a National EERS
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Electricity sales per AEO2006 (TWh) | 3699.8772 | 3766.5889 | 3847.1943 | 3910.5732 | 3977.6772 | 4046.9011 | 4115.6323 | 4173.168 | 4233.9595 | 4299.54 | 4369.8472 | 4432.52 | 4500.8452 | 4563.8716 | 4629.2251 | 4688.0083 | 4751.0181 | 4816.8223 | 4890.9102 | 4956.3784 | 5032.3496 | 5108.2803 | 5191.3296 | 5266.2812 | 5341.4282
Electricity sales after allowing for prior year EERS | 3699.8772 | 3766.5889 | 3837.7779 | 3881.9679 | 3919.9571 | 3959.7813 | 3998.8142 | 4026.3587 | 4056.9525 | 4092.1059 | 4131.7223 | 4163.4072 | 4200.5068 | 4232.0294 | 4265.6427
Natural gas sales per AEO2006 (TBtu, R+C+I) | 15193.3606 | 15402.2357 | 15678.5131 | 15911.6673 | 16077.8015 | 16259.7783 | 16415.9672 | 16498.0266 | 16612.2479 | 16792.5882 | 16931.2997 | 17017.8521 | 17104.3808 | 17214.957 | 17340.153 | 17405.5834 | 17514.5998 | 17659.3895 | 17755.5025 | 17856.2636 | 17976.9163 | 18066.7276 | 18179.9786 | 18289.0151 | 18438.6728
Natural gas sales after allowing for prior year EERS | 15193.3606 | 15402.2357 | 15640.0075 | 15833.4673 | 15959.0505 | 16140.0854 | 16294.9166 | 16375.8147 | 16489.4293 | 16668.9175 | 16806.2828 | 16891.8049 | 16977.6923 | 17087.6243 | 17211.9958
Savings from an EERS
Annual target (%) | 0% | 0.25% | 0.5% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75% | 0.75%
Electric savings from current year programs (TWh) |  | 9.4165 | 19.1889 | 29.1148 | 29.3997 | 29.6984 | 29.9911 | 30.1977 | 30.4271 | 30.6908 | 30.9879 | 31.2256 | 31.5038 | 31.7402 | 31.9923
Annual elec savings (including prior year installations) |  | 9.4165 | 28.6054 | 57.7201 | 87.1198 | 116.8182 | 146.8093 | 177.007 | 207.4341 | 238.1249 | 269.1128 | 300.3384 | 331.8422 | 363.5824 | 386.1582 | 366.9693 | 337.8546 | 308.4549 | 278.7565 | 248.7654 | 218.5678 | 188.1406 | 157.4498 | 126.4619 | 95.2363 | 63.7325 | 31.9923 | -1.0658e-13
Estimated peak demand savings (MW) |  | 3028.4039 | 9199.686 | 18563.1978 | 28018.3417 | 37569.5437 | 47214.8949 | 56926.6851 | 66712.2691 | 76582.645 | 86548.5777 | 96590.9361 | 106722.7807 | 116930.6595 | 124191.2115 | 118019.9293 | 108656.4175 | 99201.2736 | 89650.0716 | 80004.7204 | 70292.9302 | 60507.3462 | 50636.9703 | 40671.0376 | 30628.6793 | 20496.8346 | 10288.9558
Average heat rate Btu/kWh (including T&D losses) | 10830.8019 | 10836.0872 | 10802.5011 | 10785.91 | 10764.0177 | 10668.3678 | 10671.0057 | 10628.9551 | 10587.8256 | 10554.6394 | 10526.6264 | 10506.7937 | 10478.1276 | 10461.7136 | 10423.9949 | 10387.4075 | 10353.8729 | 10321.1442 | 10293.2415 | 10262.2306 | 10222.0897 | 10183.1463 | 10141.5968 | 10089.7986 | 10056.2239
Gas savings from current year programs (TBtu) |  | 38.5056 | 78.2 | 118.751 | 119.6929 | 121.0506 | 122.2119 | 122.8186 | 123.6707 | 125.0169 | 126.0471 | 126.6885 | 127.3327 | 128.1572 | 129.09
Annual gas savings (including prior year installations) |  | 38.5056 | 116.7056 | 235.4566 | 355.1495 | 476.2002 | 598.412 | 721.2306 | 844.9014 | 969.9182 | 1095.9654 | 1222.6539 | 1349.9866 | 1478.1438 | 1568.7281 | 1490.5281 | 1371.7771 | 1252.0842 | 1131.0336 | 1008.8217 | 886.0031 | 762.3324 | 637.3155 | 511.2684 | 384.5798 | 257.2472 | 129.09 | 0
Total savings, all fuels (quads) |  | 0.14054 | 0.42572 | 0.85802 | 1.2929 | 1.7225 | 2.165 | 2.6026 | 3.0412 | 3.4832 | 3.9288 | 4.3782 | 4.8271 | 5.2818 | 5.594 | 5.3024 | 4.8699 | 4.4357 | 4.0003 | 3.5617 | 3.1202 | 2.6782 | 2.2341 | 1.7872 | 1.3423 | 0.25725 | 0.12909 | 0
Total gas savings including at power plants (TBtu) |  | 89.5244 | 271.2104 | 546.7386 | 824.029 | 1099.3297 | 1381.7133 | 1661.9301 | 1943.0394 | 2226.5794 | 2512.3904 | 2800.4505 | 3088.5289 | 3379.9912 | 3581.3839 | 3396.4582 | 3120.8288 | 2843.888 | 2565.6878 | 2285.2659 | 2003.1127 | 1720.2641 | 1435.7118 | 1149.2559 | 863.4388 | 257.2472 | 129.09 | 0
Total gas savings including at power plants (BCF) |  | 87.0014 | 263.5669 | 531.3301 | 800.8057 | 1068.3476 | 1342.7729 | 1615.0924 | 1888.2793 | 2163.8284 | 2441.5844 | 2721.5262 | 3001.4858 | 3284.7339 | 3480.4508 | 3300.7368 | 3032.8754 | 2763.7396 | 2493.3798 | 2220.8609 | 1946.6596 | 1671.7824 | 1395.2495 | 1116.8668 | 839.1048 | 249.9972 | 125.4519 | 0
Program Costs
Program costs (billions)
Electric |  | 0.91026 | 1.8549 | 2.8144 | 2.842 | 2.8708 | 2.8991 | 2.9191 | 2.9413 | 2.9668 | 2.9955 | 3.0185 | 3.0454 | 3.0682 | 3.0926
Gas |  | 0.37222 | 0.75593 | 1.1479 | 1.157 | 1.1702 | 1.1814 | 1.1872 | 1.1955 | 1.2085 | 1.2185 | 1.2247 | 1.2309 | 1.2389 | 1.2479
Customer investments |  | 2.565 | 5.2217 | 7.9247 | 7.998 | 8.082 | 8.161 | 8.2127 | 8.2735 | 8.3505 | 8.4279 | 8.4863 | 8.5525 | 8.6141 | 8.6809
Total costs |  | 3.8474 | 7.8326 | 11.8871 | 11.997 | 12.123 | 12.2416 | 12.3191 | 12.4103 | 12.5258 | 12.6419 | 12.7294 | 12.8288 | 12.9212 | 13.0214
Discounted costs (2005 $, 4.5% real discount rate) |  | 3.5232 | 6.8637 | 9.968 | 9.627 | 9.3092 | 8.9955 | 8.6626 | 8.351 | 8.0657 | 7.7899 | 7.5061 | 7.2389 | 6.9771 | 6.7284
Program Benefits and Net Benefits
Average end-use electric price (cents/kWh) | 8.2131 | 7.8194 | 7.5554 | 7.4242 | 7.3131 | 7.1853 | 7.1392 | 7.2134 | 7.1876 | 7.1223 | 7.1261 | 7.1401 | 7.1837 | 7.2509 | 7.245 | 7.2938 | 7.3123 | 7.298 | 7.3415 | 7.4004 | 7.4027 | 7.4242 | 7.4226 | 7.4346 | 7.5061 | 7.5061 | 7.5061 | 7.5061
Average end-use gas price ($/1000cf, wtd avg R,C,I) | 9.7172 | 9.0414 | 8.7117 | 8.3117 | 8.0113 | 7.7887 | 7.7047 | 7.7795 | 7.6763 | 7.4571 | 7.4425 | 7.49 | 7.6573 | 7.8011 | 7.8015 | 7.9314 | 8.0084 | 8.0771 | 8.2032 | 8.3331 | 8.4128 | 8.5158 | 8.5809 | 8.6608 | 8.8189
Program benefits (billions)
Electric |  | 0.73631 | 2.1612 | 4.2853 | 6.3711 | 8.3937 | 10.481 | 12.7682 | 14.9095 | 16.96 | 19.1773 | 21.4443 | 23.8385 | 26.363 | 27.9773 | 26.7661 | 24.7048 | 22.5111 | 20.465 | 18.4097 | 16.1799 | 13.9679 | 11.6869 | 9.402 | 7.1485 | 4.7838 | 2.4014 | -8.0001e-15
Gas |  | 0.33833 | 0.98806 | 1.9019 | 2.765 | 3.6045 | 4.4806 | 5.4527 | 6.3029 | 7.0289 | 7.9268 | 8.8996 | 10.0459 | 11.2062 | 11.8935 | 11.4888 | 10.6761 | 9.8282 | 9.0167 | 8.1697 | 7.2437 | 6.3089 | 5.3146 | 4.3032 | 3.296 | 0 | 0 | 0
Total |  | 1.0746 | 3.1493 | 6.1871 | 9.1362 | 11.9982 | 14.9616 | 18.2209 | 21.2124 | 23.9889 | 27.1041 | 30.3439 | 33.8844 | 37.5691 | 39.8708 | 38.2549 | 35.3809 | 32.3394 | 29.4816 | 26.5794 | 23.4236 | 20.2768 | 17.0016 | 13.7052 | 10.4445 | 4.7838 | 2.4014 | -8.0001e-15
Discounted benefits (2005$, 4.5% real disc. rate) |  | 0.98408 | 2.7597 | 5.1883 | 7.3313 | 9.2133 | 10.9942 | 12.8127 | 14.2739 | 15.4471 | 16.7015 | 17.8927 | 19.12 | 20.2863 | 20.6021 | 18.9159 | 16.7414 | 14.6433 | 12.7744 | 11.021 | 9.2942 | 7.6991 | 6.1775 | 4.7653 | 3.4752 | 1.5232 | 0.73168 | -2.3326e-15
Cumulative net benefits |  | -2.5391 | -6.6431 | -11.4228 | -13.7185 | -13.8143 | -11.8155 | -7.6654 | -1.7425 | 5.6389 | 14.5505 | 24.9372 | 36.8183 | 50.1274 | 64.0011 | 82.917 | 99.6584 | 114.3017 | 127.0761 | 138.0971 | 147.3912 | 155.0904 | 161.2679 | 166.0332 | 169.5084 | 171.0316 | 171.7633 | 171.7633
Benefit/cost ratio | 2.5671
Power sector CO2 emissions (MMT) | 2369 | 2395 | 2450 | 2500 | 2533 | 2554 | 2605 | 2624 | 2643 | 2661 | 2691 | 2722 | 2761 | 2799 | 2835 | 2872 | 2912 | 2954 | 3006 | 3052 | 3099 | 3156 | 3215 | 3268 | 3318
Natrual gas consumption CO2 emissions (MMT) | 880 | 891 | 906 | 919 | 927 | 938 | 947 | 953 | 958 | 972 | 982 | 987 | 993 | 998 | 1005 | 1008 | 1014 | 1021 | 1025 | 1030 | 1037 | 1041 | 1047 | 1053 | 1060
CO2 emissions savings from EERS | 0 | 8.215 | 24.9531 | 50.4645 | 75.7815 | 100.8003 | 126.7039 | 151.7202 | 176.4236 | 201.2094 | 226.1982 | 251.3141 | 276.7781 | 302.4893 | 320.3231 | 303.7198 | 279.1859 | 254.5471 | 229.7461 | 204.8795 | 179.637 | 154.5777 | 129.2638 | 103.7624 | 78.0587
S. Nadel, ACEEE, 3/16/06
Note on P13: Steve Nadel: Estimate 13-year avg measure life
Note on C14: Steve Nadel: kW/kWh factor from EIA reports on DSM in 1999; added 8% for T&D losses and 10% for reserve margin
Note on P17: Steve Nadel: Estimate 13-year avg measure life
Note on B41: Steve Nadel: from AEO2006
Note on B42: Steve Nadel: from AEO2006
Note on B31: Steve Nadel: from AEO2006
Note on B32: Steve Nadel: Weighted avg for R+C+I, derived from AEO2006
Note on B15: Steve Nadel: derived from electric losses in AEO2006
Note on C24: Steve Nadel: Based on levelized cost of 3 cents/kWh, 13 yr life and 4.5% discount rate; utility pays 1/3 of total cost
Note on C25: Steve Nadel: Based on levelized cost of 30 cents/therm, 13 yr life and 4.5% discount rate; utility pays 1/3 of total cost
Note on C26: Steve Nadel: Program covers 1/3 of cost, customer 2/3's
Note on C19: Steve Nadel: Assumes 50% of new power plants are gas-fired, per AEO2006
Note on C20: Steve Nadel: Based on 1029 Btu/cf
Note on D20: Steve Nadel: Based on 1029 Btu/cf
Note on E20: Steve Nadel: Based on 1029 Btu/cf
Note on F20: Steve Nadel: Based on 1029 Btu/cf
Note on G20: Steve Nadel: Based on 1029 Btu/cf
Note on H20: Steve Nadel: Based on 1029 Btu/cf
Note on I20: Steve Nadel: Based on 1029 Btu/cf
Note on J20: Steve Nadel: Based on 1029 Btu/cf
Note on K20: Steve Nadel: Based on 1029 Btu/cf
Note on L20: Steve Nadel: Based on 1029 Btu/cf
Note on M20: Steve Nadel: Based on 1029 Btu/cf
Note on N20: Steve Nadel: Based on 1029 Btu/cf
Note on O20: Steve Nadel: Based on 1029 Btu/cf
Note on P20: Steve Nadel: Based on 1029 Btu/cf
Note on Q20: Steve Nadel: Based on 1029 Btu/cf
Note on R20: Steve Nadel: Based on 1029 Btu/cf
Note on S20: Steve Nadel: Based on 1029 Btu/cf
Note on T20: Steve Nadel: Based on 1029 Btu/cf
Note on U20: Steve Nadel: Based on 1029 Btu/cf
Note on V20: Steve Nadel: Based on 1029 Btu/cf
Note on W20: Steve Nadel: Based on 1029 Btu/cf
Note on X20: Steve Nadel: Based on 1029 Btu/cf
Note on Y20: Steve Nadel: Based on 1029 Btu/cf
Note on Z20: Steve Nadel: Based on 1029 Btu/cf
Note on AA20: Steve Nadel: Based on 1029 Btu/cf
Note on AB20: Steve Nadel: Based on 1029 Btu/cf
Note on AC20: Steve Nadel: Based on 1029 Btu/cf