## Overall Summary
EPA Protocol Gas Audit Results
Tri-Blend NO/SO2/CO2 Gases - Certified According to EPA Traceability Protocol
EPA Cylinder Gas Assays: April 2003 - February 2004
|  | NO |  |  |  |  | SO2 |  |  |  |  | CO2
Gas Vendor | Gas Conc. Level | Tag Value (ppm NO) | Audit Result |  | Vendor Analytical Technique | Reference Standard | Tag Value (ppm SO2) | Audit Result |  | Vendor Analytical Technique | Reference Standard | Tag Value (% CO2) | Audit Result |  | Vendor Analytical Technique | Reference Standard | Audit
|  |  | Original Tag Value | Reanalyzed Value |  |  |  | Original Tag Value | Reanalyzed Value |  |  |  | Original Tag Value | Reanalyzed Value
Result
Air Liquide | Low | 54 | Pass |  | FTIR | GMIS | 47.5 | Pass |  | FTIR | GMIS | 4.97 | Pass |  | FTIR | GMIS | Pass
| Mid | 401 | Pass |  | FTIR | GMIS | 499 | Pass |  | FTIR | GMIS | 12.1 | Pass |  | FTIR | GMIS | Pass
| High | 911 | Pass |  | FTIR | GMIS | 981 | Pass |  | FTIR | GMIS | 17.7 | Fail | Pass | FTIR | NTRM | Fail
Airgas Southwest Specialty Gases | Low | 48.9 | Fail | Pass | Chem | NTRM | 47.73 | Pass |  | NDIR | NTRM | 5.011 | Pass |  | NDIR | NTRM | Pass
| Mid | 406 | Pass |  | Chem | NTRM | 496.8 | Pass |  | NDIR | NTRM | 12 | Pass |  | NDIR | NTRM | Pass
| High | 900 | Fail | Pass | Chem | NTRM | 994.6 | Pass |  | NDIR | NTRM | 17.99 | Pass |  | NDIR | NTRM | Pass
Airgas NCN Specialty Gases | Low | 51.4 | Pass |  | NDIR | NTRM | 50.4 | Pass |  | NDIR | GMIS | 5.01 | Pass |  | NDIR | NTRM | Pass
| Mid | 388 | Pass |  | NDIR | NTRM | 500 | Pass |  | NDIR | NTRM | 12 | Pass |  | NDIR | NTRM | Pass
| High | 845 | Fail | Pass | NDIR | NTRM | 1000 | Pass |  | NDIR | NTRM | 18 | Pass |  | NDIR | NTRM | Pass
Airgas South Specialty Gases | Low | 50.05 | Fail | Pass | Chem | GMIS | 50.23 | Pass |  | NDIR | NTRM | 5.041 | Pass |  | NDIR | NTRM | Pass
| Mid | 397.5 | Pass |  | Chem | NTRM | 502.8 | Pass |  | NDIR | NTRM | 12 | Pass |  | NDIR | NTRM | Pass
| High | 900 | Pass |  | Chem | NTRM | 998.8 | Pass |  | NDIR | NTRM | 18.07 | Pass |  | NDIR | NTRM | Pass
BOC Gases | Low | 49.8 | Pass |  | FTIR | SRM | 50.9 | Pass |  | FTIR | SRM | 5 | Pass |  | FTIR | NTRM | Pass
| Mid | 407.8 | Fail | Pass | FTIR | SRM | 500.4 | Pass |  | FTIR | NTRM | 11.98 | Pass |  | FTIR | NTRM | Pass
| High | 900 | Fail | Pass | FTIR | SRM | 1000 | Pass |  | FTIR | NTRM | 18.02 | Pass |  | FTIR | NTRM | Pass
AGA / Linde Gas Group | Low | 50.4 | Pass |  | Chem | GMIS | 48.7 | Pass |  | NDIR | GMIS | 5.2 | Pass |  | NDIR | NTRM/GMIS | Pass
| Mid | 396 | Pass |  | Chem | GMIS | 466 | Pass |  | NDIR | GMIS | 12.5 | Pass |  | NDIR | NTRM/GMIS | Pass
| High | 904 | Pass |  | Chem | GMIS | 956 | Pass |  | NDIR | GMIS | 18.3 | Pass |  | NDIR | NTRM/GMIS | Pass
Matheson Tri-Gas | Low | 48.9 | Fail | Pass | FTIR | SRM | 49.5 | Pass |  | FTIR | SRM | 5.23 | Fail | Pass | FTIR | SRM | Fail
| Mid | 410 | Fail | Pass | FTIR | SRM | 504 | Pass |  | FTIR | SRM | 12.2 | Pass |  | FTIR | SRM | Pass
| High | 904 | Pass |  | FTIR | SRM | 988 | Pass |  | FTIR | SRM | 17.9 | Pass |  | FTIR | SRM | Pass
Messer MG Industries | Low | 50 | Pass |  | Chem | GMIS | 50.1 | Pass |  | NDIR | GMIS | 5.05 | Pass |  | NDIR | GMIS | Pass
| Mid | 398 | Pass |  | Chem | GMIS | 501 | Pass |  | NDIR | GMIS | 12.1 | Pass |  | NDIR | GMIS | Pass
| High | 888 | Pass |  | Chem | GMIS | 1004 | Pass |  | NDIR | GMIS | 18.2 | Pass |  | NDIR | GMIS | Pass
Messer MG Industries (Spec Air Specialty Gas) | Low | 50 | Pass |  | Chem | GMIS | 49.3 | Pass |  | NDIR | GMIS | 5.07 | Pass |  | NDIR | GMIS | Pass
| Mid | 403 | Pass |  | Chem | GMIS | 496 | Pass |  | NDIR | GMIS | 12.1 | Pass |  | NDIR | GMIS | Pass
| High | 894 | Pass |  | Chem | GMIS | 1004 | Pass |  | NDIR | GMIS | 18.3 | Pass |  | NDIR | GMIS | Pass
National Specialty Gases | Low | 46.2 | Fail | Pass | FTIR | GMIS | 51.8 | Fail | Pass | FTIR | GMIS | 4.9 | Pass |  | FTIR | GMIS | Pass
| Mid | 398 | Pass |  | FTIR | GMIS | 500 | Pass |  | FTIR | GMIS | 12 | Pass |  | FTIR | GMIS | Pass
| High | 930 | Pass |  | FTIR | GMIS | 991 | Pass |  | FTIR | GMIS | 17.8 | Fail | Pass | FTIR | GMIS | Fail
Praxair | Low | 51.2 | Pass |  | Chem | GMIS | 50 | Pass |  | UV | GMIS | 5 | Pass |  | NDIR | GMIS | Pass
| Mid | 406 | Pass |  | NDIR | GMIS | 509 | Pass |  | NDIR | GMIS | 12.18 | Pass |  | NDIR | GMIS | Pass
| High | 914 | Pass |  | NDIR | GMIS | 999 | Pass |  | NDIR | GMIS | 17.59 | Pass |  | NDIR | GMIS | Fail
Scott Specialty Gases | Low | 50 | Pass |  | FTIR | NTRM | 50.4 | Pass |  | FTIR | NTRM | 5.04 | Pass |  | FTIR | NTRM | Pass
| Mid | 402 | Pass |  | FTIR | NTRM | 503 | Pass |  | FTIR | NTRM | 12.1 | Pass |  | FTIR | NTRM | Pass
| High | 911 | Pass |  | FTIR | NTRM | 1011 | Pass |  | FTIR | NTRM | 17.97 | Pass |  | FTIR | NTRM | Pass
Scott-Marrin In. | Low | 50.8 | Pass |  | Chem | GMIS | 50.9 | Pass |  | UV | GMIS | 5.11 | Pass |  | GC | GMIS | Pass
| Mid | 397 | Pass |  | Chem | GMIS | 504 | Pass |  | UV | GMIS | 12.02 | Pass |  | GC | GMIS | Pass
| High | 886 | Pass |  | Chem | GMIS | 997 | Pass |  | UV | GMIS | 17.92 | Pass |  | GC | GMIS | Pass
Spectra Gases Inc. | Low | 50.1 | Pass |  | Chem | NTRM | 50.2 | Pass |  | NDIR | NTRM | 5.02 | Pass |  | NDIR | GMIS | Pass
| Mid | 405 | Pass |  | FTIR | NTRM | 495 | Pass |  | NDIR | GMIS | 12.03 | Pass |  | NDIR | NTRM | Pass
| High | 923 | Pass |  | FTIR | NTRM | 988 | Pass |  | NDIR | GMIS | 18.07 | Pass |  | NDIR | NTRM | Pass
A gaseous component was said to fail only if all available analytical techniques used in the audit indicated a greater than a 2.0% difference from the cylinder tag value. Any accuracy assessment is an
instantaneous snapshot of the process being measured. These results should not be regarded as a final statement concerning the accuracy of EPA Protocol Gases. They can be used as an indicator
of the current status of the accuracy of EPA Protocol Gases as a whole. However, individual results should not be taken as definitive indicators of the analytical capabilities of individual producers.
EPA presents this information without assigning a rating to the gas vendors, for example, who is the best, who is approved, or is not approved.