CGF Pre-Genotyping QC Report

The Pre-genotyping QC report is provided to investigators at the conclusion of sample handling activities and after the samples have been reviewed by CGF QC personnel in advance of inclusion in a GRC approved genotyping project.  It is designed to give investigators an opportunity to review the exact composition of their genotyping project before such genotyping actually occurs.  This information should be reviewed by the investigator or designee at the time of report receipt.

Any requests to adjust project composition or requests to delay the genotyping project must be made within seven calendar days of report receipt.  In absence of alternate directions for the investigator, CGF will continue the genotyping project with the reported sample list.

The Pre-genotyping QC report is automatically generated by the CGF LIMS and is composed of five pages:

Summary: Contains project details and overall QC results.

Sample Status: Contains results of pre-genotyping QC on a sample level.

NanoDrop Failure Data: Contains details on samples that failed initial CGF qualification (< 25 ng/ul after volume normalized >= 50ul).

Identifiler Data: Contains sample profiling data used for concordance checks.

Picogreen Data: Contains Picogreen quantitation measurement of (double stranded) dsDNA.

Below is a description of each field that may be found in the four data pages of this report.  Although some of the information is repetitive between pages, it is included here in total for ease of data review.

Page: Sample Status

| Sample/Presample ID | Internal, unique ID assigned by CGF LIMS |
| --- | --- |
| Customer Sample ID | Vial ID of sample as provided in electronic shipping manifest from the sender of the material |
| Receipt ID | Internal CGF identifier of unique receipt (shipment) of samples within a study |
| Status | Result of pre-genotyping QC; see details below |
| Notes | When available, notes for clarification of sample exclusion reason |

Page: NanoDrop Failure Data

| PreSample ID | Internal, unique ID assigned by CGF LIMS |
| --- | --- |
| Customer Sample ID | Vial ID of sample as provided in electronic shipping manifest from the sender of the material |
| Receipt ID | Internal CGF identifier of unique receipt (shipment) of samples within a study |
| Status | Fail CGF QC; denotes concentration less than 25 ng/ul |
| Expected Concentration (ng/ul) | Concentration of sample as provided in electronic shipping manifest |
| Actual Concentration (ng/ul) | Concentration of sample as obtained by CGF NanoDrop SOP (after q.s.to 50 ul if necessary). |

Page: Identifiler Data

| Customer Sample ID | Vial ID of sample as provided in electronic shipping manifest from the sender of the material |
| --- | --- |
| CGF Sample ID | Internal, unique ID for a sample that has passed the NanoDrop requirements, assigned by CGF LIMS |
| Notes | Details on results; see below for additional information |

Page: Picogreen Data

| CGF Sample ID | Internal, unique ID for a sample that has passed the NanoDrop requirements, assigned by CGF LIMS |
| --- | --- |
| Customer Sample ID | Vial ID of sample as provided in electronic shipping manifest from the sender of the material |
| Receipt ID | Internal CGF identifier of unique receipt (shipment) of samples within a study |
| Picogreen Amount (ng) | Total current yield of sample as determined by CGF Picogreen SOP |
| Volume (ul) | Total current volume of sample at time of Picogreen assay |
| Picogreen Concentration (ng/ul) | Concentration of sample as obtained by CGF Picogreen SOP |

Additional information on Identifiler notes:

Samples that performed poorly in the Identifier assay may have the following notes associated:

Size Standard Failure - The internal lane size standard did not yield the expected results and therefore sample data cannot be analyzed accurately.

Low - The sample did not yield genotypes over 200 RFUs in more than 2 of the 16 markers.

Contaminated - The sample shows evidence of contamination as more than 2 genotypes are found in more than 2 of the 16 markers.

3 alleles observed at (marker name): #, #, # - The sample yields 3 genotypes of equal RFUs, at one marker only, which cannot be attributed to contamination, bleed-through of another dye, spectral pull-up, or incomplete 3' nucleotide addition.

All samples with these performance issues may be repeated in order to confirm contamination or to collect the information required for a full QC review.  However, if a sample fails to produce useable Identifiler results, it is not eliminated from project inclusion (the sample may still be eliminated for other reasons e.g. Insufficient DNA).  Contaminated samples will always be excluded from genotyping projects.

Pre-genotyping QC status descriptions:

Fail CGF QC - Sample failed initial NanoDrop requirements of 50 ul at 25 ng/ul as outlined in the CGF current rules for sample receipt (may be found at: http://cgf.nci.nih.gov/docs/sample_receipt.pdf).

Gender Discordance - Sex of sample as defined by Amelogenin marker is discordant with reported gender from investigator.

Include - Sample passed all QC criteria and will be genotyped for this project.

Insufficient DNA - Insufficient sample for this project (platform and project dependant).

Matched Pair Failure - Sample not required as its matched pair failed QC criteria.

Not Received - Sample not received at CGF although included in electronic manifest.

Other - (This exclude reason will be supported by notes.)

Partial Plate - Physical limitation of platform (platform dependant); reduces excessive waste

PI Exclude - PI request to exclude samples; more detail may be available in notes.

Previously Genotyped - Sample already genotyped on requested SNPs within a different project.

Profiling Discordance - Discordance between subject ID and sample genetic identity as determined by Identifiler assay.

Redundant nonQC - Excessive subject samples not required for completion of project.

Redundant QC - Excessive QC samples not required for completion of project.

Sample Contamination - Presence of multiple DNA donors as determined by Identifiler assay.