## construction materials
Item # | Description | Quantity | Unit
1 | 10 A photo electric cell c/w mounting brackets | 12 | Each
2 | Air conditioners Split Units 1800 BTU, 220-240volts/50hz | 24 | Each
3 | Air conditioners Split Units 2400 BTU, 220-240volts/50hz | 23 | Each
4 | Air conditioners Split Units 3000 BTU, 220-240volts/50hz | 11 | Each
5 | Base cabinet after stove L34 x D60 x H 92 cm | 3.4 | Each
6 | Base cabinet after stove L34 x D60 x H 92 cm x 4 houses | 13.6 | Each
7 | Base Cabinet w/double sink L2M X H92cm x D60cm | 2 | Each
8 | Base Cabinet w/double sink L2M X H92cm x D60cm | 8 | Each
9 | Cabinet 2 door w/Mirror marble top .80cm x .90cm x 6 Each | 6 | Each
10 | Cabinet 2 door with marble top | 2 | Each
11 | Cabinet base/ window L250 x D60 x H 92 | 2.5 | Each
12 | Cabinet base/ window L250 x D60 x H 92 x 4 houses | 10 | Each
13 | Cabinet up-right mop storage L204 x L57 x D 58.5 cm | 1 | Each
14 | Cabinet up-right mop storage L204 x L57 x D 58.5 cm x 4 Hse | 4 | Each
15 | Cabinet, base near refrigerator L122 x H92 x D 60cm | 1 | Each
16 | Cabinet, base near refrigerator L122 x H92 x D 60cm x 4 houses | 4 | Each
17 | Ceiling board/Soft board 1/2" 4' X 8' sheets | 550 | Each
18 | Ceiling fans C/W control switches and wiring, 220-240volts/50hz | 80 | Each
19 | Cement, Portland Type I | 6000 | bags
20 | Concrete Block or stone wall for new bathrooms | 45 | M2 | Optional
21 | Concrete block pavers 200 mm x100mm x 65 mm | 8000 | M2
22 | Containers, Standard 20 foot | 3 | Each
23 | Cooker & microwave outlet 01 Eachx 4 houses, double, 220-240volts/50hz | 4 | Each
24 | Door Closet set, wood finish, louvered, sliding, 1.85 cm x 200 cm | 4 | Each
25 | Door, Standard solid wood 36" door with hinges and locks | 3 | Each
26 | Door, Wood 36" or 1 meter with frame, locks and hinges | 10 | Each
27 | Dresser w/Mirror marble top 60 cm x 70 cm x 18 rooms | 18 | Each
28 | Electrical - Bas bar 400A | 1 | Each
29 | Electrical - Cable - Wire 6mm | 16 | meters
30 | Electrical - Cable 10mm 4 core | 380 | meters
31 | Electrical - Cable 25mm 4 core | 190 | meters
32 | Electrical - Cable 50 mm 4 core | 300 | meters
33 | Electrical - Cable 70mm 4 core | 50 | meters
34 | Electrical - Cable electric 95 mm main | 120 | meters
35 | Electrical - Change over switch 100A | 1 | Each
36 | Electrical - Change over switch 200 Amp | 1 | Each
37 | Electrical - Change over switch 400 Amp | 3 | Each
38 | Electrical - Circuit breaker 100 Amps | 4 | Each
39 | Electrical - Circuit breaker 18 line | 6 | Each
40 | Electrical - Electric switch 30Amp | 14 | Each
41 | Electrical - Main switch circuit 100Amp | 1 | Each
42 | Electrical - Main switch circuit breaker 100Amp | 1 | Each
43 | Electrical - Outlet double with box and cover | 360 | Each
44 | Electrical Cable 35mm | 600 | meters
45 | Electrical Cable - Wire 2.5 | 10 | meters
46 | Electrical Main switch 400 | 1 | Each
47 | Exhaust fan all houses bathrooms | 18 | Each
48 | Hinges for screens 2" Brass w screws | 220 | Each
49 | IT5 Guage 28 Roofing Sheets 3 meters | 400 | M2
50 | Lamp double bed-room wall 3 Each 4 houses | 24 | Each
51 | Latches for screens (aluminum) with screws | 220 | Each
52 | Lighting, 3 meter masts or poles with clamps & u-bolts for sodium lights, 220-240volts/50hz | 155 | Each
53 | Lighting, 40 w Fluorescent light 2ft, two daylight tubes Philips type with diffuser, 220 volts/50hz | 12 | Each
54 | Lighting, 40 w Fluorescent light 4ft, two daylight tubes Philips type with diffuser, 220volt/50hz | 120 | Each
55 | Lighting, 40 w Fluorescent Lighting points for including switches , 220volts/50hz | 142 | Each
56 | Lighting, high pressure sodium 100 watt light fixtures, with wiring, for wall, 220volts/50hz | 155 | Each
57 | Lighting, Sodium vapor lights 150 watt for houses, 220 volts/50hz | 40 | Each
58 | Lighting, solar sidewalk as shown at www.lowes.com Item #:176605 | 250 | Each
59 | Mirrors for bathroom sinks approximately 60 cm x 70 cm | 23 | Each
60 | Nails for timber joists / rafters 3" & 4 '' long | 50 | kg
61 | Nails for timber joists / rafters 4 & 5 " Long | 50 | kg
62 | Nails, Ceiling nails 1 1/2 '' long (with Bold heads) | 60 | kg
63 | Nails, Common nails 1" & 2" long | 50 | kg
64 | Paint Brushes, best quality 2" | 24 | ea
65 | Paint Brushes, best quality 3" | 24 | ea
66 | Paint Brushes, best quality 4" | 48 | ea
67 | Paint Brushes, best quality 6" | 48 | ea
68 | Paint, turpentine | 100 | liters
69 | Paint, brilliant white emulsion ceiling paint first quality in 20 liter containers | 800 | liters
70 | Paint, off white emulsion paint for external walls first quality in 20 liter containers | 300 | liters
71 | Paint, silk vinyl off white for internal walls first quality in 20 liter containers | 2000 | liters
72 | Paint, single pack high gloss varnish for door in 1 liter containter | 60 | liters
73 | Paint, soft white gloss paint for doors and shelves in 4 liter containers | 60 | liters
74 | Painted metal brackets for mounting sodium fixtures | 28 | ea
75 | Plastering compound, enough for 800 M2 of wall | 1 | lot
76 | Pump water Electrical 15 HP with starter , 220-240volts/50hz | 2 | ea
77 | Range/Cooker 40" electric with ovens, 220-240volts/50hz | 5 | ea
78 | Rebar #4 12/13 mm | 20 | Metric tons
79 | Rebar #5 16 mm | 20 | Metric tons
80 | Rebar #8 25 mm | 7 | Metric tons
81 | Rebar tie wire sufficient for 47 tons of rebar | 1 | lot
82 | Sanding Belt P120, 50 meter rolls | 1 | rolls
83 | Sanding Belt P60, 50 meter rolls | 2 | rolls
84 | Screen Door automatic door closers | 15 | ea
85 | Screen Mosquito proof wire screens | 300 | M2
86 | Screen tacks (tax pins) | 5 | kg
87 | Shower Mixtures complete | 26 | ea
88 | Sink -Mixers for Sinks above | 18 | ea
89 | Sink traps and fittings complete for sinks/mixers above | 18 | ea
90 | Sink, Built in with cabinet for bathrooms, marble or similar top | 18 | ea
91 | Smoke detectors (Battery powered) | 64 | ea
92 | Soap Holders | 23 | ea
93 | Tile Grout sufficient for 2,000 M2 of tiles | 1 | lot
94 | Tiles, Ceramic floor tiles | 1500 | M2
95 | Tiles, Ceramic floor tiles non slip for BR, Swim & locker room | 300 | M2
96 | Tiles, Ceramic swimming pool sides and floor | 230 | M2
97 | Toilet Paper holder | 27 | ea
98 | Towel racks | 46 | ea
99 | WC pan ( Closed couple) ( English) c/w HD seat cover | 27 | ea
100 | Window, Glass w frame and screen 80cm x 60cm x 4 ea | 4 | Each
101 | Wood - Timber bidding (for frames for screens) 2" x 1/2" | 2000 | LF
102 | Wood - Treated timber 2" x 2" | 1000 | LF
103 | Wood - treated timber 4" x 2" | 600 | LF
104 | Wood - Treated timber 6" x 1' | 500 | LF
105 | Wood strips 2" x 1" for ceiling (treated) | 3700 | feet
Plumbing
107 | Sewer Pipe 6" | 500 | m
108 | High-density polyethylene 1 1/2" pipe | 350 | M
109 | PVC reduced"T" 1 1/2" to 3/4 inch | 12 | ea
110 | PVC 1 1/2 elbows | 12 | ea
111 | PVC 1 1/2 couplings | 12 | ea
112 | High-density polyethylene 3/4" pipe | 150 | M
113 | PVC reduced couplings 3/4" to 1/2 inch | 36 | ea
114 | PVC reduced"T" 3/4" to 1/2 inch | 36 | ea
115 | High-density polyethylene 1/2" pipe | 400 | M
116 | PVC 3/4" elbows | 48 | ea
117 | PVC 3/4 couplings | 48 | ea
118 | PVC 1/2" elbows | 50 | ea
119 | PVC 1/2 couplings | 100 | ea
120 | PVC 1 1/2" couplings | 48 | ea
121 | PVC female thread adaptors 1/2" | 36 | ea
122 | PVC Cement | 25 | liter
123 | PVC Cleaner/Primer | 12 | liter
Shipping
All Electrical parts are to be Crabtree or equal approved standards
All plumbing Pegler or equivalent approved standards
Supplier must be named and approved for each product
Country of manufacture must be named for each product
All materials first quality

## Curtains
All Curtains will be lined and with hooks
Fabric to be approved by CO or his rep
Curtain H153cm x W50cm x 6
Curtain 120cm x 140cm
Curtain 120cm x 60 cm x 4
Curtain 140cm x 120cm x 2 ea
Curtain 110 x 80cm x 1window x 4houses
Curtain 110cm x 80cm x 4 houses
Curtain 122 cm x 126cm x 4 houses
Curtain 146 cm x 134cm x 4 houses
Curtain 1mt x 1.30mt
Curtain 74cm x 118 cm
Curtain door W140cm x H224cm x 4 houses (split)
Curtain door W150 x L210 x 2
Curtain Door 1 mt X 2.16
Curtani Door entrance 146 cm X 216 cm
Curtain H153cm x L136cm x 4houses
Curtain H255cm x L135cm x 1ea x 4houses
Curtain 260cm x 135cm x 1window x 4 each
Curtain window 150cm x 150cm x 14 windows
Curtains (H114cm x w140 x 2 each)
Curtains H268cm x 136cm x 2 each x 4 houses
Curtains, window (W 117cm x H 140 cm)
Curtains, window (W 142cm x H140 cm)
Curtain L 152 x H136 x 3 ea x 4 houses
Curtains 170cm x 104cm x 2 ea
Curtains 114 cm x 78cm x 4 houses