## Chamber Frame Pts, Unique
|  | Foreign Site Chamber Unique Parts List | Qty/ | Total | Raw
size | Dwg. # |  | Chamber | Quantity | Mat'l
B | 368286 | Extrusion, NE Frame Profile, 112.5" +.125/-000 | x |  | by Fnal
B | 368341 | Extrusion, Side/WE Frame Profile, 78" +.125/-000 | x |  | by Fnal
B | 368423 | Extrusion, WE Frame Profile, 53" +.125/-000 | x |  | by Fnal
C | 368271 | Extrusion, 'Z' Mounting Bracket Profile (ft.) | x |  | by Fnal
|  | ME 1/2 Parts |  | 75
D | 368381 | ME1/2 Extrusion, Anode Side Bottom | 1 | 75 | by Fnal
D | 368380 | ME1/2 Extrusion, Anode Side Top | 1 | 75 | by Fnal
D | 368385 | ME1/2 Extrusion, Big End Bottom | 1 | 75 | by Fnal
E | 368384 | ME1/2 Extrusion, Big End Top | 1 | 75 | by Fnal
D | 368383 | ME1/2 Extrusion, HV Side Bottom | 1 | 75 | by Fnal
E | 368382 | ME1/2 Extrusion, HV Side Top | 1 | 75 | by Fnal
D | 368379 | ME1/2 Extrusion, Small End Bottom | 1 | 75 | by Fnal
D | 368378 | ME1/2 Extrusion, Small End Top | 1 | 75 | by Fnal
C | 368333 | ME1/2 Mounting Bracket, 'XYZ' Bottom Half LSE | 1 | 75 | by Fnal
C | 368332 | ME1/2 Mounting Bracket, 'XYZ' Top Half LSE | 1 | 75 | by Fnal
C | 368483 | ME1/2 Mounting Bracket, 'Z' Bottom Half RSE | 1 | 75 | by Fnal
C | 368190 | ME1/2 Mounting Bracket, 'Z' Top Half RSE | 1 | 75 | by Fnal
C | 368467 | ME1/2 Panel, Anode Side | 1 | 75 | by IHEP
B | 368360 | ME1/2 Panel, Big End | 1 | 75 | by IHEP
B | 368359 | ME1/2 Panel, HV Side | 1 | 75 | by IHEP
B | 368358 | ME1/2 Panel, Small End | 1 | 75 | by IHEP
ME 1/3 Parts
D | 368662 | ME1/3 Extrusion, Anode Side Bottom | 1 | 75 | by Fnal
D | 368661 | ME1/3 Extrusion, Anode Side Top | 1 | 75 | by Fnal
D | 368666 | ME1/3 Extrusion, Big End Bottom | 1 | 75 | by Fnal
D | 368665 | ME1/3 Extrusion, Big End Top | 1 | 75 | by Fnal
D | 368664 | ME1/3 Extrusion, HV Side Bottom | 1 | 75 | by Fnal
D | 368663 | ME1/3 Extrusion, HV Side Top | 1 | 75 | by Fnal
D | 368660 | ME1/3 Extrusion, Small End Bottom | 1 | 75 | by Fnal
D | 368659 | ME1/3 Extrusion, Small End Top | 1 | 75 | by Fnal
C | 368658 | ME1/3 Mounting Bracket, XYZ Bottom | 1 | 75 | by Fnal
C | 368657 | ME1/3 Mounting Bracket, XYZ Top | 1 | 75 | by Fnal
C | 368652 | ME1/3 Mounting Bracket, YZ Bottom | 1 | 75 | by Fnal
C | 368651 | ME1/3 Mounting Bracket, YZ Top | 1 | 75 | by Fnal
C | 368654 | ME1/3 Mounting Bracket, Z Bottom | 1 | 75 | by Fnal
C | 368656 | ME1/3 Mounting Bracket, Z Bottom(sm end) | 1 | 75 | by Fnal
C | 368653 | ME1/3 Mounting Bracket, Z Top | 1 | 75 | by Fnal
C | 368655 | ME1/3 Mounting Bracket, Z Top(sm end) | 1 | 75 | by Fnal
B | 368668 | ME1/3 Panel, Anode Side | 1 | 75 | by IHEP
B | 368669 | ME1/3 Panel, Big End | 1 | 75 | by IHEP
B | 368669 | ME1/3 Panel, HV Side | 1 | 75 | by IHEP
B | 368667 | ME1/3 Panel, Small End | 1 | 75 | by IHEP
ME 2/1 Parts
D | 368179 | Common ME2/1, 3/1, 4/1 Extrusion, Bottom Big End | 1 | 40 | by Fnal
E | 368178 | Common ME2/1, 3/1, 4/1 Extrusion, Top Big End | 1 | 40 | by Fnal
C | 368182 | Common ME2/1, 3/1, 4/1 Panel, Big End | 1 | 40 | by Fnal
D | 368175 | ME2/1 Extrusion, Anode Side Bottom | 1 | 40 | by Fnal
E | 368174 | ME2/1 Extrusion, Anode Side Top | 1 | 40 | by Fnal
D | 368177 | ME2/1 Extrusion, HV Side Bottom | 1 | 40 | by Fnal
E | 368176 | ME2/1 Extrusion, HV Side Top | 1 | 40 | by Fnal
D | 368173 | ME2/1 Extrusion, Small End Bottom | 1 | 40 | by Fnal
D | 368172 | ME2/1 Extrusion, Small End Top | 1 | 40 | by Fnal
D | 368422 | ME2/1 Panel, Anode Side | 1 | 40 | by PNPI
C | 368181 | ME2/1 Panel, HV Side | 1 | 40 | by PNPI
B | 368180 | ME2/1 Panel, Small End | 2 | 80 | by PNPI
B | 368191 | Common ME2/1, 3/1, 4/1 Plate, Stiffening, Frame | 4 | 160 | avail @ FNAL
ME 3/1 Parts
D | 368179 | Common ME2/1, 3/1, 4/1 Extrusion, Bottom Big End | 1 | 40 | by Fnal
E | 368178 | Common ME2/1, 3/1, 4/1 Extrusion, Top Big End | 1 | 40 | by Fnal
C | 368182 | Common ME2/1, 3/1, 4/1 Panel, Big End | 1 | 40 | by Fnal
D | 368516 | ME3/1 Extrusion, Anode Side Bottom | 1 | 40 | by Fnal
D | 368515 | ME3/1 Extrusion, Anode Side Top | 1 | 40 | by Fnal
D | 368518 | ME3/1 Extrusion, HV Side Bottom | 1 | 40 | by Fnal
D | 368517 | ME3/1 Extrusion, HV Side Top[ | 1 | 40 | by Fnal
D | 368514 | ME3/1 Extrusion, Small End Bottom | 1 | 40 | by Fnal
D | 368513 | ME3/1 Extrusion, Small End Top | 1 | 40 | by Fnal
B | 368520 | ME3/1 Panel, Anode Side | 1 | 40 | by PNPI
B | 368521 | ME3/1 Panel, HV Side | 1 | 40 | by PNPI
B | 368519 | ME3/1 Panel, Small End | 2 | 80 | by PNPI
B | 368191 | Common ME2/1, 3/1, 4/1 Plate, Stiffening, Frame | 4 | 160 | by PNPI
ME 4/1 Parts
D | 368179 | Common ME2/1, 3/1, 4/1 Extrusion, Bottom Big End | 1 | 40 | by Fnal
E | 368178 | Common ME2/1, 3/1, 4/1 Extrusion, Top Big End | 1 | 40 | by Fnal
C | 368182 | Common ME2/1, 3/1, 4/1 Panel, Big End | 1 | 40 | by Fnal
D | 368507 | ME4/1 Extrusion, Anode Side Bottom | 1 | 40 | by Fnal
D | 368506 | ME4/1 Extrusion, Anode Side Top | 1 | 40 | by Fnal
D | 368509 | ME4/1 Extrusion, HV Side Bottom | 1 | 40 | by Fnal
D | 368508 | ME4/1 Extrusion, HV Side Top | 1 | 40 | by Fnal
D | 368505 | ME4/1 Extrusion, Small End Bottom | 1 | 40 | by Fnal
D | 368504 | ME4/1 Extrusion, Small End Top | 1 | 40 | by Fnal
B | 368511 | ME4/1 Panel, Anode Side | 1 | 40 | by PNPI
B | 368512 | ME4/1 Panel, HV Side | 1 | 40 | by PNPI
B | 368510 | ME4/1 Panel, Small End | 2 | 80 | by PNPI
B | 368191 | Common ME2/1, 3/1, 4/1 Plate, Stiffening, Frame | 4 | 160 | by PNPI

## z bracket lengths
|  | Z Bracket List for All Chambers | Qty. |  | Qty. |  | Qty. |  | Qty. |  | Qty. |  | Qty. |  | Total Qty | Spares |  | Qty
size | Dwg. | Description | ME1/2 |  | ME1/3 |  | ME2/1 |  | ME3/1 |  | ME4/1 |  | ME234/2 |  | Req'd. | Percent |  | with
[16 empty] | (%) | (Qty.) | Spares
|  | Detector Requirements | -1 | 72 | -1 | 72 | -1 | 36 | -1 | 36 | -1 | 36 | -1 | 144 | 324
|  | Spares Required |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 6 | 22
|  | Total Unique Part Sets Required |  | 76 |  | 76 |  | 40 |  | 40 |  | 40 |  | 150 | 346
C | 368043 | Bracket, 'YZ' Fixed Top Mounting 5.80" | 0.5 | 38 | 0 | 0 | 0.5 | 20 | 0.5 | 20 | 0.5 | 20 | 0.5 | 75 | 173 | 10 | 17.3 | 190.3
C | 368044 | Bracket, 'Z' Fixed Top Mounting 5.80" | 0.5 | 38 | 0 | 0 | 0.5 | 20 | 0.5 | 20 | 0.5 | 20 | 0.5 | 75 | 173 | 10 | 17.3 | 190.3
C | 368045 | Bracket, 'XYZ' Fixed Top Mounting 10.00" | 0 | 0 | 0 | 0 | 1 | 40 | 1 | 40 | 1 | 40 | 1 | 150 | 270 | 10 | 27 | 297
C | 368058 | Bracket, 'YZ' Fixed Bot Mounting 5.80" | 0.5 | 38 | 0 | 0 | 0.5 | 20 | 0.5 | 20 | 0.5 | 20 | 0.5 | 75 | 173 | 10 | 17.3 | 190.3
C | 368059 | Bracket, 'Z' Fixed Bot Mounting 5.80" | 0.5 | 38 | 0 | 0 | 0.5 | 20 | 0.5 | 20 | 0.5 | 20 | 0.5 | 75 | 173 | 10 | 17.3 | 190.3
C | 368060 | Bracket, 'XYZ' Fixed Bottom Mounting 10.00" | 0 | 0 | 0 | 0 | 1 | 40 | 1 | 40 | 1 | 40 | 1 | 150 | 270 | 10 | 27 | 297
C | 368190 | ME1/2 Bracket, 'Z' Top Half Small End Mounting 6.10" | 0.55 | 41.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.8 | 10 | 4.18 | 45.98
C | 368332 | ME1/2 Bracket, 'XYZ' Top Half Sm End Mtg 6.10" | 0.55 | 41.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.8 | 10 | 4.18 | 45.98
C | 368333 | ME1/2 Bracket, 'XYZ' Bottom Half Sm End Mtg 6.10" | 0.55 | 41.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.8 | 10 | 4.18 | 45.98
C | 368483 | ME1/2 Bracket, 'Z' Bottom Half Sm End Mtg 6.10" | 0.55 | 41.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.8 | 10 | 4.18 | 45.98
| 368651 | ME1/3 Mounting Bracket, Top YZ 5.80" | 0 | 0 | 0.5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 10 | 3.8 | 41.8
| 368652 | ME1/3 Mounting Bracket, Bottom YZ 5.80" | 0 | 0 | 0.5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 10 | 3.8 | 41.8
| 368653 | ME1/3Mounting Bracket, Top Z 5.80" | 0 | 0 | 0.5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 10 | 3.8 | 41.8
| 368654 | ME1/3 Mounting Bracket, Bottom Z 5.80" | 0 | 0 | 0.5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 10 | 3.8 | 41.8
| 368655 | ME1/3 Mounting Bracket, Top Z (sm end) 5.78" | 0 | 0 | 0.5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 10 | 3.8 | 41.8
| 368656 | ME1/3 Mounting Bracket, Bottom Z (sm end) 5.78" | 0 | 0 | 0.5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 10 | 3.8 | 41.8
| 368657 | ME1/3 Mounting Bracket, Top XYZ 5.78" | 0 | 0 | 0.5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 10 | 3.8 | 41.8
| 368658 | ME1/3 Mounting Bracket, Bottom XYZ 5.78" | 0 | 0 | 0.5 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 10 | 3.8 | 41.8
| 368271 | Extrusion, 'Z' Mounting Bracket Profile (ft.) | 4.2 | 319.2 | 4 | 304 | 4 | 160 | 4 | 160 | 4 | 160 | 4 | 600 | 1703.2 | 10 | 170.32 | 1873.52
[17 empty] | ORDER | 2000 FEET