## Sheet1
| system downtime date | database Downtime dates | system Downtime Minutes | database Downtimne Mins | downtime | Remarks
cdfonprd | 2005-12-06 |  |  |  | 26 | someone pulled the plug in the computer room.
cdfonprd
cdfofprd
cdfrep01
d0ofprd1 | 2005-05-18 |  | 420 |  |  | disk on the controller 1. The / filesystem seems to be corrupted b
| 2005-09-11 |  | 542 |  |  | connectivity issue at the clarion array. ~02:00 sept 11, d0ora2 became unreachable. a.lyon requested helpdesk assistance @03:08. ticket came through at 05:44 to s.kovich. 06:17 mail from s.kovich, on his way in to lab, arriving 1 hour later. clarion array was having problem with connectivity. connectivity restored 09:49. system was power cycled and fsck was performed on disks in array. database back up at 11:04.
| 2005-09-20 |  | 20 |  |  | maurine late in bring up system after scheduled downtime, no status sent.
| 2005-09-24 |  |  | 90 |  | continuing hardware issues from sept. 11. db could not write, thus went down. ~19:00-20:35
| 2005-10-19 |  |  | 2 | 3:46PM-3:48PM | Support to shudown db on d0oflum2 host for test. But mistaken didn't realize DBA is on d0ora2 box. Hostname was not displayed on command prompt. It was shell issue.
miscomp
d0ora2
d0ora1
fcdfora4 | 2005-03-10 |  | 8 |  | 19:02 | spontaneous reboot, Uncorrectable system bus (UE) Event detected by CPU1
* | 2005-03-17 |  | 8 |  | 0:35 | spontaneous reboot,scheduled a mem replacement
* | 2005-03-20 |  | 5 |  | 8:05 | spontaneous reboot, cpu0 reported error
* | 2005-03-21 |  | 90 |  | 5:02 | spontaneous reboot, cpu4 reported error
* | 2005-03-21 |  | 315 |  | 8:15 | down due to hardware problems
* | 2005-04-08 |  | 8 |  | 11:35 | sponteaneous reboot, firmware upgraded & mov slot a to slot b and slot b to slot a
* | 2005-04-09 |  | 289 |  | mid-nite - 3am | spontaneous reboot, dimm replaced (10:48-15:37)
* | 2005-04-11 |  | 588 |  | 2:57 a.m. - 12:45 | machine not rebootable, crashed - changed out 9 dimms
* | 2005-04-28 |  | 465 |  | 6:30 pm to 1:15 a.m | SUN system lost connectivity to the Clariion FC4700
* | 2005-08-27 |  | 60 |  | 11:00AM-12:00PM | Concurrent activity Bug caused db to crash. Patch on Sep15
fcdfora1
b0dau35 | 2005-01-29 |  | 10 |  | 14:39 | spontaneous reboot, cpu replaced
fncdug1
b0dau35
*data logging or FARMS not running
% of annual uptime(525600 annual minutes) |  |  | 1846 | 99.6488