## Comments-OR
COMMENTS-Oregon
| Plant Name | Unit | Location | Fuel | SummerE Capacity | SummerW Capacity | NP Capacity | Plant SummerE Capacity Subtotal | COMMENTS
NATURAL GAS
1 | [7 empty] | 0
2 | [7 empty] | 0
3 | Beaver | 1 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
4 | Beaver | 2 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
5 | Beaver | 3 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
6 | Beaver | 4 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
7 | Beaver | 5 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
8 | Beaver | 6 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
9 | Beaver | 7 | Clatskanie OR | NG | 139 | 139 | 176.4
10 | Beaver | 8 | Clatskanie OR | NG | 24 | 24 | 24.5 | 494.998
11 | [7 empty] | 0 | Clatskanie GT (11 MW) has been dismantled
12 | Coyote Springs | CC1A | Boardman OR | NG | 145.87 | 145.87 | 185.796 |  | Coyote I (Cogen) is 250 MW
13 | Coyote Springs | CC1B | Boardman OR | NG | 74.13 | 74.13 | 80.604 | 220
14 | Coyote Springs II | CC2A | Boardman OR | NG | 164.8 | 164.8 | 170 |  | Coyote II (100 hr test) is 253 MW baseload, 274 MW with power augmentation
15 | Coyote Springs II | CC2B | Boardman OR | NG | 85 | 85 | 117 | 249.8
16 | Hermiston | CC1A | NR Hermiston OR | NG | 106.12 | 76
17 | Hermiston | CC1B | NR Hermiston OR | NG | 204.5 | 160
18 | Hermiston | CC2A | NR Hermiston OR | NG | 106.12 | 76
19 | Hermiston | CC2B | NR Hermiston OR | NG | 204.5 | 160 |  | 621.24
20 | Hermiston PP | CC1A | Umatilla Cnty | NG | 165 | 165 | 222 |  | Hermiston Power Partners is 546 MW baseload and 600 MW (100 hr test)
21 | Hermiston PP | CC1B | Umatilla Cnty | NG | 165 | 165 | 222
22 | Hermiston PP | CC1C | Umatilla Cnty | NG | 200 | 200 | 280 | 530
23 | James River CG | 1 | Wauna OR | NG | 27 | 27 | 30 | 30
24 | Klamath CG | CC1A | Klamath Falls | NG | 165 | 165 | 171.57 |  | Klamath Falls Cogen is 510 MW (100 hr test)
25 | Klamath CG | CC1B | Klamath Falls | NG | 165 | 165 | 171.57
26 | Klamath CG | CC1C | Klamath Falls | NG | 150 | 150 | 175.5 | 480
27 | Klamath GT | 1 | Klamath OR | NG | 25 | 25 | 29.45 |  | Klamath Expansion is a 93 MW simple cycle nat gas plant
28 | Klamath GT | 2 | Klamath OR | NG | 25 | 25 | 29.45 |  | with 4 aero-derivative combustion turbines
29 | Klamath GT | 3 | Klamath OR | NG | 25 | 25 | 29.45
30 | Klamath GT | 4 | Klamath OR | NG | 25 | 25 | 29.45 | 100
31 | Morrow Power | 1 | [5 empty] | 11 | Morrow Power is actually 11 MW (as in SSG-WI)
32 | [7 empty] | 0
33 | [7 empty] | 0
34 | [7 empty] | 0
COAL
35 | Boardman | 1 | Boardman OR | BIT | 556.3 | 556.3 | 600.96 | 600.96
OTHER
36 | Biomass-One | 1 | White City OR | WDS | 10 | 10 | 9.6
37 | Biomass-One | 2 | White City OR | WDS | 15 | 15 | 14.4 | 24
38 | Boise Cascade | 1 | Medford OR | WDS | 9 | 9 |  | 0
39 | Coffin Butte | 1 | Corvallis OR | MSW | 2.2 | 2.2 |  | 0 | Coffin Butte actual generation averaged 2.33 MW in 2003
40 | Cogen Company | 1 | John Day OR | WDS | 8 | 8 |  | 0
41 | Covanta Energy | 1 | Brooks OR | MSW | 10 | 10 | 13.1 | 13.1
42 | D. R. Johnson Lumber | 1 | Douglas | WDS | 8 | 8 |  | 0
43 | [7 empty] | 0
44 | Klondike I | 1-16 | Wasco OR | WND | 8 | 8 | 24.5 | 24.5
45 | [7 empty] | 0
46 | [7 empty] | 0
47 | Short Mountain | 1 | Eugene OR | MSW | 0.8 | 0.8 | 0.805
48 | Short Mountain | 2 | Eugene OR | MSW | 0.8 | 0.8 | 0.805
49 | Short Mountain | 3 | Eugene OR | MSW | 0.8 | 0.8 | 0.805
50 | Short Mountain | 4 | Eugene OR | MSW | 0.8 | 0.8 | 0.805
51 | Short Mountain | 5 | Eugene OR | MSW | 0.8 | 0.8 | 0.805
52 | Short Mountain | 6 | Eugene OR | MSW | 0.8 | 0.8 | 0.805 | 4.83 | Short Mt. Landfill actual generation averaged 1.89 MW in 2003
53 | Steam Plant | 2 | Eugene OR | WDS | 6 | 0 | 7.5
54 | Steam Plant | 3 | Eugene OR | WDS | 7 | 0 | 11.5 | 19
55 | Vansycle | 1 | Pendleton OR | WND | 7 | 7 | 25 | 25
56 | Warm Spgs For. Prod. | 1 | OR | WDS | 3 | 0 | 3
57 | Warm Spgs For. Prod. | 2 | OR | WDS | 3 | 3 | 3
58 | Warm Spgs For. Prod. | 3 | OR | WDS | 3 | 3 | 3 | 9
59 | [7 empty] | 0
60 | Weyco Energy CTR | 1 | Springfield | OTH | 25 | 25 | 51.2 | 51.2
| Total MW | [6 empty] | 3508.628
WECC-Hydro No Comments

## Compare-OR
COMPARISON OF GENERATOR DATABASES -- OREGON
| COMMENTS-Oregon | [8 empty] | WECC-Oregon | [7 empty] | CEC-Oregon | [5 empty] | SSGWI-Oregon |  |  |  |  | Genesys-Oregon
| Plant Name | Unit | Location | Fuel | SummerE Capacity | SummerW Capacity | NP Capacity | Plant SummerE Capacity Subtotal |  | Plant Name | Unit | Location | Fuel | SummerE Capacity | SummerW Capacity | NP Capacity | Plant NP Capacity Subtotal | Unit Name | Unit No | Unit Type | Fuel | Unit Max Rating | Plant Subtotal MW | Thermal Name | SSGWI Plant # | Fuel | MaxMW Normal | Plant Subtotal MW | Source Name | SourceP Type | Fuel Type | Capacity | Plant Subtotal MW
| NATURAL GAS | [8 empty] | NATURAL GAS | [7 empty] | NATURAL GAS | [5 empty] | NATURAL GAS |  |  |  |  | NATURAL GAS
1 | [7 empty] | 0 | [8 empty] | 0 | Albany Paper Mill | 1 | CG New | NG PNW | 10 | 10 |  |  |  |  | 0 |  |  |  |  | 0
2 | [7 empty] | 0 | [8 empty] | 0 | [5 empty] | 0 |  |  |  |  | 0 | Alden Bailey | GTAero | Gas | 11 | 11
3 | Beaver | 1 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3 |  |  | Beaver | 1 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3 |  | Beaver CC | 1-7 | CC | NG PNW Coastal | 495 |  | Beaver 1 | 35 | Gas | 495 |  | Beaver | CCCT | Gas | 505
4 | Beaver | 2 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3 |  |  | Beaver | 2 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
5 | Beaver | 3 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3 |  |  | Beaver | 3 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
6 | Beaver | 4 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3 |  |  | Beaver | 4 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
7 | Beaver | 5 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3 |  |  | Beaver | 5 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
8 | Beaver | 6 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3 |  |  | Beaver | 6 | Clatskanie OR | NG | 55.333 | 55.333 | 68.3
9 | Beaver | 7 | Clatskanie OR | NG | 139 | 139 | 176.4 |  |  | Beaver | 7 | Clatskanie OR | NG | 139 | 139 | 176.4
10 | Beaver | 8 | Clatskanie OR | NG | 24 | 24 | 24.5 | 494.998 |  | Beaver | 8 | Clatskanie OR | NG | 24 | 24 | 24.5 | 610.7 | Beaver Peaker | 8 | GT New | NG PNW Coastal | 23 | 518 | Beaver 8 | 36 | Gas | 24.5 | 519.5 | Beaver 8 | GTAero | Gas | 24 | 529
11 | [7 empty] | 0 | Clatskanie GT (11 MW) has been dismantled | [7 empty] | 0 | Clatskanie | 1 | GT New | NG PNW | 11 | 11 |  |  |  |  | 0 |  |  |  |  | 0
12 | Coyote Springs | CC1A | Boardman OR | NG | 145.87 | 145.87 | 185.796 |  | Coyote I (Cogen) is 250 MW | Coyote Springs | CC1A | Boardman OR | NG | 145.87 | 145.87 | 185.796 |  | Coyote Springs | 1 | CG | NG PNW | 222 |  | CytSprn1 | 110 | Gas | 526 |  | Coyote Springs 1 | CCCT | Gas | 226
13 | Coyote Springs | CC1B | Boardman OR | NG | 74.13 | 74.13 | 80.604 | 220 |  | Coyote Springs | CC1B | Boardman OR | NG | 74.13 | 74.13 | 80.604 |  | Coyote Springs | 2 | CCDF | NG PNW | 280 |  | CytSprnA | 109 | Gas | 218 |  | Coyote Springs 2 | CCCT | Gas | 280
14 | Coyote Springs II | CC2A | Boardman OR | NG | 164.8 | 164.8 | 170 |  | Coyote II (100 hr test) is 253 MW baseload, 274 MW with power augmentation | Coyote Springs II | CC2A | Boardman OR | NG | 164.8 | 164.8 | 170
15 | Coyote Springs II | CC2B | Boardman OR | NG | 85 | 85 | 117 | 249.8 |  | Coyote Springs II | CC2B | Boardman OR | NG | 85 | 85 | 117 | 553.4 | [5 empty] | 502 |  |  |  |  | 744 |  |  |  |  | 506
16 | Hermiston | CC1A | NR Hermiston OR | NG | 106.12 | 76 |  |  |  | Hermiston | CC1A | NR Hermiston OR | NG | 106.12 | 76 |  |  | Hermiston | 1a | CG New | NG PNW | 309 |  | Hrmstn1A | 213 | Gas | 472 |  | Hermiston Gen 1 | CCCT | Gas | 236
17 | Hermiston | CC1B | NR Hermiston OR | NG | 204.5 | 160 |  |  |  | Hermiston | CC1B | NR Hermiston OR | NG | 204.5 | 160 |  |  | Hermiston | 1b | CG New | NG PNW | 309 |  | HrmstnPw | 214 | Gas | 630 |  | Hermiston Gen 2 | CCCT | Gas | 236
18 | Hermiston | CC2A | NR Hermiston OR | NG | 106.12 | 76 |  |  |  | Hermiston | CC2A | NR Hermiston OR | NG | 106.12 | 76 |  |  | Hermiston Cogen | 1 | CG | NG PNW | 472 | [6 empty] | Hermiston Power | CCCT | Gas | 630
19 | Hermiston | CC2B | NR Hermiston OR | NG | 204.5 | 160 |  | 621.24 |  | Hermiston | CC2B | NR Hermiston OR | NG | 204.5 | 160 |  | 472 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
20 | Hermiston PP | CC1A | Umatilla Cnty | NG | 165 | 165 | 222 |  | Hermiston Power Partners is 546 MW baseload and 600 MW (100 hr test) | Hermiston PP | CC1A | Umatilla Cnty | NG | 165 | 165 | 222
21 | Hermiston PP | CC1B | Umatilla Cnty | NG | 165 | 165 | 222 |  |  | Hermiston PP | CC1B | Umatilla Cnty | NG | 165 | 165 | 222
22 | Hermiston PP | CC1C | Umatilla Cnty | NG | 200 | 200 | 280 | 530 |  | Hermiston PP | CC1C | Umatilla Cnty | NG | 200 | 200 | 280 | 724 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
23 | James River CG | 1 | Wauna OR | NG | 27 | 27 | 30 | 30 |  | James River CG | 1 | Wauna OR | NG | 27 | 27 | 30 | 30 | J.R.C. Wauna | 1 | CG | NG PNW Coastal | 27 | 27 |  |  |  |  | 0 |  |  |  |  | 0
24 | Klamath CG | CC1A | Klamath Falls | NG | 165 | 165 | 171.57 |  | Klamath Falls Cogen is 510 MW (100 hr test) | Klamath CG | CC1A | Klamath Falls | NG | 165 | 165 | 171.57 |  | Klamath Expansion | 1 |  | NG PNW |  |  | Klmthxpn | 239 | Gas | 100
25 | Klamath CG | CC1B | Klamath Falls | NG | 165 | 165 | 171.57 |  |  | Klamath CG | CC1B | Klamath Falls | NG | 165 | 165 | 171.57 |  | Klamath Expansion | 2 |  | NG PNW
26 | Klamath CG | CC1C | Klamath Falls | NG | 150 | 150 | 175.5 | 480 |  | Klamath CG | CC1C | Klamath Falls | NG | 150 | 150 | 175.5 |  | Klamath Falls | 1 | CC New | NG PNW | 232 |  | KlmthCgn | 238 | Gas | 484 |  | Klamath Cogeneration Project | CCCT | Gas | 480
27 | Klamath GT | 1 | Klamath OR | NG | 25 | 25 | 29.45 |  | Klamath Expansion is a 93 MW simple cycle nat gas plant | Klamath GT | 1 | Klamath OR | NG | 25 | 25 | 29.45 |  | Klamath Falls | 2 | CC New | NG PNW | 232
28 | Klamath GT | 2 | Klamath OR | NG | 25 | 25 | 29.45 |  | with 4 aero-derivative combustion turbines | Klamath GT | 2 | Klamath OR | NG | 25 | 25 | 29.45
29 | Klamath GT | 3 | Klamath OR | NG | 25 | 25 | 29.45 |  |  | Klamath GT | 3 | Klamath OR | NG | 25 | 25 | 29.45
30 | Klamath GT | 4 | Klamath OR | NG | 25 | 25 | 29.45 | 100 |  | Klamath GT | 4 | Klamath OR | NG | 25 | 25 | 29.45 | 636.44 | [5 empty] | 464 |  |  |  |  | 584 |  |  |  |  | 480
31 | Morrow Power | 1 | [5 empty] | 11 | Morrow Power is actually 11 MW (as in SSG-WI) | [7 empty] | 0 | Morrow Power | 1 | GT | NG PNW | 229 | 229 | MorrwPwr | 294 | Gas | 10.9 | 10.9 | Morrow Power | GT | Gas | 25 | 25
32 | [7 empty] | 0 | [8 empty] | 0 | NW Hill | 1 |  | NG PNW |  | 0 |  |  |  |  | 0 | SP Newsprint GT | GTAero | Gas | 91 | 91
33 | [7 empty] | 0 | [8 empty] | 0 | [5 empty] | 0 |  |  |  |  | 0 | Springfield Ph II | IC | Gas | 10 | 10
34 | [7 empty] | 0 | [8 empty] | 0 | [5 empty] | 0 |  |  |  |  | 0 | Wah Chang | IC | Gas | 14 | 14
| COAL | [8 empty] | COAL | [7 empty] | COAL | [5 empty] | COAL |  |  |  |  | COAL
35 | Boardman | 1 | Boardman OR | BIT | 556.3 | 556.3 | 600.96 | 600.96 |  | Boardman | 1 | Boardman OR | BIT | 556.3 | 556.3 | 600.96 | 600.96 | Boardman | 1 | ST | Coal-NWPUS | 560 | 560 | Boardmn1 | 49 | Coal | 560 | 560 | Boardman | Coal | Coal | 417 | 417
| OTHER | [8 empty] | OTHER | [7 empty] | OTHER | [5 empty] | OTHER |  |  |  |  | OTHER
36 | Biomass-One | 1 | White City OR | WDS | 10 | 10 | 9.6 |  |  | Biomass-One | 1 | White City OR | WDS | 10 | 10 | 9.6 | [7 empty] | Bimss-n1 | 45 | Othe | 25 |  | Biomass One | STCG | Mill Residue | 25
37 | Biomass-One | 2 | White City OR | WDS | 15 | 15 | 14.4 | 24 |  | Biomass-One | 2 | White City OR | WDS | 15 | 15 | 14.4 | 24 | [5 empty] | 0 |  |  |  |  | 25 |  |  |  |  | 25
38 | Boise Cascade | 1 | Medford OR | WDS | 9 | 9 |  | 0 |  | Boise Cascade | 1 | Medford OR | WDS | 9 | 9 |  | 0 | [5 empty] | 0 |  |  |  |  | 0 | Boise Cascade Medford | STCG | Mill Residue | 9 | 9
39 | Coffin Butte | 1 | Corvallis OR | MSW | 2.2 | 2.2 |  | 0 | Coffin Butte actual generation averaged 2.33 MW in 2003 | Coffin Butte | 1 | Corvallis OR | MSW | 2.2 | 2.2 |  | 0 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
40 | Cogen Company | 1 | John Day OR | WDS | 8 | 8 |  | 0 |  | Cogen Company | 1 | John Day OR | WDS | 8 | 8 |  | 0 | Cogen Company | 0 | CG | Wood | 8 | 8 |  |  |  |  | 0 | Cogen II | STCG | Mill Residue | 8 | 8
41 | Covanta Energy | 1 | Brooks OR | MSW | 10 | 10 | 13.1 | 13.1 |  | Covanta Energy | 1 | Brooks OR | MSW | 10 | 10 | 13.1 | 13.1 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
42 | D. R. Johnson Lumber | 1 | Douglas | WDS | 8 | 8 |  | 0 |  | D. R. Johnson Lumber | 1 | Douglas | WDS | 8 | 8 |  | 0 | D.R. Johnson Lumber | 0 | CG | Other | 8 | 8 |  |  |  |  | 0 |  |  |  |  | 0
43 | [7 empty] | 0 | [8 empty] | 0 | Kinzua Sawmill | 1 | ST | Wood | 10 | 10 |  |  |  |  | 0 |  |  |  |  | 0
44 | Klondike I | 1-16 | Wasco OR | WND | 8 | 8 | 24.5 | 24.5 |  | Klondike I | 1-16 | Wasco OR | WND | 8 | 8 | 24.5 | 24.5 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
45 | [7 empty] | 0 | [8 empty] | 0 | Pac Bio One | 1 | CG | Wood | 25 | 25 |  |  |  |  | 0 |  |  |  |  | 0
46 | [7 empty] | 0 | [8 empty] | 0 | [5 empty] | 0 |  |  |  |  | 0 | Prairie Wood Products | STCG | Mill Residue | 7.5 | 7.5
47 | Short Mountain | 1 | Eugene OR | MSW | 0.8 | 0.8 | 0.805 |  |  | Short Mountain | 1 | Eugene OR | MSW | 0.8 | 0.8 | 0.805 |  | Short Mountain | 1-6 | CG | Other | 5
48 | Short Mountain | 2 | Eugene OR | MSW | 0.8 | 0.8 | 0.805 |  |  | Short Mountain | 2 | Eugene OR | MSW | 0.8 | 0.8 | 0.805
49 | Short Mountain | 3 | Eugene OR | MSW | 0.8 | 0.8 | 0.805 |  |  | Short Mountain | 3 | Eugene OR | MSW | 0.8 | 0.8 | 0.805
50 | Short Mountain | 4 | Eugene OR | MSW | 0.8 | 0.8 | 0.805 |  |  | Short Mountain | 4 | Eugene OR | MSW | 0.8 | 0.8 | 0.805
51 | Short Mountain | 5 | Eugene OR | MSW | 0.8 | 0.8 | 0.805 |  |  | Short Mountain | 5 | Eugene OR | MSW | 0.8 | 0.8 | 0.805
52 | Short Mountain | 6 | Eugene OR | MSW | 0.8 | 0.8 | 0.805 | 4.83 | Short Mt. Landfill actual generation averaged 1.89 MW in 2003 | Short Mountain | 6 | Eugene OR | MSW | 0.8 | 0.8 | 0.805 | 4.83 | [5 empty] | 5 |  |  |  |  | 0 |  |  |  |  | 0
53 | Steam Plant | 2 | Eugene OR | WDS | 6 | 0 | 7.5 |  |  | Steam Plant | 2 | Eugene OR | WDS | 6 | 0 | 7.5
54 | Steam Plant | 3 | Eugene OR | WDS | 7 | 0 | 11.5 | 19 |  | Steam Plant | 3 | Eugene OR | WDS | 7 | 0 | 11.5 | 19 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
55 | Vansycle | 1 | Pendleton OR | WND | 7 | 7 | 25 | 25 |  | Vansycle | 1 | Pendleton OR | WND | 7 | 7 | 25 | 25 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
56 | Warm Spgs For. Prod. | 1 | OR | WDS | 3 | 0 | 3 |  |  | Warm Spgs For. Prod. | 1 | OR | WDS | 3 | 0 | 3 |  | Warm Springs Forest | 1 | CG | Other | 6 | [6 empty] | Warm Springs Forest Products | STCG | Mill Residue | 6
57 | Warm Spgs For. Prod. | 2 | OR | WDS | 3 | 3 | 3 |  |  | Warm Spgs For. Prod. | 2 | OR | WDS | 3 | 3 | 3
58 | Warm Spgs For. Prod. | 3 | OR | WDS | 3 | 3 | 3 | 9 |  | Warm Spgs For. Prod. | 3 | OR | WDS | 3 | 3 | 3 | 9 | [5 empty] | 6 |  |  |  |  | 0 |  |  |  |  | 6
59 | [7 empty] | 0 | [8 empty] | 0 | [5 empty] | 0 |  |  |  |  | 0 | Weyerhaeuser Springfield 4 (WEYCO) | STCG | Mill Residue | 20 | 20
60 | Weyco Energy CTR | 1 | Springfield | OTH | 25 | 25 | 51.2 | 51.2 |  | Weyco Energy CTR | 1 | Springfield | OTH | 25 | 25 | 51.2 | 51.2 | Weyco Energy CTR | 1 | CG | Other | 25 | 25 | Wycnrgy1 | 484 | Othe | 25 | 25 |  |  |  |  | 0
| Total MW | [6 empty] | 3508.628 |  | Total MW | [6 empty] | 3798.13 | [5 empty] | 2408 |  |  |  |  | 2468.4 |  |  |  |  | 2158.5
[10 empty] | Located in PNW -- Undetermined State | [7 empty] | Generic
[10 empty] | General Chemical | 1 | Little Am. | NG | 32 | 32 |  |  | CGRNW250 | 10a | CC New | NG PNW Coastal | [7 empty] | Generic
[18 empty] | CGRNW250 | 10b | CC New | NG PNW Coastal | [7 empty] | Blue Heron Paper | STCG |  | 15
| WECC-Hydro No Comments | [8 empty] | HYDRO | [7 empty] | CGRNW250 | 1a | CC New | NG PNW | [7 empty] | Pine Products | STCG |  | 5.7
[10 empty] | Bend | 1 | Deschutes County OR | WAT | 0.2 | 0.2 | 0.2 |  | CGRNW250 | 1b | CC New | NG PNW | [7 empty] | Roseburg Forest Products | STCG |  | 45
[10 empty] | Bend | 2 | Deschutes County OR | WAT | 0.35 | 0.35 | 0.35 |  | CGRNW250 | 2a | CC New | NG PGT Stanfield | [7 empty] | SierraPine Medite | GTAero |  | 6
[10 empty] | Bend | 3 | Deschutes County OR | WAT | 0.56 | 0.56 | 0.56 |  | CGRNW250 | 2b | CC New | NG PGT Stanfield | [7 empty] | SP Newsprint ST | STCG |  | 40
[10 empty] | Big Cliff | 1 | Willamette R OR | WAT | 5.5 | 5.5 | 18 |  | CGRNW250 | 5a | CC New | NG PNW Coastal | [7 empty] | West Linn Paper | STCG |  | 15
[10 empty] | Bonneville | 1 | Columbia River OR | WAT | 47 | 47 | 43.2 |  | CGRNW250 | 5b | CC New | NG PNW Coastal | [7 empty] | Weyerhaeuser Albany 01 | GTAero |  | 51
[10 empty] | Bonneville | 2 | Columbia River OR | WAT | 59 | 59 | 49.599 |  | CGRNW250 | 7a | CC New | NG PGT Stanfield | [7 empty] | Weyerhaeuser Albany 02 | STCG |  | 45
[10 empty] | Bonneville | 3 | Columbia River OR | WAT | 60 | 60 | 54 |  | CGRNW250 | 7b | CC New | NG PGT Stanfield | [7 empty] | Weyerhaeuser Springfield 3 | STCG |  | 12.5
[10 empty] | Bonneville | 4 | Columbia River OR | WAT | 60 | 60 | 54 |  | CGRNW250 | 8a | CC New | NG PGT Stanfield
[10 empty] | Bonneville | 5 | Columbia River OR | WAT | 60 | 60 | 54 |  | CGRNW250 | 8b | CC New | NG PGT Stanfield | [7 empty] | Retired
[10 empty] | Bonneville | 6 | Columbia River OR | WAT | 60 | 60 | 54 | [12 empty] | Klamath Expansion | GTAero |  | 100
[10 empty] | Bonneville | 7 | Columbia River OR | WAT | 60 | 60 | 54 | [12 empty] | NRP (John Day) Ph 1 ICs | IC |  | 32.8
[10 empty] | Bonneville | 8 | Columbia River OR | WAT | 60 | 60 | 54 | [12 empty] | Springfield Ph I | IC |  | 27
[10 empty] | Bonneville | 9 | Columbia River OR | WAT | 60 | 60 | 54
[10 empty] | Bonneville | 10 | Columbia River OR | WAT | 60 | 60 | 54 | [12 empty] | Future
[10 empty] | Bonneville | 11 | Columbia River OR | WAT | 76.5 | 76 | 66.5 | [12 empty] | Port Westward | CCCT |  | 399
[10 empty] | Bonneville | 12 | Columbia River OR | WAT | 76.5 | 76 | 66.5
[10 empty] | Bonneville | 13 | Columbia River OR | WAT | 76.5 | 76 | 66.5
[10 empty] | Bonneville | 14 | Columbia River OR | WAT | 76.5 | 76 | 66.5
[10 empty] | Bonneville | 15 | Columbia River OR | WAT | 76.5 | 76 | 66.5
[10 empty] | Bonneville | 16 | Columbia River OR | WAT | 76.5 | 76 | 66.5
[10 empty] | Bonneville | 17 | Columbia River OR | WAT | 76.5 | 76 | 66.5
[10 empty] | Bonneville | 18 | Columbia River OR | WAT | 76.5 | 76 | 66.5
[10 empty] | Bonneville | F1 | Columbia River OR | WAT | 15 | 15 | 13.1
[10 empty] | Bonneville | F2 | Columbia River OR | WAT | 15 | 15 | 13.1
[10 empty] | Bull Run | 1 | Clackamas County OR | WAT | 5.5 | 5.5 | 5.25
[10 empty] | Bull Run | 2 | Clackamas County OR | WAT | 5.5 | 5.5 | 5.25
[10 empty] | Bull Run | 3 | Clackamas County OR | WAT | 5.5 | 5.5 | 5.25
[10 empty] | Bull Run | 4 | Clackamas County OR | WAT | 5.5 | 5.5 | 5.25
[10 empty] | Bull Run | PH 1 | Multnomah Cnty OR | WAT | 24 | 24 | 23.75
[10 empty] | Bull Run | PH 2 | Clackamas Cnty OR | WAT | 13.5 | 13.5 | 11.875
[10 empty] | Carmen Smith | 1 | McKenzie R OR | WAT | 15 | 15 | 52.25
[10 empty] | Carmen Smith | 2 | McKenzie R OR | WAT | 15 | 15 | 52.25
[10 empty] | Clearwater 1 | #1 | Toketee Falls OR | WAT | 15 | 15 | 15
[10 empty] | Clearwater 2 | #1 | Toketee Falls OR | WAT | 26 | 26 | 26
[10 empty] | Cline Falls | 1 | Deschutes Cnty OR | WAT | 1.034 | 1.034 | 1
[10 empty] | Cougar | 1 | McKenzie River OR | WAT | 14.4 | 14.4 | 13
[10 empty] | Cougar | 2 | McKenzie River OR | WAT | 14.4 | 14.4 | 13
[10 empty] | Cove Hydro | 1 | Cove City OR | WAT | 0.5 | 0.5
[10 empty] | Detroit | 1 | Santiam River OR | WAT | 57.5 | 57.5 | 50
[10 empty] | Detroit | 2 | Santiam River OR | WAT | 57.5 | 57.5 | 50
[10 empty] | Dexter | 1 | Willamette River OR | WAT | 11.8 | 11.8 | 15
[10 empty] | Eagle Point | 1 | Jackson County OR | WAT | 3 | 3 | 2.813
[10 empty] | East Side | 1 | Klamath County OR | WAT | 3 | 3 | 3.2
[10 empty] | Faraday | 1 | Faraday OR | WAT | 3.94 | 3.94 | 3.15
[10 empty] | Faraday | 2 | Faraday OR | WAT | 3.94 | 3.94 | 3.15
[10 empty] | Faraday | 3 | Faraday OR | WAT | 3.4 | 3.4 | 2.72
[10 empty] | Faraday | 4 | Faraday OR | WAT | 5.62 | 5.62 | 4.5
[10 empty] | Faraday | 5 | Faraday OR | WAT | 5.11 | 5.11 | 4.09
[10 empty] | Faraday | 6 | Faraday OR | WAT | 23.99 | 23.99 | 19.2
[10 empty] | Fish Creek | 1 | Toketee Falls OR | WAT | 11 | 11 | 11
[10 empty] | Foster | 1 | Santiam River OR | WAT | 11.5 | 11.5 | 10
[10 empty] | Foster | 2 | Santiam River OR | WAT | 11.5 | 11.5 | 10
[10 empty] | Green Peter | 1 | Santiam River OR | WAT | 46 | 46 | 40
[10 empty] | Green Peter | 2 | Santiam River OR | WAT | 46 | 46 | 40
[10 empty] | Green Springs | 1 | Emigrant CR OR | WAT | 18 | 18 | 16
[10 empty] | Hills Creek | 1 | Willamette R OR | WAT | 17.5 | 17.5 | 15
[10 empty] | Hills Creek | 2 | Willamette R OR | WAT | 17.5 | 17.5 | 15
[10 empty] | Hutchinson Creek | 1 | Hutchinson CR | WAT | 1 | 1 | 1
[10 empty] | Hutchinson Creek | 2 | Hutchinson CR | WAT | 0 | 0 | 1
[10 empty] | Hutchinson Creek | 3 | Hutchinson CR | WAT | 0 | 0 | 1
[10 empty] | Hutchinson Creek | 4 | Hutchinson CR | WAT | 0 | 0 | 1
[10 empty] | John C Boyle | 1 | Keno OR | WAT | 20.5 | 20.5 | 39.995
[10 empty] | John C Boyle | 2 | Keno OR | WAT | 20.5 | 20.5 | 39.995
[10 empty] | John Day | 1 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 2 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 3 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 4 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 5 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 6 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 7 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 8 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 9 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 10 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 11 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 12 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 13 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 14 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 15 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | John Day | 16 | Columbia River OR | WAT | 155 | 155 | 135
[10 empty] | Leaburg | 1 | McKenzie River OR | WAT | 4 | 4 | 6
[10 empty] | Leaburg | 2 | McKenzie River OR | WAT | 4 | 4 | 7.5
[10 empty] | Lemolo 1 | #1 | Toketee Falls OR | WAT | 29 | 29 | 29
[10 empty] | Lemolo 2 | #1 | Toketee Falls OR | WAT | 33 | 33 | 33
[10 empty] | Lookout Point | 1 | Willamette R OR | WAT | 46 | 46 | 40
[10 empty] | Lookout Point | 2 | Willamette R OR | WAT | 46 | 46 | 40
[10 empty] | Lookout Point | 3 | Willamette R OR | WAT | 46 | 46 | 40
[10 empty] | Lost Creek | 1 | Rogue River OR | WAT | 24 | 24 | 24.5
[10 empty] | Lost Creek | 2 | Rogue River OR | WAT | 24 | 24 | 24.5
[10 empty] | McNary | 1 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 2 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 3 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 4 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 5 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 6 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 7 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 8 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 9 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 10 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 11 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 12 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 13 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | McNary | 14 | Columbia River OR | WAT | 80 | 80 | 70
[10 empty] | Misc. Irrig. Dist. | (4) | OR | WAT | 6 | 6
[10 empty] | Misc. Small Hydro | (18) | OR | WAT | 21 | 21
[10 empty] | Mt. Tabor | 1 | Portland OR | WAT | 0.2 | 0.2
[10 empty] | North Fork | 1 | Estacada OR | WAT | 27 | 27 | 19.2
[10 empty] | North Fork | 2 | Estacada OR | WAT | 31 | 31 | 21.6
[10 empty] | Oak Grove | 1 | Three Lynx OR | WAT | 22 | 22 | 25.5
[10 empty] | Oak Grove | 2 | Three Lynx OR | WAT | 22 | 22 | 25.5
[10 empty] | P.E.C. Headworks | 1 | Moses Lake | WAT | 7 | 7 | 6.65
[10 empty] | Pelton | 1 | Madras OR | WAT | 45.08 | 45.08 | 45
[10 empty] | Pelton | 2 | Madras OR | WAT | 32.46 | 32.46 | 32.4
[10 empty] | Pelton | 3 | Madras OR | WAT | 32.46 | 32.46 | 32.4
[10 empty] | Pelton Re-Reg | 1 | Deschutes R OR | WAT | 20.79 | 20.79 | 18.9
[10 empty] | Powerdale | 1 | Hood River Cnty OR | WAT | 5.5 | 5.5 | 6
[10 empty] | Prospect 1 | #1 | Jackson County OR | WAT | 4.7 | 4.7 | 3.76
[10 empty] | Prospect 2 | #1 | Jackson County OR | WAT | 16 | 16 | 16
[10 empty] | Prospect 2 | #2 | Jackson County OR | WAT | 16 | 16 | 16
[10 empty] | Prospect 3 | #1 | Jackson County OR | WAT | 6.8 | 6.8 | 7.2
[10 empty] | Prospect 4 | #1 | Jackson County OR | WAT | 1 | 1 | 1
[10 empty] | Reeder Gulch | 1 | Ashland OR | WAT | 0.69 | 0.69 | 0.75
[10 empty] | River Mill | 1 | Estacada OR | WAT | 4.37 | 4.37 | 3.3
[10 empty] | River Mill | 2 | Estacada OR | WAT | 4.37 | 4.37 | 3.3
[10 empty] | River Mill | 3 | Estacada OR | WAT | 4.37 | 4.37 | 3.3
[10 empty] | River Mill | 4 | Estacada OR | WAT | 5.25 | 5.25 | 3.96
[10 empty] | River Mill | 5 | Estacada OR | WAT | 6.64 | 6.64 | 5
[10 empty] | Rock Creek | 1 | Haines OR | WAT | 0.4 | 0.4 | 0.4
[10 empty] | Rock Creek | 2 | Haines OR | WAT | 0.4 | 0.4 | 0.4
[10 empty] | Round Butte | 1 | Madras OR | WAT | 95 | 95 | 82.35
[10 empty] | Round Butte | 2 | Madras OR | WAT | 115 | 115 | 112.5
[10 empty] | Round Butte | 3 | Madras OR | WAT | 115 | 115 | 112.5
[10 empty] | Slide Creek | 1 | Toketee Falls OR | WAT | 18 | 18 | 18
[10 empty] | Soda Springs | 1 | Toketee Falls OR | WAT | 11 | 11 | 11
[10 empty] | Stone Creek | 1 | Faraday OR | WAT | 3 | 3 | 12
[10 empty] | Sullivan | 1 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 2 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 3 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 4 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 5 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 6 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 7 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 8 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 9 | West Linn OR | WAT | 1.039 | 1.039 | 1
[10 empty] | Sullivan | 10 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 11 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 12 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | Sullivan | 13 | West Linn OR | WAT | 1.247 | 1.247 | 1.2
[10 empty] | The Dalles | 1 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 2 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 3 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 4 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 5 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 6 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 7 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 8 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 9 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 10 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 11 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 12 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 13 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 14 | Columbia River OR | WAT | 90 | 90 | 78
[10 empty] | The Dalles | 15 | Columbia River OR | WAT | 99 | 99 | 86
[10 empty] | The Dalles | 16 | Columbia River OR | WAT | 99 | 99 | 86
[10 empty] | The Dalles | 17 | Columbia River OR | WAT | 99 | 99 | 86
[10 empty] | The Dalles | 18 | Columbia River OR | WAT | 99 | 99 | 86
[10 empty] | The Dalles | 19 | Columbia River OR | WAT | 99 | 99 | 86
[10 empty] | The Dalles | 20 | Columbia River OR | WAT | 99 | 99 | 86
[10 empty] | The Dalles | 21 | Columbia River OR | WAT | 99 | 99 | 86
[10 empty] | The Dalles | 22 | Columbia River OR | WAT | 99 | 99 | 86
[10 empty] | The Dalles | F1 | Columbia River OR | WAT | 13.5 | 13.5 | 13.5
[10 empty] | The Dalles | F2 | Columbia River OR | WAT | 13.5 | 13.5 | 13.5
[10 empty] | The Dalles Fishway | 1 | Wasco OR | WAT | 5 | 5 | 6.5
[10 empty] | Toketee | 1 | Toketee Falls OR | WAT | 14.333 | 14.333 | 14.167
[10 empty] | Toketee | 2 | Toketee Falls OR | WAT | 14.333 | 14.333 | 14.167
[10 empty] | Toketee | 3 | Toketee Falls OR | WAT | 14.333 | 14.333 | 14.167
[10 empty] | Trail Bridge | 1 | McKenzie R OR | WAT | 4 | 4 | 9.975
[10 empty] | Vansycle | 1 | Pendleton OR | WAT | 7 | 7 | 25
[10 empty] | Wallowa Falls | 1 | Wallowa Cnty OR | WAT | 0.9 | 0.9 | 1.1
[10 empty] | Warm Spgs For. Prod. | 3 | OR | WAT | 3 | 3 | 3