## Sheet1
|  | Voltage |  | Current |  | Line Drop |  | Type I | Type II | Type III | Type IV | Type V | Pigtail | Power Supply Current figures are for two modules in parallel. Line drops are two way, supply/return | [6 empty] | Voltage |  | Current |  | Line Drop |  | Type I | Type II | Type III | Type IV | Type V | Pigtail | B-Layer Services should be fundamentally the same, with the possible exception of Vvdc
| Power Supply | Max | Nominal | Max | Nominal | Allowed | Worst Case | Actual | Actual | Actual | Actual | Nominal | Nominal |  | original |  |  |  |  | Power Supply | Max | Nominal | Max | Nominal | Allowed | Worst Case | Actual | Actual | Actual | Actual | Nominal | Nominal
| VDD | 6 | 4 | 2 | 1.52 | 2 | 2.0675 | 0.41481 | 0.37637 | 0.27218 | 0.55413 | 0.2 | 0.25 |  | 1.5 |  |  |  |  | VDD | 6 | 4 | 2 | 1.92 | 2 | 1.9325 | 0.45356 | 0.29933 | 0.34381 | 0.38579 | 0.2 | 0.25
| VDDA | 6 | 3.5 | 1.2 | 1.08 | 2 | 1.9419 | 0.29474 | 0.26742 | 0.30345 | 0.62626 | 0.2 | 0.25 |  | 0.9 |  |  |  |  | VDDA | 6 | 3.5 | 1.2 | 1.5 | 2 | 1.9684 | 0.56166 | 0.23385 | 0.42146 | 0.3014 | 0.2 | 0.25
| VCCA | 4 | 1.75 | 1.5 | 1.44 | 2 | 1.9824 | 0.39298 | 0.35656 | 0.25786 | 0.52496 | 0.2 | 0.25 |  | 1.2 |  |  |  |  | VCC | 4 | 1.75 | 1.5 | 1.92 | 2 | 2.1282 | 0.45356 | 0.29933 | 0.53947 | 0.38579 | 0.2 | 0.25
| VVDC | - | 4 | - | 0.18 | - | 2.3219 | 0.37325 | 1.3437 | 0.050576 | 0.10438 | 0.2 | 0.25 |  | 0.2 |  |  |  |  | VVDC | - | 4 | - | 0.18 | - | 2.2472 | 0.79626 | 0.84603 | 0.050576 | 0.10438 | 0.2 | 0.25
| VPIN | - | 10 | - | 0.0005 | - | - | - | - | [10 empty] | VPIN | - | 10 | - | 0.0005 | - | - | - | -
| VDEPL | - | 700 | 0.004 | - | - | - | - | - | [10 empty] | VDEPL | - | 700 | 0.004 | - | - | - | - | -
TYPE I (7 Module) (DV nominal 0.4V/1.5m) | [18 empty] | B_Layer TYPE I (7 Module) (DV nominal 0.4V/2.7m)
Cable | Circuit Name | Material/ Area for Nom DV mm^2 | Nearest AWG | Trace Width mm | Conductor Area mm^2 | DV | quantity | OD or Thicknessmm | Width mm | PF = 2 Area mm^2 | TYPE 1 Bundle Summary Packing Factor 2 |  |  |  | AWG | space keeper | Conductor Area mm^2 | OD | Cable | Circuit Name | Material/ Area for Nom DV mm^2 | Nearest AWG | Trace Width mm | Conductor Area mm^2 | DV | quantity | OD or Thicknessmm | Width mm | PF = 2 Area mm^2 | TYPE 1 Bundle Summary Packing Factor 2
HV |  | Copper Flex |  |  | Cu | [5 empty] | Width | Thickness | Area |  | 8 | - | 8.6 | 4.31 | HV |  | Copper Flex |  |  | Cu | [5 empty] | Width | Thickness | Area
| Vdepl | - |  | 0.5 | 0.0125 |  | 14 | 0.1 | 3 | 8.4 | 21 | 0.4 | 8.4 |  | 10 | - | 4.74 | 2.83 |  | Vdepl | - |  | 0.5 | 0.0125 |  | 14 | 0.1 | 3 | 8.4 | 21 | 0.4 | 8.4
Hi Power |  | Aluminum Wire |  |  | Al | [5 empty] | 42 Cables, each 0.51mmOD, likely twisted pair. |  |  | original | 12 | - | 2.98 | 2.24 | Hi Power |  | Aluminum Wire |  |  | Al | [5 empty] | 42 Cables, each 0.51mmOD, likely twisted pair.
| Vddd |  | 26 | - | 0.155 | 0.41481 | 14 | 0.51 | 0.51 | 7.2828 |  |  |  | 26 | 14 | - | 1.93 | 1.8 |  | Vddd |  | 22 | - | 0.382 | 0.45356 | 14 | 0.8 | 0.8 | 17.92 |  |  |  | 26
| Vdda |  | 26 | - | 0.155 | 0.29474 | 14 | 0.51 | 0.51 | 7.2828 |  |  |  | 26 | 16 | - | 1.23 | 1.44 |  | Vdda |  | 24 | - | 0.241 | 0.56166 | 14 | 0.635 | 0.635 | 11.2903 |  |  |  | 26
| Vcc |  | 26 | - | 0.155 | 0.39298 | 14 | 0.51 | 0.51 | 7.2828 |  | Area: | 21.8484 | 26 | 18 | - | 0.963 | 1.27 |  | Vcc |  | 22 | - | 0.382 | 0.45356 | 14 | 0.8 | 0.8 | 17.92 |  | Area: | 47.1303 | 26
Low Power |  | Copper Flex |  |  | Cu | [9 empty] | 20 | - | 0.615 | 1.105 | Low Power |  | Copper Flex |  |  | Cu
| Vvdc | - |  | 0.5 | 0.0125 | 0.37325 | 14 | 0.1 | 1 | 2.8 |  |  |  |  | 22 | - | 0.382 | 0.8 |  | Vvdc | - |  | 0.5 | 0.0125 | 0.79626 | 14 | 0.1 | 1 | 2.8
Flex Foil | Vpin | - |  | 0.5 | 0.0125 | - | 14 | 0.1 | 1 | 2.8 |  |  |  |  | 24 | - | 0.241 | 0.635 | Flex Foil | Vpin | - |  | 0.5 | 0.0125 | - | 14 | 0.1 | 1 | 2.8
0.025 | PT100 Module | - |  | 0.5 | 0.0125 | - | 14 | 0.1 | 1 | 2.8 | Width | Thickness | Area |  | 26 | - | 0.155 | 0.51 | 0.025 | PT100 Module | - |  | 0.5 | 0.0125 | - | 14 | 0.1 | 1 | 2.8 | Width | Thickness | Area
mm | PT100 Cooling | - |  | 0.5 | 0.0125 | - | 0 | 0.1 | 1 | 0 | 21 | 0.4 | 8.4 |  | 28 | - |  |  | mm | PT100 Cooling | - |  | 0.5 | 0.0125 | - | 0 | 0.1 | 1 | 0 | 21 | 0.4 | 8.4
OPTO |  | 12-way Bundle | [8 empty] | Width | Thickness | Area |  | 30 | - |  |  | OPTO |  | 12-way Bundle | [8 empty] | Width | Thickness | Area
| Fiber bundle |  |  | - | - | - | 2 | 0.32 | 3.06 | 1.9584 | 3.06 | 0.64 | 1.9584 | [6 empty] | Fiber bundle |  |  | - | - | - | 2 | 0.32 | 3.06 | 1.9584 | 3.06 | 0.64 | 1.9584
TYPE II (7 Module) (DV nominal 0.4V/5.4m) | [18 empty] | B-Layer TYPE II (7 Module) (DV nominal 0.4V/3.4m)
Cable | Circuit Name | Material/ Area for Nom DV mm^2 | Nearest AWG | Trace Width mm | Conductor Area mm^2 | DV | quantity | OD or Thicknessmm | Width mm | PF = 2 Area mm^2 | TYPE 1 Bundle Summary Packing Factor 2 | [7 empty] | Cable | Circuit Name | Material/ Area for Nom DV mm^2 | Nearest AWG | Trace Width mm | Conductor Area mm^2 | DV | quantity | OD or Thicknessmm | Width mm | PF = 2 Area mm^2 | TYPE 1 Bundle Summary Packing Factor 2
HV |  | Copper Flex |  |  | Cu | [5 empty] | Width | Thickness | Area | [5 empty] | HV |  | Copper Flex |  |  | Cu | [5 empty] | Width | Thickness | Area
| Vdepl | - |  | 0.5 | 0.0125 |  | 14 | 0.1 | 3 | 8.4 | 21 | 0.4 | 8.4 | [6 empty] | Vdepl | - |  | 0.5 | 0.0125 |  | 14 | 0.1 | 3 | 8.4 | 21 | 0.4 | 8.4
Hi Power |  | Aluminum Wire |  |  | Al | [5 empty] | 42 Cables, 7pairs each of 20,22and 24AWG wire, likely twisted pair. |  |  | original |  |  |  |  | Hi Power |  | Aluminum Wire |  |  | Al | [5 empty] | 42 Cables, 7pairs each of 20,22and 24AWG wire, likely twisted pair.
| Vddd |  | 20 | - | 0.615 | 0.37637 | 14 | 1.105 | 1.105 | 34.1887 |  |  |  | 20 | [5 empty] | Vddd |  | 20 | - | 0.615 | 0.29933 | 14 | 1.105 | 1.105 | 34.1887 |  |  |  | 20
| Vdda |  | 20 | - | 0.615 | 0.26742 | 14 | 1.105 | 1.105 | 34.1887 |  |  |  | 24 | [5 empty] | Vdda |  | 20 | - | 0.615 | 0.23385 | 14 | 1.105 | 1.105 | 34.1887 |  |  |  | 24
| Vcc |  | 20 | - | 0.615 | 0.35656 | 14 | 1.105 | 1.105 | 34.1887 |  | Area: | 102.5661 | [6 empty] | Vcc |  | 20 | - | 0.615 | 0.29933 | 14 | 1.105 | 1.105 | 34.1887 |  | Area: | 102.5661 | 22
Low Power |  | Copper Flex |  |  | Cu | [13 empty] | Low Power |  | Copper Flex |  |  | Cu
| Vvdc | - |  | 0.5 | 0.0125 | 1.3437 | 14 | 0.1 | 1 | 2.8 | [9 empty] | Vvdc | - |  | 0.5 | 0.0125 | 0.84603 | 14 | 0.1 | 1 | 2.8
Flex Foil | Vpin | - |  | 0.5 | 0.0125 | - | 14 | 0.1 | 1 | 2.8 | [8 empty] | Flex Foil | Vpin | - |  | 0.5 | 0.0125 | - | 14 | 0.1 | 1 | 2.8
0.025 | PT100 Module | - |  | 0.5 | 0.0125 | - | 14 | 0.1 | 1 | 2.8 | Width | Thickness | Area | [5 empty] | 0.025 | PT100 Module | - |  | 0.5 | 0.0125 | - | 14 | 0.1 | 1 | 2.8 | Width | Thickness | Area
mm | PT100 Cooling | - |  | 0.5 | 0.0125 | - | 0 | 0.1 | 1 | 0 | 21 | 0.4 | 8.4 | [5 empty] | mm | PT100 Cooling | - |  | 0.5 | 0.0125 | - | 0 | 0.1 | 1 | 0 | 21 | 0.4 | 8.4
OPTO |  | 12-way Bundle | [8 empty] | Width | Thickness | Area | [5 empty] | OPTO |  | 12-way Bundle | [8 empty] | Width | Thickness | Area
| Fiber bundle |  |  | - | - | - | 2 | 0.32 | 3.06 | 1.9584 | 3.06 | 0.64 | 1.9584 | [6 empty] | Fiber bundle |  |  | - | - | - | 2 | 0.32 | 3.06 | 1.9584 | 3.06 | 0.64 | 1.9584
TYPE III (7 Module) (DV nominal 0.25V/20m) | [18 empty] | B-Layer TYPE III (7 Module) (DV nominal 0.25V/20m)
Cable | Circuit Name | Material/ Area for Nom DV mm^2 | Nearest AWG | Trace Width mm | Conductor Area mm^2 | DV | quantity | OD or Thicknessmm | Width mm | PF = 2 Area mm^2 | TYPE 1 Bundle Summary Packing Factor 2 | [7 empty] | Cable | Circuit Name | Material/ Area for Nom DV mm^2 | Nearest AWG | Trace Width mm | Conductor Area mm^2 | DV | quantity | OD or Thicknessmm | Width mm | PF = 2 Area mm^2 | TYPE 1 Bundle Summary Packing Factor 2
HV |  | Copper Wire |  |  | Cu | [5 empty] | Width | Thickness | Area | [5 empty] | HV |  | Copper Wire |  |  | Cu | [5 empty] | Width | Thickness | Area
| Vdepl | - |  |  |  |  | 7 | 1 | 1 | 14 | 7 | 2 | 14 | [6 empty] | Vdepl | - |  |  |  |  | 7 | 1 | 1 | 14 | 7 | 2 | 14
Hi Power |  | Copper Wire |  |  | Cu | [5 empty] | 56 Cables, 42 pairs 16AWG and 14 pairs 14AWG wire likely twisted pair. |  |  | original |  |  |  |  | Hi Power |  | Copper Wire |  |  | Cu | [5 empty] | 56 Cables, 42 pairs 16AWG and 14 pairs 14AWG wire likely twisted pair.
| Vddd |  | 14 | - | 1.93 | 0.27218 | 14 | 1.8 | 1.8 | 90.72 |  |  |  | 14 | [5 empty] | Vddd |  | 14 | - | 1.93 | 0.34381 | 14 | 1.8 | 1.8 | 90.72 |  |  |  | 14
| Vdda |  | 16 | - | 1.23 | 0.30345 | 14 | 1.44 | 1.44 | 58.0608 |  |  |  | 16 | [5 empty] | Vdda |  | 16 | - | 1.23 | 0.42146 | 14 | 1.44 | 1.44 | 58.0608 |  |  |  | 16
| Vcc |  | 14 | - | 1.93 | 0.25786 | 14 | 1.8 | 1.8 | 90.72 |  |  |  | 16 | [5 empty] | Vcc |  | 16 | - | 1.23 | 0.53947 | 14 | 1.44 | 1.44 | 58.0608 |  |  |  | 16
| Vvdc |  | 16 | - | 1.23 | 0.050576 | 14 | 1.44 | 1.44 | 58.0608 |  | Area: | 297.5616 | 16 | [5 empty] | Vvdc |  | 16 | - | 1.23 | 0.050576 | 14 | 1.44 | 1.44 | 58.0608 |  | Area: | 264.9024 | 16
Low Power |  | Copper Wire |  |  | Cu | [5 empty] | 70 Cables each 0.305mmOD, 30AWG wire, likely twisted pair | [7 empty] | Low Power |  | Copper Wire |  |  | Cu | [5 empty] | 70 Cables each 0.305mmOD, 30AWG wire, likely twisted pair
| Vpin | - | 30 | - |  | - | 14 | 0.305 | 0.305 | 2.6047 | [9 empty] | Vpin | - | 30 | - |  | - | 14 | 0.305 | 0.305 | 2.6047
| SENSE | - | 30 | - |  | - | 42 | 0.305 | 0.305 | 7.8141 | [9 empty] | SENSE | - | 30 | - |  | - | 42 | 0.305 | 0.305 | 7.8141
| PT100 Module | - | 30 | - |  | - | 14 | 0.305 | 0.305 | 2.6047 |  |  | Area | [6 empty] | PT100 Module | - | 30 | - |  | - | 14 | 0.305 | 0.305 | 2.6047 |  |  | Area
| PT100 Cooling | - | 30 | - |  | - | 0 | 0.305 | 0.305 | 0 |  |  | 13.0235 | [6 empty] | PT100 Cooling | - | 30 | - |  | - | 0 | 0.305 | 0.305 | 0 |  |  | 13.0235
OPTO |  | 12-way Bundle | [8 empty] | Width | Thickness | Area | [5 empty] | OPTO |  | 12-way Bundle | [8 empty] | Width | Thickness | Area
| Fiber bundle |  |  | - | - | - | 2 | 0.32 | 3.06 | 1.9584 | 3.06 | 0.64 | 1.9584 | [6 empty] | Fiber bundle |  |  | - | - | - | 2 | 0.32 | 3.06 | 1.9584 | 3.06 | 0.64 | 1.9584
TYPE IV (7 Module) (DV nominal 0.50V/100m) | [18 empty] | B-Layer TYPE IV (7 Module) (DV nominal 0.50V/100m)
Cable | Circuit Name | Material/ Area for Nom DV mm^2 | Nearest AWG | Trace Width mm | Conductor Area mm^2 | DV | quantity | OD or Thicknessmm | Width mm | PF = 2 Area mm^2 | TYPE 1 Bundle Summary Packing Factor 2 | [7 empty] | Cable | Circuit Name | Material/ Area for Nom DV mm^2 | Nearest AWG | Trace Width mm | Conductor Area mm^2 | DV | quantity | OD or Thicknessmm | Width mm | PF = 2 Area mm^2 | TYPE 1 Bundle Summary Packing Factor 2
HV |  | Copper Wire |  |  | Cu | [5 empty] | Width | Thickness | Area | [5 empty] | HV |  | Copper Wire |  |  | Cu | [5 empty] | Width | Thickness | Area
| Vdepl | - |  |  |  |  | 7 | 1 | 1 | 14 | 7 | 2 | 14 | [6 empty] | Vdepl | - |  |  |  |  | 7 | 1 | 1 | 14 | 7 | 2 | 14
Hi Power |  | Copper Wire |  |  | Cu | [5 empty] | 54 Cables, 14 pairs each 12 and 10 AWG wire likely twisted pair. |  |  | original |  |  |  |  | Hi Power |  | Copper Wire |  |  | Cu | [5 empty] | 54 Cables, 14 pairs each 12 and 10 AWG wire likely twisted pair.
| Vddd |  | 10 | - | 4.74 | 0.55413 | 14 | 2.83 | 2.83 | 224.2492 |  |  |  | 10 | [5 empty] | Vddd |  | 8 | - | 8.6 | 0.38579 | 14 | 4.31 | 4.31 | 520.1308 |  |  |  | 10
| Vdda |  | 12 | - | 2.98 | 0.62626 | 14 | 2.24 | 2.24 | 140.4928 |  |  |  | 12 | [5 empty] | Vdda |  | 8 | - | 8.6 | 0.3014 | 14 | 4.31 | 4.31 | 520.1308 |  |  |  | 12
| Vcc |  | 10 | - | 4.74 | 0.52496 | 14 | 2.83 | 2.83 | 224.2492 |  |  |  | 10 | [5 empty] | Vcc |  | 8 | - | 8.6 | 0.38579 | 14 | 4.31 | 4.31 | 520.1308 |  |  |  | 10
| Vvdc |  | 12 | - | 2.98 | 0.10438 | 14 | 2.24 | 2.24 | 140.4928 |  | Area: | 729.484 | 12 | [5 empty] | Vvdc |  | 12 | - | 2.98 | 0.10438 | 14 | 2.24 | 2.24 | 140.4928 |  | Area: | 1700.8852 | 12
Low Power |  | Copper Wire |  |  | Cu | [5 empty] | 70 Cables each 0.305mmOD, 30AWG wire, likely twisted pair | [7 empty] | Low Power |  | Copper Wire |  |  | Cu | [5 empty] | 70 Cables each 0.305mmOD, 30AWG wire, likely twisted pair
| Vpin | - | 30 | - |  | - | 14 | 0.305 | 0.305 | 2.6047 | [9 empty] | Vpin | - | 30 | - |  | - | 14 | 0.305 | 0.305 | 2.6047
| SENSE | - | 30 | - |  | - | 42 | 0.305 | 0.305 | 7.8141 | [9 empty] | SENSE | - | 30 | - |  | - | 42 | 0.305 | 0.305 | 7.8141
| PT100 Module | - | 30 | - |  | - | 14 | 0.305 | 0.305 | 2.6047 |  |  | Area | [6 empty] | PT100 Module | - | 30 | - |  | - | 14 | 0.305 | 0.305 | 2.6047 |  |  | Area
| PT100 Cooling | - | 30 | - |  | - | 0 | 0.305 | 0.305 | 0 |  |  | 13.0235 | [6 empty] | PT100 Cooling | - | 30 | - |  | - | 0 | 0.305 | 0.305 | 0 |  |  | 13.0235
OPTO |  | 12-way Bundle | [8 empty] | Width | Thickness | Area | [5 empty] | OPTO |  | 12-way Bundle | [8 empty] | Width | Thickness | Area
| Fiber bundle |  |  | - | - | - | 2 | 0.32 | 3.06 | 1.9584 | 3.06 | 0.64 | 1.9584 | [6 empty] | Fiber bundle |  |  | - | - | - | 2 | 0.32 | 3.06 | 1.9584 | 3.06 | 0.64 | 1.9584