## Facilities affected by Benchmar
Pollutant | 2000 MGSP Benchmark | Proposed 2005 MSGP Benchmark | Total Sectors Affected (Activities in Sector Affected/ Total Activities in Sector) | Estimated Number of Facilities Affected**
Ammonia | 19 mg/L | 19 mg/L | K | 31
Biochemical Oxygen Demand (5 day) | 30 mg/L | 30 mg/L | S, U (1/10) | 467
Chemical Oxygen Demand | 120 mg/L | 120 mg/L | A (8/11), B (1/5), G (1/2), K, N, S, U (1/10) | 397.7455
Total Suspended Solids | 100 mg/L | 100 mg/L | ALL | 3656
Turbidity | 5 NTU above background | 50 NTU | G (1/2) | 42
Nitrate + Nitrite Nitrogen | 0.68 mg/L | 0.68 mg/L | C (3/10), G (1/2), J (1/7), U (1/10), AA | 197.3857
Total Phosphorus | 2.0 mg/L | 2.0 mg/L | C (1/10) | 10.6
pH | 6.0 - 9.0 s.u. | 6.0 - 9.0 s.u. | G (1/2), S | 441.5
Aluminum, Total (pH 6.5 - 9) | 0.75 mg/L | 0.75 mg/L | C (1/10), E (2/8), F (2/7), H, M, N, Q, AA (1/2) | 662.8857
Antimony, Total Recoverable | .636 mg/L | 0.64 mg/L | G (1/2) | 41.5
Arsenic | 0.16854 mg/L | 0.15 mg/L | A (1/11), G(1/2), K | 53.3182
Beryllium, Total Recoverable | 0.13 mg/L | 0.13 mg/L | G (1/2) | 41.5
Cadmium, Total Recoverable | 0.0159 mg/L | 0.0021 mg/L | G(1/2), K | 72.5
Chromium | N/A (Effluent Guideline Only) | 1.8 mg/L | A (1/11) | 11.8182
Copper, Total Recoverable | 0.0636 mg/L | 0.014 mg/L | A (1/11), F(3/7), G (1/2) | 86.7468
Cyanide | 0.0636 mg/L | 0.022 mg/L | K | 31
Iron, Total Recoverable | 1.0 mg/L | 1.0 mg/L | C (2/10), E(1/8), F(1/7), G(1/2), H, L, M, N, O, Q, AA(1/2) | 805.8429
Lead, Total Recoverable | 0.0816 mg/L | 0.082 mg/L | C(1/10), G(1/2), K, M, N, Q | 587.1
Magnesium, Total Recoverable | 0.0636 mg/L | 0.064 mg/L | K | 31
Manganese | 1.0 mg/L | 0.050 mg/L | G (1/2) | 41.5
Mercury, Total Recoverable | 0.0024 mg/L | 0.0014 mg/L | G (1/2), K | 72.5
Nickel, Total Recoverable | 1.417 mg/L | 0.47 mg/L | G (1/2) | 41.5
Phenols, Total | N/A (Effluent Guideline Only) | 0.016 mg/L | A (1/11) | 11.8182
Selenium, Total Recoverable | .2385 mg/L | 0.005 mg/L | G (1/2), K | 72.5
Silver, Total Recoverable | 0.0318 mg/L | 0.0038 mg/L | G (1/2), K | 72.5
Zinc, Total Recoverable | 0.117 mg/L | 0.12 mg/L | A (1/11), C (4/10), F (4/7), G (1/2), N, Q, Y (4/10), AA | 530.6896
| **Methodology is the same as that for estimating in Cost Analysis |  |  | Draft 9/26/05

## Total Facilities per sector
Sector | Active Permits* | Total Activities
A | 130 | 11
B | 95 | 5
C | 106 | 10
D | 146 | 3
E | 232 | 9
F | 78 | 7
G | 83 | 2
H | 11 | 1
I | 196 | 4
J | 268 | 7
K | 31 | 1
L | 123 | 1
M | 262 | 1
N | 205 | 1
O | 68 | 1
P | 470 | 5
Q | 37 | 1
R | 49 | 1
S | 400 | 1
T | 96 | 1
U | 67 | 10
V | 37 | 3
W | 9 | 2
X | 25 | 1
Y | 111 | 10
Z | 4 | 1
AA | 104 | 2
AB | 91 | 2
AC | 110 | 3
AD | 12 | 1