## NevadaResourcesExisting-2008
No Retirements
No additions
SSG-WI 2008 BASE CASE GENERATOR LIST - UNITS ON LINE DURING 2008
GeneratorKey | Bus ID | Bus Name | Bus KV | Unit ID | Name | SubType | Long ID | Long Name | Commission Date | Retirement Date | PSSEMaxCap(MW) | Must Run | filter code | Area Name | Region Name | Fuel Type | Tech | Year | Age
707 | 18278 | RG 1 | 13.8 | 1 | RdGrdnr1 | Coal | NA | Reid Gardner 1 Moapa NV | #1965-06-01# | #2050-12-31# | 110 | #FALSE# | 10 | NEVADA | AZNMNV | Coal | Steam | 1965 | 43
708 | 18279 | RG 2 | 13.8 | 2 | RdGrdnr2 | Coal | NA | Reid Gardner 2 Moapa NV | #1968-06-01# | #2050-12-31# | 110 | #FALSE# | 10 | NEVADA | AZNMNV | Coal | Steam | 1968 | 40
709 | 18280 | RG 3 | 13.8 | 3 | RdGrdnr3 | Coal | NA | Reid Gardner 3 Moapa NV | #1976-05-01# | #2050-12-31# | 110 | #FALSE# | 10 | NEVADA | AZNMNV | Coal | Steam | 1976 | 32
710 | 18281 | RG 4 | 24 | 4 | RdGrdnr4 | Coal | NA | Reid Gardner 4 Moapa NV | #1983-07-01# | #2050-12-31# | 275 | #FALSE# | 10 | NEVADA | AZNMNV | Coal | Steam | 1983 | 25
687 | 18251 | CLARK 1 | 13.2 | 1 | Clark1 | NA | NA | Clark 1 Las Vegas NV | #1955-12-01# | #2050-12-31# | 42 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1955 | 53
688 | 18252 | CLARK 2 | 13.8 | 2 | Clark2 | NA | NA | Clark 2 Las Vegas NV | #1957-07-01# | #2050-12-31# | 66 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1957 | 51
689 | 18253 | CLARK 3 | 13.8 | 3 | Clark3 | NA | NA | Clark 3 Las Vegas NV | #1961-07-01# | #2050-12-31# | 67 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1961 | 47
690 | 18254 | CLARK 4 | 13.8 | 4 | ClarkGT4 | NA | NA | Clark GT4 Las Vegas NV | #1973-06-01# | #2050-12-31# | 50 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1973 | 35
691 | 18255 | CLARK 5 | 13.8 | 5 | ClarkCC1A | NA | NA | Clark CC1A Las Vegas NV | #1979-05-01# | #2050-12-31# | 73 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1979 | 29
692 | 18256 | CLARK 6 | 13.8 | 6 | ClarkCC1B | NA | NA | Clark CC1B Las Vegas NV | #1979-05-01# | #2050-12-31# | 73 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1979 | 29
693 | 18257 | CLARK 7 | 13.8 | 7 | ClarkCC1C | NA | NA | Clark CC1C Las Vegas NV | #1980-06-01# | #2050-12-31# | 73 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1980 | 28
694 | 18258 | CLARK 8 | 13.8 | 8 | ClarkCC2A | NA | NA | Clark CC2A Las Vegas NV | #1982-06-01# | #2050-12-31# | 73 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1982 | 26
695 | 18259 | CLARK 9 | 13.8 | 9 | ClarkCC2B | NA | NA | Clark CC2B Las Vegas NV | #1993-05-01# | #2050-12-31# | 85 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1993 | 15
696 | 18260 | CLARK10 | 13.8 | 10 | ClarkCC2C | NA | NA | Clark CC2C Las Vegas NV | #1994-05-01# | #2050-12-31# | 85 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1994 | 14
697 | 18261 | HA CT1 | 13.8 | 1 | AllenGT1 | NA | NA | Allen GT1 Clark County NV | #1995-01-01# | #2050-12-31# | 72 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1995 | 13
698 | 18265 | LVCOGEN | 13.8 | 1 | LVCgn2-1 | NA | NA | LV Cogen2-1 Las Vegas NV | #1994-01-01# | #2050-12-31# | 45 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1994 | 14
711 | 18282 | SAGUAR 1 | 13.8 | 1 | SaguarNV1 | NA | NA | Saguaro 1 Las Vegas NV | #1991-01-01# | #2050-12-31# | 35 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1991 | 17
712 | 18283 | SAGUAR 2 | 13.8 | 2 | SaguarNV2 | NA | NA | Saguaro 2 Las Vegas NV | #1991-01-01# | #2050-12-31# | 35 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1991 | 17
713 | 18284 | SAGUAR 3 | 13.8 | 3 | SaguarNV3 | NA | NA | Saguaro 3 Las Vegas NV | #1991-01-01# | #2050-12-31# | 35 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1991 | 17
714 | 18285 | SUNRISE1 | 13.8 | 1 | Sunrise1 | NA | NA | Sunrise 1 Las Vegas NV | #1964-05-01# | #2050-12-31# | 80 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1964 | 44
715 | 18286 | SUNRISE2 | 13.8 | 2 | Sunrise2 | NA | NA | Sunrise 2 Las Vegas NV | #1974-10-01# | #2050-12-31# | 69 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1974 | 34
716 | 18287 | SUNRISE3 | 13.8 | 3 | SunPeak1 | NA | NA | Sun-Peak 1 Las Vegas NV | #1991-01-01# | #2050-12-31# | 70 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1991 | 17
717 | 18288 | SUNRISE4 | 13.8 | 4 | SunPeak2 | NA | NA | Sun-Peak 2 Las Vegas NV | #1991-01-01# | #2050-12-31# | 70 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1991 | 17
718 | 18289 | SUNRISE5 | 13.8 | 5 | SunPeak3 | NA | NA | Sun-Peak 3 Las Vegas NV | #1991-01-01# | #2050-12-31# | 70 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1991 | 17
719 | 18622 | MRCHNT23 | 13.8 | 2 | MRCHN23B | NA | NA | MRCHNT23B El Dorado CC1C Boulder NV | #2000-05-04# | #2050-12-31# | 162 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2000 | 8
720 | 18622 | MRCHNT23 | 13.8 | 3 | MRCHN23C | NA | NA | MRCHNT23C El Dorado CC1C Boulder NV | #2000-05-04# | #2050-12-31# | 195 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2000 | 8
721 | 18621 | MRCHNT1 | 13.8 | 1 | MRCHN1A | NA | NA | MRCHNT1A El Dorado CC1A Boulder NV | #2000-05-04# | #2050-12-31# | 162 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2000 | 8
722 | 18702 | LVCOGEN2 | 13.8 | 1 | LsVgsCgI1 | NA | NA | Las Vegas Cogeneration I 1 | #2002-12-01# | #2050-12-31# | 56 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2002 | 6
723 | 18702 | LVCOGEN2 | 13.8 | 2 | LsVgsCgI2 | NA | NA | Las Vegas Cogeneration I 2 | #1950-01-01# | #2050-12-31# | 56 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1950 | 58
724 | 18702 | LVCOGEN2 | 13.8 | 3 | LsVgsCgI3 | NA | NA | Las Vegas Cogeneration I 3 | #1950-01-01# | #2050-12-31# | 29 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1950 | 58
725 | 18703 | LVCOGEN3 | 13.8 | 1 | LsVgsCgII1 | NA | NA | Las Vegas Cogeneration II 1 | #2002-12-01# | #2050-12-31# | 56 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2002 | 6
726 | 18703 | LVCOGEN3 | 13.8 | 2 | LsVgsCgII2 | NA | NA | Las Vegas Cogeneration II 2 | #1950-01-01# | #2050-12-31# | 56 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1950 | 58
727 | 18703 | LVCOGEN3 | 13.8 | 3 | LsVgsCgII3 | NA | NA | Las Vegas Cogeneration II 3 | #1950-01-01# | #2050-12-31# | 29 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1950 | 58
728 | 18461 | COPRMTN1 | 18 | 1 | CPRMTN1S | NA | NA | COPRMTN1 Sempra Clark County NV | #2007-06-01# | #2050-12-31# | 200 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2007 | 1
729 | 18462 | COPRMTN2 | 18 | 1 | CPRMTN2S | NA | NA | COPRMTN2 Sempra Clark County NV | #2007-06-01# | #2050-12-31# | 200 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2007 | 1
730 | 18463 | COPRMTN3 | 18 | 1 | CPRMTN3S | NA | NA | COPRMTN3 Sempra Clark County NV | #2007-06-01# | #2050-12-31# | 264 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2007 | 1
731 | 18401 | REL1 | 18 | 1 | BighornRel1 | NA | NA | Bighorn REL 1 Primm NV | #1950-01-01# | #2050-12-31# | 187 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1950 | 58
732 | 18403 | REL3 | 18 | 1 | BighornRel3 | NA | NA | Bighorn REL 3 Primm NV | #2004-02-18# | #2050-12-31# | 272.1 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2004 | 4
733 | 18402 | REL2 | 18 | 1 | BighornRel2 | NA | NA | Bighorn REL 2 Primm NV | #1950-01-01# | #2050-12-31# | 187 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1950 | 58
734 | 18441 | MIRANT1 | 18 | 1 | Mirant1 | NA | NA | MIRANT1 Apex Generation Clark County NV | #2003-05-07# | #2050-12-31# | 203.2 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2003 | 5
735 | 18442 | MIRANT2 | 18 | 1 | Mirant2 | NA | NA | MIRANT2 Apex Generation Clark County NV | #1950-01-01# | #2050-12-31# | 203.2 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 1950 | 58
737 | 18431 | DUKE1 | 18 | 1 | DK1Moapa | NA | NA | DUKE1 Moapa Clark County NV | #1965-06-01# | #2050-12-31# | 198.9 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1965 | 43
738 | 18432 | DUKE2 | 18 | 1 | DK2Moapa | NA | NA | DUKE2 Moapa Clark County NV | #1968-06-01# | #2050-12-31# | 198.9 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1968 | 40
739 | 18433 | DUKE3 | 18 | 1 | DK3Moapa | NA | NA | DUKE3 Moapa Clark County NV | #1976-05-01# | #2050-12-31# | 317.1 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1976 | 32
740 | 18434 | DUKE4 | 18 | 1 | DK4Moapa | NA | NA | DUKE4 Moapa Clark County NV | #1983-07-01# | #2050-12-31# | 198.9 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1983 | 25
741 | 18435 | DUKE5 | 18 | 1 | DK5Moapa | NA | NA | DUKE5 Moapa Clark County NV | #1983-07-01# | #2050-12-31# | 198.9 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1983 | 25
742 | 18436 | DUKE6 | 18 | 1 | DK6Moapa | NA | NA | DUKE6 Moapa Clark County NV | #1950-01-01# | #2050-12-31# | 317.1 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1950 | 58
743 | 18421 | CALP1 | 18 | 1 | MoapCalp1 | NA | NA | CALP1 Moapa Indian Res Clark County NV | #1965-06-01# | #2050-12-31# | 190 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1965 | 43
744 | 18422 | CALP2 | 18 | 1 | MoapCalp2 | NA | NA | CALP2 Moapa Indian Res Clark County NV | #1968-06-01# | #2050-12-31# | 190 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1968 | 40
745 | 18423 | CALP3 | 18 | 1 | MoapCalp3 | NA | NA | CALP3 Moapa Indian Res Clark County NV | #1976-05-01# | #2050-12-31# | 190 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1976 | 32
746 | 18424 | CALP4 | 18 | 1 | MoapCalp4 | NA | NA | CALP4 Moapa Indian Res Clark County NV | #1983-07-01# | #2050-12-31# | 485 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | Steam | 1983 | 25
747 | 18406 | BIGHORN3 | 18 | 1 | BighornRel6 | NA | NA | Bighorn REL 6 Primm NV | #2004-02-18# | #2050-12-31# | 190 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | CCCT | 2004 | 4
748 | 18405 | BIGHORN2 | 18 | 1 | BighornRel5 | NA | NA | Bighorn REL 5 Primm NV | #1950-01-01# | #2050-12-31# | 170 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1950 | 58
749 | 18404 | BIGHORN1 | 18 | 1 | BighornRel4 | NA | NA | Bighorn REL 4 Primm NV | #1950-01-01# | #2050-12-31# | 170 | #FALSE# | 10 | NEVADA | AZNMNV | Gas | SCCT | 1950 | 58
699 | 18270 | NCA1A | 13.8 | 1 | NC1A-NV1 | NA | NA | NCA1A-NV Cogen Assoc 1 Clark Cnty NV | #1992-01-01# | #2050-12-31# | 23 | #FALSE# | 10 | NEVADA | AZNMNV | Oil | IC | 1992 | 16
700 | 18270 | NCA1A | 13.8 | 2 | NC1A-NV2 | NA | NA | NCA1A-NV Cogen Assoc 2 Clark Cnty NV | #1992-01-01# | #2050-12-31# | 23 | #FALSE# | 10 | NEVADA | AZNMNV | Oil | IC | 1992 | 16
701 | 18271 | NCA1B | 13.8 | 3 | NC1B-NV1 | NA | NA | NCA1B-NV Cogen Assoc 1 Clark Cnty NV | #1992-01-01# | #2050-12-31# | 23 | #FALSE# | 10 | NEVADA | AZNMNV | Oil | IC | 1992 | 16
702 | 18271 | NCA1B | 13.8 | ST | NC1B-NV2 | NA | NA | NCA1B-NV Cogen Assoc 2 Clark Cnty NV | #1992-01-01# | #2050-12-31# | 19.5 | #FALSE# | 10 | NEVADA | AZNMNV | Oil | IC | 1992 | 16
703 | 18276 | NCA2A | 13.1 | 1 | NC2A-NVC1 | NA | NA | NCA2A-NV Cogen Assoc 1 Clark Cnty NV | #1992-01-01# | #2050-12-31# | 23 | #FALSE# | 10 | NEVADA | AZNMNV | Oil | IC | 1992 | 16
704 | 18276 | NCA2A | 13.1 | 2 | NC2A-NVC2 | NA | NA | NCA2A-NV Cogen Assoc 2 Clark Cnty NV | #1992-01-01# | #2050-12-31# | 23 | #FALSE# | 10 | NEVADA | AZNMNV | Oil | IC | 1992 | 16
705 | 18277 | NCA2B | 13.1 | 3 | NC2B-NV1 | NA | NA | NCA2B-NV Cogen Assoc 1 Clark Cnty NV | #1992-01-01# | #2050-12-31# | 23 | #FALSE# | 10 | NEVADA | AZNMNV | Oil | IC | 1992 | 16
706 | 18277 | NCA2B | 13.1 | ST | NC2B-NV2 | NA | NA | NCA2B-NV Cogen Assoc 2 Clark Cnty NV | #1992-01-01# | #2050-12-31# | 19.5 | #FALSE# | 10 | NEVADA | AZNMNV | Oil | IC | 1992 | 16
2216 | 64131 | VALMY G1 | 22 | 1 | Valmy1 | Coal | NA | Valmy 1 Valmy NV | #1981-12-01# | #2050-12-31# | 265 | #FALSE# | 10 | SIERRA | RMPP | Coal | Steam | 1981 | 27
2217 | 64132 | VALMY G2 | 18 | 1 | Valmy2 | Coal | NA | Valmy 2 Valmy NV | #1985-05-01# | #2050-12-31# | 300 | #FALSE# | 10 | SIERRA | RMPP | Coal | Steam | 1985 | 23
2205 | 64028 | CLARKMT3 | 13.8 | 1 | ClarkMnt1 | NA | NA | Clark Mountain GT1 Sparks NV | #1961-01-01# | #2050-12-31# | 70 | #FALSE# | 10 | SIERRA | RMPP | Gas | SCCT | 1961 | 47
2206 | 64029 | CLARKMT4 | 13.8 | 1 | ClarkMnt4 | NA | NA | Clark Mountain GT4 Sparks NV | #1994-01-01# | #2050-12-31# | 70 | #FALSE# | 10 | SIERRA | RMPP | Gas | Steam | 1994 | 14
2207 | 64046 | FT CH G1 | 13.8 | 1 | FrtChurch1 | NA | NA | Fort Churchill 1 Yerington NV | #1968-09-01# | #2050-12-31# | 117 | #FALSE# | 10 | SIERRA | RMPP | Gas | Steam | 1968 | 40
2208 | 64047 | FT CH G2 | 13.8 | 1 | FrtChurch2 | NA | NA | Fort Churchill 2 Yerington NV | #1971-09-01# | #2050-12-31# | 117 | #FALSE# | 10 | SIERRA | RMPP | Gas | Steam | 1971 | 37
2211 | 64117 | TRACY G1 | 13.8 | 1 | TracyST1 | NA | NA | Tracy ST1 Sparks NV | #1963-08-01# | #2050-12-31# | 55.2 | #FALSE# | 10 | SIERRA | RMPP | Gas | Steam | 1963 | 45
2212 | 64118 | TRACY G2 | 13.2 | 1 | TracyST2 | NA | NA | Tracy ST2 Sparks NV | #1965-10-01# | #2050-12-31# | 86 | #FALSE# | 10 | SIERRA | RMPP | Gas | Steam | 1965 | 43
2213 | 64119 | TRACY G3 | 13.8 | 1 | PinonPn1 | Coal | NA | Pinon Pine 1 Sparks NV | #1997-01-01# | #2050-12-31# | 113 | #FALSE# | 10 | SIERRA | RMPP | Gas | Steam | 1997 | 11
2214 | 64120 | TRACY G4 | 13.8 | 1 | PinonPn2 | NA | NA | Pinon Pine 2 Sparks NV | #1950-01-01# | #2050-12-31# | 80 | #FALSE# | 10 | SIERRA | RMPP | Gas | Steam | 1950 | 58
2215 | 64121 | TRACY G5 | 13.8 | 1 | PinonPn3 | NA | NA | Pinon Pine 3 Sparks NV | #1950-01-01# | #2050-12-31# | 46.2 | #FALSE# | 10 | SIERRA | RMPP | Gas | SCCT | 1950 | 58
2225 | 64142 | WINN SUB | 13.8 | 1 | Winnmcc1 | NA | NA | Winnemucca 1 Winnemucca NV | #1970-01-01# | #2050-12-31# | 20 | #FALSE# | 10 | SIERRA | RMPP | Gas | SCCT | 1970 | 38
2226 | 64339 | NANIWAG1 | 13.8 | 1 | TRICntr1 | NA | NA | TRI-Center 1 | #2001-06-01# | #2050-12-31# | 72 | #FALSE# | 10 | SIERRA | RMPP | Gas | SCCT | 2001 | 7
2227 | 64340 | NANIWAG2 | 13.8 | 2 | TRICntr2 | NA | NA | TRI-Center 2 | #2001-06-01# | #2050-12-31# | 72 | #FALSE# | 10 | SIERRA | RMPP | Gas | SCCT | 2001 | 7
2228 | 64335 | NANIWAG3 | 13.8 | 3 | TRICntr3 | NA | NA | TRI-Center 3 | #2001-06-01# | #2050-12-31# | 72 | #FALSE# | 10 | SIERRA | RMPP | Gas | SCCT | 2001 | 7
2229 | 64336 | NANIWAG4 | 13.8 | 4 | TRICntr4 | NA | NA | TRI-Center 4 | #2001-06-01# | #2050-12-31# | 72 | #FALSE# | 10 | SIERRA | RMPP | Gas | SCCT | 2001 | 7
2230 | 64337 | NANIWAG5 | 13.8 | 5 | TRICntr5 | NA | NA | TRI-Center 5 | #2001-06-01# | #2050-12-31# | 72 | #FALSE# | 10 | SIERRA | RMPP | Gas | SCCT | 2001 | 7
2231 | 64338 | NANIWAG6 | 13.8 | 6 | TRICntr6 | NA | NA | TRI-Center 6 | #2001-06-01# | #2050-12-31# | 72 | #FALSE# | 10 | SIERRA | RMPP | Gas | SCCT | 2001 | 7
2218 | 64150 | BEOWAWE | 4.16 | 1 | Beowaw1 | NA | NA | Beowawe 1 Nevada | #1985-12-01# | #2050-12-31# | 18.9 | #FALSE# | 10 | SIERRA | RMPP | Geo | GE | 1985 | 23
2221 | 64159 | FAR WST1 | 4.16 | 1 | FarWest1 | Hourly Resource | NA | Far West 1 Reno NV | #1986-01-01# | #2050-12-31# | 11.3 | #FALSE# | 10 | SIERRA | RMPP | Geo | GE | 1986 | 22
2210 | 64105 | CAITHNES | 12.3 | 1 | YnkCthn1 | Hourly Resource | NA | Yankee Caithness 1 Reno NV | #1988-01-01# | #2050-12-31# | 19.2 | #FALSE# | 10 | SIERRA | RMPP | Wind | Wind | 1988 | 20
2222 | 64159 | FAR WST1 | 4.16 | 2 | FarWes1A | Hourly Resource | NA | Far West 1A Reno NV | #1988-01-01# | #2050-12-31# | 11.3 | #FALSE# | 10 | SIERRA | RMPP | Wind | Wind | 1988 | 20
2223 | 64160 | FAR WST2 | 4.16 | 3 | FarWes2 | Hourly Resource | NA | Far West II Steamboat NV | #1992-01-01# | #2050-12-31# | 11.3 | #FALSE# | 10 | SIERRA | RMPP | Wind | Wind | 1992 | 16
2224 | 64160 | FAR WST2 | 4.16 | 4 | FarWes3 | Hourly Resource | NA | Far West III Steamboat NV | #1992-01-01# | #2050-12-31# | 11.3 | #FALSE# | 10 | SIERRA | RMPP | Wind | Wind | 1992 | 16
2209 | 64068 | LOYALTON | 13.8 | 1 | Loyaltn1 | NA | NA | Loyalton 1 Loyalton CA | #1989-10-17# | #2050-12-31# | 23 | #FALSE# | 10 | SIERRA | RMPP | Wood | Steam | 1989 | 19
[9 empty] | Total MW except wind=20% |  | 9417.52

## NevadaIncrGen (2008-2015)
Nevada New Generation or Retired Generation--2008-2015
State | Area Name | New Plant or Plant being Retired (N or R) | Bus ID | Bus Name | Bus KV | Long Name | Technology |  | Fuel Type | Installed Capacity (MW) | No. of Units | Station Service (MW) | Commission Date | Retirement Date | Capital Cost of New Resource ($M) | COMMENTS
[7 empty] | Type | Bucket
NV | Nevada | New |  |  |  | Generic-Gas SCCT | SCCT | 25 | Gas | 468 |  |  | 2011 |  |  | Location to be determined; assume in Clark County
NV | Nevada | New |  |  |  | Generic-Gas CCT | CCT | 26 | Gas | 510 |  |  | 2013 |  |  | Location to be determined; assume in Clark County
NV | Nevada | New |  |  |  | Generic-Gas SCCT | SCCT | 25 | Gas | 468 |  |  | 2015 |  |  | Location to be determined; assume in Clark County
NV | Sierra | New | 64115 | Tracy | 120 | Tracy Facility Addtions | CCT | 10 or 26 | Gas | 514 |  |  | 2008 |  |  | Located in Washoe County, NV
NV | Sierra | New | 64043 | Falcon |  | TS Power Plant |  | 19 | Coal | 203 |  |  | 2008 |  |  | Newmont Nevada Energy; Eureka County
NV | Sierra | New | New | Robinson |  | White Pine Project |  | 19 | Coal | 500 | 2 |  | 2011 |  |  | LS Power, White Pine County, tie into Gonder line, 345 kv
[6 empty] | Total Incremental Capacity in MW |  |  |  | 2663
ADDITIONAL RENEWABLE GENERATION ADDED TO COMPLY WITH NEVADA RPS REQUIREMENTS
Wind Projects
NV | Nevada | New |  |  |  | Ely Wind |  |  | Wind | 50 |  |  | 2006 |  |  | White Pine County; Company applying for financing through NV renewable trust.
NV | Sierra | New |  |  |  | Getchel Wind Farm |  |  | Wind | 80 |  |  | 2006 |  |  | Humbolt County; Osgood Mountains. Construction in Spring 2005. 6-9 months to complete.
NV | Nevada | New |  |  |  | Kenetixx/So. NV |  |  | Wind | 500 |  |  | 2008 |  |  | Clark County; On Federal land.
NV | Nevada | New |  |  |  | Table Mountain Wind Project |  |  | Wind | 150 |  |  | 2008 |  |  | Clark County; On BLM land. In EIS process. On line by 2007 if approved. 150-205 MW capacity. Interconnect to Valley Electric Association
NV | Nevada | New |  |  |  | Desert Queen Wind |  |  | Wind | 80 |  |  | 2011 |  |  | Clark County; Cielo website says on line in December 2004. PTC expiration an issue.
NV | Nevada | New |  |  |  | Shoshone Mountain Wind |  |  | Wind | 260 |  |  | 2011 |  |  | Nye County; Cancelled but assume restarted. Valley Electric Association
NV | Nevada | New |  |  |  | Generic W1 |  |  | Wind | 200 |  |  | 2013 |  |  | Clark County; Generic-Table Mountain 2
NV | Nevada | New |  |  |  | Generic W2 |  |  | Wind | 100 |  |  | 2013 |  |  | White Pine County; Generic-Ely Wind 2
NV | Sierra | New |  |  |  | Generic W3 |  |  | Wind | 100 |  |  | 2014 |  |  | Washoe County; Generic-Virginia Mountain; Nevada State Energy Office Report, 2005
NV | Sierra | New |  |  |  | Generic W4 |  |  | Wind | 111 |  |  | 2014 |  |  | Washoe County; Generic-Granite Range; Nevada State Energy Office Report, 2005
[6 empty] | Total Wind |  |  |  | 1631
Geothermal Projects
NV | Sierra | New |  |  |  | Hot Sulpher Springs |  |  | Geo | 25 |  |  | 2006 |  |  | Elko County; Contract Terminated but assume restarted.
NV | Sierra | New |  |  |  | Galena 1 |  |  | Geo | 20 |  |  | 2006 |  |  | Washoe County; Subsidiary of Ormat. Adding 13 MW to Steamboat 1/1A for a total of 20 MW. Contract with Sierra Pacific Power for 20 years.
NV | Sierra | New |  |  |  | Galena 2 |  |  | Geo | 13 |  |  | 2006 |  |  | Washoe County
NV | Sierra | New |  |  |  | Blue Mountain Geothermal |  |  | Geo | 30 |  |  | 2006 |  |  | Humboldt County
NV | Sierra | New |  |  |  | Desert Peak 2 |  |  | Geo | 25 |  |  | 2007 |  |  | Churchill County
NV | Sierra | New |  |  |  | Desert Peak 3 |  |  | Geo | 10 |  |  | 2008 |  |  | Churchill County
NV | Sierra | New |  |  |  | Rye Patch |  |  | Geo | 12 |  |  | 2011 |  |  | Pershing County; Drilling complete. On line date unknown.
NV | Sierra | New |  |  |  | Steamboat IV |  |  | Geo | 62 |  |  | 2011 |  |  | Washoe County
NV | Sierra | New |  |  |  | Steamboat Springs |  |  | Geo | 30 |  |  | 2011 |  |  | Washoe County; Cancelled, assume restarted.
NV | Sierra | New |  |  |  | Salt Wells Geothermal Project |  |  | Geo | 10 |  |  | 2006 |  |  | Churchill County
NV | Sierra | New |  |  |  | Generic G1 |  |  | Geo | 51 |  |  | 2013 |  |  | Washoe County; Generic G1-Galena 3
NV | Sierra | New |  |  |  | Generic G2 |  |  | Geo | 51 |  |  | 2013 |  |  | Churchill County; Generic G2-Desert Peak
NV | Sierra | New |  |  |  | Generic G3 |  |  | Geo | 51 |  |  | 2014 |  |  | Washoe County; Generic G3-Steamboat V
NV | Sierra | New |  |  |  | Generic G4 |  |  | Geo | 51 |  |  | 2014 |  |  | Humboldt County; Generic G4-Blue Mountain Geothermal
[6 empty] | Total Geo |  |  |  | 441
Solar Projects
NV | Nevada | New |  |  |  | Boulder City Solar |  |  | Solar | 50 | [5 empty] | Clark County; Solargenix to apply for NV renewable energy trust for finanacing. Possible construction in March 2005. 12-18 months to complete. aka El Dorado Solar
NV | Nevada | New |  |  |  | Generic S1 |  |  | Solar | 100 | [5 empty] | Clark County; generic
NV | Nevada | New |  |  |  | Generic S2 |  |  | Solar | 100 | [5 empty] | Clark County; generic
[6 empty] | Generic S2 |  |  |  | 110 | [5 empty] | Clark County; generic
[6 empty] | Total Solar |  |  |  | 360
Total MW
[7 empty] | Wind | Geo | Solar | Renewables
[6 empty] | Estimated MW for NV RPS Compliance | 1684.19 | 495.35 | 360 | 2539.54
[6 empty] | Existing MW in 2008 Database | 53.1 | 53 | 0 | 106.1
[6 empty] | Additions-Proposed Projects MW | 1120 | 237 | 50 | 1407
[6 empty] | Additions-Generic MW | 510.9 | 205 | 310 | 1025.9
[6 empty] | Total Additions MW | 1630.9 | 442 | 360 | 2432.9
RPS COMPLIANCE CHECK | [5 empty] | Total MW 2015 | 1684 | 495 | 360
2015 Renewable Tabulation:
[5 empty] | 2015 Load and Resource Balance |  |  |  | 2008 Load and Resource Balance
ResType | MW | gwh
[5 empty] | LOADS |  |  |  | LOADS
WIND | 1684.1 | 3688.179 |  |  | peak MW |  |  | 9271.6416 | peak MW |  |  | 6735
BIO | 23 | 171.258 |  |  | annual energy (gwh) |  |  | 40982.1748 | annual energy (gwh) |  |  | 31214.8511
GEO 1/ | 471.2 | 3508.5552
SOLAR | 360 | 819.936 |  |  | RESOURCES--inst. cap + 20% wind |  |  |  | RESOURCES--inst. cap + 20% wind
[5 empty] | MW |  |  | 13208.7 | MW |  |  | 9417.52
Total Renewable gwh |  | 8187.9282 |  |  | Planning Margin (%) |  |  | 42.46% | Planning Margin (%) |  |  | 39.83%
20% RPS Satisfied? |  | 19.98% |  |  | Plant Factor (%) |  |  | 35.42% | Plant Factor (%) |  |  | 37.84%
1/ Nevada's renewable analysis included the biomass plant with geothermal; here it is separated out.
Note on B3: Choose from SSG-WI Bubble listed below: IMPERIAL LADWP MEXICO-C PG&E_BAY PG&E_VLY SANDIEGO SOCALIF ARIZONA NEVADA NEW MEXI WAPA L.C ALBERTA B.C.HYDR NW_EAST NW_WEST B HILL BHB BONZ COL E COL W IDAHO KGB LRS MONTANA SIERRA SW WYO UT N UT S WYO YLW TL See Topology for locations of bubbles
Note on C3: If retired plant, skip to column O & fill in retirement date
Note on D3: Bus Number from WECC 2008 HAS2 Power Flow Case
Note on E3: from WECC 2008 HSA2 Power Flow Case
Note on G3: Descriptive name with indication of location
Note on H3: Indicate technology type below and bucket described by Generic Attributes worksheets: SCCT: simple (open) cycle CCT: Combined Cycle ST: Steam Turbine DT: Duct fired IC: Internal Combustion HYD: Hydro OR other: please specify technology and describe attributes in the Generic Attributes worksheets under new bucket.
Note on J3: Choose fuel type from following list: NG: Natural Gas Oil Coal PC: Petroleum Coke GEO: Geothermal URAN: uranium BIO: wood waste or other biomass fuel Water Wind Sun Other (specify)
Note on M3: Estimate station service or other on-site (e.g. cogen process) power requirement
Note on N3: Unit in-service date
Note on O3: Unit retirement date
Note on Q3: Include if new resource is specified in utility IRP, required to meet RPS, etc.

## RPS-NV
Nevada RPS Compliance:
Assumptions and Derivation of Renewable Energy (GWh) and Intalled Capacity (MW)
Nevada | Renewable Energy Portfolio:
20% target by 2015; 5% Solar; Allows EE
| Share of the Portfolio | Geo | 0.45 | Solar | 0.1 | Wind | 0.45
| Capacity Factor | Geo CF | 0.85 | Solar CF | 25.97% | Wind CF | 0.25
2015
| Total Load (GWh) | 40982
| Total Ren Energy needed (GWh) | 8196.4
| Geo Energy (GWh) | 3688.38
| Geo Dep Cap (MW) | 421.0479
| Geo Installed (MW) | 495.3505
| Solar Energy (GWh) | 819.64
| Solar Dep Cap (MW) | 93.5662
| Solar Installed (MW) | 360.2549
| Wind Energy (GWh) | 3688.38
| Wind Dep Cap (MW) | 421.0479
| Wind Installed (MW) | 1684.1918
| Total Renewable Energy (GWh) | 8196.4
| RE Dep Cap (MW) | 935.6621
| RE Installed (MW) | 2539.7972
Note on B12: atanghet: from number tab
Note on B14: atanghet: Represents hot sulpher springs on-line 12/05 25 MWs installed
Note on B20: dvidaver: 15% EFOR
Note on B22: atanghet: represent Ely Wind estimated on-line 12/05 50 MW installed and Desert Queen 6/1/2006 80 MW
Note on B24: dvidaver: 15% EFOR

## RE Projects
Renewable Energy Projects Announced Generic Projects to Meet RPS Compliance
Nevada
| Facility | County | Fuel | Technology | MW | Company | Online Date | Status | Notes
Wind
1 | Ely Wind | White Pine | Wind | Wind | 50 | Carlson & Associates | 2005-12-31 | 3 | Company applying for financing through NV renewable trust.
2 | Getchel Wind Farm | Humbolt | Wind | Wind | 80 | Navitas Energy | 2005-12-31 | 4 | Osgood Mountains. Construction in Spring 2005. 6-9 months to complete.
3 | Kenetixx/So. NV | Unknown / Clark | Wind | Wind | 500 | Kenetixx | 2005-12-31 | 5 | On Federal land.
4 | Table Mountain Wind Project | Clark | Wind | Wind | 150 | MNS Wind Power | 2007-01-01 | 4 | On BLM land. In EIS process. On line by 2007 if approved. 150-205 MW capacity.
5 | Desert Queen Wind | Clark | Wind | Wind | 80 | Cielo Wind | 2011-01-01 | 6 | Cielo website says on line in December 2004. PTC expiration an issue.
6 | Shoshone Mountain Wind | Nye | Wind | Wind | 260 | M&N Wind Power | 2011-01-01 | 6 | Cancelled
| Total Wind MW Proposed |  |  |  | 1120
| Existing Wind in 2008 Database |  |  |  | 53.1 |  |  |  | See Existing-2008 Resource Worksheet
| Est. Wind for RPS |  |  |  | 1684
| Generic Wind Additions |  |  |  | 510.9
| Generic-Table Mountain 2 | Clark |  |  | 200
| Generic-Ely Wind 2 | White Pine |  |  | 100
| Generic-Viringia Mtns | Washoe |  |  | 100
| Generic-Granite Range | Washoe |  |  | 153
Geothermal
1 | Hot Sulpher Springs | Elko | Geothermal | Geothermal | 25 | Earth Power Resources | 2005-12-31 | 3 | Contract Terminated
2 | Galena 1 | Washoe | Geothermal | Geothermal | 20 | Ornat | 2006-03-01 | 3 | Subsidiary of Ormat. Adding 13 MW to Steamboat 1/1A for a total of 20 MW. Contract with Sierra Pacific Power for 20 years.
3 | Galena 2 | Washoe | Geothermal | Geothermal | 13 | Ormat | 2006-08-01
4 | Blue Mountain Geothermal | Humboldt | Geothermal | Geothermal | 30 | Continental Ridge | 2006-06-01 | 3 | http://puc.state.nv.us/ELECTRIC/propgen.pdf
5 | Desert Peak 2 | Churchill | Geothermal | Geothermal | 25 | Ormat | 2006-12-31 | 1 | http://puc.state.nv.us/ELECTRIC/propgen.pdf
6 | Desert Peak 3 | Churchill | Geothermal | Geothermal | 10 | Ormat | 2007-12-31 | 3 | http://puc.state.nv.us/ELECTRIC/propgen.pdf
7 | Rye Patch | Pershing | Geothermal | Geothermal | 12 | Mt Wheeler power | 2011-01-01 | 1 | Drilling complete. On line date unknown.
8 | Steamboat IV | Washoe | Geothermal | Geothermal | 62 | Advanced Thermal | 2011-01-01 | 6 | http://puc.state.nv.us/ELECTRIC/propgen.pdf
9 | Steamboat Springs | Washoe | Geothermal | Geothermal | 30 | SB Geo | 2011-01-01 | 6 | Cancelled
10 | Salt Wells Geothermal Project | Churchill | Geothermal | Geothermal | 10 | Nevada Geothermal Specialists | 12/312005
| Total Geo MW Proposed |  |  |  | 237
| Existing Geo in 2008 Database |  |  |  | 53.2 |  |  |  | See Existing-2008 Resource Worksheet; this figure includes biomass plant
| Est. Geo for RPS |  |  |  | 495
| Generic Geo Additions |  |  |  | 204.8
| Generic-Galena 3 | Washoe |  |  | 51.2
| Generic-Desert Peak 4 | Churchill |  |  | 51.2
| Generic-Steamboat V | Washoe |  |  | 51.2
| Generic-Blue Mountain Geothermal | Humboldt |  |  | 51.2
Solar
1 | Boulder City Solar (aka El Dorado Solar) | Clark | Solar |  | 50 | Solargenix | 2006-09-01 | 3 | Solargenix to apply for NV renewable energy trust for finanacing. Possible construction in March 2005. 12-18 months to complete.
| Total Solar MW Proposed |  |  |  | 50
| Existing Solar in 2008 Databse |  |  |  | 0
| Est. Solar for RPS |  |  |  | 360
| Generic Solar Additions |  |  |  | 310
| Generic-Boulder City Solar 2 |  |  |  | 100
| Generic-Other |  |  |  | 210
| Total RE MW |  |  |  | 1407