INSPECTION AND ENFORCEMENT

RELATED TO ELECTRICAL SAFETY SYSTEMS

IN INDONESIA

Prepared for :

Workshop on the Electrical Safety Systems in the Asia Pacific

Gaitherburgs - USA

18 n-22 March 2002

By

Ir. ANWAR  SALEH   MSc

PT PERDANA INDOSPECTAMA PUSAKA

A Member of

The Association of Indonesian Technical Inspection Company

CONTENT

I 	Inroduction						1

II	Electricity							1

III	Inspection and Enforcement			3

IV	Inspection  Tools and Equipment			5

V	Conclusion						5

Electrical Safety Systems in  The Asia Pacific Workshop

In Gaitherburgs - USA

18 - 22  March 2002

INSPECTION AND ENFORCEMENT RELATED TO THE ELECTRICAL SAFETY SYSTEM  IN INDONESIA

I. INTRODUCTION.

Indonesia is a world’s largest archipelago, an enormous chain of islands sparring a distances of more than 5,900 kilometer (3,800 miles) along the equator from Sumatera in the west to New Guinea in the east.

To get better idea of the country, over a map of Northern America, Indonesian archipelago stretches from California to Bermuda.

All those thousands islands which is big and small is only around 40 % of the total area, and the rest around 60 % consist of the seas.

Indonesian population in the present time is more than 215 million, They consist of various different ethnics,  languages and cultures. But the Indonesia agreed to have one national language "Bahasa Indonesia" which is used in formal/business oral and written communication.

II. ELECTRICITY.

In 1999/2000 the capacity of the national power system was 38.599 MW,  consisting of the installed PLN power system 22,732 MW, non-PLN 15,215 MW and private sector 651.80 MW. Compared to the year 1998/1999  35,676 the capacity of the national power system increased 2,923 MW or 8 %.

The transmission lines increased 527.83 kmc from 23,860.91 to 24,388.74 kmc. The increase of each is follows: JTET (Extra High Voltage Transmission Lines) has increased 102.2 kmc and JTT (High Voltage Transmission Lines) has increased 426 kmc. The sub stations increased 1,422 MVA from 45,361 MVA to 46,783 MVA. In distribution, JTM (Medium Voltage Lines) has increased 21,524 kmc, JTR (Low Voltage Lines) has increased 21,995 kmc and distribution sub stations has increased 385 MVA.

The supply of electricity in 1999/2000 was 87,999,212 MWh, consisting of  PLN’s self production of 83,164,466 MWH and purchase of 4,834,746 MWh. Compared to the year 1998/1999, the electricity production has increased 3,140,712 MWh, while the purchased electricity has increased 1,912,124 MWh.

The sale of PLN electricity was 73,560,041 MWh, an increased of 7,525,025 MWh  or 11.03 %  over the sale in 1998/1999.

Sales to industrial sector were 32,412,088 MWh, while that to residential sector 27,745,936 MWh, to commercial sector or business enterprises 9,569,216 MWh and to public sector 3,832,801 MWh.

The number of customers reached 27,726,932 an increase of 953,288 0r 3.56 %. Residential was the largest group of customers, numbering in 26,015,859 or 93.8 % of all customers. Rural residential customers totaled 18,683,181 equivalent to 67.38 % of the residential group.

Electrification ratio is the ratio of electrified household to the total households. Until 1999/2000 electrification ratio has realized 56.75 %. Compared to 1998/1999 where electrification ratio was 56.2 %

The connected capacity per capita is the percentage of the total connected capacity to the total of population in Indonesia. The PLN connected capacity in 1999/2000 is 36,643,907 KVA and the projection of population was about 207,456,600. It means percapita connected capacity is 176.63 VA.

Per capita electricity consumption is the percentage of electricity consumption to the total population. Total population up to 1999/2000 is 207,456,600 and consumption of electric energy is 73,560,041 thousand kWh. Therefore, the per capita electricity consumption is 354 kWh.

Rural electrification ratio is the percentage of the electrified villages to the total one. The electrified villages up to 1999/2000 has been 48,675 villages. While the total number of villages according to the Department of Internal Affairs is 61,975, consisting of 39,317 villages outside of Java and 22,658 villages in  Java. Therefore, rural electrification ratio is 78.54 %, while the ratio of outside Java was 67.49 % and in Java 97.71 %.

Independent Power Plant.

Up to March 31, 2000 the Independent Power Plant is 1,586.3 MW. In South Sulawesi 220 MW, Irian Jaya 120 MW, Central Java 26 MW, East Java 800 MW and West Java 402 MW.

Captive Power Plant.

Up to March 31, 1999 the installed capacity of the Non-PLN was 15,215.02 MW, while the captive power permitted was 8,979.79MW.

#### III. INSPECTION AND ENFORCEMENT

The electricity is a vital need for human life and in developing the economy and nation quality life.

That is why, Indonesian government always and continually put attention and maximum priority on the development of the electricity sector in national development program, in effort to maintain the electric power supply for fulfilling the electric power need.

While on one side the using of electric power gives a great help to human activity, on another side the electric power can cause a potential hazard to human life and to environment

The hazard can cause damages to :

- Electric Generation System

- Electric Transmission System

- Electric Distribution System.

The Damages of the system can be cause by :

Design, preparation, construction, and installation.

Material quality

Maintenance and services during operation

The above mention damages can cause the failure of electric power supply to consumer which consist of government institution, industry, social organization and people.

The failure of electric power supply can cause huge losses to government, industrialist, social organization and people

In the Indonesian National Electric Act is stated that Indonesian government is responsible for providing safe, reliable and efficiently electric power supply and environmental friendly.

In the present time the electric power supplies are provided by the government owned company and by private company.

To provide the safe, reliable, efficiently and environmental friendly electric power supply, Indonesian government establishes the act and the regulations in which the installation and maintenance of electric power plant, transmission, distribution, receiving facilities in building are required to follow the existing regulations, standards and codes especially  design, technology, and health, safety and environmental requirements

All electric equipment, power plant, transmission, distribution,  and the receiving facilities should be guaranteed that they are save, reliable and environmental friendly, which should be backed up by certificates of goodness issued by technical inspection company (independent third party).

After reviewing the certificates, Indonesian government according the certificates will allow the owner to operate those electrical equipment, electrical power plant, transmission, distribution and receiving facilities

The Technical Inspection Companies have to review documents (design calculation, design drawing, lay out drawing, code and standard and requirements), to inspect physically the electrical equipment, power plant, transmission, distribution and receiving facilities prior the issuance of certificates.

IV. INSPECTION TOOLS AND EQUIPMENT

Inspection, monitoring, controlling of  the electrical equipment, power plant, transmission, distribution and receiving facilities require some other tools and instrument which are used to measure or to test rotation per minute, vibration, temperature, the flow of lubricating oil, cable resistance, voltage, current, excess current etc.

Some of the above mention tools and equipment are portable, some others are fix installed on the electrical system.

Some of monitoring and controlling tools or equipment are provided with computer program. Such tools or equipment capable to analysis the troubles which happen/occur during process.

Working Permit and Installer License.

Frankly speaking, Indonesia does not manufacture such equipment and tools, mostly are imported.

V. CONCLUSION.

The above mention data show us that the consumption of the electric energy in Indonesia is still low.

The low consumption of electric power in Indonesia is caused by the geographic condition of Indonesia, consisting of islands, especially remote small islands and low occupancy islands.

Another importance handicap in electric power consumption is the bad economic condition which is not recovery yet, especially in the last two three years.

As a developing country, we are now putting a big effort with all our capability to achieve the maximum electric power consumption close to the international standard.

To obtain the above mention goal, beside promoting electric/electronic sciences and technology education, we also develop and establish the electric power sources.

Following the developed country, in the present time we are installing/ establishing the electric power generation plant to fulfill our need in electric power.

The electric power generation plants are installing according the local situation and condition, the place, the size of the islands, the existing of energy sources. Among others electric power generation using natural steam (geothermal), generated steam (coal, oil, gas/natural gas); electric power generation using internal combustion engine (diesel, gas/natural gas); or nuclear electric power generation. Using of nuclear power subject is being evaluated from environmental safety view of point.

Finally, frankly speaking, Indonesian development especially on the electrical power supply will be continued. Indonesia with her large amount of natural resources and population invites you to participate in her development.