## Advp Mass III
Lab Name |  |  | Procedure |  | Scope
Date | [11 empty] | Use Class F, or OIML M1, M2, M3, or ASTM 4, 5, or 6.
|  |  | Specify variable source. | [7 empty] | Class | 105-1
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Balance | Tolerance | Pn | Comments
5000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
4000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
3500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
3000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
250 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
25 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.5 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.3 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.2 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.1 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.05 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.03 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.02 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.01 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.005 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.003 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.002 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.001 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
8 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
4 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/2 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/4 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/8 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/16 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/32 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/64 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## WheelLoad Weigher & Wt Cart
Lab Name |  |  | Procedure |  | Scope
Date | [11 empty] | Use 105-8
|  |  | Specify variable source. | [7 empty] | Class | 105-8
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Balance | Tolerance | Pn | Comments
6000 | lb | uc: 0; k: 2; U: 0 |  |  |  | --- | Weight Carts
5000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
3500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
3000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
|  |  | Procedure |  | Scope
Use HB 44, Class IIIL Scales
|  | sp: Specify variable source. |  | Class | HB 44, IIIL
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Instrument | Tolerance | Pn | Comments
40000 | lb | uc: 0; k: 2; U: 0 |  |  |  | --- | Wheel Load Weighers
20000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
15000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
10000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
5000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
250 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!
Note on C18: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D18: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J18: Round or Format all expanded uncertainties to two significant digits!

## Advp Mass II
Lab Name |  |  | Procedure |  | Scope
Date | [11 empty] | Use ASTM Class 2 or 3, OIML F1 or F2.
|  |  | Specify variable source. | [7 empty] | Class | ASTM, OIML
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Balance | Tolerance | Pn | Comments
5000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
4000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
3500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
3000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
250 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
25 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.5 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.3 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.2 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.1 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.05 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.03 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.02 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.01 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.005 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.003 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.002 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.001 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
8 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
4 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/2 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/4 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/8 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/16 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/32 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/64 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Advp Mass I
Lab Name |  |  | Procedure |  | Scope
Date | [11 empty] | Use ASTM Class 0 or 1, OIML E1 or E2.
|  |  | Specify variable source. | [7 empty] | Class | ASTM, OIML
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Balance | Tolerance | Pn | Comments
1000 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
250 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
25 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.5 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.3 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.2 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.1 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.05 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.03 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.02 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.01 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.005 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.003 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.002 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
0.001 | lb | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | µlb | uc: 0; k: 2; U: 0 |  |  |  | ---
8 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
4 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/2 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/4 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/8 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/16 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/32 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
1/64 | oz | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Metric Mass III
Lab Name |  |  | Procedure |  | Scope
Date | [11 empty] | Use Class F, or OIML M1, M2, M3, or ASTM 4, 5, or 6.
|  |  | Specify variable source. | [7 empty] | Class | 105-1
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Balance | Tolerance | Pn | Comments
1000 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
250 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Metric Mass II
Lab Name |  |  | Procedure |  | Scope
Date | [11 empty] | Use ASTM Class 2 or 3, OIML F1 or F2.
|  |  | Specify variable source. | [7 empty] | Class | ASTM, OIML
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Balance | Tolerance | Pn | Comments
1000 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
250 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Metric Mass I
Lab Name |  |  | Procedure |  | Scope
Date | [11 empty] | Use ASTM Class 0 or 1, OIML E1 or E2.
|  |  | Specify variable source. | [7 empty] | Class | ASTM, OIML
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Balance | Tolerance | Pn | Comments
100 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | kg | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | g | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | mg | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Composite Mass Tolerance Table
Maximum Permissible Errors for Weights (+/- in mg)
| OIML | [6 empty] | ASTM | [7 empty] | NIST
Nominal | E1 | E2 | F1 | F2 | M1* | M2* | M3* | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | F
5 000 kg |  |  | 25 000 | 80 000 | 250 000 | 800 000 | 2 500 000 |  |  |  |  | 100 000 | 250 000 | 500 000 | 750 000 | 500 000
3 000 kg | ASTM 4: 60 000; ASTM 5: 150 000; ASTM 6: 300 000; ASTM 7: 450 000 | 300 000
2 000 kg |  |  | 10 000 | 30 000 | 100 000 | 300 000 | 1 000 000 |  |  |  |  | 40 000 | 100 000 | 200 000 | 300 000 | 200 000
1 000 kg |  | 1 600 | 5 000 | 16 000 | 50 000 | 160 000 | 500 000 |  |  |  |  | 20 000 | 50 000 | 100 000 | 150 000 | 100 000
500 kg |  | 800 | 2 500 | 8 000 | 25 000 | 80 000 | 250 000 |  |  |  |  | 10 000 | 25 000 | 50 000 | 75 000 | 50 000
300 kg | ASTM 4: 6 000; ASTM 5: 15 000; ASTM 6: 30 000; ASTM 7: 45 000 | 30 000
200 kg |  | 300 | 1 000 | 3 000 | 10 000 | 30 000 | 100 000 |  |  |  |  | 4 000 | 10 000 | 20 000 | 30 000 | 20 000
100 kg |  | 160 | 500 | 1 600 | 5 000 | 16 000 | 50 000 |  |  |  |  | 2 000 | 5 000 | 10 000 | 15 000 | 10 000
50 kg | 25 | 80 | 250 | 800 | 2 500 | 8 000 | 25 000 | 63 | 125 | 250 | 500 | 1 000 | 2 500 | 5 000 | 7 500 | 5 000
30 kg | ASTM 0: 38; ASTM 1: 75; ASTM 2: 150; ASTM 3: 300; ASTM 4: 600; ASTM 5: 1 500; ASTM 6: 3 000; ASTM 7: 4 500 | 3 000
25 kg | ASTM 0: 31; ASTM 1: 62; ASTM 2: 125; ASTM 3: 250; ASTM 4: 500; ASTM 5: 1 200; ASTM 6: 2 500; ASTM 7: 4 500 | 2 500
20 kg | 10 | 30 | 100 | 300 | 1 000 | 3 000 | 10 000 | 25 | 50 | 100 | 200 | 400 | 1 000 | 2 000 | 3 800 | 2 000
10 kg | 5 | 16 | 50 | 160 | 500 | 1 600 | 5 000 | 13 | 25 | 50 | 100 | 200 | 500 | 1 000 | 2 200 | 1 000
5 kg | 2.5 | 8 | 25 | 80 | 250 | 800 | 2 500 | 6 | 12 | 25 | 50 | 100 | 250 | 500 | 1 400 | 500
3 kg | ASTM 0: 3.8; ASTM 1: 7.5; ASTM 2: 15; ASTM 3: 30; ASTM 4: 60; ASTM 5: 150; ASTM 6: 300; ASTM 7: 1 000 | 300
2 kg | 1 | 3 | 10 | 30 | 100 | 300 | 1 000 | 2.5 | 5 | 10 | 20 | 40 | 100 | 200 | 750 | 200
1 kg | 0.5 | 1.6 | 5 | 16 | 50 | 160 | 500 | 1.3 | 2.5 | 5 | 10 | 20 | 50 | 100 | 470 | 100
500 g | 0.25 | 0.8 | 2.5 | 8 | 25 | 80 | 250 | 0.6 | 1.2 | 2.5 | 5 | 10 | 30 | 50 | 300 | 70
300 g | ASTM 0: 0.38; ASTM 1: 0.75; ASTM 2: 1.5; ASTM 3: 3; ASTM 4: 6; ASTM 5: 20; ASTM 6: 30; ASTM 7: 210 | 60
200 g | 0.1 | 0.3 | 1 | 3 | 10 | 30 | 100 | 0.25 | 0.5 | 1 | 2 | 4 | 15 | 20 | 160 | 40
100 g | 0.05 | 0.16 | 0.5 | 1.6 | 5 | 16 | 50 | 0.13 | 0.25 | 0.5 | 1 | 2 | 9 | 10 | 100 | 20
50 g | 0.03 | 0.1 | 0.3 | 1 | 3 | 10 | 30 | 0.06 | 0.12 | 0.25 | 0.6 | 1.2 | 5.6 | 7 |  | 10
30 g | ASTM 0: 0.037; ASTM 1: 0.074; ASTM 2: 0.15; ASTM 3: 0.45; ASTM 4: 0.9; ASTM 5: 4; ASTM 6: 5; ASTM 7: 44 | 6
20 g | 0.025 | 0.08 | 0.25 | 0.8 | 2.5 | 8 | 25 | 0.037 | 0.074 | 0.1 | 0.35 | 0.7 | 3 | 3 | 33 | 4
10 g | 0.02 | 0.06 | 0.2 | 0.6 | 2 | 6 | 20 | 0.025 | 0.05 | 0.074 | 0.25 | 0.5 | 2 | 2 | 21 | 2
5 g | 0.016 | 0.05 | 0.16 | 0.5 | 1.6 | 5 | 16 | 0.017 | 0.034 | 0.054 | 0.18 | 0.36 | 1.3 | 2 | 13 | 1.5
3 g | ASTM 0: 0.017; ASTM 1: 0.034; ASTM 2: 0.054; ASTM 3: 0.15; ASTM 4: 0.3; ASTM 5: 0.95; ASTM 6: 2; ASTM 7: 9.4 | 1.3
2 g | 0.012 | 0.04 | 0.12 | 0.4 | 1.2 | 4 | 12 | 0.017 | 0.034 | 0.054 | 0.13 | 0.26 | 0.75 | 2 | 7 | 1.1
1 g | 0.01 | 0.03 | 0.1 | 0.3 | 1 | 3 | 10 | 0.017 | 0.034 | 0.054 | 0.1 | 0.2 | 0.5 | 2 | 4.5 | 0.9
500 mg | 0.008 | 0.025 | 0.08 | 0.25 | 0.8 | 2.5 |  | 0.005 | 0.01 | 0.025 | 0.08 | 0.16 | 0.38 | 1 | 3 | 0.72
300 mg | ASTM 0: 0.005; ASTM 1: 0.01; ASTM 2: 0.025; ASTM 3: 0.07; ASTM 4: 0.14; ASTM 5: 0.3; ASTM 6: 1; ASTM 7: 2.2 | 0.61
200 mg | 0.006 | 0.02 | 0.06 | 0.2 | 0.6 | 2 |  | 0.005 | 0.01 | 0.025 | 0.06 | 0.12 | 0.26 | 1 | 1.8 | 0.54
100 mg | 0.005 | 0.016 | 0.05 | 0.16 | 0.5 | 1.6 |  | 0.005 | 0.01 | 0.025 | 0.05 | 0.1 | 0.2 | 1 | 1.2 | 0.43
50 mg | 0.004 | 0.012 | 0.04 | 0.12 | 0.4 |  |  | 0.005 | 0.01 | 0.014 | 0.042 | 0.085 | 0.16 | 0.5 | 0.88 | 0.35
30 mg | ASTM 0: 0.005; ASTM 1: 0.01; ASTM 2: 0.014; ASTM 3: 0.038; ASTM 4: 0.075; ASTM 5: 0.14; ASTM 6: 0.5; ASTM 7: 0.68 | 0.3
20 mg | 0.003 | 0.01 | 0.03 | 0.1 | 0.3 |  |  | 0.005 | 0.01 | 0.014 | 0.035 | 0.07 | 0.12 | 0.5 | 0.56 | 0.26
10 mg | 0.003 | 0.008 | 0.025 | 0.08 | 0.25 |  |  | 0.005 | 0.01 | 0.014 | 0.03 | 0.06 | 0.1 | 0.5 | 0.4 | 0.21
5 mg | 0.003 | 0.006 | 0.02 | 0.06 | 0.2 |  |  | 0.005 | 0.01 | 0.014 | 0.028 | 0.055 | 0.08 | 0.2 |  | 0.17
3 mg | ASTM 0: 0.005; ASTM 1: 0.01; ASTM 2: 0.014; ASTM 3: 0.026; ASTM 4: 0.052; ASTM 5: 0.07; ASTM 6: 0.2 | 0.14
2 mg | 0.003 | 0.006 | 0.02 | 0.06 | 0.2 |  |  | 0.005 | 0.01 | 0.014 | 0.025 | 0.05 | 0.06 | 0.2 |  | 0.12
1 mg | 0.003 | 0.006 | 0.02 | 0.06 | 0.2 |  |  | 0.005 | 0.01 | 0.014 | 0.025 | 0.05 | 0.05 | 0.1 |  | 0.1
*Intermediate classes M1-M2 and M2-M3 are not included on this summary table.

## Gravimetric Volume I & SVP
Lab Name |  |  | Procedure |  | Scope
Date
|  |  | Specify variable source. | [7 empty] | Class | HB 105-3, 105-7, 105-2, ASTM
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Std Used | Tolerance | Pn | Comments
120 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
25 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
25 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
20 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
15 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
10 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
20 | L | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | L | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | L | uc: 0; k: 2; U: 0 |  |  |  | ---
---
1 | Qt | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | Pt | uc: 0; k: 2; U: 0 |  |  |  | ---
1/2 | Pt | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Volume Transfer II
Lab Name |  |  | Procedure |  | Scope
Date
|  |  | Specify variable source. | [7 empty] | Class | HB 105-3, 105-7, 105-2, ASTM
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Std Used | Tolerance | Pn | Comments
5000 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
3000 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
2000 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
1500 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
1000 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
500 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
25 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | gal | uc: 0; k: 2; U: 0 |  |  |  | ---
---
20 | L | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | L | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | L | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | Qt | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | Pt | uc: 0; k: 2; U: 0 |  |  |  | ---
1/2 | Pt | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Glassware Tolerances
TOLERANCES FOR GLASSWARE
| US PHARMACOPEIA |  |  | NNN-C-940B | NNN-B0--789a |  | NNN-P-395C |  | NNN-P-00350b |  | OIML R 4 (Edition 1972) |  | ISO 1042:1998 (E) |  |  |  | OIML R 41 (Edition 1981) | ISO/DIS 385 |  | OIML R 43 (Edition 1981) |  | ISO/DIS 4788 |  |  | OIML R 40 Edition 1981 | ISO/WD 835 |  | OIML D 26 1999 | NBS 602 1963 Ed |  |  |  |  | HB 105-2 1996 Ed |  | ASTM E 237 |  |  | ASTM E 287 |  | ASTM E 288 |  | ASTM E 193 | ASTM E 1293
Capacity (ml) | Chapter 31 (Volumetric Apparatus) |  |  | Table I (Graduated Cylinders) | Table I (Burets) | Table II (Burets) | Table I | Table II | Table I (Pipets) |  | (One-mark Volumetric Flasks) |  | Table 1 (One-mark Narrow-necked Volumetric Flasks) |  | Table 2 (One-mark Wide-necked Volumetric Flasks) |  | (Burette) | Table 1 (Burettes) |  | (Standard Graduated Flasks) |  | Table 1 (Cylinders) |  | Table 23 (Cylinders) | Table II | Table 1 (Pipettes) |  | Table I | Table 9 | Table 10 | Table 11 |  | Table 12 | Table 1 |  | Table 1 (Volumetric Flask) |  | Table 44 (Centrifuge Tube) | Table 1 (Buret) |  | Table 1 (Volumetric Flask) |  | Table 1 | Table 1
| Volumetric Flasks | Transfer Pipets | Burets |  | Class A1 | Class B2 | Class A1 | Class B2 | Class A1 | Class B2 | Class A | Class B | Class A1 | Class B2 | Class A1 | Class B2 |  | Class A1 & AS1 | Class B2 | Type A | Type B | Class A | Class B |  |  | Class A & AS1 | Class B2 | Automatic Pipettes | Volumetric Flasks | Transfer Pipets | Burets | Measuring Pipets | Cylindrical Graduates | Cylinder | Flask | Style I | Style II |  | Class A1 | Class B2 | Class A1 | Class B2 |  | Class A | Class B
0.1 (x 0.01) | [9 empty] | 0.005 | [34 empty] | 0.005
0.1 | [37 empty] | 0.01
0.2 (x 0.01) | [9 empty] | 0.008 | [32 empty] | 0.005
0.2 | [37 empty] | 0.02 | [6 empty] | 0.008
0.3 | [37 empty] | 0.03
0.4 | [37 empty] | 0.05
Above 0.4 | [37 empty] | 0.075
0.5 (x 0.01) | [25 empty] | 0.005 | [16 empty] | 0.01 |  | 0.01
0.5 | [6 empty] | 0.006 | 0.012
1 (x 0.01) | [8 empty] | 0.01 | 0.02 | [7 empty] | 0.006 | 0.01 | [5 empty] | 0.006 | 0.006 | 0.01 | [15 empty] | 0.02
1 (x 0.1) | [8 empty] | 0.01 | 0.02 | [33 empty] | 0.01 | 0.02
1 |  | 0.006 |  |  |  |  | 0.006 | 0.012 |  |  |  |  | 0.025 | 0.05 | [14 empty] | 0.01 | [6 empty] | 0.01 | 0.01
2 (x 0.01) | [17 empty] | 0.01 | 0.02
2 (x 0.02) | [24 empty] | 0.01 | 0.01 | 0.02
2 (x 0.1) | [8 empty] | 0.01 | 0.02 | [33 empty] | 0.01 | 0.02
2 |  | 0.006 |  |  |  |  | 0.006 | 0.012 |  |  |  |  | 0.025 | 0.05 | [15 empty] | 0.006 |  | 0.01 |  |  |  | 0.015 | [6 empty] | 0.04
3 | [6 empty] | 0.01 | 0.02 | [20 empty] | 0.015 | [6 empty] | 0.015 | [6 empty] | 0.06
4 | [6 empty] | 0.01 | 0.02 | [27 empty] | 0.02
5 (x 0.01) |  |  |  |  | 0.01 | [12 empty] | 0.01 | 0.02
5 (x 0.02) | [5 empty] | 0.02 | [11 empty] | 0.01 | 0.02
5 (x 0.05) | [24 empty] | 0.03 | 0.03 | 0.05
5 (x 0.1) |  |  |  | 0.1 |  |  |  |  | 0.02 | 0.04 | [11 empty] | 0.05 | 0.1 | [20 empty] | 0.02 | 0.04
5 (x 0.5) | [23 empty] | 0.2
5 |  | 0.01 |  |  |  |  | 0.01 | 0.02 |  |  | 0.025 | 0.05 | 0.025 | 0.05 | 0.04 | 0.08 | [11 empty] | 0.06 | 0.02 | 0.01 | 0.01 | 0.02 | 0.05 |  |  | 0.02 |  |  |  |  | 0.02 | 0.04
10 (x 0.02) |  |  | 0.02 |  | 0.02 | [12 empty] | 0.02 | 0.05
10 (x 0.05) |  |  |  |  | 0.05 | 0.04 | [10 empty] | 0.02 | 0.03 | 0.05 | [19 empty] | 0.02 | 0.04
10 (x 0.1) |  |  |  | 0.1 |  |  |  |  | 0.03 | 0.06 | [9 empty] | 0.05 |  |  |  |  | 0.05 | 0.05 | 0.1 | [16 empty] | 0.03 | 0.06
10 (x 0.2) |  |  |  | 0.1 | [17 empty] | 0.1 | 0.2
10 (x 1.0) | [23 empty] | 0.3
10 | 0.02 | 0.02 |  |  |  |  | 0.02 | 0.04 |  |  | 0.025 | 0.05 | 0.025 | 0.05 | 0.04 | 0.08 | [11 empty] | 0.08 | 0.02 | 0.02 | 0.02 | 0.03 | 0.08 |  |  | 0.02 |  |  |  |  | 0.02 | 0.04
15 | [6 empty] | 0.03 | 0.06
20 (x 0.1) | [19 empty] | 0.08 | [5 empty] | 0.1 | 0.2
20 | [6 empty] | 0.03 | 0.06 |  |  |  |  | 0.04 | 0.08 | 0.06 | 0.12 | [11 empty] | 0.12
25 (x 0.05) | [16 empty] | 0.03 | 0.03 | 0.05
25 (x 0.10) |  |  | 0.03 |  | 0.03 | 0.06 |  |  | 0.05 | 0.1 | [7 empty] | 0.05 | 0.1 | [6 empty] | 0.1 | [12 empty] | 0.03 | 0.06 |  |  |  | 0.05 | 0.1
25 (x 0.2) |  |  |  | 0.3 | [20 empty] | 0.1 | 0.1 | 0.2
25 (x 0.5) |  |  |  | 0.3 | [17 empty] | 0.25 | 0.5
25 (x 1.0) | [23 empty] | 0.5
25 | 0.03 | 0.03 |  |  |  |  | 0.03 | 0.06 |  |  | 0.04 | 0.08 | 0.04 | 0.08 | 0.06 | 0.12 | [11 empty] | 0.12 | 0.03 |  |  |  | 0.14 |  |  | 0.03 |  |  |  |  | 0.03 | 0.06
30 | [29 empty] | 0.03 | 0.03 | 0.05
40 | [6 empty] | 0.05 | 0.1
50 (x 0.10) |  |  | 0.05 |  | 0.05 | 0.1 | [10 empty] | 0.05 | 0.05 | 0.1 | [19 empty] | 0.05 | 0.1
50 (x 0.2) | [19 empty] | 0.12 | [24 empty] | 0.16
50 (x 1.0) |  |  |  | 0.4 | [17 empty] | 0.5 | 1 | [10 empty] | 0.3
50 (x 2.0) | [23 empty] | 1
50 | 0.05 | 0.05 |  |  |  |  | 0.05 | 0.1 |  |  | 0.06 | 0.12 | 0.06 | 0.12 | 0.1 | 0.2 | [11 empty] | 0.15 | 0.05 | 0.05 | 0.05 | 0.08 | 0.2 | [7 empty] | 0.05 | 0.1
100 (x 0.20) |  |  |  |  | 0.1 | 0.2 | [10 empty] | 0.1 | 0.1 | 0.2 | [19 empty] | 0.1 | 0.2
100 (x 0.5) | [19 empty] | 0.2 | [14 empty] | 0.2
100 (x 1.0) |  |  |  | 0.6 | [17 empty] | 0.5 | 1
100 (x 2.0) | [23 empty] | 1
100 | 0.08 | 0.08 |  |  |  |  | 0.08 | 0.16 |  |  | 0.1 | 0.2 | 0.1 | 0.2 | [13 empty] | 0.2 | 0.08 | 0.08 | 0.1 | 0.15 | 0.35 | [7 empty] | 0.08 | 0.16
200 (x 0.5) | [19 empty] | 0.3
200 | [6 empty] | 0.1 | 0.2 |  |  | 0.15 | 0.3 | 0.15 | 0.3 | [13 empty] | 0.4 | 0.1 | 0.1 | [10 empty] | 0.1 | 0.2
250 (x 0.5) | [19 empty] | 0.3 | [14 empty] | 0.3
250 (x 1.0) | [20 empty] | 0.3
250 (x 2.0) |  |  |  | 1.4 | [17 empty] | 1 | 2
250 (x 5.0) | [23 empty] | 2
250 | 0.12 | [9 empty] | 0.15 | 0.3 | 0.15 | 0.3 | [13 empty] | 0.4 |  |  |  |  | 0.65 | [7 empty] | 0.12 | 0.24
300 | [28 empty] | 0.12
500 (x 1.0) | [19 empty] | 0.5 | [14 empty] | 0.5
500 (x 5.0) |  |  |  | 2.6 | [17 empty] | 2.5 | 5
500 (x 10.0) | [23 empty] | 5
500 | 0.15 | [9 empty] | 0.25 | 0.5 | 0.25 | 0.5 | [13 empty] | 0.5 | 0.15 |  |  |  | 1.1 | [7 empty] | 0.2 | 0.4
1 000 (x 1.0) | [19 empty] | 0.8 | [14 empty] | 0.8
1 000 (x 2.0) | [20 empty] | 0.8
1 000 (x 10.0) |  |  |  | 5 | [17 empty] | 5 | 10
1 000 (x 20.0) | [23 empty] | 10
1 000 (or 1 L) | 0.3 | [9 empty] | 0.4 | 0.8 | 0.4 | 0.8 | 0.6 | 1.2 | [11 empty] | 1 | 0.3 |  |  |  | 2 | [7 empty] | 0.3 | 0.6
2 000 (x 2.0) | [19 empty] | 1.2 | [14 empty] | 1.2
2 000 (x 5.0) | [20 empty] | 1.2
2 000 (x 20.0) |  |  |  | 10 | [17 empty] | 10 | 20
2 000 (x 50.0) | [23 empty] | 20
2 000 (or 2 L) | [10 empty] | 0.6 | 1.2 | 0.6 | 1.2 | [13 empty] | 1 | 0.5 |  |  |  | 3.5 | [7 empty] | 0.5 | 1
Above 2 000 | [28 empty] | 1 part in 4 000
2 500 (or 2.5 L) | [27 empty] | 1.2
5 000 (x 5.0) | [19 empty] | 2.5
5 000 (x 10.0) | [20 empty] | 2.5
5 000 (or 5 L) | [12 empty] | 1.2 | 2.4 | [13 empty] | 2.5
10 000 (x 10.0) | [19 empty] | 5
10 000 (x 20.0) | [20 empty] | 5
10 000 (or 10 L) | [27 empty] | 5
25 000 (x 2.0) | [19 empty] | 1.4
25 000 (x 5.0) | [20 empty] | 1.4
1 Serialized or Nonserialized - precision
2 General purpose
3 Corresponds to accuracy Class B in ISO 384
4 Centrifuge Tube, Conical Bottom, Stoppered & Graduated

## Volume Transfer II LPG & SVP
Lab Name |  |  | Procedure |  | Scope
Date
|  |  | Specify variable source. | [7 empty] | Class | HB 105-4, 105-7
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Std Used | Tolerance | Pn | Comments
200 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | LPG
100 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | LPG
50 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | LPG
30 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | LPG
25 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | LPG
20 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | LPG
30 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
25 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
20 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
15 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
10 | gal | uc: 0; k: 2; U: 0 |  |  |  | --- | SVP
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Length US Cust
Lab Name |  |  | Procedure |  | Scope
Date
|  |  | Specify variable source. | [7 empty] | Class | HB 44
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Std Used | Tolerance | Pn | Comments
500 | ft | uc: 0; k: 2; U: 0 |  |  |  | --- | Tape or Bench
400 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
300 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
200 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
90 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
80 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
70 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
60 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
40 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
9 | ft | uc: 0; k: 2; U: 0 |  |  |  | --- | Tape or Bench
8 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
7 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
6 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
4 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | ft | uc: 0; k: 2; U: 0 |  |  |  | ---
96 | in | uc: 0; k: 2; U: 0 |  |  |  | --- | Rigid Rule
72 | in | uc: 0; k: 2; U: 0 |  |  |  | ---
60 | in | uc: 0; k: 2; U: 0 |  |  |  | ---
48 | in | uc: 0; k: 2; U: 0 |  |  |  | ---
36 | in | uc: 0; k: 2; U: 0 |  |  |  | ---
24 | in | uc: 0; k: 2; U: 0 |  |  |  | ---
18 | in | uc: 0; k: 2; U: 0 |  |  |  | ---
12 | in | uc: 0; k: 2; U: 0 |  |  |  | ---
6 | in | uc: 0; k: 2; U: 0 |  |  |  | ---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Length Metric
Lab Name |  |  | Procedure |  | Scope
Date
|  |  | Specify variable source. | [7 empty] | Class | HB 44
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Std Used | Tolerance | Pn | Comments
90 | m | uc: 0; k: 2; U: 0 |  |  |  | --- | Tape or Bench
80 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
70 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
60 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
40 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
5 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
4 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | m | uc: 0; k: 2; U: 0 |  |  |  | ---
90 | cm | uc: 0; k: 2; U: 0 |  |  |  | --- | Rigid Rule
80 | cm | uc: 0; k: 2; U: 0 |  |  |  | ---
70 | cm | uc: 0; k: 2; U: 0 |  |  |  | ---
60 | cm | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | cm | uc: 0; k: 2; U: 0 |  |  |  | ---
40 | cm | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | cm | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | cm | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | cm | uc: 0; k: 2; U: 0 |  |  |  | ---
---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Temperature
Lab Name |  |  | Procedure |  | Scope
Date
|  |  | Specify variable source. | [7 empty] | Class | 105-6, HB 44, ASTM
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Std Used | Tolerance | Pn | Comments
200 to 250 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
150 to 200 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
100 to 150 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
50 to 100 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
20 to 50 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
20 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
1 to 20 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
Ice Point | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
0 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
-10 | °C | uc: 0; k: 2; U: 0 |  |  |  | ---
350 to 400 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
300 to 350 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
250 to 300 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
212 to 250 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
212 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
120 to 212 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
68 to 120 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
68 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
1 to 68 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
Ice Point | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
32 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
15 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
10 | °F | uc: 0; k: 2; U: 0 |  |  |  | ---
---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!

## Time & Frequency
Lab Name |  |  | Procedure |  | Scope
Date
|  |  | Specify variable source. | [7 empty] | Class | HB 44, 105-5, SP 960
Nominal | Units | us | sp | uo | uo | uo | uc | k | U | Units | Std Used | Tolerance | Pn | Comments
24 | h | uc: 0; k: 2; U: 0 |  |  |  | --- | Timing Devices
12 | h | uc: 0; k: 2; U: 0 |  |  |  | ---
6 | h | uc: 0; k: 2; U: 0 |  |  |  | ---
3 | h | uc: 0; k: 2; U: 0 |  |  |  | ---
2 | h | uc: 0; k: 2; U: 0 |  |  |  | ---
1 | h | uc: 0; k: 2; U: 0 |  |  |  | ---
10000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | --- | Frequency, Tuning Forks
9000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | ---
8000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | ---
7000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | ---
6000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | ---
5000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | ---
4000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | ---
3000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | ---
2000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | ---
1000 | Hz | uc: 0; k: 2; U: 0 |  |  |  | ---
100 | mph | uc: 0; k: 2; U: 0 |  |  |  | ---
90 | mph | uc: 0; k: 2; U: 0 |  |  |  | ---
80 | mph | uc: 0; k: 2; U: 0 |  |  |  | ---
70 | mph | uc: 0; k: 2; U: 0 |  |  |  | ---
60 | mph | uc: 0; k: 2; U: 0 |  |  |  | ---
50 | mph | uc: 0; k: 2; U: 0 |  |  |  | ---
40 | mph | uc: 0; k: 2; U: 0 |  |  |  | ---
30 | mph | uc: 0; k: 2; U: 0 |  |  |  | ---
---
Note on C5: Administrator: Uncertainty of Standard at k=1 from calibration report.
Note on D5: Administrator: Standard deviation of the process from check standard data over time, estimate from range chart, or pooled standard deviations.
Note on J5: Round or Format all expanded uncertainties to two significant digits!