## Final
METCALF COMBINED CYCLE POWER PLANT
EMISSIONS SOURCES for PM and PM10 | [10 empty] | EMISSIONS SOURCES FOR CRITERIA POLLUTANTS
Process ID # | Process # | Process Name | Details | Control Device | Emissions | [5 empty] | Process ID # | Name | Power Generation | Fuel Used | Emission Factor | [5 empty] | Emission
[5 empty] | Non-Fugitive- PDMI |  | Fugitive |  | Non-Fugitive- ADEQ | [5 empty] | PM10 | PM | SO2 | NOx | CO | VOC | PM10 | PM | SO2 | NOx | CO | VOC
[5 empty] | PM10 | PM | PM10 | PM | PM10 | PM |  |  | MMBtu/year | 106 ft3/year | lbs./MMBtu/ lbs/106 ft3 | [5 empty] | tons/year
ton/year
001 | 001 | Mine Haul Roads |  |  |  |  | 998.7 | 5945.5 |  |  | 005-108 | Turbine #1 | 871620 | 842 | 0.0066 | 0.0066 | 0.094 x S% | 0.32 | 0.082 | 0.0021 | 2.8763 | 2.8763 | 0.33 | 139.4592 | 35.7364 | 0.9152 | 005-108
| 002 | Truck Loading/Unloading |  |  |  |  | 330 | 683
| 003 | Blasting |  |  |  |  | 115 | 220 |  |  | 005-109 | Boiler #1 | 454318 | 439 | 7.6 | 7.6 | 0.6 | 280 | 84 | 5.5 | 1.6682 | 1.6682 | 0.1317 | 61.46 | 18.438 | 1.2072 | 005-109
| 004 | Drilling |  |  |  |  | 40.15 | 80.3
| 186 | Feed Hopper/ Crusher #1 |  |  |  |  | 13.2 | 32.9 |  |  | 005-110 | Turbine #2 | 871620 | 842 | 0.0066 | 0.0066 | 0.094 x S% | 0.32 | 0.082 | 0.0021 | 2.8763 | 2.8763 | 0.33 | 139.4592 | 35.7364 | 0.9152 | 005-110
Transfer
| 187 | Feed Hopper/ Crusher #2 |  |  |  |  | 13.2 | 32.9 |  |  | 005-111 | Boiler #2 | 454318 | 439 | 7.6 | 7.6 | 0.6 | 280 | 84 | 5.5 | 1.6682 | 1.6682 | 0.1317 | 61.46 | 18.438 | 1.2072 | 005-111
Transfer
| 249 | Feed Hopper/ Crusher #3 |  |  |  |  | 13.2 | 32.9 |  |  | 005-108+001-110 | Turbine #1 & 2 | 871620 | 842 | 0.0066 | 0.0066 | 0.094 x S% | 0.32 | 0.082 | 0.0021 | 2.8763 | 2.8763 | 0.33 | 139.4592 | 35.7364 | 0.9152 | 005-108+001-110
Transfer
| 005 | In-Pit Crusher #1 | Crusher #1 to DC1 | Wet Scrubber | 10.32 | 10.32 |  |  |  |  | 005-109+005-111 | Boiler #1 & 2 | 454318 | 439 | 7.6 | 7.6 | 0.6 | 280 | 84 | 5.5 | 1.6682 | 1.6682 | 0.1317 | 61.46 | 18.438 | 1.2072 | 005-109+005-111
| 006 | In-Pit Crusher #2 | Crusher #2 to DC2 | FFDC | 0.48 | 0.96
| 007 | DC1/P8 Transfer Point | DC1/P8 Transfer Point | FFDC | 1.92 | 1.92 |  |  |  |  | 005-260 | Cooling Tower #1 | 1026 |  | 0.00025 | 0.00025 |  |  |  |  | 1.1235 | 1.1235
| 250 | In-Pit Crusher #3 | Addition as per revised application; 09/28 | FFDC | 4.51 | 4.51 | [6 empty] | 1000 gallons/hr |  | lbs/1000 gallons
| 251 | BF3/DC3, DC3/P5 | Addition as per revised application; 09/28 | FFDC | 1.92 | 1.92 |  |  |  |  | 005-261 | Cooling Tower #1 | 1026 |  | 0.00025 | 0.00025 |  |  |  |  | 1.1235 | 1.1235
|  | Mobile Crusher & SP |  |  |  |  | 0.28 | 7.86 |  |  |  |  | 1000 gallons/hr |  | lbs/1000 gallons
|  | Flat Screen (F) | [8 empty] | TOTAL | [9 empty] | 6.7915 | 6.7915 | 0.4617 | 200.9192 | 54.1744 | 2.1225
|  | MC & SP Pile Formation |  |  |  |  | 0.28 | 7.86
| 225 | DC2P9, P9/P10, DC2/P5 | DC2 to P9, P9 to P10, & DC2 to P5 | FFDC | 0.82 | 1.64 |  |  |  |  | Total emissions are based on the fuel limitation accepted by the source. |  |  |  | SX/EW BOILERS
Transfer Points
| 010 | P8 Conveyor Outfall | P8 Conveyor Outfall |  |  |  | 2.7 | 5.6 |  |  | Process ID # | Name | Power Generation | Fuel Used | Emission Factor | [5 empty] | Emission
| 011 | Surge Pile-Fugitive |  |  |  |  | 1.15 | 2.41 | [6 empty] | PM10 | PM | SO2 | NOx | CO | VOC | PM10 | PM | SO2 | NOx | CO | VOC
| 012 | Surge Pile to Belt P2 | Surge Pile to Belt P2 | Baghouse | 8.52 | 8.52 | [6 empty] | MMBtu/hr | 106 ft3/hr | lbs./MMBtu/ lbs/106 ft3 | [5 empty] | tons/year
| 013 | P2/P4 Transfer Point | Addition as per revised application; 09/28 | FFDC | 1.92 | 1.92
| 014 | P4/P5 Transfer Point | Addition as per revised application; 09/28 | FFDC | 1.92 | 1.92 |  |  |  |  | 009-123 | Boiler #1 | 20.9 | 176.9 | [6 empty] | 0.92 | 0.92 | 0.13 | 11 | 13.75 | 1.47 | 009-123
| 015 | P5/P6 Transfer Point | Addition as per revised application; 09/28 | FFDC | 1.92 | 1.92
| 016 | P6 Conveyor Outfall |  |  |  |  | 2.7 | 5.6 |  |  | 009-184 | Boiler #2 | 20.9 | 176.9 | [6 empty] | 0.92 | 0.92 | 0.13 | 11 | 13.75 | 1.47 | 009-184
| 017 | IOS #1 |  |  |  |  | 4.6 | 9.64
| 018 | IOS #1 | IOS #1 to belts R1A and R1B | Wet Scrubber | 10.32 | 10.32 |  |  |  |  | 009-185 | Boiler #3 | 20.9 | 176.9 | [6 empty] | 0.92 | 0.92 | 0.13 | 11 | 13.75 | 1.47 | 009-185
| 019 | Portable C & S Plant | 500 TPH Crushing & Screening Plant |  | 5.07 | 14.15 | 0.36 | 0.75
[11 empty] | 005-222 | Boiler #4 | 20.9 | 176.9 | [6 empty] | 0.92 | 0.92 | 0.13 | 11 | 13.75 | 1.47 | 005-222
|  | Transfer Point | [8 empty] | 009-223 | Boiler #5 | 20.9 | 176.9 | [6 empty] | 0.92 | 0.92 | 0.13 | 11 | 13.75 | 1.47 | 009-223
| 226 | P10 Conveyor outfall | P10 Conveyor outfall |  |  |  | 2.7 | 5.7
|  | to IOS #2 | [8 empty] | 009-123, 184, 185 | Boiler #1, 2, 3, 4, 5 | 458148 | 442.3 | [6 empty] | 2.3003 | 2.3003 | 0.32504 | 27.5031 | 34.3789 | 3.6754 | 009-123, 184, 185
| 227 | IOS #2 |  |  |  |  | 5.18 | 10.9 |  |  | 009-222, 223 |  | MMBtu/year | 106 ft3/year | [12 empty] | 009-222, 223
| 228 | IOS #2/R8 transfer | IOS #2 to R8 | FFDC | 0.48 | 0.96 |  |  |  |  | TOTAL | [9 empty] | 2.3003 | 2.3003 | 0.32504 | 27.5031 | 34.3789 | 3.6754
| 229 | R8/R9 transfer | R8 to R9 | FFDC | 0.27 | 0.55
| 230 | R9/R7 transfer | R9 to R7 | FFDC | 0.27 | 0.55 |  |  |  |  | 009-301 | CPP Small Industrial | 2.6 |  | 0.01 | 0.01 |  | 0.12 | 0.138 | 0.0371 | 0.11388 | 0.11388 |  | 1.3666 | 1.5715 | 0.42249 | 009-301
|  | Total |  |  | 50.66 | 62.08 | 1543.4 | 7083.82 | 0 | 0 |  | Boiler
[11 empty] | 009-303 | CPP Dryer and | 0.00835 |  | 0.004 | 0.01 |  |  |  |  | 0.00014629 | 0.00036573 |  |  |  |  | 009-303
[12 empty] | Cyclone baghouse | tons/hour |  | lb/ton
Permit #42474 |  |  |  | Page 1 | [5 empty] | April 25, 2008 | 009-304 | CPP Material | [14 empty] | 009-304
Handling Baghouse
[11 empty] | TOTAL | [9 empty] | 2.4143 | 2.4145 | 0.32504 | 28.8697 | 35.9504 | 4.0979
Total emissions are based on the fuel limitation accepted by the source.
[11 empty] | Permit #42474 | [6 empty] | Page 4 | [7 empty] | April 25, 2008
[11 empty] | EMISSION OF VOC FRIOM SX/EW PLANTS | [6 empty] | EMISSION OF SULPHURIC ACID FROM SX/EW PLANTS
[11 empty] | Process ID # | Name | EMISSION |  |  |  |  | Process ID # | Name |  | EMISSION
[13 empty] | POUNDS / HOUR | TON/YEAR | [6 empty] | POUNDS / HOUR | TON/YEAR
[11 empty] | 009-117 | Central SX | 0.2 | 0.876 |  |  |  | 009-121 | Central Electrowinning Tankhouse |  | 3.75 | 16.425
[11 empty] | 009-118 | Metcalf SX | 0.49 | 2.1462
[11 empty] | 009-119 | Modoc SX | 0.6 | 2.628 |  |  |  | 009-122 | Southside Electrowinning Tankhouse |  | 1.34 | 5.8692
[11 empty] | 009-120 | Southwest SX | 0.29 | 1.2702
[11 empty] | 009-129 | Diluent Tank #SX7-1 | 0.02 | 0.0876 |  |  |  | 009-221 | Stargo Tankhouse |  | 1.4977 | 6.56
[11 empty] | 009-130 | Diluent Tank #SX7-2 | 0.02 | 0.0876
[11 empty] | 009-131 | Diluent Tank #SX7-3 | 0.02 | 0.0876
[11 empty] | 009-132 | Barren Organic Tank #BO-1 | 0.03 | 0.1314 |  |  |  | Total |  |  |  | 28.8542
[11 empty] | 009-133 | Barren Organic Tank #BO-2A | 0.03 | 0.1314
[11 empty] | 009-134 | Barren Organic Tank #BO-2B | 0.03 | 0.1314
[11 empty] | 009-135 | Barren Organic Tank #BO-3A | 0.03 | 0.1314
[11 empty] | 009-136 | Barren Organic Tank #BO-3B | 0.03 | 0.1314
[11 empty] | 009-137 | Barren Organic Tank #BO-4A | 0.02 | 0.0876
[11 empty] | 009-138 | Barren Organic Tank #BO-4B | 0.02 | 0.0876
[11 empty] | 009-139 | Organic Recovery Tank #OR-1 | 0.05 | 0.219
[11 empty] | 009-140 | Organic Recovery Tank #OR-2A | 0.05 | 0.219
[11 empty] | 009-141 | Organic Recovery Tank #OR-2B | 0.05 | 0.219
[11 empty] | 009-142 | Organic Recovery Tank #OR-3A | 0.05 | 0.219
[11 empty] | 009-143 | Organic Recovery Tank #OR-3B | 0.05 | 0.219
[11 empty] | 009-183 | Organic Recovery Tank #OR-4A | 0.044 | 0.19272
[11 empty] | Total |  |  | 9.3031
[11 empty] | Permit #42474 | [6 empty] | Page 5 |  |  |  | April 25, 2008
MORENCI CONCENTRATOR
[11 empty] | Process ID # | Name |  | Transfer | Emission Factor | [5 empty] | Emission
Process ID # | Process # | Process Name | Details | Control Device | Emissions | [8 empty] | Rate | PM10 | PM | SO2 | NOx | CO | VOC | PM10 | PM | SO2 | NOx | CO | VOC
[5 empty] | Non-Fugitive- PDMI |  | Fugitive |  | Non-Fugitive- ADEQ |  |  |  | MMBtu/hr | Hours | lbs./MMBtu/ lbs/106 ft3 / lb per hour | [5 empty] | tons/year
[5 empty] | PM10 | PM | PM10 | PM | PM10 | PM
[5 empty] | ton/year | [5 empty] | 014-239 | PLV Scrubber |  | 1 | 0.75 | 0.75 | 0 | 0 | 0 | 5.82 | 3.285 | 3.285 | 0 | 0 | 0 | 25.4916
Vent
002 | 030 | Morenci fine crushing |  |  | 0.89 | 1.78
LINE B
| 031 | Morenci fine crushing |  |  | 0.89 | 1.78
LINE C
| 032 | Morenci fine crushing |  |  | 0.89 | 1.78 |  |  |  |  | 014-242 | Natural Gas Start-up | 7 |  | 0.00745 | 0.00745 | 0.0006 | 0.05 | 0.082 | 0.0054 | 0.22842 | 0.22842 | 0.018396 | 1.533 | 2.5141 | 0.16556
|  | LINE D | [9 empty] | Boiler
| 035 | Fine crushing line C to |  |  | 0.5 | 1 |  |  |  |  | 014-253 | Diatomaceous Earth Unloading | 350 | 99.9 % CONTROL | 0.06 | 0.12 |  |  |  |  | 1.05e-05 | 2.1e-05 | 0 | 0 | 0 | 0
|  | belt 3B to belt 3 | [10 empty] | TPY
| 036 | Fine crushing line C to |  |  | 0.5 | 1 |  |  |  |  | 014-254 | Lime Silo | 1680 | 99.9 % CONTROL | 0.11 | 0.11 |  |  |  |  | 9.24e-05 | 9.24e-05
|  | belt 3B to belt 3A | [10 empty] | TPY
| 245 | Molybdenum Packing |  |  | 0.031 | 0.079 |  |  |  |  | TOTAL | [9 empty] | 3.5135 | 3.5135 | 0.018396 | 1.533 | 2.5141 | 25.6572
|  | TOTAL |  |  | 3.701 | 7.419 | 0 | 0
|  | LIME SLAKER PLANT | [17 empty] | TOTAL | 175.5623 | 190.7005 | 0.80513 | 231.3219 | 92.639 | 41.1806
[20 empty] | (Facility-wide) | tons/year
Process ID # | Process # | Process Name | Details | Control Device | Emissions | [15 empty] | PM10 | PM | SO2 | NOx | CO | VOC
[5 empty] | Non-Fugitive- PDMI |  | Fugitive |  | Non-Fugitive- ADEQ
[5 empty] | PM10 | PM | PM10 | PM | PM10 | PM
ton/year
004 | 231 | Lime Silo #1 | Pneumatic loading |  | 0.151 | 0.151
| 232 | Lime Silo #2 | Pneumatic loading |  | 0.151 | 0.151
| 233 | Lime Slaker #1 | Lime hydration |  | 0.94 | 0.94
| 234 | Lime Slaker #1 | Lime hydration |  | 0.94 | 0.94
|  | TOTAL |  |  | 2.182 | 2.182 |  |  |  |  | Permit #42474 | [6 empty] | Page 6 | [7 empty] | April 25, 2008
Permit #42474 |  |  |  | Page 2 | [5 empty] | April 25, 2008
Process ID # | Process # | Process Name | Details | Control Device | Emissions
[5 empty] | Non-Fugitive- PDMI |  | Fugitive |  | Non-Fugitive- ADEQ
[5 empty] | PM10 | PM | PM10 | PM | PM10 | PM
ton/year
[20 empty] | Pollutant | Emissions
003 | 077 | Bag Collector #1 | Belt R1A & R1B to R2 |  | 0.9 | 0.9 | [14 empty] | ton/yr
|  | R1A & R1B/R2 | [17 empty] | NOx | 231.3219
| 078 | Bag Collector #2 | Belt R2 to Belt R3 |  | 0.8 | 0.8 | [13 empty] | CO | 92.639
|  | R2/R3 | [17 empty] | SO2 | 0.80513
| 079 | Bag Collector #3 | Belt R3 to Belt R4 |  | 0.8 | 0.8 | [13 empty] | VOC | 41.1806
|  | R3/R4 | [17 empty] | PM | 190.7005
| 080 | Bag Collector #4 | Belt R4 to Belt R5 |  | 2.2 | 2.2 | [13 empty] | PM10 | 175.5623
|  | R4/R5 & R5/R6 | Belt R5 to Belt R6
| 082 | Scrubber #3C | 8 hopper bins |  | 13.3 | 13.3
Track Hopper
| 084 | Scrubber #3A | 3A3 and 3A2 to 4A, 3B2 to 4B, |  | 15.8 | 15.8
|  | Track Hopper | and 3C to 4C
| 085 | Scrubber #6 | Stand A to Belt 7 and 8, Stand B to |  | 18.8 | 18.8
|  | Fine Crushing | Belt 7 and 8
| 088 | Scrubber #4 | 3 tertiary surge bin, 6 conveyor head |  | 17.2 | 17.2
|  | Fine Crushing | pulley Dribble hopper
| 089 | Scrubber #5 | 7 conveyor head pulley to |  | 15.6 | 15.6
|  | Fine Crushing | 5 conveyor transfer
| 090 | Scrubber #8 | Belt 5 to Belt 6 |  | 6.7 | 6.7
Fine Crushing
| 092 | Scrubber #1 | Stand C to belt 7 and belt 8 |  | 8.9 | 8.9
Fine Crushing
| 198 | Bag collector #6 | Belt S10 to Belt S11 |  | 0.8 | 0.8
stacking system
| 201 | Bag collector #7 | Fine ore storage pile to belt A1A |  | 2.9 | 2.9
stacking system
| 202 | Bag collector #8 | Belt A1A to Belt A2A |  | 0.8 | 0.8
stacking system
| 203 | Bag collector #9 | Belt A1A to Belt A2C |  | 0.8 | 0.8
stacking system
|  | TOTAL |  |  | 106.3 | 106.3
Process #s 204 to 220 have insignificant emissions.
Permit #42474 |  |  |  | Page 3 | [5 empty] | April 25, 2008