## MC L&P
Meson Center (MC) Labyrinth and Penetration Assessment Summary
|  |  | Base Primary Beam Energy (GeV): | 800 | [5 empty] | Proposed Primary Beam Energy (GeV): | 120
|  |  | Base Primary Beam Intensity (ppp): | 20000000000000 | [5 empty] | Proposed Primary Beam Intensity (ppp): | 2000000000000 |  | 0.021922
|  |  | Base Secondary Beam Energy (GeV): | [6 empty] | Proposed Secondary Beam Energy (GeV): | 120
|  |  | Base Secondary Yield: | [6 empty] | Proposed Secondary Yield: | N/A
[10 empty] | Accelerator Cycle (seconds): | 2.9
[10 empty] | Protons per hour: | 2482758620689655
[10 empty] | Pulses allowed by interlocked detectors per hour: | 1
MC Labyrinths
Location |  |  |  | Removable | Calculated | Limits |  | Dose for | Dose | Past | Dose with |  |  | Net
Enclosure |  | Z-Location | Worksheet | Shielding | Base Dose | Cossairt | Allowed Dose | Proposal | mr/hour | Solution | Solutions | FAIL? | Solution | Attentuation
|  | (feet) | PWKS# | (efd) | mr/pulse | Category | mr/pulse | mr/pulse |  |  | mr/pulse |  | Credits | of Credits
F3 | P | 3474 | MCP01 |  | 0.0025 | 4 | 0.40278 | 5.4804e-05 | 0.068033 |  |  |  |  | 1
M01 | P | 4010 | MCP06 | 13.1 | 0.0452 | 4 | 0.40278 | 0.00099086 | 1.23 |  |  |  |  | 1
M01 | P | 4035 | MCP02 |  | 0.19333 | 3 | 0.080556 | 0.0042382 | 5.2612 |  |  |  |  | 1
M01 | P | 4112 (MS1) | MCP03 |  | 0.14033 | 3 | 0.080556 | 0.0030763 | 3.8189 |  |  |  |  | 1
M01 | P | 4250 (MS1) | MCP04 |  | 0.043 | 3 | 0.080556 | 0.00094263 | 1.1702 |  |  |  |  | 1
M02 | P | 4375 (MS2) | MEP01 |  | 0.042667 | 2 | 0.0080556 | 0.00093532 | 1.1611 |  |  |  |  | 1
M02 | P | 4550 (MS2) | MEP02 |  | 0.04 | 2 | 0.0080556 | 0.00087687 | 1.0885 |  |  |  |  | 1
M02 | P | 4550 | MEP02 | 13.2 | 5.6 | 4 | 0.40278 | 0.12276 | 152.3932 |  |  |  |  | 1
M05 | P | 5510 (to MP6) | MCP06 |  | 4.7 | 9 | 500 | 0.10303 | [5 empty] | 1
M05 | P | 5510 (to ME6) | MCP18 |  | 0.69 | 9 | 500 | 0.015126 | [5 empty] | 1
MC6 | P | 5700 | MCP05 |  | 0.09 | 9 | 500 | 0.0019729 | [5 empty] | 1
MC Penetrations
Location |  |  |  | Removable | Calculated | Limits |  | Dose for | Dose |  | Dose with |  |  | Net
Enclosure |  | Z-Location | Worksheet | Shielding | Base Dose | Cossairt | Allowed Dose | Proposal | mr/hour | Solution | Solutions | FAIL? | Solution | Attentuation
|  | (feet) | PWKS# | (efd) | mr/pulse | Category | mr/pulse | mr/pulse |  |  | mr/pulse |  | Credits | of Credits
M01 | P | 4040 | MCP16 |  | 3.5e-06 | 4 | 0.40278 | 7.6726e-08 | 9.5246e-05 |  |  |  |  | 1
M01 | P | 4060 | MCP17 |  | 1.4 | 4 | 0.40278 | 0.03069 | 38.0983 |  |  |  |  | 1
M01 | P | 4125 (MS1) | MCP14 |  | 0.04 | 3 | 0.080556 | 0.00087687 | 1.0885 |  |  |  |  | 1
M01 | P | 4128 (MS1) | MEP07 | 2.65 | 0.45 | 3 | 0.080556 | 0.0098647 | 12.2459 |  |  |  |  | 1
M01 | P | 4144 (MS1) | MEP07 | 2.65 | 0.45 | 3 | 0.080556 | 0.0098647 | 12.2459 |  |  |  |  | 1
M01 | P | 4158 (MS1) | MEP07 | 2.65 | 0.45 | 3 | 0.080556 | 0.0098647 | 12.2459 |  |  |  |  | 1
M01 | P | 4200 | MCP15 |  | 0.0002 | 4 | 0.40278 | 4.3843e-06 | 0.0054426 |  |  |  |  | 1
M02 | P | 4350 | MWP07 | Sand | 0 | 4 | 0.40278 | 0 | 0 |  |  |  |  | 1
M03 | P | 4650 | MPP06 |  | 2.1167 | 4 | 0.40278 | 0.046401 | 57.601 |  |  |  |  | 1
M03 | P | 4970 | MCP06 |  | 0.82 | 4 | 0.40278 | 0.017976 | 22.3147 |  |  |  |  | 1
M03 | P | 4985 | MCP07 | Sand | 0 | 4 | 0.40278 | 0 | 0 |  |  |  |  | 1
M04 | P | 5300 | MCP08 | Sand | 0 | 4 | 0.40278 | 0 | 0 |  |  |  |  | 1
M05 | P | 5510 | MCP09 | Sand | 0 | 4 | 0.40278 | 0 | 0 |  |  |  |  | 1
MC6-W | P | 5657 | MCP13 |  | 10.48 | 4 | 0.40278 | 0.22974 | 285.193 |  |  |  |  | 1
Solution Notations:
BP = Beam Pipe Hit. Thin beampipe causes losses to be 1/5.
MC06
Name/Date
Originated
Checked
Approved