## Final Ground Water Withdrawals
Historical Ground-Water Withdrawals in the WRIA 1 Study Area for Public Supply Systems with at Least 50 Connections
This table contains historical ground-water withdrawal data for public-supply systems with at least 50 connections. Only those systems that withdraw ground water are included in the table. Information was obtained from either the system operator or the Washington State Department of Health. If the source of the data is not listed, information was supplied by the system operator. If data were not available, spaces in the table were left blank. Annual totals were computed by adding the monthly totals of the previous 12 months. If any month was missing or if any value was for a partial month, no annual total was computed. If no annual total could be computed but an annual total was reported, this reported value was entered in the annual total column. Descriptive information about each system, such as the number of connections and population served, was obtained from Washington State Department of Health files as supplied by the Whatcom County Health and Human Services Department.
All information in this table is provisional and subject to revision. Last modified January 31, 2000.
Abbreviations used: ft, feet; gpd, gallons per day; Mg, million gallons; Mg/yr, million gallons per year.
System Name | Washington State Department of Health ID | Local ID | Total Number of Connections (as of December, 1999) | Number of Domestic Connections (as of December, 1999) | Population Served (as of December, 1999) | Primary Water Use | Domestic Use? | Municipal Use? | Industrial Use? | Agricultural Use? |  | Latitude | Longitude | Township, Range, Section | Year | Ground-Water Withdrawals (million gallons) | [12 empty] | Remarks
[16 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Annual Total
[10 empty] | Irrigation | Livestock
Acme Water District #18 | #00250 (PWS) | Well | 116 | 116 | 290 | municipal | Y | Y | N | N | N | 485258 | 1221203 | T37N, R05E, sec. 06, NW1/4, SE1/4 | 1999 | [13 empty] | Data available but not received as of January 31, 2000. During the winter the system withdraws about 35,000 gpd (31.76 Mg/yr). Withdrawals are greater during the summer. The system used to operate shallow wells, but since 1989 it operates one well reported to be about 100 ft deep.
Belfern Water Association | #05370 (PWS) | Well Field, Wells #1,2,3 (SO4) | 75 | 75 | 219 | domestic | Y | N | N | N | N | 485015 | 1223244 | T39N, R02E, sec. 27, NE1/4, SW1/4 | 1997 | 0.454 | 0.503 | 0.712 | 0.487 | 0.622 | 0.64 | 0.908 | 1.111 | 0.56677 | 0.524 | 0.555 | 0.571 | 7.6538 | Data provided by the Washington State Department of Health.
[15 empty] | 1996 | Ground-Water Withdrawals (million gallons) August: 1.25; Ground-Water Withdrawals (million gallons) September: 0.526; Ground-Water Withdrawals (million gallons) October: 0.49206; Ground-Water Withdrawals (million gallons) November: 0.443; Ground-Water Withdrawals (million gallons) December: 0.48091
Blaine, City of | #07300 (PWS) | Well #1 | 1440 | 1440 | 3175 | municipal | Y | Y | Y | Y | Y | 485903 | 1224055 | T40N, R01E, sec. 31, SE1/4, SE1/4 | 1999 | 0 | 0 | 0 | 18.389 | 22.586 | 20.852 | 17.718 | 21.35 | 5.542 | 13.521 | 21.3 | 20.916 | 162.174
[15 empty] | 1998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.671 | 10.497 | 0 | 17.168
[15 empty] | 1997 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Well #2 | [9 empty] | 485904 | 1224058 | T40N, R01E, sec. 31, SE1/4, SE1/4 | 1999 | 0 | 0 | 0 | 0 | 0.48 | 5.617 | 6.804 | 2.988 | 3.12 | 0 | 1.372 | 0.228 | 20.609
[15 empty] | 1998 | 6.343 | 6.425 | 7.545 | 7.378 | 7.905 | 7.446 | 7.31 | 7.195 | 5.217 | 1.557 | 12.291 | 0 | 76.612
[15 empty] | 1997 | 0 | 0 | 1.366 | 6.604 |  | 3.563 | 4.343 | 6.09 | 5.859 | 4.973 | 4.526 | 3.449
|  | Well #3 | [9 empty] | 485900 | 1224057 | T40N, R01E, sec.03, NW1/4, SW1/4 | 1999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 1998 | 0 | 0 | 0 | 0 | 7.601 | 7.733 | 7.579 | 6.241 | 2.285 | 0 | 0 | 0 | 31.439
[15 empty] | 1997 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0.892 | 0 | 0 | 0 | 0
|  | Well #4 | [9 empty] | 485904 | 1224043 | T40N, R01E, sec.03, NW1/4, SW1/4 | 1999 | 0 | 0 | 1.078 | 0 | 1.455 | 3.801 | 5.443 | 8.048 | 2.957 | 0 | 4.036 | 8.384 | 35.202
[15 empty] | 1998 | 10.138 | 8.825 | 10.131 | 5.091 | 8.149 | 8.141 | 8.274 | 8.323 | 6.034 | 1.386 | 0 | 0 | 74.492
[15 empty] | 1997 | 2.623 | 1.05 | 2.762 | 0 |  | 0.687 | 4.529 | 9.476 | 4.757 | 9.558 | 9.995 | 10.201
|  | Well #5 | [9 empty] | 485908 | 1224108 | T40N, R01E, sec. 31, SE1/4, SE1/4 | 1999 | 6.331 | 4.689 | 8.622 | 10.635 | 11.236 | 13.053 | 14.881 | 14.819 | 13.97 | 12.394 | 3.009 | 1.919 | 115.558
[15 empty] | 1998 | 15.276 | 13.848 | 15.325 | 6.83 | 15.268 | 14.763 | 14.61 | 14.782 | 13.9 | 7.142 | 2.611 | 3.675 | 138.03
[15 empty] | 1997 | 0 | 0 | 2.73 | 2.672 |  | 12.26 | 14.23 | 14.97 | 11.982 | 14.192 | 14.855 | 15.271
|  | Well #6 | [9 empty] | 485906 | 1224112 | T41N, R01E, sec. 31, SW1/4, SE1/4 | 1999 | 4.039 | 3.577 | 3.895 | 3.715 | 3.844 | 3.495 | 3.636 | 3.642 | 3.498 | 3.764 | 3.959 | 4.343 | 45.407
[15 empty] | 1998 | 4.128 | 3.239 | 3.574 | 4.383 | 3.619 | 3.633 | 3.633 | 3.61 | 3.446 | 3.792 | 3.803 | 4.121 | 44.981
[15 empty] | 1997 | 3.273 | 2.943 | 25.213 | 4.269 |  | 2.987 | 3.098 | 3.061 | 3.003 | 2.529 | 3.003 | 3.528
|  | Well #7 | [9 empty] | 485948 | 1224335 | T41N, R01E, sec. 31, SW1/4, SE1/4 | 1999 | 0 | 0 | 0.299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.299
[15 empty] | 1998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 1997 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Well #8 | [9 empty] | 485942 | 1224403 | T41N, R01E, sec. 31, SW1/4, SE1/4 | 1999 | 0 | 0 | 0 | 0.645 | 1.989 | 2.71 | 0 | 3.313 | 0.86 | 0 | 0 | 0 | 9.517
[15 empty] | 1998 | 2.386 | 1.609 | 2.251 | 2.234 | 1.664 | 3.03 | 3.615 | 3.603 | 1.801 | 0.271 | 0.231 | 0 | 22.695
[15 empty] | 1997 | 0 | 0 | 0 | 0 |  | 0 | 1.699 | 3.521 | 0.802 | 1.023 | 2.763 | 2.741
|  | Well #3A | [11 empty] | T40N, R01E, sec. 31, SE1/4, SE1/4 | 1999 | 25.311 | 21.132 | 22.184 | 4.354 | 0 | 0.015 | 11.739 | 15.058 | 21.048 | 8.329 | 0 | 0.69 | 129.86
[15 empty] | 1998 | Ground-Water Withdrawals (million gallons) July: 12.39; Ground-Water Withdrawals (million gallons) August: 28.161; Ground-Water Withdrawals (million gallons) September: 24.107; Ground-Water Withdrawals (million gallons) October: 22.712; Ground-Water Withdrawals (million gallons) November: 13.009; Ground-Water Withdrawals (million gallons) December: 26.642
1997
|  | Well #1A | [12 empty] | 1997 | 31.805 | 28.598 | 31.215 | 29.18 |  | 28.928 | 29.396 | 28.377 | 19.435 | 0 | 0 | 0
Central City Water Association | #12150 (PWS) | Well #1 | 112 | 112 | 175 | domestic | Y | N | N | N | N | 485124 | 1223654 | T39N, R02E, sec. 19, SW1/4, NW1/4 | 1999 | [13 empty] | Data available but not received as of January 31, 2000.
Custer Water Association | #17050 (PWS) | Well #1B | 173 | 167 | 385 | domestic | Y | N | N | N | N | 485335 | 1223809 | T39N, R01E, sec. 01, SW1/4, SW1/4 | 1999 | [13 empty] | Data available but not received as of January 31, 2000
|  | Well Field, Wells #2,3,4,5 | [9 empty] | 485334 | 1223811 |  | 1999
[12 empty] | 485335 | 1223811 |  | 1999
[12 empty] | 485336 | 1223811 |  | 1999
Deer Creek Water Association | #18418 (PWS) | Well | 465 | 390 | 1227 | domestic | Y | N | N | N | Y | 484956 | 1222833 | T39N, R03E, sec. 31, NE1/4, NW1/4 | 1999 | 3.616 | 3.091 | 0.99 | 3.749 | 0.398 | 4.382 | 5.143 | 5.198 | 5.34 | 5.313 |  |  |  | Data provided by the Washington State Department of Health. Depths of wells #1, #2, and #3 are reported to be 125 ft, 125 ft, and 130 ft, respectively.
1998
[15 empty] | 1997 | 5.037 | 3.998 | 4.389 | 4.464 | 5.09 | 5.134 | 5.609 | 6.056 | 5.32 | 4.046 | 3.094 | 3.735 | 55.972
[12 empty] | 484955 | 1222833 |  | 1996 | 4.737 | 5.174 | 4.875 | 5.751 | 4.427 | 5.418 | 7.353 | 7.993 | 4.788 | 4.472 | 5.311 | 5.79 | 66.089
[15 empty] | 1995 | 4.689 | 3.954 | 4.51 | 4.485 | 6.746 | 7.186 | 7.064 | 5.23 | 5.423 | 4.354 | 4.413 | 4.11 | 62.164
[15 empty] | 1994 | 4.171 | 3.567 | 3.903 | 3.765 | 5.482 | 5.44 | 7.678 | 8.097 | 5.361 | 4.975 | 4.365 | 4.735 | 61.539
[15 empty] | 1993 | 4.042 | 3.516 | 3.708 | 3.768 | 3.694 | 3.4 | 4.535 | 5.239 | 4.989 | 4.209 | 4.503 | 4.384 | 49.987
Delta Water Association | #18750 (PWS) | Well | 159 | 159 | 420 | domestic | Y | Y | N | N | N | 485844 | 1222358 | T40N, R03E, sec. 03, SE1/4, SE1/4 | 1999 | [13 empty] | Delta Water Association has two wells reported to be 75 & 73 ft deep, which are located near Pangborn Rd., 1/8th mile East of Northwood Road. No other data are available.
[12 empty] | 485844 | 1222355 | T40N, R03E, sec. 09, SW1/4, SE1/4 | 1999
Diablo Water System-Seattle City Light | #19200 (PWS) | Well | 54 | 49 | 60 | municipal | Y | Y | N | N | N | 484252 | 1210803 | T37N, R01E, sec. 05, SW1/4, SE1/4 | 1999 | 4.048 | 2.301 | 3.353 | 2.563 | 2.436 | 3.561 | 3.009 | 4.754 | 3.626 | 2.425 | 2.273 | 2.212 | 36.561 | This system had more connections in the past. The resident population increases by about 120 people during the summer. The depth of the well is 160 ft.
Evergreen Mobile Park and Sales | #24151 (PWS) | Wells #1,2,3 | 60 | 60 | 180 | domestic | Y | N | N | N | N | 485317 | 1223439 | T39N, R02E, sec. 08, NW1/4, SW1/4, & T39N, R02E, sec. 08, NE1/4, SW1/4 | 1999 | 0.418 | 0.383 | 0.5 | 0.529 | 0.288 | 0.319 | 0.322 | 0.331 | 0.384 | 0.42 |  |  |  | Values with an asterisk are for less than one month. Data provided by the Washington State Department of Health.
[15 empty] | 1998 | Ground-Water Withdrawals (million gallons) April: 0.332; Ground-Water Withdrawals (million gallons) May: 0.366; Ground-Water Withdrawals (million gallons) September: 0.25
[15 empty] | 1997 | 0.344 | 0.267 | 0.291 | 0.222 | 0.234 | 0.26 | 0.239 | 0.271 | 0.25 | 0.262 | 0.26 | 0.271 | 3.171
[15 empty] | 1996 | 0.408 | 0.467 | 0.332 | *0.28 |  |  | 0.988 | 0.369 | 0.257 | 0.321 | 0.273 | 0.307
[15 empty] | 1995 | 0.305 | 0.271 | 0.271 | 0.256 | 0.369 | 0.365 | 0.38 |  | 0.39 | 0.343 | 0.436 | 0.536
[15 empty] | 1994 | 0.235 | 0.261 | 0.276 | 0.297 | 0.296 | 0.282 | 0.38 | 0.407 | 0.332 | 0.293 | 0.293 | 0.299 | 3.651
[15 empty] | 1993 |  |  | *0.17 | 0.318 | 0.282 | 0.247 | 0.247 | 0.283 | 0.254 | 0.233 | 0.233 | 0.301
Everson, City of | #24200 (PWS) | East well #2, AKA Kale well, (AAE-754), East well in field SO4-Well #4 | 581 | 581 | 1824 | municipal | Y | Y | N | N | N | 485445 | 1222116 | 110 feet S, 733 feet W, of east 1/4 corner of 40N/03E-36 | 1999 | 8.543 | 8.624 | 9.056 | 8.879 | 9.603 | 9.884 | 11.698 | 11.334 | 10.281 | 10.491 | 8.849
[15 empty] | 1998 | 4.295 | 3.923 | 4.193 | 4.217 | 4.533 | 4.351 | 6.517 | 12.445 | 11.784 | 9.189 | 8.644 | 9.092 | 83.183
[15 empty] | 1997 | 5.287 | 5.369 | 5.46 | 5.815 | 5.675 | 4.844 | 4.22 | 6.229 | 4.682 | 4.731 | 4.422 | 4.451 | 61.185
[15 empty] | 1996 | 4.075 | 3.985 | 4.119 | 4.241 | 4.309 | 4.892 | 6.239 | 6.144 | 4.216 | 4.237 | 4.083 | 4.99 | 55.53
[15 empty] | 1995 | 4.31 | 3.865 | 3.732 | 3.614 | 5.044 | 4.327 | 5.602 | 4.283 | 4.987 | 4.491 | 3.996 | 3.873 | 52.124
[15 empty] | 1994 |  |  |  | 3.719 | 5.931 | 4.196 | 6.748 | 6.121 | 4.662 | 6.291 | 4.295 | 4.081
|  | East well #2, (AAE-753), Middle well in field SO5-Well #5 | [9 empty] | 485446 | 1222117 | 84 feet S, 774 feet W, of east 1/4 corner of 40N/03E-36 | 1999 | 0.313 | 0.265 | 0.29 | 0.282 | 0.31 | 0.288 | 0.288 | 0.284 | 0.272 | 0.282 | 0.274
[15 empty] | 1998 | 4.587 | 3.665 | 4.015 | 4.417 | 4.755 | 5.367 | 5.33 | 0.396 | 0.13 | 0.068 | 0.161 | 0.415 | 33.306
[15 empty] | 1997 | 6.909 | 4.865 | 6.082 | 5.679 | 5.341 | 4.704 | 5.85 | 6.138 | 5.307 | 4.276 | 4.355 | 4.066 | 63.572
[15 empty] | 1996 | 4.109 | 4.223 | 4.317 | 3.799 | 4.093 | 4.858 | 6.328 | 6.114 | 4.216 | 4.378 | 5.29 | 5.474 | 57.199
[15 empty] | 1995 | 4.16 | 3.926 | 3.894 | 3.468 | 4.535 | 4.907 | 5.188 | 4.995 | 4.627 | 4.338 | 3.97 | 4.119 | 52.127
[15 empty] | 1994 |  |  |  | 3.494 | 5.136 | 5.505 | 5.825 | 6.939 | 5.577 | 4.74 | 4.446 | 4.094
|  | West well, (AAE-752) Deep well in field SO6-Well #6 | [9 empty] | 485445 | 1222119 | 40N/03E-36 (114 feet W, of middle well) | 1999 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[15 empty] | 1998 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.002 | 0.001 | 0.001 | 0 | 0 | 0 | 0.01
[15 empty] | 1997 | 0.312 | 0.281 | 0.31 | 0.405 | 0.308 | 0.298 | 0.307 | 0.235 | 0.146 | 0.103 | 0.152 | 0 | 2.857
[15 empty] | 1996 | 0.461 | 0.429 | 0.446 | 0.443 | 0.489 | 0.552 | 0.55 | 0.551 | 0.406 | 0.335 | 0.299 | 0.318 | 5.279
[15 empty] | 1995 | 0.016 | 0.532 | 1.206 | 1.429 | 1.306 | 1.655 | 1.419 | 1.187 | 0.98 | 0.633 | 0.475 | 0.463 | 11.301
[15 empty] | 1994 |  |  |  | 1.953 | 0.205 | 0.476 | 1.077 | 0.551 | 0.017 | 0.12 | 0.035 | 0.257
Ferndale Mobile Village | #24840 (PWS) | Well | 54 | 54 | 85 | domestic | Y | N | N | N | N | 485046 | 1223628 | T39N, R02E, sec. 30, NE1/4, NW1/4 | 1999 | [13 empty] | Wells are about 30 years old. No data available.
Forest Park MHP | #25937 (PWS) | Wells #1,2 | 56 | 56 | 102 | domestic | Y | N | N | N | N |  |  | T37N, R02E, sec. 09, NW1/4, NW1/4 | 1999 | [13 empty] | In addition to pumping ground water, Forest Park Mobile Home Park also purchases water from the City of Bellingham. No data available.
Glacier Water District | #95915 (PWS) | Wells#1,2 | 682 | 56 | 150 | municipal | Y | Y | N | N | N | 485403 | 1215500 | T39N, R07E, sec. 05, SE1/4, NE1/4 | 1999 | 4.658 | 3.719 | 2.823 | 1.914 | 3.535 | 2.092 | 2.477 | 3.59 | 2.32 | 2.693 | 2.338 | 2.677 | 34.836
[15 empty] | 1998 | 2.832 | 2.584 | 2.673 | 1.901 | 1.938 | 2.463 | 2.507 | 4.152 | 2.431 | 1.968 | 2.497 | 2.544 | 30.49
[15 empty] | 1997 | 4.032 | 2.94 | 3.573 | 2.898 | 3.277 | 3.971 | 3.478 | 4.261 | 3.808 | 1.982 | 2.375 | 2.126 | 38.721
[15 empty] | 1996 | 3.177 | 3.753 | 3.195 | 3.656 | 2.748 | 4.102 | 4.372 | 4.98 | 2.696 | 2.53 | 2.636 | 4.282 | 42.127
[15 empty] | 1995 | 3.765 | 2.806 | 3.324 | 3.685 | 4.403 | 4.016 | 5.607 | 3.737 | 4.011 | 3.875 | 2.898 | 4.259 | 46.386
[15 empty] | 1994 | 3.17 | 2.368 | 2.29 | 2.238 | 3.733 | 2.899 | 3.471 | 4.898 | 4.665 | 3.43 | 3.548 | 3.162 | 39.872
[15 empty] | 1993 | 5.221 | 4.123 | 3.511 | 3.942 | 3.088 | 3.425 | 3.154 | 4.323 | 3.519 | 3.023 | 3.102 | 3.246 | 43.677
[15 empty] | 1992 | 3.139 | 2.725 | 3.357 | 2.4 | 2.6 | 4.59 | 3.829 | 4.915 | 4.267 | 2.392 | 2.77 | 3.046 | 40.03
[15 empty] | 1991 | 5.583 | 3.868 | 3.659 | 4.032 | 2.653 | 2.683 | 4.259 | 4.292 | 3.924 | 4.754 | 3.448 | 4.715 | 47.87
[15 empty] | 1990 | 5.194 | 3.782 | 3.765 | 3.755 | 4.62 | 4.2 | 7.543 | 5.642 | 3.41 | 4.028 | 3.351 | 5.396 | 54.686
[15 empty] | 1989 |  |  |  |  | 3.735 | 4.017 | 4.159 | 5.763 | 8.38 | 6.609 | 4.26 | 4.957 | 41.88
Gooseberry Point Community Water Association | #28550 (PWS) | Well SO2 | 134 | 134 | 266 | domestic | Y | N | N | N | N | 484410 | 1223951 | T38N, R01E, sec. 34, SE1/4, SE1/4 & T38N, R01E, sec. 34, NE1/4, SE1/4 | 1999 | Ground-Water Withdrawals (million gallons) January: 0.635; Ground-Water Withdrawals (million gallons) February: 0.53; Ground-Water Withdrawals (million gallons) April: 0.562; Ground-Water Withdrawals (million gallons) May: 0.626; Ground-Water Withdrawals (million gallons) June: 0.655; Ground-Water Withdrawals (million gallons) July: 0.475; Ground-Water Withdrawals (million gallons) August: 0.452 |  | Data provided by the Washington State Department of Health.
1998
[15 empty] | 1997 | 0.894 | 0.919 | 0.957 | 0.778 | 0.893 | 0.944 | 1.235 | 1.17 | 0.666 | 0.639 | 0.767 | 0.818 | 10.68
[12 empty] | 484408 | 1223952 |  | 1996 | 0.581 | 0.782 | 0.692 | 0.648 | 0.658 | 0.877 | 1.143 | 1.006 | 0.654 | 0.64 | 0.688 | 0.987 | 9.356
[15 empty] | 1995 | 0.602 | 0.524 | 0.597 | 0.576 | 0.818 | 0.96 | 0.93 | 0.791 | 0.843 | 0.619 | 0.554 | 0.613 | 8.427
[15 empty] | 1994 | 0.657 | 0.544 | 0.645 | 0.599 | 0.86 | 0.702 | 1.088 | 0.947 | 0.623 | 0.594 | 0.599 | 0.707 | 8.565
[15 empty] | 1993 | 1.351 | 1.201 | 0.785 | 0.595 | 0.783 | 0.81 | 0.861 | 0.69 | 0.724 | 0.795 | 0.582 | 0.562 | 9.739
Guide Meridian Water Association | #30200 (PWS) | Wells #1,2, 3 | 77 | 66 | 180 | domestic | Y | N | N | N | N | 485236 | 1222902 | T39N, R03E, sec. 18, NW1/4, NW1/4 | 1999 | [13 empty] | No data available.
[12 empty] | 485237 | 1222902 |  | 1999
Hemmi Road Water Association | #32350 (PWS) | Wells #1,2 | 124 | 121 | 236 | domestic | Y | N | N | N | N | 485126 | 1222226 | T39N, R03E, sec. 24, SW1/4, NW1/4 | 1999 | Ground-Water Withdrawals (million gallons) April: 1.246; Ground-Water Withdrawals (million gallons) May: 1.565; Ground-Water Withdrawals (million gallons) June: 1.372; Ground-Water Withdrawals (million gallons) July: 1.819; Ground-Water Withdrawals (million gallons) October: 2.694; Ground-Water Withdrawals (million gallons) November: 1.337 |  | Accuracy of values prior to May 1995 is in question.
1998
1997
[12 empty] | 485108 | 1222222 |  | 1996 | Ground-Water Withdrawals (million gallons) January: 1.276; Ground-Water Withdrawals (million gallons) February: 0.998; Ground-Water Withdrawals (million gallons) March: 1.169; Ground-Water Withdrawals (million gallons) April: 1.091; Ground-Water Withdrawals (million gallons) May: 1.119
[15 empty] | 1995 | 1.476 | 1.315 | 1.404 | 1.209 |  |  | 2.21 | 1.432 | 1.489 | 1.152 | 1.072 | 0.971
[15 empty] | 1994 | 0.979 | 1.042 | 1.051 | 1.035 | 1.419 | 0.765 | 1.929 | 1.977 | 1.405 | 1.275 | 1.198 | 1.195 | 15.27
[15 empty] | 1993 | 1.497 | 1.081 | 1.252 | 1.17 | 1.334 | 1.339 | 1.292 | 1.532 | 1.454 | 1.109 | 1.109 | 1.115 | 15.284
Hilltop Water Owners Association | #33364 (PWS) | Well #2 | 74 | 72 | 144 | domestic | Y | N | N | N | N | 484308 | 1224057 | T37N, R01E, sec.09, SE1/4, SW1/4 | 1999 | Ground-Water Withdrawals (million gallons) July: *0.12; Ground-Water Withdrawals (million gallons) August: 0.167; Ground-Water Withdrawals (million gallons) September: *0.11 |  | Values with asterisks are for less than one month. Data provided by Wilson Engineers.
[15 empty] | 1998 | Ground-Water Withdrawals (million gallons) July: *0.16; Ground-Water Withdrawals (million gallons) August: 0.243; Ground-Water Withdrawals (million gallons) September: *0.08
[15 empty] | 1997 | Ground-Water Withdrawals (million gallons) June: *0.12; Ground-Water Withdrawals (million gallons) July: 0.149; Ground-Water Withdrawals (million gallons) August: 0.207; Ground-Water Withdrawals (million gallons) September: 0.091
[15 empty] | 1996 | Ground-Water Withdrawals (million gallons) August: *0.02; Ground-Water Withdrawals (million gallons) September: 0.153; Ground-Water Withdrawals (million gallons) October: *0.12
|  | Well #3 | [9 empty] | 484252 | 1224128 | T37N, R01E, sec.09, SW1/4, NE1/4 | 1999 | Ground-Water Withdrawals (million gallons) July: *0.17; Ground-Water Withdrawals (million gallons) August: 0.294; Ground-Water Withdrawals (million gallons) September: *0.19
[15 empty] | 1998 | Ground-Water Withdrawals (million gallons) July: *0.27; Ground-Water Withdrawals (million gallons) August: 0.349; Ground-Water Withdrawals (million gallons) September: *0.10
[15 empty] | 1997 | Ground-Water Withdrawals (million gallons) June: *0.20; Ground-Water Withdrawals (million gallons) July: 0.283; Ground-Water Withdrawals (million gallons) August: 0.369; Ground-Water Withdrawals (million gallons) September: 0.1
[15 empty] | 1996 | Ground-Water Withdrawals (million gallons) August: *0.03; Ground-Water Withdrawals (million gallons) September: 0.026; Ground-Water Withdrawals (million gallons) October: *0.02
|  | Combined well total | [11 empty] | Locations stated above | 1999 | Ground-Water Withdrawals (million gallons) July: *0.29; Ground-Water Withdrawals (million gallons) August: 0.462; Ground-Water Withdrawals (million gallons) September: *0.30
[15 empty] | 1998 | Ground-Water Withdrawals (million gallons) July: *0.42; Ground-Water Withdrawals (million gallons) August: 0.592; Ground-Water Withdrawals (million gallons) September: *0.17
[15 empty] | 1997 | Ground-Water Withdrawals (million gallons) June: *0.32; Ground-Water Withdrawals (million gallons) July: 0.432; Ground-Water Withdrawals (million gallons) August: 0.577; Ground-Water Withdrawals (million gallons) September: 0.191
[15 empty] | 1996 | Ground-Water Withdrawals (million gallons) August: *0.05; Ground-Water Withdrawals (million gallons) September: 0.179; Ground-Water Withdrawals (million gallons) October: *0.14
Joe Louie Water Association | #29014 (PWS) | Well | 156 | 156 | 346 | domestic | Y | N | N | Y | Y | 485314 | 1222100 | T39N, R04E, sec. 07, SW1/4, NW1/4 | 1999 | [13 empty] | Water system has two wells that are each reported to be about 60 ft deep. The system operator estimates average annual withdrawals of about 80 acre-feet (26.2 Mg). The system started operating in 1982.
Lamplighter mobile Home Court | #45675 (PWS) | Wells #1,2 | 51 | 51 | 110 | domestic | Y | N | N | N | N | 485046 | 1223637 | T39N, R02E, sec. 30, SE1/4, NW1/4 | 1999 | [13 empty] | No data available.
Lummi Water District | IH480 (PWS) | Kinley Way Well | 635 | 635 | 2580 | municipal | Y | Y | N | N | N | 484442 | 1223948 | T38N, R01E, sec. 26, SW1/4, SE1/4 | 1999 | [13 empty] | Data available but not released.
|  | Cultee Well | [9 empty] | 484452 | 1223937 | T38N, R01E, sec. 26, SW1/4, SE1/4 | 1999
|  | Well | [9 empty] | 484456 | 1223843 | T38N, R01E, sec. 35, SW1/4, SW1/4 | 1999
|  | Well | [9 empty] | 484457 | 1223924 | T38N, R01E, sec. 35, SW1/4, SW1/4 | 1999
Manthey's Country Mobile Park | #50900 (PWS) | Well | 58 | 58 | 120 | domestic | Y | N | N | N | N | 485059 | 1223129 | T39N, R02E, sec. 23, SW1/4, SE1/4 | 1999 | [13 empty] | No data available.
Maple Falls Water Coop | #51100 (PWS) | Wells #1,2 | 85 | 79 | 180 | domestic | Y | N | N | N | N | 485528 | 1220446 | T40N, R06E, sec. 30, NE1/4, SW1/4 | 1999 | [13 empty] | No data available.
[12 empty] | 485528 | 1220447 |  | 1999
Meadowdale Water Association | #53250 (PWS) | Well #1 | 128 | 128 | 425 | domestic | Y | N | N | N | N | 485826 | 1221949 | T40N, R03E, sec. 15, NE1/4, SW1/4 | 1999 | [13 empty] | No data available. The water system purchases water from the City of Lynden to supplement its own withdrawals.
|  | Well #2 | [12 empty] | 1999
|  | Well #3 | [11 empty] | T40N, R04E, sec. 07, SE1/4, NE1/4 | 1999
|  | Well #4 | [12 empty] | 1999
Mt. Baker Water Association | #56500 (PWS) | Well #1 | 165 | 165 | 334 | domestic | Y | N | N | N | N | 484905 | 1221940 | T38N, R04E, sec. 05, NE1/4, NW1/4 | 1999 | [13 empty] | No data available.
|  | Well #2 | [9 empty] | 485028 | 1221735 | T39N, R04E, sec. 28, SW1/4, NE1/4 | 1999
Mountain View Water Association | #56900 (PWS) | Well | 73 | 73 | 186 | domestic | Y | N | N | N | N | 485557 | 1223031 | T39N, R01E, sec. 24, NE1/4, SE1/4 | 1999 | [12 empty] | 6.367 | No monthly data available.
[15 empty] | 1998 | [12 empty] | 6.569
[15 empty] | 1997 | [12 empty] | 7.205
Neptune Beach | #58950 (PWS) | Wells #1,2,3 | 79 | 79 | 81 | domestic | Y | N | N | N | N | 484859 | 1224211 | T38N, R01E, sec. 04, SW1/4, NW1/4 | 1999 | 0.292 | 0.255 | 0.301 | 0.311 | 0.355 | 0.42 | 0.534 | 0.256 | 0.375 | 0.317 |  |  |  | Data provided by the Washington State Department of Health.
1998
[15 empty] | 1997 | 0.32312 | 0.2811 | 0.32725 | 0.31218 | 0.36826 | 0.368 | 0.457 | 0.56564 | 0.37648 | 0.305 | 0.277 | 0.27997 | 4.241
[15 empty] | 1996 | 0.30732 | 0.45359 | 0.31065 | 0.30732 | 0.31123 | 0.41214 | 0.57791 | 0.51952 | 0.33903 | 0.32126 | 0.3501 | 0.3604 | 4.5705
[15 empty] | 1995 | 0.30054 | 0.262 | 0.29471 | 0.30746 | 0.433 | 0.448 | 0.55289 | 0.45637 | 0.37589 | 0.31277 | 0.304 | 0.34287 | 4.3905
[15 empty] | 1994 | 0.337 | 0.274 | 0.32777 | 0.27079 | 0.42695 | 0.37367 | 0.55612 | 0.554 | 0.35732 | 0.315 | 0.29946 | 0.489 | 4.5811
[15 empty] | 1993 | 0.3272 | 0.286 | 0.33143 | 0.364 | 0.359 | 0.34 | 0.425 | 0.43787 | 0.40716 | 0.32157 | 0.315 | 0.32038 | 4.2346
Newhalem Water Service | #59250 (PWS) | Newhalem Well (Seattle City Light) | 52 | 29 | 70 | municipal | Y | Y | N | N | N | 484024 | 1211445 | T37N, R12E, sec. 29, NE1/4, NE1/4 & T37N, R12E, sec. 05, NE1/4, NW1/4 & T37N, R12E, sec.20, SW1/4, SE1/4 | 1996 | 0.012 | 0.023 | 0.034 | 0.035 | 0.038 | 0.063 | 0.095 | 0.204 | 0.04 |  |  |  |  | Value with asterisk is higher than usual for that month because the system leaked. Less than 10 percent of withdrawals are domestic, the remainder is municipal.
[15 empty] | 1995 | 0.02 | 0.025 | 0.042 | 0.202 | 0.156 | 0.097 | 0.219 | 0.603 | 0.094 | 0.037 | 0.02 | 0.016 | 1.531
[15 empty] | 1994 | 0.02 | *0.90 | 0.037 | 0.04 | 0.072 | 0.065 | 0.313 | 0.142 | 0.124 | 0.038 | 0.031 | 0.024 | 0.906
[15 empty] | 1993 | Ground-Water Withdrawals (million gallons) August: 0.122; Ground-Water Withdrawals (million gallons) September: 0.082; Ground-Water Withdrawals (million gallons) October: 0.037; Ground-Water Withdrawals (million gallons) November: 0.02; Ground-Water Withdrawals (million gallons) December: 0.013
North Star Water Association | #61350 (PWS) | Well | 57 | 54 | 140 | domestic | Y | N | N | N | N | 485147 | 1223901 | T39N, R01E, sec. 14, SE1/4, SW1/4 | 1999 | 0.325 | 0.325 | 0.311 | 0.322 | 0.361 | 0.4 | 0.501 | 0.505 | 0.397 | 0.326 |  |  |  | 1999 data provided by the Washington State Department of Health.
[15 empty] | 1998 | 0.382 | 0.322 | 0.425 | 0.376 | 0.346 | 0.396 | 0.481 | 0.506 | 0.419 | 0.319 | 0.291 | 0.314 | 4.577
[15 empty] | 1997 | 0.54 | 0.348 | 0.37 | 0.347 | 0.38 | 0.381 | 0.444 | 0.553 | 0.482 | 0.522 | 0.37 | 0.39 | 5.127
[15 empty] | 1996 | 0.927 | 0.477 | 0.447 | 0.358 | 0.352 | 0.506 | 0.585 | 0.736 | 0.426 | 0.374 | 0.611 | 0.622 | 6.421
[15 empty] | 1995 | 0.37 | 0.33 | 0.36 | 0.377 | 0.497 | 0.461 | 0.534 | 0.405 | 0.462 | 0.39 | 0.356 | 0.735 | 5.277
Northwest Water Association | #62000 (PWS) | Well | 126 | 126 | 400 | domestic | Y | N | N | N | N | 484949 | 1223244 | T39N, R02E, sec. 34, NW1/4, NW1/4 | 1999 | 0.951 | 0.876 | 0.835 | 0.837 | 0.843 | 0.768 | 0.768 | 0.85 | 0.806 | 0.79 |  |  |  | Data provided by the Washington State Department of Health.
[12 empty] | 484949 | 1223246 |  | 1998 | Ground-Water Withdrawals (million gallons) March: 0.0018; Ground-Water Withdrawals (million gallons) April: 0.018; Ground-Water Withdrawals (million gallons) May: 0.006; Ground-Water Withdrawals (million gallons) October: 0.187
[12 empty] | 484948 | 1223245 |  | 1997 | 0.627 | 0.12 | 0.899 | 0.907 | 1.101 | 1.147 | 1.399 | 1.584 | 1.006 | 0.907 | 0.774 | 1.018 | 11.489
[12 empty] | 484948 | 1223243 |  | 1996 | Ground-Water Withdrawals (million gallons) June: 1.232; Ground-Water Withdrawals (million gallons) July: 1.401; Ground-Water Withdrawals (million gallons) August: 1.654; Ground-Water Withdrawals (million gallons) September: 1.064; Ground-Water Withdrawals (million gallons) October: 1.126; Ground-Water Withdrawals (million gallons) November: 1.081; Ground-Water Withdrawals (million gallons) December: 1.295
Old Settlers Water association | #63350 (PWS) | Well | 109 | 109 | 300 | domestic | Y | N | N | N | N | 485337 | 1223934 | T39N, R01E, sec. 03, NE1/4, NE1/4 | 1999 | [13 empty] | Not known if data are available.
[12 empty] | 485330 | 1223934 | T39N, R01E, sec. 10, NE1/4, NE1/4 | 1999
[12 empty] | 485330 | 1223838 | T39N, R01E, sec. 11, NW1/4, NE1/4 | 1999
[12 empty] | 485329 | 1223838 |  | 1999
Orchard Water Association | #64150 (PWS) | Well #1 | 51 | 51 | 153 | domestic | Y | N | N | N | N | 485240 | 1223641 | T39N, R02E, sec. 07, SW1/4, SW1/4 | 1999 | [13 empty] | Data available but not received as of January 31, 2000.
|  | Well #2 | [9 empty] | 485242 | 1223645 |  | 1999
Paradise Lakes Country Club | #66110 (PWS) | Well | 1691 | 427 | 1120 | domestic | Y | N | N | N | N | 485546 | 1220830 | T40N, R05E, sec. 22, NW1/4, SE1/4 | 1999 | [13 empty] | This system uses three wells with reported depths of 115, 90, and 77 ft. These wells have been in use since the early & mid-seventies, with no significant increase in withdrawals until recently. About 320 connections are for a campground. Data provided by the Washington State Department of Health. Data with asterisks are estimates.
[12 empty] | 485644 | 1220904 | T40N, R05E, sec. 16, NW1/4, SW1/4 | 1998
[12 empty] | 485710 | 1220908 | T40N, R05E, sec. 15, SW1/4, SW1/4 | 1997 |  | *10 |  | 9.867 | 12.928 | 11.999 | 15.931 | 14.202 | 7.115 | 12.545 |  |  | *155
Paradise Park Water System | #66116 (PWS) | Well (SO3) | 52 | 52 | 200 | domestic | Y | N | N | N | N | 485127 | 1223255 | T39N, R02E, sec. 22, SW1/4, NW1/4 | 1999 | 0.275 | 0.241 | 0.288 | 0.232 | 0.37 | 0.496 | 0.452 | 0.989 | 0.491 | 0.342 |  |  |  | Data provided by the Washington State Department of Health.
1998
[15 empty] | 1997 | 0.289 | 0.251 | 0.296 | 0.322 | 0.318 | 0.352 | 0.651 | 1.002 | 0.398 | 0.327 | 0.327 | 0.375 | 4.908
[12 empty] | 485126 | 1223254 |  | 1996 |  | 0.234 | 0.364 | 0.304 | 0.312 | 0.102 | 0.116 |  | 0.544 | 0.385 | 0.29 | 0.288
[15 empty] | 1995 | 0.328 | 0.312 | 0.343 | 0.378 | 0.848 | 0.939 | 0.104 | 0.638 | 0.75 | 0.439 | 0.334 | 0.305 | 5.718
[15 empty] | 1994 | 0.613 | 0.443 | 0.452 | 0.461 | 0.715 |  | 0.128 | 0.126 | 0.345 |  | 0.628 | 0.347
[15 empty] | 1993 | 0.406 | 0.364 | 0.461 | 0.538 | 0.51 | 0.479 | 0.591 | 0.73 | 0.573 | 0.461 | 0.383 | 0.628 | 6.124
Percie Road Water Association | #67020 (PWS) | Well #2 | 99 | 99 | 140 | domestic | Y | N | N | N | N | 485628 | 1224036 | T40N, R01E, sec.22, NW1/4, SW1/4 | 1993 | 0.122 | 0.076 | 0.076 | 0.91 | 0.073 | 0.103 | 0.107 | 0.148 | 0.112 | 0.138 | 0.128 |  |  | Data provided by the Washington State Department of Health.
Raspberry Ridge Water Association | #27631 (PWS) | Well #1 | 62 | 61 | 120 | domestic | Y | N | N | N | N | 485321 | 1222624 | T39N, R03E, sec. 09, NW1/4, NW1/4 | 1999 | [13 empty] | No data available.
Rathbone Park Water Association | #71290 (PWS) | Well Field, Wells #2,3,4,5 | 65 | 65 | 195 | domestic | Y | N | N | N | N | 485542 | 1223125 | T40N, R02E, sec. 26, SE1/4, SW1/4 | 1999 | [13 empty] | No data available.
Roderland Water Association | #73750 (PWS) | Well #1 | 51 | 51 | 150 | domestic | Y | N | N | N | N | 485404 | 1222247 | T39N, R03E, sec. 02, SW1/4, NE1/4 | 1999 | [13 empty] | No data available. System operates one well that has been in use since 1968 and is reported to be about 34 ft deep.
Sandy Point Improvement Company | #76105 (PWS) | 8" & 12" wells, (SO3) | 653 | 653 | 1467 | domestic | Y | N | N | N | N | 484846 | 1224153 | T38N, R01E, sec. 04, SE1/4, NW1/4 | 1999 | [13 empty] | Data provided by the Washington State Department of Health.
1998
[15 empty] | 1997 | Ground-Water Withdrawals (million gallons) January: 0.127; Ground-Water Withdrawals (million gallons) February: 0.364
[15 empty] | 1996 | 0.371 | 0.404 | 0.262 | 0.409 | 0.327 |  |  | 0.572 | 0.307 | 0.378 | 0.299 | 0.403
[12 empty] | 484850 | 1224201 |  | 1995 | 0.373 | 0.639 |  | 0.34 | 0.576 | 0.417 | 0.438 | 0.467 | 0.42 | 0.386 | 0.358 | 0.354
[15 empty] | 1994 | 0.402 | 0.294 | 0.328 | 0.343 | 0.515 | 0.445 | 0.586 | 0.477 | 0.394 | 0.355 | 0.319 | 0.307 | 4.765
[15 empty] | 1993 | 0.474 | 0.481 | 0.301 | 0.41 | 0.444 | 0.376 | 0.136 | 0.318 | 0.169 | 0.368 | 0.377 | 0.491 | 4.345
Sumas, City of | #84870 (PWS) | City of Sumas Well Field, Wells #1,2 (SO1, SO2) | This water is sold to the Nooksack Water Department and the Nooksack Rural Water Association |  |  | municipal | Y | Y | Y | Y | Y | 490002 | 1221715 | T41N, R04E, sec. 33, SE1/4, NE1/4 | 1999
[15 empty] | 1998 | 1.526 | 1.422 | 1.648 | 1.585 | 1.608 | 1.888 | 2.105 | 2.375 | 2.073 | 1.672 | 1.671 | 1.662 | 21.235
[15 empty] | 1997 | 1.736 | 1.552 | 1.458 | 1.598 | 1.66 | 1.753 | 1.981 | 3.24 | 1.832 | 1.614 | 1.657 | 1.562 | 21.643
[12 empty] | 490003 | 1221717 |  | 1996 | 1.495 | 1.686 | 1.521 | 1.647 | 1.627 | 1.956 | 2.183 | 2.549 | 1.555 | 1.785 | 1.613 | 1.712 | 21.329
[15 empty] | 1995 | 1.731 | 1.367 | 1.586 | 1.697 | 1.848 | 2.034 | 2.304 | 1.952 | 1.962 | 1.922 | 1.742 | 1.59 | 21.735
|  | City of Sumas Well Field, Wells #1,2,3 (SO6) | [11 empty] | T41N, R4E, sec. 33, SE1/4, NE1/4 | 1994 | 1.437 | 1.359 | 1.516 | 1.452 | 1.812 | 1.596 | 1.831 | 2.345 | 1.757 | 1.648 | 1.613 | 1.608 | 19.974
[15 empty] | 1993 | 1.688 | 1.467 | 1.46 | 1.28 | 1.333 | 1.563 | 1.626 | 1.908 | 2.213 | 1.02 | 1.456 | 1.572 | 18.586
[12 empty] | 490004 | 1221717 |  | 1992 | 1.288 | 1.152 | 1.364 | 1.271 | 1.564 | 1.658 | 1.64 | 1.804 | 1.591 | 1.384 | 1.617 | 1.698 | 18.031
[15 empty] | 1991 | 1.815 | 1.496 | 1.512 | 1.51 | 1.4 | 1.326 | 1.822 | 1.766 | 1.575 | 1.502 | 1.306 | 1.276 | 18.306
[15 empty] | 1990 | 1.57 | 1.415 | 1.444 | 1.552 | 1.581 | 1.559 | 2.179 | 2.099 | 1.794 | 1.595 | 1.597 | 1.813 | 20.198
[15 empty] | 1989 | 1.501 | 1.44 | 1.415 | 1.381 | 1.376 | 1.563 | 1.825 | 1.736 | 1.633 | 1.596 | 1.441 | 1.433 | 18.34
|  | City of Sumas Well Field, Well #4R | 844 | 794 | 2285 | municipal | Y | Y | Y | Y | Y | 490002 | 1221716 | T41N, R04E, sec. 33, SE1/4, NE1/4 | 1999
[15 empty] | 1998 | 0.261 | 0.845 | 1.122 | 0.98 | 1.001 | 1.135 | 0.968 | 0.553 | 0.784 | 0.95 | 0.94 | 0.934 | 10.473
[15 empty] | 1997 | Ground-Water Withdrawals (million gallons) January: 1.103; Ground-Water Withdrawals (million gallons) February: 1.114; Ground-Water Withdrawals (million gallons) March: 0.954; Ground-Water Withdrawals (million gallons) April: 1.14; Ground-Water Withdrawals (million gallons) May: 1.233; Ground-Water Withdrawals (million gallons) June: 1.47
[15 empty] | 1996 | 1.118 | 1.084 | 1.003 | 0.908 | 1.089 | 1.299 | 1.37 | 1.625 | 1.084 | 1.867 |  | 1.171
[15 empty] | 1995 | 1.185 | 0.958 | 0.895 | 0.896 | 1.178 | 1.463 | 1.687 | 1.361 | 1.314 | 1.064 | 0.948 | 1.13 | 14.079
|  | City of Sumas Well Field, Well #5 | [9 empty] | 490003 | 1221715 | T41N, R04E, sec. 33, SE1/4, NE1/4 | 1999
[15 empty] | 1998 | 1.959 | 1.015 | 1.069 | 1.11 | 1.317 | 2.323 | 1.842 | 2.162 | 2.013 | 1.19 | 1.158 | 1.2 | 18.358
[15 empty] | 1997 | 1.089 | 0.89 |  |  |  | 1.001 | 1.14 | 2.754 | 2.392 | 2.129 | 2.091 | 2.164
[15 empty] | 1996 | 0.92 | 1.084 | 1.212 | 1.137 | 1.012 | 1.155 | 1.455 | 1.414 | 0.863 | 2.159 |  | 0.976
[15 empty] | 1995 | 1.01 | 1.021 | 1.133 | 1.23 | 1.378 | 1.312 | 1.129 | 1.31 | 1.107 | 1.214 | 1.138 | 0.931 | 13.913
|  | City of Sumas Well Field, Wells #4R, 5 (SO7) | [11 empty] | T41N, R04E, sec. 33, SE1/4, NE1/4 | 1994 | 1.826 | 1.654 | 1.78 | 1.798 | 2.083 | 2.034 | 2.178 | 2.824 | 2.127 | 1.914 | 1.829 | 1.888 | 23.935
[15 empty] | 1993 | 2.188 | 1.805 | 1.883 | 2.098 | 2.142 | 2.067 | 2.172 | 2.304 | 2.233 | 2.205 | 1.808 | 1.901 | 24.806
[15 empty] | 1992 | 1.973 | 1.883 | 2.181 | 2.099 | 2.278 | 2.329 | 2.612 | 2.751 | 2.355 | 2.081 | 1.841 | 1.839 | 26.222
[15 empty] | 1991 | 1.831 | 1.667 | 2.073 | 1.909 | 1.852 | 1.708 | 2.325 | 2.268 | 2.292 | 2.1 | 1.68 | 1.829 | 23.534
[15 empty] | 1990 | 1.697 | 1.388 | 1.885 | 1.758 | 1.772 | 1.632 | 2.456 | 2.61 | 1.831 | 1.81 | 1.691 | 1.677 | 22.207
[15 empty] | 1989 | 1.349 | 1.511 | 1.671 | 1.564 | 1.695 | 1.741 | 1.825 | 1.988 | 1.654 | 1.684 | 1.653 | 1.607 | 19.942
|  | May Road Well Field, Well #3 | 1 | 0 | 0 | industrial | N | Y | Y | N | N |  |  | T41N, R04E, Sec. 33, SW1/4, SW1/4 | 1999 | [13 empty] | Of the total withdrawals, 82 percent is used in a power plant in the manufacture of wood products, while the remaining 18 percent is discharged to a tributary of Johnson Creek.
[15 empty] | 1998 | 2.506 | 2.705 | 2.901 | 2.736 | 1.288 | 0.747 | 0.379 | 2.532 | 0.354 | 3.099 | 2.157 | 2.547 | 23.951
[15 empty] | 1997 | 1.944 | 0.73 | 0.165 | 0.264 | 0 | 0 | 0 | 1.375 | 2.824 | 1.746 | 2.434 | 2.56 | 14.042
[15 empty] | 1996 | 2.364 | 2.545 | 2.404 | 2.648 | 2.495 | 2.263 | 3.35 | 2.459 | 2.294 | 2.711 | 2.623 | 2.296 | 30.452
[15 empty] | 1995 | 2.687 | 2.489 | 2.612 | 2.639 | 2.79 | 2.844 | 2.352 | 2.976 | 3.042 | 2.624 | 2.542 | 2.5 | 32.097
[15 empty] | 1994 | 2.838 | 2.716 | 2.406 | 2.952 | 2.695 | 2.759 | 2.188 | 2.984 | 3.221 | 2.885 | 2.386 | 2.547 | 32.577
[15 empty] | 1993 | 0 | 0 | 0.978 | 1.444 | 2.448 | 2.819 | 2.868 | 2.672 | 2.268 | 3.164 | 2.459 | 2.623 | 23.743
[15 empty] | 1992 | 0.017 | 0.018 | 0.016 | 0.018 | 0.018 | 0.017 | 0.019 | 0.015 | 0.017 | 0.016 | 0.017 | 0.016 | 0.204
[15 empty] | 1991 | 0.02 | 0.008 | 0.011 | 0.014 | 0.015 | 0.015 | 0.016 | 0.017 | 0.015 | 0.022 | 0.017 | 0.015 | 0.185
[15 empty] | 1990 | 0.01 | 0.01 | 0.008 | 0.009 | 0.009 | 0.009 | 0.011 | 0.008 | 0.011 | 0.01 | 0.012 | 0.01 | 0.117
[15 empty] | 1989 | 0.004 | 0.007 | 0.006 | 0.007 | 0.009 | 0.012 | 0.008 | 0.01 | 0.008 | 0.009 | 0.01 | 0.005 | 0.095
Sunset Water Association | #86200 (PWS) | Well #1 | 77 | 77 | 174 | domestic | Y | N | N | N | N | 484520 | 1223916 | T38N, R01E, sec. 26, NE1/4, NE1/4 | 1999 | [13 empty] | No data available.
Valley View Water Association | #91000 (PWS) | Well #1 | 70 | 70 | 120 | domestic | Y | N | N | N | N | 485900 | 1223206 | T40N, R02E, sec. 03, NW1/4, SE1/4 | 1999 | [13 empty] | No data available.
Wahl Water Association | #92150 (PWS) | Wells #1,2,3,4,5 | 68 | 68 | 165 | domestic | Y | N | N | N | N | 485004 | 1222311 | T39N, R03E, sec. 36, NW1/4, NE1/4 | 1999 | [13 empty] | Data received too late for publication.
1999
1999
1999
1999
Whatcom County Water District #13 | #95914 (PWS) | Well #1 | 305 | 305 | 762 | municipal | Y | Y | N | N | N | 485632 | 1220902 | T40N, R05E, sec. 22, NE1/4, SE1/4 | 1999 | 2.758 | 2.031 | 2.379 | 3.37 | 2.96 | 3.228 | 4.153 | 4.472 | 4.15 | 3.25 | 3.185 | 3.429 | 39.365
[15 empty] | 1998 | 2.294 | 1.688 | 2.034 | 1.82 | 2.426 | 3.136 | 4.164 | 5.382 | 4.629 | 2.477 | 2.01 | 3.225 | 35.285
[15 empty] | 1997 | 3.916 | 3.682 | 4.074 | 3.696 | 4.177 | 3.778 | 4.512 | 5.459 | 4.187 | 2.811 | 2.13 | 3.225 | 45.647
[15 empty] | 1996 | 2.948 | 4.25 | 3.417 | 3.404 | 3.502 | 3.69 | 5.174 | 5.246 | 4.015 | 3.663 | 4.223 | 4.748 | 48.28
[15 empty] | 1995 | Ground-Water Withdrawals (million gallons) August: 3.87; Ground-Water Withdrawals (million gallons) September: 3.902; Ground-Water Withdrawals (million gallons) October: 3.473; Ground-Water Withdrawals (million gallons) November: 2.59; Ground-Water Withdrawals (million gallons) December: 2.603
Y-Squalicum Water Association | #99550 (PWS) | Well #1 | 65 | 65 | 250 | domestic | Y | N | N | N | N | 484631 | 1222051 | T38N, R04E, sec. 18, SE1/4, SW1/4 | 1999 | [13 empty] | No data available.