## Sheet1
FIELD QUALITY ASSURANCE CHECKLIST
Station Name:______________________ |  | S-Lake Drain
NAMES | Jeremy Hanlon |  |  |  | DATE | 2003-12-17
| Rebecca Leonardson |  |  |  | TIME | 15:05
STAGE
|  | Time | Stage reading (ft) | Calc. Offset (ft)
Bubbler/Keller/Sontek |  | 15:00 | 2.057 | 1.413
Staff gage |  | 15:00 | 3.47
EC
|  | Time | Standard EC | Measured EC | %
Station Reading |  | 15:00 |  | 1351 | 98.1831
Myron Ultrameter |  | 15:00 |  | 1376
ORP
|  | Time | Value
Station Reading
Myron Ultrameter |  | 15:00 | 228
pH
|  | Time | Value
Station Reading
Myron Ultrameter |  | 15:00 | 8.18
WATER TEMPERATURE
|  | Time | Value Deg. F
Station Reading |  | 15:00 | 48.53
Myron Ultrameter |  | 15:00 | 49.82
OPTICAL QUALITY
|  | Time | Fluorescence (%) | Turbidity (NTU)
SCUFA
YSI Sonde 6600
DISCHARGE
|  | Time | Velocity (ft/s) | Discharge (cfs)
Datalogger Estimate
QA Analysis |  | 15:00
NOTES: