## Table
Table B-46. Water levels and computed instantaneous discharges for Baldwin House Spring #2 (North) Flume at Cardy Lamb Springs near Moapa, Nevada, 1967-1980
Note.--Water levels in flume provided by Nevada Division of Water Resources; Discharges computed using standard
rating for 6-inch Parshall flume (Q=2.06H1.58); ft3/s: cubic feet per second
Flume
Throat |  | Water
Size |  | Level | Discharge
(inches) | Date | (feet) | (ft3/s)
6 | 1967-10-11 | 0.22 | 0.18832
6 | 1967-12-12 | 0.32 | 0.34041
6 | 1968-01-11 | 0.29 | 0.29138
6 | 1968-02-13 | 0.2 | 0.16199
6 | 1968-03-12 | 0.28 | 0.27566
6 | 1968-04-10 | 0.28 | 0.27566
6 | 1968-05-10 | 0.28 | 0.27566
6 | 1968-06-11 | 0.28 | 0.27566
6 | 1968-07-23 | 0.25 | 0.23047
6 | 1968-08-13 | 0.25 | 0.23047
6 | 1968-09-16 | 0.25 | 0.23047
6 | 1968-10-10 | 0.25 | 0.23047
6 | 1968-11-13 | 0.27 | 0.26027
6 | 1968-12-13 | 0.29 | 0.29138
6 | 1969-01-09 | 0.29 | 0.29138
6 | 1969-02-12 | 0.31 | 0.32376
6 | 1969-03-11 | 0.31 | 0.32376
6 | 1969-04-10 | 0.31 | 0.32376
6 | 1969-05-13 | 0.31 | 0.32376
6 | 1969-06-12 | 0.31 | 0.32376
6 | 1969-07-10 | 0.23 | 0.20202
6 | 1969-08-13 | 0.2 | 0.16199
6 | 1969-09-10 | 0.19 | 0.14938
6 | 1969-10-16 | 0.19 | 0.14938
6 | 1969-11-25 | 0.29 | 0.29138
6 | 1969-12-12 | 0.29 | 0.29138
6 | 1970-01-15 | 0.29 | 0.29138
6 | 1970-02-27 | 0.29 | 0.29138
6 | 1970-03-20 | 0.31 | 0.32376
6 | 1970-04-15 | 0.3 | 0.30741
6 | 1970-05-22 | 0.3 | 0.30741
6 | 1970-07-15 | 0.29 | 0.29138
6 | 1970-08-28 | 0.28 | 0.27566
6 | 1970-09-25 | 0.29 | 0.29138
6 | 1970-11-06 | 0.29 | 0.29138
6 | 1970-12-08 | 0.3 | 0.30741
6 | 1971-01-20 | 0.3 | 0.30741
6 | 1971-02-19 | 0.7 | 1.1725
6 | 1971-03-18 | 0.7 | 1.1725
6 | 1971-04-16 | 0.68 | 1.12
6 | 1971-05-21 | 0.47 | 0.62486
6 | 1971-06-23 | 0.24 | 0.21607
6 | 1971-07-21 | 0.23 | 0.20202
6 | 1971-08-25 | 0.6 | 0.91906
6 | 1974-02-22 | 0.29 | 0.29138
6 | 1974-03-06 | 0.29 | 0.29138
6 | 1974-03-20 | 0.29 | 0.29138
6 | 1974-04-03 | 0.29 | 0.29138
6 | 1974-04-18 | 0.29 | 0.29138
6 | 1974-05-01 | 0.29 | 0.29138
6 | 1974-05-15 | 0.35 | 0.39219
6 | 1974-06-05 | 0.29 | 0.29138
6 | 1974-06-19 | 0.3 | 0.30741
6 | 1974-07-03 | 0.28 | 0.27566
6 | 1974-07-17 | 0.29 | 0.29138
6 | 1974-08-07 | 0.24 | 0.21607
6 | 1974-08-21 | 0.26 | 0.2452
6 | 1974-09-04 | 0.27 | 0.26027
6 | 1974-09-18 | 0.29 | 0.29138
6 | 1974-10-02 | 0.28 | 0.27566
6 | 1974-10-23 | 0.29 | 0.29138
6 | 1974-11-06 | 0.29 | 0.29138
6 | 1974-11-20 | 0.29 | 0.29138
6 | 1974-12-04 | 0.29 | 0.29138
6 | 1974-12-18 | 0.29 | 0.29138
6 | 1975-01-08 | 0.29 | 0.29138
6 | 1975-01-22 | 0.29 | 0.29138
6 | 1975-02-04 | 0.29 | 0.29138
6 | 1975-02-18 | 0.29 | 0.29138
6 | 1975-03-05 | 0.29 | 0.29138
6 | 1975-03-19 | 0.48 | 0.64599
6 | 1975-04-16 | 0.36 | 0.41004
6 | 1975-05-07 | 0.29 | 0.29138
6 | 1975-05-21 | 0.29 | 0.29138
6 | 1975-06-04 | 0.29 | 0.29138
6 | 1975-06-18 | 0.29 | 0.29138
6 | 1975-07-09 | 0.29 | 0.29138
6 | 1975-07-23 | 0.29 | 0.29138
6 | 1975-08-07 | 0.29 | 0.29138
6 | 1975-09-03 | 0.29 | 0.29138
6 | 1975-10-07 | 0.48 | 0.64599
6 | 1975-11-05 | 0.29 | 0.29138
6 | 1975-12-03 | 0.29 | 0.29138
6 | 1976-01-07 | 0.29 | 0.29138
6 | 1976-02-05 | 0.29 | 0.29138
6 | 1976-03-03 | 0.29 | 0.29138
6 | 1976-04-07 | 0.29 | 0.29138
6 | 1976-05-05 | 0.29 | 0.29138
6 | 1976-06-02 | 0.28 | 0.27566
6 | 1976-07-07 | 0.29 | 0.29138
6 | 1976-08-02 | 0.28 | 0.27566
6 | 1976-09-01 | 0.28 | 0.27566
6 | 1976-10-06 | 0.28 | 0.27566
6 | 1976-11-09 | 0.28 | 0.27566
6 | 1976-12-09 | 0.28 | 0.27566
6 | 1977-02-03 | 0.32 | 0.34041
6 | 1977-03-02 | 0.32 | 0.34041
6 | 1977-04-06 | 0.31 | 0.32376
6 | 1977-05-04 | 0.31 | 0.32376
6 | 1977-06-02 | 0.31 | 0.32376
6 | 1977-07-06 | 0.31 | 0.32376
6 | 1977-08-03 | 0.31 | 0.32376
6 | 1977-09-07 | 0.31 | 0.32376
6 | 1977-10-05 | 0.32 | 0.34041
6 | 1977-11-02 | 0.32 | 0.34041
6 | 1977-11-22 | 0.35 | 0.39219
6 | 1977-12-07 | 0.4 | 0.48431
6 | 1978-01-04 | 0.49 | 0.66739
6 | 1978-02-04 | 0.34 | 0.37463
6 | 1978-03-15 | 0.36 | 0.41004
6 | 1978-04-05 | 0.42 | 0.52312
6 | 1978-05-03 | 0.7 | 1.1725
6 | 1978-06-07 | 0.67 | 1.0941
6 | 1978-07-06 | 0.58 | 0.87113
6 | 1978-08-02 | 0.68 | 1.12
6 | 1978-09-06 | 0.5 | 0.68903
6 | 1978-10-04 | 0.54 | 0.77812
6 | 1978-11-08 | 0.78 | 1.3912
6 | 1978-12-06 | 0.92 | 1.8057
6 | 1979-01-03 | 0.79 | 1.4194
6 | 1979-02-07 | 0.58 | 0.87113
6 | 1979-03-14 | 0.78 | 1.3912
6 | 1979-04-04 | 0.57 | 0.84752
6 | 1979-05-02 | 0.48 | 0.64599
6 | 1979-06-06 | 0.33 | 0.35737
6 | 1979-07-11 | 0.3 | 0.30741
6 | 1979-08-09 | 0.3 | 0.30741
6 | 1979-09-11 | 0.5 | 0.68903
6 | 1979-10-03 | 0.55 | 0.80101
6 | 1979-11-07 | 0.79 | 1.4194
6 | 1979-12-05 | 0.96 | 1.9313
6 | 1980-01-02 | 0.85 | 1.5935
6 | 1980-02-28 | 0.33 | 0.35737
6 | 1980-03-05 | 0.56 | 0.82415
6 | 1980-04-02 | 0.58 | 0.87113

## Data
HEIGHT OF
[9 empty] | WATER | WATER |  | MEASURING | DEPTH TO | WATER | WATER
[7 empty] | Flume |  | LEVEL | LEVEL | Discharge1 | POINT | WATER | LEVEL | LEVEL
SITE ID | PERMIT # | TWN | RNG | SEC | QTR | QTR | Size | SITE NAME | DATE | (FEET) | (ft3/s) | (FEET) | (FEET) | STATUS | METHOD | REMARKS | MEASURED BY
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1967-10-11 | 0.22 | 0.18832 | 0 | 0.22 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1967-12-12 | 0.32 | 0.34041 | 0 | 0.32 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-01-11 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-02-13 | 0.2 | 0.16199 | 0 | 0.2 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-03-12 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-04-10 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-05-10 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-06-11 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-07-23 | 0.25 | 0.23047 | 0 | 0.25 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-08-13 | 0.25 | 0.23047 | 0 | 0.25 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-09-16 | 0.25 | 0.23047 | 0 | 0.25 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-10-10 | 0.25 | 0.23047 | 0 | 0.25 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-11-13 | 0.27 | 0.26027 | 0 | 0.27 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1968-12-13 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-01-09 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-02-12 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-03-11 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-04-10 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-05-13 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-06-12 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-07-10 | 0.23 | 0.20202 | 0 | 0.23 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-08-13 | 0.2 | 0.16199 | 0 | 0.2 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-09-10 | 0.19 | 0.14938 | 0 | 0.19 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-10-16 | 0.19 | 0.14938 | 0 | 0.19 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-11-25 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1969-12-12 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-01-15 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-02-27 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-03-20 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-04-15 | 0.3 | 0.30741 | 0 | 0.3 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-05-22 | 0.3 | 0.30741 | 0 | 0.3 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-07-15 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-08-28 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-09-25 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-11-06 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1970-12-08 | 0.3 | 0.30741 | 0 | 0.3 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1971-01-20 | 0.3 | 0.30741 | 0 | 0.3 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1971-02-19 | 0.7 | 1.1725 | 0 | 0.7 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1971-03-18 | 0.7 | 1.1725 | 0 | 0.7 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1971-04-16 | 0.68 | 1.12 | 0 | 0.68 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1971-05-21 | 0.47 | 0.62486 | 0 | 0.47 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1971-06-23 | 0.24 | 0.21607 | 0 | 0.24 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1971-07-21 | 0.23 | 0.20202 | 0 | 0.23 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1971-08-25 | 0.6 | 0.91906 | 0 | 0.6 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-02-22 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-03-06 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-03-20 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-04-03 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-04-18 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-05-01 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-05-15 | 0.35 | 0.39219 | 0 | 0.35 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-06-05 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-06-19 | 0.3 | 0.30741 | 0 | 0.3 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-07-03 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-07-17 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-08-07 | 0.24 | 0.21607 | 0 | 0.24 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-08-21 | 0.26 | 0.2452 | 0 | 0.26 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-09-04 | 0.27 | 0.26027 | 0 | 0.27 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-09-18 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-10-02 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-10-23 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-11-06 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-11-20 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-12-04 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1974-12-18 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-01-08 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-01-22 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-02-04 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-02-18 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-03-05 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-03-19 | 0.48 | 0.64599 | 0 | 0.48 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-04-16 | 0.36 | 0.41004 | 0 | 0.36 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-05-07 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-05-21 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-06-04 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-06-18 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-07-09 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-07-23 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-08-07 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-09-03 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-10-07 | 0.48 | 0.64599 | 0 | 0.48 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-11-05 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1975-12-03 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-01-07 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-02-05 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-03-03 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-04-07 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-05-05 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-06-02 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-07-07 | 0.29 | 0.29138 | 0 | 0.29 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-08-02 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-09-01 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-10-06 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-11-09 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1976-12-09 | 0.28 | 0.27566 | 0 | 0.28 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-01-05 | - |  | 0 | - | Z | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-02-03 | 0.32 | 0.34041 | 0 | 0.32 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-03-02 | 0.32 | 0.34041 | 0 | 0.32 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-04-06 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-05-04 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-06-02 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-07-06 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-08-03 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-09-07 | 0.31 | 0.32376 | 0 | 0.31 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-10-05 | 0.32 | 0.34041 | 0 | 0.32 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-11-02 | 0.32 | 0.34041 | 0 | 0.32 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-11-22 | 0.35 | 0.39219 | 0 | 0.35 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1977-12-07 | 0.4 | 0.48431 | 0 | 0.4 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-01-04 | 0.49 | 0.66739 | 0 | 0.49 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-02-04 | 0.34 | 0.37463 | 0 | 0.34 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-03-15 | 0.36 | 0.41004 | 0 | 0.36 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-04-05 | 0.42 | 0.52312 | 0 | 0.42 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-05-03 | 0.7 | 1.1725 | 0 | 0.7 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-06-07 | 0.67 | 1.0941 | 0 | 0.67 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-07-06 | 0.58 | 0.87113 | 0 | 0.58 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-08-02 | 0.68 | 1.12 | 0 | 0.68 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-09-06 | 0.5 | 0.68903 | 0 | 0.5 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-10-04 | 0.54 | 0.77812 | 0 | 0.54 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-11-08 | 0.78 | 1.3912 | 0 | 0.78 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1978-12-06 | 0.92 | 1.8057 | 0 | 0.92 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-01-03 | 0.79 | 1.4194 | 0 | 0.79 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-02-07 | 0.58 | 0.87113 | 0 | 0.58 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-03-14 | 0.78 | 1.3912 | 0 | 0.78 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-04-04 | 0.57 | 0.84752 | 0 | 0.57 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-05-02 | 0.48 | 0.64599 | 0 | 0.48 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-06-06 | 0.33 | 0.35737 | 0 | 0.33 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-07-11 | 0.3 | 0.30741 | 0 | 0.3 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-08-09 | 0.3 | 0.30741 | 0 | 0.3 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-09-11 | 0.5 | 0.68903 | 0 | 0.5 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-10-03 | 0.55 | 0.80101 | 0 | 0.55 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-11-07 | 0.79 | 1.4194 | 0 | 0.79 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1979-12-05 | 0.96 | 1.9313 | 0 | 0.96 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1980-01-02 | 0.85 | 1.5935 | 0 | 0.85 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1980-02-28 | 0.33 | 0.35737 | 0 | 0.33 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1980-03-05 | 0.56 | 0.82415 | 0 | 0.56 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1980-04-02 | 0.58 | 0.87113 | 0 | 0.58 | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1980-06-11 | - |  | 0 | - | - | -
|  | S14 | E65 | 9 | SW | SW | 6 inch | Baldwin House Spring - North Flume | 1980-07-10 | - |  | 0 | - | - | -
1 Discharge computed with standard rating for 6-inch Parshall Flume (Q=2.06H1.58)