## Notes
U.S. Geological Survey Data Series 349
Total Mercury, Methylmercury, and Carbon and Nitrogen Stable Isotope Data for Biota from Selected Streams in Oregon, Wisconsin, and Florida, 2002-2004
By Lia C. Chasar, Barbara C. Scudder, Amanda H. Bell, Dennis A. Wentz, and Mark E. Brigham
Appendix 5. Summary of Wisconsin Mercury Research Laboratory results of quality-assurance/quality-control (QA/QC) standard reference material (SRM) analyses for total mercury (THg) and methylmercury (MeHg) in invertebrate samples.
NOTES FOR APPENDIX 5
These data tables are included as part of U.S. Geological Survey (USGS) Data Series 349. The data were collected during a 2002-2004 study of mercury bioaccumulation in eight streams in diverse environmental settings. See report text for details about the study, and for information on sources and compilation of ancillary data.
NOTES ON BIOLOGICAL DATA
THg, total mercury; MeHg, methylmercury; ng g-1, nanograms per gram; %, percent; CL, confidence limit; X, mean; SD, standard deviation
NIST 2976 (mussel tissue) provided by the National Institute of Standards and Technology (NIST).
IAEA-407 (fish homogenate tissue) provided by the International Atomic Energy Agency (IAEA)

## Appendix 5
Reference Material | Target value (ng g^-1) |  | 95pct CL - upper | Measured value (X plus or minus SD, in ng g^-1) | Percent recovery |  |  |  | N | Within 95 pct CL | Within 25 pct of target value
|  | 95pct CL - lower |  |  | Mean | Median | Minimum | Maximum
THg
NIST-2976 | 61 | 57.4 | 64.6 | 59.6 + 7.3 | 97.718 | 96.8628 | 77.0925 | 121.1138 | 26 | 8 | 26
IAEA-407 | 222 | 216 | 228 | 245.6 ± 37.8 | 102.0651 | 104.3088 | 52.7383 | 123.3922 | 15 | 4 | 14
MeHg
IAEA-407 | 200 | 188 | 212 | 250.9 + 28.2 | 125.4384 | 122.0067 | 103.4086 | 160.1831 | 22 | 2 | 10