## COI-NJD-NOH-I5-RATS-WOM-WOS-DC
'December 2009 | [7 empty] | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
COI | NJD | NOH | RATS | WoM | WoS | PDCI | Estimated Path Capacity | Day | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu
C | [6 empty] | COI (N-S)
COI (S-N)
| J | [5 empty] | North of John Day
|  | H |  |  |  |  | North of Hanford
|  |  | R |  |  |  | RATS N>S
RATS S>N
|  |  |  | M |  |  | West of McNary
[5 empty] | S |  | West of Slatt
[6 empty] | D | PDCI NOB (N>S)
PDCI NOB (S>N)
PDCI Power Order (N>S)
PDCI Power Order (S>N)
[7 empty] | Description | Day: Util
C | [5 empty] | D | Malin: PCB 4037 including 500kV Reactor 2 (complete repairs to PCB and Reactor) 166148 COS 1-006639 | PGE | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C 1600
C | [5 empty] | D | Malin: 500kV Reactor 4 including LBD 11L4 (Installing new annunciators, actuation device and trip circuits) 192106 COS (PAC) 1-005463 | PAC | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C 1600
| J | [5 empty] | Chief Joseph-Snohomish 4 345kV Line (Danger tree removal) 192270 COS 1-001831 | Day: BPA; 7 Mon: 0600 1800; 8 Tue: 0600 1800; 9 Wed: 0600 1800; 10 Thu: 0600 1800; 11 Fri: 0600 1800

## WoC-S, R-P, P-A & SoA
'December 2009 |  |  |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
WoC-S | RP | PA | S o A | Estimated Path Capacity | Day | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu
S |  |  |  | West of Cascades - South
| R |  |  | Raver-Paul
|  | P |  | Paul-Allston
|  |  | A | South of Allston
|  |  |  | Description | Day: Util

## WoC-N, NI & ELM
December 2009 |  |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
WoC-N | NI | ELM | NI & ELM Estimated Path Capacity | Day | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu
C |  |  | West of Cascades - North
| N |  | Estimated NI Westside (N-S)
Estimated NI Westside (S-N)
|  | E | Echo Lake-Monroe flow gate
|  |  | Description | Day: Util
| N |  | Chief Joseph-Snohomish 4 345kV Line (Danger tree removal) 192270 COS 1-001831 | Day: BPA; 7 Mon: 0600 1800; 8 Tue: 0600 1800; 9 Wed: 0600 1800; 10 Thu: 0600 1800; 11 Fri: 0600 1800

## MT>NW & WOH
'December 2009 |  |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
MT>NW | WoH | MT>NW & WoH Estimated Path Capacity | Day | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu
M |  | Estimated MT>NW (E-W) | bar: 25 Fri
Estimated MT>NW (W-E) | bar: 25 Fri
| W | Estimated WOH (E-W) | bar: 25 Fri
|  | Description | Day: Util
| W | Hatwai-Lolo 2 230kV Line (Moving structures for casino) 210093 | AVA | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C | C 1600

## ID-NW
December 2009 IDAHO-NW OUTAGES | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| Day | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu | Fri | Sat | Sun | Mon | Tue | Wed | Thu
Estimated ID-NW E>W
Estimated ID-NW W>E
Estimated LaGrande E>W
Estimated LaGrande W>E
Estimated Harney
Description | Day: Util