## Sheet1
Area | Release Point | 2001 | 2002 | 2003 | 2004 | 2005
Reactors
100-P | PAR Pond overflow to Lower Three Runs Creek (L3R-2) | 87 | 79 | 140 | 147 | 83
100-R | 105-R sumps to PAR Pond | 1 | 0 | f | 1 | 0
100-L | L-Lake overflow to Steel Creek (SC-4) Process sewer & reactor heat exchanger cooling water to L-Lake | (156)a 8 | (61)a 6 | 54 (17)a | 52 (5)a | 38 (4)a
100-K | K-Canal | 1 | 1 | 1 | 1 | 0
100-C | Process sewer to Four Mile Creek (C-Canal) | b | b | b | b | b
| Subtotal | 97 | 86 | 195 | 201 | 121
Separations
200-F | Effluent to Four Mile Creek Effluent to Upper Three Runs | 1 0 | 5 0 | 2 0 | 1 0 | 1 0
200-H | Effluent to Four Mile Creek Effluent to Upper Three Runs Effluent Treatment Facility | 6 3 1,640 | 6 3 989 | 8 10 1320 | 4 12 537 | 3 3 198
| Subtotal | 1650 | 1003 | 1340 | 554 | 205
D-Area & TNX
400-D | Process sewer to Beaver Dam Creek (400-D) | c | c | c | c | c
TNX | TNX (X-08) | d | d | d | d | d
| Subtotal | 0 | 0 | 0 | 0 | 0
A-Area
700-A | Effluent to Tims Branch (TB-2) | 1 | 0 | 1 | 1 | 0
| Subtotal | 1 | 0 | 1 | 1 | 0
Total Direct Releasese |  | 1748 | 1089 | 1536 | 756 | 326
a Not used in totals because the release was counted elsewhere
b Discontinued in 1998
c Discontinued in 1999
d Discontinued in 2001
e Because of rounding, sums of individual columns might not equal totals
f Not measured in 2003
Area |  | 2001 | 2002 | 2003 | 2004 | 2005
200-F&H | Soild Waste Disposal Facility and general Separations Area to Upper Three Runs | 470 | 275 | 462 | 215 | 75
200-F&H | Soild Waste Disposal Facility (FM3A-FM3) and H-Area seepage basin to Four Mile Creek 200-F seepage basin to Four Mile Creek 200-H seepage basin to Four Mile Creek | 411 284 161 | 381 226 95 | 390 555 206 | 253 526 211 | 592 630 242
100-K | 904-88G to Indian Grave Branch and Pen Branch | 1040 | 853 | 1170 | 722 | 641
100-P | Seepage basin to Steel Creek | 309 | 177 | d | d | d
| Total Migration | 2675 | 2007 | 2783 | 1927 | 2180
Total Direct Releasesa and Migration |  | 4423 | 3096 | 4319 | 2683 | 2506
Area |  | 2001 | 2002 | 2003 | 2004 | 2005
F & H | Upper Three Runs @ Road A (U3R-4) | 2120 | 1270 | 1790 | 764 | 276
400-D | Beaver Dam Creek @ Swamp | b | b | b | b | b
F & H | Four Mile Creek @ Road A-13 (FM-6) | 912 | 594 | 985 | 1100 | 1340
100-K | Pen Branch @ Road A (PB-3) | 1040 | 853 | 1170 | 722 | 641
100-L | Steel Creek @ Road A (SC-4) | 156 | 61 | 54 | 52 | 38
100-P | Lower Three Runs @ Road B (L3R-2) | 87 | 79 | 140 | 147 | 83
Totala Transport |  | 4315 | 2857 | 4139 | 2785 | 2378
River Sample Point |  | 2001 | 2002 | 2003 | 2004 | 2005
Tritium measured in the Savannah River |  | 5380 | 4830 | 7450 | 4670 | 5480
below SRS (RM 118.8)
Tritium measured in the Savannah River |  | 565 | 779 | 1540 | 1040 | 994
above SRS (RM 160)
Tritium measured in the Savannah River |  | 4815 | 4051 | 5910 | 3630 | 4,480c
below SRS (RM 118.8)-(RM 160)a
a Because of rounding, sums of individual columns might not equal totals
b Discontinued in 1999
c Includes 1,860 curies released from Plant Vogtle (release figure provided by Southern Nuclear/Georgia Power)
d Discontinued for measurements in 2003