Meeting of the Dental Products Panel

August 22, 2002

Gaithersburg Holiday Inn

Gaithersburg, Maryland

Thursday, August 22, 2002

8:00 - 8:10 a.m.		Welcome and Introductory Remarks

Dr. Leslie Heffez, Chair

Ms. Pamela Scott, Executive Secretary

8:15- 8:45 a.m.		Open Public Hearing*

Issue:	     Review of a Premarket Approval Application

Sponsor:   Biomet, Incorporated

Product:   Walter Lorenz Total Temporomandibular Joint Replacement System

8:45– 9:45 a.m.		Industry Presentation

9:45 - 10:00 am		Questions from the Panel for the Sponsor

10:00 - 10:30 a.m.		FDA Presentations

Ms. Angela Blackwell, Biomedical Engineer, Dental Devices Branch

Dr. Kevin Mulry, Dental Officer, Dental Devices Branch

10:30 - 10:45 a.m.		Questions from the Panel for FDA

10:45 – 11:00 a.m.		BREAK

11:00 – noon			Open Committee Discussion**

12:00 - 1:30 p.m.		LUNCH

1:30 – 2:30 p.m.		Open Committee Discussion

2:30 - 3:00 p.m.		Open Public Hearing

3:00 – 4:00 p.m.		Open Committee Discussion and Vote

4:00 – 4:15 p.m.		Closing comments

Dr. Leslie Heffez

Ms. Pamela D. Scott

4:15 p.m.			Meeting Adjourned

ISSUE: REVIEW OF PREMARKET APPROVAL APPLICATION

SPONSOR: BIOMET, INCORPORATED

PRODUCT: Walter Lorenz Total Temporomandibular Joint Replacement System

BACKGROUND

The Walter Lorenz Total Temporomandibular Joint Replacement System is implanted in the jaw to functionally reconstruct a diseased and/or damaged temporomandibular joint.  The Total TMJ Replacement System is a two component system comprised of mandibular condyle and glenoid fossa components.  Both components are available in multiple sizes as right and left side specific designs and are attached to the bone by screws.  The final device system as presented in this PMA submission includes two glenoid fossa designs, both available in small, medium, and large sizes.  One design of the glenoid fossa has a post for cement use; the other design does not have a post.  The mandibular component of the final system includes a narrow design, standard design, and an offset design (the offset design is also available in narrow and standard widths).  The narrow and offset mandibular components are available in lengths ranging from 40 to 60 mm in 5 mm increments and the standard design is available in lengths of 45 mm, 50 mm, and 55 mm.

## PANEL ACTIONS

The Panel is asked to provide a recommendation to the FDA on the above premarket approval application (PMA).  The PMA must stand on its own merits and your recommendation must be supported by safety and effectiveness data in the application.  Safety is defined as reasonable assurance, based on valid scientific evidence, that the probable benefits to health (under conditions of use) outweigh any probable risks [21CFR 860.7(d)(1)].  Effectiveness is defined as reasonable assurance that, in a significant portion of the population, the use of the device for its intended uses and conditions of use (when labeled) will provide clinically significant results [21 CFR 860.7(e)(1)].  The Panel’s recommendation options for the vote are as follows: approval, approvable with conditions and not approvable.

### DRAFT ROSTER

DENTAL PRODUCTS PANEL MEETING

| CHAIR | EXECUTIVE SECRETARY |
| --- | --- |
| Dr. Leslie Heffez | Ms. Pamela D. Scott |
| Professor and Department Head of Oral and | Biomedical Engineer, Dental Devices Branch |
| Maxillofacial Surgery | Food and Drug Administration |
| University of Illinois, Chicago | Center for Devices and Radiological Health |
| Chicago, Illinois | Office of Device Evaluation |
|  | Division of Anesthesiology, General Hospital, |
|  | Infection Control, and Dental Devices |

| VOTING PANEL MEMBERS |
| --- |
| Dr. Kristi Anseth Patten Associate Professor Department of Chemical Engineering University of Colorado Boulder, Colorado | Dr. David Cochran Professor and Chairman Department of Periodontics University of Texas Health Science Center at San Antonio San Antonio, Texas |
| Dr. Edmond Hewlett Associate Professor Division of Cariology & Restorative Dentistry University of California at Los Angeles School of Dentistry Los Angeles, California | Dr. Diane Rekow Director of Translational Research and Professor of Orthodontics New York University College of Dentistry New York, New York |
| Dr. Jon Suzuki Professor School of Dental Medicine University of Pittsburgh Pittsburgh, Pennsylvania |  |
| CONSUMER REPRESENTATIVE | INDUSTRY REPRESENTATIVE |
| Ms. Elizabeth Howe Outreach Coordinator National Foundation for Ectodermal Dysplasias Auburn, Washington | Mr. Daniel Schechter General Counsel Parkell, Inc. Farmingdale, New York |

DRAFT ROSTER (CONTINUED)

| PATIENT REPRESENTATIVE |
| --- |
| Ms. Elizabeth Helms President TMJ Society of California Sacramento, California |
| PANEL CONSULTANTS |
| Dr. Peter Bertrand Director, Orofacial Pain Clinic Specialty Advisor for Oral Facial Pain and TMD National Naval Medical Center Bethesda, Maryland | Dr. Richard Burton Assistant Professor of Oral and Maxillofacial Surgery Department of Hospital Dentistry University of Iowa Hospitals and Clinics Iowa City, Iowa |
| Dr. Janine Janosky Associate Professor Division of Biostatistics University of Pittsburg Dept. of Family Medicine and Clinical Epidemiology Pittsburgh, Pennsylvania 15261 | Dr. Stephen Li President Medical Device Testing and Innovations |
| Dr. Mark R. Patters Chair Department of Periodontology College of Dentistry University of Tennessee Memphis, Tennessee | Dr. Jan Faulk-Eggleston Chief Oral and Maxillofacial Surgery Service Brooke Army Medical Center Fort Sam Houston, Texas |

| FDA PARTICIPANTS |
| --- |
| Dr. Susan Runner Branch Chief, Dental Devices Branch Division of Anesthesiology, General Hospital, Infection Control and Dental Devices ODE/CDRH/FDA | Dr. Kevin Mulry Dental Officer, Dental Devices Branch Division of Anesthesiology, General Hospital, Infection Control and Dental Devices ODE/CDRH/FDA |
| Ms. Angela Blackwell Biomedical Engineer, Dental Devices Branch Division of Anesthesiology, General Hospital, Infection Control and Dental Devices ODE/CDRH/FDA | Ms. Phyllis Silverman Biomedical Statistician Division of Biostatistics OSB/CDRH/FDA |

# Footnotes

*Near the end of committee deliberations, a 30-minute open public session will be conducted for interested persons to address issues specific to the classification before the committee.

**Open Committee Discussion: This portion of the meeting is open to public observers.  Public attendees may not participate except at the specific request of the panel chairperson and the FDA executive secretary.

# Text boxes

Center for Devices and Radiological Health

Office of Device Evaluation