## Instructions
Media Selection Support Tool
Note: This tool should always be viewed as a support tool, that is continuously out of date, will have to be updated and augmented with your unique requirements. The tool is not making the decisions, you are. The tool will help you to organize your thoughts and assist in targeting points of discussion.
Technologies and users mutually refine criteria factors.
Steps in the process
1. (Technologists) Review technologies. New technologies may need to be added. Additional rankings may be needed. New products may need to be ranked. Additional information may change rankings,
2. (Users) Characterize intended use. Build weights appropriate to intended use. Use weight determination phase focus discussion on use.
3. With Technology ranking and User Weights run tool. Analysis
4. Use results to focus discussion on appropriate technologies. Most likely other factors will need to be considered.

## Weights
Criteria emphasize:
traits contributing to long term data preservation.
Criteria Weights | Average | Reviewer 1 | Reviewer 2 | Reviewer 3
Capacity | 10 | 10 | 10 | 10
Transfer Rate | 0
Drive Cost | 0
Drive Maint Cost | 0
Media Costs/TB | 0
Scenario Costs (Drive & Media) | 16.6667 | 20 | 15 | 15
Scenario Costs (Time to move) | 11.6667 | 10 | 10 | 15
Media Reliability | 33.3333 | 40 | 30 | 30
Product Roadmap | 18.3333 | 15 | 20 | 20
Not Single Provider | 10 | 5 | 15 | 10
Vendor Longevity | 0
Total | 100 | 100 | 100 | 100
2. (Users) Characterize intended use. Build weights appropriate to intended use. Use weight determination phase focus discussion on use.

## Analysis
Weighted Analysis
Drive | 9940B | LTO1 | LTO2 | SDLT 220 | SDLT 320
Capacity | 98 | 50 | 100 | 50 | 78
Transfer Rate | 0 | 0 | 0 | 0 | 0
Drive Cost | 0 | 0 | 0 | 0 | 0
Drive Maint Cost | 0 | 0 | 0 | 0 | 0
Media Costs/TB | 0 | 0 | 0 | 0 | 0
Scenario Costs (Drive & Media) | 96.6667 | 160 | 160 | 113.3333 | 166.6667
Scenario Costs (Time to move) | 116.6667 | 52.5 | 89.8333 | 30.3333 | 66.5
Media Reliability | 333.3333 | 256.6667 | 236.6667 | 246.6667 | 246.6667
Product Roadmap | 22 | 137.5 | 113.6667 | 183.3333 | 183.3333
Not Single Provider | 33 | 100 | 100 | 33 | 33
Vendor Longevity | 0 | 0 | 0 | 0 | 0
| 699.6667 | 756.6667 | 800.1667 | 656.6667 | 774.1667
3. With Technology ranking and User Weights run tool.

## Rankings
Ranking Summary
Drive | 9940B | LTO1 | LTO2 | SDLT 220 | SDLT 320
Capacity | 9.8 | 5 | 10 | 5 | 7.8
Transfer Rate | 10 | 4.6 | 7.8 | 2.7 | 5.7
Drive Cost | 1 | 7.8 | 5 | 10 | 7.6
Drive Maint Cost | 1 | 7.8 | 5 | 10 | 7.6
Media Costs/TB | 10 | 6.3 | 6.6 | 4.2 | 6.5
Scenario Costs (Drive & Media) | 5.8 | 9.6 | 9.6 | 6.8 | 10
Scenario Costs (Time to move) | 10 | 4.5 | 7.7 | 2.6 | 5.7
Media Reliability | 10 | 7.7 | 7.1 | 7.4 | 7.4
Product Roadmap | 1.2 | 7.5 | 6.2 | 10 | 10
Not Single Provider | 3.3 | 10 | 10 | 3.3 | 3.3
Vendor Longevity | 6.7 | 10 | 10 | 5.4 | 5.4
1. (Technologists) Review technologies. New technologies may need to be added. Additional rankings may be needed. New products may need to be ranked. Additional information may change rankings,

## Capacity
Capacity
Tape Drive Technology | Advertised Native Capacity | Measured/Estimated Native Capacity | % Of Advertised Capacity | Ranking
LTO 2 | 200 GB | 197.00 GB | 98.5% | 10
9940B | 200 GB | 193.03 GB | 96.5% | 9.8
SDLT 320 | 160 GB | 153.00 GB | 95.6% | 7.8
SDLT 220 | 110 GB | 98.83 GB | 89.8% | 5
LTO 1 | 100 GB | 97.75 GB | 97.7% | 5
SDLT 640 | 300 GB | 269.40 GB estimated | 89.8%
3590H | 60 GB

## Transfer Rate
Transfer Rate
Tape Drive Technology | Advertised Native Capacity | Measured/Estimated Native Capacity | % Of Advertised Capacity | Ranking
LTO 2 | 200 GB | 197.00 GB | 98.5% | 10
9940B | 200 GB | 193.03 GB | 96.5% | 9.8
SDLT 320 | 160 GB | 153.00 GB | 95.6% | 7.8
SDLT 220 | 110 GB | 98.83 GB | 89.8% | 5
LTO 1 | 100 GB | 97.75 GB | 97.7% | 5
SDLT 640 | 300 GB | 269.40 GB estimated | 89.8%
3590H | 60 GB
LaserTAPE | 1000 GB | 1000 GB claimed | 100% claimed

## Cost Analysis
Cost Analysis
Technology | Drive $/each | Annual Maintenance | Media $/each | Media $/TB | Ranking Drive Cost | Ranking Maint Cost | Ranking Media Cost
9940B | 30000 | 4500 | 78 | 403 | 1 | 1 | 10
LTO 2 | 5549 | 832 | 119 | 604 | 5 | 5 | 6.6
SDLT 320 | 3700 | 555 | 95 | 621 | 7.6 | 7.6 | 6.5
LTO 1 | 3568 | 535 | 63 | 644 | 7.8 | 7.8 | 6.3
SDLT 220 | 2800 | 420 | 95 | 961 | 10 | 10 | 4.2
SDLT 640 | $6,000 est. | 900 | $120 est. | 445
3590H | 33945 | 5091 | 102 | 1700
LaserTAPE | $27,000 est. | 4050 | $200 est. | 200

## Media Reliability
Media Reliability
Technology | Serpentine tracks/passes | Target Market | Tape Composition | Uncorrected Error Rate | Cartridge Construction Rating | Head Contact | Ranking
9940B | 576/36 | Enterprise | Advanced MP | 1x1018 | High usage | No contact | 10
LTO 1 | 384/48 | Backup | Metal Particle | 1x1017 | Moderate usage | Contact | 7.7
SDLT 220 | 448/56 | Backup | Advanced MP | 1x1017 | Moderate usage | Contact | 7.4
SDLT 320 | 448/56 | Backup | Advanced MP | 1x1017 | Moderate usage | Contact | 7.4
LTO 2 | 512/64 | Backup | Metal Particle | 1x1017 | Moderate usage | Contact | 7.1
SDLT 640 | Unknown | Backup | Advanced MP | Unknown | Moderate usage | Contact
3590H | 384/24 | Enterprise | Advanced MP | Unknown | High usage | Contact
LaserTAPE | Unknown | Archival | Optical | 1x1017 | Unknown | No contact

## Scenarios
Scenarios
Scenario costs (drives, 1 year maintenance, media)
Technology | 10 TB 2 drives | 100 TB 4 drives | 250 TB 6 drives | 500 TB 8 drives | Ranking
SDLT 320 | 13610 | 76.9 | 177450 | 340100 | 10
LTO 1 | 14646 | 80812 | 185618 | 354824 | 9.6
LTO 2 | 17138 | 82596 | 184294 | 346392 | 9.6
SDLT 220 | 16050 | 108980 | 259570 | 506260 | 6.8
9940B | 73030 | 178300 | 307750 | 477500 | 5.8
SDLT 640 | 18250 | 72100 | 152650 | 277700
3590H | 95072 | 326144 | 659216 | 1162288
LaserTAPE | 64100 | 144200 | 236300 | 348400
Migration Times in hours (1 write, 1 read)
Technology | 10 TB 2 drives | 100 TB 4 drives | 250 TB 6 drives | 500 TB 8 drives | Ranking
9940B | 103 | 516 | 860 | 1290 | 10
LTO 2 | 133 | 666 | 1111 | 1666 | 7.7
SDLT 320 | 180 | 901 | 1502 | 2253 | 5.7
LTO 1 | 229 | 1147 | 1911 | 2867 | 4.5
SDLT 220 | 390 | 1949 | 3248 | 4872 | 2.6
SDLT 640 | 134 | 670 | 1117 | 1676
3590H | 196 | 978 | 1630 | 2445
LaserTAPE | 69 | 347 | 579 | 868

## Vendor analyses
Vendor analyses
Company | Technology | Number Of Manufacturers | Years in business | Technology age in years | Producer Ranking | Longevity Ranking
LTO consortium | LTO | 3 | 60 avg | 2 | 10 | 10
Quantum | SDLT | 1 | 23 | 2 | 3.3 | 5.4
StorageTek | 9940 | 1 | 34 | 2 | 3.3 | 6.7

## Product Roadmap
Product Roadmap
Technology | Previous Generations Read | Future Generations Planned | Future Generations Compatible | Ranking
SDLT 320 | 2 | 3 | 3 | 10
SDLT 220 | 1 | 4 | 3 | 10
LTO 1 | 0 | 3 | 3 | 7.5
LTO 2 | 1 | 2 | 2 | 6.2
9940B | 1 | 0 | 0 | 1.2