## Actual Est. Costs of Analysis
Sector | Actual Permits | Estimated Active Permits | Activity | Selected Parameters | Monitoring Costs Per Facility |  | Annuall Increased Total for All Facilities in Subsector
[5 empty] | Cost Effective | High | Cost Effective | High
A | 130 | 12 | 1 | TSS | 40 | 40 | 480 | 480
|  | 12 | 2 | TSS | 40 | 40 | 480 | 480
|  | 12 | 3 | COD, TSS, Zinc | 156 | 168 | 1872 | 2016
|  | 12 | 4 | COD, TSS | 116 | 116 | 1392 | 1392
|  | 12 | 5 | COD, TSS | 116 | 116 | 1392 | 1392
|  | 12 | 6 | COD, TSS | 116 | 116 | 1392 | 1392
|  | 12 | 7 | COD, TSS | 116 | 116 | 1392 | 1392
|  | 12 | 8 | COD, TSS | 116 | 116 | 1392 | 1392
|  | 12 | 9 | Arsenic, Chromium, Copper, Phenols, TSS | 240 | 276 | 2880 | 3312
|  | 11 | 10 | COD, TSS | 116 | 116 | 1276 | 1276
|  | 11 | 11 | COD, TSS | 116 | 116 | 1276 | 1276
B | 95 | 19 | 1 | TSS | 40 | 40 | 760 | 760
|  | 19 | 2 | TSS | 40 | 40 | 760 | 760
|  | 19 | 3 | TSS, COD | 116 | 116 | 2204 | 2204
|  | 19 | 4 | TSS | 40 | 40 | 760 | 760
|  | 19 | 5 | TSS | 40 | 40 | 760 | 760
C | 106 | 11 | 1 | TSS, Al, Fe, NO3, Zn | 236 | 272 | 2596 | 2992
|  | 11 | 2 | TSS, Zn | 80 | 92 | 880 | 1012
|  | 11 | 3 | TSS | 40 | 40 | 440 | 440
|  | 11 | 4 | TSS, Nitrate, Zn | 156 | 168 | 1716 | 1848
|  | 11 | 5 | TSS | 40 | 40 | 440 | 440
|  | 10 | 6 | TSS | 40 | 40 | 400 | 400
|  | 11 | 7 | Lead, Iron, Zinc, Phosphate, Nitrate, TSS | 276 | 324 | 3036 | 3564
|  | 10 | 8 | TSS | 40 | 40 | 400 | 400
|  | 10 | 9 | TSS | 40 | 40 | 400 | 400
|  | 10 | 10 | TSS | 40 | 40 | 400 | 400
D | 146 | 49 | 1 | TSS | 40 | 40 | 1960 | 1960
|  | 49 | 2 | TSS | 40 | 40 | 1960 | 1960
|  | 48 | 3 | TSS | 40 | 40 | 1920 | 1920
E | 232 | 26 | 1 | TSS | 40 | 40 | 1040 | 1040
|  | 26 | 2 | TSS | 40 | 40 | 1040 | 1040
|  | 26 | 3 | TSS | 40 | 40 | 1040 | 1040
|  | 26 | 4 | TSS | 40 | 40 | 1040 | 1040
|  | 26 | 5 | TSS, Al, | 80 | 92 | 2080 | 2392
|  | 26 | 6 | TSS, Al, | 80 | 92 | 2080 | 2392
|  | 26 | 7 | TSS, Iron | 80 | 92 | 2080 | 2392
|  | 25 | 8 | TSS | 40 | 40 | 1000 | 1000
|  | 25 | 9 | TSS | 40 | 40 | 1000 | 1000
F | 78 | 11 | 1 | TSS, Al, Zn | 120 | 144 | 1320 | 1584
|  | 12 | 2 | Al, Iron, Zn, Copper, TSS | 200 | 264 | 2400 | 3168
|  | 11 | 3 | TSS | 40 | 40 | 440 | 440
|  | 11 | 4 | TSS | 40 | 40 | 440 | 440
|  | 11 | 5 | Copper, TSS, Zn | 120 | 144 | 1320 | 1584
|  | 11 | 6 | Copper, TSS, Zn | 120 | 144 | 1320 | 1584
|  | 11 | 7 | TSS | 40 | 40 | 440 | 440
G | 83 | 41 | 1 | TSS, Nitrate, COD | 192 | 192 | 7872 | 7872
|  | 42 | 2 | Antimony, Arsenic, Beryllium, Cadmium, Copper, Iron, Hardness, Lead, Manganese, Mercury, Nickel, pH, Selenium, Sb, Silver, TSS, Turbidity, Zinc | 820 | 932 | 34440 | 39144
H | 11 | 11 | 1 | TSS, Al, Fe, | 0 | 0 | 0 | 0
I | 196 | 49 | 1 | TSS | 40 | 40 | 1960 | 1960
|  | 49 | 2 | TSS | 40 | 40 | 1960 | 1960
|  | 49 | 3 | TSS | 40 | 40 | 1960 | 1960
|  | 49 | 4 | TSS, Pb, Ni, Zn, Ammonia, Nitrate | 312 | 348 | 15288 | 17052
J | 268 | 39 | 1 | TSS | 40 | 40 | 1560 | 1560
|  | 39 | 2 | TSS | 40 | 40 | 1560 | 1560
|  | 38 | 3 | TSS | 0 | 0 | 0 | 0
|  | 38 | 4 | TSS | 40 | 40 | 1520 | 1520
|  | 38 | 5 | TSS | 40 | 40 | 1520 | 1520
|  | 38 | 6 | TSS | 40 | 40 | 1520 | 1520
|  | 38 | 7 | TSS | 40 | 40 | 1520 | 1520
K | 31 | 31 | 1 | Cadmium, Cyanide, Lead, Magnesium, Mercury, Selenium, Silver, TSS | 532 | 624 | 16492 | 19344
L | 123 | 123 | 1 | TSS, Fe | 80 | 92 | 9840 | 11316
M | 262 | 262 | 1 | Al, Iron, Lead, TSS | 160 | 196 | 41920 | 51352
N | 205 | 205 | 1 | Lead, TSS, COD, Al, Cu, Fe, Pb, Zn | 89 | 107 | 18245 | 21935
O | 68 | 68 | 1 | TSS, Iron | 80 | 92 | 5440 | 6256
P | 470 | 94 | 1 | TSS | 40 | 40 | 3760 | 3760
|  | 94 | 2 | TSS | 40 | 40 | 3760 | 3760
|  | 94 | 3 | TSS | 40 | 40 | 3760 | 3760
|  | 94 | 4 | TSS | 40 | 40 | 3760 | 3760
|  | 94 | 5 | TSS | 40 | 40 | 3760 | 3760
Q | 37 | 37 | 1 | Al, Iron, Lead, TSS, Zinc | 200 | 248 | 7400 | 9176
R | 49 | 49 | 1 | TSS | 40 | 40 | 1960 | 1960
S | 400 | 400 | 1 | BOD, TSS | 116 | 116 | 46400 | 46400
T | 96 | 96 | 1 | TSS | 40 | 40 | 3840 | 3840
U | 67 | 7 | 1 | TSS | 40 | 40 | 280 | 280
|  | 7 | 2 | TSS | 40 | 40 | 280 | 280
|  | 7 | 3 | TSS | 40 | 40 | 280 | 280
|  | 7 | 4 | TSS | 40 | 40 | 280 | 280
|  | 7 | 5 | TSS | 40 | 40 | 280 | 280
|  | 7 | 6 | TSS | 40 | 40 | 280 | 280
|  | 7 | 7 | TSS, BOD5, COD, Nitrate | 268 | 268 | 1876 | 1876
|  | 6 | 8 | TSS | 40 | 40 | 240 | 240
|  | 6 | 9 | TSS | 40 | 40 | 240 | 240
|  | 6 | 10 | TSS | 40 | 40 | 240 | 240
V | 37 | 13 | 1 | TSS | 40 | 40 | 520 | 520
|  | 12 | 2 | TSS | 40 | 40 | 480 | 480
|  | 12 | 3 | TSS | 40 | 40 | 480 | 480
W | 9 | 5 | 1 | TSS | 40 | 40 | 200 | 200
|  | 4 | 1 | TSS | 40 | 40 | 160 | 160
X | 25 | 25 | 1 | TSS | 40 | 40 | 1000 | 1000
Y | 111 | 12 | 1 | TSS, Zn | 80 | 92 | 960 | 1104
|  | 11 | 2 | TSS, Zn | 80 | 92 | 880 | 1012
|  | 11 | 3 | TSS, Zn | 80 | 92 | 880 | 1012
|  | 11 | 4 | TSS, Zn | 80 | 92 | 880 | 1012
|  | 11 | 5 | TSS | 40 | 40 | 440 | 440
|  | 11 | 6 | TSS | 40 | 40 | 440 | 440
|  | 11 | 7 | TSS | 40 | 40 | 440 | 440
|  | 11 | 8 | TSS | 40 | 40 | 440 | 440
|  | 11 | 9 | TSS | 40 | 40 | 440 | 440
|  | 11 | 10 | TSS | 40 | 40 | 440 | 440
Z | 4 | 4 | 1 | TSS | 40 | 40 | 160 | 160
AA | 104 | 52 | 1 | Al, Nitrate, Iron, TSS, Zinc | 236 | 272 | 12272 | 14144
|  | 52 | 2 | TSS, Zinc, Nitrate | 168 | 180 | 8736 | 9360
AB | 91 | 46 | 1 | TSS | 40 | 40 | 1840 | 1840
|  | 45 | 2 | TSS | 40 | 40 | 1800 | 1800
AC | 110 | 37 | 1 | TSS | 40 | 40 | 1480 | 1480
|  | 37 | 2 | TSS, Cu, Lead | 120 | 144 | 4440 | 5328
|  | 36 | 3 | TSS | 40 | 40 | 1440 | 1440
AD | 12 | 12 | 1 | TSS | 40 | 40 | 480 | 480
| 3656 | 3656 |  |  |  | Total First Year Burden (all facilities) = | 346117 | 380811
Aluminum is assumed to cost 10 in low and 13 in high
Arsenic is assumed to cost 10 in low and 13 in high
BOD5 is assumed to cost $19 | [6 empty] | Initial Estimate | 895720
Cadmium is estimated to cost $12 in low and $13 in high. | [6 empty] | using hourly approach
Chromium is assumed to cost 10 in low and 13 in high
Copper is estimated to cost $10 in low and $13 in high
COD is estimated to cost $19 | [5 empty] | If not listed, metals are assumed to be 10 in low and 13 in high and nutrients are assumed to be 19, and organics are assumed to be 20.
Cyanide is estimated to cost $35 in low and $40 in high
Iron is assumed to cost 10 in low and 13 in high
Mercury is estimated to cost $34
Nitrate is estimated to cost $19
pH is assumed to cost $5
Phenols were assumed to cost $20
Phosphate is assumed to cost $19
Turbidity is assumed to cost $10
TSS is estimated at $10
Zinc is assumed to cost 10 in low and 13 in high