## HW90ms
File HW90ms: Analytical results for surface water samples collected in June, 1999 and June, 2000. ICP-MS analyses by A.L. Meier, USGS.
[7 empty] | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICP_H2O | ICPMS_H2O | ICPMS_H2O | ICP_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O
Field No. | Dist | Watype | pH | Cond | North | West | Ag | Al | As | Ba | Be | Bi | Ca | Cd | Co | Cr | Cu | Fe | K | Mg | Mn | Mo | Na | Ni | P | Pb | Sb | Se | SiO2 | SO4 | Sr | Th | Tl | U | V | Zn
|  |  |  | us/cm | decdeg | decdeg | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | mg/L | ug/L | mg/L | ug/L | ug/L | ug/L | mg/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
EXPLANATION: Analysis by ICP-MS, trace elements in ug/L (PPB) and major elements in mg/L (PPM); <, less than value shown, na, not analyzed.
Dist, District: AU, Austin; BM, Battle Mountain; EU, Eureka, GB, Gilbert; GF, Goldfield; HT, Hilltop; IN, Independence; LM, Lone Mountain; LV, leadville; MH, Mt. Hope; NA, National; na, not applicable; PO, Pioche; PT, Potosi; RB, Roberts Mountains; RR, Railroad; TO, Tonopah; Ty, Tybo; WP, White Pine.
Watype: HLW, heap leach (inactive) water; MDW, mine drainage water; PLW, pit lake water; PUDW, puddle water; PW, pond water; SPW, spring water; SW, surface water (creek); TW, tailings-reacted water; WW, well water.
NNTW916 | TY | TW | 2.1 | >2,000 | 38.3706 | 116.3958 | 0.08 | 75000 | 45000 | 1.1 | 5.5 | < 0.01 | 120 | 2700 | 27 | 27 | 1000 | 430000 | 160 | 29 | 20000 | <20 | 0.15 | 49 | 2030 | 43 | 8.4 | na | 0.26737 | na | 84.3 | 29 | <0.05 | na | 35 | 320000
NNTW918 | TY | TW | 1.7 | >2,000 | 38.3761 | 116.3689 | 62 | 72000 | 120000 | 1.1 | 2.2 | 2.8 | 140 | 360 | 25 | 41 | 660 | 2000000 | 4100 | 17 | 4900 | <20 | 1.2 | 34 | 5300 | 1600 | 170 | na | <0.2 | na | 130 | 28 | 1 | na | 78 | 39000
NNTW922 | TY | TW | 3.1 | >2,000 | 38.3761 | 116.3672 | 0.2 | 81000 | 3500 | 2.1 | 14 | < 0.01 | 140 | 4400 | 190 | 17 | 1900 | 78000 | 260 | 260 | >80000 | <20 | 0.23 | 240 | 1440 | 85 | 2.7 | na | 1.8738 | na | 162 | 26 | <0.05 | na | 0.86 | 400000
NNTW929 | GF | TW | 2.9 | >2,000 | 37.7478 | 117.2347 | 0.1 | 60000 | 11 | 1.9 | 2 | 0.04 | 230 | 43 | 240 | 13 | 11000 | 9700 | 180 | 8.8 | 1100 | <20 | 2.7 | 200 | <100 | 2.5 | 1.8 | na | 0.85132 | na | 217 | 2.4 | <0.05 | na | 0.2 | 7600
NNTW933 | GF | PW | 3.05 | >2,000 | 37.7092 | 117.2189 | 0.1 | >200000 | 51 | 1.6 | 10 | 0.01 | 130 | 180 | 1400 | 72 | 47000 | 42000 | 460 | 42 | 5900 | <20 | 5.8 | 1000 | 201 | 2.6 | 3 | na | 1.9978 | na | 336 | 21 | <0.05 | na | 0.6 | 33000
NNW101 | PT | SW | 7.3 | 880 | 41.1875 | 117.2114 | <0.01 | 3 | 69 | 48 | <0.06 | < 0.01 | 120 | 0.04 | 0.06 | <1 | 1 | 220 | 7300 | 5.4 | 22 | 148 | 32 | 0.7 | <100 | 3.1 | 140 | na | 26.3097 | na | 888 | < 0.02 | 0.77 | na | <0.6 | 2
NNW107 | LV | MDW | 8.3 | 585 | 41.0967 | 119.3997 | <0.01 | <3 | 2.2 | 79 | <0.06 | < 0.01 | 55 | 0.07 | 0.06 | <1 | 1 | 93 | 4300 | 30 | 7.5 | <20 | 22 | 1.1 | 107 | 0.61 | 0.56 | na | 33.7962 | na | 977 | < 0.02 | <0.05 | na | 2.2 | 5
NNW108 | LV | MDW | 8.3 | >2,000 | 41.0967 | 119.3992 | 0.06 | <3 | 2 | 23 | <0.05 | < 0.01 | 480 | 27 | 0.52 | <1 | 9 | 380 | 12000 | 230 | 1500 | <20 | 53 | 50 | <100 | 8.9 | 15 | na | 27.5931 | na | 4630 | 0.01 | 0.07 | na | <0.2 | 960
NNW109 | LV | MDW | 6.5 | 2100 | 41.0986 | 119.4036 | 0.1 | 520 | 3.9 | 9 | 4.4 | 0.02 | 440 | <0.02 | 100 | 2 | 4 | 75000 | 4200 | 140 | 6100 | <20 | 28 | 190 | <100 | 0.56 | 0.11 | na | 18.2457 | na | 2580 | 0.19 | 0.08 | na | <0.2 | 52
NNW115 | LV | SW | 8.3 | 730 | 41.095 | 119.3944 | <0.01 | <3 | 2.2 | 70 | <0.06 | < 0.01 | 78 | 7.5 | 0.1 | <1 | 2 | 140 | 5000 | 43 | 360 | <20 | 24 | 4.2 | <100 | 2.1 | 2 | na | 33.3684 | na | 1380 | < 0.02 | <0.05 | na | 2 | 780
NNW116 | LV | SW | 8.6 | 730 | 41.0886 | 119.3861 | 0.01 | <3 | 2.3 | 69 | <0.06 | < 0.01 | 80 | 5 | 0.1 | <1 | 2 | 130 | 5400 | 43 | 230 | <20 | 25 | 2.8 | <100 | 1.3 | 2.6 | na | 32.9406 | na | 1380 | < 0.02 | <0.05 | na | 2.2 | 240
NNW120 | NA | MDW | 2.7 | 1415 | 41.8367 | 117.5725 | <0.01 | 30000 | 280 | 0.55 | 6 | < 0.01 | 120 | 6.7 | 160 | 9 | 400 | 27000 | <8 | 32 | 12000 | <20 | 13 | 220 | 139 | 1.2 | 2.3 | na | 64.8117 | na | 198 | 0.51 | 0.2 | na | 0.8 | 3000
NNW121 | NA | MDW | 5.5 | 260 | 41.8367 | 117.5725 | 0.04 | 130 | 13 | 17 | <0.06 | < 0.01 | 27 | 0.08 | 1.7 | <1 | 3 | 34 | 2100 | 8.3 | 200 | <20 | 13 | 4.3 | <100 | 0.3 | 0.69 | na | 30.1599 | na | 140 | < 0.02 | <0.05 | na | 2 | 10
NNW123 | NA | SW | 6.4 | 228 | 41.8375 | 117.5753 | 0.08 | <3 | 2.9 | 47 | <0.06 | < 0.01 | 38 | <0.02 | 0.03 | <1 | 0.6 | 50 | 1800 | 11 | 1.2 | <20 | 16 | 0.2 | <100 | 0.5 | 1.6 | na | 22.6734 | na | 315 | < 0.02 | <0.05 | na | 0.6 | 0.9
NNW124 | NA | SW | 6 | 202 | 41.8422 | 117.5733 | 0.2 | 51 | 2 | 9.1 | 0.07 | < 0.01 | 26 | 0.3 | 9.6 | <1 | 5 | 110 | 1800 | 8.8 | 890 | <20 | 9 | 16 | <100 | 0.4 | 0.34 | na | 33.3684 | na | 128 | < 0.02 | 0.06 | na | 2.5 | 100
NNW126 | NA | MDW | 2.8 | 1410 | 41.8378 | 117.5744 | 0.01 | 22000 | 620 | 12 | 6.9 | < 0.01 | 120 | 8 | 150 | 12 | 300 | 95000 | 2600 | 38 | 16000 | <20 | 11 | 240 | 112 | 23 | 4.9 | na | 37.2186 | na | 519 | 0.24 | 1.3 | na | 10 | 4300
NNW131 | BM | MDW | 3 | >2,000 | 40.5547 | 117.1175 | 0.62 | 13000 | 7700 | 4.4 | 1.5 | 0.29 | 180 | 270 | 130 | 40 | 14000 | 210000 | 2100 | 83 | 1300 | <20 | 33 | 230 | 172 | 70 | 11 | na | 17.5612 | na | 721 | 2.4 | 0.63 | na | 46 | 7200
NNW132 | BM | MDW | 2.5 | >2,000 | 40.5556 | 117.1172 | 0.07 | 88000 | 560 | 1.4 | 11 | 0.16 | 130 | 440 | 510 | 61 | 18000 | 86000 | 180 | 85 | 11000 | <20 | 12 | 1200 | 133 | 0.7 | 0.82 | na | 60.3198 | na | 221 | 7.3 | <0.05 | na | 2.3 | 17000
NNW134 | BM | SW | 7.8 | 970 | 40.5511 | 117.0881 | 0.02 | 20 | 6.7 | 36 | 0.1 | < 0.01 | 140 | 0.1 | <0.02 | <1 | 4 | 260 | 3800 | 50 | 3.8 | <20 | 62 | 0.1 | <100 | 0.54 | 0.37 | na | 21.8178 | na | 608 | < 0.02 | <0.05 | na | 2 | 3
NNW135 | BM | SW | 8.1 | 434 | 40.5825 | 117.07 | 0.08 | <3 | 2.7 | 35 | <0.06 | < 0.01 | 40 | <0.02 | <0.02 | <1 | <0.5 | 56 | 1800 | 13 | 1.2 | <20 | 30 | <0.1 | <100 | 0.2 | 1.6 | na | 19.8713 | na | 239 | < 0.02 | <0.05 | na | 1 | <0.5
NNW138 | HT | SPR | 3.8 | 910 | 40.4289 | 116.8436 | <0.01 | 7600 | 3.9 | 17 | 2.6 | < 0.01 | 110 | 7.1 | 32 | <1 | 46 | 460 | 1500 | 35 | 2200 | <20 | 16 | 63 | <100 | 1.3 | 0.54 | na | 46.2024 | na | 544 | 0.02 | 0.09 | na | <0.6 | 570
NNW139 | HT | SW | 5.8 | 620 | 40.4272 | 116.8372 | <0.01 | 80 | 0.3 | 21 | 0.1 | < 0.01 | 55 | 8.1 | 26 | <1 | 10 | 500 | 1400 | 28 | 2900 | <20 | 18 | 82 | <100 | 0.2 | 0.39 | na | 23.3151 | na | 202 | < 0.02 | <0.05 | na | <0.6 | 480
NNW140 | HT | MDW | 6 | >2,000 | 40.4269 | 116.8367 | 0.3 | 24 | 3.4 | 44 | <0.05 | < 0.01 | 510 | 2.5 | 110 | 1 | 10 | 2100 | 14000 | 190 | 39000 | <20 | 20 | 250 | <100 | 0.2 | 0.5 | na | 15.7003 | na | 1600 | < 0.01 | 0.09 | na | 0.3 | 620
NNW141 | HT | MDW | 2.9 | 1360 | 40.4214 | 116.8106 | 0.02 | 84000 | 4300 | 2 | 3 | 0.03 | 30 | 350 | 540 | 64 | 3000 | 120000 | 1200 | 16 | 1800 | <20 | 27 | 1300 | 1220 | 2.7 | 19 | na | 55.1862 | na | 28.8 | 0.32 | 9.3 | na | 160 | 8700
NNW142 | HT | SW | 3.6 | 680 | 40.4239 | 116.81 | 0.02 | 11000 | 26 | 15 | 1.6 | < 0.01 | 44 | 64 | 57 | 2 | 600 | 1200 | 4100 | 18 | 670 | <20 | 34 | 220 | <100 | 0.4 | 0.73 | na | 44.4912 | na | 185 | < 0.02 | 0.3 | na | 0.8 | 1300
NNW143 | HT | SW | 7.8 | 530 | 40.4267 | 116.8131 | 0.04 | 28 | 46 | 67 | <0.06 | < 0.01 | 52 | 0.3 | 0.1 | <1 | 4 | 91 | 3200 | 18 | 5.7 | <20 | 42 | 5.7 | <100 | 0.2 | 2 | na | 26.5236 | na | 330 | < 0.02 | <0.05 | na | 4.2 | 20
NNW144 | HT | SW | 7.6 | 290 | 40.4428 | 116.8078 | 0.01 | 32 | 7.8 | 47 | <0.06 | < 0.01 | 29 | 0.2 | 0.2 | <1 | 2 | 49 | 2000 | 11 | 24 | <20 | 18 | 3.8 | <100 | 0.1 | 4.2 | na | 17.3259 | na | 172 | < 0.02 | <0.05 | na | 2 | 8
NNW890 | HT | SW | 7.6 | 290 | 40.4428 | 116.8078 | 0.01 | 40 | 7.5 | 47 | <0.06 | < 0.01 | 29 | 0.2 | 0.2 | <1 | 2 | 57 | 2000 | 11 | 22 | <20 | 17 | 3.9 | <100 | 0.1 | 4.2 | na | 17.6681 | na | 175 | < 0.02 | <0.05 | na | 2 | 8
NNW892r | BM | MDW | 3 | >2,000 | 40.5547 | 117.1175 | 0.8 | 12000 | 7600 | 4.2 | 1.4 | 0.27 | 140 | 280 | 130 | 39 | 14000 | 210000 | 2200 | 77 | 1200 | <20 | 29 | 240 | 231 | 72 | 10 | na | 18.2029 | na | 740 | 2.3 | 0.64 | na | 43 | 7100
NNW893r | NA | MDW | 2.8 | 1410 | 41.8378 | 117.5744 | <0.01 | 12000 | 300 | 7.3 | 3.4 | < 0.01 | 62 | 4 | 76 | 6 | 150 | 48000 | 1400 | 20 | 8200 | <20 | 6.4 | 120 | <100 | 13 | 2.3 | na | 17.3473 | na | 235 | 0.11 | 0.59 | na | 4.9 | 2200
NNW894r | NA | SW | 6 | 202 | 41.8422 | 117.5733 | 0.1 | 43 | 1.8 | 8.2 | 0.06 | < 0.01 | 25 | 0.3 | 9 | <1 | 5 | 94 | 1700 | 8.6 | 830 | <20 | 9 | 15 | <100 | 0.4 | 0.33 | na | 32.9406 | na | 126 | < 0.02 | <0.05 | na | 2.1 | 100
NNW895r | LV | SW | 8.6 | 730 | 41.0886 | 119.3861 | <0.01 | <3 | 2.2 | 71 | <0.06 | < 0.01 | 79 | 4.7 | 0.08 | <1 | 3 | 130 | 5300 | 42 | 210 | <20 | 24 | 2.8 | <100 | 1.4 | 2.4 | na | 33.1545 | na | 1360 | < 0.02 | <0.05 | na | 2 | 240
NNW896r | LV | MDW | 6.5 | 2100 | 41.0986 | 119.4036 | 0.06 | 260 | 2.3 | 5.9 | 2.4 | < 0.01 | 200 | 0.05 | 49 | <1 | 3 | 39000 | 2200 | 74 | 3000 | <20 | 14 | 95 | <100 | 1.7 | 0.07 | na | 9.2833 | na | 1570 | 0.02 | <0.05 | na | <0.2 | 35
NNW897r | LM | SW | 7.9 | 444 | 41.1308 | 116.0108 | 0.05 | <3 | 14 | 58 | <0.06 | < 0.01 | 73 | 3.2 | 0.05 | <1 | 2 | 100 | 4000 | 13 | 9.5 | <20 | 14 | 1.1 | <100 | 0.56 | 2.2 | na | 23.9568 | na | 569 | < 0.02 | <0.05 | na | <0.6 | 290
NNW898r | LM | MDW | 2.1 | >2,000 | 0 | 116 | 0.07 | 13000 | 5000 | 5.4 | 7.3 | < 0.01 | 130 | 430 | 75 | 26 | 1000 | 790000 | 20 | 53 | 47000 | <20 | 3.2 | 320 | 3210 | 9.8 | 3.7 | na | 18.5451 | na | 190 | 13 | <0.05 | na | 3.9 | 82000
NNW899r | MH | MDW | 6.8 | 680 | 39.7892 | 116.1583 | <0.01 | <3 | 6.9 | 8.1 | 1.4 | < 0.01 | 110 | 0.5 | 1.5 | <1 | 0.9 | 330 | 14000 | 18 | 4900 | <20 | 15 | 20 | <100 | 0.52 | 0.12 | na | 26.9514 | na | 178 | < 0.02 | 0.65 | na | <0.6 | 1000
NNW912 | PO | TW | 2.2 | >2,000 | 37.9033 | 114.4903 | 0.2 | 140000 | 38000 | 0.76 | 26 | 0.084 | 290 | 4700 | 240 | 180 | 18000 | 3300000 | 150 | 120 | >80000 | <20 | 0.1 | 530 | 78100 | 73 | 3.7 | na | <0.2 | na | 194 | 170 | <0.05 | na | 26 | 640000
NNW923 | GF | PUDW | 2.9 | >2,000 | 37.7003 | 117.2044 | 0.08 | >200000 | 2600 | 9.1 | 40 | 0.02 | 120 | 23 | 1100 | 39 | 33000 | 440000 | 150 | 180 | 38000 | <20 | 1.8 | 460 | 3450 | 2.8 | 4.9 | na | 6.1603 | na | 257 | 18 | <0.05 | na | 62 | 5700
NNW924 | GF | PLW | 6.8 | 530 | 37.7439 | 117.2192 | 0.02 | 920 | 12 | 160 | <0.06 | < 0.01 | 36 | 0.05 | 0.74 | <1 | 2 | 440 | 17000 | 9.3 | 280 | <20 | 54 | 0.9 | 174 | 4.9 | 0.64 | na | 24.5985 | na | 564 | < 0.02 | <0.05 | na | 2 | 6
NNW925 | GF | MDW | 2.7 | >2,000 | 37.7247 | 117.2194 | 0.08 | 120000 | 22 | 5.4 | 13 | < 0.01 | 33 | 27 | 560 | 21 | 1000 | 30000 | 570 | 71 | 12000 | <20 | 0.84 | 540 | 352 | 1.2 | 0.17 | na | 1.8075 | na | 57 | 2.9 | <0.05 | na | 18 | 3000
NNW926 | GF | PUDW | 3 | >2,000 | 37.7083 | 117.2147 | 0.4 | >200000 | 120 | 94 | 12 | < 0.01 | 130 | 28 | 990 | 33 | 4800 | 100000 | 3400 | 51 | 8300 | <20 | 7.2 | 400 | 746 | 0.8 | 0.36 | na | 4.7914 | na | 302 | 9.2 | 0.08 | na | 5.2 | 1700 | ICPMS_H2O
NNW927 | GF | PUDW | 2.7 | >2,000 | 37.7364 | 117.2375 | 0.07 | >200000 | 420 | 6.3 | 6.4 | 0.5 | 48 | 140 | 1100 | 50 | 36000 | 130000 | 39 | 27 | 4500 | <20 | 1.4 | 690 | 406 | 2.4 | 4.8 | na | 1.2599 | na | 75.3 | 18 | <0.05 | na | 8.5 | 26000 | SiO2
NNW947 | GB | HLW | 7.6 | >2,000 | 38.0761 | 117.6406 | 3.6 | 26 | 3200 | 12 | <0.05 | 0.03 | 250 | <0.02 | 1800 | 2 | 11 | 520 | 9000 | 55 | 9.7 | 212 | >200 | <0.1 | <100 | 1.2 | 3.2 | na | 9.2405 | na | 3440 | < 0.01 | 0.1 | na | 22 | 8 | mg/L
NNW956 | TO | PUDW | 7 | 290 | 38.1389 | 117.4639 | 230 | 16000 | 280 | 1200 | 5.8 | 0.86 | 63 | 14 | 15 | 8 | 820 | 21000 | 36000 | 10 | 23000 | <20 | 12 | 17 | 1500 | 5800 | 40 | na | 111.6558 | na | 476 | 1.3 | 1.2 | na | 32 | 18000
NNW957 | TO | PUDW | 6.9 | >2,000 | 38.0706 | 117.215 | 55 | 110 | 26 | 35 | <0.05 | 0.02 | 96 | 0.2 | 75 | <1 | 140 | 420 | 52000 | 2.5 | 310 | 583 | >200 | <0.1 | <100 | 19 | 40 | na | 4.5347 | na | 984 | < 0.01 | 0.1 | na | 1.2 | 83
NNW973 | EU | PUDW | 7.3 | 270 | 39.4122 | 115.9994 | 0.04 | 4 | 230 | 85 | 0.1 | < 0.01 | 28 | 0.02 | 0.1 | <1 | 1 | 53 | 2800 | 8.7 | 12 | <20 | 3.5 | 0.8 | <100 | 1.1 | 0.88 | na | 7.0801 | na | 71.7 | < 0.02 | <0.05 | na | 1 | 0.8
NNW974 | EU | SPR | 6.9 | 100? | 39.4208 | 115.9933 | 0.51 | 340 | 1.5 | 23 | 0.1 | 0.04 | 3.1 | <0.02 | 0.2 | <1 | 1 | 98 | 830 | 1.1 | 11 | <20 | 2.4 | 0.7 | <100 | 0.74 | 0.27 | na | 13.2404 | na | 22.1 | < 0.02 | 0.1 | na | 1 | 1
NNW975 | EU | MDW | 8.6 | 800? | 39.4556 | 115.9692 | <0.01 | 32 | 5800 | 67 | <0.06 | < 0.01 | 90 | 0.03 | 150 | 16 | 5 | 300 | 1500 | 2.2 | 2.8 | 54 | >100 | 0.6 | 109 | 1.4 | 2.1 | na | 22.4595 | na | 683 | < 0.02 | 1.4 | na | 19 | 3
NNW980 | MH | MDW | 6.8 | 680? | 39.7892 | 116.1583 | <0.01 | <3 | 7.1 | 7.9 | 1.5 | < 0.01 | 110 | 0.4 | 1.4 | <1 | 0.9 | 330 | 14000 | 18 | 4900 | <20 | 15 | 20 | <100 | 0.78 | 0.11 | na | 27.3792 | na | 178 | < 0.02 | 0.77 | na | <0.6 | 1100
NNW981 | MH | SPR | 6.7 | 340 | 39.7894 | 116.3114 | 0.2 | 11000 | 28 | 300 | 1.1 | 0.19 | 29 | 18 | 5 | 7 | 160 | 4600 | 7400 | 8.4 | 620 | 32.2 | 24 | 8.9 | 539 | 42 | 0.34 | na | 167.6976 | na | 245 | 0.26 | 0.2 | na | 18 | 220
NNW984 | LM | SW | 6.9 | 310 | 41.13 | 116.0056 | 0.5 | <3 | 1.2 | 72 | 0.06 | < 0.01 | 48 | <0.02 | <0.02 | <1 | <0.5 | 63 | 2000 | 8.4 | 2.4 | <20 | 16 | <0.1 | <100 | 0.52 | 0.1 | na | 22.0317 | na | 664 | < 0.02 | <0.05 | na | 0.7 | 0.8
NNW985 | LM | SW | 7.3 | 306 | 41.13 | 116.0069 | 2.1 | <3 | 3.9 | 75 | <0.06 | < 0.01 | 48 | 0.4 | <0.02 | <1 | 1 | 67 | 2000 | 8 | 8.2 | <20 | 16 | <0.1 | <100 | 1.6 | 0.26 | na | 21.8178 | na | 662 | < 0.02 | <0.05 | na | 0.8 | 20
NNW987 | LM | MDW | 6.8 | 452 | 41.1286 | 116.0069 | 0.04 | <3 | 3.4 | 45 | <0.06 | < 0.01 | 71 | 2.3 | <0.02 | <1 | 1 | 110 | 5200 | 14 | 11 | <20 | 11 | 3.5 | <100 | 0.72 | 2.3 | na | 25.8819 | na | 415 | < 0.02 | <0.05 | na | 0.6 | 530
NNW988 | LM | MDW | 7.4 | 428 | 41.1286 | 116.0069 | 0.09 | 4 | 31 | 39 | <0.06 | < 0.01 | 68 | 4.6 | 0.05 | <1 | 3 | 93 | 4400 | 11 | 15 | <20 | 11 | 2.1 | <100 | 0.63 | 4.1 | na | 22.8873 | na | 410 | < 0.02 | <0.05 | na | <0.6 | 390
NNW990 | LM | MDW | 2.1 | >2,000 | 41.1269 | 116.0031 | 0.08 | 16000 | 5300 | 4.5 | 7.9 | < 0.01 | 140 | 460 | 78 | 27 | 1100 | 830000 | 41 | 58 | 46000 | <20 | 3.5 | 320 | 3250 | 8.3 | 4.3 | na | 18.4382 | na | 190 | 12 | <0.05 | na | 38 | 86000
NNW992 | LM | SW | 7.7 | 280 | 41.1236 | 116.0014 | 0.02 | <3 | 4 | 66 | <0.06 | < 0.01 | 50 | 0.02 | 0.04 | <1 | <0.5 | 64 | 2200 | 5 | 7.6 | <20 | 8.6 | <0.1 | <100 | 0.55 | 0.63 | na | 23.9568 | na | 242 | < 0.02 | <0.05 | na | 2 | 1
NNW993 | LM | SW | 7.5 | 330 | 41.1239 | 116.0022 | 0.2 | <3 | 3.7 | 76 | <0.06 | < 0.01 | 59 | 6.8 | 0.2 | <1 | 0.9 | 88 | 2800 | 8.1 | 88 | <20 | 9.4 | 3.8 | <100 | 0.71 | 1.8 | na | 23.9568 | na | 302 | < 0.02 | <0.05 | na | 0.9 | 1200
NNW994 | LM | SW | 6.6 | 595 | 41.1239 | 116.0017 | <0.01 | 99 | 14 | 120 | <0.06 | < 0.01 | 100 | 2 | 3.2 | <1 | 2 | 1800 | 3800 | 18 | 1200 | <20 | 12 | 19 | <100 | 5.2 | 1.2 | na | 25.0263 | na | 500 | < 0.02 | <0.05 | na | <0.6 | 6300
NNW995 | LM | SW | 7.9 | 444 | 41.1308 | 116.0108 | 0.05 | <3 | 14 | 60 | <0.06 | < 0.01 | 72 | 3.1 | <0.02 | <1 | 2 | 110 | 4000 | 13 | 9.1 | <20 | 14 | 1.4 | <100 | 0.73 | 2.2 | na | 24.1707 | na | 593 | < 0.02 | <0.05 | na | <0.6 | 280
NNW997 | IN | SW | 7.1 | 228 | 41.3267 | 115.9811 | 0.08 | 16 | 1.1 | 130 | <0.06 | < 0.01 | 26 | 0.04 | 0.3 | <1 | 1 | 94 | 620 | 14 | 19 | <20 | 2.8 | 1.7 | <100 | 0.3 | 0.16 | na | 8.8555 | na | 60.4 | < 0.02 | <0.05 | na | <0.6 | 6
NN0T208A | PO | TW | 1.9 | >2,000 | 37.9039 | 114.4905 | 0.6 | 680000 | 122000 | 14.6 | 44 | 1.48 | 800 | 12000 | 800 | 540 | 54000 | 9600000 | 60 | 660 | 3600000 | 24 | 0.22 | 2000 | 166000 | 150 | 26 | <0.2 | 8 | 42000 | 560 | 300 | <0.05 | 300 | 90 | 2200000
NN0T222A | TY | TW | 2.1 | >2,000 | 38.3764 | 116.3667 | 3.6 | 1800000 | 3800000 | 2 | 38 | 44 | 152 | 26000 | 4400 | 1320 | 32000 | 32000000 | 132 | 1900 | 480000 | 460 | 0.24 | 3000 | 82000 | 400 | 1660 | <0.2 | 4 | 90000 | 580 | 1960 | <0.05 | 760 | 2600 | 2600000
NN0W216 | TY | SPW | 8.2 | 171 | 38.3719 | 116.4267 | <0.01 | 3.1 | 5.2 | 45 | <0.05 | < 0.01 | 64 | 0.05 | <0.02 | <1 | 0.8 | 83 | 880 | 8.3 | 10 | 0.98 | 26 | <0.1 | 4.3 | 1.9 | 0.3 | < 0.2 | 34 | 37 | 400 | < 0.005 | <0.05 | 9 | 2.8 | 6
NN0W217 | TY | SPW | 7.6 | 106 | 38.3667 | 116.4211 | <0.01 | <0.3 | 2.1 | 40 | <0.05 | < 0.01 | 46 | <0.02 | <0.02 | <1 | <0.5 | 45 | 1700 | 4.9 | 0.26 | 1.5 | 19 | <0.1 | < 1 | <0.05 | 0.1 | < 0.2 | 28 | 11 | 750 | < 0.005 | <0.05 | 5.4 | 0.88 | <0.5
NN0W219 | TY | WW | 7.7 | 233 | 38.3702 | 116.3982 | <0.01 | <0.3 | 0.9 | 12 | <0.05 | < 0.01 | 24 | 0.1 | 0.1 | <1 | 2 | 1300 | 2100 | 51 | 250 | 0.6 | 28 | 0.9 | 3 | 0.1 | 0.08 | < 0.2 | < 0.5 | 310 | 160 | < 0.005 | <0.05 | 0.04 | <0.2 | 140
NN0W235 | TY | SPW | 8.2 | 217 | 38.445 | 116.3872 | <0.01 | <0.3 | 8.6 | 60 | <0.05 | < 0.01 | 64 | 0.02 | <0.02 | <1 | <0.5 | 72 | 1500 | 33 | 0.088 | 1.6 | 10 | <0.1 | < 1 | 0.1 | 0.71 | < 0.2 | 15 | 85 | 270 | < 0.005 | <0.05 | 1.7 | 0.7 | 4
NN0W250 | AU | SW | 8.3 | 317 | 39.4538 | 117.0987 | <0.01 | 1.7 | 6.7 | 37 | <0.05 | < 0.01 | 50 | 0.03 | <0.02 | <1 | 1 | 68 | 4900 | 14 | 2.5 | 5.5 | 22 | 0.4 | 66 | 0.4 | 0.2 | 1 | 30 | 74 | 190 | < 0.005 | <0.05 | 4.8 | 1.6 | 1
NN0W251 | AU | SPW | 8.5 | 385 | 39.4528 | 117.0753 | <0.01 | <0.3 | 3.5 | 89 | <0.05 | < 0.01 | 50 | <0.02 | <0.02 | 4 | 0.7 | 23 | 4300 | 16 | 1.4 | 16 | 27 | <0.1 | 9.2 | 0.3 | 0.2 | 0.5 | 25 | 39 | 350 | < 0.005 | <0.05 | 11 | 3 | 0.5
NN0W252 | AU | MDW | 6 | 1790 | 39.3791 | 117.0887 | <0.01 | 38 | 17 | 12 | 0.4 | < 0.01 | 680 | 18 | 340 | 14 | 12 | 19000 | 5100 | 180 | 17000 | 1.5 | 4.6 | 1200 | 14 | 0.2 | 0.84 | 0.7 | 8.9 | 2300 | 1300 | < 0.005 | 0.3 | 25 | 3.3 | 1100
NN0W254 | AU | SW | 8. 6 | 266 | 39.3772 | 117.0892 | <0.01 | 6 | 5.1 | 54 | <0.05 | < 0.01 | 55 | 0.09 | <0.02 | <1 | 1 | 71 | 930 | 16 | 4.3 | 1.9 | 4.7 | 4.2 | 37 | 0.3 | 0.69 | 0.9 | 13 | 55 | 150 | < 0.005 | <0.05 | 1.8 | 0.5 | 10
NN0W255 | AU | SPW | 8 | 1286 | 39.3875 | 117.0874 | <0.01 | 0.3 | 8.8 | 49 | <0.05 | < 0.01 | 250 | 0.4 | <0.02 | 3 | 4 | 160 | 2400 | 130 | 5.8 | 1.5 | 9.2 | 0.7 | 28 | 0.2 | 22 | 38 | 12 | 1100 | 580 | < 0.005 | <0.05 | 2.6 | 0.99 | 6
NN0W256 | AU | SPW | 7.9 | 1196 | 39.3882 | 117.0888 | <0.01 | 2.5 | 9.6 | 44 | <0.05 | < 0.01 | 260 | 0.77 | <0.02 | 2 | 5 | 160 | 2500 | 150 | 0.06 | 1.8 | 9 | 2.1 | 32 | 0.2 | 32 | 49 | 11 | 1200 | 640 | < 0.005 | <0.05 | 2.6 | 0.7 | 10
NN0W257 | AU | SPW | 8.4 | 244 | 39.3917 | 117.0733 | <0.01 | 2.3 | 3.9 | 60 | <0.05 | < 0.01 | 39 | 0.1 | <0.02 | <1 | 2 | 47 | 1300 | 18 | 0.46 | 5.8 | 12 | 1.9 | 150 | 0.2 | 2.3 | 1 | 15 | 38 | 98 | < 0.005 | <0.05 | 1.6 | 2.1 | 3
NN0W258 | AU | SW | 7.9 | 365 | 39.3061 | 117.1192 | <0.01 | <0.3 | 1 | 53 | <0.05 | < 0.01 | 58 | 2 | <0.02 | 6 | 0.7 | 25 | 1400 | 37 | 0.07 | 6.7 | 7.6 | 7.3 | 17 | 0.2 | 1.2 | 2 | 14 | 63 | 430 | < 0.005 | <0.05 | 18 | 1.8 | 130
NN0W259 | AU | SW | 7.9 | 246 | 39.3206 | 117.1178 | <0.01 | 4.6 | 1 | 92 | <0.05 | < 0.01 | 55 | 0.03 | <0.02 | <1 | 0.5 | 71 | 810 | 20 | 0.61 | 1.8 | 7 | <0.1 | < 1 | 0.2 | 0.1 | 0.7 | 12 | 48 | 280 | < 0.005 | <0.05 | 2 | <0.2 | 0.7
NN0W261 | AU | SW | 8.8 | 354 | 39.3748 | 117.1553 | <0.01 | <0.3 | 1 | 52 | <0.05 | < 0.01 | 53 | 0.02 | <0.02 | 4 | 0.6 | 23 | 920 | 28 | 1.8 | 5.2 | 5.4 | <0.1 | 22 | 0.2 | 1.1 | 2 | 11 | 63 | 360 | < 0.005 | <0.05 | 5.2 | 1.2 | 1
NN0W265 | AU | MDW | 8 | 710 | 39.4978 | 117.0983 | 0.3 | 5 | 77 | 84 | <0.05 | < 0.01 | 52 | 0.04 | 0.2 | <1 | 7 | 35 | 11000 | 16 | 260 | 12 | 83 | 0.5 | 12 | 4.6 | 27 | 0.2 | 9 | 120 | 830 | 0.01 | <0.05 | 32 | 2.2 | 6
NN0W266 | AU | SW | 8.2 | 460 | 39.4761 | 117.0531 | <0.01 | <0.3 | 4.1 | 190 | <0.05 | < 0.01 | 48 | <0.02 | <0.02 | 2 | 0.6 | 25 | 7300 | 13 | 13 | 1.2 | 47 | <0.1 | 86 | 0.4 | 0.1 | < 0.2 | 40 | 16 | 450 | < 0.005 | <0.05 | 4.8 | 2.2 | 0.5
NN0W267 | RB | SW | 8.4 | 256 | 39.6633 | 116.9019 | <0.01 | 2.8 | 5.1 | 42 | <0.05 | < 0.01 | 42 | 0.03 | <0.02 | <1 | 0.5 | 64 | 750 | 14 | 4.2 | 1.5 | 9.1 | <0.1 | < 1 | 0.3 | 0.92 | < 0.2 | 8 | 26 | 270 | < 0.005 | <0.05 | 1.4 | 0.3 | 0.7
NN0W268 | RB | SW | 8.3 | 870 | 39.67 | 116.6897 | 0.03 | 2.5 | 7.5 | 76 | <0.05 | < 0.01 | 77 | <0.02 | <0.02 | 3 | 0.9 | 36 | 7400 | 27 | 2.9 | 4.1 | 79 | <0.1 | 67 | 0.2 | 0.1 | 1 | 53 | 190 | 960 | < 0.005 | <0.05 | 11 | 14 | 0.9
NN0W269 | RB | SW | 8.7 | 344 | 39.7717 | 116.2996 | <0.01 | 1.6 | 4.5 | 140 | <0.05 | < 0.01 | 59 | <0.02 | <0.02 | <1 | 0.8 | 71 | 1200 | 22 | 2.3 | 2 | 9.9 | <0.1 | 3 | 0.2 | 0.4 | 0.9 | 19 | 31 | 120 | < 0.005 | <0.05 | 1.5 | 4.1 | <0.5
NN0W270 | RB | SW | 8.4 | 362 | 39.8106 | 116.3139 | <0.01 | 0.6 | 4.6 | 160 | <0.05 | < 0.01 | 45 | 0.03 | <0.02 | 4 | 0.8 | 19 | 870 | 16 | 1.7 | 1.6 | 6.4 | <0.1 | 1 | 0.3 | 0.3 | 1 | 14 | 18 | 110 | < 0.005 | <0.05 | 1.1 | 4 | 0.8
NN0W271 | RB | SW | 9 | 249 | 39.839 | 116.3084 | <0.01 | 2.4 | 6.6 | 180 | <0.05 | < 0.01 | 45 | 0.04 | <0.02 | <1 | 1 | 55 | 710 | 14 | 0.36 | 0.9 | 4.9 | <0.1 | 9.9 | 0.2 | 0.3 | 0.6 | 13 | 16 | 64 | < 0.005 | <0.05 | 0.57 | 1.8 | 0.9
NN0W272 | RB | SPW | 8.3 | 399 | 39.8475 | 116.2898 | <0.01 | 1.7 | 0.9 | 130 | <0.05 | < 0.01 | 38 | 0.02 | <0.02 | 2 | 1 | 12 | 1400 | 18 | 5 | 3.4 | 10 | 0.1 | 6.7 | 0.2 | 0.2 | 4 | 15 | 54 | 130 | < 0.005 | <0.05 | 1.4 | 2.5 | 0.5
NN0W273 | RB | SW | 8.3 | 456 | 39.8552 | 116.2694 | <0.01 | 2.6 | 2 | 170 | <0.05 | < 0.01 | 52 | 0.02 | <0.02 | 2 | 1 | 25 | 1700 | 20 | 18 | 1.4 | 11 | 0.1 | 13 | 0.2 | 0.2 | 0.6 | 19 | 43 | 150 | < 0.005 | <0.05 | 1.4 | 2.4 | 1
NN0W274 | RB | SW | 8.9 | 441 | 39.8571 | 116.1986 | <0.01 | 7.8 | 2.9 | 130 | <0.05 | < 0.01 | 43 | 0.02 | <0.02 | 2 | 2 | 19 | 2100 | 16 | 2.6 | 2 | 15 | <0.1 | 16 | 0.2 | 0.3 | 1 | 17 | 58 | 180 | < 0.005 | <0.05 | 1.5 | 5.1 | <0.5
NN0W275 | RB | SW | 8.5 | 416 | 39.9543 | 116.3086 | <0.01 | <0.3 | 3.4 | 140 | <0.05 | < 0.01 | 45 | <0.02 | <0.02 | 3 | 0.6 | 18 | 800 | 20 | 0.53 | 1.1 | 8.2 | <0.1 | < 1 | 0.2 | 0.4 | 0.5 | 16 | 18 | 110 | < 0.005 | <0.05 | 0.98 | 2.2 | <0.5
NN0W276 | RB | SW | 8.3 | 351 | 39.9055 | 116.4126 | <0.01 | <0.3 | 4.8 | 130 | <0.05 | < 0.01 | 46 | <0.02 | <0.02 | 4 | <0.5 | 19 | 960 | 21 | 0.4 | 1 | 8.4 | <0.1 | < 1 | 0.2 | 1.1 | 0.7 | 11 | 21 | 120 | < 0.005 | 0.2 | 1.4 | 2 | 1
NN0W279 | WP | SPW | 8.7 | 495 | 39.2397 | 115.4686 | <0.01 | 2.2 | 1 | 50 | <0.05 | < 0.01 | 63 | 0.02 | <0.02 | 2 | 2 | 31 | 1500 | 16 | 0.94 | 2.1 | 17 | 1.8 | 11 | 0.3 | 0.3 | 6.2 | 13 | 100 | 260 | < 0.005 | <0.05 | 2.6 | 0.91 | 2
NN0W283 | WP | SPW | 8.5 | 548 | 39.3201 | 115.5521 | <0.01 | <0.3 | 7.5 | 110 | <0.05 | < 0.01 | 44 | <0.02 | <0.02 | 2 | 0.5 | 62 | 9000 | 17 | 2.1 | 2.3 | 30 | <0.1 | < 1 | 0.3 | 0.07 | 3 | 57 | 24 | 480 | < 0.005 | <0.05 | 7.7 | 6.6 | 2
NN0W284 | na | SW | 8.35 | 156 | 40.025 | 115.8713 | <0.01 | 5.9 | 2 | 110 | <0.05 | < 0.01 | 28 | <0.02 | <0.02 | <1 | 0.7 | 32 | 1500 | 5 | 0.34 | 0.56 | 12 | <0.1 | 16 | 0.2 | 0.1 | < 0.2 | 22 | 9.7 | 84 | < 0.005 | <0.05 | 0.24 | 0.92 | <0.5
NN0W285 | na | SW | 8.2 | 187 | 40.3133 | 115.4851 | <0.01 | 1.8 | 0.9 | 29 | <0.05 | < 0.01 | 33 | <0.02 | <0.02 | <1 | <0.5 | 90 | 1500 | 4.8 | 14 | 0.5 | 12 | <0.1 | 17 | 0.2 | 0.02 | < 0.2 | 24 | 6.6 | 210 | < 0.005 | <0.05 | 17 | 0.6 | <0.5
NN0W286 | na | SW | 8.5 | 186 | 40.306 | 115.46 | <0.01 | 2.4 | 0.9 | 23 | <0.05 | < 0.01 | 35 | <0.02 | <0.02 | <1 | <0.5 | 56 | 1400 | 4.5 | 1.2 | 1.2 | 12 | <0.1 | 13 | 0.2 | <0.02 | < 0.2 | 24 | 7.6 | 180 | < 0.005 | <0.05 | 19 | 0.7 | <0.5
NN0W287 | na | SW | 7.9 | 135 | 40.4222 | 115.6658 | <0.01 | 26 | 2.3 | 37 | <0.05 | < 0.01 | 20 | <0.02 | 0.1 | <1 | 0.9 | 140 | 2200 | 3.9 | 25 | 0.5 | 6.7 | 0.3 | 48 | 0.3 | 0.08 | < 0.2 | 26 | 2 | 130 | 0.009 | <0.05 | 2.1 | 1.1 | 0.8
NN0W288 | LM | SPW | 7.5 | 273 | 41.0406 | 115.8931 | <0.01 | 1.1 | 7.1 | 130 | <0.05 | < 0.01 | 26 | <0.02 | 0.06 | <1 | <0.5 | 44 | 10000 | 6.4 | 29 | 2 | 27 | <0.1 | 30 | 0.3 | 0.1 | 0.3 | 73 | 29 | 180 | < 0.005 | <0.05 | 2.4 | 8 | <0.5
NN0W289 | LM | SW | 8.5 | 532 | 41.0799 | 115.989 | <0.01 | <0.3 | 2.7 | 74 | <0.05 | < 0.01 | 75 | 0.02 | <0.02 | 3 | 1 | 39 | 2600 | 28 | 7.1 | 2.6 | 15 | <0.1 | 49 | 0.3 | 0.4 | 4 | 20 | 120 | 190 | < 0.005 | <0.05 | 2.4 | 3.5 | 1
NN0W290 | LM | SPW | 7.9 | 417 | 41.0658 | 115.9641 | <0.01 | <0.3 | 2.8 | 91 | <0.05 | < 0.01 | 58 | <0.02 | <0.02 | 3 | <0.5 | 25 | 2100 | 18 | 0.28 | 2.3 | 9.3 | <0.1 | < 1 | 0.2 | 0.4 | 0.7 | 16 | 42 | 300 | < 0.005 | <0.05 | 2 | 1.3 | <0.5
NN0W292 | LM | SPW | 7.8 | 276 | 41.1225 | 115.9986 | <0.01 | 1 | 3.6 | 68 | <0.05 | < 0.01 | 59 | <0.02 | <0.02 | <1 | <0.5 | 83 | 2100 | 5.5 | 22 | 3.6 | 10 | <0.1 | 15 | 0.2 | 0.68 | 1 | 26 | 19 | 200 | < 0.005 | <0.05 | 3.9 | 2.6 | <0.5
NN0W293 | LM | MDW | 8.5 | 611 | 41.1303 | 116.0103 | <0.01 | 2.1 | 53 | 60 | <0.05 | < 0.01 | 95 | 1.3 | <0.02 | 2 | 3 | 49 | 6100 | 17 | 54 | 3 | 13 | <0.1 | 9 | 0.77 | 8.1 | 0.5 | 22 | 190 | 640 | < 0.005 | <0.05 | 2.8 | 1.3 | 28
NN0W294 | LM | MDW | 8.2 | 614 | 41.1463 | 116.0242 | <0.01 | 0.6 | 53 | 92 | <0.05 | < 0.01 | 79 | 0.03 | <0.02 | 2 | 0.9 | 74 | 6500 | 12 | 63 | 2.9 | 20 | <0.1 | 94 | 0.59 | 3.5 | 0.4 | 33 | 120 | 660 | < 0.005 | <0.05 | 3.6 | 2.8 | 3
NN0W295 | LM | SW | 8.7 | 427 | 41.1355 | 116.0873 | <0.01 | <0.3 | 8.8 | 130 | <0.05 | < 0.01 | 36 | <0.02 | <0.02 | 2 | 0.8 | 16 | 10000 | 11 | 6.7 | 2.4 | 32 | <0.1 | 100 | 0.2 | 0.2 | < 0.2 | 45 | 20 | 340 | < 0.005 | <0.05 | 3.5 | 12 | 0.7
NN0W296 | IN | SW | 8.2 | 224 | 41.3272 | 115.9825 | <0.01 | 0.6 | 2 | 160 | <0.05 | < 0.01 | 35 | 0.03 | <0.02 | <1 | 0.8 | 42 | 600 | 20 | 0.41 | 1.3 | 3.6 | 0.3 | 20 | 0.2 | 0.2 | 0.3 | 11 | 15 | 70 | < 0.005 | <0.05 | 0.75 | 0.5 | 1
NN0W297 | IN | MDW | 2.4 | 1784 | 41.3263 | 115.9803 | <0.01 | 5600 | 3.7 | 29 | 1 | < 0.01 | 170 | 8.6 | 19 | 9 | 190 | 42000 | 530 | 56 | 1400 | 0.55 | 3.4 | 130 | 88 | 0.75 | 0.2 | 1 | 33 | 1000 | 240 | 0.88 | 0.4 | 3.6 | 5.7 | 550
NN0W298 | IN | SW | 8.5 | 261 | 41.3003 | 115.972 | <0.01 | 0.9 | 4.4 | 140 | <0.05 | < 0.01 | 38 | 0.04 | <0.02 | <1 | <0.5 | 46 | 700 | 21 | 1.6 | 1.8 | 3.2 | <0.1 | 15 | 0.2 | 0.4 | 0.4 | 9 | 23 | 89 | < 0.005 | <0.05 | 0.67 | 0.83 | 2
NN0W299 | IN | SW | 8 | 165 | 41.3201 | 115.9048 | <0.01 | 9.4 | 1 | 110 | <0.05 | < 0.01 | 21 | 0.03 | <0.02 | <1 | 0.9 | 32 | 990 | 8.2 | 3.5 | 1.6 | 6.4 | 0.9 | 31 | 0.2 | 0.1 | < 0.2 | 16 | 11 | 58 | < 0.005 | <0.05 | 0.24 | 1 | 1
NN0W300 | na | SW | 8.7 | 314 | 41.3689 | 115.7863 | <0.01 | 3.7 | 10 | 140 | <0.05 | < 0.01 | 42 | <0.02 | 0.1 | <1 | 1 | 67 | 3700 | 13 | 19 | 0.63 | 12 | 1.3 | 66 | 0.3 | 0.3 | < 0.2 | 26 | 45 | 180 | < 0.005 | <0.05 | 0.4 | 1.5 | 0.5
NN0W301 | LM | SPW | 8 | 357 | 41.1555 | 115.952 | <0.01 | 0.5 | 15 | 76 | <0.05 | < 0.01 | 49 | 0.02 | <0.02 | 4 | 0.5 | 21 | 1600 | 9.8 | 0.41 | 4.5 | 5.8 | <0.1 | 4.4 | 0.3 | 1.5 | 1 | 20 | 20 | 220 | < 0.005 | <0.05 | 4.6 | 4.4 | 8
NN0W302 | LM | SPW | 7 | 220 | 41.1317 | 115.9494 | <0.01 | <0.3 | 13 | 20 | <0.05 | < 0.01 | 34 | 0.3 | <0.02 | <1 | 0.5 | 39 | 910 | 6.6 | 13 | 1.2 | 17 | <0.1 | 14 | 0.3 | 0.2 | < 0.2 | 28 | 14 | 190 | < 0.005 | <0.05 | 1.4 | 4.3 | 130
NN0W303 | RR | SW | 8.4 | 347 | 40.572 | 116.0546 | <0.01 | 6.7 | 4.6 | 130 | <0.05 | < 0.01 | 48 | 0.03 | 0.04 | <1 | 0.9 | 62 | 2800 | 17 | 5 | 5 | 25 | 1.6 | 79 | 0.2 | 0.3 | 1 | 25 | 68 | 180 | < 0.005 | <0.05 | 0.99 | 4.3 | 2
NN0W304 | RR | SPW | 7.7 | 111 | 40.5547 | 116.0419 | <0.01 | 44 | 9.7 | 110 | <0.05 | < 0.01 | 11 | <0.02 | 0.1 | <1 | 1 | 89 | 1300 | 2.8 | 10 | 0.96 | 12 | 0.5 | 25 | 0.3 | 0.1 | < 0.2 | 15 | 7.4 | 77 | 0.008 | <0.05 | 0.13 | 0.7 | <0.5
NN0W305 | RR | SPW | 7.6 | 108 | 40.5496 | 116.0113 | <0.01 | 26 | 2.5 | 220 | <0.05 | < 0.01 | 13 | <0.02 | 0.5 | <1 | 0.9 | 68 | 1200 | 5 | 44 | 0.62 | 12 | 1.5 | 39 | 0.2 | 0.2 | 0.3 | 14 | 19 | 55 | < 0.005 | <0.05 | 0.06 | 0.3 | 1
NN0W306 | RR | SPW | 7.5 | 249 | 40.5339 | 115.9839 | <0.01 | <0.3 | 12 | 260 | <0.05 | < 0.01 | 42 | 0.1 | <0.02 | <1 | 0.8 | 56 | 1300 | 15 | 1.9 | 1.9 | 11 | <0.1 | 30 | 0.3 | 0.2 | < 0.2 | 29 | 13 | 110 | < 0.005 | <0.05 | 0.73 | 0.88 | 2
NN0W309 | RR | SPW | 7.5 | 80.3 | 40.5439 | 116.0027 | <0.01 | 64 | 7 | 250 | <0.05 | < 0.01 | 7.5 | <0.02 | 0.1 | <1 | 1 | 70 | 1200 | 2 | 6 | 0.55 | 11 | 0.4 | 73 | 0.4 | 0.2 | < 0.2 | 17 | 11 | 54 | < 0.005 | <0.05 | 0.04 | 0.8 | 0.8
NN0W310 | RR | SPW | 8.6 | 378 | 40.4651 | 116.0482 | <0.01 | 1.9 | 18 | 250 | <0.05 | < 0.01 | 50 | <0.02 | <0.02 | 4 | 0.9 | 26 | 980 | 20 | 0.79 | 1.5 | 8.8 | <0.1 | 16 | 0.2 | 0.5 | < 0.2 | 17 | 20 | 150 | < 0.005 | <0.05 | 0.9 | 2.7 | 0.6
NN0W311 | RR | SPW | 8.3 | 372 | 40.459 | 116.0177 | <0.01 | 35 | 4.4 | 260 | 0.05 | 0.04 | 56 | 0.03 | <0.02 | 5 | 1 | 66 | 40 | 16 | 4.9 | 1.4 | 11 | <0.1 | 7.3 | 2.3 | 0.74 | 1 | 21 | 14 | 120 | < 0.005 | <0.05 | 0.53 | 2.4 | 4
NN0W312 | RR | SW | 8.4 | 317 | 40.4658 | 116.0525 | <0.01 | 6.6 | 3.1 | 310 | <0.05 | < 0.01 | 47 | <0.02 | <0.02 | <1 | <0.5 | 72 | 470 | 24 | 0.4 | 0.99 | 4.5 | 0.2 | < 1 | 0.2 | 0.3 | < 0.2 | 12 | 17 | 79 | < 0.005 | <0.05 | 0.76 | 0.5 | 0.8
NN0W313 | CZ | SW | 8.4 | 403 | 40.2043 | 116.5842 | <0.01 | <0.3 | 66 | 41 | <0.05 | < 0.01 | 62 | 0.06 | <0.02 | 3 | 0.7 | 25 | 2100 | 15 | 1.2 | 8.1 | 18 | <0.1 | < 1 | 0.99 | 9.5 | 2 | 16 | 85 | 380 | < 0.005 | <0.05 | 6.5 | 2.3 | 6
NN0W316 | CZ | SPW | 7.9 | 312 | 40.0944 | 116.6953 | <0.01 | 0.4 | 3.4 | 77 | <0.05 | < 0.01 | 33 | <0.02 | <0.02 | <1 | 0.6 | 42 | 2000 | 9 | 11 | 2 | 38 | <0.1 | 31 | 0.3 | 0.1 | < 0.2 | 30 | 35 | 200 | < 0.005 | <0.05 | 5.2 | 4.4 | <0.5
NN0W317 | CZ | SPW | 8.1 | 453 | 40.2661 | 116.845 | <0.01 | 2.1 | 2.7 | 88 | <0.05 | < 0.01 | 42 | 0.03 | 0.3 | 2 | 1 | 20 | 2300 | 17 | 3 | 4.3 | 28 | <0.1 | 63 | 0.5 | 0.4 | 3 | 20 | 65 | 170 | < 0.005 | <0.05 | 3 | 3.3 | 2
NN0W318 | HT | SW | 8.1 | 710 | 40.4114 | 116.7919 | 0.08 | 1 | 16 | 91 | <0.05 | < 0.01 | 85 | <0.02 | <0.02 | 2 | 1 | 48 | 2600 | 24 | 50 | 9.3 | 60 | <0.1 | 31 | 0.2 | 1.4 | 2 | 26 | 230 | 570 | < 0.005 | <0.05 | 5.1 | 2.1 | 0.8
NN0W319 | HT | SW | 8.2 | 105 | 40.4127 | 116.8346 | <0.01 | 37 | 2.4 | 60 | <0.05 | < 0.01 | 14 | 0.09 | 0.04 | <1 | 2 | 27 | 1100 | 3.8 | 6.7 | 1.4 | 6.6 | 2.3 | 48 | 0.3 | 2.1 | 0.8 | 13 | 21 | 94 | < 0.005 | <0.05 | 0.04 | 1.9 | 6
NN0W320 | HT | SW | 7.8 | 414 | 40.4367 | 116.8122 | 0.01 | 5.1 | 7.6 | 49 | 0.05 | < 0.01 | 40 | 0.1 | 0.3 | 1 | 1 | 41 | 2000 | 15 | 43 | 2.6 | 23 | 3.4 | 26 | 0.3 | 5.1 | 2 | 17 | 130 | 210 | < 0.005 | <0.05 | 0.52 | 1.2 | 20
NN0W322 | BM | SW | 8.6 | 256 | 40.6219 | 117.1204 | <0.01 | 12 | 2.1 | 22 | <0.05 | < 0.01 | 19 | <0.02 | 0.03 | <1 | 1 | 27 | 1700 | 6.1 | 1 | 1.6 | 22 | 0.2 | 18 | 0.2 | 0.3 | < 0.2 | 20 | 34 | 100 | < 0.005 | <0.05 | 0.11 | 1.2 | <0.5
NN0W323 | BM | SPW | 7.7 | 286 | 40.6 | 117.1045 | <0.01 | <0.3 | 0.8 | 45 | <0.05 | < 0.01 | 39 | <0.02 | <0.02 | <1 | 0.6 | 48 | 1200 | 15 | 0.32 | 0.3 | 19 | <0.1 | 2 | 0.3 | 0.3 | < 0.2 | 20 | 33 | 210 | < 0.005 | <0.05 | 0.31 | 0.4 | 0.8
NN0W324 | BM | SPW | 7.5 | 406 | 40.5678 | 117.1322 | 0.01 | <0.3 | 2 | 100 | <0.05 | < 0.01 | 56 | 0.2 | <0.02 | 5 | 1 | 25 | 1300 | 13 | 0.66 | 0.58 | 21 | <0.1 | < 1 | 0.52 | 0.1 | 2 | 13 | 28 | 170 | < 0.005 | <0.05 | 1.1 | 1.2 | 6
NN0W325 | BM | MDW | 2.1 | 4590 | 40.5549 | 117.1176 | 3.2 | 28000 | 24000 | 8 | 2.8 | 6.2 | 320 | 480 | 280 | 112 | 28000 | 360000 | 5200 | 260 | 2200 | 2.8 | 100 | 420 | 640 | 220 | 30 | 18.8 | 36 | 3200 | 1500 | 8.2 | 1.38 | 15 | 100 | 10400
NN0W326 | BM | SW | 7.7 | 696 | 40.6053 | 117.0492 | <0.01 | 0.5 | 13 | 29 | <0.05 | < 0.01 | 64 | 0.03 | 0.3 | <1 | 1 | 83 | 3200 | 21 | 100 | 71 | 59 | 0.2 | 3 | 0.4 | 0.6 | 0.6 | 30 | 240 | 410 | < 0.005 | <0.05 | 0.42 | 0.3 | 6