## Sheet1
Tradename | Method | Sample Type | Manufacturer | sample volume (microliters) | Rules for repeat testing if initial result is positive | Time in minutes to 1st result | Confirmation Requirements | supplemental testing statement covering stand alone screening for pregnant women
Auszyme Monoclonal | ELISA manual | serum/plasma | Abbott Lab | 200 ul | retest in duplicate | 960 min. | HBsAg confirmation required | No statement in package insert
Abbott Prism | Chemiluminescent automated | serum/plasma | Abbott Lab | 100 ul | retest in duplicate | 54 min. | HBsAg confirmation required | Screening assay for donated blood to prevent transmission of HBV to recipients of blood and blood components.
Axsym | Color EIA automated | serum/plasma | Abbott Lab | 140 ul | retest in duplicate | 30 min. | HBsAg confirmation required | No statement in package insert
Bayer Centaur | Chemiluminescence automated | serum/plasma | Bayer | 100 ul | retest in duplicate or supplemental testing | 30 min. | Perform repeat testing in duplicate and/or supplemental testing | When the ADVIA Centaur HBsAg is used as a stand alone assay (for example in pregnant women being screened to identify neonates who are at risk for acquiring HBV during perinatal period,) all results >1.00 should be considered initially reactive. Repeat testing and supplemental tests, such as the ADVIA Centaur HBsAg Confirmatory Assay must be used to confirm the result.
Genetic Systems HBsAg EIA 3.0 | Enzyme-linked Immunoassay | serum/plasma | Bio Rad | 100 ul | retest in duplicate | 150 min | HBsAg confirmation required | No statement in package insert
Immulite HBsAg | Chemiluminescence automated | serum/plasma | Diagnostic Product Corporation | 100 ul | retest in duplicate | 60 min. | HBsAg confirmation required | When HBsAg is used as a stand alone assay for screening pregnant women to identify neonates who are at risk for acquiring HBV during perinatal period, supplemental testing such as the Immulite HBsAg Confirmatory Kit must be used to confirm the result.
ETI-MAK-2 Plus (HBsAg) | Enzyme-linked Immunoassay | serum/plasma | DiaSorin | 100 ul | retest in duplicate | 210 min. | HBsAg confirmation required | No statement in package insert
Ortho Vitros ECi | Chemiluminescence automated | serum/plasma | Ortho Diag. | 80 ul | retest in duplicate | 40 min. | if 2 of 3 are >5.00 s/c, the sample is positive and no further testing required | In instanceswhere HBsAg is used as a stand alone assay (for ex. In pregnant women being screened to identify neonates who are at risk for acquiring HBV during perinatal period, it is suggested that suppplemental testing as the VITROS HBsAg Confirmatory Kit be used o confirm the result.
Elecsys 2010 | Chemiluminescence automated | serum/plasma | Roche | 50 ul | retest in duplicate | 18 min | HBsAg confirmation required | No statement in package insert