National Water Quality Laboratory

Technical Memorandum 2005.01

Statistical Definition Summary

Bias – The measure of the difference between the average of a set of measurements and the true value.

Coefficient of Variance (Coef. Var.) – Measure of the relative variability of the data specified.  It is the standard deviation divided by the mean.

Confidence Level (95 or 99 percent) – Reports a range of concentrations within which a particular parameter would likely occur if samples were taken repeatedly from the sample distribution.

Count – The number of concentrations minus the number of cases that have missing concentrations.

F-pseudosigma – Measurement of variance.  Interquartile range divided by 1.349.

F-test – This test shows whether the variance of one group is smaller, larger, or equal to the variance of the other group.

Interquartile Range (IQR) – The interquartile range is calculated by subtracting the 25th % value from the 75th % value.  It is the range of concentrations containing the central 50% of the data.  The IQR is based around the median.

LT–MDL– Long-Term Method Detection Level – A detection level derived by determining the standard deviation of a minimum of 24 method detection limit spike sample measurements over an extended period.  LT–MDL data are collected on a continuous basis to assess year -to-year variations in the LT–MDL.  The LT–MDL controls false positive error.  The chances of falsely reporting a concentration at or greater than the LT–MDL, for a sample that did not contain analyte, is predicted to be less than or equal to 1 percent.

Mann-Whitney Test –This tests the hypothesis that the medians of the two groups are the same.  This test deals with the ranked concentrations, so outliers do not influence it.

Maximum – Identified largest value in the data.

Mean – The sum of all of the concentrations divided by the number of concentrations.

Median – The middle value of all concentrations, when all concentrations are listed in numeric order.

MRL – Minimum reporting level – Smallest measured concentration of a constituent that may be reliably reported by using a given analytical method.

Minimum – Identified smallest value in data.

P10 – The data value that 10% of the observations are less than.

P25 – The data value that 25% of the observations are less than.

p-value – A reporting convention that is used to report on the chance of or the hypothesis from certain statistical tests.  A p-value close to 1 means the chance of or the hypothesis is true and the data, with respect to the specific test, are the same.  A p-value close to 0 means the chance of or the hypothesis is not true and the data, with respect to the specific test, are not the same.  For the 95th percentile confidence interval criteria, a p-value of > 0.05 means the data are statistically similar.  A p-value < 0.05 means the data are statistically different.

Precision – The measurement of the degree of concentration of measurements about their mean.

Range – The difference between the maximum and minimum concentrations.

RELIQ – Interquartile range of recovery divided by the median.  Used to assess variability.

Standard Deviation (Std Dev) – Measurement of the spread about the mean.  It is the square root of the differences between each data value and the mean, divided by one less than the number of concentrations.  It is the square root of the variance.

Standard Error (Std Error) – Measurement of the standard error of the mean.  Computed by taking the standard deviation and dividing it by the square root of the number of concentrations.

t-test – This test compares the means of the two groups and determines the likelihood of the observed differences occurring by chance.

Variance – Measurement of the spread about the mean.  It is calculated by taking the square of the differences between each data value and the mean, and then dividing by one less than the number of concentrations.  It is the square of the standard deviation.

Uncited References

Abacus Concepts, Inc., 1996, StatView reference manual: Berkley, Calif., USA.

Miller, J.C., and Miller, L.N., 1993, Statistics for analytical chemists, 3rd ed.: Ellis Horwood Limited, Chichester, West Sussex, England.

Ott, W.R., 1995, Environmental statistics and data analysis: CRC Press, Inc., Boca Raton, Fla., USA.

Montgomery, D.C., 1991, Introduction to statistical quality control, 2nd ed.: John Wiley & Sons, USA.