## BOM
| BEAM SEPARATOR BOM | 2003-02-05
I-DEAS PROJECT: BEAM_SEPARATOR
| DRAWING TREE # 5520-ME-429113 |  |  |  |  | I-DEAS LIBRARY: ELECTROSTATIC BEAM SEPARATOR
[6 empty] | I-DEAS LIBRARY: HEATER BLANKETS |  | YELLOW HIGHLIGHT => DRAWING IS REQUIRED
[6 empty] | I-DEAS LIBRARY: BEAMLINE BELLOWS |  | ALL 393### ITEMS MUST HAVE A SPECIFICATION DRAWING.
[5 empty] | MAIN | I-DEAS LIBRARY: HEATER HARDWARE |  | NC => NOT CONNECTED TO THE SAME SOLID USED IN THE FINAL ASSY
ASSY
QTY | OLD PART/ASSEMBLY NAME | TYPE | OLD P/N | NEW P/N | BOM # | NEW PART/ASSEMBLY NAME | 2-D EXISTS | 2-D DONE | CHECKED | APPROVED | XDCS | PLOTTED
1 | separator bakeout system assembly | ASSEMBLY | ME-326459 | 429000 |  | BEAM SEPARATOR ASSEMBLY
1 | mounting stand(stationary end) | ASSEMBLY | MD-276770 | 429007 | 7 | MOUNTING STAND_STATIONARY END | NC
1 | base plate | PART | MD-273700 | 429062 |  | BASE PLATE_STATIONARY END | ·
4 | mounting stud | PART | MB-273702 | 429063 |  | STUD_MOUNTING | ·
8 | hex nut 3/4-10 | PART | comm-std | 393148 |  | NUT_HEX 3/4-10 |  | X
8 | Type B Plain Regular 3/4 diameter | PART | comm-std | 393149 |  | WASHER_3/4
1 | sliding plate(stationary end) | PART | MD-273701 | 429064 |  | SLIDING PLATE_STATIONARY END | ·
1 | sphero-bearing | PART | morse cor-12 | 393190 |  | SPHERICAL BEARING_MORSE COR-12 |  | X
1 | inner spherical bearing | PART | N/A | N/A |  |  | ·
1 | outer spherical race | PART | N/A | N/A |  |  | ·
1 | bearing attaching ring | PART | MB-273704 | 429065 |  | RING_BEARING | ·
4 | Hex Socket Head 1/4-20 x 1 lg. | PART | comm-std | 393199 |  | BOLT_HEX SOCKET HEAD 1/4-20 X 1 LG |  | X
1 | slide weldment | WELDMENT | none | 429066 |  | SLIDE WELDMENT
1 | Hex Head 1/4-20 x 3 long | PART | comm-std | 393196 |  | ROD_THREADED_3/8-24 UNF X 4.0 LG |  | X
2 | Hex nut 1/4-20 | PART | comm-std | 393081 |  | NUT_HEAVY HEX 3/8-24 UNF |  | X
1 | mounting stand(sliding end) | ASSEMBLY | MD-276771 | 429008 | 8 | MOUNTING STAND_SLIDING END | NC
1 | base plate | PART | MD-276700 | 429107 |  | BASE PLATE_SLIDING END
4 | mounting stud | PART | MB-273702 | 429063 |  | STUD_MOUNTING | REPEAT | N/A | N/A | N/A | N/A | N/A
10 | hex nut 3/4-10 | PART | comm-std | 393148 |  | NUT_HEX 3/4-10 |  | X
12 | Type B Plain Regular 3/4 diameter | PART | comm-std | 393149 |  | WASHER_3/4
1 | sliding plate(original) | PART | MD-273708(original) | 429067 |  | SLIDING PLATE_SLIDING END | NC
2 | Hex Socket Head 3/4-10 x 6.0 long | PART | comm-std | 393193 |  | BOLT_SHOULDER_3/4-10 X 6 LG W/ 5/8-11 THREAD |  | X
2 | rod end 3/4-16 | PART | morse cor-12 | 393152 |  | ROD END 3/4-16_SEALMASTER CFM-12 |  | X
1 | Lateral Adjuster weldment | WELDMENT | for_MC-273711 | 429068 |  | LATERAL ADJUSTER WELDMENT
1 | Hex Head bolt 3/8-24 x 3 7/8 long | PART | comm-std | 393196 |  | ROD_THREADED_3/8-24 UNF X 4.0 LG |  | X
2 | Heavy Hex nut 3/8-24 | PART | comm-std | 393081 |  | NUT_HEAVY HEX 3/8-24 UNF |  | X
2 |  | PART | comm-std | 393151 |  | NUT_JAM 3/4-16 UNC |  | X
1 | end dome flange w/bellows assy | ASSEMBLY | not yet | 429009 | 9 | FLANGE_END DOME_W BELLOWS ASSY | ·
1 | 14 inch dia.dome | PART | not yet | 429069 |  | DOME_DIAM 14.0
1 | Dia 16 1/2 Conflat Flange | PART | MC-261555 | 429025 |  | FLANGE_CF_Diam 16.5 | REPEAT | N/A | N/A | N/A | N/A | N/A
1 | 3 inch bellows assy | ASSEMBLY |  | 429070 |  | BELLOWS_DIAM 3 ASSY
1 | 3.125 diameter bellows | PART | not yet | 393207 |  | BELLOWS_DIAM 3.125
1 | Dia. 6.00 conflat flange for bellows | PART | not yet | 429111 |  | FLANGE_CF_DIAM 6.0 FOR BELLOWS
4 | boss | PART | none | 429112 |  | BOSS (or just a welded-on nut)
4 |  |  |  | 393197 |  | THREADED ROD_3/8-16 UNC X 6 LG
8 | Heavy Hex 3_8-16 UNC | PART | COMM-STD | 393198 |  | NUT_HEAVY HEX 3/8-16 UNC |  | X
1 | TSP W/ VALVE PORT Assembly | ASSEMBLY | ME-261587 | 429010 |  | TSP W_VALVE PORT Assembly (NO DWG, I-DEAS ASSY ONLY)
1 | TSP w/ VALVE PORT Assembly | ASSEMBLY | 2214-MD-291016-01a | 429071 | 14 | TSP W_VALVE PORT WELDMENT
1 | 10 inch OD x 8 inch ID flange | PART | MC-291007-01a | 429072 |  | FLANGE_OD 10 x ID 8
1 | 10 inch OD x 1 1/2 ID flange | PART | MC-291008-01a | 429073 |  | FLANGE_OD 10 x ID 1.5 ID
1 | 1 1/2 OD tube | PART | MB-291009-01 | 429074 |  | TUBE_OD 1.5
1 | 4 inch OD tube | PART | MB-291012-01a | 429075 |  | TUBE_OD 4
1 | 8 inch OD tube | PART | MC-291013-01 | 429076 |  | TUBE_OD 8
1 | disk | PART | MB-291011-01 | 429077 |  | DISK
3 | support rod | PART | MB-291014-01 | 429078 |  | ROD_SUPPORT
1 | TSP shell with valve port | PART | MD-291006-01a | 429079 |  | SHELL_TSP_W VALVE PORT
1 | 2 3/4 OD non-rotatable Bored CF Flange | PART | 5520-MB-393102-01 | 393102 |  | FLANGE_CF_OD 2.75 CBORED
1 | 10 inch OD non-rotatable Bored CF Flange | PART | 5520-MC-393109-01 | 393109 |  | FLANGE_CF_OD 10 NONROTATABLE BORED
1 | 6 OD non-rotatable bored CF Flange | PART | 5520-MB-393106-01 | 393106 |  | FLANGE_CF_OD 6 NONROTATABLE BORED
1 | 6 OD non-rotatable blank-off CF Flange | PART | 5520-MB-393095-01 | 393095 |  | FLANGE_BLANKOFF_OD 6 NONROTATABLE |  | X
1 | 5 inch dia. add on assembly | PART | none | 429080 | 12 | VALVE ASSEMBLY_DIAM 5
1 | Titanium Sublimation CartridgeAssembly | ASSEMBLY | Varian #916-0017 | 393188 | 21 | TITANIUM SUBLIMATION ASSY_VARIAN #916-0017 |  | X
1 | TS Cartridge CF flange | PART | N/A | N/A |  | TS Cartridge CF flange | ·
1 | weld cup sst nickel plated | PART | N/A | N/A |  | weld cup sst nickel plated | ·
3 | feed thru rod short | PART | N/A | N/A |  | feed thru rod short | ·
1 | feedthru-ground rod | PART | N/A | N/A |  | feedthru-ground rod | ·
1 | high alumina ceramic spacer | PART | N/A | N/A |  | high alumina ceramic spacer | ·
6 | kovar transition | PART | N/A | N/A |  | kovar transition | ·
3 | insulator high alumina ceramic | PART | N/A | N/A |  | insulator high alumina ceramic | ·
1 | center-top element | PART | N/A | N/A |  | center-top element | ·
1 | right element | PART | N/A | N/A |  | right element | ·
1 | left element | PART | N/A | N/A |  | left element | ·
1 | bottom element clamp block | PART | N/A | N/A |  | bottom element clamp block | ·
1 | top element clamp block | PART | N/A | N/A |  | top element clamp block | ·
2 | Hex Socket Head #8-32 x 3/4 lg. | PART | comm-std | N/A |  | Hex Socket Head #8-32 x 3/4 lg. | ·
2 | Hex Nut Machine Screw #8-32 | PART | comm-std | N/A |  | Hex Nut Machine Screw #8-32 | ·
1 | ion gauge flange/elbow assembly | ASSEMBLY | 2214-MC-261582-01a | 429012 | 10 | ION GUAGE FLANGE/ELBOW ASSEMBLY | ·
1 | 2 3/4 OD non-rotatable Bored CF Flange | PART | 5520-MB-393102-01 | 393102 |  | FLANGE_CF_OD 2.75 CBORED
1 | 4 5/8 OD x 1 1/2 ID conflat flange | PART | 2214-MC-261581-01 | 429108 |  | FLANGE_CF_OD 4.625 CBORED
1 | tube 1 | PART | not yet | 393208 |  | TUBE_OD 1.5_ELBOW
1 | TSP W/ ION PUMP PORT Assembly | ASSEMBLY | ME-261588 | 429011 |  | TSP W_ION PUMP PORT Assembly (NO DWG, I-DEAS ASSY ONLY)
1 | perkin-elmer ion pump 220l/s | PART | P/E#2070230 | 393189 | 22 | PERKIN ELMER ION PUMP 220l/S_P/E#2070230 | ·
1 | TSP W/ION PUMP PORT ASSEMBLY | ASSEMBLY | 2214-MD-291015-01a | 429081 | 15 | TSP W_ION PUMP PORT WELDMENT
1 | 1 1/2 OD tube | PART | MB-291009-01 | 429074 |  | TUBE_OD 1.5 | REPEAT | N/A | N/A | N/A | N/A | N/A
1 | 10 inch OD x 1 1/2 ID flange | PART | MC-291008-01a | 429073 |  | FLANGE_OD 10 X ID 1.5 | REPEAT | N/A | N/A | N/A | N/A | N/A
1 | 10 inch OD x 8 inch ID flange | PART | MC-291007-01a | 429072 |  | FLANGE_OD 10 X ID 8 | REPEAT | N/A | N/A | N/A | N/A | N/A
1 | 6 inch OD tube | PART | MB-291010-01a | 429082 |  | TUBE_OD 6
1 | 8 inch OD tube | PART | MC-291013-01 | 429076 |  | TUBE_OD 8 | REPEAT | N/A | N/A | N/A | N/A | N/A
1 | disk | PART | MB-291011-01 | 429077 |  | DISK | REPEAT | N/A | N/A | N/A | N/A | N/A
3 | support rod | PART | MB-291014-01 | 429078 |  | ROD_SUPPORT | REPEAT | N/A | N/A | N/A | N/A | N/A
1 | TSP shell with ion pump port | PART | MD-291005-01a | 429083 |  | SHELL_TSP_W_ION PUMP PORT
1 | 2 3/4 OD non-rotatable Bored CF Flange | PART | 5520-MB-393102-01 | 393102 |  | FLANGE_CF_OD 2.75 CBORED
1 | 10 inch OD non-rotatable Bored CF Flange | PART | 5520-MC-393109-01 | 393109 |  | FLANGE_CF_OD 10 NONROTATABLE BORED
1 | 8 inch OD non-rotatable Bored CF Flange | PART | 5520-MB-393108-01 | 393108 |  | FLANGE_CF_OD 8 NONROTATABLE BORED
1 | Titanium Sublimation CartridgeAssembly | ASSEMBLY | Varian #916-0017 | 393188 | 21 | TITANIUM SUBLIMATION ASSY_VARIAN #916-0017 |  | X
1 | TS Cartridge CF flange | PART | N/A | N/A |  |  | ·
1 | weld cup sst nickel plated | PART | N/A | N/A |  |  | ·
3 | feed thru rod short | PART | N/A | N/A |  |  | ·
1 | feedthru-ground rod | PART | N/A | N/A |  |  | ·
1 | high alumina ceramic spacer | PART | N/A | N/A |  |  | ·
6 | kovar transition | PART | N/A | N/A |  |  | ·
3 | insulator high alumina ceramic | PART | N/A | N/A |  |  | ·
1 | center-top element | PART | N/A | N/A |  |  | ·
1 | right element | PART | N/A | N/A |  |  | ·
1 | left element | PART | N/A | N/A |  |  | ·
1 | bottom element clamp block | PART | N/A | N/A |  |  | ·
1 | top element clamp block | PART | N/A | N/A |  |  | ·
2 | Hex Socket Head #8-32 x 3/4 lg. | PART | comm-std | N/A |  |  | ·
2 | Hex Nut Machine Screw #8-32 | PART | comm-std | N/A |  |  | ·
1 | HEATER EQUIPMENT ASSEMBLY | ASSEMBLY |  | 429014 |  | HEATER EQUIPMENT LAYOUT
8 | heater band 100 watt dia. 14 x 2.5 wide | PART | not yet | 429102 | 393165 | HEATER BAND 100 WATT_DIAM 14 X 2.5 WIDE |  | X
4 | heater band 40 watt dia. 10 x 2 wide | PART | not yet | 429103 | 393167 | HEATER BAND 40 WATT_DIAM 10 x 2 WIDE |  | X
2 | heater band 60 watt dia 10.75 x 2.5 wide | PART | not yet | 429104 | 393166 | HEATER BAND 60 WATT_DIAM 10.75 x 2.5 WIDE |  | X
2 | heater band 25 watt dia. 5.875 x 2 wide | PART | not yet | 429105 | 393168 | HEATER BAND 25 WATT_DIAM 5.875 x 2 WIDE |  | X
| heater band dia 4 x 3 wide | PART | not yet | 429109 | 393169 | HEATER BAND 25_DIAM 4 x 3 WIDE | ·
| MISC. WIRES, LUGS, NUTS, AND WASHERS | GROUPING |  | N/A |  | MISC. WIRES, LUGS, NUTS, AND WASHERS | N/A | N/A | N/A | N/A | N/A | N/A
2 | jumper wire assembly(long) | ASSEMBLY | not yet | N/A |  |  | ·
2 | jumper wire (long) | ASSEMBLY | not yet | N/A |  |  | ·
4 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
4 | #10-32 Type B Plain Narrow washer | ASSEMBLY | comm-std | N/A |  |  | ·
17 | jumper wire assembly(short) | ASSEMBLY | not yet | N/A |  |  | ·
17 | jumper wire (short) | ASSEMBLY | not yet | N/A |  |  | ·
34 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
34 | #10-32 Hex Machine Screw Nut | ASSEMBLY | comm-std | N/A |  |  | ·
34 | #10-32 Type B Plain Narrow washer | ASSEMBLY | comm-std | N/A |  |  | ·
2 | jumper wire(long#2)Assembly | ASSEMBLY | none | N/A |  |  | ·
2 | jumper wire (long#2) | ASSEMBLY | none | N/A |  |  | ·
4 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | jumper wire (bent#1)Assembly | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | jumper wire(bent#1) | ASSEMBLY | none | N/A |  |  | ·
1 | jumper wire (bent#1)Assembly2 | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | jumper wire(bent#1) | ASSEMBLY | none | N/A |  |  | ·
1 | jumper wire(bent#2)Assembly1 | ASSEMBLY | none | N/A |  |  | ·
1 | jumper wire (bent#2) | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | jumper wire(bent#2)Assembly2 | ASSEMBLY | none | N/A |  |  | ·
1 | jumper wire (bent#2) | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | plug wire #1 assembly | ASSEMBLY | none | N/A |  |  | ·
1 | plug wireL.H. #1 | ASSEMBLY | none | N/A |  |  | ·
1 | plug wireR.H.#1 | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | hubble plug | ASSEMBLY | 5666C | N/A |  |  | ·
1 | plug wire #2 assembly | ASSEMBLY | none | N/A |  |  | ·
1 | plug wireL.H.#2 | ASSEMBLY | none | N/A |  |  | ·
1 | plug wireR.H.#2 | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | hubble plug | ASSEMBLY | 5666C | N/A |  |  | ·
4 | jumper wire(9 inch) assembly | ASSEMBLY | none | N/A |  |  | ·
4 | straight jumper wire (9 inch) | ASSEMBLY | none | N/A |  |  | ·
8 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | plug wire #6 Assembly | ASSEMBLY | none | N/A |  |  | ·
1 | plug wire #6(lower lug) | ASSEMBLY | none | N/A |  |  | ·
1 | plug wire #6(upper lug) | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | hubble plug | ASSEMBLY | 5666C | N/A |  |  | ·
1 | plug wire #7 Assembly | ASSEMBLY | none | N/A |  |  | ·
1 | plug wire #6(lower lug) | ASSEMBLY | none | N/A |  |  | ·
1 | plug wire #6(upper lug) | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | hubble plug | ASSEMBLY | 5666C | N/A |  |  | ·
1 | jumper wire (13 inch)#1assembly | ASSEMBLY | none | N/A |  |  | ·
1 | jumper wire (13 inch dia.)#1 | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | jumper wire(10.75 dia)#2_lower assembly | ASSEMBLY |  | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | jumper wire(10.75 dia) #2 | ASSEMBLY |  | N/A |  |  | ·
1 | jumper wire(10.75 dia)#1_lower assembly | ASSEMBLY | none | N/A |  |  | ·
1 | jumper wire(10.75 dia)#1-lower lug | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
1 | 3 inch bellows heater Assembly | ASSEMBLY | none | N/A |  |  | ·
1 | heater band dia 4 x 3 wide | ASSEMBLY | not yet | N/A |  | PART ALREADY CALLED OUT ABOVE AS P/N 429109 | ·
4 | heater lug boss | ASSEMBLY |  | N/A |  |  | ·
1 | jumper wire dia 16 inch Assembly | ASSEMBLY | none | N/A |  |  | ·
1 | jumper wire dia 16 inch | ASSEMBLY | none | N/A |  |  | ·
2 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
2 | Hubble Plug Assembly | ASSEMBLY | none | N/A |  |  | ·
2 | hubble plug | ASSEMBLY | 5666C | N/A |  |  | ·
2 | plug wire 1 | ASSEMBLY | none | N/A |  |  | ·
2 | plug wire 2 | ASSEMBLY | none | N/A |  |  | ·
4 | #10-32 Hex Machine Screw Nut | ASSEMBLY | comm-std | N/A |  |  | ·
4 | terminal lug | ASSEMBLY | not yet | N/A |  |  | ·
28 | #10-32 Type B Plain Narrow washer | ASSEMBLY | comm-std | N/A |  |  | ·
28 | #10-32 Hex Machine Screw Nut | ASSEMBLY | comm-std | N/A |  |  | ·
1 | BLANKET EQUIPMENT ASSEMBLY | ASSEMBLY |  | 429015 |  | BLANKET EQUIPMENT LAYOUT
| TSP COD BLANKET | PART |  | 429092 |  | BLANKET_TSP COD | ·
| PORT 1 BLANKET | PART |  | 429093 |  | BLANKET_PORT 1 | ·
| PORT 2 BLANKET | PART |  | 429094 |  | BLANKET_PORT 2 | ·
| PORT 3 BLANKET | PART |  | 429095 |  | BLANKET_PORT 3 | ·
| ION GUAGE BLANKET | PART |  | 429096 |  | BLANKET_ION GUAGE | ·
| ION PUMP BLANKET | PART |  | 429097 |  | BLANKET_ION PUMP | ·
| TSP TYPE A BLANKET_NUMBER 15 | PART |  | 429098 |  | BLANKET_TSP TYPE A_#15 | ·
| TSP TYPE B BLANKET_NUMBER 16 | PART |  | 429099 |  | BLANKET_TSP TYPE B_#16 | ·
| VALVE BELL BLANKET | PART |  | 429100 |  | BLANKET_BELLOWS AND FLANGE ASSY | ·
| TRANSITION END COVER | PART |  | 429101 |  | BLANKET_TRANSITION END | ·
| VACUUM VESSEL BLANKET | PART |  | 429102 |  | BLANKET_VACUUM VESSEL | ·
2 | Electrode Insulator Assembly-Rigid | ASSEMBLY | MC-261592 | 429003 | 3 | SUPPORT CERAMIC ASSEMBLY_RIGID | NC
2 | Rigid Plate | PART | MB-261593 | 429038 |  | PLATE_RIGID | ·
2 | Electrode Insulator Ceramic Assembly | ASSEMBLY | MC-261544 | 429039 |  | ELECTRODE INSULATOR CERAMIC ASSEMBLY | ·
2 | Electrode Insulator Ceramic | PART | MC-261544 | 429089 |  | ELECTRODE INSULATOR CERAMIC
2 | Kovar Sleeve Cap(dia 1_175) | PART |  | 429090 |  | KOVAR SLEEVE CAP_DIAM 1.175
2 | Kovar Sleeve(dia 1 1/4 | PART |  | 429091 |  | KOVAR SLEEVE_DIAM 1.25
6 | Hex Socket Oval Point | PART | none | 393162 |  | SET SCREW_HEX SOCKET OVAL POINT_1/4-28 X .75 LG
2 | Support Ceramic Assembly | ASSEMBLY | MC-261579 | 429004 | 4 | SUPPORT CERAMIC ASSEMBLY_FLEX | NC
2 | Electrode Insulator Ceramic Assembly | ASSEMBLY | MC-261544 | 429039 |  | ELECTRODE INSULATOR CERAMIC ASSEMBLY | REPEAT | N/A | N/A | N/A | N/A | N/A
2 | Electrode Insulator Ceramic | PART | MC-261544 | 429089 |  | ELECTRODE INSULATOR CERAMIC | REPEAT | N/A | N/A | N/A | N/A | N/A
2 | Kovar Sleeve Cap(dia 1_175) | PART |  | 429090 |  | KOVAR SLEEVE CAP_DIAM 1.175 | REPEAT | N/A | N/A | N/A | N/A | N/A
2 | Kovar Sleeve(dia 1 1/4 | PART |  | 429091 |  | KOVAR SLEEVE_DIAM 1.25 | REPEAT | N/A | N/A | N/A | N/A | N/A
2 | Skirted Swivel Center | PART | MC-273721 | 429040 |  | SKIRTED SWIVEL CENTER | ·
2 | Skirted Swivel Retainer | PART | MC-273720 | 429041 |  | SKIRTED SWIVEL RETAINER | ·
2 | Skirted Swivel Base Plate | PART | MB-273719 | 429042 |  | SKIRTED SWIVEL BASE PLATE | ·
4 | Swivel Screw | PART | MB-273718 | 429036 |  | SWIVEL SCREW | REPEAT | N/A | N/A | N/A | N/A | N/A
6 | Hex Socket Oval Point | PART | none | 393162 |  | SET SCREW_HEX SOCKET OVAL POINT_1/4-28 X .75 LG | ·
2 | H.V. Electrode Tube Assembly | ASSEMBLY | none | 429002 | 2 | H.V. Electrode Tube Assembly
2 | Electrode Tube Assembly | ASSEMBLY | ME-261547 | 429028 |  | ELECTRODE TUBE WELDMENT
4 | H.V. ELECTRODE TUBE END CAP | PART |  | 429029 |  | END CAP_H.V. ELECTRODE TUBE
2 | H.V. ELECTRODE TUBE | PART |  | 429030 |  | TUBE_H.V. ELECTRODE
4 | Attachment Cone Assembly | ASSEMBLY | MC-261591 | 429031 |  | ATTACHMENT CONE ASSEMBLY | NC
4 | Attachment Cone Ring | PART | MC-261585 | 429032 |  | RING_ATTACHMENT CONE | ·
4 | Outer Swivel Retainer | PART | MB-276732 | 429033 |  | RETAINER_OUTER SWIVEL | ·
4 | Intermediate Swivel Retainer | PART | MB-276731 | 429034 |  | RETAINER_INTERMEDIATE SWIVEL | ·
4 | Swivel Center | PART | MB-276730 | 429035 |  | SWIVEL CENTER | ·
16 | Swivel Screw | PART | MB-273718 | 429036 |  | SWIVEL SCREW | ·
4 | Attachment Cone | PART | MC-261586 | 429037 |  | ATTACHMENT CONE | ·
8 | Hex Socket Oval Point 1/4-28 x .5 LG | PART |  | 393161 |  | SET SCREW_HEX SOCKET OVAL POINT_1/4-28 X .5 LG | ·
6 | H.V. ELECTRODE TUBE CONTACT SPRING | PART |  | 429110 |  | CONTACT SPRING_H.V. ELECTRODE TUBE
12 | #6-32 Slotted Binding Head x 1/4 LG | PART |  | 393163 |  | SCREW_#6-32 SLOTTED BINDING HEAD X 1/4 LG |  | X
24 | #6-32 Flat Head Socket Screw x 3/16 LG | PART |  | 393164 |  | SCREW_#6-32 FLAT HEAD SOCKET X 3/16 LG | ·
2 | H.V. FEEDTHRU ASSY W/ SHIELD | ASSEMBLY |  | 429005 | 5 | H.V. FEEDTHRU ASSY W_SHIELD
2 | Feedthru Flange Assembly w/Ceramic | ASSEMBLY | MC-261570 | 429044 |  | FEEDTHRU FLANGE ASSEMBLY W_CERAMIC | NC
2 | Dia 13 1/4 OD Feedthru Flange | PART | MC-261566 | 429045 |  | FLANGE_FEEDTHRU_OD 13.25 | NC
2 | Feed Thru Ceramic Assembly | ASSEMBLY | MC-261542 | 429046 |  | FEEDTHRU CERAMIC ASSEMBLY
2 | HV Feed Thru Ceramic | PART | MC-261542 | 429047 |  | H.V. FEEDTHRU CERAMIC
2 | Kovar Flange | PART | none | 429048 |  | KOVAR FLANGE
2 | Kovar Sleeve(dia 2 1/8) | PART | none | 429049 |  | KOVAR SLEEVE_DIAM 2.125
2 | cover cap | PART |  | 429050 |  | CAP_COVER
2 | Resistor Cover | PART | MC-261561 | 429051 |  | RESISTOR_COVER | NC
2 | H.V. Shield Assembly | ASSEMBLY | MB-261569 | 429052 |  | H.V. SHIELD WELDMENT | ·
2 | HV Feedthru Shield | PART | MC-261568 | 429053 |  | SHIELD_H.V. FEEDTHRU | ·
2 | HV Shield extension | PART | MD-261567 | 429054 |  | EXTENSION_H.V. SHIELD | ·
4 | CPI Fitting parker #4PNBZ | PART | 4PNZB | 393160 |  | CPI FITTING_PARKER #4PNBZ |  | X
4 | O-ring parker 3-904 | PART | 3-904 | 393156 |  | O-RING_PARKER #3-904 |  | X
2 | PARKER O-RING #2-341 | PART |  | 393155 |  | O-RING_PARKER #2-341 |  | X
12 | Hex Socket Head 1/4-28 x 1 1/4 | PART | comm | 393201 |  | BOLT_HEX SOCKET HEAD 1/4-28 X 1.25 LG
2 | HV Bushing Adapter | PART | MC-261563 | 429055 |  | BUSHING ADAPTER_H.V. | NC
2 | CANTED COIL SPRING #X13946 | PART |  | 393158 |  | CANTED COIL SPRING #X13946 |  | X
2 | Resistor Assembly | ASSEMBLY | not yet | 429006 | 6 | RESISTOR ASSEMBLY
2 | HV Resistor Connector | PART | MC-261543 | 429056 |  | CONNECTOR_H.V. RESISTOR | ·
2 | HV Resistor End Cap | PART | MB-261559 | 429057 |  | END CAP_H.V. RESISTOR | ·
4 | nylon O-ring | PART | 261878 | 429043 |  | O-RING_HIGH DENSITY POLYETHYLENE (FROM 5520-MA-393159) | ·
2 | Resistor | PART | not yet | 393209 |  | RESISTOR |  | X
2 | resistor spring O-ring | PART | commercial | 393157 |  | CANTED COIL SPRING #X13799 |  | X
2 | HV Feedthru Cable Prep | PART | MB-261574 | 429058 |  | CABLE PREP_H.V. FEEDTHRU | ·
2 | HV Feedthru Flange | PART | MC-261560 | 429059 |  | FLANGE_H.V. FEEDTHRU | ·
2 | H.V. Feedthru Nut | PART | MB-261860 | 429060 |  | NUT_H.V. FEEDTHRU | NC
2 | HV Cable Feedthru Nut Flange | PART | not yet | 429061 |  | NUT FLANGE_H.V. CABLE FEEDTHRU | NC
2 | PARKER O-RING #2-314 | PART |  | 393153 |  | O-RING_PARKER #2-314 |  | X
2 | PARKER O-RING #2-331 | PART |  | 393154 | 13 | O-RING_PARKER #2-331 |  | X
1 | Vacuum Vessel Assembly | ASSEMBLY | ME-276759 | 429001 | 1 | VACUUM VESSEL WELDMENT | NC
1 | Vacuum Vessel | PART | ME-276751 | 429016 |  | VACUUM VESSEL | NC
2 | 10_42 ID x 3 7/16 extension | PART | none | N/A |  | TUBE_ID 10.42 X 3.4375 LG | N/A | N/A | N/A | N/A | N/A | N/A
6 | 2_374 ID x 5/8 extension | PART | none | N/A |  | TUBE_ID 2.374 X .625 LG | N/A | N/A | N/A | N/A | N/A | N/A
2 | 7_760 ID x 7/8 extension | PART | none | N/A |  | TUBE_ID 7.760 ID X .875 LG | N/A | N/A | N/A | N/A | N/A | N/A
3 | tank mounting block assembly | ASSEMBLY | MB-261875 | 429017 |  | VESSEL MOUNTING BLOCK WELDMENT
3 | tank mounting block(stationary end) | PART | MB-26876 | 429018 |  | MOUNTING BLOCK_VESSEL | NC
3 | tank mounting pin(stationary end) | PART | MB-261877 | 429019 |  | MOUNTING PIN_VESSEL | NC
2 | Dia 10 Conlfat Flange | PART | MC-261553 | 429020 |  | FLANGE_CF_DIAM 10 | ·
2 | Dia 13 1/4 Conflat Flange | PART | MC-261554 | 429021 |  | FLANGE_CF_DIAM 13.25 | ·
4 | 6 inch Conflat Flange Assembly | ASSEMBLY | MC-261583 | 429022 |  | FLANGE ASSY_SUPPORT ROD_DIAM 6 | ·
4 | Dia 6 Conflat Flange | PART | MC-261552 | 429023 |  | FLANGE_CF_DIAM 6 | ·
12 | Slotted Stud | PART | MB-261584 | 429024 |  | STUD_SLOTTED | ·
2 | Dia 16 1/2 Conflat Flange | PART | MC-261555 | 429025 |  | FLANGE_CF_DIAM 16.5 | ·
2 | Dia 4 5/8 Conflat Flange | PART | MC-261573 | 429026 |  | FLANGE_CF_DIAM 4.625 | ·
6 | BLOCK_SEPARATOR TRAPEZOIDAL FOOT | PART | MB-273713-01 | 429027 |  | BLOCK_TRAPEZOIDAL FOOT | ·
1 | MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | MOUNTING HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
4 | CERAMIC SUPPORT MOUNTING_HARDWARE... | ASSEMBLY |  | N/A |  | CERAMIC SUPPORT MOUNTING_HARDWARE... | N/A | N/A | N/A | N/A | N/A | N/A
12 | Hex NUT 1/4-28 UNF-2A | PART |  | 393079 | 27 | HEX NUT 1/4-28 UNF-2A |  | X
4 | Dia 6 Conflat Flange Cover | PART | MC-261576 | 429106 | 19 | FLANGE_COVER_DIAM 6 | ·
4 | CONFLAT_CERAMIC SUPPORT PORT | PART |  | 393139 | 45 | GASKET_OFHC_COPPER_6.0 OD FLANGE |  | X
64 | Heavy Hex Nut 1/4-28 UNF-2A STN ST | PART | 5520-MA-393079-01 | 393080 | 28 | Heavy Hex Nut 5/16-24 UNF-2A STN ST |  | X
64 | HEX HEAD BOLT 1/4-28 UNF x 2 LG S.S. | PART |  | 393076 | 30 | HEX HEAD BOLT 5/16-24 UNF x 2.25 LG S.S. |  | X
128 |  |  |  | 393086 | 36 | WASHER_5/16_NARROW FLAT |  | X
2 | H.V. MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | H.V. MOUNTING HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
2 | CONFLAT SEAL FOR 13.25 INCH H.V. FLANGE | PART |  | 393143 | 44 | GASKET_OFHC_COPPER_13.25 OD FLANGE |  | X
60 | Nut Heavy Hex 3/8-24 UNF-2A Stn Stl | PART | 5520-MA-393081-01 | 393081 | 29 | NUT_HEAVY HEX 3/8-24 UNF |  | X
60 | BOLT_HEX HEAD 3/8-24 UNF-2A x 2 1/4 LG S.S. | PART |  | 393212 | 20 | BOLT_HEX HEAD 3/8-24 UNF-2A x 2.5 LG S.S.
120 |  |  |  | 393087 | 37 | WASHER_3/8_NARROW FLAT |  | X
2 | 4 5/8 OD MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | 4 5/8 OD MOUNTING HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
20 | Heavy Hex Nut 1/4-28 UNF-2A STN ST | PART | 5520-MA-393079-01 | 393080 | 28 | Heavy Hex Nut 5/16-24 UNF-2A STN ST |  | X
20 | HEX HEAD BOLT 1/4-28 UNF x 2 LG S.S. | PART |  | 393076 | 30 | HEX HEAD BOLT 5/16-24 UNF x 2.25 LG S.S. |  | X
2 | CONFLAT SEAL FOR 4 5/8 FLANGE | PART |  | 393138 | 43 | GASKET_OFHC_COPPER_4.625 OD FLANGE |  | X
40 |  |  |  | 393086 | 36 | WASHER_5/16_NARROW FLAT |  | X
2 | END DOME MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | END DOME MOUNTING HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
72 | Nut Heavy Hex 3/8-24 UNF-2A Stn Stl | PART | 5520-MA-393081-01 | 393081 | 29 | NUT_HEAVY HEX 3/8-24 UNF |  | X
72 | BOLT_HEX HEAD 3/8-24 UNF-2A X 2 3/4 LG S.S. | PART |  | 393078 | 31 | BOLT_HEX HEAD 3/8-24 UNF-2A X 3.0 LG S.S. |  | X
2 | CONFLAT SEAL FOR 16.5 OD FLANGE | PART |  | 393145 | 42 | GASKET_OFHC_COPPER_16.5 OD FLANGE |  | X
144 |  |  |  | 393087 | 37 | WASHER_3/8_NARROW FLAT |  | X
2 | TSP MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | TSP MOUNTING HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
48 | HEX HEAD BOLT 1/4-28 UNF x 2.25 LG S.S. | PART |  | 393077 | 32 | HEX HEAD BOLT 5/16-24 UNF x 2.5 LG S.S. |  | X
48 | Heavy Hex Nut 1/4-28 UNF-2A STN ST | PART | 5520-MA-393079-01 | 393080 | 28 | Heavy Hex Nut 5/16-24 UNF-2A STN ST |  | X
2 | CONFLAT SEAL FOR TSP | PART |  | 393142 | 41 | GASKET_OFHC_COPPER_10.0 OD FLANGE |  | X
96 |  |  |  | 393086 | 36 | WASHER_5/16_NARROW FLAT |  | X
1 | ION PUMP MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | ION PUMP MOUNTING HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
20 | Heavy Hex Nut 1/4-28 UNF-2A STN ST | PART | 5520-MA-393079-01 | 393080 | 28 | Heavy Hex Nut 5/16-24 UNF-2A STN ST |  | X
20 | HEX HEAD BOLT 1/4-28 UNF x 2.25 LG S.S. | PART |  | 393076 | 30 | HEX HEAD BOLT 5/16-24 UNF x 2.25 LG S.S. |  | X
|  |  |  | 393141 | 46 | GASKET_OFHC_COPPER_8.0 OD FLANGE |  | X
40 |  |  |  | 393086 | 36 | WASHER_5/16_NARROW FLAT |  | X
1 | TSP W VALVE PORT MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | TSP W VALVE PORT MOUNTING HARDWARE
16 | Heavy Hex Nut 1/4-28 UNF-2A STN ST | PART | 5520-MA-393079-01 | 393080 | 28 | Heavy Hex Nut 5/16-24 UNF-2A STN ST |  | X
16 | HEX HEAD BOLT 1/4-28 UNF x 2 LG S.S. | PART |  | 393076 | 30 | HEX HEAD BOLT 5/16-24 UNF x 2.25 LG S.S. |  | X
|  |  |  | 393139 | 45 | GASKET_OFHC_COPPER_6.0 OD FLANGE |  | X
32 |  |  |  | 393086 | 36 | WASHER_5/16_NARROW FLAT |  | X
1 | VALVE BLANKOFF FLANGE MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | VALVE BLANKOFF FLANGE MOUNTING HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
1 | 6 OD non-rotatable blank-off CF Flange | PART | 5520-MB-393095-01 | 393095 | 23 | FLANGE_CF_BLANKOFF_OD 6 NONROTATABLE |  | X
16 | Heavy Hex Nut 1/4-28 UNF-2A STN ST | PART | 5520-MA-393079-01 | 393080 | 28 | Heavy Hex Nut 5/16-24 UNF-2A STN ST |  | X
16 | HEX HEAD BOLT 1/4-28 UNF x 2 LG S.S. | PART |  | 393076 | 30 | HEX HEAD BOLT 5/16-24 UNF x 2.25 LG S.S. |  | X
1 |  |  |  | 393141 | 45 | GASKET_OFHC_COPPER_6.0 OD FLANGE |  | X
32 |  |  |  | 393086 | 36 | WASHER_5/16_NARROW FLAT |  | X
1 | ION GUAGE MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | ION GUAGE MOUNTING HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
1 | FLANGE_BLANKOFF_DIAM 2.75 | PART |  | 393091 | 24 | FLANGE_ION GUAGE_DIAM 2.75 |  | X
1 | CONFLAT_DIAM 2.75 | PART |  | 393135 | 40 | GASKET_OFHC_COPPER_2.75 OD FLANGE |  | X
6 | HEX HEAD BOLT 1/4-28 UNF x 1.5 LG S.S. | PART |  | 393205 | 33 | HEX HEAD BOLT 1/4-28 UNF x 1.25 LG S.S.
6 | Heavy Hex Nut 1/4-28 UNF-2A STN ST | PART |  | 393079 | 27 | HEX NUT 1/4-28 UNF-2A |  | X
12 |  |  |  | 393085 | 38 | WASHER_1/4_NARROW FLAT |  | X
1 | VARIAN MOUNTING HARDWARE | ASSEMBLY |  | N/A |  | VARIAN MOUNTING HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
2 | CONFLAT_DIAM 2.75 | PART |  | 393135 | 40 | GASKET_OFHC_COPPER_2.75 OD FLANGE |  | X
12 | HEX HEAD BOLT 1/4-28 UNF x 1.5 LG S.S. | PART |  | 393202 | 34 | SHCS 1/4-28 UNF x 1.5 LG S.S.
12 | Heavy Hex Nut 1/4-28 UNF-2A STN ST | PART |  | 393079 | 27 | HEX NUT 1/4-28 UNF-2A |  | X
24 |  |  |  | 393085 | 38 | WASHER_1/4_NARROW FLAT |  | X
1 | BAKEOUT HARDWARE | ASSEMBLY |  | N/A |  | BAKEOUT HARDWARE | N/A | N/A | N/A | N/A | N/A | N/A
12 | 1/4-28 UNF SHCS X .75 LG... | PART |  | 393200 | 35 | SHCS_1/4-28 UNF X .75 LG
2 | H.V. Feedthru Blank-off Cap | PART | not yet | 429086 | 16 | CAP_BLANKOFF_H.V. FEEDTHRU
1 | end dome /16.5 conflat flange | PART | MD-261594 | 429087 | 17 | END DOME WELDMENT | NC
1 | 4 5/8 OD non-rotatable blank-off CF Flange | PART | 5520-MB-393094-01 | 393094 | 39 | FLANGE_BLANKOFF_OD 4.625 NONROTATABLE |  | X
1 | SPACER_1_OD X .4375_ID X .25 THK | PART | MB-273703 | 429088 | 18 | SPACER_OD 1 X ID .4375 X .25 THK
1 | WASHER_STRIPPER BOLT | PART | McMASTER #91124A110 | 393203 | 26 | SHIM_SHOULDER SCREW 3/4 DIAM_MCMASTER #91124A110 |  | X
1 | HEX HEAD 3/8-16 UNC X 3/4 LG | PART | 393___ | 393204 | 25 | BOLT_HEX HEAD 3/8-16 UNC X .75 LG
2 |  | ASSEMBLY |  | 393210 | 51 | CLAMP_NW50 |  | X
1 | 14 INCH DIAM BELLOWS W/FLANGE ASSY | ASSEMBLY | ME-261590 | 429013 | 11 | BELLOWS W/FLANGE ASSY_DIAM 14
1 | 16.5 DIAM NON-ROTATABLE CONFLAT FLANGE | PART |  | 393101 |  | FLANGE_CF_OD 16.5 NONROTATABLE (MACHINED BEFORE WELD)
1 | 16.5 DIAM ROTATABLE CONFLAT FLANGE |  |  | 393123 |  | FLANGE_CF_OD 16.5 ROTATABLE (MACHINED BEFORE WELD)
1 | 14 INCH DIAM BELLOWS X 4 LG |  |  | 393206 |  | BELLOWS_OD 13.75X 5.53 LG
2 |  |  |  | 393145 | 42 | GASKET_OFHC_COPPER_16.5 OD FLANGE |  | X
2 |  |  |  | 393211 |  | SPACER_BELLOWS_.75 X .125 THK_S.S.

## ASSY PICS
HORIZONTAL BEAM SEPARATOR
W/ HEATERS AND VALVE PORT
HORIZONTAL BEAM SEPARATOR
HORIZONTAL BEAM SEPARATOR
W/ VALVE PORT
HORIZONTAL BEAM SEPARATOR
READY FOR BAKEOUT
VERTICAL BEAM SEPARATOR
W/ HEATERS AND VALVE PORT
VERTICAL BEAM SEPARATOR
VERTICAL BEAM SEPARATOR
W/ VALVE PORT
VERTICAL BEAM SEPARATOR
READY FOR BAKEOUT

## SUB-ASSY PICS
VACUUM VESSEL WELDMENT
429001
H.V. ELECTRODE TUBE ASSEMBLY
429002
SUPPORT CERAMIC
ASSEMBLY_FLEX
429004
SUPPORT CERAMIC
ASSEMBLY_RIGID
429003
H.V. FEEDTHRU ASSY W_SHIELD
429005
RESISTOR ASSEMBLY
429006
MOUNTING STAND_STATIONARY END
429007
MOUNTING STAND_SLIDING END
429008
FLANGE END DOME
W/ BELLOWS ASSY
429009
TSP W/ VALVEPORT WELDMENT
429071
TSP W/ ION PUMP PORT WELDMENT
429081
BELLOWS W/ FLANGE_ASSY_DIAM 14
429013
ION GUAGE FLANGE/ELBOW ASSY
429012
BAKEOUT HARDWARE
HORIZONTAL SEPARATOR
W/ LARGE BELLOWS