## Sheet1
FIELD QUALITY ASSURANCE CHECKLIST
Station Name:______________________ |  | Salt Slough at Wolfsen Rd. |  |  |  | Day 21
NAMES | Jeremy Hanlon |  |  |  | DATE | 2004-01-21
| Will Stringfellow |  |  |  | TIME | 16:00
STAGE
|  | Time | Data Source | Stage reading (ft) | Calc. Offset (ft)
Bubbler/Keller/Sontek |  | 16:00 | na | na | #VALUE!
Staff gage |  | 16:00 | QA Sheet | 2.56
EC
|  | Time | Standard EC | Measured EC | % Deviation
Station Reading |  | 16:00 |  | 1737 | 105.0181
Myron Ultrameter |  | 16:00 | 1440 | 1654
ORP
|  | Time | Value
Station Reading
Myron Ultrameter |  | 16:00 | 226
pH
|  | Time | Value
Station Reading
Myron Ultrameter |  | 16:00 | 7.16
WATER TEMPERATURE
|  | Time | Data Source | Value Deg. F
Station Reading |  | 16:00 | 18(Temp_F) | 52.85
Myron Ultrameter |  | 16:00 | QA sheet | 53.6
OPTICAL QUALITY
|  | Time | Fluorescence (%) | Turbidity (NTU)
SCUFA
YSI Sonde 6600
DISCHARGE
|  | Time | Data Source | Velocity (ft/s) | Discharge (cfs)
Datalogger Estimate |  | 16:00 | na | na | na
QA Analysis |  | 16:00 | F1P47 | na | na
NOTES: | pH calibration off by WTS screwing around with meter.