## Sheet1
FIELD QUALITY ASSURANCE CHECKLIST
Station Name:______________________ |  | Fremont Canal at Gunclub rd. |  |  |  | Day 8
NAMES | Nigel |  |  |  | DATE | 2004-01-08
[5 empty] | TIME | 11:14
STAGE
|  | Time | Source Data | Stage reading (ft) | Calc. Offset (ft)
Bubbler/Keller/Sontek |  | 11:15 | (Frepress)*2.3067 in Atm | 3.0956 | 0.11441
Staff gage |  | 11:14 | QA Sheet | 3.21
EC
|  | Time | Standard EC | Measured EC | %
Station Reading |  |  |  |  | #DIV/0!
Myron Ultrameter |  |  | 1440
ORP
|  | Time | Value
Station Reading
Myron Ultrameter
pH
|  | Time | Value
Station Reading
Myron Ultrameter
WATER TEMPERATURE
|  | Time | Value Deg. F
Station Reading
Myron Ultrameter
OPTICAL QUALITY
|  | Time | Fluorescence (%) | Turbidity (NTU)
SCUFA
YSI Sonde 6600
DISCHARGE
|  | Time | Source Data | Velocity (ft/s) | Discharge (cfs)
Datalogger Estimate
QA Analysis
NOTES: