2.7

10-10-2008

hm

hm - Precast Concrete Manholes(1)

Manufacturer	Base Size	Catalog Number

Advance Concrete	12' x  5' x  6'-6"	A Manhole

Products	12' x  6' x  7'	A-1	"

8' x  4' x  6'	SA	"

8' x  4' x  6'	SJ	"

12' x  6' x  7'	J3-1	"

12' x  6' x  7'	High-Mount T Carrier

12' x  6' x  9'-6"	Manhole

4' x  4' x  6'-9"	Telephone Vault

Amcor Inc.		 3.5' x   5' x 3'	UV 3.553-REA-H

3.5' x   5' x 3'	UV 3.553-REA-L

4' x   6' x 7'	UVMB467

6' x   8' x 7'	UVMB687-PM

6' x 12' x 7'	UVMB6127

Armorcast	 	48" x 48" x 48"	A6000514HTAPC(4)

36” X 60”	A6001833HTA Series

Oldcastle Precast, Inc.		4'  x  4'	REA 300FPB42T

4'  x  8'	REA 4080FM72

4'-6" x  8'-6"	REA 510FM78

5' x 10'-6"	REA 650FM78

5' x 12'	REA 6000FM78

6' x 12'	REA 6000FM84

6' x 12'	REA 6000DM84

Capitol Concrete		4' x  8' x 3'	CCPMH 483

Products, Inc.		4' x  8' x 6'	CCPMH 486

4' x  8' x 7'	CCPMH 487

4' x  8' x 8'	CCPMH 488

Elk River Concrete Products		5' x  5'-2"	EV 505.2-S

Company of Montana		5' x  5'-2"	EV 505.2-D

5' x  9'-3"	EV 509.3-S

5' x  9'-3"	EV 509.3-D

5' x 13'-4"	EV 513.4-S

5' x 13'-4"	EV 513.4-D

4' x  6'	EV 406

48" ROUND	EV 48-D

Foley-Brogdon		2' x   2'	Model 222

3' x   3'	Model 333

4'-2" x   4'-2"	Model 444

6' x   6'	Model 6060

4'-6" x   8'-6"	Model 8545

5' x 10'-6"	Model 1050

5' x 10'-6"	Model 1050S

6' x   8'	Model 8060

6' x 12'	Model 1260

8' x   8'	Model 8080

9' x 12'	Model 1290

6' x 10'	Model 1060

See page 2.7.3 for notes.

2.7.1

01-05

hm

hm - Precast Concrete Manholes(1)

Manufacturer	Base Size	Catalog Number

Hartford Concrete			5' x 10'	REA 10-5 Series(2)

Products(2)			4' x   8'	REA  8-4 Series

4' x   4'	REA  4-4-4

Hawaii Precast, Inc.			3' x   5'	3x5(3)

4' x   6'-6"	4x6

5' x 10'-6"	5x10

6' x 12'	6x12

Jensen Pre-Cast Concrete			3' x   5' x 3'	REA 3660-TA

Products Co.			3' x   6' x 3'	REA 3672-TA

4' x   4' x 4'	REA 4848

4' x   6'-6" x 3'	REA 466-TA

4'-6" x   8'-6" x 6'-6"	REA PTS-65

5' x 10'-6" x 7'	REA 38-5706-U-7

6' x 12' x 7'	REA 384-4046-1

6' x variable x 9'	REA PTS-69

6' x variable x 9'	REA PTS-69-I

LAR-KEN			4’8”x4’8”x4’8”	Series 350, Model LK

A.C. Miller Concrete			3' x   3'	REA-3x3

Products Inc.				4' x   4'	REA-4x4

4' x   6'	REA-4x6

4' x   7'-9"	REA-18

4'-6" x 10'-6"	REA-20

5' x 12'	REA-38Y

6' x 12'	REA-38Y

6' x   6'	REA-6x6

6' x   8'	REA-6x8

5' x 10'-6"	REA-5x10.6

8' x   8'	REA-8x8

10' x 10'	REA-10x10

See page 2.7.3 for notes.

2.7.2

01-05

hm

hm - Precast Concrete Manholes(1)

Manufacturer	Base Size	Catalog Number

Northwest Pipe & Tank, Inc.		 4'-10" x 4'-10" x 4'	#8-C244

7’ x 5’ x 7’	#8-C257(5)

Ornamental Poles,		 6'-0" x 12'-0"	REA-Y

Inc.

Pre Cast Concrete		 5'-10" x 10'-4" x 7'2"	Type AA

Company, Inc.

Pre-Cast Manufacturing		 3'-6" x   6'	T-36656

Company		6' x 12'	T-6127

5' x 10'	T-5107

R.C.P. Vaults (Division of		2'6" x   2'6" x 2'	76649 Handhole

Pacific International Pipe 		2'3" x   5'2-1/2" x 2'6"	25-TA Splicing Vault

& Engineering, Inc.)		4'0" x   6'0" x 6'0"	466-TA

5'0" x   9'0" x 7'2"	4484-TA

5'0" x   9'0" x 7'2"	4484-TCA

5'8" x 11'2" x 7'5"	5106-TA

5'8" x 11'2" x 7'5"	5106-TCA

6'0" x 12'0" x 7'0"	612-TA

6'0" x 12'0" x 7'0"	612-TCA

7'0" x 12'0" x 7'6"	712-CLS

8'0" x 14'0"	814 (3)

Rotondo Precast		2' x  2'	RUS-22-

3' x  3'	RUS-33-

4' x  4'	RUS-44-

4' x  6'	RUS-46-

6' x  6'	RUS-66-

6' x  8'	RUS-68-

6' x 10'	RUS-610-

6' x 12'	RUS-612- -38Y

6' x 12'	RUS-6127- -OB

6' x 12'	RUS-6127- -SB

8' x  8'	RUS-88-

Southeast Precast Concrete		6' x 12'	REA 127

Products Inc.		4' x   8'	REA  86

5' x 10'	REA 510

4' x   4'	REA 504

See page 2.7.3 for notes.

2.7.3

02-06

hm

hm - Precast Concrete Manholes(1)

Manufacturer	Base Size	Catalog Number

Utility Concrete		3' x 4’ x 4'	34 1/4

8' x 4’ x 6'	84 1/4

22" x 22" x 36"	23 6/8

2' x 2’ x 2'-10"	22 2/10

4' x 4’ x 4'	44 1/4

4' x 4’ x 6'	44 3/4

10' x 5’ x 7'	105 1/4

12' x 6’ x 7'	126 1/16

12' x 6’ x 10'	126 3/16

12' x 6’ x 12'	126 5/16

15' x 6’ x 9'	156 1/4

15' x 6’ x 12'-6"	156 2/4

Utility Precast		 6' x 12'	A Series

Inc.		 5' x 10'	B Series

4-1/2' x 8-1/2'	C Series

Utility Vault		 4' x 6’	466TA

4' x 4’ x 4'	444-LA

4'- 2" x  4'-2"	504-LA

4'- 2" x  6'-6"	577-LA

5'-10" x 10'-10"	510Y

6'-10" x 12'-10"	38-612-Y

2'3" x 5'2-1/2" x 2'4"	25 TA

2'3" x 5'2-1/2" x 3'4"	253 TA

3'1" x 6'7" x 4'1-1/2"	264 TA

5' x   9' x 7'2"	4484-type

5'4" x  9'4" x 7'6"	4686-type

5'8" x 11'2" x 7'2"	5106-type

6'1" x 11'7" x 7'5"	38Y-type

8'8" x 10'8" x 8'6"	810 TA

7'10" x 12'11" x 8'7"	712 LA

8' x 14' x 6'6" through 12'	814-66 TA through 814-12 TA

8' x 18' x 6'6" through 12'	818-66 TA through 818-12 TA

3’8” x 5’8” x 4’9 1/2”	GTE35 Pullbox

3’8” x 5’8” x 4’9 1/2”	GTE Intercept Pullbox

4’10” x 6’10” x 7’6”	467-TA

Notes:	(1) Consult manufacturer for ordering procedure concerning depth of the hole (Headroom), type of manhole (A, J, L, T), and extension sections.

(2)Equipped with 27-inch frame and cover made by Dewery Brothers Foundry.

(3)This manhole comes with an option for a D and L Foundry A1381 cast iron cover with security bolts.

(4)This manhole comes with Alhambra Foundry Cover, drawing No. A-1133.

(5)This manhole can be 6 feet in height.