2.4

10-10-2008

hh

hh - Handholes(1)(2)

Handholes for Fiber & Copper Systems

Manufacturer	Catalog Number

Armorcast	A6001974 (24”x36”)

A6001946” (13x24”)

A6001742 (30”x60”)

A6001691 (39”x30”DI)

A6001640 (17”x30”)

A6001436 (36”x60”)

A6001430 (30”x48”)

A6001423 Series (12” X12”)

Blue Diamond Industries, LLC	MOV-2S/D(3)

Carson Industries	1730-13B

H910

HLW1212-12

HLW1118-12

H1118-12, 15, 18

H1324-12, 15, 18

H1730-12, 18, 24

H2436-18, 24, 30, 36

H3048-18, 24, 30, 36

H3060-24, 30, 36

CDR Systems (Homac)	TA-1324

TA-1730

TA 2000

TA-2436

TA-2700

TA-3048W

TA-3048

TA-3060

TA-3200

TA-3660

TA-3900

TA-4848

TA-4872

TA-4878

TA-4896

Charles Industries, Ltd.	FMH 361

FMH 362

FMH 363

See page 2.4.3 for notes.

2.4.1

10-10-2008

hh

hh - Handholes(1)(2)

Handholes for Fiber & Copper Systems

Manufacturer	Catalog Number

Christy Concrete Products	SYN118TBOX__ (12, 18, 24, or 36)

SYN1118TLID

SYN1212TBOX__ (12, 18, 24, or 36)

SYN1212TLID

SYN1324TBOX__ (12, 18, 24. or 36)

SYN1324TLID

SYN1730TBOX__ (12, 18, 24 or 36)

SYN1730TLID

SYN2436TBOX__ (18, 24, or 36)

SYN2436TLID

SYN3048TBOX__ (18, 24, or 36)

SYN3048TLID

SYN3660TBOX__ (18, 24, or 36)

SYN3660TLID

Highline	CHA Series

10x15x__ (12 or 18)

11x18x__ (12 or 18)

12x12x__ (12, 18 or 24)

13x24x__ (12, 15, 18 or 24)

17x30x__ (12, 18, 24 or 30)

24x36x__ (18, 24, 30 or 36)

30x48x__ (18, 24, 30 or 36)

CRA Series (Round Boxes with 22 in. cover)

Depth of 20” or 30”

CVA Series

30x48x__ (various depths from 18” to 48”)

30x60x__ (various depths from 18” to 48”)

36x36x__ (various depths from 18” to 48”)

36x60x__ (various depths from 18” to 48”)

36x72x__ (various depths from 18” to 48”)

36x96x__ (various depths from 18” to 48”)

48x48x__ (various depths from 18” to 48”)

48x72x__ (various depths from 18” to 48”)

48x78x__ (various depths from 18” to 48”)

48x96x__ (various depths from 18” to 48”)

See page 2.4.4 for notes.

2.4.2

10-10-2008

hh

hh - Handholes(1)(2)

Handholes for Fiber & Copper Systems

Manufacturer	Catalog Number

Highline (Continuation)

Series PHA

10x15x12

11x18x12

12x12x12

13x24x15

13x24x18

17x30x__ (18 or 24)

24x36x__ (18 or 24)

30x48x36

PTA Series

10x15x__ (12 or18)

12x12x12

13x24x18

17x30x__ (12 or 18)

24x36x18

Martin Enterprises	9x10 (diameter)

14x19x12

13x24x__ (12, 18, or 26)

17x30x__ (12, 18+8”ext., 22, 26, or 30)

24x36x__ (18, 24, or 42)

34x48x__ (36 or18)

30x60x36

36x60x36

5400x36 (diameter)

2436 Ring & Cover Assembly

1730 Ring & Cover Assembly

Oldcastle Precast, Inc.	SYN118TBOX- (12, 18, 24, or 36)

SYN1118TLlD

SYN1212TBOX- (12, 18, 24, or 36)

SYN1212TLlD

SYN1324TBOX- (12, 18, 24, or 36)

SYN1324TLlD

SYN1730TBOX- (12, 18, 24, or 36)

SYN1730TLlD

SYN2436TBOX- (18, 24, or 36)

SYN2436TLlD

SYN3048TBOX- (18, 24, or 36)

SYN3048TLlD

SYN3660TBOX- (18, 24, or 36)

SYN3660TLlD

See page 2.4.4 for notes.

2.4.3

10-10-2008

hh

hh - Handholes(1)(2)

Handholes for Fiber & Copper Systems

Manufacturer	Catalog Number

Northwest Pipe & Tank, Inc.	#8-C124 (4'x10"x3'4"x2'6")(4)

Pen-Cell Plastics	PE-10

PE-20 (Restricted to cable

sizes up to 100 pairs)

PE-36

PE-6HD

PE-9HD

PE-14HD

PE-30HD

PE-20HD

PE-20F

PE-20U

PE-30HD

PE-30F

PE-30U

PE-36A

PE-36HD

PEM Series

Quazite	PC1324

PC1730

PX1324

PX1730

PG2436

PG3048

LG3060

LG3660

LR2732

TDB Communications	TDB-GB-T(5)

(Common Ground Enclosure)

Tunnel Mill Polymer, Inc.	R264836

Utility Vault	3642-BL(4)(6)(2’8”x3’6”x4’)

25-TA (5’2½”x2’3”x2’6”)

See page 2.4.4 for notes.

2.4.4

10-19-2007

hh

hh - Handholes(1)(2)

Handholes for Fiber & Copper Systems

Manufacturer	Catalog Number

Synertech	S1118B12FA – 11”x 18”x 12”

S1118B18FA – 11”x 18”x 18”

S1212B12FA – 12”x 12”x 12”

S1212B18FA – 12”x 12”x 18”

S1324B12FA – 13’x 24”x 12

S1324B18FA – 13”x 24”x 18

S1324B24FA – 13”x 24”x 24

S1730B12FA – 17”x 30”x 12”

S1730B18FA – 17”x 30”x 18”

S1730B24FA – 17”x 30”x 24”

S2436B18FA – 24”x 36”x 18’

S2436B24FA – 24”x 36”x 24”

S2436B36FA – 24”x 36”x 36”

S3048B18FA – 30”x 48”x 18”

S3048B24FA – 30”x 48”x 24”

S3048B36FA – 30”x 48”x 36”

S3660B24FA - 36”x 60”x 24”

S3660B36FA – 36”x 60”x 36”

Notes:	(1)Not for use in areas subject to vehicular traffic, unless otherwise noted.

(2)Consult the manufacturer for ordering procedures for handhole depth and lid/cover locking devices and load bearing capacity.

(3)Rated for use in areas subject to vehicular traffic

(4)Light vehicular traffic only (H10)

(5)Lugs kits available from TDB

(6)Only the 3642-2436P cover is RUS accepted for use with this handhole.