Recommendations for Handling the DTP Diversity Set:

Solubility Issues

# Background

The Developmental Therapeutics Program of the National Cancer Institute, through its Drug Synthesis and Chemistry Branch, selected 1,990 compounds as representative of the chemical diversity of the >140,000 chemicals available for testing in the DTP Pure Compounds Repository.  This group of compounds, termed the “Diversity Set”, is maintained in 96 well microtiter plate format, and has been widely distributed to laboratories engaged in biomedical investigations both within the NIH and the extramural community, as a research tool for various biological testing purposes. The compounds, solubilized in neat DMSO at either 10 mM or 1 mM, are stored in freezers until shipped, frozen in a box with dry ice, to a requestor.  Freezer storage of compounds in DMSO is a generally accepted pharmaceutical industry standard practice in high throughput screening operations.  Additional information about the Diversity Set can be found at http://dtp.nci.nih.gov/branches/dscb/diversity_explanation.html.

The Natural Products Support Group, SAIC-Frederick, Inc., utilizes the 10mM concentration Diversity Set Plates as Masters for the preparation of plates for testing laboratories at NCI-Frederick.  Visual inspection of Diversity Set plates which had been in freezer storage for

~> 1 year revealed that precipitation of compounds had occurred in approximately 20% of the wells.  A similar problem has not been observed with those same materials when stored at 1mM.

To measure the molarity of drug remaining in DMSO solution, analysis of the supernatant liquor from above the solids was performed by HPLC/ELSD/MS, using freshly solubilized drug from the NCI Repository to construct a standard curve. Concentrations of drug in solution above precipitate from individual wells, as determined by area under the curve when measured by ELSD, ranged from ~8 mM to much less than 0.1 mM, at least a 2 log difference.

This has raised concerns that, if investigators are unaware of the possibility of precipitation and other factors related to Diversity Set plate storage and use and have not taken appropriate measures, assays will be performed on some compounds at molar concentrations well below the nominal concentration.

Drugs which have precipitated from 10mM DMSO are very difficult to get back into solution.  Various methods for resolubilization were tried, including sonicating the plate, shaking, and mild heating. While none of these methods resulted in the complete resolubilization of all compounds, vigorous shaking for 20-30 minutes combined with sonication resulted in the formation of a suspension which can be pipetted for most problem compounds.  Removal of DMSO under high vacuum with no heating (e.g. Speed Vac) is not difficult. Complete resolubilization of compounds in plates which had been vacuum dried, into fresh, dry DMSO to give a 10mM solution, required shaking of the plate for >12 hours at room temperature in a dry atmosphere.  A greater volume of DMSO per well, giving a less concentrated solution, will facilitate resolubilization.  When 2 μl of glycerol are added to each well prior to vacuum drying, thus leaving the drug in a ‘glycerol mull’ in the well, resolubilization in DMSO to give a 10mM solution is accomplished in ~<2 hours of shaking at room temperature. The individual investigator will have to determine if the presence of glycerol in his/her specific assay has an effect.

# Recommendations

Recipients of the Diversity Set should bear in mind that, even when all compounds are in solution in DMSO when received, individual storage and use protocols will have a significant effect on the physical condition of the compounds on the plates.  The following factors should be considered:

- Storage of Diversity Set plates should be at –70o C or lower.

- If it is anticipated that multiple uses of a plate set will occur over time, consider production of multiple replicate plates the first time the Diversity Set plates are allowed to come to room temperature.  This is because DMSO is a very hygroscopic substance.  Exposure of DMSO solutions to the atmosphere, as would occur each time an aliquot is removed, can quickly result in water gain of >10%, which affects both molarity of drug and tendency for drug to precipitate during freezer storage.  Thus, as an alternative to utilizing a single plate multiple times over a several week period, multiple aliquots (e.g., multiple plates @ 5μg/well) taken on the first occasion that the Diversity Set plate is allowed to thaw are more likely to be accurate than preparing one aliquot each time a plate is thawed/frozen.

- Precipitation is NOT a problem when compound is stored dry in the plate.  Consider storage of compounds dry, in a freezer, as being preferable to solution storage, particularly if long term storage and repetitive but infrequent usage is anticipated.

- A change in the concentration of compounds solubilized into dry DMSO was NOT detected in less than one week of freezer storage, but a decline in concentration IS detectable for some compounds after two weeks.  Therefore, to assure the accuracy of the molarity of compounds being tested, it would be ideal to bring dry compounds into DMSO solution less than one week prior to use.  Storage of compounds in dry DMSO solution in a dry atmosphere at room temperature for a short time (<1 week) is preferable to freezer storage for the same time period, for those compounds likely to precipitate.

- The longer compounds are stored in DMSO, regardless of temperature, the more likely it is that precipitation will occur.

- Precipitation is least likely to be induced when frozen plates are thawed quickly and used promptly. If multiple uses from a plate are unavoidable, then a “quick thaw/remove seal/sip sample/re-seal/quick freeze” in a dry atmosphere should be considered.

- The presence of water in DMSO significantly depresses the freezing point of DMSO.  If a researcher prepares a ‘stock solution of drug’ by addition of buffer to a DMSO solution, the freezing point of that aqueous/DMSO solution could be as low as –70o C.  Clearly refrigerator or freezer storage at –20o does not result in a frozen solution, and the opportunity for degradation and precipitation is increased.

Additional information of solubility and storage of compounds for high throughput screening is in preparation and will be made available at http://npsg.ncifcrf.gov in the future.

List of compounds which have visibly precipitated in the well from a 10mM DMSO solution during freezer storage:

| PLATEID | NSC | WELLID |
| --- | --- | --- |
| 13140000 | 9928 | B03 |
| 13140000 | 40837 | D05 |
| 13140000 | 33145 | H05 |
| 13140000 | 48949 | A07 |
| 13140000 | 54854 | D08 |
| 13140000 | 57884 | E08 |
| 13140100 | 151063 | A02 |
| 13140100 | 49714 | C02 |
| 13140100 | 88418 | D02 |
| 13140100 | 30079 | E02 |
| 13140100 | 27895 | F02 |
| 13140100 | 50570 | G02 |
| 13140100 | 88416 | H02 |
| 13140100 | 138745 | C03 |
| 13140100 | 41629 | D03 |
| 13140100 | 88482 | E03 |
| 13140100 | 173723 | G03 |
| 13140100 | 133887 | G05 |
| 13140100 | 155080 | E07 |
| 13140100 | 334340 | H07 |
| 13140100 | 281668 | G08 |
| 13140100 | 310099 | C09 |
| 13140100 | 78857 | A10 |
| 13140100 | 45074 | D10 |
| 13140100 | 47652 | E10 |
| 13140100 | 1004 | F10 |
| 13140100 | 41355 | B11 |
| 13140100 | 145425 | G11 |
| 13140200 | 669681 | A02 |
| 13140200 | 680927 | B02 |
| 13140200 | 52003 | C02 |
| 13140200 | 51857 | D02 |
| 13140200 | 53396 | E02 |
| 13140200 | 74702 | F02 |
| 13140200 | 79563 | G02 |
| 13140200 | 90318 | H02 |
| 13140200 | 90615 | A03 |
| 13140200 | 95025 | B03 |
| 13140200 | 94783 | C03 |
| 13140200 | 109268 | D03 |
| 13140200 | 111326 | E03 |
| 13140200 | 177395 | F03 |
| 13140200 | 169942 | G03 |
| 13140200 | 268665 | H03 |
| 13140200 | 69343 | B04 |
| 13140200 | 77037 | G04 |
| 13140200 | 89166 | H04 |
| 13140200 | 99804 | D06 |
| 13140200 | 182395 | E07 |
| 13140200 | 172033 | F07 |
| 13140200 | 210595 | B08 |
| 13140200 | 210599 | D08 |
| 13140200 | 182035 | E08 |
| 13140200 | 309881 | A10 |
| 13140200 | 310551 | B10 |
| 13140200 | 115448 | H10 |
| 13140200 | 134755 | B11 |
| 13140200 | 203328 | C11 |
| 13140200 | 181486 | D11 |
| 13140200 | 210627 | F11 |
| 13140200 | 267235 | G11 |
| 13140200 | 306698 | H11 |
| 13140300 | 361814 | B02 |
| 13140300 | 343227 | E02 |
| 13140300 | 1945 | F02 |
| 13140300 | 13359 | G02 |
| 13140300 | 1694 | H02 |
| 13140300 | 641691 | A03 |
| 13140300 | 373529 | E04 |
| 13140300 | 372295 | F04 |
| 13140300 | 611615 | A06 |
| 13140300 | 6176 | E08 |
| 13140300 | 6246 | H08 |
| 13140300 | 8179 | F09 |
| 13140300 | 10776 | E10 |
| 13140300 | 11656 | A11 |
| 13140300 | 13239 | H11 |
| 13140400 | 44251 | A02 |
| 13140400 | 18807 | B02 |
| 13140400 | 20138 | F02 |
| 13140400 | 17776 | G02 |
| 13140400 | 27959 | H02 |
| 13140400 | 23159 | A03 |
| 13140400 | 18451 | B03 |
| 13140400 | 16865 | C03 |
| 13140400 | 14543 | E03 |
| 13140400 | 13581 | F03 |
| 13140400 | 15234 | G03 |
| 13140400 | 22225 | D04 |
| 13140400 | 5159 | G04 |
| 13140400 | 13728 | B05 |
| 13140400 | 48872 | H05 |
| 13140400 | 13579 | B07 |
| 13140400 | 48873 | F07 |
| 13140400 | 14179 | F08 |
| 13140400 | 15226 | A09 |
| 13140400 | 15784 | B09 |
| 13140500 | 29870 | B02 |
| 13140500 | 33389 | C02 |
| 13140500 | 38528 | C03 |
| 13140500 | 23016 | A05 |
| 13140500 | 21518 | F05 |
| 13140500 | 28427 | H05 |
| 13140500 | 24076 | D06 |
| 13140500 | 26669 | H06 |
| 13140500 | 26145 | B07 |
| 13140500 | 26081 | D07 |
| 13140500 | 28527 | H07 |
| 13140500 | 29424 | B08 |
| 13140500 | 36738 | E09 |
| 13140500 | 34444 | F11 |
| 13140600 | 42352 | A02 |
| 13140600 | 43234 | C02 |
| 13140600 | 44138 | D02 |
| 13140600 | 51132 | E02 |
| 13140600 | 52343 | F02 |
| 13140600 | 52389 | D03 |
| 13140600 | 39225 | C04 |
| 13140600 | 39329 | E04 |
| 13140600 | 42656 | F06 |
| 13140600 | 46669 | C09 |
| 13140600 | 48961 | H10 |
| 13140600 | 50145 | F11 |
| 13140700 | 58612 | A02 |
| 13140700 | 73646 | B02 |
| 13140700 | 72942 | C02 |
| 13140700 | 86380 | D02 |
| 13140700 | 75749 | E02 |
| 13140700 | 60036 | G02 |
| 13140700 | 67323 | H02 |
| 13140700 | 84251 | A03 |
| 13140700 | 78043 | B03 |
| 13140700 | 57850 | C03 |
| 13140700 | 61297 | D03 |
| 13140700 | 57788 | A04 |
| 13140700 | 57975 | C04 |
| 13140700 | 56751 | E04 |
| 13140700 | 55462 | H04 |
| 13140700 | 54672 | A05 |
| 13140700 | 54646 | F05 |
| 13140700 | 63331 | C06 |
| 13140700 | 66184 | D07 |
| 13140700 | 72533 | E07 |
| 13140700 | 73389 | F07 |
| 13140700 | 66185 | E08 |
| 13140700 | 77597 | F09 |
| 13140700 | 80737 | H09 |
| 13140700 | 85359 | G11 |
| 13140800 | 96396 | A02 |
| 13140800 | 101825 | B02 |
| 13140800 | 92601 | C02 |
| 13140800 | 87450 | D02 |
| 13140800 | 96606 | E02 |
| 13140800 | 92988 | F02 |
| 13140800 | 93967 | G02 |
| 13140800 | 96682 | H02 |
| 13140800 | 112751 | E03 |
| 13140800 | 88795 | E05 |
| 13140800 | 88999 | G05 |
| 13140800 | 95865 | E06 |
| 13140800 | 91750 | G06 |
| 13140800 | 98019 | G08 |
| 13140800 | 105550 | C09 |
| 13140800 | 101824 | G09 |
| 13140800 | 106958 | H09 |
| 13140800 | 101548 | B10 |
| 13140800 | 101984 | C10 |
| 13140800 | 105900 | E10 |
| 13140800 | 109174 | F11 |
| 13140900 | 151831 | A02 |
| 13140900 | 137784 | B02 |
| 13140900 | 128884 | C02 |
| 13140900 | 133811 | D02 |
| 13140900 | 133896 | F02 |
| 13140900 | 154652 | G02 |
| 13140900 | 164460 | E03 |
| 13140900 | 114528 | A04 |
| 13140900 | 114743 | B05 |
| 13140900 | 114831 | D05 |
| 13140900 | 125626 | F05 |
| 13140900 | 133593 | H05 |
| 13140900 | 133594 | B06 |
| 13140900 | 132498 | C06 |
| 13140900 | 134667 | G07 |
| 13140900 | 140899 | H07 |
| 13140900 | 142269 | G08 |
| 13140900 | 143019 | H08 |
| 13140900 | 134664 | D09 |
| 13140900 | 168467 | G09 |
| 13140900 | 153330 | A10 |
| 13140900 | 150169 | D10 |
| 13140900 | 150554 | E10 |
| 13140900 | 150080 | F10 |
| 13141000 | 294149 | B02 |
| 13141000 | 314885 | D02 |
| 13141000 | 320514 | F02 |
| 13141000 | 328200 | G02 |
| 13141000 | 322920 | H02 |
| 13141000 | 329070 | D03 |
| 13141000 | 321518 | G03 |
| 13141000 | 170578 | B04 |
| 13141000 | 183519 | D05 |
| 13141000 | 190577 | G05 |
| 13141000 | 191260 | H05 |
| 13141000 | 201980 | F06 |
| 13141000 | 210282 | F07 |
| 13141000 | 247535 | D08 |
| 13141000 | 271928 | A09 |
| 13141000 | 288391 | F09 |
| 13141000 | 294153 | G09 |
| 13141000 | 303530 | E10 |
| 13141000 | 303851 | F10 |
| 13141000 | 305743 | G10 |
| 13141000 | 306960 | H10 |
| 13141100 | 372045 | C02 |
| 13141100 | 344028 | D02 |
| 13141100 | 95609 | E02 |
| 13141100 | 360211 | G02 |
| 13141100 | 668414 | B03 |
| 13141100 | 669581 | D03 |
| 13141100 | 274547 | E03 |
| 13141100 | 306711 | F03 |
| 13141100 | 23128 | G03 |
| 13141100 | 93352 | H03 |
| 13141100 | 332429 | A04 |
| 13141100 | 343548 | F04 |
| 13141100 | 351520 | E05 |
| 13141100 | 361672 | F06 |
| 13141100 | 364164 | G06 |
| 13141100 | 379553 | H06 |
| 13141100 | 409455 | F07 |
| 13141100 | 602670 | D08 |
| 13141100 | 403251 | G08 |
| 13141100 | 36806 | B10 |
| 13141100 | 72938 | D10 |
| 13141100 | 270718 | E10 |
| 13141100 | 676693 | A11 |
| 13141100 | 614846 | C11 |
| 13141100 | 624983 | D11 |
| 13141100 | 625169 | E11 |
| 13141200 | 12363 | A02 |
| 13141200 | 12339 | C02 |
| 13141200 | 7345 | D02 |
| 13141200 | 169534 | E02 |
| 13141200 | 12492 | F02 |
| 13141200 | 5844 | G02 |
| 13141200 | 307241 | H02 |
| 13141200 | 13705 | B03 |
| 13141200 | 1614 | D03 |
| 13141200 | 4292 | E03 |
| 13141200 | 10580 | G03 |
| 13141200 | 3323 | H04 |
| 13141200 | 5069 | G06 |
| 13141200 | 4895 | H06 |
| 13141200 | 7520 | F07 |
| 13141200 | 10424 | H07 |
| 13141200 | 12155 | H08 |
| 13141200 | 12666 | H09 |
| 13141200 | 13161 | C10 |
| 13141200 | 13791 | H10 |
| 13141300 | 14163 | A02 |
| 13141300 | 14410 | B02 |
| 13141300 | 14703 | C02 |
| 13141300 | 15603 | G02 |
| 13141300 | 18695 | D03 |
| 13141300 | 18758 | E03 |
| 13141300 | 24859 | H03 |
| 13141300 | 14143 | D04 |
| 13141300 | 16211 | H04 |
| 13141300 | 17474 | E05 |
| 13141300 | 19480 | C06 |
| 13141300 | 23173 | H06 |
| 13141300 | 23583 | A07 |
| 13141300 | 24048 | G07 |
| 13141300 | 28311 | H09 |
| 13141300 | 13987 | E10 |
| 13141300 | 16087 | G10 |
| 13141300 | 17600 | B11 |
| 13141300 | 23217 | G11 |
| 13141300 | 28136 | H11 |
| 13141400 | 45572 | A02 |
| 13141400 | 35682 | B02 |
| 13141400 | 37245 | D02 |
| 13141400 | 35049 | E02 |
| 13141400 | 38347 | F02 |
| 13141400 | 33571 | G02 |
| 13141400 | 40016 | H02 |
| 13141400 | 45238 | A03 |
| 13141400 | 34238 | B03 |
| 13141400 | 37049 | E03 |
| 13141400 | 33052 | A04 |
| 13141400 | 31303 | H04 |
| 13141400 | 36369 | F06 |
| 13141400 | 44480 | A08 |
| 13141400 | 44585 | D08 |
| 13141400 | 47118 | D10 |
| 13141400 | 45730 | H10 |
| 13141500 | 62594 | B02 |
| 13141500 | 54340 | D02 |
| 13141500 | 49487 | F02 |
| 13141500 | 63875 | G02 |
| 13141500 | 48300 | A03 |
| 13141500 | 62586 | C03 |
| 13141500 | 64337 | D03 |
| 13141500 | 48630 | E03 |
| 13141500 | 54101 | F03 |
| 13141500 | 48223 | G03 |
| 13141500 | 57443 | H03 |
| 13141500 | 59620 | A04 |
| 13141500 | 48858 | D04 |
| 13141500 | 48448 | E04 |
| 13141500 | 48151 | F04 |
| 13141500 | 48874 | G04 |
| 13141500 | 56624 | H04 |
| 13141500 | 64678 | A05 |
| 13141500 | 64814 | B05 |
| 13141500 | 56998 | E05 |
| 13141500 | 50567 | F05 |
| 13141500 | 62349 | H05 |
| 13141500 | 57998 | F06 |
| 13141500 | 62598 | E07 |
| 13141500 | 64408 | G07 |
| 13141500 | 48388 | H07 |
| 13141500 | 47938 | H08 |
| 13141500 | 47949 | A09 |
| 13141500 | 48684 | H09 |
| 13141500 | 56681 | E10 |
| 13141500 | 56939 | F10 |
| 13141500 | 52929 | G10 |
| 13141500 | 54278 | F11 |
| 13141600 | 65933 | A02 |
| 13141600 | 79050 | C02 |
| 13141600 | 87015 | E02 |
| 13141600 | 66207 | G02 |
| 13141600 | 72914 | H06 |
| 13141600 | 73100 | A07 |
| 13141600 | 73254 | C07 |
| 13141600 | 75503 | H07 |
| 13141600 | 77554 | F08 |
| 13141600 | 80177 | F09 |
| 13141600 | 81540 | A10 |
| 13141600 | 84093 | H10 |
| 13141600 | 85459 | G11 |
| 13141600 | 85479 | H11 |
| 13141700 | 92588 | C02 |
| 13141700 | 94820 | F02 |
| 13141700 | 95926 | H02 |
| 13141700 | 106221 | D03 |
| 13141700 | 109451 | G03 |
| 13141700 | 108098 | H03 |
| 13141700 | 95916 | F05 |
| 13141700 | 97999 | C07 |
| 13141700 | 98905 | E07 |
| 13141700 | 99504 | F07 |
| 13141700 | 99515 | G07 |
| 13141700 | 99526 | H07 |
| 13141700 | 99663 | F08 |
| 13141700 | 99671 | E09 |
| 13141700 | 109131 | H10 |
| 13141700 | 109188 | A11 |
| 13141700 | 109248 | C11 |
| 13141700 | 92585 | E11 |
| 13141700 | 99445 | F11 |
| 13141800 | 110380 | A02 |
| 13141800 | 113491 | B02 |
| 13141800 | 117271 | D02 |
| 13141800 | 114792 | E02 |
| 13141800 | 121865 | G02 |
| 13141800 | 118516 | H02 |
| 13141800 | 122140 | A03 |
| 13141800 | 121304 | B03 |
| 13141800 | 120686 | C03 |
| 13141800 | 118207 | D03 |
| 13141800 | 116654 | E03 |
| 13141800 | 116709 | G03 |
| 13141800 | 119236 | H03 |
| 13141800 | 121860 | A04 |
| 13141800 | 121838 | B04 |
| 13141800 | 117489 | C04 |
| 13141800 | 116702 | D04 |
| 13141800 | 109816 | F04 |
| 13141800 | 114382 | G04 |
| 13141800 | 109509 | H04 |
| 13141800 | 118836 | C05 |
| 13141800 | 113909 | H06 |
| 13141800 | 109593 | D07 |
| 13141800 | 116491 | F07 |
| 13141800 | 120672 | H08 |
| 13141800 | 120688 | F09 |
| 13141800 | 118176 | D11 |
| 13141900 | 125252 | A02 |
| 13141900 | 131612 | C02 |
| 13141900 | 135882 | D02 |
| 13141900 | 136469 | E02 |
| 13141900 | 157469 | F02 |
| 13141900 | 163865 | G02 |
| 13141900 | 163443 | B03 |
| 13141900 | 168468 | E03 |
| 13141900 | 122370 | A04 |
| 13141900 | 123111 | F04 |
| 13141900 | 125095 | F05 |
| 13141900 | 125908 | G05 |
| 13141900 | 126347 | H05 |
| 13141900 | 126401 | A06 |
| 13141900 | 126710 | B06 |
| 13141900 | 130796 | B07 |
| 13141900 | 131614 | F07 |
| 13141900 | 132230 | B08 |
| 13141900 | 133488 | F08 |
| 13141900 | 164137 | H08 |
| 13141900 | 134148 | A09 |
| 13141900 | 136472 | F09 |
| 13141900 | 136473 | G09 |
| 13141900 | 162215 | E10 |
| 13141900 | 164640 | D11 |
| 13142000 | 209910 | A02 |
| 13142000 | 209931 | B02 |
| 13142000 | 169930 | C02 |
| 13142000 | 299137 | D02 |
| 13142000 | 169931 | F02 |
| 13142000 | 169925 | G02 |
| 13142000 | 169936 | H02 |
| 13142000 | 309895 | A03 |
| 13142000 | 297813 | B03 |
| 13142000 | 170561 | H03 |
| 13142000 | 216633 | A04 |
| 13142000 | 292213 | B04 |
| 13142000 | 295642 | E04 |
| 13142000 | 294526 | H05 |
| 13142000 | 250826 | E06 |
| 13142000 | 270156 | F06 |
| 13142000 | 270737 | G06 |
| 13142000 | 311152 | E08 |
| 13142000 | 310366 | F08 |
| 13142000 | 305831 | C09 |
| 13142000 | 309883 | H09 |
| 13142000 | 170992 | D10 |
| 13142000 | 268879 | A11 |
| 13142000 | 216621 | B11 |
| 13142000 | 255980 | H11 |
| 13142100 | 319464 | A02 |
| 13142100 | 327702 | C02 |
| 13142100 | 327704 | D02 |
| 13142100 | 371884 | F02 |
| 13142100 | 372037 | G02 |
| 13142100 | 372046 | H02 |
| 13142100 | 372060 | A03 |
| 13142100 | 372618 | B03 |
| 13142100 | 379640 | C03 |
| 13142100 | 625324 | E03 |
| 13142100 | 381469 | F03 |
| 13142100 | 332471 | H03 |
| 13142100 | 319440 | G04 |
| 13142100 | 319447 | H04 |
| 13142100 | 321496 | A06 |
| 13142100 | 321578 | C06 |
| 13142100 | 326182 | F06 |
| 13142100 | 328087 | A07 |
| 13142100 | 339585 | F07 |
| 13142100 | 372074 | G07 |
| 13142100 | 372280 | A08 |
| 13142100 | 372768 | C08 |
| 13142100 | 373054 | F08 |
| 13142100 | 373058 | G08 |
| 13142100 | 373989 | H08 |
| 13142100 | 607796 | A11 |
| 13142100 | 629659 | F11 |
| 13142100 | 327705 | H11 |
| 13142200 | 680517 | A02 |
| 13142200 | 521717 | D02 |
| 13142200 | 81670 | E02 |
| 13142200 | 159165 | B03 |
| 13142200 | 241261 | E03 |
| 13142200 | 659162 | F03 |
| 13142200 | 639174 | E04 |
| 13142200 | 643735 | H04 |
| 13142200 | 657704 | F05 |
| 13142200 | 659694 | A06 |
| 13142200 | 629974 | G10 |
| 13142200 | 634396 | H10 |
| 13142200 | 634663 | A11 |
| 13142200 | 658142 | E11 |
| 13142300 | 350363 | C02 |
| 13142300 | 360494 | D02 |
| 13142300 | 361815 | E02 |
| 13142300 | 152432 | G02 |
| 13142300 | 618077 | H02 |
| 13142300 | 41458 | A03 |
| 13142300 | 83628 | B03 |
| 13142300 | 117212 | C03 |
| 13142300 | 357650 | G03 |
| 13142300 | 351123 | H03 |
| 13142300 | 138756 | A04 |
| 13142300 | 141562 | B04 |
| 13142300 | 363916 | C04 |
| 13142300 | 339908 | H04 |
| 13142300 | 136476 | D05 |
| 13142300 | 363935 | E05 |
| 13142300 | 369205 | G05 |
| 13142300 | 371684 | H05 |
| 13142300 | 141566 | C06 |
| 13142300 | 147744 | F06 |
| 13142300 | 148354 | H06 |
| 13142300 | 150289 | A07 |
| 13142300 | 157307 | H08 |
| 13142300 | 351351 | C11 |
| 13142400 | 122405 | A02 |
| 13142400 | 118217 | B02 |
| 13142400 | 187613 | D02 |
| 13142400 | 115883 | E02 |
| 13142400 | 175423 | F02 |
| 13142400 | 176327 | G02 |
| 13142400 | 201430 | H02 |
| 13142400 | 179187 | A03 |
| 13142400 | 194598 | C03 |
| 13142400 | 201873 | E03 |
| 13142400 | 116064 | F03 |
| 13142400 | 117198 | C04 |
| 13142400 | 120639 | H05 |
| 13142400 | 172614 | H06 |
| 13142400 | 175650 | C07 |
| 13142400 | 176328 | C08 |
| 13142400 | 177407 | H08 |
| 13142400 | 201868 | B09 |
| 13142400 | 188491 | C10 |