- Will Filter Packs be provided by EPA in addition to the GFE list provide in the RFP?

Response:  Yes.  There is a current inventory of an estimated 500 filterpacks; however, the filterpacks are considered Contractor Acquired Government Property.   Also see response to Question #90.

The filter pack is available from SAVILLEX and consists of the following assembled parts:

1.	Inlet “A” on page 31 P/N 410-10-47 which is a 1-1/2” open inlet 47mm

2.	Outlet “K” on page 32 P/N 411-31-47 which is 1/4" MNPT fitting 47mm

3.	Clamp “I”  on page 32 P/N 412-22-47 Gray, PFA, extended 47mm

4.	Grids “F” on page 32 P/N 414-47 47mm (four each is used)

5.	Support Ring “D” on page 31 P/N 413-47 47 mm filter support ring (three each is used)

6.	 A ¼” low flow brass fitting P/N 50785K92 from McMaster Carr is attached to Outlet “K” using Teflon tape and a stainless steel Swagelok quick connect (SS-QC6-54PM-K6) from Georgia Valve & Fitting is attached to it.

- Are the OCI and Property Management Plans to be included in the Cost Proposal Volume?

Response:  Yes.

- Referring to Section M.4.4 of the RFP, Proposed Quality Management Plan (QMP), should subfactors A-C be addressed in an attachment to the QMP?  If not, then which section(s) of the QMP should include the required discussions of these subfactors?

Response:  The decision is left to the offeror.  However, M.4.4 states:

The Quality Management Plan shall comply with “EPA Requirements for Quality Management Plans,” EPA QA/R-2 [EPA/240/B-01/002].  The EPA will utilize the checklist for reviewing Quality Management Plans available at http://www.epa.gov/quality/qs-docs/qmp/checklist.pdf

- Section M.4 of the Evaluation Criteria, 1. D Technical Approach item (D) indicates that some portion of the SOW will be Level of Effort. Please identify which tasks are level of effort.

Response:  The solicitation has been amended to add the appropriate Level of Effort clauses to the solicitation.  Please see revised Statement of Work, Task 18 for more details.

- The PM-related tasks, the NADP and IMPROVE Tasks are not clearly delineated in the evaluation criteria as the dry deposition, ozone and NCore tasks are. Please clarify.

Response: The PM-related tasks are included within subfactor (C) of the evaluation factors on Page M-2 of 6.  The NADP and IMPROVE tasks will not be evaluated as they are considered relatively minor portions of the work.

- Referring to Attachment 8, Section D.4, of the RFP, should subcontractor Quality Management Plans (QMPs) be included as attachments to the prime contractor’s QMP?

Response:  This is a business decision left to the offeror’s discretion.

- Are the prime contractor QMP and subcontractor QMPs included in the technical proposal page count?

Response:  No.  The solicitation has been amended to exclude the QMP from the technical proposal’s 200 page limit.

- Referring to Section M.4.6 of the RFP, are offerors required to submit a Quality Assurance Project Plan (QAPP) with the proposal? Section E.1, page E-2, B. Post Award Documentation states that a QAPP is due after contract award. Please clarify.

Response:  No.  Contractors are directed to Page 1-7 and 1-8 of 32 of the Statement of Work for full details of the QAAP.

- There are over 3000 items on the GFP/GFE list. Although some are located at current CASTNet sampling sites, many items are not. Where are the items not listed at current CASTNet sites located?

Response:  The unlisted items are currently stored at the incumbent’s warehouse in Newberry, FL.

- How does the Government intend to transfer items that are not at the CASTNet sites to the successful bidder?

Response:  Offerors are directed to Page M-4 of 6, evaluation criteria number four, Proposed Quality Management, subfactor (c), which includes the evaluation of the offeror’s transition plan.  Offerors are expected to include transfer of those items in their transition plan.

- Please provide an estimate of square footage or cubic footage needed to store the items not at CASTNet sites?

Response:  The indoor storage required to store items not at CASTNET sites is approximately 2000 sq ft.  The outdoor storage required to store items not at CASTNET sites is approximately 5000 sq ft.

- The GFP/GFE list provided does not show any EPA property tag numbers, original costs, or current condition codes as is the case with other EPA property lists.  Please provide the official CASTNet property list that includes the needed information.

Response:  The solicitation has been amended to attach an updated GFP/GFE list, including EPA property tag numbers, original costs, and current condition codes where available, is provided in Attachment 2.

- The first bulleted item in Section 1.1.1 of Attachment 1 of the RFP states that the contractor must provide “data security in compliance with the EPA requirements for external data systems.” Please provide offerors with the document that contains these specific requirements.

Response:  The solicitation has been amended to include Data security guidance for external data systems, contained in Attachment 9 (EPA Information Security Manual) and 10 (Agency Network Security Policy).

- Please provide the user manual, software requirements and other documentation for the Visual Basic data management application mentioned in Section 1.1.1 of the Statement of Work.

Response:  The System Application user manual and any software requirements are contained in Appendix 6 of the CASTNET QAPP.

- With respect to the third party audits mentioned in Section 1.9 of the RFP, please describe how these are planned, scheduled with the offeror and executed.

Response:  The audit program is documented in the CASTNET Audit Program QAPP available at http://www.epa.gov/castnet/docs

- (Revised) In order to estimate the labor hour demands for the administration, modification, and management of the CASTNET database, does the EPA have existing documentation available for the following items:   (QUAAP references, where applicable, are noted in the parentheses.)

  - Functional Requirements  (1.3.1.4 and 1.5.1) –request modified to the following

Section 1.3.1.4 states:

“The CASTNET data are managed and analyzed using Microsoft® (MS) structured query language (SQL) Server™ 7.0, a fully relational database management system (RDBMS). Defined SQL tables are used to archive all measurements and supporting data.”

The specific request is to get copies of the SQL statements that are user to generate the daily reports and to archive the measurement and supporting data.

  - Verification and Validation procedures (1.3.1.4.1 - Levels 1, 2, and 3 ; 4.3, ) no longer required – alternative reference to be used

  - Database Schema (4.2.1.1,  4.2.1.2, and 4.2.1.3) – EPA response expected

  - Data Dictionary (4.2.1.1) – EPA response expected

  - Design documents (4.2.1.1)

    - page layout,  – no longer required

    - report layout, (4.6.1)  - covered in section a

    - queries,  - covered in section a

    - table layout, – no longer required

    - error handling, and – no longer required

    - reference tables – no longer required

  - Source Code (4.2.2.2) - – no longer required

  - Test Plan  ( 1.3.1.5, 4.3.4.1 and 4.3.7.1 ) no longer required – alternative reference to be used

  - Configuration Management Plan (4.2.2.2.1 and 4.2.3) – no longer required – alternative reference to be used

  - User Manuals (4.3.7.4)  – EPA response expected

All references are from the

Quality Assurance Project Plan (QAPP)

Revision 4.0 June 2007

(prepared by MACTEC Engineering and Consulting, Inc.)

Section 1.3.1.4 – page 9 of 21 Revision 4.0 Section Number 1.0 June 2007

Section 1.3.4.1 – page 9 of 21 Revision 4.0 Section Number 1.0 June 2007

Section 1.5.1 – page 15 of 21 Revision 4.0 Section Number 1.0 June 2007

Section 4.2.1.1 – page 3 of 47 Revision 4.0 Section Number 1.0 June 2007

Section 4.2.1.2 – page 4 of 47 Revision 4.0 Section Number 1.0 June 2007

Section 4.2.1.3 – page 4 of 47 Revision 4.0 Section Number 1.0 June 2007

Section 4.2.2.2 – page 6 of 47 Revision 4.0 Section Number 1.0 June 2007

Section 4.2.3 – page 7 of 47 Revision 4.0 Section Number 1.0 June 2007

Section 4.3.7.1 – page 33 of 47 Revision 4.0 Section Number 1.0 June 2007

Section 4.3.7.4 – page 34 of 47 Revision 4.0 Section Number 1.0 June 2007

Response:  EPA does not require the offeror to manage their data in a specific schema or data base management system (DBMS), so long as it conforms to accepted good data management practices.  Likewise, EPA does not require the daily reports to be in any specific format or structure, so long as the data transmission is documented, consistent, complete (i.e., all data collected in the previous day is transferrred) and compatible with EPA's DBMS.  EPA has provided the existing schema as SQL defined tables and functional code used by the incumbent contractor in their data management application.

Because the SQL statements used to generate the daily reports and archive data are dependent on the configuration of the offeror's proposed DBMS and their proposed vehicle for transmission (e.g. FTP of ASCII data, binary exports or SQL*NET), EPA cannot provide SQL statements that would be appropriate for all proposed systems.  For example, the table structure of the existing CASTNET data tables are in a semi-relational form.  The offeror may propose a more efficient relational organization of the tables and the SQL statements for the daily reports would be entirely different from those used in the existing schema.

The solicitation has been amended to include the database schema and data dictionary of the current EPA CASTNET database, described in Attachments 11 and 12.  Furthermore, the solicitation has been amended to include the source code of the System Application is contained in Attachment 13.  The other available supporting documents pertaining to these topics are contained in Appendix 6 of the CASTNET QAPP.

- Are offerors required to populate Section B of the solicitation, including clause B.1 with the proposed labor categories and corresponding fixed hourly rates for each term of the contract?

Response:  The information will be entered at the time of contract award.

- Will the second sentence in clause B.2 be populated with the successful offeror’s total proposed contract cost for the base period? How will option periods be addressed?

Response:  To answer both questions, the information will be entered at the time of contract award based upon the successful offeror’s proposal.

- With respect to clause B.3, what are the categories of other direct costs that are intended to be listed under this clause?

Response:  The information will be entered at the time of contract award based upon the successful offeror’s proposal.

- Will the monetary amounts to be listed under clause B.3 for each category of other direct costs be derived from information found in the successful offeror’s cost proposal? If so, please explain what offerors are to provide.

Response:  Yes, the information will be entered at the time of contract award based upon the successful offeror’s proposal.  Offerors shall provide their estimated Other Direct Costs.

- Will the EPA consider removing clause G.4 in its entirety from the solicitation, recognizing the nature of this fixed rate Indefinite Delivery/Indefinite Quantity contract? Alternatively, will the Government consider refraining from including in this clause, the table found under paragraph (b) that identities the contractor’s proprietary provisional indirect billing rates and the table found under paragraph (c) that identifies the ceilings established on the contractor’s indirect rates for use on this contract?

Response:  No, the EPA will not consider removing clause G.4 and, alternatively, the EPA will not consider removing the portions of (b) and (c) mentioned above.  However, it should be noted that information received in a proposal is considered

confidential business information.

- With regard to clause H.7, will the maximum dollar amount column of information be populated with the successful offeror’s total proposed cost for each option period?

Response: Yes, it will be populated with the successful offeror’s total proposed cost for each option period.

- Are offerors required to complete H.8 that addresses small disadvantaged business targets?

Response:  No, offerors do not complete the government’s clauses, but, as a reminder, SB & SDB utilization is included as an evaluation factor for award.

- What is the applicable NAICS code for this solicitation?

Response:  The applicable NAICS code for this solicitation is 541620, Environmental Consulting Services.

- With regard to clause H.17, are offerors required to populate the names of its key personnel corresponding to the specified labor category positions found in this clause?

Response:  No, offerors are not expected to complete EPA clauses.  The clause will be completed with information obtained from the successful offeror’s proposal.

- With respect to clause I.10, what are the classes of service employees who are expected to be employed under the contract? Please identify the employee class and monetary wage/fringe benefits for each of these positions.

Response:  Offerors are expected to submit a proposal that adheres to the minimums of the Service Contract Act, applicable to the classes of service employees which the offeror proposes.

- For use in pricing the non-exempt labor category positions on the CASTNET Program which will be covered by the Service Contract Act, what are the applicable Wage Determinations for the work contemplated to be performed under this contract?  Will these Wage Determinations be incorporated into the attachments to the solicitation?

Response:  The solicitation has been amended to include the geographic regions that the work will be performed in by either the successful contractor or their subcontractor and a link to the DOL website where wage determinations for those regions can be obtained.

- What are the maximum dollar amounts for ODCs corresponding to each term of the contract that offerors are to include in their cost proposals per section L.14? Are offerors required to price in the cost proposal (Attachment 8, Table 3 ) the ODC minimum as well as the ODC maximum amounts set forth in this provision?

Response:  The solicitation has been amended to remove the provided estimated ODC figure of $97,298.  The offerors are expected to provide both minimum and maximum ODC amounts in their cost proposal.  Furthermore, the solicitation has also been amended to remove Table 3 in attachment 8.

- Are there any maximum amounts applicable to the estimated costs for land leases and/or utilities? If so, what are they?

Response:  Yes, the total cost for utilities is $35,000 per year and the total cost for land leases is $55,000 per year.

- In Attachment 1,  SOW, should the Task 16 entitled “Acquisition and Management of NPS Data” be renumbered as Task 17, since there is another Task 16 that corresponds to the “Operation of IMPROVE Site” and it is referred to as Task 17 in Table 1, page 8-3 of Attachment 8? If so, will the remaining tasks be renumbered accordingly?

Response:  The solicitation has been amended to correct Task 16 “Acquisition and Management of NPS Data” to be renumbered as Task 17.  In addition, Task 17 “Infrastructure, Design, Testing, and Deployment Support” will be renumbered as Task 18.

- Table 1 on page 8-3 of Attachment 8 is missing the Task entitled “Infrastructure, Design, Testing, and Deployment Support” – should this task be included in Table 1?  Will Table 1 be revised based on these corrections?

Response:  No, Task 18 is a Level of Effort task, separate from the Fixed-Rate Indefinite Delivery/Indefinite Quantity tasks listed in Table 1 “Assumed Number of Units for Solicitation.”

- Table 1 on page 8-3 of Attachment 8 indicates a number of CLINs. How do these CLINS relate to the CLINS (Labor Categories) listed in section B.1 of the RFP? How are these CLINs to be incorporated into Table 3 of Attachment 8?

Response:  The solicitation has been amended to remove Table 3 of Attachment 8.  Furthermore, the solicitation has been amended to link the CLINs in B.1 of the RFP to Table 1 of Attachment 8.

- Should the Small Business Subcontracting Plan be included in both the technical proposal and the cost proposal, or should it be included in the cost proposal only?

Response:  The Small Business Subcontracting Plan should be included in both the technical proposal and the cost proposal.  Offerors are reminded to include only the percentage involvement of SBs and SDBs in the plan submitted with the technical proposal and to insure that dollar figures are left out of that plan.

- The technical proposal instructions appear to contain pricing assumptions in paragraphs B. and C. that are directly related to the cost proposal. Will the Government consider restructuring the proposal preparation instructions such that the assumptions applicable to the cost proposal are provided as part of the cost proposal instructions?

Response:  The solicitation has been amended to transfer those portions of (b) and (c) of the technical proposal instructions related to cost to the cost proposal.

- What does the Government require offerors to provide in its pricing information included in the cost proposal to satisfy the stated requirements concerning the following statement found in paragraph B: “The Contractor shall provide a proposal for the Core operations of the CASTNET Program (Task 1) with the additional Required Tasks proposed and priced individually. In preparing costs estimates for the additional tasks, the Contractor shall compensate for any additional costs to the Core program (Task 1) incurred by adding the additional task at one site.”?

Response:  The solicitation has been amended to change the phrasing in section B. Statement of Work Organization to:

The Contractor shall provide a proposal for the Core operations of the CASTNET Program (Task 1) with Tasks 2-17 proposed and priced individually.  In preparing cost estimates for Tasks 2-17, the Contractor is reminded that they shall compensate for any additional cost incurred to the Core operations, by the addition of Tasks 2-17, in the individual cost estimates of Tasks 2-17.

- Will the 90 day transition period need to be priced? If so, will the 12 month base period actually consist of the 90 day transition period and a 9 month performance period?

Response:  Yes, to both questions.

- Do offerors need to price both the minimum and maximum number of units provided in Attachment 8, Table 1, page 8-3 entitled “Assumed Number of Units for Solicitation”? If so, does the pricing need to be broken down on a task by task basis with an overall summary for each term of the contract using the cost model provided in Table 3 on page 8-10 of the Section II Cost Proposal – Specific Instructions?

Response:  The solicitation has been amended to remove Table 3 from the solicitation.

- Should a separate Table 3 be completed for the Core and each task, as well as for each contract year?

Response:  The solicitation has been amended to remove Table 3 from the solicitation.

- Should a separate Table 3 be completed for each subcontractor (for the Core Task and each additional task)?

Response:  The solicitation has been amended to remove Table 3 from the solicitation.

- Table 3 of the proposal instructions indicate that offerors are to price 174,000 hours for the base year and 600,500 hours or each option year. If the same tasks are to be priced each year, why is there such a large difference in the hours for the base year versus each option year?

Response:  The solicitation has been amended to remove Table 3 from the solicitation.

- If the offeror’s estimate of the hours required to perform the work are significantly different from the hours estimated in Table 3, how should these hours be priced?

Response:  The solicitation has been amended to remove Table 3 from the solicitation.

- Section L.15 indicates that the total evaluated quantities (plus other direct costs) will represent the maximum that may be ordered under a resulting contract. The total hours to be used to price these quantities are being prescribed in Table 3 of Attachment 8, which indicates that the hours are being used for Source Evaluation and Selection purposes only. How will the Maximum Amount in Section B.2 be calculated?

Response:  The solicitation has been amended to remove Table 3 from the solicitation, which included the reference to hours used for source evaluation and selection purposes.  B.2 will be calculated using information from the successful offeror’s proposal.

- For evaluation purposes, why has the Government only elected to provide in the specific instructions for the cost proposal found in Section II to Attachment 8 the total number of labor hours to be priced for the base and option periods without providing prospective offerors with labor category positions to be staffed, labor category qualification requirements and hours allocated to each labor category position?   Without providing this additional information, how does the Government plan to evaluate bids submitted by offerors recognizing that it is highly likely that each bid will contain a completely different staffing mix and different labor qualification requirements which will make the Government’s evaluation and comparison of bids extremely difficult if not impossible?  Without uniformity between the bids in terms of the staffing mix and labor category qualifications, how will the Government compare and evaluate the fixed hourly rates proposed by each offeror?

Response:  It is the government’s policy to allow offerors the freedom and ability to devise innovative approaches in their proposals, rather than dictating business decisions and business strategies.   The offeror shall submit a staffing mix that supports their unique technical approach.

- Will the Government consider providing offerors with labor category positions to be priced, the labor hours for each position and the minimum qualification requirements for staffing the labor category positions?  Restructuring of the solicitation will provide the Government with a means of comparing and evaluating the fixed hourly labor rates proposed by each offeror on an apples to apples basis. This approach will also greatly reduce the likelihood for bid protests due to ambiguous pricing instructions.

Response:  See response to Question #43.

- If Government’s stated min and max quantities of samples are to be priced in accordance with Section I, paragraph C to the Attachment 8 Proposal Instructions, the labor hours required to perform the analyses of the min and max sample quantities will be considerably different for performance of the min and max quantities.  The specific instructions for the cost proposal found in Section II to Attachment 8 only require offerors to price 174,000 hours for the base period and the 600,500 hours for each option period. If offerors are required to price min and max quantities, does the 174,000 hours for the base period and the 600,500 hours for each option period represent the minimum quantity of labor hours or the maximum quantity of labor hours to be priced?  Assuming the 174,000 hour and 600,500 hour represents the minimum quantity of hours to be priced, what are the maximum number of hours to be priced for the base and option periods?  Conversely, if the 174,000 hour and 600,500 hour represents the maximum quantity of hours to be priced, what is the minimum number of hours to be priced for the base and option periods?

Response:  The solicitation has been amended to remove Table 3 from the solicitation which contained the references instructing offerors to use 174,000 hours and 600,500 hours to price their cost proposals.

- Are laboratory analytical costs included in the Government’s total estimated labor hours for the base and option periods that are found in the specific instructions for the cost proposal in Section II to Attachment 8 or are laboratory analytical costs included in the Government’s stated ODC amounts that are to be priced for evaluation purpose in accordance with Section L.14 of the solicitation?  Based on our past experience, laboratory analytical costs can be priced as an ODC based on a fixed unit cost (that is inclusive of labor charges) x number of units (samples) or can be based on labor hours required to carry out the required analyses plus any purchased materials and ODCs for supplies needed to conduct laboratory analyses. Depending on how an offeror chooses to price laboratory analytical costs, the number of labor hours and ODCs may differ from one contractor to the next.  Accordingly, one contractor may have higher labor hours/costs and correspondingly lower ODC costs with another contractor having lower labor costs but higher ODCs for satisfying the same requirement.  If an offeror proposes to include laboratory analytical costs in its ODCs can corresponding a downward adjustment be made to the total labor hours to account for the labor included in the priced ODCs?

Response:  The solicitation has been amended to instruct that laboratory analytical costs shall be priced as an ODC based on a fixed unit cost that is inclusive of labor and other incidental costs.  Internal laboratory quality assurance costs (e.g., method blanks, replicate runs, and end of run internal standards) shall be incorporated into the unit cost.  We are looking for (2) unique unit costs.  The unit bases for these analytical costs shall be 1) one filterpack assembly prepared, shipped, received and analyzed from the field and 2) one audit sample received and analyzed.

- Will the EPA extend the proposal submission deadline to 30 days after its release of an amendment to the RFP that addresses all submitted questions?

Response:  The solicitation has been amended to extend the proposal due date.

- Page G-3 of 13 section G.3(b)(2) appears to indicate that if the subcontracted effort is not included in the hourly rate, it may be reimbursed as an other direct cost (ODC).  Page 8-8 of 11 in the proposal instructions indicates that “Subcontractors proposed as part of the team arrangement shall be billed at the rates specified for the prime contractor and not placed under Specialized Labor.  Only one rate will be utilized for a specified category whether it is performed by the prime or a team subcontractor.”  However the Cost Model in Table 3 on page 8-10 of 11 indicates for Line C- Other Direct Costs, that CLIN 0006 should include specialized Labor/Subcontracts, Misc. ODCs, etc.”  We have several questions on this.  A) Can subcontractor costs be placed in ODCs for the purposes of providing a cost estimate?  B) If the answer to A) is yes, should we then use the values listed for evaluation purposes in Section L.14 for all subcontractors on the team?  C) If the answer to A) is no, how will an auditor effectively audit and verify the rates used for each labor category since they will be a composite of both the prime and all subcontractors rates?

Response:  G-3 of 13 Section (G.3(b)(2) is part of EPAAR clause 1552.232-73).  The clause reads, “Subcontracted effort may be included in the fixed hourly rates discussed in paragraph (a)(1) of this clause and will be reimbursed as discussed in that paragraph.”  Page 8-8 of 11 in the proposal instructions asks that particular subcontractor effort, proposed as part of the team arrangement is to be billed at fixed hourly rates and not included in ODCs.  Thus, the subcontracted effort may be included in ODCs, so long as they are not part of the team arrangement.

- Section B.1 indicates that “The Government shall pay the Contractor for the life of a delivery order at rates in effect when the delivery order was issued, even if performance under the delivery order crosses into another period.”  We are concerned that since the contract period is 12 months with options to add additional years, it is possible that EPA could modify the delivery date of a delivery order originally issued in the base period after the exercise of each option year to extend that delivery order from the base period until the end of the last option period and thus maintaining the use of the base year rate for the entire contract period.  We are sure that this is not EPA’s intent with this clause.  What mechanism is available to ensure that EPA will not handle delivery orders in this manner?

Response:  FAR 52.216-22 states, “any order issued during the effective period of this contract and not completed within that period shall be completed by the Contractor within the time specified in that order.”  The clause places a 180 day ceiling on deliveries under the contract after the end of the effective period.  Therefore, the effective period of an order would be the effective period when the order was issued, thus, limiting any order to an additional 180 day ceiling.  New work ordered will always be at the rates in effect at the time of ordering.

- There are a number of places, Page B-2 of 2 and Section L.14, where a “to be determined” (TBD) number is indicated. Will these quantities be determined by EPA, if so when, or are they to be determined by the contractor in the course of his estimate?

Response:  Portions of the solicitation where TBD or “to be determined” appears will be filled in at time of contract award, based on the winning proposal.

- Section L.14 indicates the amounts that offerors should use for other direct costs in their proposals for evaluation purposes.  It also indicates an amount for land leases and utility costs.  Should the ODC amounts used in the proposal add the land lease and utility costs to the ODC minimum values (e.g., $97,298 + $55,000 + $35,000) or does the ODC minimum value already include the utility and land lease costs?  Also does the $97,298 figure apply to all tasks or to each task individually?

Response:  The solicitation has been amended to remove the provided estimated ODC figure of $97,298.  Offerors are expected to provide both minimum and maximum ODC amounts in their cost proposal.

- Item 1(D) on page M-2 of 6 indicates that one of the Technical Approach evaluation criteria is “Responding to technical direction under the Level of Effort Portion of the SOW.”  In the SOW on page 1-3 of 32, last sentence of the first paragraph of Task 1 it indicates that “Management and costs of the site utilities, telemetry (e.g., phone or internet service) and the site land lease shall be included as a Level of Effort task and shall not be included in costs of this task.”  We did not see any mention of a Level of Effort component in the RFP.  Is there also going to be a LOE component of the contract?

Response:  Yes, the solicitation has been amended to add the appropriate Level of Effort clauses to the solicitation in support of Task 18.

- If there is no LOE component, in order to provide a level playing field for all offerors, will EPA be providing specific values for things like equipment, travel and other undefined costs for current Task 17: Infrastructure, Design, Testing, and Deployment Support?  For example, one of the potential subtasks in that area is “select, evaluate, and install equipment at candidate monitoring sites according to network requirements and criteria”.  How much should be assumed for equipment costs since the type(s) of equipment are not specified?  Similarly another subtask discusses training and conducting workshops.  How many training/workshop sessions should be assumed?  Where would they be located and what travel costs should be assumed?

Response:  See response to Question #52 above.

- Please confirm information on page 8-5 of 11 in the proposal preparation instruction that all resumes must be “signed by the individual and a corporate official certifying the accuracy of the information contained therein.”  If this is confirmed and subcontractor personnel are included as key personnel should their resumes be signed by the subcontractor’s corporate personnel or the prime contractor’s corporate personnel?  Finally if signatures are required can a signature page listing all individuals considered key and including their and their corporate official’s signature be placed on that page in lieu of signatures on the resumes themselves?

Response:  Subcontractors are not in privity of contract with the EPA.  A signature by their corporate personnel would have less bearing on a potential award than would be that of a contractor making a proposal.  Therefore, the signature should be from the corporate personnel of the offeror submitting a proposal.  The EPA allows offerors to devise a method to clearly indicate signatures attest to the accuracy of the information contained in resumes submitted.

- Our corporate QMP is almost 90 pages long.  We are certain that it is not EPA’s intent to include such a document in the page limit of the proposal.  Can large items (such a corporate QMP) be incorporated by reference in the appropriate section of the technical approach and then included as an attachment/appendix and not count against the page limitation?

Response:  The solicitation has been amended to exclude the QMP from the 200 page limitation.  Furthermore, the QMP should be included as an attachment.

- Item L.11(b) indicates that offerors should submit a list of all or at least 5 contracts and subcontracts completed in the last three years for past performance.  Should the submittal be all or at least 5 from each of the prime and any qualifying subcontractors (e.g., those expected to exceed $500,000) or should it be 5 total that includes both the prime and any qualifying subcontractors?  Is the $500,000 limit for qualifying subcontractors over the life of the contract or just the base year?

Response:  The solicitation has been amended to change L.11 to: “… for subcontractors expected to exceed $500,000 in the base period or any subsequent option year.”  Furthermore, the solicitation has been amended to change L.11.b to, “Offerors shall submit a list of at least five contracts or subcontracts completed in the last three years.”

- Do we need to request a past performance questionnaire from someone that we know to be a competitor for this contract?

Response:  A responsive contractor should include all information requested in the solicitation based upon the guidelines given for inclusion of that information.  However, to note, EPAAR 1552.215-75 instructs:

  - (d) If negative feedback is received from an offeror's reference, the Government will compare the negative response to the responses from the offeror's other references to note differences. A score will be assigned appropriately to the offeror based on the information. The offeror will be given the opportunity to address adverse past performance information obtained from references on which the offeror has not had a previous opportunity to comment, if that information makes a difference in the Government's decision to include the offeror in or exclude the offeror from the competitive range. Any past performance deficiency or significant weakness will be discussed with offerors in the competitive range during discussions

- What does a CLIN represent?  In certain places (e.g., Table 1.  Assumed Number of Units for Solicitation) it appears to represent an entire task in the SOW.  In other places (Table 3 – Cost Model) it appears to represent subcomponents of SOW tasks (travel, ODCs, labor, etc).

Response:  The solicitation has been amended to remove Table 3 of Attachment 8.  Furthermore, the solicitation has been amended to link the CLINs in B.1 of the RFP to Table 1 of Attachment 8.

- Section G.3 (b) states the G&A expense may be allocated to direct material in accordance with the contractor’s usual accounting practices. Will G&A allocation be allowed on all Other Direct Cost (ODC) equipment purchases, travel, rentals, and subcontracts?

Response:  The clause in question reads, “The allowability of direct materials and other direct costs shall be determined by the Contracting Officer in accordance with Subpart 31.2 of the Federal Acquisition Regulation in effect on the date of this contract.  Reasonable and allocable material handling costs or indirect costs may be included in the charge for material or other direct costs to the extent they are clearly excluded from the hourly rate.”  Thus, they will be allowed if a) they are reasonable and allocable and b) they are clearly excluded from the hourly rate.

- Will an offeror who has been awarded an audit support contract such as EP-D-08-047 by the EPA be eligible to bid on solicitation PR-HQ-08-10055 and be considered for award of the CastNet contract?

Response:  The solicitation is a full and open competition with no restriction on award.  However, conflict of interest clauses are included with the onus placed on the offeror to provide any information required by the solicitation.

- Page 1 of 6 indicates that an original and 5 copies are due.  Page 8-2 of 11 indicates an original and six copies are to be provided.  What is the correct number?

Response:  The solicitation has been amended changing the number of copies requested on Page 1 of 6 to an original copy plus 6 copies.

- Section G.3(a)(2) indicates that EPA will withhold 5% of the amounts due the Contractor with a maximum amount withheld of $50,000.   In the past EPA has waived this requirement.  We feel that the requirement should be waived for this procurement as well.  If EPA does not plan to waive this requirement is it applicable on a per delivery order basis or contract basis?

Response:  The decision to withhold a percentage of amounts due is done at time of contract award and is only done when the contracting officer determines that conditions are such that subsequent recovery of unallowable costs from a contractor would be difficult.

- Pages H-7 and H-8 of 17 indicate that EPA has the option to extend the contract for up to four (4) periods.  Option period IV indicates that the start date is Award Date + 4 weeks.  Should this be Award Date + 4 Years consistent with the other option periods?

Response:  The solicitation has been amended on Pages H-7 and H-8 to change the ‘Award Date + 4 weeks’ to ‘Award Date + 4 years.’

- In the Statement of Work – Pages 1-18 and 1-19 of 32, Task 16 is listed twice.  We assume that the tasks should be Task 16 = IMPROVE, Task 17 = NADP, and Task 18 = Infrastructure.  Please confirm.

Response:  The solicitation has been amended to correct Task 16 “Acquisition and Management of NPS Data” to be renumbered as Task 17.  In addition, Task 17 “Infrastructure, Design, Testing, and Deployment Support” will be renumbered as Task 18.

- In the Statement of Work – Section 15.1 - Page 1-17 of 32, the seventh bullet listed is no longer a protocol according to the NADP SOP.  We assume that EPA wants the seventh bulleted item removed.  Please confirm.

Response:  The solicitation has been amended to remove the seventh bullet from Section 15.1 Page 1-17 of 32.

- In the Statement of Work – Section 15.2 - Page 1-18 of 32 it indicates that "The Contractor shall be responsible for maintaining six NADP sites as listed in Table 7.”  Table 7 (Page 1-30 of 32) lists five sites (NY52 is not listed).  We assume that NY52 will be added to Table 7.  Please confirm.

Response:  The solicitation has been amended to add NY52 to Table 8 of Section 15.2 Page 1-18 of 32:

- In the Statement of Work – Section 15.1 - Page 1-17 of 32 indicates "The primary purpose of Task 15 is to provide for the operation and maintenance of EPA-sponsored NADP sites collocated with CASTNET sites (Table 6)."  Table 6 on Page 1-29 of 32 does not have Site KY03 – Mackville, KY listed.  We assume that KY03 will be added to Table 6.  Please confirm.

Response:  The solicitation has been amended to add KY03 to Table 6 of Section 15.1 Page 1-17 of 32.

- In the Statement of Work – Table 2 - Page 1-24 of 32, "List of Equipment deployed at CASTNET Sites" we have noted what we believe are a few discrepancies.  The discrepancies noted are as follows:

  - Wind Speed and Direction - AIO weather stations are not currently deployed in the CASTNET network.

  - Relative Humidity – should include Vaisala RH Sensor, Model # 102425 in the list

  - Flow Control – should include Mykrolis Mass Flow Controller, Model # FC 280 SAV in the list

  - Data Acquisition – should include H2NS Data Logger, Model # CPP-4794 in the list

  - 3-Stage Filter Pack - See Application – List of Cations measured are not included

Please confirm these changes.

Response:  The solicitation has been amended to change Table 2 – Page 1-24 of as follows: b. Relative Humidity, c. Flow Control, and e. 3-Stage Filter Pack have been added to the table, while a. Wind Speed and Direction, has been deleted.  In regards to d. Data Acquisition, EPA expects all H2NS will be replaced by Campbell SCI CR3000 prior to award.

- Section L. 14 – Page L-11 of 17 – Evaluation of Other Direct Costs, please confirm that a single value should be used and that no other components of ODC should be given (ex: travel, subcontractors, miscellaneous operations, expenses, shipping and postage, field supplies).

Response:  The solicitation has been amended to remove the provided estimate ODC figure of $97,298.  The offerors are expected to provide both minimum and maximum ODC amounts in their cost proposal for each option period.  No specific breakout of ODCs has been requested in the solicitation, but a travel estimate has been provided to assist offerors with their proposal.

- Section L.14 indicates an amount for land leases and utility costs of $55,000 and $35,000 respectively.  However that section seems to indicate that those costs include telemetry/phone costs.  We believe those amounts only cover land leases and utility (power) costs and not telemetry/phone costs.  Please confirm.

Response:  The solicitation has been amended to clarify that providing land leases and utilities for sites will be tasked through the Level Of Effort portion of the contract.  Utilities include electrical power, telemetry and communications to the site.  Any other cost shall be included in the unit cost for the appropriate task.  However, offerors are reminded that the estimated amounts located in L.14 are for proposal purposes only.

- Attachment 8 – Proposal Instructions – Page 8-3 of 11 – Paragraph 3 indicates "For the purposes of the solicitation, . .assume 59-EPA sites …25 NPS-sponsored sites" however this is not in agreement with Table 1. Assumed Number of Units for Solicitation on Page 8-3 and 8-4 of 11.  Table 1. lists maximum number of units as 60-EPA sites and 30 NPS sites in the Base Period.  What is the correct value to assume?

Response:  The solicitation has been amended to correct Table 1 Page 8-3 of 11.  Offerors should assume, for purposes of creating their proposal, the following 57 EPA sites and 25 NPS sites.

| CLIN | Description | Number of Sites |
| --- | --- | --- |
|  |  | Base Period | Option Periods 1-4 |
|  |  | Minimum | Maximum | Minimum | Maximum |
| 1 | Core Operations | 1 | 12 | 1 | 12 |
| 2.1 | Dry deposition Filterpack - w/ operator | 552 | 612 | 0 | 1200 |
| 2.2 | Dry deposition Filterpack - w/o operator | 96 | 96 | 0 | 1200 |
| 3.1 | Ozone Monitoring - w/ operator | 456 | 516 | 0 | 1200 |
| 3.2 | Ozone Monitoring - w/o operator | 60 | 60 | 0 | 1200 |
| 4.1 | Ozone monitoring AQS - w/ operator | 96 | 96 | 0 | 1200 |
| 4.2 | Ozone monitoring AQS - w/o operator | 36 | 36 | 0 | 1200 |
| 5.1 | Meteorology - w/ operator | 552 | 612 | 0 | 1200 |
| 5.2 | Meteorology - w/o operator | 96 | 96 | 0 | 1200 |
| 6.1 | Trace gas NOy - w/ operator | 12 | 48 | 0 | 1200 |
| 6.2 | Trace gas NOy - w/o operator | 12 | 72 | 0 | 1200 |
| 7.1 | Trace gas SO2 - w/ operator | 12 | 48 | 0 | 1200 |
| 7.2 | Trace gas SO2 - w/o operator | 12 | 72 | 0 | 1200 |
| 8.1 | Trace gas CO - w/ operator | 12 | 48 | 0 | 1200 |
| 8.2 | Trace gas CO - w/o operator | 12 | 72 | 0 | 1200 |
| 9.1 | PM2.5 FRM mass - w/ operator | 0 | 0 | 0 | 1200 |
| 9.2 | PM2.5 FRM mass - w/o operator | 0 | 0 | 0 | 1200 |
| 10.1 | PM2.5 speciation - w/ operator | 0 | 0 | 0 | 1200 |
| 10.2 | PM2.5 speciation - w/o operator | 0 | 0 | 0 | 1200 |
| 11.1 | PM10-2.5 FRM mass - w/ operator | 0 | 0 | 0 | 1200 |
| 11.2 | PM10-2.5 FRM mass - w/o operator | 0 | 0 | 0 | 1200 |
| 12.1 | PM10-2.5 speciation - w/ operator | 0 | 0 | 0 | 1200 |
| 12.2 | PM10-2.5 speciation - w/o operator | 0 | 0 | 0 | 1200 |
| 13.1 | Continuous PM2.5 mass - w/ operator | 0 | 0 | 0 | 1200 |
| 13.2 | Continuous PM2.5 mass - w/o operator | 0 | 0 | 0 | 1200 |
| 14 | Filterpack prep & analysis | 4244 | 4826 | 0 | 7476 |
|  | Filterpack field samples | 3848 | 4368 | 0 | 6760 |
|  | Filterpack field blanks | 193 | 219 | 0 | 338 |
|  | Laboratory blanks | 193 | 219 | 0 | 338 |
|  | Artificial precipitation audit sample | 10 | 20 | 0 | 40 |
| 15.1 | Operation of NADP sampler - Collocated w/ filterpack | 144 | 240 | 0 | 360 |
| 15.2 | Operation of NADP sampler - Not collocated w/ filterpack | 36 | 120 | 0 | 360 |
| 16.1 | Operation of IMPROVE sampler - Collocated w/ filterpack | 24 | 60 | 0 | 120 |
| 16.2 | Operation of IMPROVE sampler - Not collocated w/ filterpack | 24 | 60 | 0 | 120 |
| 17 | Acquisition and Management of NPS data - | 240 | 300 | 0 | 360 |

- Offeror understands the maximum number of sites in Option Periods I-IV will be 100 EPA sites and 30-NPS sites.  Please confirm.

Response:  The solicitation has been amended to clarify the assumed number of units for the solicitation in Table 1 Page 8-3 of 11.  The maximum number of sites in Option Periods I-IV shall be 100 EPA sites and 30 NPS sites.

- Section L.14 indicates an amount for land leases and utility costs of $55,000 and $35,000 respectively should be used for all years.  If the maximum number of sites in Option Periods I-IV is confirmed to be 100 EPA and 30-NPS is it realistic to assume that no additional land lease or utility costs will be incurred?

Response:  See response to Question #70.

- The first sentence of I.(1) at the top of page 8-2 says to submit an original and six (6) copies of the technical proposal; however, the Solicitation, Offer and Award cover page states an original and 5 copies are to be submitted. Which is correct?

Response:  The solicitation has been amended changing the number of copies requested on Page 1 of 6 to an original copy plus 6 copies.

- There seems to be an inconsistency on the potential hours for this contract. The abstract (http://www.epa.gov/oamhpod1/admin_placement/0810055/index.htm ) says “The total labor hours estimated for this effort is approximately 678,000 hours for the base and all options. The minimum amount of labor hours for each year is approximately 4,700”. However, in the discussion of Table 3 on page 8-9 of the Request for Proposals, it says use 174,000 hours for base year and 600,500 hours per year for each option year (implying a total of 2,576,000 hours total). We expected the requirements of the RFP to be different than those in the abstract, but the hours listed in the RFP are significantly higher than those in the abstract and significantly higher than those in the current contract; what are the correct numbers of hours for this bid?

Response:  The solicitation has been amended to remove Table 3 from the solicitation which contained the references instructing offerors to use 174,000 hours and 600,500 hours to price their cost proposals.

- What cost components make up the $97,298 ODC minimum listed in section L.14? Are the cost of land leases ($55,000) and utilities for sites ($35,000) included or in addition to the $97,298? What is included in the utilities cost (both power and telemetry)?

Response:  The solicitation has been amended to remove the provided estimated ODC figure of $97,298.  The offerors are expected to provide both minimum and maximum ODC amounts in their cost proposal.  For further information about the costs of telemetry, please see response to Question #70.

- Section L.10 states that the contract start date is assumed to be July 30, 2009. Does that mean that the 90-day transition period must start within 15 days after July 30, 2009 or will the transition period be completed by July 30, 2009? Is this contract start date (from L.10) the same or different from the contract award date discussed in the last paragraph of section I.B. on page 8-3?

Response:  The 90-day transition period must start within 15 days after the actual contract award date.  July 30, 2009 is the assumed award date given for proposal preparation purposes.  Section B on 8-3 states that the transition period will be, ”beginning no later than 15- calendar days after the contract award date.”  Furthermore, EP 52.212-155 states that, “the effective period of this contract is from date of contract award through 12 months.”

- Where are the costs for the 90-day transition period to be included? In each task?

Response:  Offerors shall to provide their cost estimate to support their transition plan.  The cost proposal shall support the technical approach.

- Will follow-up questions be allowed based on the answers to the first set of questions?

Response:  No.

- How many NADP sites are included? Text on page 1-18, section 15.2, says 6 sites, but Table 7 only lists 5 sites. If there are 6, what is the additional site?

Response:  There are six NADP sites.  See response to Question #66.

- The CASTNET schema mentioned in section 1.1.1 on page 1-4 is not included in the RFP; please provide this (or a link to it on the web).

Response:  The solicitation has been amended to include the database schema and data dictionary of the current EPA CASTNET database, described in Attachments 11 and 12.

- Several recent quality assurance reports (none available since the 2002 QA annual report) and the 2007 CASTNET annual report are not available on the CASTNET web site; can these be made available?

Response:  Quality assurance reports for 2007 and 2008 are available at http://www.epa.gov/castnet/docs.  These reports contain any significant events which will be included in the Annual Report.  The 2007 CASTNET Annual Report has not yet been produced.

- If we are a small business, do we have to submit an acceptable subcontracting plan, since according to EPAAR 1552.219-74, small disadvantaged business participation, “The successful offeror must submit an acceptable subcontracting plan utilizing small and disadvantaged businesses unless the offeror is a small business firm.”

Response:  No, as the EPAAR clause mentioned above clearly excludes SBs from that requirement.

- Are evaluations available for performance of the current site operators?

Response:  Summary evaluations of site operators are available in the CASTNET Site Audit Program’s annual reports available at http://www.epa.gov/castnet/docs.

- On the current Government Furnished Equipment (GFE) attachment, there are no quantities, tag number, description, manufacturer, model, serial number, condition code (please define condition code), and acquisition date. In addition, the location code information is not complete for all items and a number of location codes are not defined. Much of this information was included in the previous version of the GFE. Some of this information is critical for a realistic response to the RFP, so please provide a version of the GFE with this information.

Response:  See the response to Question #12.

- Numerous new pieces of equipment (ozone monitors and Campbell data loggers, for example) have been purchased, but not yet installed per the GFE attachment. Should we assume that the current contractor will install all of these by the start date of the new contract?

Response:  Offerors should assume that all listed recently purchased equipment will be installed prior to the award of the contract.

- Please clarify the number, location, and contractor requirements (equipment, calibration, repair, etc.) for the Tribal sites.

Response:  The three tribal CASTNET sites are Cherokee Nation (CHE185), Alabama-Coushatta (ALC188) and Santee Sioux (SAN189); see Table 1 page 1-21 of 32 for locations.  All tribal sites provide site operators, maintenance of site infrastructure, and utilities.

- We do not see any filterpack assemblies on the GFE list, although we assume these are government equipment. Please clarify the descriptions and quantities of these government-owned assemblies. If these are not government-owned, what is the manufacturer, catalog number, and distributor for the parts used to construct the filterpacks?

Response:  See the response to Question #1.

- Should laboratory costs for the EPA-run NADP sites be included? If so, where should they be included? We assume that the quoted proposal should include analytical costs for non-EPA funded CASTNET sites; i.e., those supported by NPS. Should we assume additional costs for these sites (sample shipping, operator training travel, site equipment, etc.)?

Response:  No, laboratory costs for NADP sites should not be included in the cost proposal.  For the NPS-supported CASTNET sites, offerors shall include analytical costs, shipping costs from the laboratory to the site, and costs for data transfers and maintenance of data integrity constraints.  Costs for sample shipping from the site to the laboratory, operator training, and site equipment should not be included in the cost proposal.

- What is the manufacturer, catalog number, and distributor of the Teflon, nylon, and impregnated cellulose filters currently used by CASTNET? Such information was not stated in the RFP. This information is critical for the proposal, as it will ensure sample consistency.

Response:  The following filters are used in the CASTNET filterpack:

1) Teflon filter is manufactured by Whatman® (catalog number 7590 004); it is 47mm PTFE (polypropylene backed) membrane with a 1.0µm pore size.

2) Nylasorb™ is manufactured by PALL Life Sciences (P/N 66509); it is a 47mm nylon membrane filter with a 1.0µm pore size.

3) Whatman® paper filter is an ashless 47mm cellulose filter manufactured by Whatman (catalog number 1441 047), and identified with 41 on the box.

- Can the laboratory costs be included as ODC via a cost per sample basis (e.g., for a subcontracted laboratory), rather than specific labor, material, and other costs that would make up the per-sample costs? If laboratory costs are expressed on a cost per sample, what constitutes the sample basis for charges?

Response:  See the response to Question #46.

- There appears to be internal inconsistencies in the quantities quoted in Table 1, page 8-4, Task 14. For example, quarterly filterpack field blanks implies that one blank will be done for every 13 filterpack field samples. However, looking at the base period minimum, 3848/13 = 296 field blanks, yet 193 are quoted. Also, the Statement of Work implies that weekly laboratory blanks are to be performed; yet Table 1 indicates that 193 laboratory blanks are to be prepared, which is not evenly divisible by 52. Please clarify the required numbers/quantities.

Response:  Table 1, page 8-4, Task 14 of the solicitation has been amended. See the response to Question 71.  The solicitation has been amended to correct Task 14.2.1 (page 1-15 of 32) as follows:

The Contractor shall ship filter packs to field sites for sampling. Filters shall not be used more than 30 calendar days after preparation. Laboratory blank samples shall be prepared as the filter packs are prepared. In addition, 5 percent of all field samples sent to the field shall be filter blank samples in order to evaluate the effects of preparation and shipping on sample media.

- Does this contract allow mark-up on ODC and subcontractors; if not, are subcontractors allowed mark-up on ODC?

Response:  Offerors should submit a proposal using their normal accounting procedures.

- Please clarify how L.23 “Property Management Plan” requirements mesh with clause G.6 “Government Property”.  L.23 talks about “voluntary consensus standards (VCS)” and “industry leading practices (ILP)” and G.6 talks about property records in accordance with FAR 45.505 and 45.505-1.  The December 2007 revision to FAR requiring VCS and ILP for property does not talk about property records in FAR 45.505 and 45.505-1.  Could you please clarify?

Response:  The solicitation has been amended to remove EPAAR clause 1552.245-73 and replace that clause with updated FAR clause 52.245-1.  The EPA expects, by time of contract award, that a revised version of the EPAAR version of that clause, EPAAR 1552.245-73 “Government Property” will be ready for inclusion in the finalized contract to replace FAR clause 52.245-1.

- In Section M.4.(b).7, the RFP appears to require the Offeror to submit a Small Business Utilization Subcontracting Plan and a Small Disadvantaged Business Utilization Subcontracting Plan in both the Technical and Cost Volumes. In our experience with recent submittals, EPA has required that the full and complete Small Business Utilization Subcontracting and Small Disadvantaged Business Utilization Subcontracting Plans be included in a separate Plans and Procedures Volume that was excluded from the Technical Volume page limitations. The Technical Volume has included only a narrative discussion of the Small Business and Small Disadvantaged Business plans that reference the full and complete plans in the Plans and Procedures Volume. Please clarify where the Small Business Utilization Subcontracting Plan, and Small Disadvantaged Business Utilization Subcontracting Plan should be included in the submittal, and if these plans are excluded from Technical Volume page limitations?

Response:  Offerors shall include SMB and SDB Utilization Subcontracting Plans in both the technical and the cost proposal.  However, no cost information, only the percentage involvement of SB and SDBs should appear in the plan included in the technical proposal.

- Sections L.23 and M.1 – The RFP requires the Offeror to submit a Property Management Plan as part of the initial offer. In our experience with recent submittals, EPA has required that all “Plans” be included in a separate Plans and Procedures Volume that is excluded from the Technical Volume page limitations. Please clarify where the Property Management Plan should be included in the submittal, and if it is excluded from Technical Volume page limitations?

Response:  The Property Management Plan is not part of the technical proposal.  M.1 states” The contractor’s Property Management Plan will be evaluated as part of the contractor’s responsibility determination.”

- In our experience with recent submittals, EPA has required that all “Plans” be included in a separate Plans and Procedures Volume that is excluded from the Technical Volume page limitations. Please clarify whether the required Proposed Quality Management Plans (QMPs) should be included in a separate Plans and Procedures Volume and if it is excluded from Technical Volume page limitations?

Response:  The solicitation has been amended to exclude the Quality Management Plan from the page limitation of the technical proposal.  However, the plan should still be included as an attachment to the technical proposal.

- Section M.4.(b).2 references a Past Performance Questionnaire and cites Section J, which lists the “NIH Past Performance Database” in Attachment 4. Is the Offeror responsible for sending the NIH Contractor Performance Report form to each client reference identified in the lists of completed and current contracts included in our response to Evaluation Factor 2, or is the Client Authorization Letter the only documentation that the Offeror is responsible for sending to their client reference(s)?

Response:  No, EPAAR Clause 1552.215-75 describes what offerors are required to submit in terms of past performance information.  The EPA will submit the Past Performance Questionnaire to parties identified by offerors in response to 1552.215-75.

- Section B.1 Fixed Rates for Services - The proposal states, "the rate, or rates, set forth above cover all expenses", please elaborate on what types of costs should be included to cover all expenses.

Response:  The rates to be listed in the Schedule in B.1 – at time of award - reflect the fully loaded direct labor rates contained in the successful offeror’s response to the cost instructions in the solicitation.

- Section H.17 Key Personnel - Will a program management task order be issued to capture those activities that support the entire contract?

Response:  No, an additional program management task order will not be issued.

- Section L.14 Evaluation of ODCs - What amounts get plugged into Table 3, Line C? Are the costs for land leases ($55k) and utilities ($35k) included in the ODC minimum of $97,298 per year?

Response:  The solicitation has been amended to remove Table 3 of Attachment 8.  Furthermore, the estimated minimum ODC number of $97,298 has also been removed.  The land lease and utilities figures remain to assist offerors with their proposals.

- Section L.19 Compliance with FAR 52.222-43 - As the scope of work includes locations throughout the CONUS, should location or region-specific labor rates be proposed to reflect the successful offeror's actual increase or decrease in applicable wages and fringe benefits per region, or should one labor rate per labor category be proposed to cover the entire CONUS?

Response:  See response to Question #27.

- Attachment 8.I.C Assumptions – this section indicates that the Offeror should assume 10 annual travel days for meetings and conferences. Please provide additional details on the assumptions the Offeror should use for these travel days during the development of Table 3 – Cost Model, Line C – Other Direct Costs, CLIN 0005 – Travel.

Response:  Attachment 8.I.C of the solicitation has been amended as follows:

Travel

For the purposes of this solicitation, the Offeror should assume meeting with EPA project management staff twice per year for a length of one day.  The successful offeror will determine the appropriate number of their staff to attend the meeting with EPA project management.

All other travel will be tasked as a Level of Effort activity.

- Attachment 8.II General Instructions - Does the Fixed Rates for Services table in Section B.1 go into Section 5 (Cost or Pricing Information) of the Cost Proposal?

Response:  B.1 will be completed at time of award based upon the successful offeror’s proposal.

- Attachment 8.II Specific Instructions - Can Table 2 be modified to include a column representing all costs associated with program management activities and preparation of work plans for individual task orders?

Response:  Yes, the solicitation has been amended to add the following note to Table 2:

Note**The following table is a TEMPLATE for ‘Labor, Fully Burdened Hourly Rate.’  The offeror should provide the requested information in accordance with their accounting system and labor categories.

- Attachment 8.II Specific Instructions - Should both On-Site/Field and Off-Site/Non-Filed rates be proposed for all labor categories. If so, should Table 2 be used for both On-Site/Field and Off-Site/Non-Field responses and should the proposed annual hours be split between On-Site/Field and Off-Site/Non-Field as the contractor sees fit?

Response:  Offerors cost proposals shall fully support their technical approach.

- Attachment 8.II Specific Instruction -- Similar to other categories, can additional CLINs (such as for example, laboratory analysis) be added to Table 3 Line C – Other Direct Costs? This question applied to both the cost proposal preparation as well as project execution.

Response:  The solicitation has been amended to remove Table 3 of Attachment 8.

- Attachment 8.II Specific Instructions - Table 3, Line B, Equipment Category references a fixed price while the specific instructions require including usage hours, rates and total costs. Please clarify.

Response:  The solicitation has been amended to remove Table 3 of Attachment 8.

- Attachment 8.Table 3 - Is fee allowed on Line C, Other Direct Costs? If so, can the offeror revise table 3 to include an additional column?

Response:  The solicitation has been amended to remove Table 3 of Attachment 8.

- Attachment 1.Task 4: Ozone (40 CFR Part 58 Compliant) (page 1-12 or 32) – It is our understanding that to be fully compliant with 40 CFR Part 58; quarterly certification of the on-site ozone transfer standard would be required. Since CASTNET protocols traditionally only allow for semi-annual maintenance visits, will the EPA waive the requirement for quarterly ozone transfer standard certifications and accept the results of semi-annual checks as the basis for validation and submission of data to AQS?

Response:  The CASTNET protocol is compliant with the most recent EPA guidance. See page 4 of 25 in Appendix D of the EPA guidance document, “Quality Assurance Handbook for Air Pollution Measurement Systems Volume II: Part 1”.  at http://www.epa.gov/ttn/amtic/files/ambient/pm25/qa/QA-Handbook-Vol-II.pdf.

- Attachment 1.Task 16- Operation of IMPROVE site (page 1-19) states: The Contractor shall be responsible for providing the necessary site operator support and costs associated with maintaining eight IMPROVE monitoring stations (see Table 8). This support may include other direct costs such as utilities (i.e., telephone or electric), land lease payments, occasional non-routine visits required by the site operator, and shipping costs associated with sample, equipment, or documentation transfers.

Should the estimated cost basis presented in Section L.4 be utilized for land leases and utilities? If not, what cost basis assumptions should be utilized for the referenced ODCs?

Response:  The solicitation has been amended as follows:

The Contractor shall be responsible for providing the necessary site operator support and costs associated with maintaining eight IMPROVE monitoring stations (see Table 8). This support may include other direct costs such as occasional non-routine visits and incidental supplies required by the site operator. The Contractor shall ensure that an available and trained site operator is performing the site operator duties specified in the appropriate IMPROVE Site Operation Manuals. This also includes identifying a designated back-up site operator for each site in the event the primary site operator is not available. The Contractor shall also ensure the site operator calls the Contractor weekly on Tuesdays to report on site operation and sample collection. The Contractor shall allow for the possibility of one or two site visits if circumstances arise where travel to the site is necessary.

- Attachment 8.II Cost Proposal Specific Instructions (page 8-9) - The Specific Instructions for the Cost Volume indicate that the cost model should be based on the following:

For evaluation purposes for the base year use 174,000 hours; for all option periods use 600,500 hours per year to develop the Cost Model. These hours should be allocated among the proposed job categories.

There seems to be a significant increase in the hours per year between the base year (174,000 hrs/year) and the options periods (600,500 hrs/yr). Please verify that these yearly hour estimates are correct for both the base and option years.

Response:  The solicitation has been amended to remove Table 3 from the solicitation which contained the references instructing offerors to use 174,000 hours and 600,500 hours to price their cost proposals.

- There are two (2) Tasks identified as “Task 16” in Attachment 1.

Attachment 1.Task 16: Operation of IMPROVE site (Page 1-18)

Attachment 1.Task 16: Acquisition and Management of NPS data (Page 1-19)

Please clarify the numbering in Attachment 1 for Tasks on pages 1-18 through 1-20.

Response:  The solicitation has been amended to correct Task 16 “Acquisition and Management of NPS Data” to be renumbered as Task 17.  In addition, Task 17 “Infrastructure, Design, Testing, and Deployment Support” will be renumbered as Task 18.

- Attachment 8.I.C Assumptions (page 8-4 of 11) – Please clarify the numbering for Task 17: Acquisition and Management of NPS data. Attachment 1 would indicate that this is should be Task 16: Acquisition and Management of NPS data (Page 1-19).

Response:  The solicitation has been amended to correct Task 16 “Acquisition and Management of NPS Data” to be renumbered as Task 17.  In addition, Task 17 “Infrastructure, Design, Testing, and Deployment Support” will be renumbered as Task 18.

- Attachment 8.I.C Assumptions (page 8-4 of 11) – The last task listed in Attachment 1 (currently identified in Attachment 1 as Task 17: Infrastructure, Design, Testing, and Deployment Support) appears to have been omitted from Table 1.Assumed Number of Units for Solicitation. Please provide the assumed number of units that should be used as a cost basis for this task.

Response:  The solicitation has been amended to correct Task 16 “Acquisition and Management of NPS Data” to be renumbered as Task 17.  In addition, Task 17 “Infrastructure, Design, Testing, and Deployment Support” will be renumbered as Task 18.  Task 18 is not included in Attachment 8.I.C Assumptions as it is a Level of Effort Task separate from Fixed Rate Tasks 1 thru 17.

- Section B.1: FIXED RATES FOR SERVICES--INDEFINITE DELIVERY/INDEFINITE QUANTITYCONTRACT (EPAAR 1552.216-73) (APR 1984) – This section references fixed rates for CLINs. Are these CLINs for labor categories that are to be identified by the Offeror based on our understanding of the work to be performed (i.e. Jr. Engineer, Sr. Engineer, Jr. Scientist, Statistician, etc.)?

Response:  Yes.

- In our experience with recent submittals, EPA has provided small business and small disadvantaged business utilization targets for the RFP. Please clarify the specific small business and small disadvantaged business utilization targets that are applicable to this RFP including small business, small disadvantaged business, women owned, small disadvantaged veteran owned small business, and Historically Underutilized Business Zone.

Response:  The solicitation has been amended to include the EPA small business and small disadvantaged business utilization targets.

- Section M.4.4 (Page M-4) and Attachment 8.D.4 (Page 8-5) indicate that the Offeror shall provide their (and any subcontractors) quality management plans (QMPs). In our experience with recent submittals, EPA has required that the prime contractor submit its QMP as part of the submittal, and team subcontractors could chose to work under the prime contractors QMP. Please confirm that team subcontractor QMPs are only required as part of the submittal if they choose not to work under the prime contractors QMP.

Response:  See response to Question #6.

- Attachment 1.Tasks 9, 10, 11, and 12 – Is it correct to assume that the contractor is only responsible for operation of the sampler and submission of the operational data (i.e. calibration and audit results) to AQS, and not responsible for any laboratory filter analysis on these tasks?

Response:  Yes, the contractor is only responsible for the operation of the sampler and submission of the appropriate data to AQS.

- By the time the contract is issued, is it reasonable to assume that all EPA managed CASTNet sites will be converted to Campbell Scientific data loggers?

Response:  Yes, all EPA-managed CASTNET sites will have been converted to Campbell Scientific data loggers prior to award of the contract.

- Attachment 1.Task 14.2.3 (page 1-15) – Table 5 is referenced to specify analysis methods. However, these methods appear to be listed in Table 4. Please clarify the reference in this section.

Response:  Task 14.2.3 (page 1-15) of the solicitation has been amended as follows:

14.2.3 Analysis of Filter Extracts

The Contractor shall analyze filter extracts using the methods specified in Table 4 or an equivalent or better method which has been approved by the EPA.

- Attachment 8 I.C Assumptions Table 1. Assumed Number of Units for Solicitation –Table 1 shows a minimum of zero and maximum of zero for the base and option periods associated with Tasks 9.1 through 13.2. Please clarify the number of units for the tasks currently listed with zero minimum and maximum units. If these minimum and maximum units (zero) are correct for any of the tasks in Table 1, please clarify what should be used for as a cost basis for these tasks in the requested Cost Model.

Response:  See Responses to Questions #32 and #71.

- Attachment 1.Task 15.2 Site Operation Support (page 1-18) – Please clarify the cost assumptions that should be used for the NADP Field Operations Training Course.  Additionally, please indicate whether or not these costs will be reimbursable under this task.

Response:  The solicitation has been amended as follows:

15.2 Site Operation Support

The Contractor shall be responsible for maintaining six NADP sites as listed in Table 7.  The Contractor shall ensure that an available and trained site operator is performing the site operator duties as specified in the NADP Site Operation Manual (NADP 1999-01). This also includes identifying a designated back-up site operator for each site in the event the primary site operator is not available. In addition, shipping costs associated with sample and documentation transfer to the NADP Program Office will be considered for the EPA sponsored NADP sites both independent and collocated with CASTNET sites. The Contractor shall allow for the possibility of one 2-day site visit if circumstances arise where travel to the site is necessary. NADP sites that are collocated with CASTNET sites are listed in Table 6.

- What are the authorized and applicable NAICS Industry Subsectors for the CASTnet Program?

Response:  The applicable NAICS code for this solicitation is 541620, Environmental Consulting Services.