## FRCC
| Form EIA-411 for 2006 |  | WINTER
Released: February 7, 2008
Next Update: October 2008
Table 5j. Winter (FRCC) Historical and Projected Demand and Capacity, Calendar Year 2006
Region | FRCC
Subregion
Country | U
| WINTER |  | Actual | Projected
Line# |  | DESCRIPTION | 2006/2007 | 2007/2008 | 2008/2009 | 2009/2010 | 2010/2011 | 2011/2012 | 20012/2013 | 2013/2014 | 2014/2015 | 20015/2016 | 2016/2017
1 | Internal Demand |  | 42526 | 49526 | 50737 | 51673 | 52780 | 53872 | 54986 | 56155 | 57468 | 58853 | 60292
2 | Standby Demand |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | TOTAL INTERNAL DEMAND |  | 42526 | 49526 | 50737 | 51673 | 52780 | 53872 | 54986 | 56155 | 57468 | 58853 | 60292
4 | Direct Control Load Management |  | 343 | 2699 | 2790 | 2846 | 2905 | 2961 | 3021 | 3083 | 3146 | 3180 | 3179
5 | Interruptible Demand |  | 76 | 834 | 835 | 836 | 846 | 847 | 848 | 849 | 843 | 839 | 839
6 | NET INTERNAL DEMAND |  | 42107 | 45993 | 47112 | 47991 | 49029 | 50064 | 51117 | 52223 | 53479 | 54834 | 56274
7 | TOTAL INTERNAL CAPACITY |  | 53651 | 57304.2 | 57543.8 | 59568.9 | 61553.8 | 62512.8 | 64042.2 | 67089.8 | 68996 | 69900.3 | 71407.3
7a | EXISTING CAPACITY |  | 53651 | 48972.1 | 48972.1 | 48972.1 | 48972.1 | 48972.1 | 48972.1 | 48972.1 | 48972.1 | 48972.1 | 48972.1
7a1 | COMMITTED |  | 52274 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1
7a1.1 | Operable |  | 52274 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1 | 47540.1
7a1.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2 | UNCOMMITTED |  | 1377 | 1432 | 1432 | 1432 | 1432 | 1432 | 1432 | 1432 | 1432 | 1432 | 1432
7a2.1 | Operable |  | 1190 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227
7a2.2 | Inoperable |  | 187 | 205 | 205 | 205 | 205 | 205 | 205 | 205 | 205 | 205 | 205
7a3 | ENERGY ONLY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.1 | Operable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b | PLANNED CAPACITY ADDITIONS |  | 0 | 2058 | 2750.2 | 5509.3 | 7771.7 | 8089.7 | 10417.7 | 13285.7 | 15904.7 | 18498.7 | 20087.7
7b1 | UNDER CONSTRUCTION |  | 0 | 2058 | 2559 | 3838 | 3838 | 3838 | 3838 | 3838 | 3838 | 3838 | 3838
7b1.1 | Committed |  |  | 2058 | 2559 | 3838 | 3838 | 3838 | 3838 | 3838 | 3838 | 3838 | 3838
7b1.2 | Uncommitted |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b1.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2 | NOT UNDER CONSTRUCTION |  | 0 | 0 | 191.2 | 1671.3 | 3933.7 | 4251.7 | 6579.7 | 9447.7 | 12066.7 | 14660.7 | 16249.7
7b2.1 | Committed |  |  |  | 191.2 | 1671.3 | 3933.7 | 4251.7 | 6579.7 | 9447.7 | 12066.7 | 14660.7 | 16249.7
7b2.2 | Uncommitted |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c | CAPACITY RERATINGS, RETIREMENTS AND ADJUSTMENTS |  | 0 | 6274.1 | 5821.5 | 5087.5 | 4810 | 5451 | 4652.4 | 4832 | 4119.2 | 2429.5 | 2347.5
7c1 | Planned Positive Reratings of Existing Capacity |  |  | 205 | 305 | 384 | 384 | 524 | 535.4 | 535.4 | 535.4 | 535.4 | 535.4
7c2 | Planned Negative Reratings of Existing Capacity |  |  | 154 | 324.7 | 358.9 | 388.4 | 388.4 | 388.4 | 388.4 | 388.4 | 388.4 | 388.4
7c3 | Planned Retirements of Existing Operable Capacity |  |  |  | 0 | 464 | 534 | 534 | 534 | 557.2 | 709.2 | 787.9 | 787.9
7c4 | Planned Retirements of Existing Inoperable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c5 | Return to Service of Existing Inoperable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c6 | Existing Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c7 | Planned Net Purchases from Non-reporting Parties within Region/Subregion |  |  | 6223.1 | 5841.2 | 5526.4 | 5348.4 | 5849.4 | 5039.4 | 5242.2 | 4681.4 | 3070.4 | 2988.4
8 | TOTAL INOPERABLE CAPACITY |  | 187 | 205 | 205 | 205 | 205 | 205 | 205 | 205 | 205 | 205 | 205
9 | OPERABLE TOTAL INTERNAL CAPACITY |  | 53464 | 57099.2 | 57338.8 | 59363.9 | 61348.8 | 62307.8 | 63837.2 | 66884.8 | 68791 | 69695.3 | 71202.3
10 | DERATES AND DECREASES IN SEASONAL RATED CAPACITY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10a | Conditional Derates |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10b | Hydro Derates |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10c | Wind Capacity Variations |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Planned Outages or Scheduled Maintenance of Existing Capacity |  | Actual 2006/2007: 890; Projected 2007/2008: 603
12 | DERATED OPERABLE TOTAL INTERNAL CAPACITY |  | 52574 | 56496.2 | 57338.8 | 59363.9 | 61348.8 | 62307.8 | 63837.2 | 66884.8 | 68791 | 69695.3 | 71202.3
13 | OPERABLE ENERGY-ONLY AND UNCOMMITTED RESOURCES |  | 1190 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227 | 1227
14 | DERATED OPERABLE INTERNAL CAPACITY |  | 51384 | 55269.2 | 56111.8 | 58136.9 | 60121.8 | 61080.8 | 62610.2 | 65657.8 | 67564 | 68468.3 | 69975.3
15 | Transmission-Limited Resources |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | DELIVERABLE INTERNAL CAPACITY |  | 51384 | 55269.2 | 56111.8 | 58136.9 | 60121.8 | 61080.8 | 62610.2 | 65657.8 | 67564 | 68468.3 | 69975.3
17 | CAPACITY PURCHASES AND INCOMING ADJUSTMENTS |  | 2404 | 2493 | 2558 | 2558 | 2198 | 2198 | 2198 | 2198 | 2198 | 2127 | 2127
17a | Purchases from Entities Outside the Region/Subregion |  | 1552 | 1627 | 1702 | 1702 | 1342 | 1342 | 1342 | 1342 | 1342 | 1271 | 1271
17a.1 | Full-Responsibility Purchases (portion of total purchases) |  | 1552 | 1627 | 1702 | 1702 | 1342 | 1342 | 1342 | 1342 | 1342 | 1271 | 1271
17b | Owned Capacity/Entitlement Located Outside the Region/Subregion |  | 852 | 866 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856 | 856
18 | SALES AND OUTGOING ADJUSTMENTS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18a | Sales to Entities Outside the Region/Subregion
18a1 | Full-Responsibility Sales (portion of total sales)
18b | Capacity Owned by/Entitlement Held by Entities Outside the Region/Subregion
19 | NET CAPACITY RESOURCES |  | 53788 | 57762.2 | 58669.8 | 60694.9 | 62319.8 | 63278.8 | 64808.2 | 67855.8 | 69762 | 70595.3 | 72102.3
20 | TOTAL POTENTIAL RESOURCES |  | 54978 | 58989.2 | 59896.8 | 61921.9 | 63546.8 | 64505.8 | 66035.2 | 69082.8 | 70989 | 71822.3 | 73329.3
21 | Distributed Generator Capacity < 1 MW
22 | Other Capacity < 1 MW
23 | Distributed Generator Capacity >= 1 MW
24 | Capacity Total from EIA-860 |  | 53596 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | EIA-860 Capacity Total minus Total Internal Capacity |  | 55 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## MRO
| Form EIA-411 for 2006 |  | WINTER
Released: October xx, 2007
Next Update: October 2008
Table 5k. Winter (MRO) Historical and Projected Demand and Capacity, Calendar Year 2006
Region | MRO
Subregion
Country | U
| WINTER |  | Actual | Projected
Line# |  | DESCRIPTION | 2006/2007 | 2007/2008 | 2008/2009 | 2009/2010 | 2010/2011 | 2011/2012 | 20012/2013 | 2013/2014 | 2014/2015 | 20015/2016 | 2016/2017
1 | Internal Demand |  | 34643 | 35461 | 36621 | 37607 | 38354 | 38893 | 39564 | 40205 | 40845 | 41518 | 42175
2 | Standby Demand |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
3 | TOTAL INTERNAL DEMAND |  | 34647 | 35465 | 36625 | 37611 | 38358 | 38897 | 39568 | 40209 | 40849 | 41522 | 42179
4 | Direct Control Load Management |  | 198 | 225 | 227 | 227 | 228 | 230 | 232 | 234 | 238 | 240 | 242
5 | Interruptible Demand |  | 656 | 658 | 662 | 658 | 561 | 559 | 556 | 557 | 558 | 558 | 560
6 | NET INTERNAL DEMAND |  | 33793 | 34582 | 35736 | 36726 | 37569 | 38108 | 38780 | 39418 | 40053 | 40724 | 41377
7 | TOTAL INTERNAL CAPACITY |  | 44501 | 43763 | 44334 | 45383 | 45644 | 45955 | 46506 | 47014 | 47059 | 47062 | 47723
7a | EXISTING CAPACITY |  | 44501 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785
7a1 | COMMITTED |  | 44501 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785 | 42785
7a1.1 | Operable |  | 43702 | 42752 | 42752 | 42752 | 42752 | 42752 | 42752 | 42752 | 42752 | 42752 | 42752
7a1.2 | Inoperable |  | 799 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33
7a2 | UNCOMMITTED |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2.1 | Operable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3 | ENERGY ONLY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.1 | Operable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b | PLANNED CAPACITY ADDITIONS |  | 0 | 980 | 1553 | 2616 | 2877 | 3188 | 3857 | 4365 | 4413 | 4416 | 5077
7b1 | UNDER CONSTRUCTION |  | 0 | 980 | 1462 | 2287 | 2418 | 2418 | 2465 | 2565 | 2565 | 2565 | 2565
7b1.1 | Committed |  |  | 980 | 1462 | 2287 | 2418 | 2418 | 2465 | 2565 | 2565 | 2565 | 2565
7b1.2 | Uncommitted |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b1.3 | Energy Only |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2 | NOT UNDER CONSTRUCTION |  | 0 | 0 | 91 | 329 | 459 | 770 | 1392 | 1800 | 1848 | 1851 | 2512
7b2.1 | Committed |  |  | 0 | 91 | 329 | 459 | 770 | 1392 | 1800 | 1848 | 1851 | 2512
7b2.2 | Uncommitted |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2.3 | Energy Only |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c | CAPACITY RERATINGS, RETIREMENTS AND ADJUSTMENTS |  | 0 | -2 | -4 | -18 | -18 | -18 | -136 | -136 | -139 | -139 | -139
7c1 | Planned Positive Reratings of Existing Capacity |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c2 | Planned Negative Reratings of Existing Capacity |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c3 | Planned Retirements of Existing Operable Capacity |  |  | 2 | 4 | 18 | 18 | 18 | 136 | 136 | 139 | 139 | 139
7c4 | Planned Retirements of Existing Inoperable Capacity |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c5 | Return to Service of Existing Inoperable Capacity |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c6 | Existing Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c7 | Planned Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | TOTAL INOPERABLE CAPACITY |  | 799 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33
9 | OPERABLE TOTAL INTERNAL CAPACITY |  | 43702 | 43730 | 44301 | 45350 | 45611 | 45922 | 46473 | 46981 | 47026 | 47029 | 47690
10 | DERATES AND DECREASES IN SEASONAL RATED CAPACITY |  | 308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10a | Conditional Derates |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10b | Hydro Derates |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10c | Wind Capacity Variations |  | 308 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Planned Outages or Scheduled Maintenance of Existing Capacity |  |  | 348 | 114 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | DERATED OPERABLE TOTAL INTERNAL CAPACITY |  | 43394 | 43382 | 44187 | 45200 | 45611 | 45922 | 46473 | 46981 | 47026 | 47029 | 47690
13 | OPERABLE ENERGY-ONLY AND UNCOMMITTED RESOURCES |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | DERATED OPERABLE INTERNAL CAPACITY |  | 43394 | 43382 | 44187 | 45200 | 45611 | 45922 | 46473 | 46981 | 47026 | 47029 | 47690
15 | Transmission-Limited Resources |  | 725 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | DELIVERABLE INTERNAL CAPACITY |  | 42669 | 43382 | 44187 | 45200 | 45611 | 45922 | 46473 | 46981 | 47026 | 47029 | 47690
17 | CAPACITY PURCHASES AND INCOMING ADJUSTMENTS |  | 4990 | 4522 | 4677 | 4102 | 3982 | 3948 | 3859 | 2584 | 2581 | 2031 | 2022
17a | Purchases from Entities Outside the Region/Subregion |  | 4936 | 4522 | 4677 | 4102 | 3982 | 3948 | 3859 | 2584 | 2581 | 2031 | 2022
17a.1 | Full-Responsibility Purchases (portion of total purchases) |  | 246 | 266 | 251 | 231 | 211 | 236 | 236 | 236 | 236 | 236 | 236
17b | Owned Capacity/Entitlement Located Outside the Region/Subregion |  | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | SALES AND OUTGOING ADJUSTMENTS |  | 1351 | 945 | 865 | 977 | 808 | 708 | 708 | 633 | 633 | 733 | 533
18a | Sales to Entities Outside the Region/Subregion |  | 1207 | 945 | 865 | 977 | 808 | 708 | 708 | 633 | 633 | 733 | 533
18a1 | Full-Responsibility Sales (portion of total sales) |  | 611 | 601 | 521 | 521 | 521 | 521 | 521 | 521 | 521 | 621 | 421
18b | Capacity Owned by/Entitlement Held by Entities Outside the Region/Subregion |  | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | NET CAPACITY RESOURCES |  | 46308 | 46959 | 47999 | 48325 | 48785 | 49162 | 49624 | 48932 | 48974 | 48327 | 49179
20 | TOTAL POTENTIAL RESOURCES |  | 47033 | 46959 | 47999 | 48325 | 48785 | 49162 | 49624 | 48932 | 48974 | 48327 | 49179
21 | Distributed Generator Capacity < 1 MW |  | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27
22 | Other Capacity < 1 MW |  | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
23 | Distributed Generator Capacity >= 1 MW |  | 137 | 132 | 132 | 132 | 132 | 132 | 132 | 132 | 132 | 132 | 132
24 | Capacity Total from EIA-860 |  | 55060 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | EIA-860 Capacity Total minus Total Internal Capacity |  | -10559 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## NPCC-NE
| Form EIA-411 for 2006 |  | WINTER
Released: October xx, 2007
Next Update: October 2008
Table 5l. Winter (NPCC_NE) Historical and Projected Demand and Capacity, Calendar Year 2006
Region | NPCC
Subregion | NE
Country | U
| WINTER |  | Actual | Projected
Line# |  | DESCRIPTION | 2006/2007 | 2007/2008 | 2008/2009 | 2009/2010 | 2010/2011 | 2011/2012 | 20012/2013 | 2013/2014 | 2014/2015 | 20015/2016 | 2016/2017
1 | Internal Demand |  | 23612 | 23898 | 24203 | 24463 | 24793 | 25093 | 25368 | 25643 | 25913 | 26183 | 26448
2 | Standby Demand
3 | TOTAL INTERNAL DEMAND |  | 23612 | 23898 | 24203 | 24463 | 24793 | 25093 | 25368 | 25643 | 25913 | 26183 | 26448
4 | Direct Control Load Management
5 | Interruptible Demand |  | 762 | 828 | 828 | 828 | 828 | 828 | 828 | 828 | 828 | 828 | 828
6 | NET INTERNAL DEMAND |  | 22850 | 23070 | 23375 | 23635 | 23965 | 24265 | 24540 | 24815 | 25085 | 25355 | 25620
7 | TOTAL INTERNAL CAPACITY |  | 33875.783 | 34212.285 | 34212.285 | 34212.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285
7a | EXISTING CAPACITY |  | 33875.783 | 34108.085 | 34108.085 | 34108.085 | 34070.085 | 34070.085 | 34070.085 | 34070.085 | 34070.085 | 34070.085 | 34070.085
7a1 | COMMITTED |  | 33856.783 | 34089.085 | 34089.085 | 34089.085 | 34051.085 | 34051.085 | 34051.085 | 34051.085 | 34051.085 | 34051.085 | 34051.085
7a1.1 | Operable |  | 33856.783 | 34089.085 | 34089.085 | 34089.085 | 34051.085 | 34051.085 | 34051.085 | 34051.085 | 34051.085 | 34051.085 | 34051.085
7a1.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2 | UNCOMMITTED |  | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19
7a2.1 | Operable |  | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19
7a2.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3 | ENERGY ONLY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.1 | Operable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b | PLANNED CAPACITY ADDITIONS |  | 0 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2
7b1 | UNDER CONSTRUCTION |  | 0 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2
7b1.1 | Committed |  |  | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2 | 104.2
7b1.2 | Uncommitted |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b1.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2 | NOT UNDER CONSTRUCTION |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2.1 | Committed |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2.2 | Uncommitted |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c | CAPACITY RERATINGS, RETIREMENTS AND ADJUSTMENTS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c1 | Planned Positive Reratings of Existing Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c2 | Planned Negative Reratings of Existing Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c3 | Planned Retirements of Existing Operable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c4 | Planned Retirements of Existing Inoperable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c5 | Return to Service of Existing Inoperable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c6 | Existing Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c7 | Planned Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | TOTAL INOPERABLE CAPACITY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | OPERABLE TOTAL INTERNAL CAPACITY |  | 33875.783 | 34212.285 | 34212.285 | 34212.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285
10 | DERATES AND DECREASES IN SEASONAL RATED CAPACITY |  | 38 | 38 | 38 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10a | Conditional Derates |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10b | Hydro Derates |  | 38 | 38 | 38 | 38
10c | Wind Capacity Variations |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Planned Outages or Scheduled Maintenance of Existing Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | DERATED OPERABLE TOTAL INTERNAL CAPACITY |  | 33837.783 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285 | 34174.285
13 | OPERABLE ENERGY-ONLY AND UNCOMMITTED RESOURCES |  | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19
14 | DERATED OPERABLE INTERNAL CAPACITY |  | 33818.783 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285
15 | Transmission-Limited Resources |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | DELIVERABLE INTERNAL CAPACITY |  | 33818.783 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285 | 34155.285
17 | CAPACITY PURCHASES AND INCOMING ADJUSTMENTS |  | 1269 | 401 | 401 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391
17a | Purchases from Entities Outside the Region/Subregion |  | 1269 | 401 | 401 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391
17a.1 | Full-Responsibility Purchases (portion of total purchases) |  | 1269 | 401 | 401 | 391 | 391 | 391 | 391 | 391 | 391 | 391 | 391
17b | Owned Capacity/Entitlement Located Outside the Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | SALES AND OUTGOING ADJUSTMENTS |  | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343
18a | Sales to Entities Outside the Region/Subregion |  | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343
18a1 | Full-Responsibility Sales (portion of total sales) |  | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343 | 343
18b | Capacity Owned by/Entitlement Held by Entities Outside the Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | NET CAPACITY RESOURCES |  | 34744.783 | 34213.285 | 34213.285 | 34203.285 | 34203.285 | 34203.285 | 34203.285 | 34203.285 | 34203.285 | 34203.285 | 34203.285
20 | TOTAL POTENTIAL RESOURCES |  | 34763.783 | 34232.285 | 34232.285 | 34222.285 | 34222.285 | 34222.285 | 34222.285 | 34222.285 | 34222.285 | 34222.285 | 34222.285
21 | Distributed Generator Capacity < 1 MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Other Capacity < 1 MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Distributed Generator Capacity >= 1 MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Capacity Total from EIA-860 |  | 35567 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | EIA-860 Capacity Total minus Total Internal Capacity |  | -1691 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## NPCC-NY
| Form EIA-411 for 2006 |  | WINTER
Released: October xx, 2007
Next Update: October 2008
Table 5m. Winter (NPCC_NY) Historical and Projected Demand and Capacity, Calendar Year 2006
Region | NPCC
Subregion | NY
Country | U
| WINTER |  | Actual | Projected
Line# |  | DESCRIPTION | 2006/2007 | 2007/2008 | 2008/2009 | 2009/2010 | 2010/2011 | 2011/2012 | 20012/2013 | 2013/2014 | 2014/2015 | 20015/2016 | 2016/2017
1 | Internal Demand |  | 25057 | 25324 | 25748 | 26048 | 26341 | 26656 | 27170 | 27522 | 27893 | 28238 | 28614
2 | Standby Demand
3 | TOTAL INTERNAL DEMAND |  | 25057 | 25324 | 25748 | 26048 | 26341 | 26656 | 27170 | 27522 | 27893 | 28238 | 28614
4 | Direct Control Load Management
5 | Interruptible Demand
6 | NET INTERNAL DEMAND |  | 25057 | 25324 | 25748 | 26048 | 26341 | 26656 | 27170 | 27522 | 27893 | 28238 | 28614
7 | TOTAL INTERNAL CAPACITY |  | 41584 | 41105 | 41227 | 42022 | 43377 | 43377 | 43377 | 44477 | 44477 | 44477 | 44477
7a | EXISTING CAPACITY |  | 41584 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706
7a1 | COMMITTED |  | 41584 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706
7a1.1 | Operable |  | 41584 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706 | 41706
7a1.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2 | UNCOMMITTED |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2.1 | Operable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3 | ENERGY ONLY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.1 | Operable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b | PLANNED CAPACITY ADDITIONS |  | 0 | 0 | 260 | 1920 | 3245 | 3245 | 3245 | 4345 | 4345 | 4345 | 4345
7b1 | UNDER CONSTRUCTION |  | 0 | 0 | 0 | 310 | 810 | 810 | 810 | 810 | 810 | 810 | 810
7b1.1 | Committed |  |  |  | 0 | 310 | 810 | 810 | 810 | 810 | 810 | 810 | 810
7b1.2 | Uncommitted |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b1.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2 | NOT UNDER CONSTRUCTION |  | 0 | 0 | 260 | 1610 | 2435 | 2435 | 2435 | 3535 | 3535 | 3535 | 3535
7b2.1 | Committed |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2.2 | Uncommitted |  |  | 0 | 260 | 1610 | 2435 | 2435 | 2435 | 3535 | 3535 | 3535 | 3535
7b2.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c | CAPACITY RERATINGS, RETIREMENTS AND ADJUSTMENTS |  | 0 | -601 | -739 | -1604 | -1574 | -1574 | -1574 | -1574 | -1574 | -1574 | -1574
7c1 | Planned Positive Reratings of Existing Capacity |  |  | 30 | 60 | 90 | 120 | 120 | 120 | 120 | 120 | 120 | 120
7c2 | Planned Negative Reratings of Existing Capacity | bar: Actual 2006/2007
7c3 | Planned Retirements of Existing Operable Capacity |  |  | 631 | 799 | 1694 | 1694 | 1694 | 1694 | 1694 | 1694 | 1694 | 1694
7c4 | Planned Retirements of Existing Inoperable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c5 | Return to Service of Existing Inoperable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c6 | Existing Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c7 | Planned Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | TOTAL INOPERABLE CAPACITY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | OPERABLE TOTAL INTERNAL CAPACITY |  | 41584 | 41105 | 41227 | 42022 | 43377 | 43377 | 43377 | 44477 | 44477 | 44477 | 44477
10 | DERATES AND DECREASES IN SEASONAL RATED CAPACITY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10a | Conditional Derates |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10b | Hydro Derates |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10c | Wind Capacity Variations |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Planned Outages or Scheduled Maintenance of Existing Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | DERATED OPERABLE TOTAL INTERNAL CAPACITY |  | 41584 | 41105 | 41227 | 42022 | 43377 | 43377 | 43377 | 44477 | 44477 | 44477 | 44477
13 | OPERABLE ENERGY-ONLY AND UNCOMMITTED RESOURCES |  | 0 | 0 | 260 | 1610 | 2435 | 2435 | 2435 | 3535 | 3535 | 3535 | 3535
14 | DERATED OPERABLE INTERNAL CAPACITY |  | 41584 | 41105 | 40967 | 40412 | 40942 | 40942 | 40942 | 40942 | 40942 | 40942 | 40942
15 | Transmission-Limited Resources |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | DELIVERABLE INTERNAL CAPACITY |  | 41584 | 41105 | 40967 | 40412 | 40942 | 40942 | 40942 | 40942 | 40942 | 40942 | 40942
17 | CAPACITY PURCHASES AND INCOMING ADJUSTMENTS |  | 2037 | 1065 | 1040 | 1040 | 1040 | 1040 | 1040 | 1040 | 990 | 990 | 990
17a | Purchases from Entities Outside the Region/Subregion |  | 1707 | 75 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0 | 0
17a.1 | Full-Responsibility Purchases (portion of total purchases) |  | 1707 | 75 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0 | 0
17b | Owned Capacity/Entitlement Located Outside the Region/Subregion |  | 330 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990 | 990
18 | SALES AND OUTGOING ADJUSTMENTS |  | 1066 | 273 | 273 | 273 | 263 | 263 | 263 | 263 | 263 | 263 | 263
18a | Sales to Entities Outside the Region/Subregion |  | 1066 | 273 | 273 | 273 | 263 | 263 | 263 | 263 | 263 | 263 | 263
18a1 | Full-Responsibility Sales (portion of total sales) |  | 1066 | 273 | 273 | 273 | 263 | 263 | 263 | 263 | 263 | 263 | 263
18b | Capacity Owned by/Entitlement Held by Entities Outside the Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | NET CAPACITY RESOURCES |  | 42555 | 41897 | 41734 | 41179 | 41719 | 41719 | 41719 | 41719 | 41669 | 41669 | 41669
20 | TOTAL POTENTIAL RESOURCES |  | 42555 | 41897 | 41994 | 42789 | 44154 | 44154 | 44154 | 45254 | 45204 | 45204 | 45204
21 | Distributed Generator Capacity < 1 MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Other Capacity < 1 MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Distributed Generator Capacity >= 1 MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Capacity Total from EIA-860 |  | 41406.23 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | EIA-860 Capacity Total minus Total Internal Capacity |  | 177.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## RFC
| Form EIA-411 for 2006 |  | WINTER
Released: October xx, 2007
Next Update: October 2008
Table 5n. Winter (RFC) Historical and Projected Demand and Capacity, Calendar Year 2006
Region | RFC
Subregion
Country | U
| WINTER |  | Actual | Projected
Line# |  | DESCRIPTION | 2006/2007 | 2007/2008 | 2008/2009 | 2009/2010 | 2010/2011 | 2011/2012 | 20012/2013 | 2013/2014 | 2014/2015 | 20015/2016 | 2016/2017
1 | Internal Demand |  | 152200 | 150100 | 152000 | 153800 | 155900 | 158200 | 159900 | 161600 | 163400 | 165400 | 167700
2 | Standby Demand
3 | TOTAL INTERNAL DEMAND |  | 152200 | 150100 | 152000 | 153800 | 155900 | 158200 | 159900 | 161600 | 163400 | 165400 | 167700
4 | Direct Control Load Management |  |  | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600
5 | Interruptible Demand |  |  | 1700 | 1700 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600 | 1600
6 | NET INTERNAL DEMAND |  | 152200 | 147800 | 149700 | 151600 | 153700 | 156000 | 157700 | 159400 | 161200 | 163200 | 165500
7 | TOTAL INTERNAL CAPACITY |  | 228697 | 226998 | 227783 | 228486 | 229740 | 229650 | 229670 | 229661 | 229661 | 229661 | 229661
7a | EXISTING CAPACITY |  | 228697 | 226792 | 226792 | 226792 | 226792 | 226792 | 226792 | 226792 | 226792 | 226792 | 226792
7a1 | COMMITTED |  | 223397 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492
7a1.1 | Operable |  | 223397 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492 | 221492
7a1.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2 | UNCOMMITTED |  | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
7a2.1 | Operable |  | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
7a2.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3 | ENERGY ONLY |  | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500
7a3.1 | Operable |  | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500
7a3.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b | PLANNED CAPACITY ADDITIONS |  | 0 | 417 | 2076 | 2606 | 3813 | 3913 | 4013 | 4013 | 4013 | 4013 | 4013
7b1 | UNDER CONSTRUCTION |  | 0 | 417 | 2076 | 2076 | 2076 | 2076 | 2076 | 2076 | 2076 | 2076 | 2076
7b1.1 | Committed |  |  | 417 | 2076 | 2076 | 2076 | 2076 | 2076 | 2076 | 2076 | 2076 | 2076
7b1.2 | Uncommitted |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b1.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2 | NOT UNDER CONSTRUCTION |  | 0 | 0 | 0 | 530 | 1737 | 1837 | 1937 | 1937 | 1937 | 1937 | 1937
7b2.1 | Committed |  |  |  | 0 | 530 | 1737 | 1837 | 1937 | 1937 | 1937 | 1937 | 1937
7b2.2 | Uncommitted |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c | CAPACITY RERATINGS, RETIREMENTS AND ADJUSTMENTS |  | 0 | -211 | -1085 | -912 | -865 | -1055 | -1135 | -1144 | -1144 | -1144 | -1144
7c1 | Planned Positive Reratings of Existing Capacity |  |  | 381 | 463 | 636 | 743 | 788 | 833 | 833 | 833 | 833 | 833
7c2 | Planned Negative Reratings of Existing Capacity |  |  | 0 | 0 | 0 | 0 | 10 | 19 | 28 | 28 | 28 | 28
7c3 | Planned Retirements of Existing Operable Capacity |  |  | 592 | 1548 | 1548 | 1608 | 1833 | 1949 | 1949 | 1949 | 1949 | 1949
7c4 | Planned Retirements of Existing Inoperable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c5 | Return to Service of Existing Inoperable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c6 | Existing Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c7 | Planned Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | TOTAL INOPERABLE CAPACITY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | OPERABLE TOTAL INTERNAL CAPACITY |  | 228697 | 226998 | 227783 | 228486 | 229740 | 229650 | 229670 | 229661 | 229661 | 229661 | 229661
10 | DERATES AND DECREASES IN SEASONAL RATED CAPACITY |  | 0 | 0 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144
10a | Conditional Derates |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10b | Hydro Derates |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10c | Wind Capacity Variations |  |  |  | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144
11 | Planned Outages or Scheduled Maintenance of Existing Capacity |  |  | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000
12 | DERATED OPERABLE TOTAL INTERNAL CAPACITY |  | 228697 | 223998 | 224639 | 225342 | 226596 | 226506 | 226526 | 226517 | 226517 | 226517 | 226517
13 | OPERABLE ENERGY-ONLY AND UNCOMMITTED RESOURCES |  | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300 | 5300
14 | DERATED OPERABLE INTERNAL CAPACITY |  | 223397 | 218698 | 219339 | 220042 | 221296 | 221206 | 221226 | 221217 | 221217 | 221217 | 221217
15 | Transmission-Limited Resources |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | DELIVERABLE INTERNAL CAPACITY |  | 223397 | 218698 | 219339 | 220042 | 221296 | 221206 | 221226 | 221217 | 221217 | 221217 | 221217
17 | CAPACITY PURCHASES AND INCOMING ADJUSTMENTS |  | 1202 | 1806 | 1202 | 1202 | 1202 | 1202 | 1202 | 1202 | 1202 | 1202 | 1202
17a | Purchases from Entities Outside the Region/Subregion |  | Projected 2007/2008: 604
17a.1 | Full-Responsibility Purchases (portion of total purchases) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17b | Owned Capacity/Entitlement Located Outside the Region/Subregion |  | 1202 | 1202 | 1202 | 1202 | 1202 | 1202 | 1202 | 1202 | 1202 | 1202 | 1202
18 | SALES AND OUTGOING ADJUSTMENTS |  | 0 | 1097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18a | Sales to Entities Outside the Region/Subregion |  | Projected 2007/2008: 1097
18a1 | Full-Responsibility Sales (portion of total sales) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18b | Capacity Owned by/Entitlement Held by Entities Outside the Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | NET CAPACITY RESOURCES |  | 224599 | 219407 | 220541 | 221244 | 222498 | 222408 | 222428 | 222419 | 222419 | 222419 | 222419
20 | TOTAL POTENTIAL RESOURCES |  | 229899 | 224707 | 225841 | 226544 | 227798 | 227708 | 227728 | 227719 | 227719 | 227719 | 227719
21 | Distributed Generator Capacity < 1 MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Other Capacity < 1 MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Distributed Generator Capacity >= 1 MW |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Capacity Total from EIA-860 |  | 236071 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | EIA-860 Capacity Total minus Total Internal Capacity |  | -7374 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SERC
| Form EIA-411 for 2006 |  | WINTER
Released: October xx, 2007
Next Update: October 2008
Table 5o. Winter (SERC) Historical and Projected Demand and Capacity, Calendar Year 2006
Region | SERC
Subregion
Country | U
| WINTER |  | Actual | Projected
Line# |  | DESCRIPTION | 2006/2007 | 2007/2008 | 2008/2009 | 2009/2010 | 2010/2011 | 2011/2012 | 20012/2013 | 2013/2014 | 2014/2015 | 20015/2016 | 2016/2017
1 | Internal Demand |  | 175140.853 | 178315.118 | 181723.996 | 185393.304 | 509328.319 | 190986.125 | 193671.923 | 196651.542 | 1258267.639 | 552952.533 | 207142.354
2 | Standby Demand |  | 21.1 | 21.1 | 21.1 | 21.1 | 63.3 | 21.1 | 21.1 | 21.1 | 147.7 | 63.3 | 21.1
3 | TOTAL INTERNAL DEMAND |  | 175161.953 | 178336.218 | 181745.096 | 185414.404 | 509391.619 | 191007.225 | 193693.023 | 196672.642 | 1258415.339 | 553015.833 | 207163.454
4 | Direct Control Load Management |  | 543 | 858 | 871 | 876 | 1990 | 889 | 899 | 910 | 4988 | 2094 | 944
5 | Interruptible Demand |  | 2517 | 4443 | 4463 | 4466 | 12428 | 4458 | 4448 | 4470 | 28042 | 12625 | 4514
6 | NET INTERNAL DEMAND |  | 172101.953 | 173035.218 | 176411.096 | 180072.404 | 494973.619 | 185660.225 | 188346.023 | 191292.642 | 1225385.339 | 538296.833 | 201705.454
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | TOTAL INTERNAL CAPACITY |  | 267579.5 | 269812 | 272191.6 | 274860.34 | 781005.3 | 291235.4 | 296282.4 | 300647.8 | 1950971.1 | 853263.2 | 318143.7
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a | EXISTING CAPACITY |  | 252795.5 | 256536 | 256536 | 256536 | 698575 | 256536 | 256536 | 256536 | 1601108.2 | 698575 | 256536
7a1 | COMMITTED |  | 215740.5 | 218017 | 218017 | 218017 | 586335 | 218017 | 218017 | 218017 | 1343955.2 | 586335 | 218017
7a1.1 | Operable |  | 212405.5 | 215691 | 215691 | 215691 | 579357 | 215691 | 215691 | 215691 | 1327673.2 | 579357 | 215691
7a1.2 | Inoperable |  | 3335 | 2326 | 2326 | 2326 | 6978 | 2326 | 2326 | 2326 | 16282 | 6978 | 2326
7a2 | UNCOMMITTED |  | 36360 | 37824 | 37824 | 37824 | 110155 | 37824 | 37824 | 37824 | 252788 | 110155 | 37824
7a2.1 | Operable |  | 33956 | 35420 | 35420 | 35420 | 102943 | 35420 | 35420 | 35420 | 238364 | 102943 | 35420
7a2.2 | Inoperable |  | 2404 | 2404 | 2404 | 2404 | 7212 | 2404 | 2404 | 2404 | 14424 | 7212 | 2404
7a3 | ENERGY ONLY |  | 695 | 695 | 695 | 695 | 2085 | 695 | 695 | 695 | 4365 | 2085 | 695
7a3.1 | Operable |  | 695 | 695 | 695 | 695 | 2085 | 695 | 695 | 695 | 4365 | 2085 | 695
7a3.2 | Inoperable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b | PLANNED CAPACITY ADDITIONS |  | 0 | 0 | 3508.6 | 6164.34 | 51401.3 | 23085.4 | 28361.4 | 32247.8 | 260539.9 | 116597.2 | 47481.3
7b1 | UNDER CONSTRUCTION |  | 0 | 0 | 3508.6 | 6164.34 | 18597.58 | 7159.34 | 7159.34 | 7159.34 | 43369.2 | 18952.58 | 7159.34
7b1.1 | Committed |  | 0 | 0 | 2266.6 | 4296.34 | 11273.58 | 4296.34 | 4296.34 | 4296.34 | 25323.2 | 11273.58 | 4296.34
7b1.2 | Uncommitted |  | 0 | 0 | 1067 | 341 | 113 | 341 | 341 | 341 | 567 | 113 | 341
7b1.3 | Energy Only |  | 0 | 0 | 175 | 1527 | 7211 | 2522 | 2522 | 2522 | 17479 | 7566 | 2522
7b2 | NOT UNDER CONSTRUCTION |  | 0 | 0 | 0 | 0 | 32803.72 | 15926.06 | 21202.06 | 25088.46 | 217170.7 | 97644.62 | 40321.96
7b2.1 | Committed |  | 0 | 0 | 0 | 0 | 23256.72 | 10066.06 | 14057.06 | 18049.46 | 172961.7 | 78538.62 | 31614.96
7b2.2 | Uncommitted |  | 0 | 0 | 0 | 0 | 9187 | 5740 | 7025 | 6919 | 43489 | 18746 | 8587
7b2.3 | Energy Only |  | 0 | 0 | 0 | 0 | 360 | 120 | 120 | 120 | 720 | 360 | 120
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c | CAPACITY RERATINGS, RETIREMENTS AND ADJUSTMENTS |  | 14784 | 13276 | 12147 | 12160 | 31029 | 11614 | 11385 | 11864 | 89323 | 38091 | 14126.4
7c1 | Planned Positive Reratings of Existing Capacity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c2 | Planned Negative Reratings of Existing Capacity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c3 | Planned Retirements of Existing Operable Capacity |  | 0 | 0 | 0 | 0 | 0 | 0 | 174 | 174 | 1044 | 522 | 174
7c4 | Planned Retirements of Existing Inoperable Capacity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c5 | Return to Service of Existing Inoperable Capacity |  | 0 | 1128 | 1247 | 1247 | 3678 | 1247 | 1247 | 1247 | 7538 | 3678 | 1247
7c6 | Existing Net Purchases from Non-reporting Parties within Region/Subregion |  | 14784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c7 | Planned Net Purchases from Non-reporting Parties within Region/Subregion |  | 0 | 13276 | 12147 | 12160 | 31029 | 11614 | 11559 | 12038 | 90367 | 38613 | 14300.4
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | TOTAL INOPERABLE CAPACITY |  | 5739 | 3602 | 3483 | 3483 | 10512 | 3483 | 3483 | 3483 | 23168 | 10512 | 3483
9 | OPERABLE TOTAL INTERNAL CAPACITY |  | 261840.5 | 266210 | 268708.6 | 271377.34 | 770493.3 | 287752.4 | 292799.4 | 297164.8 | 1927803.1 | 842751.2 | 314660.7
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | DERATES AND DECREASES IN SEASONAL RATED CAPACITY |  | -29 | -29 | -29 | -29 | -87 | -29 | -29 | -29 | -174 | -87 | -29
10a | Conditional Derates |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10b | Hydro Derates |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10c | Wind Capacity Variations |  | -29 | -29 | -29 | -29 | -87 | -29 | -29 | -29 | -174 | -87 | -29
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Planned Outages or Scheduled Maintenance of Existing Capacity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | DERATED OPERABLE TOTAL INTERNAL CAPACITY |  | 261869.5 | 266239 | 268737.6 | 271406.34 | 770580.3 | 287781.4 | 292828.4 | 297193.8 | 1927977.1 | 842838.2 | 314689.7
13 | OPERABLE ENERGY-ONLY AND UNCOMMITTED RESOURCES |  | 34651 | 36115 | 37357 | 37983 | 121899 | 44838 | 46123 | 46017 | 304984 | 131813 | 47685
14 | DERATED OPERABLE INTERNAL CAPACITY |  | 227218.5 | 230124 | 231380.6 | 233423.34 | 648681.3 | 242943.4 | 246705.4 | 251176.8 | 1622993.1 | 711025.2 | 267004.7
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Transmission-Limited Resources |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | DELIVERABLE INTERNAL CAPACITY |  | 227218.5 | 230124 | 231380.6 | 233423.34 | 648681.3 | 242943.4 | 246705.4 | 251176.8 | 1622993.1 | 711025.2 | 267004.7
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | CAPACITY PURCHASES AND INCOMING ADJUSTMENTS |  | 3505 | 5052 | 4564 | 3681.4 | 9214.2 | 3423 | 3304 | 3404 | 22757.2 | 9753 | 3514.6
17a | Purchases from Entities Outside the Region/Subregion |  | 3505 | 5052 | 4564 | 3681.4 | 9214.2 | 3423 | 3304 | 3404 | 22757.2 | 9753 | 3514.6
17a.1 | Full-Responsibility Purchases (portion of total purchases) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17b | Owned Capacity/Entitlement Located Outside the Region/Subregion |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | SALES AND OUTGOING ADJUSTMENTS |  | 3289 | 3259 | 3213 | 3848 | 9939 | 3470 | 3503 | 3588 | 11645 | 4058 | 1421
18a | Sales to Entities Outside the Region/Subregion |  | 3289 | 3259 | 3213 | 3848 | 9939 | 3470 | 3503 | 3588 | 11645 | 4058 | 1421
18a1 | Full-Responsibility Sales (portion of total sales) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18b | Capacity Owned by/Entitlement Held by Entities Outside the Region/Subregion |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | NET CAPACITY RESOURCES |  | 227434.5 | 231917 | 232731.6 | 233256.74 | 647956.5 | 242896.4 | 246506.4 | 250992.8 | 1634105.3 | 716720.2 | 269098.3
20 | TOTAL POTENTIAL RESOURCES |  | 262085.5 | 268032 | 270088.6 | 271239.74 | 769855.5 | 287734.4 | 292629.4 | 297009.8 | 1939089.3 | 848533.2 | 316783.3
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | Distributed Generator Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Distributed Generator Capacity >= 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Capacity Total from EIA-860 |  | 265573 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | EIA-860 Capacity Total minus Total Internal Capacity |  | 2006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SPP
| Form EIA-411 for 2006 |  | WINTER
Released: October xx, 2007
Next Update: October 2008
Table 5p. Winter (SPP) Historical and Projected Demand and Capacity, Calendar Year 2006
Region | SPP
Subregion
Country | U
| WINTER |  | Actual | Projected
Line# |  | DESCRIPTION | 2006/2007 | 2007/2008 | 2008/2009 | 2009/2010 | 2010/2011 | 2011/2012 | 20012/2013 | 2013/2014 | 2014/2015 | 20015/2016 | 2016/2017
1 | Internal Demand |  | 30864.7 | 31066.5303 | 31694.0737 | 32367.8285 | 32992.5802 | 33563.1628 | 34102.2515 | 34659.2084 | 35420.5292 | 36079.1303 | 36708.1179
2 | Standby Demand |  | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
3 | TOTAL INTERNAL DEMAND |  | 30884.7 | 31086.5303 | 31714.0737 | 32387.8285 | 33012.5802 | 33583.1628 | 34122.2515 | 34679.2084 | 35440.5292 | 36099.1303 | 36728.1179
4 | Direct Control Load Management |  | 0 | 0 | 0.4 | 1.5 | 2.8 | 4.1 | 5.3 | 5.4 | 5.4 | 5.4 | 5.4
5 | Interruptible Demand |  | 760.1 | 617.45 | 617.8465 | 617.7159 | 618.9443 | 621.1852 | 610.7256 | 612.2867 | 614.8704 | 616.6 | 618.6
6 | NET INTERNAL DEMAND |  | 30124.6 | 30469.0803 | 31095.8271 | 31768.6126 | 32390.8359 | 32957.8777 | 33506.2259 | 34061.5217 | 34820.2587 | 35477.1303 | 36104.1179
7 | TOTAL INTERNAL CAPACITY |  | 55442.658 | 56657.658 | 57135.658 | 58233.658 | 59941.658 | 60926.658 | 61848.658 | 62019.658 | 62994.658 | 63214.658 | 64088.658
7a | EXISTING CAPACITY |  | 54858.658 | 55186.658 | 55186.658 | 55186.658 | 55186.658 | 55186.658 | 55186.658 | 55186.658 | 55186.658 | 55186.658 | 55186.658
7a1 | COMMITTED |  | 44601.118 | 44929.118 | 44929.118 | 44929.118 | 44929.118 | 44929.118 | 44929.118 | 44929.118 | 44929.118 | 44929.118 | 44929.118
7a1.1 | Operable |  | 44409.118 | 44749.118 | 44749.118 | 44749.118 | 44749.118 | 44749.118 | 44749.118 | 44749.118 | 44749.118 | 44749.118 | 44749.118
7a1.2 | Inoperable |  | 192 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
7a2 | UNCOMMITTED |  | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54
7a2.1 | Operable |  | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54 | 10257.54
7a2.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3 | ENERGY ONLY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.1 | Operable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b | PLANNED CAPACITY ADDITIONS |  | 0 | 881 | 1231 | 2156 | 3725 | 4572 | 5782 | 5832 | 6672 | 6722 | 7451
7b1 | UNDER CONSTRUCTION |  | 0 | 821 | 821 | 1421 | 2464 | 2714 | 2714 | 2714 | 2714 | 2714 | 2964
7b1.1 | Committed |  |  | 821 | 821 | 1421 | 2464 | 2714 | 2714 | 2714 | 2714 | 2714 | 2964
7b1.2 | Uncommitted |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b1.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2 | NOT UNDER CONSTRUCTION |  | 0 | 60 | 410 | 735 | 1261 | 1858 | 3068 | 3118 | 3958 | 4008 | 4487
7b2.1 | Committed |  |  | 0 | 350 | 675 | 1130 | 1727 | 2937 | 2937 | 3777 | 3777 | 4256
7b2.2 | Uncommitted |  |  | 60 | 60 | 60 | 131 | 131 | 131 | 181 | 181 | 231 | 231
7b2.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c | CAPACITY RERATINGS, RETIREMENTS AND ADJUSTMENTS |  | 584 | 590 | 718 | 891 | 1030 | 1168 | 880 | 1001 | 1136 | 1306 | 1451
7c1 | Planned Positive Reratings of Existing Capacity |  |  | 230 | 225 | 268 | 237 | 255 | 250 | 250 | 250 | 250 | 255
7c2 | Planned Negative Reratings of Existing Capacity |  |  | 174 | 171 | 171 | 171 | 171 | 189 | 198 | 203 | 203 | 203
7c3 | Planned Retirements of Existing Operable Capacity |  |  | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61 | 61
7c4 | Planned Retirements of Existing Inoperable Capacity |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c5 | Return to Service of Existing Inoperable Capacity |  |  | 48 | 48 | 48 | 48 | 68 | 68 | 48 | 48 | 48 | 48
7c6 | Existing Net Purchases from Non-reporting Parties within Region/Subregion |  | 584 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c7 | Planned Net Purchases from Non-reporting Parties within Region/Subregion |  |  | 595 | 725 | 855 | 1025 | 1145 | 880 | 1010 | 1150 | 1320 | 1460
8 | TOTAL INOPERABLE CAPACITY |  | 192 | 132 | 132 | 132 | 132 | 112 | 112 | 132 | 132 | 132 | 132
9 | OPERABLE TOTAL INTERNAL CAPACITY |  | 55250.658 | 56525.658 | 57003.658 | 58101.658 | 59809.658 | 60814.658 | 61736.658 | 61887.658 | 62862.658 | 63082.658 | 63956.658
10 | DERATES AND DECREASES IN SEASONAL RATED CAPACITY |  | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26
10a | Conditional Derates |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10b | Hydro Derates |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10c | Wind Capacity Variations |  | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26 | 101.26
11 | Planned Outages or Scheduled Maintenance of Existing Capacity |  | 446 | 178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | DERATED OPERABLE TOTAL INTERNAL CAPACITY |  | 54703.398 | 56246.398 | 56902.398 | 58000.398 | 59708.398 | 60713.398 | 61635.398 | 61786.398 | 62761.398 | 62981.398 | 63855.398
13 | OPERABLE ENERGY-ONLY AND UNCOMMITTED RESOURCES |  | 10257.54 | 10317.54 | 10317.54 | 10317.54 | 10388.54 | 10388.54 | 10388.54 | 10438.54 | 10438.54 | 10488.54 | 10488.54
14 | DERATED OPERABLE INTERNAL CAPACITY |  | 44445.858 | 45928.858 | 46584.858 | 47682.858 | 49319.858 | 50324.858 | 51246.858 | 51347.858 | 52322.858 | 52492.858 | 53366.858
15 | Transmission-Limited Resources |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | DELIVERABLE INTERNAL CAPACITY |  | 44445.858 | 45928.858 | 46584.858 | 47682.858 | 49319.858 | 50324.858 | 51246.858 | 51347.858 | 52322.858 | 52492.858 | 53366.858
17 | CAPACITY PURCHASES AND INCOMING ADJUSTMENTS |  | 7397.3 | 7776.8 | 8256.8 | 8413.8 | 7391.1 | 7321.5 | 6859.5 | 6883.5 | 6913.4 | 7080.4 | 7260
17a | Purchases from Entities Outside the Region/Subregion |  | 6538.3 | 6889.8 | 7369.8 | 7526.8 | 6504.1 | 6311.5 | 5830.5 | 5854.5 | 5879.4 | 6046.4 | 6226
17a.1 | Full-Responsibility Purchases (portion of total purchases) |  | 1440.8 | 1190.8 | 1115.8 | 1090.8 | 1086.8 | 1074.5 | 1074.5 | 1023.5 | 998.5 | 998.5 | 923.5
17b | Owned Capacity/Entitlement Located Outside the Region/Subregion |  | 859 | 887 | 887 | 887 | 887 | 1010 | 1029 | 1029 | 1034 | 1034 | 1034
18 | SALES AND OUTGOING ADJUSTMENTS |  | 3429 | 3636 | 3500 | 3491 | 3305 | 3230 | 3295 | 3244 | 3176 | 3206 | 3147
18a | Sales to Entities Outside the Region/Subregion |  | 3429 | 3636 | 3500 | 3491 | 3305 | 3230 | 3295 | 3244 | 3176 | 3206 | 3147
18a1 | Full-Responsibility Sales (portion of total sales) |  | 1316 | 1345 | 1289 | 1305 | 1306 | 1307 | 1308 | 1308 | 1309 | 1310 | 1310
18b | Capacity Owned by/Entitlement Held by Entities Outside the Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | NET CAPACITY RESOURCES |  | 48414.158 | 50069.658 | 51341.658 | 52605.658 | 53405.958 | 54416.358 | 54811.358 | 54987.358 | 56060.258 | 56367.258 | 57479.858
20 | TOTAL POTENTIAL RESOURCES |  | 58671.698 | 60387.198 | 61659.198 | 62923.198 | 63794.498 | 64804.898 | 65199.898 | 65425.898 | 66498.798 | 66855.798 | 67968.398
21 | Distributed Generator Capacity < 1 MW |  | 3.018 | 3.018 | 3.018 | 3.018 | 3.018 | 3.018 | 3.018 | 3.018 | 3.018 | 3.018 | 3.018
22 | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Distributed Generator Capacity >= 1 MW |  | 215.2 | 215.2 | 215.2 | 215.2 | 215.2 | 215.2 | 215.2 | 215.2 | 215.2 | 215.2 | 215.2
24 | Capacity Total from EIA-860 |  | 61440 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | EIA-860 Capacity Total minus Total Internal Capacity |  | -5997 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ERCOT
| Form EIA-411 for 2006 |  | WINTER
Released: October xx, 2007
Next Update: October 2008
Table 5q. Winter (ERCOT) Historical and Projected Demand and Capacity, Calendar Year 2006
Region | ERCOT
Subregion
Country | U
| WINTER |  | Actual | Projected
Line# |  | DESCRIPTION | 2006/2007 | 2007/2008 | 2008/2009 | 2009/2010 | 2010/2011 | 2011/2012 | 20012/2013 | 2013/2014 | 2014/2015 | 20015/2016 | 2016/2017
1 | Internal Demand |  | 50402 | 47163.3 | 48242.96 | 49362.24 | 50326.44 | 51046.94 | 52381.66 | 53511.43 | 54597.83 | 55946.07 | 57178.0349
2 | Standby Demand
3 | TOTAL INTERNAL DEMAND |  | 50402 | 47163.3 | 48242.96 | 49362.24 | 50326.44 | 51046.94 | 52381.66 | 53511.43 | 54597.83 | 55946.07 | 57178.0349
4 | Direct Control Load Management
5 | Interruptible Demand |  |  | 1125 | 1125 | 1125 | 1125 | 1125 | 1125 | 1125 | 1125 | 1125 | 1125
6 | NET INTERNAL DEMAND |  | 50402 | 46038.3 | 47117.96 | 48237.24 | 49201.44 | 49921.94 | 51256.66 | 52386.43 | 53472.83 | 54821.07 | 56053.0349
7 | TOTAL INTERNAL CAPACITY |  | 82340 | 91709 | 99391 | 106557 | 110419 | 111719 | 111919 | 112119 | 114819 | 114819 | 114819
7a | EXISTING CAPACITY |  | 82340 | 84325 | 84325 | 84325 | 84325 | 84325 | 84325 | 84325 | 84325 | 84325 | 84325
7a1 | COMMITTED |  | 75760 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537
7a1.1 | Operable |  | 75760 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537 | 77537
7a1.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2 | UNCOMMITTED |  | 6580 | 6788 | 6788 | 6788 | 6788 | 6788 | 6788 | 6788 | 6788 | 6788 | 6788
7a2.1 | Operable |  | 175 | 914 | 914 | 914 | 914 | 914 | 914 | 914 | 914 | 914 | 914
7a2.2 | Inoperable |  | 6405 | 5874 | 5874 | 5874 | 5874 | 5874 | 5874 | 5874 | 5874 | 5874 | 5874
7a3 | ENERGY ONLY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.1 | Operable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.2 | Inoperable |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b | PLANNED CAPACITY ADDITIONS |  | 0 | 8113 | 15963 | 23194 | 26724 | 28024 | 28224 | 28424 | 31124 | 31124 | 31124
7b1 | UNDER CONSTRUCTION |  | 0 | 3366 | 5647 | 7938 | 7938 | 7938 | 7938 | 7938 | 7938 | 7938 | 7938
7b1.1 | Committed |  |  | 500 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
7b1.2 | Uncommitted |  |  | 2866 | 4597 | 6888 | 6888 | 6888 | 6888 | 6888 | 6888 | 6888 | 6888
7b1.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2 | NOT UNDER CONSTRUCTION |  | 0 | 4747 | 10316 | 15256 | 18786 | 20086 | 20286 | 20486 | 23186 | 23186 | 23186
7b2.1 | Committed |  |  | 1310 | 1499 | 1499 | 2249 | 3049 | 3049 | 3049 | 3049 | 3049 | 3049
7b2.2 | Uncommitted |  |  | 3437 | 8817 | 13757 | 16537 | 17037 | 17237 | 17437 | 20137 | 20137 | 20137
7b2.3 | Energy Only |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c | CAPACITY RERATINGS, RETIREMENTS AND ADJUSTMENTS |  | 0 | -729 | -897 | -962 | -630 | -630 | -630 | -630 | -630 | -630 | -630
7c1 | Planned Positive Reratings of Existing Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c2 | Planned Negative Reratings of Existing Capacity |  |  | 174 | 342 | 342 | 10 | 10 | 10 | 10 | 10 | 10 | 10
7c3 | Planned Retirements of Existing Operable Capacity |  |  | 555 | 555 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
7c4 | Planned Retirements of Existing Inoperable Capacity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c5 | Return to Service of Existing Inoperable Capacity |  |  | 76 | 94 | 94 | 363 | 194 | 214 | 214 | 214 | 214 | 214
7c6 | Existing Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c7 | Planned Net Purchases from Non-reporting Parties within Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | TOTAL INOPERABLE CAPACITY |  | 6405 | 5798 | 5780 | 5780 | 5511 | 5680 | 5660 | 5660 | 5660 | 5660 | 5660
9 | OPERABLE TOTAL INTERNAL CAPACITY |  | 75935 | 85911 | 93611 | 100777 | 104908 | 106039 | 106259 | 106459 | 109159 | 109159 | 109159
10 | DERATES AND DECREASES IN SEASONAL RATED CAPACITY |  | 2483 | 4769 | 4941 | 4941 | 4941 | 4941 | 4941 | 4941 | 4941 | 4941 | 4941
10a | Conditional Derates |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10b | Hydro Derates |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10c | Wind Capacity Variations |  | 2483 | 4769 | 4941 | 4941 | 4941 | 4941 | 4941 | 4941 | 4941 | 4941 | 4941
11 | Planned Outages or Scheduled Maintenance of Existing Capacity |  | 3993 | 2447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | DERATED OPERABLE TOTAL INTERNAL CAPACITY |  | 69459 | 78695 | 88670 | 95836 | 99967 | 101098 | 101318 | 101518 | 104218 | 104218 | 104218
13 | OPERABLE ENERGY-ONLY AND UNCOMMITTED RESOURCES |  | 175 | 7217 | 14328 | 21559 | 24339 | 24839 | 25039 | 25239 | 27939 | 27939 | 27939
14 | DERATED OPERABLE INTERNAL CAPACITY |  | 69284 | 71478 | 74342 | 74277 | 75628 | 76259 | 76279 | 76279 | 76279 | 76279 | 76279
15 | Transmission-Limited Resources |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | DELIVERABLE INTERNAL CAPACITY |  | 69284 | 71478 | 74342 | 74277 | 75628 | 76259 | 76279 | 76279 | 76279 | 76279 | 76279
17 | CAPACITY PURCHASES AND INCOMING ADJUSTMENTS |  | 681 | 771 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
17a | Purchases from Entities Outside the Region/Subregion |  | 681 | 771 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
17a.1 | Full-Responsibility Purchases (portion of total purchases) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17b | Owned Capacity/Entitlement Located Outside the Region/Subregion |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | SALES AND OUTGOING ADJUSTMENTS |  | 0 | 218 | 247 | 247 | 247 | 247 | 247 | 247 | 247 | 247 | 247
18a | Sales to Entities Outside the Region/Subregion
18a1 | Full-Responsibility Sales (portion of total sales) |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18b | Capacity Owned by/Entitlement Held by Entities Outside the Region/Subregion |  |  | 218 | 247 | 247 | 247 | 247 | 247 | 247 | 247 | 247 | 247
19 | NET CAPACITY RESOURCES |  | 69965 | 72031 | 74895 | 74830 | 76181 | 76812 | 76832 | 76832 | 76832 | 76832 | 76832
20 | TOTAL POTENTIAL RESOURCES |  | 70140 | 79248 | 89223 | 96389 | 100520 | 101651 | 101871 | 102071 | 104771 | 104771 | 104771
21 | Distributed Generator Capacity < 1 MW | [7 empty] | 1 | 1 | 1 | 1 | 1 | bar: Actual 2006/2007 to Projected 2011/2012
22 | Other Capacity < 1 MW
23 | Distributed Generator Capacity >= 1 MW |  | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93
24 | Capacity Total from EIA-860 |  | 88240 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | EIA-860 Capacity Total minus Total Internal Capacity |  | -5900 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## WECC
| Form EIA-411 for 2006 |  | WINTER
Released: October xx, 2007
Next Update: October 2008
Table 5r. Winter (WECC) Historical and Projected Demand and Capacity, Calendar Year 2006
Region | WECC
Subregion
Country | U
| WINTER |  | Actual | Projected
Line# |  | DESCRIPTION | 2006/2007 | 2007/2008 | 2008/2009 | 2009/2010 | 2010/2011 | 2011/2012 | 20012/2013 | 2013/2014 | 2014/2015 | 20015/2016 | 2016/2017
1 | Internal Demand |  | 111093 | 110073 | 111785 | 114066 | 115928 | 117534 | 119330 | 121208 | 123047 | 124934 | 126596
2 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | TOTAL INTERNAL DEMAND |  | 111093 | 110073 | 111785 | 114066 | 115928 | 117534 | 119330 | 121208 | 123047 | 124934 | 126596
4 | Direct Control Load Management |  | 44 | 44 | 74 | 104 | 135 | 190 | 239 | 280 | 320 | 354 | 383
5 | Interruptible Demand |  | 2235 | 2291 | 2314 | 2347 | 2348 | 2360 | 2362 | 2365 | 2367 | 2394 | 2396
6 | NET INTERNAL DEMAND |  | 108814 | 107738 | 109397 | 111615 | 113445 | 114984 | 116729 | 118563 | 120360 | 122186 | 123817
7 | TOTAL INTERNAL CAPACITY |  | 175699 | 181169 | 184306 | 188806 | 190540 | 190552 | 190564 | 190564 | 190564 | 190564 | 190564
7a | EXISTING CAPACITY |  | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699
7a1 | COMMITTED |  | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699
7a1.1 | Operable |  | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699 | 175699
7a1.2 | Inoperable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2 | UNCOMMITTED |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2.1 | Operable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a2.2 | Inoperable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3 | ENERGY ONLY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.1 | Operable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7a3.2 | Inoperable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b | PLANNED CAPACITY ADDITIONS |  | 0 | 5172 | 8224 | 12762 | 14434 | 14434 | 14434 | 14434 | 14434 | 14434 | 14434
7b1 | UNDER CONSTRUCTION |  | 0 | 4719 | 6476 | 7734 | 8796 | 8796 | 8796 | 8796 | 8796 | 8796 | 8796
7b1.1 | Committed |  |  | 4719 | 6476 | 7734 | 8796 | 8796 | 8796 | 8796 | 8796 | 8796 | 8796
7b1.2 | Uncommitted |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b1.3 | Energy Only |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2 | NOT UNDER CONSTRUCTION |  | 0 | 453 | 1748 | 5028 | 5638 | 5638 | 5638 | 5638 | 5638 | 5638 | 5638
7b2.1 | Committed |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7b2.2 | Uncommitted |  |  | 453 | 1748 | 5028 | 5638 | 5638 | 5638 | 5638 | 5638 | 5638 | 5638
7b2.3 | Energy Only |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c | CAPACITY RERATINGS, RETIREMENTS AND ADJUSTMENTS |  | 0 | 298 | 383 | 345 | 407 | 419 | 431 | 431 | 431 | 431 | 431
7c1 | Planned Positive Reratings of Existing Capacity |  |  | 298 | 403 | 365 | 427 | 439 | 451 | 606 | 606 | 606 | 606
7c2 | Planned Negative Reratings of Existing Capacity |  |  | 0 | 5 | 5 | 5 | 5 | 5 | 160 | 160 | 160 | 160
7c3 | Planned Retirements of Existing Operable Capacity |  |  | 0 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
7c4 | Planned Retirements of Existing Inoperable Capacity |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c5 | Return to Service of Existing Inoperable Capacity |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c6 | Existing Net Purchases from Non-reporting Parties within Region/Subregion |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7c7 | Planned Net Purchases from Non-reporting Parties within Region/Subregion |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | TOTAL INOPERABLE CAPACITY |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | OPERABLE TOTAL INTERNAL CAPACITY |  | 175699 | 181169 | 184306 | 188806 | 190540 | 190552 | 190564 | 190564 | 190564 | 190564 | 190564
10 | DERATES AND DECREASES IN SEASONAL RATED CAPACITY |  | 7196 | 8819 | 9066 | 9174 | 9174 | 9174 | 9174 | 9174 | 9174 | 9174 | 9174
10a | Conditional Derates |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10b | Hydro Derates |  | 3389 | 3389 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399
10c | Wind Capacity Variations |  | 3807 | 5430 | 5667 | 5775 | 5775 | 5775 | 5775 | 5775 | 5775 | 5775 | 5775
11 | Planned Outages or Scheduled Maintenance of Existing Capacity |  | 3106 | 3106 | 3758 | 3655 | 3924 | 4043 | 3293 | 3500 | 4081 | 3400 | 3734
12 | DERATED OPERABLE TOTAL INTERNAL CAPACITY |  | 165397 | 169244 | 171482 | 175977 | 177442 | 177335 | 178097 | 177890 | 177309 | 177990 | 177656
13 | OPERABLE ENERGY-ONLY AND UNCOMMITTED RESOURCES |  | 0 | 453 | 1748 | 5028 | 5638 | 5638 | 5638 | 5638 | 5638 | 5638 | 5638
14 | DERATED OPERABLE INTERNAL CAPACITY |  | 165397 | 168791 | 169734 | 170949 | 171804 | 171697 | 172459 | 172252 | 171671 | 172352 | 172018
15 | Transmission-Limited Resources |  | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110 | 110
16 | DELIVERABLE INTERNAL CAPACITY |  | 165287 | 168681 | 169624 | 170839 | 171694 | 171587 | 172349 | 172142 | 171561 | 172242 | 171908
17 | CAPACITY PURCHASES AND INCOMING ADJUSTMENTS |  | 802 | 793 | 793 | 756 | 663 | 527 | 534 | 535 | 550 | 553 | 555
17a | Purchases from Entities Outside the Region/Subregion |  | 802 | 793 | 793 | 756 | 663 | 527 | 534 | 535 | 550 | 553 | 555
17a.1 | Full-Responsibility Purchases (portion of total purchases) |  | 802 | 793 | 793 | 756 | 663 | 527 | 534 | 535 | 550 | 553 | 555
17b | Owned Capacity/Entitlement Located Outside the Region/Subregion |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | SALES AND OUTGOING ADJUSTMENTS |  | 205 | 1490 | 2301 | 2572 | 2721 | 2311 | 2425 | 2641 | 2883 | 3105 | 3299
18a | Sales to Entities Outside the Region/Subregion |  | 205 | 1490 | 2301 | 2572 | 2721 | 2311 | 2425 | 2641 | 2883 | 3105 | 3299
18a1 | Full-Responsibility Sales (portion of total sales) |  | 205 | 187 | 184 | 184 | 186 | 187 | 187 | 188 | 188 | 189 | 189
18b | Capacity Owned by/Entitlement Held by Entities Outside the Region/Subregion |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | NET CAPACITY RESOURCES |  | 165884 | 167984 | 168116 | 169023 | 169636 | 169803 | 170458 | 170036 | 169228 | 169690 | 169164
20 | TOTAL POTENTIAL RESOURCES |  | 165994 | 168547 | 169974 | 174161 | 175384 | 175551 | 176206 | 175784 | 174976 | 175438 | 174912
21 | Distributed Generator Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | Distributed Generator Capacity >= 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | Capacity Total from EIA-860 |  | 180960 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | EIA-860 Capacity Total minus Total Internal Capacity |  | -5261 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0