## 10-Day CVP Corp Forecast
|  |  |  | Western Area Power Admininstration | [8 empty] | Publish Date:
[5 empty] | Sierra Nevada Region | [6 empty] | 2008-03-20
10-Day Forecast of Central Valley Project Corporation Bank Energy and Bank Return Energy
Values at Tracy Substation
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2008-03-21 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2008-03-22 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2008-03-21 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2008-03-22 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 50 | 360 | 0 | 0 | 0 | 0 | 1 | 50 | 390 | 0 | 0 | 0 | 0
2 | 50 | 360 | 0 | 0 | 0 | 0 | 2 | 50 | 390 | 0 | 0 | 0 | 0
3 | 50 | 360 | 0 | 0 | 0 | 0 | 3 | 50 | 390 | 0 | 0 | 0 | 0
4 | 50 | 360 | 0 | 0 | 0 | 0 | 4 | 50 | 390 | 0 | 0 | 0 | 0
5 | 50 | 360 | 0 | 0 | 0 | 0 | 5 | 50 | 390 | 0 | 0 | 0 | 0
6 | 50 | 360 | 0 | 0 | 0 | 0 | 6 | 50 | 390 | 0 | 0 | 0 | 0
7 | 50 | 360 | 0 | 0 | 0 | 0 | 7 | 50 | 390 | 0 | 0 | 0 | 0
8 | 50 | 360 | 0 | 0 | 0 | 0 | 8 | 50 | 390 | 0 | 0 | 0 | 0
9 | 50 | 360 | 0 | 0 | 0 | 0 | 9 | 50 | 390 | 0 | 0 | 0 | 0
10 | 50 | 360 | 0 | 0 | 0 | 0 | 10 | 50 | 390 | 0 | 0 | 0 | 0
11 | 50 | 360 | 0 | 0 | 0 | 0 | 11 | 50 | 390 | 0 | 0 | 0 | 0
12 | 50 | 360 | 0 | 0 | 0 | 0 | 12 | 50 | 390 | 0 | 0 | 0 | 0
13 | 50 | 360 | 0 | 0 | 0 | 0 | 13 | 50 | 390 | 0 | 0 | 0 | 0
14 | 50 | 360 | 0 | 0 | 0 | 0 | 14 | 50 | 390 | 0 | 0 | 0 | 0
15 | 50 | 360 | 0 | 0 | 0 | 0 | 15 | 50 | 390 | 0 | 0 | 0 | 0
16 | 50 | 360 | 0 | 0 | 0 | 0 | 16 | 50 | 390 | 0 | 0 | 0 | 0
17 | 50 | 360 | 0 | 0 | 0 | 0 | 17 | 50 | 390 | 0 | 0 | 0 | 0
18 | 50 | 360 | 0 | 0 | 0 | 0 | 18 | 50 | 390 | 0 | 0 | 0 | 0
19 | 50 | 360 | 0 | 0 | 0 | 0 | 19 | 50 | 390 | 0 | 0 | 0 | 0
20 | 50 | 360 | 0 | 0 | 0 | 0 | 20 | 50 | 390 | 0 | 0 | 0 | 0
21 | 50 | 360 | 0 | 0 | 0 | 0 | 21 | 50 | 390 | 0 | 0 | 0 | 0
22 | 50 | 360 | 0 | 0 | 0 | 0 | 22 | 50 | 390 | 0 | 0 | 0 | 0
23 | 50 | 360 | 0 | 0 | 0 | 0 | 23 | 50 | 390 | 0 | 0 | 0 | 0
24 | 50 | 360 | 0 | 0 | 0 | 0 | 24 | 50 | 390 | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 4883 |  |  |  | Energy Avail. for BR (MWh): |  |  | 4797
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2008-03-23 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2008-03-24 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2008-03-23 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2008-03-24 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 60 | 440 | 0 | 0 | 0 | 0 | 1 | 50 | 550 | 0 | 0 | 0 | 0
2 | 60 | 440 | 0 | 0 | 0 | 0 | 2 | 50 | 550 | 0 | 0 | 0 | 0
3 | 60 | 440 | 0 | 0 | 0 | 0 | 3 | 50 | 550 | 0 | 0 | 0 | 0
4 | 60 | 440 | 0 | 0 | 0 | 0 | 4 | 50 | 550 | 0 | 0 | 0 | 0
5 | 60 | 440 | 0 | 0 | 0 | 0 | 5 | 50 | 550 | 0 | 0 | 0 | 0
6 | 60 | 440 | 0 | 0 | 0 | 0 | 6 | 50 | 550 | 0 | 0 | 0 | 0
7 | 60 | 440 | 0 | 0 | 0 | 0 | 7 | 50 | 550 | 0 | 0 | 0 | 0
8 | 60 | 440 | 0 | 0 | 0 | 0 | 8 | 50 | 550 | 0 | 0 | 0 | 0
9 | 60 | 440 | 0 | 0 | 0 | 0 | 9 | 50 | 550 | 0 | 0 | 0 | 0
10 | 60 | 440 | 0 | 0 | 0 | 0 | 10 | 50 | 550 | 0 | 0 | 0 | 0
11 | 60 | 440 | 0 | 0 | 0 | 0 | 11 | 50 | 550 | 0 | 0 | 0 | 0
12 | 60 | 440 | 0 | 0 | 0 | 0 | 12 | 50 | 550 | 0 | 0 | 0 | 0
13 | 60 | 440 | 0 | 0 | 0 | 0 | 13 | 50 | 550 | 0 | 0 | 0 | 0
14 | 60 | 440 | 0 | 0 | 0 | 0 | 14 | 50 | 550 | 0 | 0 | 0 | 0
15 | 60 | 440 | 0 | 0 | 0 | 0 | 15 | 50 | 550 | 0 | 0 | 0 | 0
16 | 60 | 440 | 0 | 0 | 0 | 0 | 16 | 50 | 550 | 0 | 0 | 0 | 0
17 | 60 | 440 | 0 | 0 | 0 | 0 | 17 | 50 | 550 | 0 | 0 | 0 | 0
18 | 60 | 440 | 0 | 0 | 0 | 0 | 18 | 50 | 550 | 0 | 0 | 0 | 0
19 | 60 | 440 | 0 | 0 | 0 | 0 | 19 | 50 | 550 | 0 | 0 | 0 | 0
20 | 60 | 440 | 0 | 0 | 0 | 0 | 20 | 50 | 550 | 0 | 0 | 0 | 0
21 | 60 | 440 | 0 | 0 | 0 | 0 | 21 | 50 | 550 | 0 | 0 | 0 | 0
22 | 60 | 440 | 0 | 0 | 0 | 0 | 22 | 50 | 550 | 0 | 0 | 0 | 0
23 | 60 | 440 | 0 | 0 | 0 | 0 | 23 | 50 | 550 | 0 | 0 | 0 | 0
24 | 60 | 440 | 0 | 0 | 0 | 0 | 24 | 50 | 550 | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 4069 |  |  |  | Energy Avail. for BR (MWh): |  |  | 5059
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2008-03-25 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2008-03-26 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2008-03-25 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2008-03-26 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 30 | 600 | 0 | 0 | 0 | 0 | 1 | 10 | 660 | 0 | 0 | 0 | 0
2 | 30 | 600 | 0 | 0 | 0 | 0 | 2 | 10 | 660 | 0 | 0 | 0 | 0
3 | 30 | 600 | 0 | 0 | 0 | 0 | 3 | 10 | 660 | 0 | 0 | 0 | 0
4 | 30 | 600 | 0 | 0 | 0 | 0 | 4 | 10 | 660 | 0 | 0 | 0 | 0
5 | 30 | 600 | 0 | 0 | 0 | 0 | 5 | 10 | 660 | 0 | 0 | 0 | 0
6 | 30 | 600 | 0 | 0 | 0 | 0 | 6 | 10 | 660 | 0 | 0 | 0 | 0
7 | 30 | 600 | 0 | 0 | 0 | 0 | 7 | 10 | 660 | 0 | 0 | 0 | 0
8 | 30 | 600 | 0 | 0 | 0 | 0 | 8 | 10 | 660 | 0 | 0 | 0 | 0
9 | 30 | 600 | 0 | 0 | 0 | 0 | 9 | 10 | 660 | 0 | 0 | 0 | 0
10 | 30 | 600 | 0 | 0 | 0 | 0 | 10 | 10 | 660 | 0 | 0 | 0 | 0
11 | 30 | 600 | 0 | 0 | 0 | 0 | 11 | 10 | 660 | 0 | 0 | 0 | 0
12 | 30 | 600 | 0 | 0 | 0 | 0 | 12 | 10 | 660 | 0 | 0 | 0 | 0
13 | 30 | 600 | 0 | 0 | 0 | 0 | 13 | 10 | 660 | 0 | 0 | 0 | 0
14 | 30 | 600 | 0 | 0 | 0 | 0 | 14 | 10 | 660 | 0 | 0 | 0 | 0
15 | 30 | 600 | 0 | 0 | 0 | 0 | 15 | 10 | 660 | 0 | 0 | 0 | 0
16 | 30 | 600 | 0 | 0 | 0 | 0 | 16 | 10 | 660 | 0 | 0 | 0 | 0
17 | 30 | 600 | 0 | 0 | 0 | 0 | 17 | 10 | 660 | 0 | 0 | 0 | 0
18 | 30 | 600 | 0 | 0 | 0 | 0 | 18 | 10 | 660 | 0 | 0 | 0 | 0
19 | 30 | 600 | 0 | 0 | 0 | 0 | 19 | 10 | 660 | 0 | 0 | 0 | 0
20 | 30 | 600 | 0 | 0 | 0 | 0 | 20 | 10 | 660 | 0 | 0 | 0 | 0
21 | 30 | 600 | 0 | 0 | 0 | 0 | 21 | 10 | 660 | 0 | 0 | 0 | 0
22 | 30 | 600 | 0 | 0 | 0 | 0 | 22 | 10 | 660 | 0 | 0 | 0 | 0
23 | 30 | 600 | 0 | 0 | 0 | 0 | 23 | 10 | 660 | 0 | 0 | 0 | 0
24 | 30 | 600 | 0 | 0 | 0 | 0 | 24 | 10 | 660 | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 5945 |  |  |  | Energy Avail. for BR (MWh): |  |  | 4384
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2008-03-27 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2008-03-28 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2008-03-27 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2008-03-28 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 10 | 630 | 0 | 0 | 0 | 0 | 1 | 0 | 440 | 0 | 0 | 0 | 0
2 | 10 | 630 | 0 | 0 | 0 | 0 | 2 | 0 | 440 | 0 | 0 | 0 | 0
3 | 10 | 630 | 0 | 0 | 0 | 0 | 3 | 0 | 440 | 0 | 0 | 0 | 0
4 | 10 | 630 | 0 | 0 | 0 | 0 | 4 | 0 | 440 | 0 | 0 | 0 | 0
5 | 10 | 630 | 0 | 0 | 0 | 0 | 5 | 0 | 440 | 0 | 0 | 0 | 0
6 | 10 | 630 | 0 | 0 | 0 | 0 | 6 | 0 | 440 | 0 | 0 | 0 | 0
7 | 10 | 630 | 0 | 0 | 0 | 0 | 7 | 0 | 440 | 0 | 0 | 0 | 0
8 | 10 | 630 | 0 | 0 | 0 | 0 | 8 | 0 | 440 | 0 | 0 | 0 | 0
9 | 10 | 630 | 0 | 0 | 0 | 0 | 9 | 0 | 440 | 0 | 0 | 0 | 0
10 | 10 | 630 | 0 | 0 | 0 | 0 | 10 | 0 | 440 | 0 | 0 | 0 | 0
11 | 10 | 630 | 0 | 0 | 0 | 0 | 11 | 0 | 440 | 0 | 0 | 0 | 0
12 | 10 | 630 | 0 | 0 | 0 | 0 | 12 | 0 | 440 | 0 | 0 | 0 | 0
13 | 10 | 630 | 0 | 0 | 0 | 0 | 13 | 0 | 440 | 0 | 0 | 0 | 0
14 | 10 | 630 | 0 | 0 | 0 | 0 | 14 | 0 | 440 | 0 | 0 | 0 | 0
15 | 10 | 630 | 0 | 0 | 0 | 0 | 15 | 0 | 440 | 0 | 0 | 0 | 0
16 | 10 | 630 | 0 | 0 | 0 | 0 | 16 | 0 | 440 | 0 | 0 | 0 | 0
17 | 10 | 630 | 0 | 0 | 0 | 0 | 17 | 0 | 440 | 0 | 0 | 0 | 0
18 | 10 | 630 | 0 | 0 | 0 | 0 | 18 | 0 | 440 | 0 | 0 | 0 | 0
19 | 10 | 630 | 0 | 0 | 0 | 0 | 19 | 0 | 440 | 0 | 0 | 0 | 0
20 | 10 | 630 | 0 | 0 | 0 | 0 | 20 | 0 | 440 | 0 | 0 | 0 | 0
21 | 10 | 630 | 0 | 0 | 0 | 0 | 21 | 0 | 440 | 0 | 0 | 0 | 0
22 | 10 | 630 | 0 | 0 | 0 | 0 | 22 | 0 | 440 | 0 | 0 | 0 | 0
23 | 10 | 630 | 0 | 0 | 0 | 0 | 23 | 0 | 440 | 0 | 0 | 0 | 0
24 | 10 | 630 | 0 | 0 | 0 | 0 | 24 | 0 | 440 | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 4167 |  |  |  | Energy Avail. for BR (MWh): |  |  | 3495
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
| Base Resource |  | Bank Energy |  | Bank Return Energy |  |  | Base Resource |  | Bank Energy |  | Bank Return Energy
2008-03-29 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15 | 2008-03-30 | Hourly Min. Capacity | Hourly Max. Capacity | Shortage SCA | Shortage NP-15 | SCA | NP-15
2008-03-29 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW) | 2008-03-30 | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
Hour | [6 empty] | Hour
1 | 10 | 460 | 0 | 0 | 0 | 0 | 1 | 20 | 620 | 0 | 0 | 0 | 0
2 | 10 | 460 | 0 | 0 | 0 | 0 | 2 | 20 | 620 | 0 | 0 | 0 | 0
3 | 10 | 460 | 0 | 0 | 0 | 0 | 3 | 20 | 620 | 0 | 0 | 0 | 0
4 | 10 | 460 | 0 | 0 | 0 | 0 | 4 | 20 | 620 | 0 | 0 | 0 | 0
5 | 10 | 460 | 0 | 0 | 0 | 0 | 5 | 20 | 620 | 0 | 0 | 0 | 0
6 | 10 | 460 | 0 | 0 | 0 | 0 | 6 | 20 | 620 | 0 | 0 | 0 | 0
7 | 10 | 460 | 0 | 0 | 0 | 0 | 7 | 20 | 620 | 0 | 0 | 0 | 0
8 | 10 | 460 | 0 | 0 | 0 | 0 | 8 | 20 | 620 | 0 | 0 | 0 | 0
9 | 10 | 460 | 0 | 0 | 0 | 0 | 9 | 20 | 620 | 0 | 0 | 0 | 0
10 | 10 | 460 | 0 | 0 | 0 | 0 | 10 | 20 | 620 | 0 | 0 | 0 | 0
11 | 10 | 460 | 0 | 0 | 0 | 0 | 11 | 20 | 620 | 0 | 0 | 0 | 0
12 | 10 | 460 | 0 | 0 | 0 | 0 | 12 | 20 | 620 | 0 | 0 | 0 | 0
13 | 10 | 460 | 0 | 0 | 0 | 0 | 13 | 20 | 620 | 0 | 0 | 0 | 0
14 | 10 | 460 | 0 | 0 | 0 | 0 | 14 | 20 | 620 | 0 | 0 | 0 | 0
15 | 10 | 460 | 0 | 0 | 0 | 0 | 15 | 20 | 620 | 0 | 0 | 0 | 0
16 | 10 | 460 | 0 | 0 | 0 | 0 | 16 | 20 | 620 | 0 | 0 | 0 | 0
17 | 10 | 460 | 0 | 0 | 0 | 0 | 17 | 20 | 620 | 0 | 0 | 0 | 0
18 | 10 | 460 | 0 | 0 | 0 | 0 | 18 | 20 | 620 | 0 | 0 | 0 | 0
19 | 10 | 460 | 0 | 0 | 0 | 0 | 19 | 20 | 620 | 0 | 0 | 0 | 0
20 | 10 | 460 | 0 | 0 | 0 | 0 | 20 | 20 | 620 | 0 | 0 | 0 | 0
21 | 10 | 460 | 0 | 0 | 0 | 0 | 21 | 20 | 620 | 0 | 0 | 0 | 0
22 | 10 | 460 | 0 | 0 | 0 | 0 | 22 | 20 | 620 | 0 | 0 | 0 | 0
23 | 10 | 460 | 0 | 0 | 0 | 0 | 23 | 20 | 620 | 0 | 0 | 0 | 0
24 | 10 | 460 | 0 | 0 | 0 | 0 | 24 | 20 | 620 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0
Total: |  |  | 0 | 0 | 0 | 0 | Total: |  |  | 0 | 0 | 0 | 0
Energy Avail. for BR (MWh): |  |  | 3338 |  |  |  | Energy Avail. for BR (MWh): |  |  | 4471
Ramp Rate Constraint: |  |  | None |  |  |  | Ramp Rate Constraint: |  |  | None
Notes:
1. CVP Corp. Transactions data includes committed schedules for those days (shaded gray) that have been committed and forecasted data for the remaining dates.