Report of the Laws and Regulations Committee

James P. Cassidy, Jr., Chairman

Cambridge, Massachusetts

Reference

Key Number

###### 200	INTRODUCTION

This is the report of the Laws and Regulations Committee (hereinafter referred to as the “Committee”) for the 92nd Annual Meeting of the National Conference on Weights and Measures (NCWM).  It is based on the Interim Report offered in the NCWM Publication 16, “Committee Reports,” testimony at public hearings, comments received from the regional weights and measures associations and other parties, the addendum sheets issued at the Annual Meeting, and actions taken by the membership at the voting session of the Annual Meeting.  The Informational items presented below were adopted as presented when this report was approved.

Table A identifies the agenda items in the Report by Reference Key Number, title, and page number.  The first three digits of the Reference Key Numbers of the items are assigned from the subject series listed below.  Voting items are indicated with a “V” after the item number.  Items marked with an “I” are informational.  Items marked with a “D” are developing items.  The developing designation indicates an item has merit; however, the item is returned to the submitter for further development before any further action is taken by the Committee.  Items marked “W” have been withdrawn from consideration.  Table B lists the appendices to the report, and Table C provides a summary of the results of the voting on the Committee’s items and the report in entirety.

This report contains recommendations to amend National Institute of Standards and Technology (NIST) Handbook 130, 2008 Edition, “Uniform Laws and Regulations,” or NIST Handbook 133, “Checking the Net Contents of Packaged Goods,” Fourth Edition (January 2005).  Proposed revisions to the handbook(s) are shown in bold face print by striking out information to be deleted and underlining information to be added.  New items proposed for the handbooks are designated as such and shown in bold face print.  Text presented for information only is shown in italic print.  When used in this report, the term “weight” means “mass.”

#### Subject Series

INTRODUCTION	200 Series

NIST Handbook 130 – General	210 Series

Uniform Laws	220 Series

Weights and Measures Law (WML)	221 Series

Weighmaster Law (WL)	222 Series

Engine Fuels, Petroleum Products, and Automotive Lubricants Inspection Law (EFL)	223 Series

Uniform Regulations	230 Series

Packaging and Labeling Regulation (PLR)	231 Series

Method of Sale Regulation (MSR)	232 Series

Unit Pricing Regulation (UPR)	233 Series

Voluntary Registration Regulation (VRR)	234 Series

Open Dating Regulation (ODR)	235 Series

Uniform National Type Evaluation Regulation (UNTER)	236 Series

Engine Fuels, Petroleum Products, and Automotive Lubricants Regulation (EFR)	237 Series

Examination Procedure for Price Verification	240 Series

Interpretations and Guidelines	250 Series

NIST Handbook 133	260 Series

Other Items	270 Series

Table A

Index to Reference Key Items

Reference

Key Number	Title of Item	Page

200	INTRODUCTION	1

232	METHOD OF SALE REGULATION	3

232-1	V	Permissive Temperature Compensation for Refined Petroleum Products and Other Fuels	3

232-2	V	Fuel Ethanol Labeling	10

232-3	I	Biodiesel Labeling	11

260	NIST HANDBOOK 133 “CHECKING THE NET CONTENTS OF PACKAGED GOODS”	12

260-1	W	2.6.  Drained Weight for Glazed or Frozen Seafood	12

260-2	W	Worksheet for Liquid Volumes	13

270	Other items – Developing items	16

270-1	W	Add to NIST Handbook 130, Method of Sale of Commodities Regulation Section 1.14.     Labeling Requirement of Drained Weight for Commodities Packed in a Liquid Medium        (foods other than meat or poultry products under USDA jurisdiction)	16

270-2	W	Amend NIST Handbook 130, Method of Sale Regulation Section 2.13.4. Declaration of       Weight	17

270-3	W	Add Section 2.1.6. to NIST Handbook 130, Interpretations and Guidelines	18

270-4	W	Amend Handbook 133, Chapter 4.7 Polyethylene Sheeting – Test Procedure	23

270-5	I	Amend Section 2.2.1. in Handbook 130 Uniform Engine Fuels Regulation – Premium Diesel Lubricity	24

270-6	I	Amend Handbook 130 Interpretations and Guidelines Section 2.3.2. Guidelines for the        Method of Sale of Fresh Fruits and Vegetables	26

270-7	D	Amend Handbook 133 Section 2.3, Moisture Allowances to Provide Clearer Guidance	30

270-8	D	Laws and Regulations Committee WG on Moisture Loss	30

270-9	D	Petroleum Subcommittee	31

Table B

Appendices

Appendix A. L&R Committee Work Group on Moisture Loss	A1

Table C

Voting Results

| Reference Key Number | House of State Representatives |  | House of Delegates |  | Results |
| --- | --- | --- | --- | --- | --- |
|  | Yeas | Nays | Yeas | Nays |  |
| 232-1 | 23 | 16 | 24 | 16 | Returned to Committee |
| 232-2 | 40 | 0 | 42 | 0 | Passed |

#### Details of all Items

#### (In order by Reference Key Number)

###### 232	METHOD OF SALE REGULATION

232-1	V	Permissive Temperature Compensation for Refined Petroleum Products and Other Fuels

(This item was not adopted and was returned to the Committee)

Sources:  The Southern Weights and Measures Association (SWMA), the Western Weights and Measures Association (WWMA), and the Central Weights and Measures Association (CWMA).

Note:  This or similar proposals, which have been on the Committee’s agenda for several years, were reviewed by each of the regional weights and measures associations.  The review process resulted in the submission of several different proposals and numerous comments and suggestions for the Committee to consider.  Everyone expressed concern over the scope, cost and impact of establishing a method of sale for petroleum products which required temperature compensation.  This subject was widely discussed by the NCWM at public forums dating back more than 30 years.  A similar proposal was made by NEWMA as recently as 2000, but the Committee withdrew it in 2001.  NEWMA noted at that time that Pennsylvania, New Hampshire, Maine, and Canada permit temperature-compensated sales of products like home heating fuel and retail gasoline.  Additional historic and background information is available in previous editions of the Committee’s agenda.  For recent discussions on this subject see Item 232-1 in the report of the 91st NCWM Annual Meeting in 2006 at www.nist.gov/owm on the Internet.  It is also available on a searchable DVD format on NIST Special Publication 979 “Reports of the National Conference on Weights and Measures 1905 to 2006,” (November 2006) which is available from the NCWM.

Recommendation:  At its 2007 Interim Meeting the Committee received correspondence from consumer groups and other organizations and heard testimony from weights and measures officials, the petroleum industry (including the American Petroleum Institute (API)), consumers and others regarding temperature compensation of refined petroleum products.  The Committee appreciates all of the data, discussion and especially the high level of interest.  The Committee acknowledges the media attention this item has drawn, and the members were pleased to learn that some agricultural commissioners and other policy makers, as well as some governors and state attorneys general, have expressed interest in temperature compensation.

Proponents for the item spoke of a need to improve the accuracy of measurements of petroleum products because of their cost and of the need to improve accountability, while opponents spoke to the cost of implementing temperature compensation and the potential for confusion in the marketplace.  The Committee also was made aware of legislation under consideration in Missouri and Texas that would establish different definitions for a gallon based on the ambient temperature in varied areas of the states.  The Committee was especially sensitive to concerns expressed by weights and measures inspectors about the potential cost and increased inspection time they may expend if temperature compensation is allowed in all applications, especially at the retail level.

The Committee duly considered the presentations, discussions, letters, data, media stories, comments received at public hearings and in hallways, and the proposed legislation.  The NCWM posted this information at:

http://www.ncwm.net/events/index.cfm?fuseaction=interimagenda07

Following is a list of justifications for adopting a standard that will facilitate the implementation of an orderly yet permissive approach to allowing broader use of temperature compensation in the marketplace:

- Cost of fuel has led to increased consumer and business interest in better methods of measurement, inventory control and accountability.  By now everyone has realized or should realize that ambient temperatures are but one factor which impacts the volume of any liquid.  Thus, basing a state’s temperature-compensation program on regional ambient temperatures is not a technically valid approach to addressing the issue.

- The use of dual-wall storage tanks and deliveries of fuel directly from refineries result in higher temperature product.

- Awareness and concerns over the impact of temperature on the cost of fuel has come about at the same time advances in technology such as electronics and software have made compensation possible in both new and existing measuring devices at lower costs.

- Increased consumer requests that temperature compensation be used, especially in high volume deliveries for improved measurement accuracy.

- The dramatic growth of public interest in recent years is evidenced by articles in many newspapers and widely read magazines such as Scientific America.  This national conversation about energy has led to greater consumer awareness, as well as interest on the part of political leaders, of energy issues and has contributed to creating an opportunity for change.

After a thorough discussion and polling by its chairman, the Committee was unanimous that it would recommend to the NCWM the adoption of a method of sale for refined petroleum products and other fuels.  This would allow industry the option of selling these products on the basis of temperature-compensated sales.  While the decision to submit the permissive temperature-compensated method of sale for NCWM consideration was unanimous, the representative from the CWMA supported going forward with the recommendation but did not agree with including retail sales in the scope of the regulation.  The Committee ultimately decided it was in the best interest of the U.S. commercial measurement system if the NCWM adopted a standard that would provide guidance to states considering legislation in this area, thus supporting the work of the Specifications and Tolerances Committee, the National Type Evaluation Program (NTEP) and others to develop technical requirements and test procedures for both type approval and field testing for devices equipped with temperature compensation.  The Committee believed those efforts were critical to facilitating the introduction of temperature compensation to the marketplace, especially in NTEP states as the NCWM learned there were no retail motor-fuel dispensers available with Certificates of Conformance that included temperature compensation functions.

The following topics/considerations were addressed by the Committee:

1.	Temperature compensation was already legal for use in trade unless prohibited by state or local requirements.

The Committee was aware that temperature compensation was already required or permitted in a number of states for vehicle-tank meters, liquefied petroleum gas, and wholesale deliveries to retailers and that it had been used in the marketplace in these applications for decades.  At the WWMA Annual Meeting, the State of California reported that for transactions involving 5000 gal or more, purchasers may request temperature compensation; Idaho said that for transactions involving 8000 gal or more, the purchaser had an option to buy, on a yearly basis, temperature-compensated product and that all terminal transactions were temperature compensated; Arizona responded that any transactions involving more than 5000 gal must be compensated for temperature; and currently the State of Hawaii was the only jurisdiction which has taken some action to account for temperature variations in retail sales.  The Committee heard enough supportive comments from a broad base of weights and measures directors, inspectors and metrologists to recognize that temperature compensation may find broad acceptance in the marketplace, especially once the potential benefits it offers were realized and implementation costs fall.

The Committee also believed that, unless prohibited by state law, temperature compensation at retail dispensers was already legal in most states.  Additionally, the Committee believed it would be difficult to argue against a measurement practice that could only improve the accuracy and reproducibility of a volumetric measurement.  The Committee position was that legal metrology must not stand in the way of the marketplace striving to change the way fuels and other products were marketed and sold.

2.	Under a permissive approach consumers and businesses will decide where and when to implement temperature compensation.

The Committee was convinced that the marketplace will best determine where and when the benefits from temperature compensation should be implemented to improve accuracy.  The Committee recommended the adoption of a method of sale that would allow temperature compensation to be used in sales of petroleum products on a permissive (voluntary) basis, allowing the marketplace (e.g., industry, consumers and other government agencies) to decide if and when it was appropriate to use temperature compensation in specific commercial applications (e.g., sales at truck stops).  This recommendation was proposed solely for the purpose of ensuring the delivery of an accurate volume of petroleum at a specific reference temperature.  It was not the intent of the Committee to attempt to define a standard energy content of a liter or gallon of gasoline or other engine fuel with this recommendation.

3.	Temperature compensation would be permissive, but controlled.

Although the Committee’s recommendation allowed for permissive use of temperature compensation, it included mandatory provisions requiring compensation be made by automatic means to ensure the measured quantity was accurately determined.  It also defined a temperature-compensated volume for both liters and gallons, requiring the posting of information on dispensers, street signs and on documents to ensure full disclosure and fair competition.  Additionally, it required a business location to have all of the devices operating on temperature compensation on a year-round basis unless a written waiver was granted by the Director.

4.	The basis of Committee’s recommendation was the proposal from the WWMA.

The Committee’s recommendation was based on the proposal submitted by the WWMA, which was developed at its 2006 Annual Meeting in Salt Lake City, Utah.  The Committee made several amendments to the proposal but found it represented a well-reasoned foundation for the recommendation presented below.  The CWMA L&R Committee supported the WWMA's proposal and supported submitting it to the NCWM for a vote.  The CWMA agreed with the WWMA that temperature compensation is the most equitable method of sale, which is currently utilized at every step of distribution except for retail sales.  Additionally, the CWMA believed the proposal should not be restricted only to petroleum products, but should also include alternative fuels such as E-85, biodiesel and biodiesel blends.  The Committee’s recommendation incorporated some of the CWMA’s suggestions and included additional requirements to address many of the concerns raised issue at the 2007 NCWM Interim Meeting open hearings and discussions.  For the purpose of this recommendation the Committee used the definition for “refined petroleum products” as presented in Handbook 130 Uniform Engine Fuels, Petroleum Products, and Automotive Lubricants Inspection Law which reads, “products obtained from distilling and processing of petroleum (crude oil), unfinished oils, recycled oils, natural gas liquids, refinery blend stocks, and other miscellaneous hydrocarbon compounds” with the understanding that its intent was that the requirements would apply when petroleum was blended with other products such as ethanol.

5.	Full disclosure will allow informed consumers to make value comparisons.

The Committee believed consumers, when educated through marketing and outreach efforts, will accept new technology and measurement practices.  When provided with sound information, consumers will gain confidence that government oversight will prevent deceptive practices.  The Committee believed the full disclosure provisions of the method of sale will reduce both unfair competition and consumer confusion.  If, for example, a truck stop offers temperature-compensated sales of diesel fuel through high-speed dispensers for truckers, the road signs with price per unit of volume (e.g., gallon or liter) and dispensers must include a declaration that the volume is sold on the basis of temperature compensation.  If the price per gallon is higher or lower than the usual price per gallon, consumers will be informed that the volume was compensated to a reference temperature.  Several people expressed concern over marketplace confusion if diesel fuel is sold on the basis of both compensated and uncompensated volume.  It is incorrect to say that there would be two methods of sale for the same product under this recommendation just as it is inaccurate to say that some consumers will not receive a “full” gallon if temperature compensation is used as some opponents to this method of sale have claimed.  The reality is that consumers will be able to compare price per gallon between stations and they will receive a “full” gallon as defined under the Method of Sale of Commodities Regulation.  While confusion is possible with any method of sale, the Committee was not deterred by that possibility.  If confusion occurs, the proper response is to educate consumers and address any changes identified from the confusion through further refinement of the method of sale.  In this application, full disclosure will inform consumers that one product is sold on the basis of temperature compensation and one is not.  When consumers are educated, they can make sound value comparisons between these choices just as they already make decisions when choosing between different brand name products, octane ratings, additive offerings, and types of fuels.  Business and industry is also well equipped and very experienced in educating its customers whenever it chooses to introduce new products or services; so should they decide to use the method of sale, they are sure to introduce it using an informative marketing effort.

The Committee was urged to clarify that there may be situations in which there is a valid contract where the price is based on the fuel being sold on the basis of uncompensated measurement.  The Committee agreed with the comment that if a purchaser operating under such a contract fills up at a location where the dispensers are temperature compensated, the contract should prevail in those transactions.  Similarly, the Committee heard from the American Petroleum Institute (API) that it should permit either uncompensated or compensated methods of sale at loading-rack meters when such sales are under contract.  The Committee believed its proposal will not interfere with the contracts or understandings that API described.

6.	Costs

The Committee heard from some users that the lack of temperature compensation was costing them great sums of money while industry representatives said the cost of equipment and installation will cost industry and, ultimately, consumers even larger amounts of money.  The cost of any NCWM action is a concern to the Committee which must defend its actions on both sides of any issue.  However, it is very difficult to give each side everything it wants in any recommendation.  While the Committee was concerned about cost, it was skeptical of the economic claims from both sides in this debate.  For example, at the Interim Meeting one estimate of the cost of implementing temperature compensation dropped nearly $2 billion dollars once industry learned that an alternative technology was available in the marketplace.

That is but one illustration of the weaknesses the Committee saw in cost or damage claims over the years.  It dates back to its work in the 1990s on the price verification procedures where some groups claimed that supermarkets were overcharging consumers billions of dollars a year.  The Committee never saw data that supported such claims, yet the damage values received wide notice in the media.  Some members of the NCWM may remember the claims made during Congressional consideration of the Metric Conversion Act of 1975 that changing to the metric system would cost billions of dollars.  In reality those high costs never materialized, which was confirmed through several reliable studies.  One reason Congress made conversion to the metric system voluntary was to allow industry to make changes as part of their normal equipment replacement cycle.  The automotive industry, for instance, found it cost effective to make the change to metric units when purchasing replacement equipment.  Advancements in technology made conversions easier or allowed dual-unit displays on equipment as standard features.  These factors were key contributors in reducing costs.

The Committee also heard that no action should be taken pending further studies.  The Committee was wary of calls that it take no action pending another study or action by Congress.  Each State Director in the NCWM determines whether or not to incorporate what is adopted by the NCWM into his or her state law or regulations, not the Committee.  Even states that adopt the Method of Sale of Commodities Regulation by reference or citation can take action to exclude a specific section of a uniform regulation that conflicts with other requirements or policies.  As for taking time for additional study, the NCWM record on consideration of the issue of temperature compensation dates back to the mid-1970s and has arisen for consideration every few years since that date.  The Committee was aware of the history, the issues, the various points of view, and the potential costs of temperature compensation and believed it was time for the NCWM to move forward on temperature compensation by establishing standards by which this method of sale can be brought into the marketplace on a voluntary, yet controlled, basis.

As one speaker alluded to in his presentation, the marketplace is to some degree “intelligent” in that it helps address many factors through its price-setting function and can generally be trusted to balance costs and prices as well as justify investment in new technology and marketing practices if there is a need, demand or opportunity.  A voluntary approach will allow early adopters to develop experience and pull advances in technology into the equipment market while competition and other factors will reduce costs even further if the method of sale is broadly adopted.  The Committee believed a permissive approach to temperature compensation turned the choice over to the marketplace where, if consumer demand was sufficient, sellers would make a business decision to invest in the technology and marketing according to the new method of sale when the benefits offset costs.

7.	Limiting the option of temperature compensation to specific applications

The Committee received suggestions that temperature compensation be limited to certain applications or not be allowed in retail sales, but it did not hear sufficient justification for taking such positions.  Temperature compensation is not new to the commercial measurement system.  It is widely used in wholesale transactions in many jurisdictions, and consumers in many states have purchased LPG and oil for heating and other uses for decades on the basis of temperature-compensated sales.  No information was presented to the Committee that its use in those applications has been anything but successful.  The Committee recognizes that verifying devices with temperature compensation may require additional inspection time and require weights and measures officials to purchase thermometers or other equipment for testing.  However, those factors are not sufficient justification to prohibit the marketplace from implementing this method of sale.  If a jurisdiction adopts this method of sale and a business decides to use temperature compensation, the weights and measures agency would need to obtain funding to implement appropriate testing procedures to verify devices.  However, the Committee would expect that innovation, risk-based testing, and random sampling techniques, as well as technology, would lessen the time required to conduct additional tests just as those factors have reduced the burden of testing many weighing and measuring instruments in the past.

8.	Permissive vs. Mandatory Implementation

The Committee heard from the regional associations and others that temperature-compensated sales should be implemented on a permissive basis.  The Committee opposed the inclusion of a future mandatory date at this time.  The Committee believed temperature-compensated sales should be market driven and that suppliers will conduct sales on a compensated basis when consumers demand it and should not be required to do so before then.  The Committee, based on the comments of many jurisdictions, believed the imposition of a mandatory requirement was too burdensome on the industry, requiring upgrades and possibly the replacement of many meters without adequate justification.

The Committee agreed that a mandatory requirement would not be justified at this point in time.  The Committee felt it was important to get some form of regulation regarding temperature-compensated sales of petroleum into Handbook 130 and thought that as many barriers as possible should be removed in order to achieve that goal.  Although the Committee’s recommendation is a permissive requirement for temperature-compensated sales, the Committee was willing to consider establishing future mandatory dates if a justified need was demonstrated after this permissive regulation was implemented and used for a period of time.

9.	Comments Reviewed by the Committee

a.	The Committee noted that if the proposal was adopted at the 2007 Annual Meeting, it would go into effect January 1, 2008, in the eighteen jurisdictions that indicated they automatically adopt that regulation by reference or citation (see 2006 edition of NIST Handbook 130, "II Uniformity of Laws and Regulations" [page 9] for a list of those states).  The Committee also noted that if the recommendation was adopted in July 2007, some jurisdictions might want to delay its implementation or exempt that particular section from being automatically adopted.  Since, typically rulemaking takes longer than six months to complete, the Committee debated whether or not it should include a delayed effective date of July 1, 2009, for this regulation.

b.	The Committee discussed the subject of unscrupulous retailers artificially heating fuels and the fact that this deceptive practice has occurred from time to time.  The State of Arizona actually forbids the practice; however, the Committee did not address that issue in the following recommendation.  The Committee considered if a prohibition on the artificial heating of fuels for the purpose of increasing volume at the time of sale should be added to the recommendation.

- The Committee asked to receive comments on whether or not the recommendation should allow the state director to grant (and, when justified, revoke) written waivers to some provisions if sufficient justification was provided by the business owner.  The Committee discussed whether or not the requirement that all devices that dispense product at a location might result in a hardship for some retailers or difficulties in implementing the new method of sale for specific customers (e.g., over-the-road truckers).  For example, if a station decided to sell gasoline and diesel fuel on a temperature-compensated basis but also had a dispenser for K-1 Kerosene (from which limited sales were made), a waiver from the temperature-compensation requirement on all dispensers could be justified.  Likewise, if a chain of truck stops decided to sell diesel fuel on a temperature-compensated basis through its high-output dispensers to truckers (e.g., its prime customers), but did not want to implement temperature-compensated sales through its gasoline dispensers, a waiver could also be justified.  The purpose of the requirement that all devices at a single location be temperature compensated or not was to prevent a retailer from selling through the compensated or uncompensated dispensers when it benefited him or her.  The Committee believed some flexibility was warranted and could make acceptance of the method of sale easier to implement.

At the 2007 Interim Meeting the BOD established an Automatic Temperature Compensation (ATC) Steering Committee to study the issues.

Committee Recommendation:  Amend the Method of Sale of Commodities Regulation in Handbook 130 by adding a new Section 2.30. Refined Petroleum Products:

2.30.	Refined Petroleum Products – Permissive Temperature Compensation

2.30.1.	Where not in conflict with other statutes or regulations, these products may be sold on the basis of temperature-compensated volume.

2.30.2.	When products are sold on the basis of temperature compensated volume:

(a)	All sales shall be in terms of liters or gallons with the delivered volume adjusted to 15 °C or gallons with the delivered volume adjusted to 60 °F;

- Temperature compensation must be accomplished through automatic means.

    - Full Disclosure Requirements

      - The primary indicating elements of measuring devices, recording elements, and all recorded or display representations (e.g., receipts, invoices, bills of lading, etc.) shall be clearly and conspicuously marked to show that the product was delivered on the basis of temperature compensated volume;

      - When a product is offered for sale on the basis of temperature compensated volume, street signs or other advertisements of its unit price must clearly and conspicuously indicate that the volume is temperature compensated.

    - Other Provisions

      - At a business location all sales on a temperature-compensated basis shall be made continuously and for a period of not less than 12 months (e.g., a person may not engage the automatic temperature compensator on a device only during certain times of the year to prevent the person from taking advantage of temperature compensation).

      - At a business location which offers products for sale on the basis of a temperature compensated volume, all measuring devices shall dispense on the basis of temperature compensated volume (e.g., a person must not operate some devices at a location with automatic temperature compensators and others without compensators to prevent them from taking advantage of temperature variations).

Annotations:

- As defined in Handbook 130 Engine Fuels, Petroleum Products, and Automotive Lubricants Inspection Law, refined petroleum products are products obtained from distilling and processing of petroleum (crude oil), unfinished oils, recycled oils, natural gas liquids, refinery blend stocks, and other miscellaneous hydrocarbon compounds as well as Biofuels such as E-85 and Biodiesel at various blends.

- A temperature compensated liter is defined as having a reference temperature of 15 °C and a temperature compensated gallon is defined as 231 cubic inches at a reference temperature of 60 °F;

- When a product is sold on the basis of a temperature-compensated volume, it is typically called “net” or “net volume,” whereas the volume before compensation is called the “gross” or “gross volume.”

- The metric units are shown solely for the purpose of showing metric equivalents in this uniform regulation in this NIST handbook.  There is no requirement that dual units be shown in any full disclosure information required under this section.

- Temperature Compensation may be abbreviated (e.g., Temp Comp, or Compensated to 60 °F) in the interest of space as long as its meaning is clear.

- The seller is not prohibited from providing both gross and net gallons on receipts, invoices, bills of lading or other documentation as long as it is not misleading or deceptive.

- A “business location” means a single outlet and should not be interpreted to mean all of the outlets or locations that a business or company operates in a jurisdiction.

Action at 2007 Annual Meeting:  The Committee received eighteen comments requesting this item be made Informational to allow the Committee time for additional study and deliberation.  The Committee believed the concerns of the commentators were valid but were issues to be addressed by the S&T Committee and NTEP.  Additional studies of the method of sale proposal would bring nothing new to the current recommendation that could not be addressed through further revisions next year if needed.

The Committee believed adopting this proposal would provide guidance to policy makers and others currently considering action on temperature compensation at the national, state or local level.  Jurisdictions opposing the proposal because their state laws or their policies were against it would not be affected by the adoption of this method of sale because their laws simply prohibited its implementation.  The implementation of temperature compensation will be slow primarily because there is no existing nationally approved temperature-compensation device and NIST Handbook 44 must be revised to set forth the specifications, tolerances and other technical requirements for this technology.  NTEP will then need to undertake its work where needed.  However, the Committee acknowledged that some states may move ahead with their own type approvals to allow temperature compensation.  The majority of the Committee believed the proposed method of sale was ready for NCWM adoption as there was not a reasonable justification for delaying the adoption of the proposal as presented.  Therefore, the Committee recommended adoption of this item.

This item was subjected to a lengthy discussion at the general voting session and several issues were raised along with calls for further study.  On a vote the item did not garner enough support to pass, so the item will be carried forward for reconsideration at the 2008 Interim Meeting.

The ATC Steering Committee will hold a public meeting August 27 - 29, 2007, in Chicago, IL, to address the issues and concerns.  The topics to be discussed will include (1) establishing standard product densities; (2) establishing specifications for temperature; (3) response time of thermometer well; (4) referencing 15 °C vs. 60 °F; (5) field test procedures and temperature uncertainties related to the 5 gallon test draft; (6) implementation; (7) labeling/signage/receipts; (8) tax data; (9) temperature data; and (10) NTEP checklists.

For further information on the ATC Steering Committee, please contact:

Don Onwiler, Chairman

Nebraska Weights & Measures Division

PO Box 94757

Lincoln, NE  68509

(402) 471-4292 or at donwiler@agr.ne.gov

232-2	V	Fuel Ethanol Labeling

(This item was adopted)

Source:  Central Weights and Measures Association (CWMA)

Recommendation:  Add a fuel ethanol labeling requirement (Section 2.30.), as recommended by the Petroleum Subcommittee, to the Method of Sale of Commodities Regulation.  To ensure agreement, editorially replace the wording in Section 3.8. in the Engine Fuels, Petroleum Products, and Automotive Lubricants Regulation with the following:

3.8.	E85 Fuel Ethanol.

3.8.1.  How to Identify E85 Fuel Ethanol. - Fuel ethanol shall be identified as E85.

3.8.2.  Labeling Requirements.

a.  Fuel ethanol shall be labeled with its automotive fuel rating in accordance with 16 CFR Part 306.

b.  A label shall be posted which states "For Use in Flexible Fuel Vehicles (FFV) Only".  This information shall be clearly and conspicuously posted on the upper 50% of the dispenser front panel in a type at least 12.7 mm (½ in) in height, 1.5 mm (1/16 in) stroke (width of type).

Discussion:  It was the Committee’s view that this proposal did not impose any new requirements.  These requirements were adopted by the NCWM and published in the Engine Fuels, Petroleum Products, and Automotive Lubricants Regulation in Handbook 130.  However, by adding these requirements in the Method of Sale of Commodities Regulation, the Committee was obligated to give notice that it will become effective on January 1, 2008, in the eighteen jurisdictions which indicate they automatically adopt that regulation by reference or citation (see NIST Handbook 130-2006, “II Uniformity of Laws and Regulations” [page 9] for a list of those states).

Section 2.20. of the Method of Sale of Commodities Regulation in Handbook 130 currently contains requirements for the disclosure of oxygenates in engine fuels.  Including requirements for the disclosure of fuel ethanol is consistent with that requirement and should be provided to ensure consumers are fully informed when making purchasing decisions.

While the Committee received numerous comments supporting this item, it also heard some concerns about perceived discrepancies between this item and the Federal Trade Commission’s (FTC’s) regulation regarding ethanol labeling.  These concerns were initially raised when the requirement was being considered for addition to the Engine Fuels, Petroleum Products, and Automotive Lubricants Regulation.  In response to the concerns, the Committee reviewed the proposed requirement with the FTC and believes no conflict exists.  This proposal has been considered by several regional associations and appears to have the support of most weights and measures officials.

Committee Action at the 2007 Interim and Annual Meetings:  At the 2007 Interim Meeting the CWMA and others recommended the Committee separate this item from the Biodiesel Labeling item which is on hold until ASTM finalizes its work on the biodiesel blend specifications (see Item 232-3 below).  In response to those suggestions, the Committee agreed to separate the items and recommended the labeling requirement for fuel ethanol be adopted at the 2007 NCWM Annual Meeting.  One comment suggested the proposal be amended to clarify that only the maximum volume percentage of ethanol need be declared, but the Committee believed that most officials understood that was the intent of the requirement.  The Committee did not make any changes to the proposal above so it would not conflict with the current requirement in the Engine Fuels Regulation.  The day after the Committee’s discussion, the Petroleum Subcommittee met and began a review of the Engine Fuels, Petroleum Products, and Automotive Lubricants Regulation, which would include this section.  The Petroleum Subcommittee made substantive changes to the recommended language at the Annual Meeting and the NCWM adopted the new language and directed NIST to revise Section 3.8. of the Engine Fuel Regulation to maintain consistency between the two sections.

232-3	I	Biodiesel Labeling

Source:  Central Weights and Measures Association (CWMA)

Recommendation:  Add the biodiesel labeling requirements contained in Handbook 130 Engine Fuels, Petroleum Products, and Automotive Lubricants Regulation to the Method of Sale of Commodities Regulation:

2.XX.	Biodiesel.

2.XX.1.	Identification of Product. – Biodiesel and biodiesel blends shall be identified by the capital letter B followed by the numerical value representing the volume percentage of biodiesel fuel.  (Examples:  B10; B20; B100)

2.XX.2.	Labeling of Retail Dispensers Containing Between 5 % and 20 % Biodiesel. – Each retail dispenser of biodiesel blend containing more than 5 % and up to and including 20 % biodiesel shall be labeled with either:

2.XX.2.1.	The capital letter B followed by the numerical value representing the volume percentage of biodiesel fuel and ending with “biodiesel blend.”  (Examples:  B10 biodiesel blend; B20 biodiesel blend), or;

2.XX.2.2.	The phrase “biodiesel blend between 5 % and 20 %” or similar words.

2.XX.3.	Labeling of Retail Dispensers Containing More Than 20 % Biodiesel. – Each retail dispenser of biodiesel or biodiesel blend containing more than 20 % biodiesel shall be labeled with the capital letter B followed by the numerical value representing the volume percentage of biodiesel fuel and ending with either “biodiesel” or “biodiesel blend.”  (Examples:  B100 Biodiesel; B60 Biodiesel Blend)

2.XX.4.	Documentation for Dispenser Labeling Purposes. – The retailer shall be provided, at the time of delivery, with a declaration of the volume percent biodiesel on an invoice, bill of lading, shipping paper, or other similar document.  This documentation is for dispenser labeling purposes only; it is the responsibility of any potential blender to determine the amount of biodiesel in the diesel fuel prior to blending.

2.XX.5.	Exemption. – Biodiesel blends containing 5 % or less biodiesel by volume are exempted from requirements 2.XX.1 through 2.XX.4.

Discussion:  It is the Committee’s view that this proposal did not impose any new requirements.  However, by including these requirements in the Method of Sale of Commodities Regulation, the Committee was obligated to give notice that the requirements will become effective on January 1 of the year following adoption in the eighteen jurisdictions which indicate they automatically adopt that regulation by reference or citation (see the 2006 edition of NIST Handbook 130, “II Uniformity of Laws and Regulations” [page 9] for a list of those states).  These requirements have already been adopted and are published in the Engine Fuels, Petroleum Products, and Automotive Lubricants Regulation in Handbook 130.

Section 2.20. of the Method of Sale of Commodities Regulation in Handbook 130 currently contains requirements for the disclosure of oxygenates in gasoline blends.  Including requirements for the disclosure of biodiesel and biodiesel blends is consistent with this practice and should be required to ensure consumers are fully informed when making purchasing decisions.

The Committee received numerous comments in support of this item and heard from the National Biodiesel Board (NBB) that, in general, supported this item.  However, the NBB requested the Committee keep this item on its agenda as an information item until ASTM finalizes its biodiesel specifications.  Waiting for the ASTM biodiesel standard before moving this item forward for a vote will ensure there is no conflict with those specifications.

At its 2006 Annual Meeting, the WWMA L&R Committee received no comments regarding this item.  The WWMA supported the NBB request to keep this item as Informational pending ASTM action.  The WWMA concurred that waiting for adoption of the ASTM specifications will prevent conflicts in the final labeling requirement for biodiesel.  At a recent CWMA meeting, a few comments were received that the biodiesel label requirement should include percentages below 5 %.  An update on activity within ASTM to develop a stability specification for B 100 was provided.  After negative votes were addressed, ballots were circulated to add a B 5 limit to the D 975 diesel specification and to establish a B 20 specification.

Committee Action at the 2007 Interim and Annual Meetings:  At the 2007 Interim Meeting, the CWMA and others recommended the Committee keep this proposal on hold until ASTM finalized its work on the biodiesel blend specifications.  In response to those suggestions, the Committee agreed to separate this item from the Fuel Ethanol requirements and carried this item forward as an information item.  At the Annual Meeting, several people called for this item to be presented for a vote at the 2008 Annual Meeting and encouraged the Petroleum Subcommittee to encourage all stakeholders to move quickly to resolve their concerns so this important consumer protection requirement can be adopted by the NCWM.

###### 260	NIST HANDBOOK 133 “CHECKING THE NET CONTENTS OF PACKAGED GOODS”

260-1	W	2.6.  Drained Weight for Glazed or Frozen Seafood

Source:  Northeast Weights and Measures Association (NEWMA)

Proposal:  Amend Section 2.6 Drained Weight for Glazed or Frozen Foods of NIST Handbook 133 as indicated in italics:

- 2.6 Drained Weight for Glazed or Frozen Seafoods.

- How is the drained weight of frozen shrimp and crabmeat seafood determined?

- Change all references to shrimp and crabmeat to just the word “seafood.”

- Delete the glazed section procedure.

Discussion:  At its 2006 Interim Meeting, NEWMA addressed the following problems and questions concerning the proposed changes to Section 2.6 of Handbook 133:

- If the intent was to apply Section 2.6 to just seafood, the heading should just say Frozen Seafoods.  It was the opinion of NEWMA that this was the intent.  If the intent was to apply this to all frozen food, which is a very broad category, then the Committee needed to look at the intent of this section.  Does it apply to frozen vegetables?

- The procedure paragraph was too specific.  It used just shrimp and crabmeat as examples.  It should be generalized by using the term “frozen seafood.”

- The glazed section was not needed.  The immersion method will work for glazed products.  However, if the committee felt this method was needed, then an editorial change needed to be made.  The heading says glazed raw seafood and fish and the next sentence starts that way.  The next sentence ended saying, frozen glazed food product.  The question was, which one is it – seafood and fish or frozen food products?  Does this section cover glazed chicken wings, which is not seafood?

- If an item was not labeled glazed even though it might be glazed, how would the inspector test the product?  It is very hard to tell glazed from simply frozen.  Immersion works for both.  Supermarkets repack large bags of shrimp and scallops into smaller bags and do not take the tare for the glazing or mark the bags “glazed.”

Committee Action at the 2007 Interim Meeting:  The Committee withdrew this proposal because it believed the guidance on testing glazed and frozen foods contained in NIST Handbook 133 was consistent with the test procedures prescribed by the Food and Drug Administration.

260-2	W	Worksheet for Liquid Volumes

Proposal:  Amend Section 3.2 Gravimetric Test Procedure for Liquids of NIST Handbook 133 to add a worksheet for testing packages labeled by liquid volume.

Source:  Central Weights and Measures Association (CWMA)

The proposed worksheet shown on the following page was reformatted from a worksheet created by the CWMA in landscape format.  It has been converted to portrait format for use in gravimetric testing as described below.

The CWMA believed the worksheet is a necessary inspection tool for gravimetric testing of packages labeled by liquid volume.  The worksheet is used for determining average density, nominal gross weight, converting the MAV from liquid volume to mass units, and converting the average error back to labeled units of volume.  A worksheet was included in the third edition of NIST Handbook 133, but was not included in the fourth edition.  This proposal is to add the worksheet, with improvements, to the fourth edition of NIST Handbook 133.  The new worksheet is one page instead of two.  It was modified to provide the added benefit of helping the inspector identify the largest labeled declaration (i.e., fl oz vs. decimal pt vs. ml) and using that declaration to determine the nominal gross weight for the packages.

The worksheet was tested in Nebraska and proved to be an effective and vital tool for package inspectors.  The CWMA believed this functional and simple worksheet in Handbook 133 will promote more inspection of packages labeled by liquid volume.  Many inspectors currently shy away from those types of packages because they are intimidated by the added complexity of the procedure.  This worksheet will greatly reduce that complexity to a process of simply following the steps.

The CWMA believed the only downside of adding the worksheet to the handbook was that, if adopted, it needed to be published in the handbook.

Committee Action at the 2007 Interim Meeting:  While the Committee recognized the value of this and other similar worksheets in conducting package inspection, it represented but one way information can be organized and documented to complete the tests.  Laptop computers, for example, are gaining wider acceptance and their software can provide similar step-by-step guidance to aid its users.  Comments to the Committee at the 2007 Interim Meeting indicated that, while it would be helpful for officials to have worksheets and checklists to use, most officials do not want them added to the printed version of NIST Handbook 133.  One reason for not including such forms in the handbook was that if a state adopts the handbook in its entirety, there may be situations where, if the forms or exact steps specified in the handbook are not used or followed (even when they provide similar results), the official could be criticized or have his determinations challenged.  The Committee decided to explore creating an Internet site to post Handbook 133 information, references, and even software to assist officials.  The Committee agreed the worksheet was useful but decided to withdraw the proposal and pursue the idea of establishing a NIST HB 133 Reference Center on the Internet where documents such as this proposal can be posted.

Worksheet for Packages Labeled by Volume When Using Gravimetric Test Procedure

| Label Declaration | Converted to Fluid Ounce | Largest Declaration (Y=Yes, N=No) |  |  |  |  | Firm: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Date: |  |  |  |  |  |
|  |  |  |  |  |  |  | Commodity: |  |  |  |  |  |
|  |  | 1st Package |  | 2nd Package |  |  | 3rd Package |  | 4th Package |  | 5th Package |  |
| 1. Gross Weight |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Tare Wt | Rt = |  |  |  |  |  |  |  |  |  |  |  |
| Net Wt | Rc = |  |  |  |  |  |  |  |  |  |  |  |
| 3. Flask Wt (full) |  |  |  |  |  |  | Converting MAV to Decimal Pounds |  |  |  |  |  |
| 4. Flask Wt (empty, wetted) |  |  |  |  |  |  | 13. MAV in fl oz (Table 2-6) |  |  |  |  |  |
| 5. Wt of Liquid (step 3 - 4) |  |  |  |  |  |  | 14. MAV in lb (step 13 x step 11) |  |  |  |  |  |
| 6. Volume of Flask (fl oz) |  |  |  |  |  |  | Converting Average Error to Fluid Ounces |  |  |  |  |  |
| Temperature of Liquid |  |  |  |  |  |  | 15. Avg. Error in lb (Box 18 x Box 2 of Test Report) |  |  |  |  |  |
|  |  |  |  |  |  |  | 16. Avg. Error in fl oz (step 15 ÷ step 11) |  |  |  |  |  |
| 7. Liquid Density (step 5 ÷ step 6) |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Range of Densities |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Are densities within 1 scale division? |  |  | Yes ⁯ |  | No ⁯ |  |  |  |  |  |  |  |
| (If no, use volumetric procedure in Sec. 3.3) |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Average Tare Wt (average of step 2) |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. Average Liquid Density (average of step 7) |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. Nominal Gross Weight (step 11 x largest labeled volume*) + step 10 * Use largest labeled volume converted to fl oz from top of page. |  |  |  |  |  |  |  |  |  |  |  |  |

###### 270	Other items – Developing items

INTRODUCTION

The NCWM established a mechanism to disseminate information about emerging issues which have merit and are of national interest.  Developing items have not received sufficient review by all parties affected by the proposals or may be insufficiently developed to warrant review by the NCWM L&R Committee.  The Developing items listed are currently under review by at least one regional association, subcommittee, or work group (WG).

The Developing items are marked according to the specific NIST Handbook into which they fall – Handbook 130 or Handbook 133.  The Committee encourages interested parties to examine the proposals included in the appendices and to send their comments to the contact listed in each part.

The Committee asks that the regional weights and measures associations, subcommittees, and WGs continue their work to develop fully each proposal.  Should an association, subcommittee, or WG decide to discontinue work on a Developing item, the Committee asks that it be notified.  When the status of an item changes because the submitter withdraws the item, the item will be listed in a table below.  For more details on items moved from the Developing Items list to the Committee’s main agenda, refer to the new reference number in the main agenda.

270-1	W	Add to NIST Handbook 130, Method of Sale of Commodities Regulation Section 1.14. Labeling Requirement of Drained Weight for Commodities Packed in a Liquid Medium (foods other than meat or poultry products under USDA jurisdiction)

Source:  Western Weights and Measures Association (WWMA)

Proposal:  Add Section 1.14. “Labeling Requirement of Drained Weight for Commodities Packed in a Liquid Medium (foods other than meat or poultry products under USDA jurisdiction).”

Add Section 1.14. to read as follows:

1.14.	Labeling Requirement of Drained Weight for Commodities Packed in a Liquid Medium. – Drained weight is the appropriate method of sale for products packed in a medium which is inedible or invariably discarded.  Food items such as, but not limited to:  wet pack shrimp, lobster meat, crabmeat, clams, olives, mushrooms, bamboo shoots, water chestnuts, cocktail onions, roasted peppers, and artichokes shall be labeled with a drained weight declaration.

- Drained weight is the weight of the solid food in a container after the packing medium has been drained away.

- Packing medium includes water, brine, and acid based liquids.  Packing medium should not be construed to include oil based marinades which are generally considered part of the product.

Background:  In 1978 the Food and Drug Administration published the Fair Packaging and Labeling Act with interpretations and guidelines.  FDA Guide 7563 states that drained weight is the appropriate way to list net weight of contents for products packed in a medium which is inedible or invariably discarded.  It lists as examples food items like wet pack shrimp, green olives, ripe olives, canned mushrooms, canned clams, and canned artichokes.  Furthermore under Section 403 (d) of the Federal Food, Drug, and Cosmetic Act, a food is considered misbranded if its container is so made, formed, or filled as to be misleading.  The FDA guide states it would be regarded as deceptive and in conflict with Section 403 (d) to replace part of the food in the container with excessive packing medium.  This is true whether or not the label bears an accurate statement of the drained weight of the food.

Some net weight declarations accurately reflect the usable content while other declarations include the weight of the packing medium, causing an unfair business advantage and making value comparison impossible for the consumer.  As markets have changed and more value-added products are being made available to consumers, it is important to specify labeling requirements in order that businesses may compete equally and consumers may have adequate information to facilitate value comparisons.  In addition, consumers rely on the weight declarations when deciding which products to buy for recipes and for dietary purposes.

This proposal was initiated because of a consumer complaint.

Discussion:  The WWMA L&R Committee received no comments on this item.  The WWMA supported forwarding this item, as submitted, to the NCWM L&R Committee for placement on its agenda.  The WWMA requested that NIST coordinate discussions with the Federal Food and Drug Administration (FDA) for review and concurrence.

At the 2006 CWMA Interim Meeting, an industry representative mentioned that the wording of the item was problematic because it expected the regulatory jurisdiction to make a judgment call regarding packing medium which is inedible or invariably discarded.  Furthermore, the wording was very open-ended with respect to the products covered by this method of sale.  Comment from the group was to look at past conference reports in relation to canned clams as guidance.

Committee Action at the 2007 Interim Meeting:  The Committee withdrew this proposal because it believed the guidance on testing these products, which is contained in NIST Handbook 133, was consistent with the test procedures prescribed by the Food and Drug Administration and the U.S. Department of Agriculture.

270-2	W	Amend NIST Handbook 130, Method of Sale Regulation Section 2.13.4. Declaration of Weight

Source:  Western Weights and Measures Association (WWMA)

Proposal:  Amend Handbook 130, Method of Sale Regulation Section 2.13.4. “Declaration of Weight.” as follows:

For the purpose of this regulation, when D is not known, the minimum density used to calculate the target net weight shall be 0.92 g/cm³ (when D is not known).  For products labeled “High Density,” “HD,” or similar wording, the minimum density (D) used to calculate the target net weight shall be 0.95 g/cm³.

Background:  Some manufacturers of polyethylene bags labeled as “High Density” or “HD” have been found to package and label products whose labeled net weights met calculated target net mass/weights when employing a factor of 0.92 g/cm³.  When a density factor of 0.95 g/cm³ was used, as appropriate, in the calculation for high-density polyethylene materials, products commonly failed to meet the calculated target net mass/weight.  Further inspection typically revealed that one or more of the labeled width, thickness, or count statements were inaccurate.

Some manufacturers appeared aware that weights and measures officials were restricted to testing high-density film using the 0.92 g/cm³ value because the actual density value was not stated on the product label and the existing procedural guidelines did not address high-density polyethylene materials.  When testing at manufacturing locations, weights and measures officials were able to obtain information regarding the density of the product from the manufacturer.  However, at distributor locations, density information was not available and officials tested using the 0.92 g/cm³ designated in Handbooks 130 and 133.

Conversations with manufacturers and review of technical data sheets from various manufacturers indicated that 0.95 g/cm³ is an acceptable minimum density value for HD labeled polyethylene film.

Discussion:  The WWMA supported forwarding this item, as amended below, to the L&R Committee for consideration on its agenda.

Recommendation:  Amend Handbook 130 Method of Sale Regulation Section 2.13.4. Declaration of Weight as follows:

For the purpose of this regulation, when the density (D) is not known, the minimum density used to calculate the target net weight shall be 0.92 g/cm³ (when D is not known).  For products labeled “High Density,” “HD,” or similar wording, when D is not known, the minimum density (D) used to calculate the target net weight shall be 0.95 g/cm³.

When the polyethylene commodity package is labeled with a specific density, the labeled density factor shall be used to calculate the target net weight.  If the official determines that the labeled density information is not accurate, the minimum density factors above shall be used to calculate the target net weight.

Committee Action at the 2007 Interim Meeting:  The Committee withdrew this proposal because industry representatives supporting the proposal did not agree on the density used by most manufacturers to produce products typically labeled “high-density polyethylene.”  A state association of film extruders and converters wrote that a density of 0.96 gm/cm3 or higher was generally accepted as the “industry” standard for “high density” sheeting while a letter from a company in that state indicated that resins having densities between 0.946 gm/cm3 to 0.948 gm/cm3 would also be considered to fall under that designation.  The Committee believed any proposal to establish a national standard for a product identity should have the support of a large number of manufacturers across the nation.  The Committee noted that one significant weakness in this proposal was that an unscrupulous manufacturer could avoid its provisions by simply calling its product by another undefined term.  It is unlikely that could be prohibited by saying the official believed it constituted “similar wording” because the language was vague.

270-3	W	Add Section 2.1.6. to NIST Handbook 130, Interpretations and Guidelines

Source:  Western Weights and Measures Association (WWMA)

Proposal:  Add Section 2.1.6. to NIST Handbook 130 Interpretations and Guidelines as follows:

2.1.6.	Labeling Requirements for Variable Weight Produce Items Sold in Clear Plastic Bags.

Interpretation:

For products, such as broccoli crowns, that are traditionally sold by variable weight as bulk produce items, it is not necessary that these produce items, when single or multiple units are packaged or wrapped in plastic film or bags, be marked with a net weight, unit price, and total price at the time the product is offered for retail sale.  The FDA interpretation allows the determination of net weight at the point of sale.  Also, a disclaimer statement on the package of “To be weighed at or before time of sale” is required consumer notification, assuming there are scales at the point of sale.  In addition, the retail price per weight must be displayed within a reasonable distance to the product when the product is displayed for the consumer at the store level.  The customer must be provided with the net weight, unit price, and the total price at the time of sale.

Issue:

The NIST Weights and Measures Division (WMD) has received numerous requests for information regarding the labeling of produce items offered for sale in plastic bags.  The bags may be “zip-lock” or not, may be open or closed, and may or may not have some product labeling on the bag.  Industry and regulatory officials have requested guidance concerning the packaging and labeling requirements as they apply to these products when offered for sale.  A similar issue was raised regarding bunches of bananas wrapped in plastic bags and offered for sale.

Background:

WMD staff reviewed the Uniform Weights and Measures Law, the Uniform Packaging and Labeling Regulation in Handbook 130, and the Food, Drug, and Cosmetic Act.  An exemption to some labeling requirements was found in 21 CFR Part 101 that specifically addresses wrapped clusters of bananas.  The Food, Drug, and Cosmetic Act preempts state laws where state laws are not identical to the Act for the products covered by the Act.  The Food and Drug Administration (FDA) was consulted to obtain their interpretation regarding this issue.  The FDA exemption and interpretation are reported below.

Summary:

The Food, Drug, and Cosmetic Act contains a specific exemption to some labeling requirements for wrapped clusters of bananas and allows the net weight to be determined at the time of sale (see wording below).  The FDA reported that the exemption probably was written specifically for wrapped clusters of bananas because, most likely, bananas were the only produce item using that method of packaging at the time the exemption was requested (around 1964).  The FDA indicated that the sale of other produce items in plastic is analogous to the sale of wrapped clusters of bananas; therefore, the exemption described in 21 CFR Part 100 also applies to other produce items, such as table grapes and broccoli crowns, for example.

References:

The Food, Drug, and Cosmetic Act (FDC Act) 21 CFR Title 21, Part 101, Subpart G, Section 101.100 (h) provides an explicit statement as it applied to bananas.  21 CFR Title 21, Part 101, Section 101.100 addresses exemptions from food labeling requirements.  The text for the exemption is provided below.  The exemption mentioned below is to FDC Act Section 403(e)(2), which states that a food package shall be deemed to be misbranded unless it bears a label containing an accurate statement of quantity of contents.

21 CFR Title 21, Part 101, Subpart G, Section 101.100 (h)(3):

“(i) Wrapped clusters (consumer units) of bananas of nonuniform weight intended to be unpacked from a master carton or container and weighed at or before the point of retail sale in an establishment other than that where originally packed shall be exempt from the requirements of Section 403(e)(2) of the Act during introduction and movement in interstate commerce and while held for sale prior to weighing:

Provided that

The master carton or container bears a label declaration of the total net weight; and the individual packages bear a conspicuous statement “To be weighed at or before the time of sale” and a correct statement setting forth the weight of the wrapper; using such term as “wrapper tare __ ounce”, the blank being filled in with the correct average weight of the wrapper used.

Provided further, that it is the practice of the retail establishment to weigh the individual packages either prior to or at the time of retail sale.

The act of delivering the wrapped clusters (consumer units) during the retail sale without an accurate net weight statement or alternatively without weighing at the time of sale shall be deemed an act which results in the product’s being misbranded while held for sale.  Nothing in this paragraph shall be construed as requiring net-weight statements for clusters (consumer units) delivered into institutional trade, provided that the master container or carton bears the required information.”

The Act provides an exemption for Identity statements under specified conditions:

Identity:

“21 Code of Federal Regulations 101.100 (b) (3) for non-meat and non-poultry foods specifically exempts packages from identity statements if the identity of the commodity ‘can easily be identified through the wrapper or container’”.

“A statement of identity is not required if the identity of the product can easily be identified through the wrapper or container.  This exemption does not apply to meat and poultry.”

Presently, the NIST Handbook 130 Uniform Packaging and Labeling Regulation addresses responsibility statement requirements as applicable only to packages “kept, offered…or sold at…other than the premises where packed” and, furthermore, provides an exemption to quantity statements on packaged commodities intended to be weighed prior to or at time of sale:

Responsibility:

UPLR Section 5 states:

“Any package kept, offered or exposed for sale, or sold, at any place other than the premises where packed shall specify conspicuously on the label of the package the name and address of the manufacturer, packer or distributor.”

This exempts those packages 'kept, offered or exposed for sale, or sold' on the premises where packed from the need for a responsibility statement.  When retailers remove wrapped clusters of produce from a shipping container, they often inspect the packages for quality and make adjustments such as removing damaged product before putting them in a bulk display; they are, for all practical purposes, repackaging the produce and assuming responsibility for it.

Quantity (Exemption for Random Weight Packages):  UPLR Section 11.26 states:

“Individual packaged commodities put up in variable weights and sizes for sale intact, and intended to be weighed and marked with the correct quantity statement prior to or at the time of retail sale, are exempt from a declaration of net quantity.”

“Random weight packages that will be weighed at the time of sale do not need a quantity statement.  This regulation does not address package closure and the exemption is not dependent on the package being open or closed.”

Background/Discussion:  In recent years more and more produce items are being packed in clear plastic wrappers of various sizes in order to maintain the integrity and sanitation of the product (i.e., clusters of grapes or broccoli crowns).  These products are being shipped to retail stores in fully labeled non-consumer containers.  The retail stores take the plastic wrapped produce out of the boxes and stack it in bulk retail displays on the produce counter, advertising it for sale for a certain price per pound.  The consumer selects the amount desired and brings it to the checkout counter where it is weighed and the total price is determined.

This interpretation recognizes and clarifies the labeling requirements for an existing retail trade practice that is becoming more and more common.  It provides for uniform labeling guidance for both industry and enforcement officials.

NIST Handbook 130 “Uniform Packaging and Labeling Regulation” requires packaged commodities to provide accurate and adequate information as to identity, quantity of contents, and the name and address of a responsible party.  However, if certain conditions exist, there are exemptions from these requirements, as cited under the proposed “Reference” section above.

The WWMA received no comments on this item and supported this item as amended below:

Add Section 2.1.6. to NIST Handbook 130 Interpretations and Guidelines as follows:

2.1.6.	Labeling Requirements for Variable Weight Produce Items Sold in Clear Bags or Wrapping.

Issue:  The NIST Weights and Measures Division (WMD) received numerous requests for information regarding correct labeling of produce items offered for sale in clear bags or overwrapped in clear sheeting.  Such bags may or may not have a “zip-lock” feature, may be open or closed, and the bags or sheeting may or may not have some product labeling.  Industry and regulatory officials requested guidance concerning packaging and labeling requirements as they apply to these products when offered for sale.  A similar issue was raised regarding bunches of bananas wrapped in plastic bags and offered for sale.

Background:  WMD staff reviewed the Uniform Weights and Measures Law, the Uniform Packaging and Labeling Regulation (UPLR) in Handbook 130, and the Food, Drug, and Cosmetic Act (FDC Act).  A specific exemption to quantity statement labeling requirements is established in Title 21 Code of Federal Regulations (CFR) Part 101, specifically addressing wrapped clusters of bananas.  An exemption to identity statement labeling requirements for non-meat and non-poultry products is also established in 21 CFR Part 101.  Additional exemptions to responsibility and quantity statements, under specific conditions, are established in the UPLR.

The Food, Drug, and Cosmetic Act preempts state laws when such state laws are not identical to the Act for any products covered by the Act.  The Food and Drug Administration (FDA) was consulted to obtain its interpretation regarding this issue.  The FDA exemption and interpretation are reported below:

Interpretation:  The Food, Drug, and Cosmetic Act contains a specific exemption from quantity statement labeling requirements for wrapped clusters of bananas and allows the net weight to be determined at the time of sale (see wording below).  The FDA reported that the exemption was written specifically for wrapped clusters of bananas because, most likely, bananas were the only produce commodity commonly distributed under that method of packaging at the time the exemption was requested (around 1964).  The FDA indicated that the sale of other produce items in clear wrapping or bags is analogous to the sale of wrapped clusters of bananas; therefore, the exemption described in 21 CFR Part 100 also applies to other produce items, such as table grapes and broccoli crowns.

Consequently, for products traditionally sold by variable weight as bulk produce items, it is not required that these produce items, when single or multiple units are packaged or wrapped in clear film or bags, be marked with a net weight, unit price, and total price at the time the product is offered for retail sale.  The FDA interpretation allows the determination of net weight at the point of sale, provided a scale is available to weigh the commodity at the point of sale.  A disclaimer statement on the package stating, “To be weighed at or before time of sale” is required consumer notification.  In addition, the retail price per unit of weight is typically displayed to the consumer within a reasonable distance of the product display at the retail store.  The customer must be provided with the net weight, unit price, and the total price at the time of sale.

References:  The Food, Drug, and Cosmetic Act (FDC Act) 21 CFR Title 21, Part 101, Subpart G, Section 101.100 (h) provides an explicit statement applicable to the sale of bananas.  21 CFR, Part 101, Section 101.100 addresses exemptions from food labeling requirements (text provided below).  The exemption is from FDC Act Section 403(e)(2), which states that a food package shall be deemed to be misbranded if it does not bear a label containing an accurate statement of quantity of contents.

21 CFR Title 21, Part 101, Subpart G, Section 101.100 (h)(3) states:

“(i) Wrapped clusters (consumer units) of bananas of nonuniform weight intended to be unpacked from a master carton or container and weighed at or before the point of retail sale in an establishment other than that where originally packed shall be exempt from the requirements of Section 403(e)(2) of the Act during introduction and movement in interstate commerce and while held for sale prior to weighing:

Provided that

The master carton or container bears a label declaration of the total net weight; and the individual packages bear a conspicuous statement “To be weighed at or before the time of sale” and a correct statement setting forth the weight of the wrapper; using such term as “wrapper tare _ ounce”, the blank being filled in with the correct average weight of the wrapper used.

Provided further, that it is the practice of the retail establishment to weigh the individual packages either prior to or at the time of retail sale.

The act of delivering the wrapped clusters (consumer units) during the retail sale without an accurate net weight statement or alternatively without weighing at the time of sale shall be deemed an act which results in the product’s being misbranded while held for sale.  Nothing in this paragraph shall be construed as requiring net-weight statements for clusters (consumer units) delivered into institutional trade, provided that the master container or carton bears the required information.”

As discussed above, the FDA indicated that the sale of other produce items in clear wrappings or bags is analogous to the sale of wrapped clusters of bananas, and an exemption to quantity statement requirements applies to other produce items, such as table grapes and broccoli crowns.

The FDC Act provides an exemption from identity statements requirements under specified conditions:

Identity:  21 CFR Section 101.100 (b) (3) for non-meat and non-poultry foods specifically exempts packages from identity statement requirements if the identity of the commodity “can easily be identified through the wrapper or container.”

“A statement of identity is not required if the identity of the product can easily be identified through the wrapper or container.  This exemption does not apply to meat and poultry.”

NIST Handbook 130 Uniform Packaging and Labeling Regulation:

Presently, the NIST Handbook 130 Uniform Packaging and Labeling Regulation (UPLR) addresses responsibility statement requirements as applicable only to packages “kept, offered…or sold at…other than the premises where packed” and, furthermore, provides an exemption to quantity statements on packaged commodities intended to be weighed prior to or at time of sale:

Responsibility:  UPLR Section 5 states:

“Any package kept, offered or exposed for sale, or sold, at any place other than the premises where packed shall specify conspicuously on the label of the package the name and address of the manufacturer, packer or distributor.”

The responsibility statement requirement in UPLR Section 5 applies only to packages sold from other than the premises where packed.  Conversely, when offered, exposed, and/or sold from the premises where packed, the responsibility statement requirement does not apply.  When retailers remove wrapped clusters of produce from a shipping container, they often inspect the packages for quality and make adjustments such as removing damaged product before rewrapping and offering the packages for sale.  In doing so, these retailers are repackaging the produce and assuming responsibility for it.  In such circumstances, packages need not be labeled with a responsibility statement.

Quantity (Exemption for Random Weight Packages):  UPLR Section 11.26 states:

“Individual packaged commodities put up in variable weights and sizes for sale intact, and intended to be weighed and marked with the correct quantity statement prior to or at the time of retail sale, are exempt from a declaration of net quantity.”

Random weight packages that are to be weighed at the time of sale are not required to be labeled with a quantity statement.  This regulation does not address package closure and the exemption is not dependent on the package being open or closed.

Summary:

Variable weight produce commodities sold in clear bags or sheeting are exempt from specific package labeling requirements under specific conditions as follows:

- Exempt from identity statement requirement when the product identity can be readily determined through the packaging;

- Exempt from responsibility statement requirement when packaged or repackaged upon the premises where kept, offered, exposed for sale, or sold;

- Exempt from quantity statement requirement when all of the following applies:

  - Labeled with the statement, “To be weighed at or before the time of sale”

  - Labeled with a statement, “Wrapper tare _ ounce” or similar wording

  - The retailer has approved scale(s) in operation at the point of sale

  - The retailer weighs the commodity and provides net weight information at the time of sale.

Committee Action at the 2007 Interim Meeting:  The Committee withdrew this proposal because it believed offering produce for sale in clear plastic bags for which the net weight is determined at the time of sale (e.g., over a point-of-sale system) is an accepted method of sale.  It was the Committee’s view that this method of sale benefits consumers because, if tare is accurately deducted, they are more likely to receive net weight at time of sale because the loss of weight from prepackaged produce due to moisture loss will not be a factor.  The Committee believed that signage adjacent to the display can be used to provide identity, unit price and other information.  The Committee recognized that retailers will likely apply a small label to the package which will include a Price Look-Up or Bar Code to assist consumers and store personnel to identify and compute the total price for the product and did not believe the addition of this type of label prevented the package from being considered to be packaged in a “clear plastic bag.”  Similarly the Committee would not object to the packaging if it bore the statement “To be weighed at time of sale,” UPC label, or open dating information.  The Committee reminded retailers they are responsible for ensuring net weight is provided in this type of weighing transaction so accurate tare determination and deduction are required.

270-4	W	Amend Handbook 133, Chapter 4.7 Polyethylene Sheeting – Test Procedure

Proposal:  Amend Handbook 133, Chapter 4.7 Polyethylene Sheeting – Test Procedure

Amend asterisked footnote below Step 3 as follows:

*Determined by ASTM Standard D 1505-98 (or latest issue) “Standard Method of Test for Density of Plastics by the Density Gradient Technique.”  For the purpose of this handbook, when the actual density is not known, the minimum density used to calculate the target net weight shall be 0.92 g/cm³ when the actual density is not known.  For products labeled “High Density,” “HD,” or similar wording, the minimum density (D) used to calculate the target net weight shall be 0.95 g/cm³.

Background:  Some manufacturers of polyethylene bags labeled as “High Density” or “HD” have been found to package and label products whose labeled net weights met calculated target net mass/weights when employing a factor of 0.92 g/cm³.  When a density factor of 0.95 g/cm³ was used, as appropriate, in the calculation for high-density polyethylene materials, products commonly failed to meet the calculated target net mass/weight.  Further inspection typically revealed that one or more of the labeled width, thickness, or count statements were inaccurate.

Some manufacturers appeared aware that weights and measures officials were restricted to testing high-density film using the 0.92 g/cm³ value because the actual density value was not stated on the product label and the existing procedural guidelines did not address high-density polyethylene materials.  When testing at manufacturing locations, weights and measures officials were able to obtain information regarding the density of the product from the manufacturer.  However, at distributor locations, density information was not available and officials tested using the 0.92 g/cm³ designated in Handbooks 130 and 133.

Conversations with manufacturers and review of technical data sheets from various manufacturers indicated that 0.95 g/cm³ was an acceptable minimum density value for HD labeled polyethylene film.

Discussion:  The WWMA L&R Committee received only a few comments on this item and therefore recommended forwarding the item to the NCWM L&R Committee to be placed on its agenda.

Recommendation:  Amend Handbook 133, Chapter 4.7 Polyethylene Sheeting – Test Procedure as follows:

*Determined by ASTM Standard D 1505-98 (or latest issue) “Standard Method of Test for Density of Plastics by the Density Gradient Technique.”  For the purpose of this handbook, when the actual density (D) is not known, the minimum density used to calculate the target net weight shall be 0.92 g/cm³ when the actual density is not known.  For products labeled “High Density,” “HD,” or similar wording, when D is not known, the minimum density (D) used to calculate the target net weight shall be 0.95 g/cm³.  When the polyethylene commodity package is labeled with a specific density, the labeled density factor shall be used to calculate the target net weight.  If the official determines that the labeled density information is not accurate, the minimum density factors above shall be used to calculate the target net weight.

Committee Action at the 2007 Interim Meeting:  The Committee withdrew this proposal because industry representatives supporting the proposal did not agree on the density used by most manufacturers to produce products typically labeled “high-density polyethylene.”  (E.g., a state association of film extruders and converters wrote that a density of 0.96 gm/cm3 or higher was generally accepted as the “industry” standard for “high density” sheeting while a letter from a company in that state indicated that resins having densities between 0.946 gm/cm3 to 0.948 gm/cm3 would also be considered to fall under that designation.)  The Committee believes that, lacking evidence of a serious national problem with polyethylene labeling, a proposal to establish a national standard for a product identity should have the support of a large number of manufacturers across the nation.

270-5	I	Amend Section 2.2.1. in Handbook 130 Uniform Engine Fuels Regulation – Premium Diesel Lubricity

Source:  Southern Weights and Measures Association (SWMA)

Proposal:  Amend Section 2.2.1. in Handbook 130 Uniform Engine Fuels, Petroleum Products, and Automotive Lubricants Regulation as follows:

2.2.1.	Premium Diesel Fuel. – All diesel fuels identified on retail dispensers, bills of lading, invoices, shipping papers, or other documentation with terms such a premium, super, supreme, plus, or premier must conform to the following requirements:

(a)	Cetane Number. – A minimum cetane number of 47.0 as determined by ASTM Standard Test Method D 613.

(b)	Low Temperature Operability. – A cold flow performance measurement which meets the ASTM D 975 tenth percentile minimum ambient air temperature charts and maps by either ASTM Standard Test Method D 2500 (Cloud Point) or ASTM Standard Test Method D 4539 (Low Temperature Flow Test, LTFT).  Low temperature operability is only applicable October 1 - March 31 of each year.

(c)	Thermal Stability. – A minimum reflectance measurement of 80 % as determined by ASTM Standard Test Method D 6468 (180 min, 150 C).

(d)	Lubricity. – A maximum wear scar diameter of 520 µm as determined by ASTM D 6079.  If an enforcement jurisdiction’s single test of more than 560 µm is determined, a second test shall be conducted.  If the average of the two tests is more than 560 µm, the sample does not conform to the requirements of this part.

Background:  A member of the petroleum industry believed the test and associated tolerances for lubricity on premium diesel specified in Section 2.2.1.(d) were inconsistent with that for regular diesel.  Effective January 1, 2005, the test tolerance for regular diesel lubricity was the ASTM D 6079 reproducibility of 136 m (see ASTM D 975-04b).  The NCWM chose to accept the ASTM reproducibility limits for all diesel (D 975) and gasoline (D 4814) properties (see Section 7.2.2., Reproducibility), but chose a different reproducibility limit for premium diesel lubricity without providing any explanation as to why the ASTM reproducibility limit was insufficient.  If the NCWM intended to impose a stricter lubricity requirement for premium diesel, it should have designated a tighter specification for this property, not a different test tolerance (e.g., for regular and premium gasoline, premium has a different octane specification than for regular, but the test tolerance is the same).  ASTM reproducibility limits were, by definition, based on establishing a 95 % probability that product that should pass, will pass.  Applying an average test as specified in Section 2.2.1.(d) reduced that probability to 80 %.

The Committee received comments from several members of the Premium Diesel Work Group (WG) who did not support the item as presented by the petroleum industry member.  WG members believed the process that led to the current definition was very thorough and complete and the premium diesel lubricity requirements were established with a full understanding of their implications.  The WG members felt that knowledgeable individuals provided input to the process, which lead to the consensus position contained in the current regulation.  The work being done by the WG was reported at meetings of ASTM Subcommittee E-2 every six months.  The current regulation has been endorsed by the American Petroleum Institute, the Engine Manufacturer's Association, and the NCWM.

Prior to this requirement being adopted, the ASTM Lubricity Task Force conducted a great deal of research on this topic.  Based on their research, the ASTM Lubricity Task Force concluded that a limit of 520 µm would meet the requirements of equipment in the field.  Since the passage of this model regulation, ASTM included a lubricity requirement for No. 1 and No. 2 diesel fuel effective January 1, 2005.  The ASTM requirement is also 520 µm.

WG members reported that when this regulation was written, fuels with adequate lubricity provided a functional benefit to the end user.  The WG agreed with the ASTM Lubricity Task Force that 520 µm was the correct limit to set for premium diesel.  However, the WG’s review process also indicated increased pump wear for fuels with High-Frequency Reciprocating Rig (HFRR) values greater than 560 µm.  The current reproducibility value of the HFRR test method would have placed enforcement well beyond the 560 µm level, essentially allowing fuels with little lubricity protection to be sold as “Premium.”  The WG believed they could not recommend a premium fuel standard that would permit excessive pump wear.  Using the statistical tools provided in ASTM D 3244, the WG evaluated an enforcement limit of 560 µm.  The statistical tools indicated that a single laboratory reporting the assigned test value would have an enforcement limit of approximately 80 % probability of acceptance, while the average of two separate laboratories reporting the assigned test value would have an enforcement limit of approximately 90 % probability of acceptance.  It was agreed that for a premium fuel the average of two test results was the best approach given the current test methods and precision available.  Therefore, if a test exceeded 560 µm, then a second test must be run.  The average of the two tests must exceed 560 µm before a violation would occur.  At the 2005 WWMA the Petroleum Subcommittee agreed the proposal was at that time the best approach, and, lacking new information, it continues to hold that position.

Discussion:  At the WWMA 2006 Annual Meeting, the WWMA L&R Committee received only one comment regarding this item, acknowledging the ongoing review by the Petroleum Subcommittee.  The WWMA noted that the NCWM L&R Committee forwarded the proposal for review by the Petroleum Subcommittee and agreed this item should remain Developmental pending the Subcommittee’s recommendation.

At its 2006 Interim Meeting, the CWMA indicated the NCWM Petroleum Subcommittee would make recommendations after ASTM improved the test method's precision and after the conclusion of other tests.  The CWMA L&R Committee was awaiting the recommendation from the NCWM Petroleum Subcommittee.

Committee Action at the 2007 Interim Meeting:  The Committee carried this item over as an Information item.  The Committee sent this proposal to the Petroleum Subcommittee and requested its recommendation on how to proceed with the issue.  The Subcommittee suggested this item remain on the agenda as an Information item until further notice and reported that the activities of ASTM International and the Coordinating Research Council were continuing.

Contact:  NCWM Petroleum Subcommittee, Ron Hayes, Chairman, (573) 751-2922 or ron.hayes@mda.mo.gov for additional information.

270-6	I	Amend Handbook 130 Interpretations and Guidelines Section 2.3.2. Guidelines for the Method of Sale of Fresh Fruits and Vegetables

Source:  Northeast Weights and Measures Association (NEWMA)

Proposal:  Amend Handbook 130 Interpretations and Guidelines Section 2.3.2. to recognize and support innovation in modern retail food marketing approaches at all forms of outlets from typical grocery stores to the age-old farm markets.

Discussion:  The method of sale guidelines for the sale of fresh fruits and vegetables that currently appear in Handbook 130 are outdated and in need of revision.  The present guidelines do not recognize current retailing practices and are not expansive enough to cover many exotic and unusual fruits and vegetables that are becoming more common in the marketplace.  Additionally, the present guidelines do not take into consideration the necessary limitations experienced by retailers at roadside stands and farmers markets.

The original proposal for this item reflected input from only a single jurisdiction.  The Committee was informed that several industry associations requested an opportunity to review and respond to this proposal.  The Committee believed there were several factual errors within the classifications of produce provided, and several types of produce still were not covered by the provided proposal.  The Committee made this item Developmental so it may be more fully developed with input from jurisdictions throughout the country and from affected industry associations and businesses.

Discussion:  At its 2006 Interim Meeting, the CWMA heard a comment that this item should be moved to Informational for a year.  The body of the guidelines should be circulated within the CWMA before becoming a Voting item.  The WWMA L&R Committee received no comments regarding this item.  The committee chairman encouraged all to provide input on this item to the NCWM L&R Committee.

Contact Ross Andersen (NY Bureau of Weights and Measures) at (518) 457-3146 or e-mail at ross.andersen@agmkt.state.ny.us to submit comments or for further information.

2.3.2.  Fresh Fruits and Vegetables

(Added 1979, Amended 1980, 1982, and 200X)

This guideline applies to all sales of fruits and vegetables.  There are two tables, one for specific commodities and one for general commodity groups.  Search the specific list first to find those commodities that either don't fit into any of the general groups or have unique methods of sale.  If the item is not listed, find the general group in the second table.  The item may be sold by any method of sale marked with an X.

| Specific Commodity | Weight | Count | Head or Bunch | Dry Measure (any size) | Dry Measure (1 dry qt or larger) |
| --- | --- | --- | --- | --- | --- |
| Artichokes | X | X |  |  |  |
| Asparagus | X |  | X |  |  |
| Avocadoes |  | X |  |  |  |
| Bananas | X | X |  |  |  |
| Beans (green, yellow, etc.) | X |  |  |  | X |
| Brussels Sprouts (loose) | X |  |  |  |  |
| Brussels Sprouts (on stalk) |  |  | X |  |  |
| Cherries | X |  |  | X | X |
| Coconuts | X | X |  |  |  |
| Corn on the Cob |  | X |  |  | X |
| Dates | X |  |  |  |  |
| Eggplant | X | X |  |  |  |
| Figs | X |  |  |  |  |
| Grapes | X |  |  |  |  |
| Melons (cut in pieces) | X |  |  |  |  |
| Mushrooms (small) | X |  |  | X | X |
| Mushrooms (Portobello, large) | X | X |  |  |  |
| Okra | X |  |  |  |  |
| Peas | X |  |  |  | X |
| Peppers (bell and other varieties) | X | X |  |  | X |
| Pineapples | X | X |  |  |  |
| Rhubarb | X |  | X |  |  |
| Tomatoes (except cherry) | X | X |  |  | X |

| General Commodity Group | Weight | Count | Head or Bunch | Dry Measure (any size) | Dry Measure (1 dry qt or larger) |
| --- | --- | --- | --- | --- | --- |
| Berries and Cherry Tomatoes | X |  |  | X |  |
| Citrus Fruits (oranges, grapefruits, lemons, etc.) | X | X |  |  | X |
| Edible Bulbs (onions, garlic, leeks, etc.) | X | X | X |  | X |
| Edible Tubers (Irish potatoes, sweet potatoes, ginger, horseradish, etc.) | X |  |  |  | X |
| Flower Vegetables (broccoli, cauliflower, Brussels sprouts, etc.) | X |  | X |  |  |
| Gourd Vegetables (cucumbers, squash, melons, etc.) | X | X |  |  | X |
| Leaf Vegetables (lettuce, cabbage, celery, etc.) | X |  | X |  |  |
| Leaf Vegetables (parsley, herbs, loose greens) | X |  | X | X |  |
| Pitted Fruits (peaches, plums, prunes, etc.) | X | X |  |  | X |
| Pome Fruits (apples, pears, mangoes, etc.) | X | X |  |  | X |
| Root Vegetables (turnips, carrots, radishes, etc.) | X |  | X |  |  |

Committee Action at the 2007 Interim and Annual Meetings:  The Committee carried this item over as Informational and will reconsider it when it receives comments from the regional associations, retailers and other industries affected by the proposed amendments.  The Committee also realized the proposed replacement table had been omitted from this item.  That oversight has been corrected in this report (see next page).

At the Annual Meeting, concerns were raised that permitting quart sales of some fruits and vegetables would not be useful or practical and the Committee should reconsider that provision of the table.

Comparison of Current and Proposed Tables

The following comparison was prepared for the NCWM Laws and Regulations Committee at the request of the Central Weights and Measures Association.  It compares the current Guideline for the Method of Sale of Fresh Fruits and Vegetables in Section 2.3.2. of the Interpretations and Guidelines Section of NIST Handbook 130 with the changes proposed in Item 270-6.  A table which lists the commodities included in the current Guideline but which do not appear in the Specific or General Tables is also provided.

Comparison Tables

Key to Tables:

Green rows (dark gray) indicate there is NO change between the current and proposed guideline (i.e., see the rows for Artichokes in the Comparision Table).

Yellow rows (light gray) indicate there is a change between the current and proposed guideline (i.e., see “Dry Measure (1 dry qt or larger) in the header row of the Comparison Table and the cell under the header for count in the row for “Bananas.”)

Explanations of the differences or questions to be resolved are provided in the numbered footnotes which are located at the bottom of the table.

| Specific Commodity | Weight | Count | Head or Bunch | Dry Measure (any size) | Dry Measure (1 dry qt or larger)1 |
| --- | --- | --- | --- | --- | --- |
| Artichokes | X | X |  |  |  |
| Asparagus | X |  | X |  |  |
| Avocadoes |  | X |  |  |  |
| Bananas2 | X | X2 |  |  |  |
| Beans (green, yellow, etc.) | X |  |  |  | X |
| Brussels Sprouts (loose)3 | X3 |  |  |  |  |
| Brussels Sprouts (on stalk)4 |  |  | X4 |  |  |
| Cherries5,6 | X |  |  | X6 | X6 |
| Coconuts | X | X |  |  |  |
| Corn on the Cob |  | X |  |  | X |
| Dates | X |  |  |  |  |
| Eggplant | X | X |  |  |  |
| Figs | X |  |  |  |  |
| Grapes | X |  |  |  |  |
| Melons (cut in pieces) | X |  |  |  |  |
| Mushrooms (small)6,7 | X |  |  | X6 | X6 |
| Mushrooms (Portobello, large)7 | X | X7 |  |  |  |
| Okra | X |  |  |  |  |
| Peas8 | X |  |  |  | X8 |
| Peppers (bell and other varieties)9 | X | X |  |  | X9 |
| Pineapples | X | X |  |  |  |
| Rhubarb10 | X |  | X10 |  |  |
| Tomatoes (except cherry)11 | X | X11 |  |  | X |
| This amendment changes the minimum dry measure from 1 peck to 1 dry quart. The equivalents are: one peck = 16 dry pints, 8 dry quarts, ¼ bushel, or 8.810 L. 2 The current guideline forbids sales of bananas by count (only by weight). However, the NCWM permits individual bananas to be sold under the Ready-to-Eat Food exception in Section 1.12. in the Method of Sale of Commodities Regulation. 3 The current guideline addresses Brussels sprouts and does not include the “loose” distinction. 4 This is a new MOS for Brussels sprouts on “stalks” so there is nothing in the current method of sale to compare this with except that the current provision requires Brussels sprouts to be sold by weight. 5 The reference to Section 4.46. Berry Baskets and Boxes Code in NIST Handbook 44 has been deleted. 6 If a dry measure of “any size” is ok in Column 3, is an X correct in the 4th Column which limits sales to 1 dry quart or larger? 7 This proposal distinguishes mushrooms by size between “small” and “large (Portobello)” and introduces the method of sale by count for “large” mushrooms which is not permitted in the current guideline (only by weight or measure). 8 The current guideline does not allow sales of peas by “dry measure” (only by weight). 9 The current guideline does not allow sales peppers by “dry measure” (only by weight or count). 10 The current guideline does not allow sales of rhubarb by “head or bunch” (only by weight). 11 The current guideline does not allow sales of tomatoes by “count” (only by weight and dry measure). |  |  |  |  |  |

| General Commodity Group26 | Weight | Count | Head or Bunch | Dry Measure (any size) | Dry Measure (1 dry qt or larger) |
| --- | --- | --- | --- | --- | --- |
| Berries1 and Cherry Tomatoes | X |  |  | X |  |
| Citrus Fruits (oranges2, grapefruits3, lemons4, etc.) | X | X |  |  | X2,3,4 |
| Edible Bulbs (onions5,6, garlic7, leeks8, etc.) | X | X7 | X7 |  | X5,6,8 |
| Edible Tubers (Irish potatoes9, sweet potatoes10, ginger11, horseradish12, etc.) | X |  |  |  | X9,10 |
| Flower Vegetables (broccoli, cauliflower, Brussels sprouts13, etc.) | X |  | X |  |  |
| Gourd Vegetables (cucumbers14, squash15, melons16, etc.) | X | X |  |  | X15 |
| Leaf Vegetables (lettuce, cabbage17, celery18, etc.) | X |  | X17,18 |  |  |
| Leaf Vegetables (parsley19, herbs20, loose greens21) | X |  | X21 | X19,21 |  |
| Pitted Fruits (peaches, plums22, prunes23, etc.) | X | X22 |  |  | X22 |
| Pome Fruits (apples, pears, mangoes24, etc.) | X | X |  |  | X24 |
| Root Vegetables (turnips, carrots, radishes25, etc.) | X |  | X25 |  |  |
| The reference to Section 4.46. Berry Baskets and Boxes Code in NIST Handbook 44 has been deleted. 2 The current guideline does not allow sales of oranges by “dry measure” (only by weight or count). 3 The current guideline does not allow sales of grapefruit by “dry measure” (only by weight or count). 4 The current guideline does not allow sales of lemons by “dry measure” (only by weight or count). 5 The current guideline does not allow sales of onions by “dry measure” (see 6). 6 The current guideline allows sales by weight or bunch for “spring or green” onions and sales by “weight” for dry onions. 7 The current guideline does not permit sales of garlic by “dry measure” (only by weight or count). 8 The current guideline does not allow sales of leeks by “count” or “dry measure” (only by weight). 9 The current guideline does not allow sales of Irish potatoes by “dry measure” (only by weight). 10 The current guideline does not allow sales of sweet potatoes by “dry measure” (only by weight). 11 The current guideline does not include ginger. 12 The current guideline does not include horseradish. 13 Brussels sprouts are also in the Specific Commodity Table as “loose” and “on stalk.” 14 The current guideline does not allow sales of cucumbers by “dry measure” (only by weight or count). 15 The current guideline does not include squash. 16 The current guideline does not allow sales of melons by “dry measure” (only weight or count). 17 The current guideline does not allow sales by cabbage by “count” (only by weight). 18 The current guideline allows sales of celery by weight or count so perhaps the Committee should decide whether or not “head or bunch” or “count” is the most appropriate descriptor. 19 The current guideline does not allow sales of parsley by “dry measure” (only weight or bunch). 20 The current guideline does not include herbs. 21 The current guideline does not allow sales of “Greens (all)” by count or dry measure (only by weight). 22 The current guideline does not allow sales of plums by count (only by weight or dry measure). 23 The current guideline does not allow sales of prunes by count or dry measure (only by weight). 24 The current guideline does not allow sales of mangoes by dry measure (only by weight or count). 25 The current guideline does not allow sales of radishes by “head or count” (only by weight). 26 While many of these items may fall under the general categories listed above, it may improve uniformity and simplify the use of the table if all of the commodities were placed in a general category instead of the table, saying for instance, “Edible Tubers, etc.” |  |  |  |  |  |

| This table lists the commodities that are in the current method of sale guidelines but which are not specifically identified in the proposed tables.* |  |
| --- | --- |
| Commodity | Method of Sale |
| Apricots | Weight |
| Beets | Weight or Bunch |
| Cantaloupes | Weight or Count |
| Cranberries | Weight or Measure |
| Currants | Weight or Measure |
| Eggplant | Weight or Count |
| Escarole | Weight or Bunch |
| Kale | Weight |
| Kohlrabi | Weight |
| Limes | Weight or Count |
| Nectarines | Weight or Count |
| Papaya | Weight or Count |
| Parsnips | Weight |
| Persimmons | Weight or Count |
| Pomegranates | Weight or Count |
| Rutabagas | Weight |
| Spinach | Weight or Bunch |
| Tangerines | Weight or Count |
| *While many of these items may fall under the general categories listed above it may be improve uniformity and simplify the use of the table if all of these commodities are placed in a general category instead of the table saying, for instance, “Edible Tubers, etc.” |  |

The Committee requested this item be considered at upcoming regional meetings and that comments are submitted by November 1, 2007, for inclusion and review at the Interim Meeting in January 2008.

270-7	D	Amend Handbook 133 Section 2.3, Moisture Allowances to Provide Clearer Guidance

This item was added to the agenda of the Committee’s Work Group (WG) on Moisture Loss (see Appendix A) following the 2007 NCWM Interim Meeting.  Also see Item 270-8 for an explanation of the WG’s role and responsibilities.

270-8	D	Laws and Regulations Committee Work Group (WG) on Moisture Loss

At the 2007 NCWM Interim Meeting, the Committee created a WG to undertake a review of a number of moisture loss and other issues relating to NIST Handbook 133 “Checking the Net Contents of Packaged Goods.”  NIST recommended the NCWM L&R Committee retain responsibility for this project instead of creating a task force because that would entail additional travel and meeting expenses for all parties.  The Board of Directors and the Committee agreed with that proposal because a large portion of this project can be accomplished using e-mail and teleconferences to reduce costs.  The Committee also noted the number of items on the Committee’s agenda has declined so it has time available during its work sessions at the Interim and Annual Meetings to address this project.  If additional meetings are needed, they will be scheduled to coincide with the regional meetings to reduce travel and other costs.  Another justification for this approach was that it allowed regional representatives on the Committee to develop a greater understanding of moisture loss and enabled them to better explain the subject matter to their constituents.

Participation in this effort is open to everyone.  The first meeting took place on Sunday, July 8, 2007, following the Committee’s regular work session at the NCWM Annual Meeting at the Snow Bird Resort near Salt Lake City, Utah.  The first major subject of discussion was the determination of tare using gel-soaker pads.  The participants agreed that information on the appropriate test procedures for using gel soaker pads should be distributed to weights and measures officials and industry following the NCWM Annual Meeting, and NIST agreed to publish an article in the upcoming edition of WMD’s Newsletter.  A discussion of that issue is contained in Item 1 of Appendix A attached to this report.  The group developed a formal work plan and addressed additional items listed in Appendix A as time allowed.

To obtain more information on Moisture Loss or to participate in this group, contact Tom Coleman at (301) 975-4004 or by e-mail at t.coleman@nist.gov.

270-9	D	Petroleum Subcommittee

The Petroleum Subcommittee met on January 24, 2007, at the NCWM Interim Meeting in Jacksonville, Florida, to undertake a review of a number of significant issues related to fuel standards.  Their first major project was to undertake a major review and update of the Uniform Engine Fuels, Petroleum Products, and Automotive Lubricants Regulation in Handbook 130.  The goal of the Subcommittee was to prepare and submit a major revision of this regulation for consideration by the Committee at the 2008 Interim Meeting.  The Subcommittee also conducted a review of the Engine Fuels, Petroleum Products, and Automotive Lubricants Law and will prepare suggested changes for that uniform law as well.  Another project will be to update and possibly expand the Basic Engine Fuels, Petroleum Products, and Lubricants Laboratory Publication which will then be made available on the Internet.  The Subcommittee will undertake other projects as time and resources permit.

The Petroleum Subcommittee also met at the Annual Meeting and continued its work on a number of items in addition to preparing a major revision of the Fuel Ethanol Labeling requirement in Item 232-2.

The Chairman of the Petroleum Subcommittee is Ron Hayes, Missouri, who can be contacted at (573) 751-2922 or at ron.hayes@mda.mo.gov.  If you would like to participate in the Petroleum Subcommittee, contact Ron Hayes or Ken Butcher, NIST L&R technical advisor, at (301) 975-4859 or by e-mail at kbutcher@nist.gov.

James P. Cassidy, Jr., Chairman, Cambridge, Massachusetts

Vicky Dempsey, Montgomery County, Ohio

Roger Macey, California

Stephen Benjamin, North Carolina

Joe Benavides, Texas

Ron Hayes, Missouri, Chairman of the Petroleum Subcommittee

Pete O’Bryan, Foster Farms, Associate Member Representative

Doug Hutchinson, Canada, Technical Advisor

Tom Coleman, NIST, Technical Advisor

Ken Butcher, NIST, Technical Advisor

Lisa Warfield, NIST, Technical Advisor

Laws and Regulations Committee

THIS PAGE INTENTIONALLY LEFT BLANK.

Appendix A

L&R Committee Work Group on Moisture Loss

Table A

Table of Contents and Agenda

- Introduction	A2

Item 1.	Gel Soaker Pads	A2

Item 2.	Moisture Loss Guidance in NIST Handbook 133	A3

Item 3.	WMD Package Inspection and Moisture Loss Guidance Letter – Withdrawn	A9

Item 4.	WMD Suggestions	A9

a.	Seek Greater Recognition of NIST Handbook 133 by FDA and other Federal Agencies.	A9

b.	Create a new supplement or website to NIST Handbook 133 which would provide useful information to administrators, field officials and industry.	A9

Reference Section I – Excerpts From The Interpretations And Guidelines Section Of Nist Handbook 130	A12

Reference Section II – Other Moisture Loss Guidance And Related Documents	A21

A.	Text from the WMD Memorandum that was issued on January 1, 2006	A21

B.	Letter from Kraft Foods Requesting that NIST Withdraw Letter on Moisture Loss*	A28

C.	Chapter 3 from the 3rd Edition of NIST Handbook 133 and 4th Supplement 1994*	A28

*NOTE:  The following documents could not be included in this publication because they are only available in Adobe PDF format; NIST will provide copies on request.  Please contact Tom Coleman at (301) 975-4004 or by e-mail at t.coleman@nist.gov.

Detail of all Items

(In order by Reference Key Number)

Moisture Loss and Other Issues for Consideration by the NCWM Laws and Regulations Committee and the Board of Directors

###### Introduction

The Weights and Measures Division (WMD) prepared this document at the request of Mike Cleary, Chairman of the NCWM, to detail several moisture loss and other package inspection issues to be studied under this project with the goal of developing recommendations for amendments to NIST Handbook 133 (HB 133) in 2008.  There are four items listed below and most of the resource material is included to enable this document to serve as an agenda and comprehensive resource.

WMD provided this outline for consideration by the NCWM L&R Committee, the Board of Directors and other interested parties with the goal of developing a consensus on whether or not there was sufficient justification to study the issues described below.

Item 1.	Gel Soaker Pads

Several weights and measures officials are concerned that HB 133 does not provide adequate guidance on how to verify the net weight declaration on packages where “gel soaker pads” are used in the package to absorb moisture.

Based on information that WMD has received, this discussion paper is provided as a technical examination of the use of “gel type” soaker pads when determining net weight.  Gel soaker pads contain granules of a highly absorbent compound that soak up fluid and retain it so efficiently that the “usual” methods of drying (pressure, wiping and air) do not allow the recreation of “Used Dry Tare.”  According to two manufacturers, “gel-based soaker pads” can absorb up to 50 times their original weights in fluid compared to “cellulose-based fluff pulp” which absorb only two to four times its weight (see www.thermasorb.com and www.stockhausen-inc.com).  Gel-type soaker pads are used by industry to:  (1) extend shelf life thus reducing repackaging costs, (2) reduce bacterial growth, and (3) improve the “presentation of packages” by absorbing blood and fluid, eliminating free flowing liquid in the package.

Inspection problems with this type of tare arise when officials attempt to verify net weight declarations on packages which have been wrapped and labeled at a location other than where the commodity is inspected/tested since officials have no access to “unused dry tare.”  Some officials report that it is impossible to dry these types of soaker pads using traditional drying procedures and have even attempted to use microwave ovens to establish “used dry tare.”  WMD discourages the use of microwave ovens or other extreme drying methods for drying tare materials because (1) unused “dry” tare materials have a natural moisture content which cannot be reestablished using most heating methods (e.g., for gel-pads this could be 5 % or more); (2) the intensity/power of microwave ovens varies substantially from device to device so, given the range of variability, it would be impossible to suggest a power setting or heating time that could be considered reasonable, repeatable, and safe; and (3) a more practical concern is that an official could overheat tare material and damage the microwave or cause even more serious problems such as the possibility of fire.

WMD solicits recommendations and comments from all concerned who have interest in this topic.  Please consider possible solutions to allow accurate measurement practices that permit officials to safely recreate “used dry tare” for net weight verification on products using “gel-type” material.

WMD believes the requirements of HB 133 are written broadly enough to apply to all types of tare materials including those which are “gel based.”  Under the definition of “Used Dry Tare” officials use air drying, washing, scraping, pressure, or other techniques which can involve more than normal household procedures but do not go so far as to include laboratory procedures such as oven drying.  The field test procedures in HB 133 were developed to provide uniform procedures to enable officials to dry out “used” tare to recreate as close as possible the weight of “unused tare material” that the packager used.  When a packager uses a tare material that does not permit the recreation of unused dry tare (and the official does not have access to “unused dry tare” material or to readily accessible reliable information on tare), the official is limited to drying at least two samples of the tare material as best he can using the procedures described by the handbook; he then can use an average tare to determine a net weight.  If the packages are then found to be underweight, the packer must be permitted to provide information on whether or not the average tare value used by the official was reasonable or provide other information to the official to defend the net weight claims on the label.  Since this is really the same opportunity any packer of any type of tare material has available to him, WMD believes the current guidance in HB 133 is adequate.

A test procedure in HB 133 is necessary to ensure weights and measures can continue to maintain marketplace surveillance to ensure equity and fair competition while still recognizing reasonable moisture loss or gain as required under both federal and state laws and regulations.  The relevant sections describing the tare definition and determination procedures from 4th edition of HB 133 (2005) are shown below:

Used Dry Tare

Used Dry Tare is defined as follows:  Used tare material that has been air dried, or dried in some manner to simulate the unused tare weight.  It includes all packaging materials that can be separated from the packaged product, either readily (e.g., by shaking) or by washing, scraping, ambient air drying, or other techniques involving more than “normal” household recovery procedures, but not including laboratory procedures like oven drying.  Labels, wire closures, staples, prizes, decorations, and such are considered tare.  Used Dry Tare is available regardless of where the packages are tested.  The net content procedures described in this handbook reference Used Dry Tare.

How is a tare weight determined?

Except in the instance of applying unused dry tare, select the packages for the initial tare sample from the sample packages.  Mark the first two (three or five) packages in the order the random numbers were selected; these packages provide the initial tare sample.  Determine the gross weight of each package and record it in block a, “Gross Wt,” under the headings “Pkg. 1,” “Pkg. 2,”  “Pkg. 3,” etc. on the report form.  Except for aerosol or other pressurized packages, open the sample packages, empty, clean, and dry them as appropriate for the packaging material.

NIST Handbook 133 is available online at http://ts.nist.gov/WeightsAndMeasures/h1334-05.cfm.

Item 2.	Moisture Loss Guidance in NIST Handbook 133

The three items shown below were taken from the L&R Report of the 2004 89th NCWM Annual Meeting Proceedings and later agendas including an item from the Committee’s 2007 Interim Meeting agenda.  The Committee withdrew two of these items in 2004 and asked NIST to review the moisture loss sections of HB 133, revise them to improve their readability, and, where appropriate, add additional information or clarifications.

NIST conducted the promised review but found there were several suggestions contained in these two items.  A few of the suggestions raised substantive questions about what needs to be added to HB 133 and which questions would be the most useful or practical for field officials.  NIST believes that responding to some of the suggestions or questions could lead to extensive revisions to the handbook.  This level of discussion will take considerable time and effort for the Committee, and WMD would like to ensure everyone has a full understanding of the concerns and agrees to the necessity for change so time and resources will not be wasted.  The Committee should review these sections and identify what information administrators need versus what information field officials need to perform their duties.

260-2	W	Amend Section 1.2, Package Requirements

(This item was withdrawn.)

Source:  Northeastern Weights and Measures Association (NEWMA).  (See Item 250-3 on page L&R-18 in the Report of the 88th NCWM Annual Meeting in 2003.)

Recommendation:  The Committee reviewed the following proposal to amend the section “Why do we allow for moisture loss or gain?” in Handbook 133, Section 1.2, Package Requirements (page 4) as follows:

Why do we allow for moisture loss or gain?

Some packaged products may lose or gain moisture and, therefore, lose or gain weight or volumes e after packaging.  The amount of lost moisture depends upon the nature of the product, the packaging material, the length of time it is in distribution, environmental conditions, and other factors.  Moisture loss may occur even when manufacturers follow good distribution practices.  Loss of weight “due to exposure” may include solvent evaporation, not just loss of water.  Note that allowances for loss or gain of moisture only apply to packages of commodities where the moisture has no value to the consumer (See Jones vs. Rath).

For loss or gain of moisture, you apply the moisture allowances to the maximum allowable variations permitted for individual packages and to the average net quantity of contents before determining the conformance of a lot.  You may apply the allowance before measuring the package errors or after.  When applying the allowance before the measurements, you essentially correct each package back to theoretical weight at time of pack (see Figure 1 at right).  When applying the allowance after measuring the package errors, you correct the MAV and SEL to recognize the moisture loss as in Figure 2 at right.  You can find specific directions for applying the allowances in tests in Section 2.3.

This handbook provides “moisture allowances” for some meat and poultry products, flour, and dry pet food (see “Moisture Allowances” in Chapter 2).  These allowances are based on the premise that when the average net weight of a sample is found to be less than the labeled weight, but not by an amount that exceeds the allowable limit, either the lot is declared to be within the moisture allowance or more information must be collected before deciding lot compliance or noncompliance.

Background:  The original proponent of this item provided the following written issues and justification.  These apply to both this item and the next item (260-3:  Amend Section 2.3 Basic Test Procedure):

What products are covered by the requirement to recognize loss/gain of moisture in distribution?  The reference to the Rath vs. Jones case in Chapter 1 attempts to find an answer.  NEWMA believed this may be premature and should be removed from the item for the short term to help develop a solution.  However, this is a battle that will have to be fought some time in the future since regulators get claims of moisture loss from diverse packers as an excuse for packages that fail to have labeled net weight.  The claims have ranged from windshield washer fluid in plastic jugs to canned tomato sauce.  Where can the official turn to get an answer if not to this handbook?  NEWMA would like guidance.

When do you apply the moisture allowance in the test process?  Within the handbook itself, the method is either not clear or some of the text is wrong.  In Chapter 1 the text indicates that you must apply the allowance before the test (i.e., adjusting by using Box 13a and thus lowering the NGW in Box 14).  In Chapter 2, the text appears otherwise.  You are directed to add the moisture allowance to the MAV on page 18.  You are further directed to compare the difference between sample average and SEL to the moisture allowance on page 19.  Both of these instructions can only make sense if the value in Box 13a was not included in the nominal gross weight calculation in Box 14.  At the very least these sections fail to provide clear guidance.  The proposal attempts to clarify that you can make the correction either before or after measuring the package errors and attempts to provide procedures to do that in each case.  Before works great for products with established moisture allowances, but it is not possible to apply a correction before the test when dealing with other products.  For these other products, you must do additional investigation to determine the magnitude of the loss and you must apply it after the field official completed the testing.  It may also be beneficial to do the adjustment afterwards for products with established moisture loss allowances.  Since both before and after methods can provide equivalent results, they should both be recognized in the handbook.  The proposal does this in changes for both Chapters 1 and 2.

Shouldn’t all the established moisture allowances be listed in one place rather than being listed as separate items?  The proposal changes the question from how you apply the allowance for a specific product to what products have established allowances.  This brings these all together in one section that is easily found by an inspector.

How do you establish moisture allowances for products not in the list in 3 above?  The handbook provides no guidance whatsoever!  In the last line at the bottom of page 17, the text directs the inspector to follow steps if the product is listed, but says nothing about the products not listed in the handbook.  This is a huge omission that has many officials wondering what to do.  The result is that some packers bluff by playing the moisture loss card even when not entitled to a loss (e.g., canned goods) and many officials back away from these products for lack of direction.  The proposal included the provision for comparing time-of-pack data with actual field data for moisture content that was in the 3rd edition.  It also would permit using data from a scientific study provided by the manufacturer in support of any claim of moisture loss.

Why do we have a different method of evaluating the test results for products with moisture loss than for other products?  The basic procedure for evaluating test results calls for evaluating the individual packages against the MAV and evaluating the sample average against the SEL.  On page 19 that procedure is no longer used and you have to look at a difference between the sample average and the SEL and not compare it to the moisture allowance.  Recently the method of calculating the Rc for tare variability changed to avoid having different methods for different types of packages.  Consistency helps inspectors apply the standard uniformly.  NEWMA believes that sample average should always be compared to the SEL and this can be accomplished easily by adjusting the SEL rather than looking at differences.  Thus we would follow the same process in evaluating the results in all cases.  The only difference is in how the SEL and MAV are calculated when applying the moisture loss allowance after the test.  If you use Box 13a before the test, this is done automatically.  If you follow the proposed procedure after the test, a moisture-corrected MAV and a moisture-corrected SEL are calculated and the original test data are reevaluated.  While the result may be the same using the procedure on page 19, a different evaluation process is used, and it is difficult to understand particularly how Box 13a is or is not used in the calculation of NGW.

Discussion:  One state believed the explanations provided in HB 133 pertaining to moisture loss were inadequate.  In considering this proposal, however, the Committee concluded that the reference to the Jones vs. Rath court case was inappropriate and inaccurate.  The Committee considered the additional language provided regarding the application of moisture loss unnecessary and confusing.  NIST agreed, however, to review the moisture loss section of HB 133 to see if it can be written more clearly.  The Committee has withdrawn this item.

260-3	W	Amend Section 2.3 Basic Test Procedure

(This item was withdrawn.)

Source:  Northeastern Weights and Measures Association (NEWMA).  (See Item 250-4 on page L&R-19 in the Report of the 88th NCWM Annual Meeting in 2003.)

Recommendation:  The Committee reviewed the following proposal to delete the current “Moisture Allowances” discussion in Handbook 133 (HB 133), Section 2.3, Basic Test Procedure (pages 17 through 19), and replace it as follows:

Moisture Allowances

What products have an established moisture allowance?

Flour and dry pet food have a moisture allowance of 3 % of the labeled net weight.  Note:  Dry pet food means all extruded dog and cat foods and baked treat products packaged in Kraft paper bags and/or cardboard boxes with a moisture content of 13 % or less at the time of pack.

Meat and poultry products from a USDA-inspected plant are permitted no moisture allowance when tested under a Category A sampling plan with Used Dry Tare.

Meat and poultry products from a USDA-inspected plant are permitted the following moisture allowances when tested under a Category A sampling plan with Wet Tare.  Note:  When there is free-flowing liquid or absorbent packaging materials in contact with the product, all free liquid is part of the wet tare.

For packages of fresh poultry that bear a USDA seal of inspection, the moisture allowance is 3 % of the labeled net weight.  For net weight determinations only, fresh poultry is defined as poultry above -3.3 ºC (26 ºF).  This is a product that yields or gives when pushed with the thumb.

For packages of franks or hotdogs that bear an USDA seal of inspection, the moisture allowance is 2.5 % of the labeled net weight.

For packages of bacon, fresh sausage, and luncheon meats that bear a USDA seal of inspection, there is no moisture allowance if there is no free-flowing liquid or absorbent materials in contact with the product and the package is cleaned of clinging material.  Luncheon meats are any cooked sausage product, loaves, jellied products, cured products, and any sliced sandwich style meat.  This does not include whole hams, briskets, roasts, turkeys, or chickens requiring further preparation to be made into ready-to-eat sliced product.  When there is no free-flowing liquid inside the package and there are no absorbent materials in contact with the product, Wet Tare and Dried Used Tare are equivalent.

These allowances are based on the premise that when the average net weight of a sample is found to be less than the labeled weight, but not by an amount that exceeds the allowable limit, either the lot is declared to be within the moisture allowance, or more information must be collected before deciding lot compliance or noncompliance.

How do you determine the allowance for products without an established moisture allowance?

For any product subject to moisture loss/gain, you may determine the appropriate moisture loss allowance based on a valid, scientific study.  You may not use arbitrarily chosen allowances for moisture loss/gain.  Many packers have conducted studies that they can provide in support of any claim that the product lost/gained moisture.  Any such study should have included a variety of environments that simulate the potential distribution chains that could be encountered.  You may use the moisture loss limits found in such study as an allowance in a compliance test.

What is the accepted method to determine the actual moisture loss for a lot?

Where the packer measures and records the moisture content of product in each lot, you may request a copy of that data to be compared to the moisture content of the product offered for sale.  You must select a random sample of the product offered for sale and have it tested for moisture content using a scientifically verified test procedure, e.g. like those in the Official Methods of Analysis of the Association of Official Analytical Chemists (See Appendix D).  The actual moisture loss is calculated as the moisture content (percent) at time of pack minus moisture content (percent) at time of sale.  Use the difference obtained to calculate the actual moisture loss for the lot by multiplying it times the label quantity.  Use this as the moisture allowance in the official test.  In the case of moisture gain, this value will be a negative number.

Calculations

How do you apply a moisture allowance when conducting a test?

Moisture allowances may be applied either prior to testing or after testing.  These two methods are mathematically equivalent means of adjusting both the individual package errors and the sample average.  It is common practice to apply the moisture correction prior to the test for those products with established moisture allowances like flour and dry pet food.  In most other cases the correction is made after the test since moisture loss data will probably be obtained as part of the follow-up investigation after the initial test has failed.

To compute the moisture loss allowance prior to testing, you correct the nominal gross weight in Box 14 for moisture loss.  Find the value of the allowance by multiplying the labeled quantity by the decimal percent value of the allowance.  Enter this value in Box 13a on the form.  The nominal gross weight is found by adding the average tare (Box 13) to the label quantity (Box 1) and subtracting the moisture allowance (Box 13a).  Lot compliance is evaluated in the normal way using decision criteria in Boxes 16 and 24 on the report form.

Example:  Labeled quantity of a bag of flour is 2 lb and average tare is 0.04 lb (Box 13).  Moisture Allowance is 3 % (0.03) of 2 lb = 0.06 lb.

Nominal Gross Wt. = 2 lb + 0.04 lb – 0.06 lb = 1.98 lb (record this value in Box 14).

To compute the moisture loss allowance after testing, you correct only the MAV and SEL for moisture loss.  Perform your initial test with no moisture allowance in Box 13a.  When moisture loss data becomes available, find the value of the allowance by multiplying the labeled quantity by the decimal percent value of the moisture loss or allowance.  Lot compliance is evaluated using decision criteria in Boxes 16 and 24 on the report form and the moisture corrected MAV and SEL respectively.

Example:  Labeled quantity of a package of rice is 2 lb, average tare is 0.04 lb (Box 13), MAV (Box 3) is 0.07 lb, and SEL (Box 23) is 0.023 lb.

Moisture content at time of pack was 13.4 % (packer data).

Moisture content at time of sale is 10.6 % (lab data).

Moisture loss is (13.4 % to 10.6 %) = 2.8 %.

Moisture allowance is 0.028 x 2 lb = 0.056 lb.

Moisture Corrected MAV is 0.07 lb + 0.056 lb = 0.126 lb – Compare each package error measured in the initial test to this moisture corrected MAV using criteria in Box 16.

Moisture Corrected SEL is 0.023 lb + 0.056 lb = 0.079 lb – Compare the sample average error in the initial test to this moisture corrected SEL using criteria in Box 24.

Background:  The following information was provided by the original proponent of this item:  The products that have established moisture allowances are not clearly stated.  Currently the handbook only poses the question, “What is the moisture allowance for flour and dry pet food?”  It does not state if any other products have moisture allowances.  In addition, the handbook provides no guidance for products that do not have an established moisture allowance.

The “Calculations” section on page 18 is confusing and does not distinguish between applying a moisture allowance before or after testing.  The current method of comparing the moisture allowance to the difference between the average error and the SEL is confusing.  The current handbook does not address commodities that are packed in sealed containers or how to treat commodities packed on the premises.

Discussion:  One state believed the explanations provided in HB 133 pertaining to moisture loss were inadequate.  In reviewing this proposal the Committee considered the proposed additional language confusing and inaccurate.  The Committee did agree that the “Calculations” section on page 18 needed to do a better job of distinguishing between moisture allowances applied before testing and those applied after testing.  The Committee believed there were extensive problems with this proposal as submitted.  NIST agreed to review the moisture loss section of HB 133 to see if it can be written more clearly.  The Committee withdrew this item.

270-7	Amend NIST Handbook 133 Section 2.3, Moisture Allowances to Provide Clearer Guidance

(This Item was added to the agenda of the WG on Moisture Loss following the 2007 Interim Meeting)

Source:  Northeast Weights and Measures Association (NEWMA)

Proposal:  Amend NIST Handbook 133 (HB 133) Section 2.3, Moisture Allowances (pages 17 through 19 of Handbook 133) to provide clearer guidance.

Background:  The issue of moisture loss is complex.  Handbook 133 currently provides specific guidance on the determination and application of moisture allowances for only a limited number of commodities.  Concerns have been raised that this guidance is confusing and difficult to understand, particularly with regard to when moisture loss is applied (i.e., at the time of inspection or subsequent to the inspection).  Requests have been received to reword this section to make it easier to understand and apply.

In addition, HB 133 provides little guidance on the determination and application of moisture allowances for commodities other than those specifically listed.  Weights and measures jurisdictions across the country have been struggling with how to properly handle moisture loss during packaging inspections and need more definite guidance on this issue.

The Committee did not believe it had the time or expertise to address properly the issue of moisture loss within the structure of the NCWM.  The Committee decided to request activation of a NIST Moisture Loss WG to establish more effective and extensive guidance to the NCWM regarding the proper determination and application of moisture loss.

Discussion of this Item by the WWMA:  The WWMA L&R Committee heard that a meeting was tentatively planned for November 2006; the meeting was delayed to allow time for everyone to identify and agree on the issues to be addressed by the group to ensure that expectations for the meeting results were clear.  The Weights and Measures Division (WMD) agreed to fund the travel and attendance of one NCWM representative.  Leading issues included providing additional guidance in HB 133 regarding the determination and application of appropriate moisture loss allowances in package inspections, with noted examples including how to address gel soaker pads in poultry/meat packages, as well as how to determine moisture allowances for pasta, rice, and other commodities for which no established moisture loss allowances exist.  Additionally, guidance regarding application of moisture loss allowances at the point-of-pack needed to be addressed.

An industry representative urged involvement in the meeting and ensuing work on HB 133 amendments from the Food and Drug Administration (FDA) and the U.S. Department of Agriculture (USDA) to ensure input and consensus from all relevant agencies.  He further emphasized the need to review and consolidate all decisions and directives from any and all court rulings regarding moisture loss issues.  Factors to be considered in determining and applying appropriate moisture loss allowances and influences upon such losses included commodity stability limits and varying environmental conditions at packing plants such as relative humidity and constant temperature rooms maintained at different temperature levels.  The industry representative also urged that guidance be provided to industry members regarding the types of data needed to be tracked and provided by packers/manufacturers in addressing moisture allowance determinations.

Discussion of this Item by the CWMA at its 2006 Interim Meeting:  A comment was heard from industry that this needs to be addressed in order for businesses to be competitive.  The USDA and FDA need to be involved in the development of this item.  A meeting was tentatively scheduled for November prior to the NCWM Interim Meeting.  There was general agreement that in order for this meeting to be effective, the USDA and FDA must be present.  Comments were heard in support of using the New York proposal to correct the error in HB 133.

Item 3.	WMD Package Inspection and Moisture Loss Guidance Letter – Withdrawn

WMD believed there was some useful information for weights and measures officials and industry contained in the 2005 Memorandum that WMD issued to state weights and measures officials and other interested parties, entitled “Verifying the Net Contents of Packaged Goods and Recommended Procedures for Moisture Allowances.”  WMD withdrew the memorandum at the request of Kraft Foods which detailed a number of concerns about the guidance contained in the WMD communication.  The Kraft Foods letter, dated January 31, 2006, was prepared by Steven Steinborn of Hogan and Hartson.  WMD recommended the committee review both documents to resolve the corporation’s concerns where possible and determine if any information in the WMD letter can be revised and republished to assist weights and measures officials in dealing with net quantity of contents.  The WMD memorandum and Kraft’s letter are presented in Reference Section II below.

Item 4.	WMD Suggestions

a.	Seek Greater Recognition of NIST Handbook 133 by FDA and other Federal Agencies.

WMD would like to avoid frequent amendments to HB 133 because, unlike NIST Handbook 44, it is not widely adopted automatically.  Many jurisdictions adopt new versions of HB 133 using their Administrative Procedures Acts.  Another consideration is that the USDA adopts versions of the handbook which then preempts other versions from being used to verify the net quantity of packages put up under that agency’s supervision.  In the past, WMD found that several jurisdictions used the wrong edition of HB 133 to take action against USDA-inspected products simply because they used a newer version of the handbook than had been adopted by the USDA.  WMD believes that USDA adoption gives a strong endorsement and recognition to the handbook.  WMD also believes the 4th edition of HB 133, whose core elements have been in use by the states since 1994, should be recognized by the FDA and all other agencies to eliminate any uncertainty over its use by the states.  Perhaps it is time the NCWM consider petitioning the FDA to provide some type of formal recognition of the handbook.  WMD believes that establishing a 5-year review cycle for HB 133 may be one way to ensure it is acceptable to other agencies, which will help avoid the confusion over which edition is currently in effect.

b.	Create a new supplement or website to NIST Handbook 133 which would provide useful information to administrators, field officials and industry.

WMD would like to explore the possibility and usefulness of creating a new publication or website called NIST Handbook 133-1 which would provide supplementary information and guidance on net quantity of contents testing and moisture loss for administrators and industry.  The publication or website would be “informative,” thus it would not include regulatory requirements.  Instead it would be used to provide additional guidance and more examples than can be included in HB 133 itself.  Such a publication or website could also be used to provide complete full-size copies of the various inspection forms and worksheets contained in HB 133 and other useful tools developed by jurisdictions.  The publication or website could also include a variety of other information related to net contents verification and random sampling and could include appropriate information from federal regulations and policies as well as frequently asked questions (FAQs).  Currently in NIST Handbook 130 (HB 130) Interpretations and Guidelines there are sections related to moisture loss, point-of-pack inspections and administrative procedures which may not be well known or readily accessible.  These could be updated and moved to the new publication or website.

For example:

2.2.5.	Lot, Shipment, or Delivery

2.5.6.	Guidelines for NCWM Resolution of Requests for Recognition of Moisture Loss in Other Packaged Products

2.6.10.	Model Guidelines for the Administrative Review Process

2.6.11.	Good Quantity Control Practices

    - Point-of-Pack Inspection Guidelines

These documents are shown below in Reference Section I.

Another example of the type of package information which could be included in a publication or website for reference purposes is the following report on a meeting held at NIST in 2005 to address concerns over packer supplied tare values.

NIST Weights and Measures Today

November 2005

Report of Meeting on Tare

On November 2, 2005, the Laws and Metric Group at NIST hosted a meeting to discuss ways to improve the communication of tare information between packers and retailers when meat products are packaged at a plant, but weighed and labeled at the retail store.  Representatives from the meat packing industry, the retail food industry, and several weights and measures agencies attended the meeting.

The Problem

There is a fundamental change occurring in the retail food marketplace.  Retail food stores are shifting from having in-store meat cutters to purchasing already-packaged meat from an outside plant.  The supplying plant provides the retail store with packaged meat (including tray, soakers, and overwrap), and the store is then responsible for weighing and labeling the package.  In order to weigh and label these products properly, the retail store needs to know the weight of the packaging materials used by the plant (i.e., the tare weight).  While this may sound simple and straightforward, it is not.

Retailers

Many retail food chains manage their tare weights from a central location.  Tares are maintained at the central or regional office and downloaded to the individual stores on a routine basis.  While individual stores may have the ability to override the tare provided in a download (e.g., when an official from weights and measures informs them that they are using an incorrect tare), this correction will be erased when the next download occurs.  Several retail food chains believe that the centralized management of tare information is critical to the overall success of their meat departments.  With little cutting and packaging being done at the retail level, stores rarely have experienced, professional staff in their meat departments.  Without significant expertise at the store level, food retailers are reluctant to leave decisions regarding the use and amount of tare to individual store management.

Weights and Measures Officials

When weights and measures officials find inaccuracies in tares being used, often these inaccuracies are not being communicated to the food retailer’s central or regional offices.  If the food retailer’s central or regional office is not informed that a tare value is inaccurate, then the tare value will not get changed in the next download.  While some retail food chains require their store managers to submit copies of inspection reports to the central or regional office, many do not.  Some chains leave that decision to the discretion of the individual store managers.  Individual store managers may be reluctant to forward disparaging information about their store’s performance to the central or regional office.  As a result, when weights and measures officials find an inaccurate tare being used in a store and only notify store management of the correction necessary, that information may not be communicated to the people who really need to know—the people at the central or regional office who set the tare values for the entire chain of stores.

Packers

The weight of tare materials used at a meat packing plant varies regularly.  Whenever the plant changes suppliers, whether it is suppliers providing soakers, trays, or overwrap, the tare must be reevaluated and changed.  Whenever suppliers change the materials used in their products, the tare must be reevaluated and changed.  Most meat packers monitor tare continuously and regularly make small adjustments to ensure their packages are accurate.  While tare information is routinely shared with retailers, it is difficult to ensure that the correct tare goes on the correct package.  Packers may ship individual packages from several different production lots (lots which may have been packaged using different tare materials) in a single shipment to a retailer’s warehouse.  The retailer’s warehouse then further breaks up these package groups to distribute packages to individual stores.  Even if accurate tare information for all packages is provided to the retailer’s central or regional office, the retailer has difficulty using this information effectively since not all packages of the same product at the same location will necessarily have the same tare.  In addition, new tare information provided to a retailer may only apply to packages still in the retailer’s warehouse (and not those presently in the store).  This means retailers must coordinate the updating of tare data with the placement of new packages on the store shelves.

Is There a Solution?

The question remains:  How do you effectively ensure that the tare information for a particular package “travels” with the package from the point of production to the final retail destination?  One suggestion has been to print tare information directly on individual packages.  However, packers and retailers all agree that printing tare information on packages, shipping cases, or shipping invoice forms would not be effective.  Packers order packaging materials and shipping containers months in advance and at that point could only guess as to what amount of tare would need to be preprinted on these materials.  In addition, if tare information were provided on individual packages, shipping cases, or shipping invoices, that information would only be available at the retail store and would never reach the retailer’s central or regional office in time to be included in the next download.  Most retail food chains do not want individual stores making independent decisions about what tares to use.

Ultimately, the key will be for packers and retailers to communicate more frequently and more effectively.  To that end, the American Meat Institute (AMI) has agreed to contact other trade associations representing the retail and meat packing industries to ask for their help in reiterating to their members the importance of accurate net weight labeling at retail.  AMI will encourage their packer and processor members to communicate tare values to retail customers whenever changes in tare values occur.

How Can Weights and Measures Officials Help?

Weights and measures agencies can help by sending copies of test reports (especially from failed inspections) to the corporate or regional office of the retailer.  While ideally the corporate or regional office will receive this information from the retail store, retailers at this meeting stressed they would rather receive duplicate reports (from the weights and measures agency and the store) than none at all.  Retailers consider it absolutely critical that weights and measures officials contact, communicate, and work with the corporate and regional offices early and often.  Retailers specifically asked that weights and measures agencies not wait for problems to escalate before they get the corporate or regional offices involved.  Weights and measures officials should conduct package inspections in full compliance with NIST Handbook 133 (HB133).  Inspectors are encouraged to properly clean tare materials during inspections to avoid imposing tares larger than they should be.

According to HB 133, Used Dry Tare is “tare material that has been air dried, or dried in some manner to simulate the unused tare weight.”  Before adding this definition to HB 133, members of the NCWM and NIST did extensive testing to compare the weights of Unused Dry Tare (which the packer uses), and Used Dry Tare (which the inspector uses).  If Used Dry Tare is dried and cleaned properly, its weight should not vary significantly from the Unused Dry Tare weight.  In addition, NIST strongly discourages the use of microwave ovens when drying tare materials, particularly soaker pads.  Past tests have shown that excessive heating of soaker pads and other tare materials can significantly alter their weight, and even start a fire as some officials have learned.

###### Reference Section I – Excerpts from the INterpretations and Guidelines Section of NIST Handbook 130

The following are currently in NIST Handbook 130 (HB 130) Interpretations and Guidelines

2.2.5.	Lot, Shipment, or Delivery

(L&R, 1981, p. 95)

Policy

The requirements for the average package net contents to meet or exceed the labeled declaration may be applied to production lots, shipments, or deliveries.  Shipments or deliveries are smaller collections of packages than production lots that may or may not consist of mixed lot codes.

Emphasis in inspection activities should be placed on warehouse and in-plant testing without neglecting retail consumer protection.

Background

The Committee heard a petition from the California Brewers Association to define a lot as:

"a selection of containers under one roof produced by a single company of the same size, type and style, manufactured or packed under similar conditions with a minimum number to be equivalent to one production line shift."

The intention of the petition is to focus Weights and Measures enforcement on production lots as opposed to small collections of packages on retail shelves, because the production lot is under the control of the packager.

An alternative proposal was made that would require mingling of lot and date codes in package inspection at warehouse locations.

The Committee has reviewed the proposals in light of § 7.6. and § 12.1. of the Uniform Packaging and Labeling Regulation which refers to "shipment, delivery, or lot."  If the petition is approved, the terms "shipment" and "delivery" would have to be dropped from this Uniform Regulation.

The Committee recognizes the inherent value of in-plant and warehouse inspection and is of the opinion that, wherever possible, such inspections should be carried out.  At the same time, the Committee recognizes the need for the state and local weights and measures officials to protect the consumer at the level where the ultimate sale is made.  Therefore, the Committee recommends no change to the Uniform Regulation.

The Committee looks forward to the work of the Special Study Group on Enforcement Uniformity of the NCWM which will be exploring the mechanisms that might be instituted to make in-plant inspection workable.

2.5.6.	Guidelines for NCWM Resolution of Requests for Recognition of Moisture Loss in Other Packaged Products

(Exec, 1988, p. 94)

The Task Force on Commodity Requirements limited its work to only a few product categories, using these categories as models for addressing moisture loss.  The gray-area concept is the result of this work.

Recognizing several candidates for future work in moisture loss, the Task Force recommends that the following guidelines for moisture loss be followed as far as possible by any industry requesting consideration:

1.	There should be reasonable uniformity in the moisture content of the product category.  For example, since pet food has final moisture contents ranging from very moist to very dry, some subcategorization of pet food needs to be defined by industry before the NCWM study of the issue.

2.	The predominant type of moisture loss (whether into the atmosphere or into the packaging materials) must be specified.

3.	Different types of packaging might make it necessary to subcategorize the product.  For example, pasta is packaged in cardboard, in polyethylene, or other packaging more impervious to moisture loss.  The industry should define the domain of packaging materials to be considered.

4.	"Real-world" data is needed on the product as found in the retail marketing chain—not just laboratory moisture-loss data.

5.	The industry requesting consideration of moisture loss for its product should collect data on an industry-wide basis (rather than from only one or two companies).

Information concerning the relative fractions of imported and domestically produced product should be available, for example, in order to assess the feasibility of interacting with the manufacturer on specific problem lots.

6.	Moisture loss may occur either:

  - during manufacturing or

  - during distribution.

Data will be needed to show the relative proportion of moisture loss in these different locations since moisture loss is permitted only under good distribution practices.  Geographical and seasonal variations may apply.

7.	A description of the processing and packaging methods in use in the industry will be of great value, as will a description of the distribution system and time for manufacturing and distribution.  A description of the existing net quantity control programs in place should be given, together with information on how compliance with Handbook 133 is obtained.  A description of maintenance and inspection procedures for the scales should be provided, together with information on suitability of equipment and other measurements under Handbook 44.

8.	A description of federal and local agency jurisdiction and test should be given, as well as any regulatory history with respect to moisture loss and short weight.  Has weights and measures enforcement generated the request?  What efforts have addressed the moisture loss issue prior to approaching the NCWM?  Are the appropriate federal agencies aware of the industry's request to the NCWM?

9.	The industry should propose the type of compliance system and/or moisture determination methodology to be used.  The compliance scheme, if it contains industry data components, should be susceptible to verification (examples:  USDA net weight tests for meat; exchange of samples with millers for flour) and should state what the companies will do to provide data to field inspection agencies in an ongoing fashion (as the gray-area approach requires).  If in-plant testing is to be combined with field testing, who is to do such testing, and how is this to be accomplished?  It should be possible to incorporate the proposed testing scheme into Handbook 133 to be used with Category A or B sampling plans.

When all the preliminary information recommended above has been collected, a field test of the proposed compliance scheme should be conducted by weights and measures enforcement officials to prove its viability.  See the plan diagrammed on the next page.

2.6.10.	Model Guidelines for the Administrative Review Process

Purpose

These guidelines are provided to assist weights and measures programs in establishing an administrative review process.  They are not intended to be the only process an agency may use nor are they intended to supersede any agency's existing process.  Before implementing ANY process, it should be approved by legal counsel.

These guidelines ensure that persons affected by "inspection findings" (e.g., price misrepresentations or shortweight packages), or who are deprived of the use of their property (devices or packages placed under "stop" or "off-sale" order), are provided a timely-independent review of the action.  The process enables affected persons to provide evidence which could be relevant in determining whether the enforcement action was proper.  The purpose of the process is to ensure that a person's ability to conduct business is not hindered by improper enforcement actions.  This process is independent of any other action (e.g., administrative penalties, prosecutions, etc.) that may be taken by the enforcement agency.

Background

In the course of their work, weights and measures officials take enforcement actions that may prohibit the use of devices or the sale of packaged goods (e.g., "stop-sale" or "off-sale" orders for packages and "stop-use" or "condemnation" tags issued on devices).  Improper actions (e.g., not following prescribed test procedures, enforcing labeling requirements on exempted packages, or incorrectly citing someone for a "violation") place the official and the jurisdiction in the position of being liable for the action if it is found that the action was "illegal."  In some cases, weights and measures jurisdictions could be ordered to pay monetary damages to compensate the affected party for the improper action.

This process is one way to provide affected persons an opportunity to present evidence which may be relevant in determining whether the order or finding has been properly made to an independent party.  The procedure enables business operators to obtain an independent review of orders or findings so that actions affecting their business can be evaluated administratively instead of through litigation.  This ensures timely review, which is essential because of the impact that such actions may have on the ability of a business to operate and in cases where perishable products may be lost.

Review Provisions

Parties affected by enforcement actions must be given the opportunity to appeal enforcement actions.

Inspectors are the primary contacts with regulated firms and thus are in the best position to ensure that the enforcement actions they take are "proper."  "Proper" means that inspections are conducted (1) within the scope of the authority granted by law, (2) according to recognized investigative or testing procedures and standards, and (3) that enforcement actions are lawful.  The "burden" for proving that actions are "proper" falls on the weights and measures program, not on regulated firms.

Weights and measures officials are law enforcement officers.  Therefore, they have the responsibility to exercise their authority within the "due process" provisions of the U.S. Constitution.  As weights and measure programs carry-out their enforcement responsibilities in the future, more and more challenges to their actions and authority will occur.  It is in the best interest of any program to establish strict operational procedures and standards of conduct to prevent the occurrence of improper actions which may place the jurisdiction in an untenable position in a court challenge of an enforcement action.  The foundation for ensuring "proper" actions is training, clear and concise requirements, and adoption of, and adherence to uniform test procedures and legal procedures.

Prior to taking enforcement actions, the inspector should recheck test results and determine that the information on which the action will be taken is accurate.

Inspections shall be conducted with the understanding that the findings will be clearly and plainly documented and reviewed with the store's representative.

During the review of the findings, the firm’s representative may provide information which must be used by the inspector to resolve the problems and concerns before enforcement actions are taken.  In some cases, the provided information may not persuade the inspector to forego the action.  In some cases the inspector and business representative may not understand the circumstances surrounding the violations, or there may be a conflict between the parties that they cannot resolve.  In other cases, the owner or manufacturer may not learn that an enforcement action has occurred until long after the inspector leaves the establishment.

Steps:

- Provide a framework that will help in resolving most of these situations where "due process" is of concern.  Make sure that the responsible party (e.g., as declared on the package label) is notified of violations and receives copies of inspection reports.  Establish standard operating procedures to assure the affected party of timely access to a representative of the weights and measures program so that the firm can provide the relevant information or obtain clarification of legal requirements.

- Make the process as simple and convenient as possible.  Especially in distant or rural areas where there are no local offices, the review should be conducted by a supervisor of the official taking the action if agreed to by the person filing the request for review.

- The process should include notice that the firm can seek review at a higher level in the weights and measures program or an independent review by a third party.  The following procedures are recommended:

  - Any owner, distributor, packager, or retailer of a device ordered out of service, or item or commodity ordered "off-sale," or inspection finding (e.g., a price misrepresentation or a shortweight lot of packages) shall be entitled to a timely review of such order, to a prompt, impartial, administrative review of such off-sale order or finding.

- A notice of the right to administrative review should be included on all orders or reports of findings or violations and should be communicated to the responsible firm (e.g., person or firm identified on the product label):

- The administrative review shall be conducted by an independent party designated by the Director or before an independent hearing officer appointed by the Department.  The officer shall not be a person responsible for weights and measures administration or enforcement.

- No fees should be imposed for the administrative review process.

- The firm responsible for the product or the retailer may introduce any record or other relevant evidence.

For example:

  - Commodities subject to the off-sale action or other findings were produced, processed, packaged, priced, or labeled in accordance with applicable laws, regulations or requirements.

  - Devices subject to the "stop-use" order or "condemnation" were maintained in accordance with applicable laws, regulations or requirements.

  - Prescribed test procedures or sampling plans were not followed by the inspector.

  - Mitigating circumstances existed which should be considered.

- The reviewer must consider the inspector's report, findings, and actions as well as any evidence introduced by the owner, distributor, packager, or retailer as part of the review process.

- The reviewer must provide a timely written recommendation following review unless additional time is agreed to by the department and the petitioner.

- The reviewer may recommend to the Department that an order be upheld, withdrawn or modified.  If justified the reviewer may recommend other action including a reinspection of the device or commodity based upon information presented during the review.

- All actions should be documented and all parties advised in writing of the results of the review.  The report of action should be detailed in that it provides the reasons for the decision.

2.6.11.	Good Quantity Control Practices

Good Quantity Control Practices means that the plant managers should take all reasonable precautions to ensure the following quantity control standards or their equivalent are met:

1.	A formal quantity control function is in place with authority to review production processes and records, investigate possible errors, and approve, control, or reject lots.

2.	Adequate facilities (e.g., equipment, standards and work areas) for conducting quantity control functions are provided and maintained.

3.	A quantity control program (e.g., a system of statistical process control) is in place and maintained.

4.	Sampling is conducted at a frequency appropriate to the product process to ensure that the data obtained is representative of the production lot.

5.	Production records are maintained to provide a history of the filling and net content labeling of the product.

6.	Each "production lot" contains on the average the labeled quantity and the number of packages exceeding the specified maximum allowable variation (MAV) value in the inspection sample shall be no more than permitted in Tables 2-1 and 2-2 in NIST Handbook 133.

7.	Packaging practices are appropriate for specific products and measurement procedures (e.g., quantity sampling, density and tare determinations) and guidelines for recording and maintaining test results are documented.

8.	Personnel responsible for quantity control follow written work instructions and are competent to perform their duties (e.g., background, education, experience and training).  Training is conducted at sufficient intervals to ensure good practices.

9.	Recognized procedures are used for the selection, maintenance, adjustment, and testing of filling equipment to insure proper fill control.

10.	Weighing and measuring devices are suitable for their intended purpose, and measurement standards are suitable and traceable to national standards.  This includes a system of equipment maintenance and calibration to include recordkeeping procedures.

11.	Controls over automated data systems and software used in quantity control ensure that information is accessible, but changeable only by authorized personnel.

12.	Tare materials are monitored for variation.  Label changes are controlled to ensure net quantity matches labeled declaration.

2.6.12.	Point-of-Pack Inspection Guidelines

A.	Weights and Measures Officials’ Responsibilities

1.	Conduct inspections during hours when the plant is normally open for business.  Open the inspection by making contact with the plant manager or authorized representative (e.g., the quality assurance manager or the production manager).

2.	Present the proper credentials and explain the reason for the visit (e.g., routine or follow-up inspection or consumer complaint, etc.).

3.	Request access to quantity measurement equipment in the packing room, moisture testing equipment in the laboratory or in the packing room, and product packed on premise or stored in warehouse areas.

4.	Obtain permission from a plant representative prior to using a tape recorder or a camera.

5.	Conduct inspection-related activities in a professional and appropriate manner and, if possible, work in an area that will not interfere with normal activities of the establishment.

6.	Abide by all the safety and sanitary requirements of the establishment and clean the work area upon completion of the inspection/test.  Return borrowed equipment and materials.

7.	To close the inspection, recheck inspection reports in detail and ascertain that all information is complete and correct.

8.	Sample questions and tasks for Inspectors:

a.	Inside Buildings and Equipment:

- Is all filling and associated equipment in good repair?

- Are net content measurement devices suitable for the purpose being used?

- Are standards used by the firm to verify device accuracy traceable to NIST?

b.	Packing Room Inspection:

- Observe if the program for net quantity of content control in the packing room is actually being carried out.

- Ensure that the weighing systems are suitable and tare determination procedures are adequate.  If there are questions regarding tare determination, weigh a representative number of tare and/or filled packages.

- For products labeled and filled by volume and then checked by weight, ensure that proper density is used.

c.	Warehouse Inspection:

If an inspection is conducted:

- Select lot(s) to be evaluated.

- Determine the number of samples to be inspected.  Use the appropriate sampling plan as described in NIST Handbook 133.

- Randomly select the number of samples or use a mutually agreed on plan for selecting the samples.

- Determine the average net quantity of the sample and use the standard deviation factor to compute the Sample Error Limit (SEL) to evaluate the lot.

- Look for individual values that exceed the applicable Maximum Allowable Variation as found in NIST Handbook 133.

- Apply moisture allowances, if applicable.

- Review the general condition of the warehouse relevant to package integrity, good quantity control, and distribution practices.

- Prepare an inspection report to detail findings and actions.

9.	Close the inspection – Review findings with Plant Representative.

After the inspection, meet with the management representative to discuss inspection findings and observations.  Provide additional information as needed (e.g., information on laws and regulations or explanations of test procedures used in the inspection).  Be informative, courteous and responsive.  If problems/violations are found during the inspection/test, bring them to the attention of the appropriate person.

B.	Plant Management Responsibilities

1.	Recognize that inspectors are enforcing a federal, state or local law.

2.	Assist the official in conducting inspection activities in a timely and efficient manner.

3.	During the initial conference with the inspector, find out whether the inspection is routine, a follow-up, or the result of a consumer complaint.  If a complaint, obtain as much information as possible concerning the nature of the complaint, allowing for an appropriate response.

4.	The plant manager, quality assurance manager, or any designated representative should accompany the inspector.

5.	Plant personnel should take note of the inspector’s comments during the inspection and prepare a detailed write-up as soon as the inspection is completed.

6.	When an official presents an inspection report, discuss the observations and, if possible, provide explanations for any changes deemed necessary as a result of the inspection/test.

Plant Management:  information that must be shared with the inspector.

1.	Establishment name and address.

2.	Type of firm and information on related firms or applicable information (e.g., sub-contractor, servant or agent).

3.	General description and location of shipping and storage areas where packaged goods intended for distribution are stored.

4.	Commodities manufactured by or stored at the facility.

5.	Names of responsible plant officials.

Plant Management:  information that may be shared with the inspector.

1.	Simple flow sheet of the filling process with appropriate net content control checkpoints.

2.	Weighing or measuring device maintenance and calibration test records.

3.	Type of quantity control tests and methods used.

4.	Net content control charts for any lot, shipment, or delivery in question or lots which have previously been cited.

5.	Method of date coding the product to include code interpretation.

6.	Laboratory reports showing the moisture analysis of the products which are in question or have been previously cited.

7.	Product volume of lot sizes or related information.

8.	Distribution records related to any problem lots including names of customers.

###### Reference Section II – Other Moisture Loss Guidance and Related Documents

This section contains the text from a WMD memorandum to state weights and measures directors and other interested parties and a letter from Kraft General Foods stating the reasons justifying a withdrawal of the WMD memorandum.

A.	Text from the WMD Memorandum that was issued on January 1, 2006

Memorandum for State Weights and Measures Directors and Other Interested Parties

Subject:  Verifying the Net Contents of Packaged Goods and Recommended Procedures for Moisture Allowances

This memo supersedes the April 3, 1995, memorandum from the Weights and Measures Division (WMD) concerning the impact of the Nutrition Labeling and Education Act of 1990 (NLEA) on net content testing by State and local weights and measures officials.

I am revising the earlier correspondence primarily in response to the National Conference on Weights and Measures’ (NCWM) adoption of the 4th edition (January 2005) of the National Institute of Standards and Technology’s Handbook 133 “Checking the Net Contents of Packaged Goods” (Handbook 133).  Recent inquiries from State officials on the status of package inspection programs that test products subject to Food and Drug Administration (FDA) jurisdiction have further prompted a response.  This memorandum describes guidance provided by FDA.  Since 1985 that agency has advised NIST that Handbook 133 has not been in conflict with that agency’s practices enforcing net quantity of content on packaged foods.

I.	Recommendations for Verifying the Net Quantity of Contents of Packages Subject to FDA Jurisdiction

WMD recommends that weights and measures officials use the 4th edition of Handbook 133 (January 2005) for all products except those subject to regulation by the U.S. Department of Agriculture (USDA), which has adopted the 3rd edition of Handbook 133 and its 4th Supplement.  NIST recently learned that the USDA may adopt the 2005 edition of Handbook 133 in the near future.  These publications are available on the Internet.

The Category A Sampling Plans in Handbook 133 provide a statistically valid sampling scheme and sample correction factors to enable you to determine if a sample passes or fails a test with a confidence level of at least 97 %.  The test methods prescribed for foods are consistent with those used by the FDA.

Weights and measures officials must apply both the “average” and “individual package” requirements in Handbook 133 to the packages they inspect because Federal and State laws and regulations relating to net quantity of content require officials to allow reasonable variations (both plus and minus errors in net contents) from the labeled net contents.  By applying both requirements, officials avoid the appearance they are imposing a “minimum” net content system while providing a high level of protection for consumers and ensuring fair competition in the marketplace.

Weights and Measures Officials should continue to test packages at retail and should consider Section 1.1. of Handbook 133 before taking enforcement action on small inspection lots of package:

Testing packages at retail outlets evaluates the soundness of the manufacturing, distributing, and retailing processes of the widest variety of goods at a single location.  It is an easily accessible, practical means for State, county and city jurisdictions to monitor packaging procedures and to detect present or potential problems.  Generally, retail package testing is not conducive to checking large quantities of individual products of any single production lot.  Therefore, follow-up inspections of a particular brand or lot code number at a number of retail and wholesale outlets, and ultimately at the point-of-pack are extremely important aspects in any package-checking scheme.  After the evaluation of an inspection lot is completed, the jurisdiction should consider what, if any, further investigation or follow-up is warranted.  At the point-of-sale, a large number of processes may affect the quality or quantity of the product.  Therefore, there may be many reasons for any inspection lot being out of compliance.  A shortage in weight or measure may result from mishandling the product in the store, or the retailer’s failure to rotate stock.  Shortages may also be caused through mishandling by a distributor, or failure of some part of the packaging process.  Shortages may also be caused by moisture loss (desiccation) if the product is packaged in permeable media.  Therefore, being able to determine the cause of an error in order to correct defects is more difficult when retail testing is used.

It is important to realize that the Category A Sampling Plans in Handbook 133, while statistically valid, may fail lots that contain the labeled net quantity of content approximately three times out of 100 tests.  By basing enforcement actions on samples from multiple lots of the same product from the same manufacturer tested at different locations, you will have a better indication of whether or not an enforcement action is necessary.  When a lot fails an inspection, NIST recommends you contact the manufacturer to obtain quantity control records and other production information on the lot to assist in your decision process.  To ensure due process, we encourage jurisdictions to follow the NCWM’s Section 2.6.10. Model Guidelines for the Administrative Review Process in NIST Handbook 130 “Uniform Laws and Regulations in the area of legal metrology….” (Those guidelines are shown below this memorandum) for reference but, your agency’s general counsel may of course have you follow other procedures.  When following up on possible violations with manufacturers, recognize they are required under Federal and State laws or regulations to follow current good manufacturing practices.  The NCWM has also adopted guidelines in Section 2.6.11. on “Good Quantity Control Practices” that officials can use as a tool to assess quantity control systems.  (These are provided below).

Weights and Measures officials should conduct inspections at the point of pack whenever possible so they will have access to larger lots of packages and can also assess the packager’s entire packaging system.  The NCWM adopted guidelines in Section 2.6.12. on “point-of-pack inspections” to help officials conduct these inspections, (See below this memorandum).

We encourage jurisdictions to collaborate on conducting marketplace surveys to determine the level of compliance of commodity groups (e.g., store-packed random weight items, mulch, polyethylene sheeting, flour, milk, soft drinks, animal food, etc.) and to work together to follow up on possible problems at the point-of-pack where the packaging plant or distribution point is located in a jurisdiction other than where the packages failed to pass a test.  The State of California conducts a wide variety of marketplace surveys which can serve as model for other states to follow.  NIST encourages all states to follow the example set by California’s Division of Measurement Standards for monitoring compliance in the all areas of weights and measures enforcement.  NIST will provide assist to states who want to conduct or collaborate in surveys...

Ensure that all samples are selected randomly.  The statistical reliability of the sampling plans is valid only when the sample has been randomly selected from the inspection lot.

To be consistent with FDA inspection activities, utilize used dry tare when taking enforcement actions.  The handbook permits unused dry tare to be used to conduct audits and to verify net weights of packages put up in retail stores.

Apply the average and individual package requirements to products tested at any point in distribution.  Over the last ten years several jurisdictions have contacted WMD concerning industry claims that States can only take action on production lots.  FDA advises that there are no provisions in the Federal Food, Drug, and Cosmetic Act or its legislative history that support this claim.  Another issue that WMD has been asked about is the claim that the FDA has a "1 %" tolerance that States must permit.  FDA advises that they have a policy for their field compliance staff to use in determining whether or not to request enforcement actions by the U.S. Justice Department.  The only purpose for the policy is for FDA to prioritize agency resources, not to set a limit for State enforcement actions.  The FDA also reports that it did not establish this policy as a statistical allowance or tolerance that could be easily abused by an unscrupulous packager.

Allow for reasonable moisture loss.

The following Federal regulation preempts any State or local requirement that is not identical:

21 CFR § 101.105

(q) The declaration of net quantity of contents shall express an accurate statement of the quantity of contents of the package.  Reasonable variations caused by loss or gain of moisture during the course of good distribution practice or by unavoidable deviations in good manufacturing practice will be recognized.  Variations from stated quantity of contents shall not be unreasonably large.

State and local jurisdictions must allow reasonable variations in net contents caused by the loss or gain of moisture in food products that occurs during good distribution practice.  If not, a jurisdiction may be questioned if enforcement action is taken against the product.  The moisture loss issue has challenged weights and measures officials and industry since the Federal Food, Drug, and Cosmetic Act allowing for moisture loss was passed more than 75 years ago.  However, the fact that FDA has not adopted specific moisture allowances is not justification for not making reasonable allowances for moisture loss.

The NCWM has adopted moisture allowances (also called “gray areas”) for flour, dry pet food, chicken, and hot dogs.  Under the "gray area" concept, any food found short in excess of the allowance is subject to enforcement action.  If the product is found short, but within the allowance, the official would take additional steps (such as comparing the moisture content of a sample from the lot to the time-of-pack moisture content provided by the packer) to determine if the product is short because of underweighing at the time of pack, or if the shortage is due to "reasonable" moisture loss that occurred during distribution.  WMD recommends that officials use the following guidelines with the "gray area" approach to allow reasonable moisture loss for the listed foods.

WMD only recommends moisture allowances.  It is the individual jurisdiction's responsibility to make the final decision concerning appropriate moisture allowances.  Final decisions should be made after considering moisture loss data provided by the packager.

II.	Recommended Moisture Allowances for Some Foods

WMD has consulted with State and local weights and measures agencies and affected industries on moisture loss problems associated with hygroscopic foods.  The following moisture allowances, beyond those already addressed by the NCWM, are recommended.  WMD used data from the FDA's Quantity of Contents Compendium as the major source for the numerical values for gray area recommendations.  Moisture loss has been identified with flour, pasta, rice, cheese and cheese products, dried fruits and vegetables, fresh and frozen fruits and vegetables, coffee beans, and bakery products.  Of all of these commodities, the extent of moisture loss variations is greatest for flour and pasta.  Very little current data are available for many other commodities.  However, WMD considers the need for allowances for affected commodities to be pressing and believes that States must make some allowance for these commodities until other data can be obtained for the respective commodities.  If a recommended allowance is perceived as too lenient, weights and measures agencies may prevent abuses of the allowance through inspections at the point of pack.  Allowances if too lenient provide are a disadvantage for firms with products in competition with packers where point-of-pack inspections may not be possible; consequently, such firms may wish to provide information to WMD so that we can recommend a more stringent allowance.  Where allowances are too stringent, firms may also provide information justifying a more appropriate allowance.  WMD suggests that firms desiring such an allowance be encouraged to work closely with the NCWM in view of its experience in this area.  Even though the process of developing moisture allowances is time-consuming, affected firms will be provided some relief during the interim period if State and local agencies implement the following recommendations:

III.	Moisture Allowances at Point of Pack

WMD recommends that moisture allowances at the point of pack not be made for packages taken immediately off the production line.  However, regulatory officials may often encounter product at the point of pack that has been stored by the packer prior to shipment to other locations.  In the past, moisture allowances have not been recognized in tests until the food is "introduced into interstate commerce;" however, since many manufacturers store the product for extended periods at the packing location, moisture loss should be recognized.  It is recognized that moisture loss is a natural phenomenon that is not controlled or delayed by any specific schedule, and WMD recommends that, at some point during such storage, allowances be permitted for moisture loss.  But, considering the multiplicity of foods, differences in packing materials, and the various environmental factors that affect moisture loss, it would be impossible for WMD to determine moisture loss that occurs on the packaging line or in the first few hours or days following the packaging of any one product type, let alone the tens of thousands of products that might be inspected at the point of pack.  Certainly, some products begin to lose moisture immediately after packaging, but there must be some definitive guidance provided for weights and measures officials and industry.

This problem is not unique to the United States where we are trying to encourage State and local officials to focus more on point-of-pack inspections.  WMD is aware that point-of-pack inspections are one of the primary tools used in European countries to control net contents in packaged goods.  We have learned that in some of these countries officials make no allowance for moisture loss within the first 7 days of the date of pack for some products.  As this is the only documented guidance on the issue available, WMD recommends that States consider a similar approach until other guidance on this issue is available.  This will provide packers and officials with guidance on when moisture loss allowances must be applied and will enable officials to conduct inspections at point of pack to ensure that packers are not taking advantage of recognized allowances for moisture loss.  To minimize the possibility of moisture loss considerations, officials should inspect the most recently packed items.

In 1995 WMD received comments on the 7-day recommendation from the Food Industry Weights and Measures Task Force (Task Force) of the Grocery Manufacturers of America.  The Task Force was concerned the 7-day period was not reasonable because the data submitted to the NCWM to develop the gray areas for flour, dry pet food, and other products clearly showed that some products lose as much as 0.5 % to 1 % of their weight due to moisture loss in the first few days of packing.  WMD acknowledged the industry's concerns about the 7-day period but believed then and now that the concerns can be addressed without dropping the recommendation.  WMD believes it is crucial to have specific guidelines on moisture loss for use in point-of-pack inspections.

WMD recommends an exception to the 7-day period if the packer can provide daily moisture loss data collected using the following procedures.  We have developed the following guidelines in collaboration with industry for packers to use the results of the short-term moisture loss studies at the point of pack.  To be acceptable, the data must be computed using the average moisture loss determined on a daily basis (e.g., the weight of each package in each of the sample control lots is determined everyday for 7-days) in environmental conditions similar to those that exist when the product is being inspected.  For example, an inspector visits a pet food plant in Ohio in the middle of July to conduct a point-of-pack inspection.  If the product tested had been packaged 5 days before the inspection and is found underweight; the moisture loss data must reflect the loss that would occur in July not January.  At least three sample control lots, consisting of at least 48 randomly selected packages, must be used to develop the moisture loss data.  Each sample lot must be stored under the same conditions that are typical for the product (e.g., if the product is typically placed in a sealed case on a pallet and shrink wrapped, the sample lots must be stored under the same conditions.  Moisture loss data obtained by removing the individual packages from the shipping case and storing them in a laboratory would not be acceptable).  The three-sample control lots must be placed at various locations in the storage site.  The average moisture loss value must be computed from the three-sample control lots with a 95 % prediction interval.

Since point-of-pack inspections are not routinely done in most jurisdictions at this time, there will be many situations where packers may not have "acceptable" moisture loss data for a particular product found to be underweight at the time of a point-of-pack inspection.  In these cases, WMD recommends the packer be allowed to conduct a study using the criteria specified above.  This data could then be provided to the weights and measures official for use in making a final determination whether or not moisture loss caused the product to be underweight.  One benefit of this approach is that the moisture loss study can be conducted within a few days of the inspector finding the inspection lot underweight so the test will more closely reflect the environmental conditions under which the original inspection lot was subject.

A similar recommendation is included for fresh bakery products weighed within 1 day following the end of the day of pack (in this case the moisture loss data would have to be based on the amount of moisture lost on an hourly basis under the same conditions listed above for the 7-day period).  WMD will provide technical assistance on request to any jurisdiction to resolve these individual moisture loss cases by working with you and the packer and will seek FDA assistance in resolving these situations.

IV.	Recommended Moisture Allowances for Use at Point of Pack and Testing at Any Other Location

Provide the following allowances for moisture loss (expressed as a percentage of the labeled net quantity of contents):

1.	No allowance for moisture loss should be made if:

(a)	A food, other than a fresh bakery product, while stored by the packer, is weighed within 7 days following the end of the day of pack, except when the packer provides acceptable (see note below) documentation of the moisture loss for the product in storage at the point-of-pack, or

(b)	A fresh bakery product, while stored by the packer, is weighed within 1 day following the end of the day of pack, except when the packer provides acceptable (see note below) documentation of the moisture loss for the product in storage at the point of pack, or

(c)	The food is not subject to moisture loss, or

(d)	The food is packaged in an air-/moisture-tight container (e.g., cans, glass bottles, enclosed in paraffin, etc).

2.	Allow 1 % for the following foods:  frozen fruits and frozen vegetables, and fresh baked breads, buns, rolls and muffins.

3.	Allow 3 % for the following foods:  flour, dry pet food, pasta, rice, cheese and cheese products, dried fruits and vegetables, fresh fruits and vegetables, coffee beans, and bakery products other than fresh baked breads, buns, rolls and muffins.

Note for Moisture Allowances at Point of Pack:  The data must be computed using the average moisture loss determined on a daily basis (e.g., the weight of each package in each of the sample control lots is determined everyday for 7 days) in environmental conditions similar to those that exist when the product is being inspected.  For example, an inspector visits a pet food plant in Ohio in the middle of July to conduct a point-of-pack inspection.  If the product tested had been packaged 5 days before the inspection and is found underweight; the moisture loss data must reflect the loss that would occur in July, not January.  At least three sample control lots consisting of at least 48 randomly selected packages must be used to develop the moisture loss data.  Each sample lot must be stored under the same conditions that are typical for the product (e.g., if the product is typically placed in a sealed case on a pallet and shrink wrapped, the sample lots must be stored under the same conditions.  Moisture loss data obtained by removing the individual packages from the shipping case and storing them in a laboratory would not be acceptable).  The three-sample control lots must be placed at various locations in the storage site.  The average moisture loss value must be computed from the three-sample control lots with a 95 % prediction interval.  If the packer does not provide the information, no additional moisture allowance should be permitted.

V.	Moisture Loss for Products Not Listed in NIST Handbook 133

When officials test product for which no moisture loss guidance has been provided NIST can provide technical assistance.  In the past NIST has published recommended moisture allowances for use at all locations including Point-of-Pack.  If moisture loss studies are required NIST will assist in the completion of such studies.  If studies are a necessity they should be a collaborative effort between officials and industry and can be very time consuming depending on the product.  Because of the potential impact on interstate commerce, studies must be completed on a nationwide basis and not by individual jurisdictions unless circumstances justify only local consideration.

The amount of moisture lost from a package is a function of many factors not the least of which is the product itself (e.g., moisture content), packaging, storage conditions (e.g., temperature, humidity, air flow), time, handling and others.  If a packaged product is subject to moisture loss officials must allow for “reasonable” variations caused by moisture either evaporating or draining from the product.  Officials cannot set arbitrary moisture allowances based solely on their experience or intuition.  Moisture allowances must be based on scientific data and must be “reasonable.”  Reasonable does not mean that all of the weight loss caused by moisture evaporation or draining from the product must be allowed.  As a result of product and moisture variability the approach used by official must be developed on a case-by-case basis depending on many factors to include, but not be limited to, the manufacturing process, packaging materials, distribution, environmental influence and the anticipated shelf life of the product.

NIST Handbook 130 provides a starting point for developing a workable procedure in Section 2.5.6. in the Interpretation and Guideline Section regarding “Resolution for Requests for Recognition of Moisture Loss in Other Packaged Products.”  NIST WMD has worked and will continue to work extensively with the NCWM, The Laws and Regulations Committee, and industry to develop protocol for determining moisture allowances that can serve as models for future studies.  Most studies involving nationally distributed products will require that products be tested during different seasons of the year and in different geographic locations to develop a nationally recognized moisture allowance.  Some studies may require the development of laboratory tests used for inter-laboratory comparisons to establish moisture content in products at time-of-pack or at the time-of-inspection.

In some cases manufacturers can and may provide valid moisture loss data for officials to consider in lieu of conducting studies.  In cases like this, WMD will provide assistance to determine if the information is complete or if further documentation is required.  For example, a major producer of bar soap has provided moisture loss evidence for consideration by officials to determine what if any moisture loss could be expected to occur, in some cases this information has proven to be accurate thus avoiding the need for national data collection.

Moisture loss or gain is a critical consideration for any net content enforcement effort and one that, in most cases, cannot be addressed by a field official.  If moisture loss issues are to be deliberated, it is the regulatory official’s responsibility to resolve the packers concern utilizing available resources and due process procedures.  To fulfill this obligation officials may be required to utilize specialized test equipment and specific laboratory procedures.  Additionally, the collection of adequate test data may require product examination over a broad geographical area and consideration of a wide range of environmental factors.  If a national effort is required a coordinated effort involving industry, trade associations, weights and measures officials and federal agencies may be required.  NIST will provide technical support upon request.

VI.	Background Information on Federal Preemption

In the previous memorandum we reported that FDA was expected to adopt regulations identical to those contained in the 4th Supplement of the 3rd Edition of Handbook 133 adopted by the NCWM in 1994.  The FDA published proposed regulations regarding net quantity of contents test procedures for packaged food under its jurisdiction in the March 4, 1997, issue (62 FR 9826) of the Federal Register.  FDA subsequently withdrew that proposal on November 26, 2004 (69 FR 68831).  FDA based the withdrawal on its need to reduce its regulatory backlog and focus its resources on current public health issues.  The withdrawal did not speak to the merits of the proposal.  Based on the experience reported since the adoption of the substantive revisions in 1994, WMD believes that the latest edition of Handbook 133 provides the basis for nationally uniform test methods and other requirements consistent with the requirements in Federal laws relating to net quantity of contents.  Therefore, WMD recommends that State and local authorities test products according to the procedures outlined in the latest edition of Handbook 133 unless future FDA guidance or regulations specify otherwise.  Moreover, it is extremely important that State and local jurisdictions continue to provide regulatory oversight so businesses can compete in a fair marketplace and consumers can depend on the representations of quantity upon which they make purchasing decisions.

a.	Federal Preemption under the Nutrition Labeling and Education Act (NLEA) of 1990

The NLEA was signed into law on November 8, 1990, to amend Title 21 Section 343 of the Federal Food, Drug, and Cosmetic Act (FDCA).  The Act requires nutrition labeling on foods and regulates health claims about food nutrients to help consumers select a more healthful diet.  Under the Act, State and local laws not "identical" to corresponding FDA requirements are preempted.  According to regulations under FDA [21 CFR Part 100.1 (c)(4)], the phrase "not identical" does not refer to the specific words in the requirement.  Instead it means that the State or local requirement directly or indirectly imposes obligations or contains provisions that (1) are not imposed by or contained in an FDA requirement, or (2) differ from those specifically imposed by or contained in an FDA requirement or implementing regulation.

The preemption ensures uniformity in labeling requirements and prohibits non-uniform State and local laws, regulations, formal and informal policies, and other enforcement practices that prevent firms from conducting efficient and cost-effective business in all 50 States.  Congress recognized that even though federal requirements may preempt more restrictive state requirements in certain instances, the net benefits from national uniformity in these aspects of the food label outweigh any loss in consumer protection that may occur as a result.

The ultimate goal of the NLEA is uniformity in laws, regulations, and test procedures—a goal shared by the NCWM and NIST alike.  Under NLEA, state and local labeling requirements must be identical to many of the regulations promulgated under the Federal Food, Drug and Cosmetic Act, as amended by the NLEA, in Title 21 - Code of Federal Regulations, Parts 100 to 169 (current edition).  Jurisdictions may continue to enforce state or local regulations on foods where there is no federal requirement and continue to enforce existing state and local laws if they are "identical" to FDA regulations.

b.	Defining what is "Identical"

Federal preemption of the net quantity of contents regulations and test procedures occurred on November 8, 1991.  On that date, state and local regulations on quantity of contents (e.g., net quantity of contents regulations, sampling plans, and test procedures) were preempted under the NLEA if they were not "identical" to federal requirements.  The question is, what is "identical?"  Both State and FDA regulations require packers to express an "accurate" statement of the quantity of contents of packaged food while permitting "reasonable" variations.  The most common questions WMD receives are “do the test procedures used by the states and FDA provide identical results” (e.g., do the sampling plans have equal confidence levels, and are the products weighed or measured using recognized procedures) and “are the criteria for defining reasonable variations (e.g., the values of maximum allowable variations, the sample correction factors, and allowances for moisture loss) consistent with those used by FDA?”

FDA's test procedures are based on those contained in "Official Methods of Analysis" of the Association of Official Analytical Chemists International (AOAC).  Based on information provided by FDA, WMD believes the test procedures contained in the 4th edition of Handbook 133 are identical to the AOAC procedures.  If officials implement the recommendations in this memo, they should be using test procedures equivalent to FDA's.

c.	Preemption Extends Beyond Food Packages Introduced into Interstate Commerce

Federal courts have ruled that the FDA has jurisdiction over all food products made from ingredients shipped in interstate commerce, regardless of the amount of the ingredient present, even though the finished product has not moved in interstate commerce.  Products that have not entered interstate commerce (e.g., bakery products offered for sale in the food store where they are baked and packaged) that are made of ingredients shipped in interstate commerce to the store are subject to the Food, Drug, and Cosmetic Act and, therefore, should only be tested according to the following recommendations in this memorandum until final regulations are adopted by the FDA.

This memorandum is not legal advice.  I encourage you to review this memo with your State Attorney General or staff attorney before implementing any policy on these issues or before you take enforcement action against a product that falls under FDA or other federal jurisdiction.

Training and Technical Support

WMD is committed to supporting state and local jurisdictions in their package inspection programs by providing technical assistance and training classes on Handbook 133.  If you need assistance, please contact Tom Coleman at (301) 975-4004 or by e-mail at t.coleman@nist.gov.

NOTICE

The following documents could not be included in this publication because they are only available in Adobe PDF format.  They are available from NIST upon request.  Please contact Tom Coleman at (301) 975-4004 or by e-mail at t.coleman@nist.gov or Lisa Warfield at (301) 975-3308 or at lisa.warfield@nist.gov to obtain copies.

B.	Letter from Kraft Foods Requesting that NIST Withdraw Letter on Moisture Loss

C.	Chapter 3 from the 3rd Edition of NIST Handbook 133 and 4th Supplement 1994

See 9CFR317.19 and 9CFR381.121b for the applicable meat and poultry regulations.

The 3rd Edition and 4th Supplement required by USDA and the January 2005 4th Edition of Handbook 133 are free at http://ts.nist.gov/WeightsAndMeasures/h1334-05.cfm on the Internet.

Historically, the FDA has used enforcement procedures based on a 95 % confidence level that findings of underfill are accurate.  The Category A Sampling Plans in the 4th edition of Handbook 133 are based on an approximate 97 % confidence level that the findings are accurate; therefore, these plans should be acceptable to use in testing packages under FDA jurisdiction.

? Under a “minimum” net content system (these systems are common in European countries), no package in a sample may contain less than the net quantity of contents stated on the package label.