NuMI BPM Measurements and Signal Processing Characteristics

Peter Prieto

6/23/04

This note explains the interface to the BPM system, the available front-end electronics set-up modes, and the beam conditions where it is used. It also describes the Echotek setup parameters.

## Data Acquisition Specification

Every measurement taken by the BPM front-end system is based on an Acquisition Specification. The user must supply sufficient information for a program to generate a complete and unambiguous acquisition specification. (Bracketed words in italics refer to nomenclature used in the document “Event Driven Data Acquisition for NuMI BPM Front-end” by Duane Voy.)

An Acquisition Specification is loaded into the NuMI front-end by ACNet and treated as if are constants remaining active. The specified measurements are performed every time the specified arm/trigger conditions are met. The following elements are contained in the specification.

- Set the acquisition on. [Enable].

- Identifies whether the specification refers to the Periodic Background measurement process or to a user or TCLK triggered measurement [Measurement].

- Identifies whether the measurement is to be of a proton. Identifies the beam structure to be measured in order to select the appropriate MDAT frame for timing reference [Beam Type]

- Identifies the setup parameters the digital down-convert hardware needs for signal processing mode [Beam Measurement]

- Identifies the TCLK event the measurement will be armed. [Arm Event].

- Identifies the BEAM SYNC event used as a trigger to collect data  [Trigger Event].

- Introduce a delay before data is acquired in quantity turns [Pretrigger Enable].

- Introduce a delay in terms of turns before the data is acquired [Trigger Delay (turns)].

- Every BPM gets delayed by a known amount of buckets [Global Delay].

- Identifies an “intensity threshold” below which data will be flagged as suspect. [Intensity Threshold].

- Set the time between the arm and trigger event the front-end will wait if this time is not met the measurement is aborted [Timeout].

## Data Readout Specification

In normal operation, data from any completed data acquisition is available for readout until over-written. There are separate data readout devices for Flash, and Turn-by-Turn data, each with an associated Readout Specification. The user must supply sufficient information for a program to generate a complete and unambiguous readout specification.

A Readout Specification:

- Identifies the desired data buffer (one of sixteen, each associated with an Acquisition Specification) [EventIndex]

- Identifies the beam structure for which data is desired [DataType]

- Identifies the starting turn number and the turn count for turn-by-turn and closed orbit data [beginTurn and numTurns]

- Identifies BPM location for which turn-by-turn data is to be readout [Channel]

## Signal Processing Mode

The NuMI BPM system allows selection of one signal-processing mode and it is specified in the Acquisition Specification [Beam Measurement] section.

# 6 Batch 53 MHz –  ‘6Batch53MHzBuffered’

This mode measures the magnitude of each of the 53 MHz batches integrated over an interval corresponding to about 1.6 microseconds (84 bunches), the full extent of the single batch beam structure.

It is used to measure the “average” position of each of the six batches during a single pass. Data s collected is triggered by the BSYNC $74 event. This event occurs 200 microseconds before the kicker fires. The 1250 points of buffered data is searched starting from the newest data toward the earliest data in the buffer. MI BPM data is searched for the six batches corresponding to the last turn and all batch positions previous to the last turn are disregarded. Signals measured in the beam line will be processed in the same manner, the only difference is the found batches are not followed by earlier beam since it is a single pass system even though 537 microseconds worth of data is collected.

# 6 Batch 53 MHz –  ‘6Batch53MHzTimed’

This mode measures the magnitude of each of the 53MHz batches integrated over 1.6 microseconds (84 bunches). The only difference with the 6Batch53MHzBuffered mode is the acquisition specification for this measurement includes an eighteen-turn delay before the data is collected. This is done to make a precise time-referenced measurement with respect to the BSYNC event, fixing the time between the BSYNC and each measured batches. This mode collects only 32 points or 13.7 microseconds worth of data.

# Signal Processing Hardware and Signal Processing Characteristics

The NuMI BPM system is based on a digital down-converter system (Echotek 814 board). The board consists of 8 separate channels, each of which has an 80 MHz 14 bit digitizer, 80 MHz digital down-converter chip, and a 128 Kword FIFO. The digital down-converter is the heart of the system and it has a numerical mixer and three filters, two of which are FIR filters with 21 and 64 taps respectively and a five tap Cascaded Integrated Comb filter (CIC).

The digitized batch signal v(t)

gets down converted by the numerical mixer, then filtered and decimated in the CIC filter. Then the CFIR and PFIR perform more filtering and decimation before the data is stored in the FIFO as in-phase (I) and quadrature (Q) pair.

This pair is transferred through the VME backplane from the DDC-814 board to the front-end processor where square root of the sum of the squares

;

is performed on the signal from each of the BPM plates then the peak search algorithm seeks for each of the batches. Once found the raw data is stored in local memory.

The batch position is computed for each BPM from the I and Q data pair for plate A and plate B only when the user requests the batch position.

Position is , The batch intensity

The scale factor for MI for horizontal BPM =  36.55 mm/V, vertical BPM = 41.77 mm/V. The scale factor for an 8 GeV BPM = 75 mm/V

# DDC Signal Processing Parameter Setup

The greychip parameters are read from a file and loaded through the front-end processor.

The files contain the necessary parameters to setup the down convert frequency, the filter coefficients and gains. The table below lists two different files used in NuMI BPM system with some of the most important settings.

| PARAMETERS | 6Batch53MhzEnsemble | 6BatchNarrowBand |
| --- | --- | --- |
| Burst | 128 | 512 |
| Dataskip | 5 | 3 |
| CIC decimation | 7007 | 7007 |
| CIC Scale | 7B | 7B |
| CFIR | 11 | 01 |
| PFIR | 03 | 01 |
| Fine Gain | 0500 | 0400 |
| Clock | 74.3447320 | 74.3447320 |
| Fdownconv | 21.2414820 | 21.2414820 |
| CFIR taps | 11 tap Gaussian filter | 2 tap Boxcar filter |
| CFilter Sum | 55968 | 64000 |
| PFIR taps | 14 tap boxcar | 15 tap boxcar |
| Pfilter Sum | 56000 | 60000 |
| # Channels used | 4 | 2 |
| CIC decimation | 4 | 4 |
| CFIR decimation | 2 | 2 |
| PFIR decimation | 1 | 2 |
| Final Shift | 17 | 16 |
| Sec/tap | 107.6 nanosec. | 107.6 nanosec. |
| Sec/point | 107.6 nanosec. | 215.2 nanosec. |
| PFIR length | 1.5064 microsec | 1.614 microsec. |

# DDC Clock Synchronization

The Echotek digital down converter board requires a clock signal for the A/D’s and DDC’s. A PMC clock generator card (ECSG-1R3ADC) mounted on the front-end processor (MVME 3401) generates any frequency from 10 MHz up to 100 MHz and the generated frequency is available on the card’s front panel.

The clock signal can be an asynchronous signal or it can be a locked signal referenced to an external signal through a phase lock loop (PLL). The main injector clock (53.10435 MHz) is used as an external reference signal to the PLL, reducing or eliminating the arbitrary phase difference between the clock phase and sampled signal phase when locking the frequencies of these two signals. The PLL is programmed to produce a clock signal that is 7/5 of the reference signal (74.34609MHz) and is used as the sampling clock by the DDC board.

The PLL setup parameters in the startup script specify the reference clock frequency and the PLL counter values. Ecsg (53103380, 743, 8, 60, 92, 20, 3, 3).