| SUMMARY OF NETWORKS FOR INORGANIC GASES |
| --- |
| Numbers of Measurement Sites for Each Inorganic Gas |
| Network | Total Number of Sites | Ozone (O3) | Nitrogen Oxides (NOx) | Nitrogen Oxide (NO) | Nitrogen Dioxide (NO2) | Total ReactiveNitrogen (NOy) | Ammonia (NH3) | Nitric Acid (HNO3) | Sulfur Dioxide (SO2) | Carbon Monoxide (CO) | Location of Information and/or Data |
| State / Local / Federal Networks |
| NCore1,6 | 75 | 75 |  | 75 | 75 | 75 | 75 | 75 | 75 | 75 | http://www.epa.gov/ttn/amtic/monstratdoc.html |
| SLAMS2 | ~3000 | 1783 | 306 | 373 | 613 | 75 | 29 |  | 819 | 714 | http://www.epa.gov/ttn/airs/airsaqs/aqsweb/aqswebhome.htm |
| PAMS2 | 75 | 50 | 60 | 61 | 54 | 3 |  |  |  | 1 | http://www.epa.gov/ttn/airs/airsaqs/aqsweb/aqswebhome.htm |
| CASTNet3,7 | 80+ | 88 |  |  |  |  |  | 88 | 88 |  | http://www.epa.gov/castnet/ |
| GPMP2 | 33 | 35 |  |  |  |  |  |  | 4 | 1 | http://www2.nature.nps.gov/air/Monitoring/network.cfm#data |
| Tribal Monitoring Networks |
| Tribal2 | 120+ | 21 | 6 | 10 | 13 | 4 | 1 |  | 16 | 6 | http://www.epa.gov/ttn/airs/airsaqs/aqsweb/aqswebhome.htm |
| Industry Networks |
| New Source Permit2 | variable | 8 | 18 | 20 | 24 |  |  |  | 66 | 8 | Contact specific industrial facilities |
| ARIES/SEARCH4 | 8 | 8 | 8 | 8 | 8 | 8 | 2 | 8 | 8 | 8 | http://www.atmospheric-research.com/studies/SEARCH/index.html |
| HRM Network5 | 9 | 9 |  |  | 9 |  |  |  | 9 | 9 | http://hrm.radian.com/houston/how/index.htm |

Footnotes:

1.  NCore is a network proposed to replace NAMS, as a component of SLAMS; NAMS are designated as national trends sites.

2.  Counts of sites for which selected inorganic gases are measured are based on a search of air quality measurements in AQS that was made on 04/19/06.  Monitor type, pollutant or "parameter" code, and the last sampling date for a given monitoring site were the primary search factors considered.  Last sampling dates  encompassed 2004 to the present.  Parameter codes unique to each pollutant were chosen.  The following monitor types were selected for inclusion with the indicated types of networks:

a. SLAMS network includes: NAMS, SLAMS, other, non-regulatory, special purpose, and unknown monitoring types

b. PAMS network includes: PAMS and unofficial PAMS monitoring types

c. GPMP network includes: Non-EPA federal monitoring type

d. Tribal network includes: Tribal monitors type; also, the number of sites indicated for tribal monitoring is actually the

number of monitors, rather than sites.  The number of sites with multiple monitors is probably less than 80.

e. New Source Permit network includes: Industrial type.

3.  Counts of sites for which selected inorganic gases are measured are based on a "Quick Report" for 2004 from the CASTNet website made on 04/19/06; measurements of pollutants, other than O3, are based on Filter Pack providing weekly integrated averages.

4.  Counts of sites for which selected inorganic gases are measured are based on information from the SEARCH website taken on 04/19/06.

5.  Counts of sites for which selected inorganic gases are measured are based on information from the HRM website taken on 04/19/06.

6.  Monitoring for NO2, NH3 and HNO3 under NCore is pending the availability of suitable methods.

7.  HNO3 values under CASTNet include some volatile fraction from particle nitrates.