DEPARTMENT OF HOUSING AND URBAN DEVELOPMENT 	STRUCTURAL ENGINEERING

## Housing - Federal Housing Commissioner 	BULLETIN NO.

# TO: 	DIRECTORS, SINGLE FAMILY HOCs 	ISSUE DATE

# DIRECTORS, MULTIFAMILY HUBs

#### REVIEW DATE

##### SUBJECT: 	1.	 Item Description

- Name and address

of Manufacturer

This Structural Engineering Bulletin (SEB) should be filed with other SEBs and related Bulletins on materials or products as required by prescribed procedures.

1.	General:

This Bulletin sets forth specific requirements under the Technical Suitability of Products Program for determining the eligibility of housing to be constructed under HUD mortgage insurance, or other HUD housing programs.

2.	Scope:

This Bulletin applies only to the structural features of this method of construction.  Final determination of eligibility is made by the appropriate HUD Field Office. Other factors considered by the Field Office will be valuation, location, architectural planning and appeal, mechanical equipment, thermal characteristics, and market acceptance.  Consideration is also necessary to determine whether a specific property will qualify under the specific HUD program, when constructed according to the method outlined in this Bulletin, and where the structure is to be located.

-2-

In geographical areas subject to hurricanes, earthquakes, or other severe conditions affecting dwelling structures, the HUD Field Office or Homeownership Center shall require additional safeguards in proposed designs, when necessary.

3.	Minimum Property Standards (MPS):

Compliance with HUD MPS will be determined by the HUD Field Office or Homeownership Center on the same basis as submissions involving conventional construction, except for the special features described in this Bulletin.

4.	Inspection:

Field compliance inspections covering conventional items of construction and any special features covered in this Bulletin shall be made in accordance with prescribed procedures.

The appropriate HUD Field Office or Homeownership Center shall furnish a copy of a HUD field inspection report to Headquarters, FHA Standards, Office of Manufactured Housing Programs, when there is:

a.	Evidence of noncompliance with portions of the system of construction described in this Bulletin.

b.	Faulty shop fabricated, including significant surface defects.

c.	Damage to shop fabricated items or materials due to improper transportation, storage, handling, or assembly.

d.	Unsatisfactory field workmanship or performance of the product or system.

e.	Any significant degradation or deterioration of the product or evidence of lack of durability or performance.

Periodic plant inspections will be made by HUD designated representatives in accordance with their prescribed procedures.  Factory inspection reports shall be submitted to HUD Headquarters, upon request.

5.	Certification:

The manufacturer named in this Bulletin shall furnish the builder with a written certification stating that the product has been manufactured in compliance with the HUD Minimum Property Standards (MPS), except as modified by this Bulletin.  The builder shall endorse the certification with a statement that the product has been erected in compliance with HUD MPS except as modified by this Bulletin, and that the manufacturer's certification does not relieve the builder, in any way, of the responsibility under the terms of the Builder's Warranty required by the National Housing Act, or under any provisions applicable to any other housing program.  This certification shall be furnished to the HUD Field Office upon completion of the property.

-3-

OUTLINE DESCRIPTION, CATEGORY II CONSTRUCTION:

GENERAL:

Shop fabricated structural insulated roof, wall, and floor panels for one-, two- and three-story dwellings are furnished in this method of construction.  Panels consist of oriented strand board (OSB) skins and expanded polystyrene (EPS) foam cores.  Panels are transported to the building site where they are connected together.

Conventional construction may include various types of interior and exterior finish materials.  All materials and methods of installation shall be in accordance with the manufacturers published installation instructions, HUD Minimum Property Standards, Use of Materials Bulletin (UM), and Materials Releases (MR), except as may be specifically noted herein.  Plumbing, heating and electrical systems are shop installed and field connected.

This Bulletin is based on a structural review of AFM R-Control structural insulated panels for  one-, two- and three-story dwellings.  Foundation design and nonstructural items (such as architectural, plumbing, heating and electrical features) are not covered by this Bulletin.

SPECIFICATIONS:

Form HUD-92005, "Description of Materials" specifying only the structurally related items (Nos. 1 to 12, 14, 26 and 27), as originally submitted for determination of technical suitability, describes the materials that shall be used in construction of housing units under this system of construction.

DRAWINGS:

The following drawings by AFM Corporation shall be considered an integral part of this Bulletin:

Drawing No.		Date			Description

SIP-101		12/1/99		Plate Connections

SIP-102		5/1/99			Spline Connection Surface Spline

SIP-102a		6/1/02			Spline Connection Engineered Wood

SIP-102b		6/1/02			Spline Connection I-Beam Spline Connection

SIP-102c		6/1/02			Spline Connection Insulated I-Beam Spline

SIP-102d		6/1/02			Spline Connection Double 2x

SIP-102e		5/1/99			Spline Connection Surface Spline Top Side Only

SIP-102f		5/1/99			Mega Spline Connection

SIP-102g		5/1/99			Block Spline Connection

SIP-103		5/1/99			Corner Connection

SIP-103a		5/1/99			Corner Connection

SIP-103b		5/1/99			Angled Corner Connection

SIP-104		5/1/99			Slab Foundation Framing

SIP-104a		5/1/99			Slab Foundation Framing

SIP-105		5/1/99			Foundation Framing-Joist

SIP-105a		5/1/99			Foundation Framing-Joist

-4-

Drawing No.		Date			Description

SIP-105b		5/1/99			Foundation Framing-Panel

SIP-105c		5/1/99			Foundation Framing-Brick Ledge

SIP-106		5/1/99			Foundation Framing-Truss

SIP-107		5/1/99			Knee Wall Framing

SIP-107a		5/1/99			Knee Wall Framing

SIP-108		6/1/02			Floor/Roof Panel Connection

SIP-108a		6/1/02			Floor/Roof Panel Connection

SIP-108b		6/1/02			Floor/Roof Panel Connection

SIP-109		5/1/99			Bearing on Wall Panel

SIP-109a		5/1/99			Floor Truss Bearing on Wall Panel

SIP-109b		5/1/99			Floor Panel on Wall Panel

SIP-109c		5/1/99			Floor Joist Hanger and Wall Panel

SIP-110		5/1/99			Floor Joist Hanger and Ledger Beam

SIP-110a		5/1/99			Floor Panel and Ledger Beam

SIP-111		5/1/99			Interior Wall Connection

SIP-112		5/1/99			Headers

SIP-112a		5/1/99			Component Window Assembly

SIP-112b		5/1/99			Component Window Assembly

SIP-112c		5/1/99			Header Detail

SIP-113		5/1/99			Header Sections

SIP-113a		5/1/99			Header Sections (Insulated Header)

SIP-113b		5/1/99			Header Sections (Built Up 2x’s)

SIP-114		5/1/99			SIP Used as Header (Surface Spline Condition)

SIP-115		5/1/99			Openings in Panels

SIP-116		5/1/99			Window Detail

SIP-117		5/1/99			Door Detail

SIP-118		5/1/99			Roof Framing Options

SIP-118a		5/1/99			Roof Framing-Cantilever

SIP-119		5/1/99			Roof Eave Built Up-Ladder Framed

SIP-119a		5/1/99			Roof Eave Plumb Cut-Cant Panel

SIP-119b		5/1/99			Roof Eave Square Cut-Cant Panel

SIP-119c		5/1/99			Roof Gable Built Up-Ladder Framed

SIP-119d		5/1/99			Roof Gable Square Cut-Cant Panel

SIP-120		5/1/99			Roof Valley-Plumb Cut

SIP-121		5/1/99			Roof Ridge-Plumb Cut

SIP-121a		5/1/99			Roof Ridge-Square Cut

SIP-121b		5/1/99			Roof Ridge Plumb Cut/Cantilever Ridge

SIP-122		5/1/99			Beveled Wall Panel

SIP-122a		5/1/99			Beveled 2x Blocking

SIP-122b		5/1/99			Beveled Wedge Blocking

SIP-122c		5/1/99			Gable End

SIP-123		5/1/99			Ceiling Fan Attachment

SIP-124		5/1/99			Truss Bearing on Wall Panel

SIP-125		5/1/99			Ceiling Panels and Truss

SIP-125a		5/1/99			Ceiling Panels and Rafter

SIP-126		5/1/99			Roof Openings

SIP-126a		5/1/99			Roof Penetrations

SIP-127		5/1/99			Cold Roof Eave with Vented R-Control SpecLam

-5-

Drawing No.		Date			Description

SIP-127a		5/1/99			Cold Roof Eave with 2x Sleepers

SIP-127b		5/1/99			Cold Roof Ridge

SIP-127c		5/1/99			R-Control SpecLam

SIP-128		5/1/99			Chases-Electrical Intermediate Roof Beam

SIP-128a		5/1/99			Chases-Electrical Roof Ridge Beam

SIP-128b		5/1/99			Chases-Electrical Roof/Wall Intersection

SIP-129		5/1/99			Chases-Electrical Locations in SIPs

SIP-129a		5/1/99			Box for Switch or Outlet

SIP-130		5/1/99			Cabinet Attachment

SIP-131		5/1/99			Base Board

SIP-132		5/1/99			Wall Chase

SIP-132a		5/1/99			Flush Wall Chase

SIP-133		5/1/99			Surface Spline at Truss

SIP-133a		5/1/99			Surface Spline at Dimensional Lumber

SIP-133b		5/1/99			Surface Spline at Steel Joist

SIP-133c		5/1/99			Surface Spline (Top) at Truss

SIP-133d		5/1/99			Surface Spline (Top) at Dimention

SIP-133e		5/1/99			Surface Spline (Top) at Steel Joist

SIP-133f		5/1/99			Surface Spline at Steel Joist

SIP-134		5/1/99			Continuous Panel at Truss

SIP-134a		5/1/99			Continuous Panel at Dimensional Luamber

SIP-134b		5/1/99			Continuous Panel at Steel Joist

SIP-135		5/1/99			Panel Fastening Patters

SIP-136		5/1/99			Post to Concrete Anchorage

SIP-136a		5/1/99			Post to Concrete Anchorage

SIP-137		5/1/99			Post to Post Through Floor

SIP-138		7/1/02			Diaphragm Connections - Splines

SIP-140		6/1/02			Diaphragm Connection - Support Member

SIP-141		6/1/02			Diaphragm Connection - Intermediate Support

SIP-201		5/1/99			Corner Connection

SIP-202		5/1/99			Reentrant Corner Connection

SIP-203		5/1/99			Foundation Framing-Joist

SIP-204		5/1/99			Wall Panel at Timber Frame Floor

SIP-205		5/1/99			Roof Gable Square-Cant Panel

SIP-206		5/1/99			Roof Eave Square-Cant Panel

The Builder shall submit construction drawings to the HUD Office or Homeownership Center with each application under HUD housing programs, which shall include the same or similar structural features shown on the drawings listed above.  Copies of these listed drawings shall also be furnished to the HUD Field Office or Homeownership Center by the Builder upon request.

-6-

SPECIAL CONSTRUCTION FEATURES:

General:  The AFM R-Control Structural Insulated Panels vary in size from 8' to 24' in length, and from 8' to 10' in height (10' high panels are limited to 8' widths).  Panel core thicknesses range from 3 ½" through 11 ¼".  The facing thickness of the OSB is 7/16" minimum.  Panels can be used individually or may be connected to form larger sections and assemblies.

Facings, Foam Core and Adhesive:  Panels consist of two layers of OSB facing.  The OSB facings must bear a stamp indicating compliance with DOC PS2-92 (Performance Standard for Wood-Based Structural-Use Panels).  The expanded polystyrene (EPS) core material is nominal 0.95 pcf density, modified polystyrene insulation board in accordance with ASTM C 578-01 and AFM/UL certified.  Skins shall be bonded to the foam cores with a high-quality structural adhesive listed in the AFM Quality Control Manual.

Field Assembly: Each structure built using R-Control® Structural Insulated Panels shall be designed by a registered design professional. Drawings shall be provided that bear the design professional’s registered stamp or seal. Such drawings shall contain specific instructions with regard to connections, erection, and installation of the panels, and shall be available at all times during installation.

The R-Control® Structural Insulated Panels are connected to each other at the panel edges through the use of splines. The splines are field-coated with Do-All-Ply sealant and fastened with 8d box nails at 6 inches on center, or an equal approved by AFM.

The top and bottom plates of the panel are dimensional wood plates sized to match the core thickness and installed with Do-All-Ply sealant and fastened with 8d box nails at 6 inches on center, or an equal approved by AFM. The Do-All-Ply sealant is applied along the base plate prior to the panel placement.

DESIGN AND CONSTRUCTION REQUIREMENTS:

Allowable Structural Loads for Panels

Allowable axial, transverse, racking, header, and diaphragm loads are noted in Tables 1 through 8. For loads greater than those specified in Tables 1 through 6 and Table 7, the specific condition shall be framed by other methods to meet applicable code requirements.

Openings in the wall panels shall be limited to 48 inches in width and to the allowable loads specified in Table 7. For openings greater than 48 inches, loads shall not exceed the those indicated in the header load design chart or shall be framed to meet current requirements

Fire Protection and Interior Finish:  The polystyrene foam core shas a flame spread rating of not more than 25, and a smoke development rating of not more than 450 when tested in accordance with ASTM E-84.  Panels shall be covered on the interior of the building by an approved 15-minute thermal barrier.

-7-

Exterior Finish:

The exterior of the wall panels shall be covered with an exterior wall covering acceptable to AFM R-Control and in compliance with the Minimum Property Standards.

Framing of Load bearing Walls:  Wood-to-wood connections shall be provided between bearing walls and roof-ceiling or floor construction.  Floor covering, including carpeting and vinyl tile, shall not be continued under load bearing walls.

Roof Construction:  Roof framing and coverings shall be constructed to comply with the Minimum Property Standards. Roofs with hot-asphalt or hot-coal tar pitch are prohibited.

Table 1 – Wall Axial Loading (lbs)

|  | Panel Height | 7/16” OSB Thickness |
| --- | --- | --- |
|  |  | EPS Core Thickness |
|  |  | 3 ½” Core | 5 1/2 “ Core |
| Axial Load1 (plf) | 8’ | 2750 | 4000 |
|  | 10’ | 2500 | 3500 |
|  | 12’ | 2000 | 3000 |
|  | 14’ | – | 2750 |
|  | 16’ | – | 2500 |

Notes:

- Maximum allowable axial load is limited to the loads tabulated for axial condition alone.

- Values based on a maximum height-to-width ratio of 3 ½ to 1.

- See plate connection detail SIP-101.

Table 2 – Shear Loading

|  | Panel Height | 7/16” OSB Thickness |
| --- | --- | --- |
|  |  | EPS Core Thickness |
|  |  | 3 ½” Core | 5 1/2 “ Core |
| Racking Shear | NA | 335 plf | 335 plf |

Note:

Vertical boundaries (shear walls) require double studs.

Table 3 – Transverse Loading (psf) with minimum 7/16” OSB Splines

| Roof and Wall or Floor Panel Span | 7/16” OSB Thickness |
| --- | --- |
|  | EPS Core Thickness |
|  | 3 ½” Core | 5 ½” Core | 7 ¼” Core | 9 ¼” Core | 11 ¼” Core |
| Deflection | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 |
| Transverse Load (psf) | 4’ | 65 | 80 | 80 | 89 | 122 | 122 | 92 | 136 | 136 | 107 | 136 | 136 | 104 | 136 | 136 |
|  | 6’ | 40 | 53 | 53 | 58 | 81 | 81 | 64 | 96 | 96 | 75 | 96 | 96 | 73 | 96 | 96 |
|  | 8’ | 28 | 40 | 40 | 42 | 61 | 61 | 51 | 76 | 76 | 61 | 76 | 76 | 60 | 76 | 76 |
|  | 10’ | 20 | 30 | 32 | 32 | 48 | 49 | 44 | 64 | 64 | 54 | 64 | 64 | 55 | 64 | 64 |
|  | 12’ | 15 | 22 | 27 | 26 | 38 | 41 | 40 | 56 | 56 | 51 | 56 | 56 | 55 | 56 | 56 |

Notes:

- Floor panels limited to residential use only.

- Wall panels have 7 ½ inch maximum core thickness.

- See surface spline details SIP-102 and SIP-102g.

-8-

Table 4 – Transverse Loading (psf) with double 2x splines

| Roof and Wall or Floor Panel Span | 7/16” OSB Thickness |
| --- | --- |
|  | EPS Core Thickness |
|  | 5 ½” Core | 7 ¼” Core | 9 ¼” Core | 11 ¼” Core |
| Deflection | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 |
| Transverse Load (psf) | 10’ | 53 | 79 | 105 | 89 | 109 | 109 | 150 | 174 | 174 | 177 | 177 | 177 |
|  | 12’ | 40 | 59 | 79 | 65 | 91 | 91 | 111 | 145 | 145 | 148 | 148 | 148 |
|  | 14’ | 30 | 45 | 60 | 48 | 72 | 78 | 84 | 124 | 124 | 115 | 127 | 127 |
|  | 16’ | 24 | 35 | 47 | 37 | 55 | 68 | 65 | 98 | 109 | 89 | 111 | 111 |
|  | 18’ | 19 | 28 | 37 | 28 | 42 | 57 | 51 | 77 | 97 | 70 | 99 | 99 |
|  | 20’ | 15 | 22 | 30 | 22 | 33 | 44 | 41 | 61 | 82 | 56 | 84 | 89 |
|  | 22’ | NP | NP | NP | NP | NP | NP | 33 | 49 | 66 | 45 | 68 | 81 |
|  | 24’ | NP | NP | NP | NP | NP | NP | 27 | 40 | 54 | 37 | 55 | 74 |

Notes:

- Roof, wall, and floor panels are framed with continuous doubled nominal 2-inch lumber in the spanning direction, spaced 4 feet on center, and single nominal 2 inch lumber at panel ends. Lumber is minimum spruce fir No. 2 grade. Panels below heavy line require Douglas fir-larch, No. 2 grade lumber.

- Top facing thickness for floor panels is ¾ inch, minimum. As an option, minimum 7/16 inch top facing my be overlaid with a minimum 7/16 inch finish flooring perpendicular to the panels.

- See details SIP-102d and SIP-108

Table 5 – Transverse Loading (psf) with wood I-joist splines

| Roof and Wall or Floor Panel Span | 7/16” OSB Thickness |
| --- | --- |
|  | EPS Core Thickness |
|  | 7 ¼” Core | 9 ¼” Core | 11 ¼” Core |
| Deflection | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 |
| Transverse Load (psf) | 10’ | 81 | 81 | 81 | 118 | 118 | 118 | 131 | 131 | 131 |
|  | 12’ | 63 | 68 | 68 | 98 | 98 | 98 | 109 | 109 | 109 |
|  | 14’ | 49 | 58 | 58 | 73 | 84 | 84 | 87 | 93 | 93 |
|  | 16’ | 38 | 51 | 51 | 55 | 74 | 74 | 69 | 82 | 82 |
|  | 18’ | 30 | 45 | 45 | 42 | 63 | 65 | 55 | 72 | 72 |
|  | 20’ | 24 | 37 | 40 | 33 | 49 | 59 | 45 | 65 | 65 |
|  | 22’ | NP | NP | NP | 26 | 39 | 49 | 37 | 55 | 57 |
|  | 24’ | NP | NP | NP | 21 | 31 | 41 | 30 | 46 | 48 |

Notes:

- Panels require continuous wood I-beams installed in the spanning direction spaced 4 feet on center.

- Top facing thickness for floor panels is ¾ inch, minimum. As an option, minimum 7/16 inch top facing my be overlaid with a minimum 7/16 inch finish flooring perpendicular to the panels.

- Wood I joists as approved by AFM.

- See details SIP-102b and 108a.

-9-

Table 6 – Transverse Loading (psf) with continuous insulated spline beams

| Roof and Wall or Floor Panel Span | 7/16” OSB Thickness |
| --- | --- |
|  | EPS Core Thickness |
|  | 5 ½” Core | 7 ¼” Core | 9 ¼” Core | 11 ¼” Core |
| Deflection | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 |
| Transverse Load (psf) | 10’ | 76 | 114 | 132 | 101 | 151 | 158 | 117 | 138 | 138 | 149 | 149 | 149 |
|  | 12’ | 57 | 79 | 96 | 72 | 109 | 132 | 88 | 115 | 115 | 124 | 124 | 124 |
|  | 14’ | 38 | 57 | 70 | 54 | 80 | 107 | 68 | 98 | 98 | 106 | 106 | 106 |
|  | 16’ | 28 | 42 | 54 | 40 | 61 | 81 | 53 | 80 | 86 | 76 | 93 | 93 |
|  | 18’ | 21 | 32 | 42 | 31 | 47 | 62 | 42 | 64 | 64 | 64 | 83 | 83 |
|  | 20’ | 16 | 24 | 32 | 24 | 36 | 49 | 34 | 51 | 52 | 50 | 74 | 74 |
|  | 22’ | NP | NP | NP | NP | NP | NP | 28 | 42 | 43 | 40 | 60 | 62 |
|  | 24’ | NP | NP | NP | NP | NP | NP | 23 | 34 | 36 | 33 | 49 | 52 |

Notes:

- Panels require continuous insulated spline beams installed in the spanning direction spaced 4 feet on center.

- Top facing thickness for floor panels is ¾ inch, minimum. As an option, minimum 7/16 inch top facing my be overlaid with a minimum 7/16 inch finish flooring perpendicular to the panels.

- Wood I joists as approved by AFM.

- See details SIP-102c and 108b.

Table 7 – Wall Header Loading

| Header Span | 7/16” OSB Thickness |
| --- | --- |
|  | Header Depth |
|  | 12 inches | 18 inches | 24 inches |
| Deflection | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 | L/360 | L/240 | L/180 |
| Load (plf) | 4’ | 524 | 703 | 708 | 762 | 773 | 773 | 837 | 837 | 837 |
|  | 6’ | 319 | 374 | 374 | 466 | 466 | 466 | 557 | 557 | 557 |
|  | 8’ | 218 | 248 | 248 | 351 | 351 | 351 | 455 | 455 | 455 |

Notes:

- See details SIP-112 and SIP-114.

- Supports and end connections shall be designed for each installation by a registered professional.

- Top and bottom plates shall be Douglas fir No. 2.

###### Table 8 – Roof/Floor Diaphragm Loading

|  | Spacing of R-Control Screw fasteners at supported edges (minimum 1 5/8 inch penetration) |
| --- | --- |
| 7/16 inch OSB Thickness | 3 inches | 4 inches | 6 inches |
|  | Spacing of spline fasteners (8d box or 6d common) at unsupported edges – top side of panel only – two staggered rows of fasteners on each side of joint |
|  | 3 inches | 4 inches | 6 inches |
|  | 850 plf | 750 plf | 500plf |

Note:

- Spline is 7/16 inch OSB x 4".

- See details SIP-139a, SIP-140, and SIP-141.

-10-

MANUFACTURING PLANTS:

Shop fabricated structural insulated roof, wall and floor panels covered under this Bulletin will be produced in the following plants:

Advance Foam Plastics, Inc.

748 North McKeever Avenue

Azusa, CA  91702

Advance Foam Plastics, Inc 5250 North Sherman Street	  Denver, CO  80216

Advance Foam Plastics, Inc.

920 Klepp Lane

Sparks, NV  89431

Advance Foam Plastics, Inc.

111 West Fireclay Avenue

Murray, UT  84107

Allied Foam Products, Inc.

2731 White Sulphur Road

Gainesville, GA  30503

Big Sky Insulations, Inc.

15 Arden Drive

Belgrade, MT  59714

Branch River Foam Plastics

15 Thurber Boulevard

Smithfield, RI  02917

Chapman Building Systems

5275 Highway 27 East

Kerrville, TX  78028

Contour Products, Inc.

4001 Kaw Drive

Kansas City, KS  66102

Contour Products, Inc.

1418 Cow Palace Road

Newton, KS  67114

Flexible Packaging Co.

PO Box 4321

Bayamon, PR 00958

Heartland EPS, Inc.

90 Trowbridge Drive

Fond Du Lac, WI  54936

Heartland EPS, Inc.

809 East 15th Street

Washington, IA  52353

Heartland EPS, Inc.

3751 Sunset Avenue

Waukegan IL  60087

Insulated Building Systems

326 McGee Road

Winchester, VA  22603

Pacific Allied Products, LTD.

91-110 Kaomi Loop

Kapolei, HI  96707

Poly-Foam, Inc.

116 Pine Street South

Lester Prairie, MN  55354

Stanark Foam Plastics

10101 Highway 70 East

North Little Rock, AR  72117

Team Industries, Inc.

4580 Airwest Drive, SE

Grand Rapids, MI  49588

Thermal Foams, Inc.

2324 Franklin Drive

Fort Worth, TX  76106

The appropriate HUD Field Offices or Homeownership Centers in whose jurisdiction the manufacturing plants are located, or HUD designated representative will inspect respective these plants in accordance with prescribed procedures.

QUALITY CONTROL:

The appropriate HUD Field Offices or Homeownership Centers in whose jurisdiction the manufacturing plants are located, shall review and approve plant fabrication procedures and quality control program, to ensure compliance with approved plans and specifications.  The quality control program shall include supervision by AFM Corporation or its representative.

-11-

RECORD OF PROPERTIES:

When requested, provide the FHA Standards, Office of Manufactured Housing Programs, HUD Headquarters, with a representative list of properties in which the material, product or system has been used, including complete addresses or descriptions of locations and dates of installation.

NOTICE OF CHANGES:

The manufacturer shall inform HUD in advance of changes in production facilities, transportation, field erection procedures, design, or of materials used in this product.  Further, the manufacturer must inform HUD of any revision to corporate structure, change of address or change in name or affiliation of the prime manufacturer.  Failure of the manufacturer to notify HUD of any of the above changes may result in cancellation of this Bulletin.

EVALUATION:

This SEB shall be valid for a period of three years from the date of initial issuance or most recent renewal or revision, whichever is later.  The holder of this SEB shall apply for a renewal or revision 90 days prior to the Review Date printed on this SEB.  Submittals for renewal or revision shall be sent to:

US Department of Housing and Urban Development

FHA Standards, Office of Manufactured Housing Programs

451 7th Street, SW, Room 9168

Washington, DC  20410-8000

Appropriate User Fees shall be sent to:

Department of Housing and Urban Development

Miscellaneous Income-Technical Suitability of Products Fees

Bank of America

PO Box 198762

Atlanta, GA  30384-8762

The holder of this SEB may apply for revision at any time prior to the Review Date.  Minor revisions may be in the form of a supplement.

If the Department determines that a proposed renewal or supplement constitutes a revision, the appropriate User Fee for a revision will need to be submitted in accordance with Code of Federal Regulations 24 CFR 200.934, "User Fee System for the Technical Suitability of Products Program", and current User Fee Schedule.

-12-

CANCELLATION:

Failure to apply for a renewal or revision shall constitute a basis for cancellation of the SEB.  HUD will notify the manufacturer that the SEB may be canceled when:

1.	conditions under which the document was issued have changed so as to affect production of, or to compromise the integrity of the accepted material, product, or system,

2.	the manufacturer has changed its organizational form without notifying HUD, or

3.	the manufacturer has not complied with responsibilities it assumed as a condition of HUD's acceptance.

However, before cancellation, HUD will give the manufacturer a written notice of the specific reasons for cancellation, and the opportunity to present views on why the SEB should not be canceled.  No refund of fees will be made on a canceled document.

******************************************************************************

This Structural Engineering Bulletin is issued solely for the captioned firm and is not transferable to any person or successor entity.

******************************************************************************

# Text boxes

AFM Corporation

211 River Ridge Cir. #102

Burnsville, MN  55337

R-Control Structural Insulated Panels (SIPs)

June 7, 2007

June 7, 2004

(Supersedes issue dated September 19, 2000)

1104 Rev. 4

The technical description, requirements and limitations expressed herein do not constitute an endorsement or approval by the Department of housing and Urban Development (HUD) of the subject matter, and any statement or representation, however made, indicating approval or endorsement by HUD is unauthorized and false, and will be considered a violation of the United States Criminal Code, 18 U.S.C. 709.

NOTICE: THIS BULLETIN APPLIES TO DWELLING UNITS BUILT UNDER HUD HOUSING PROGRAMS. NON-HUD-INSURED UNITS MAY OR MAY NOT BE IN CONFORMINTY WITH THE REQUIREMENTS OF THE HUD MINIMUM PROPERTY STANDARDS.

Any reproduction of this Bulletin must be in its entirety and any use of all or any part of this Bulletin in sales promotion or advertising is prohibited.