## ECAR
Form EIA-411 for 2005
Released: February 7, 2008
Next Update: October 2007
Winter (Part B.) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | ECAR
Subregion
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 91800 | 90464 | 92492 | 93978 | 95841 | 97045 | 98483 | 99826 | 101179 | 102465 | 104418
02 | Standby Demand |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 91800 | 90464 | 92492 | 93978 | 95841 | 97045 | 98483 | 99826 | 101179 | 102465 | 104418
04 | Direct Control Load Management |  |  | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158 | 158
05 | Interruptible Demand |  |  | 1868 | 1808 | 1788 | 1768 | 1703 | 1703 | 1703 | 1703 | 1703 | 1542
06 | Net Internal Demand (03-04-05) |  | 91800 | 88438 | 90526 | 92032 | 93915 | 95184 | 96622 | 97965 | 99318 | 100604 | 102718
07 | Total Net Operable Capacity |  | Actual 2004/05: 134667
07a | Uncommitted Capacity | 2 |  | 0 | 780 | 2014 | 2555 | 2555 | 3287 | 3287 | 3287 | 3287 | 3287
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1 | Actual 2004/05: 3390
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 131277 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW
08b | Other Capacity < 1 MW
09 | Total Net Generator Capacity (7d+8) |  | 131277 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860 | 131860
9b | Distributed Generator Capacity >= 1 MW
10 | Capacity Purchases - Total | 3 | 0 | 3154 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445 | 1445
10a | Full Responsibility Purchases
11 | Capacity Sales - Total | 3 | 90 | 1062 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62 | 62
11a | Full Responsibility Sales
12 | Net Capacity Resources (9+10-11) |  | 131187 | 133952 | 133243 | 133243 | 133243 | 133243 | 133243 | 133243 | 133243 | 133243 | 133243
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.
3 | The After-the-Fact data collection is only capable of determining net sales or purchases.

## FRCC
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5k. Winter (FRCC) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | FRCC
Subregion
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 44839 | 46717 | 47994 | 49139 | 50414 | 51700 | 53030 | 54370 | 55718 | 57094 | 61493
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 44839 | 46717 | 47994 | 49139 | 50414 | 51700 | 53030 | 54370 | 55718 | 57094 | 61493
04 | Direct Control Load Management |  | 2528 | 2528 | 2520 | 2518 | 2524 | 2532 | 2546 | 2563 | 2586 | 2581 | 2575
05 | Interruptible Demand |  | 862 | 862 | 866 | 863 | 862 | 852 | 859 | 862 | 867 | 871 | 875
06 | Net Internal Demand (03-04-05) |  | 41449 | 43327 | 44608 | 45758 | 47028 | 48316 | 49625 | 50945 | 52265 | 53642 | 58043
07 | Total Net Operable Capacity | 1 | Actual 2004/05: 49644
07a | Uncommitted Capacity |  | 2454 | 2454 | 2454 | 2454 | 2454 | 2454 | 2454 | 2454 | 2454 | 2454 | 2454
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | Actual 2004/05: 0
07b2 | Reliability Derating Group Subtotal | 1 | Actual 2004/05: 0
07c | Other Generation | 1 | Actual 2004/05: 0
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) |  | 49644 | 52673 | 53845 | 54642 | 55322 | 57053 | 59752 | 60720 | 63077 | 65802 | 66146
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 49644 | 52673 | 53845 | 54642 | 55322 | 57053 | 59752 | 60720 | 63077 | 65802 | 66146
9b | Distributed Generator Capacity >= 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Capacity Purchases - Total |  | 1552 | 1752 | 1752 | 1752 | 1752 | 1752 | 1555 | 1555 | 1555 | 1555 | 1555
10a | Full Responsibility Purchases |  | 1552 | 1752 | 1752 | 1752 | 1752 | 1752 | 1555 | 1555 | 1555 | 1555 | 1555
11 | Capacity Sales - Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11a | Full Responsibility Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Net Capacity Resources (9+10-11) |  | 51196 | 54425 | 55597 | 56394 | 57074 | 58805 | 61307 | 62275 | 64632 | 67357 | 67701
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## MAAC
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5l. Winter (MAAC) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | MAAC
Subregion
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 45905 | 46784 | 47560 | 48334 | 49106 | 49857 | 50619 | 51370 | 52124 | 52866 | 53590
02 | Standby Demand
03 | Total Internal Demand (01+02) |  | 45905 | 46784 | 47560 | 48334 | 49106 | 49857 | 50619 | 51370 | 52124 | 52866 | 53590
04 | Direct Control Load Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05 | Interruptible Demand |  | 340 | 340 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330 | 330
06 | Net Internal Demand (03-04-05) |  | 45565 | 46444 | 47230 | 48004 | 48776 | 49527 | 50289 | 51040 | 51794 | 52536 | 53260
07 | Total Net Operable Capacity | 1 | Actual 2004/05: 73448
07a | Uncommitted Capacity |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | Actual 2004/05: 3910
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1 | Actual 2004/05: 422
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) |  | 69116 | 70310.9 | 71340.9 | 72524.9 | 73735.9 | 73735.9 | 73735.9 | 73735.9 | 73735.9 | 73735.9 | 73735.9
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW
08b | Other Capacity < 1 MW
09 | Total Net Generator Capacity (7d+8) |  | 69116 | 70310.9 | 71340.9 | 72524.9 | 73735.9 | 73735.9 | 73735.9 | 73735.9 | 73735.9 | 73735.9 | 73735.9
9b | Distributed Generator Capacity >= 1 MW
10 | Capacity Purchases - Total |  | 488 | 488 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38
10a | Full Responsibility Purchases
11 | Capacity Sales - Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11a | Full Responsibility Sales
12 | Net Capacity Resources (9+10-11) |  | 69604 | 70798.9 | 71378.9 | 72562.9 | 73773.9 | 73773.9 | 73773.9 | 73773.9 | 73773.9 | 73773.9 | 73773.9
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.
Note on E25: 4/18: Received from Mark via voice mail

## MAIN
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5m. Winter (MAIN) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | MAIN
Subregion
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 42928 | 43925 | 44527 | 45367 | 46138 | 46845 | 47540 | 48241 | 48957 | 49547 | 50299
02 | Standby Demand | bar: Actual 2004/05 to Projected 2014/15
03 | Total Internal Demand (01+02) |  | 42929 | 43926 | 44528 | 45368 | 46139 | 46846 | 47541 | 48242 | 48958 | 49548 | 50300
04 | Direct Control Load Management |  | 546 | 546 | 547 | 548 | 550 | 551 | 553 | 554 | 557 | 558 | 560
05 | Interruptible Demand |  | 1765 | 2162 | 2170 | 2164 | 2185 | 2189 | 2189 | 2185 | 2186 | 2179 | 2186
06 | Net Internal Demand (03-04-05) |  | 40618 | 41218 | 41811 | 42656 | 43404 | 44106 | 44799 | 45503 | 46215 | 46811 | 47554
07 | Total Net Operable Capacity | 1 | Actual 2004/05: 74115
07a | Uncommitted Capacity |  | 4324 | 2670 | 2679 | 3743 | 3696 | 5164 | 5121 | 5077 | 5035 | 4992 | 4952
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | Actual 2004/05: 366
07b2 | Reliability Derating Group Subtotal | 1 | Actual 2004/05: 28
07c | Other Generation | 1 | Actual 2004/05: 2475
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) |  | 66922 | 67651 | 67723 | 67868 | 69145 | 69832 | 71027 | 71395 | 71747 | 71875 | 71879
08 | Generator Capacity, <1MW (8a+8b) |  | 120 | 120 | 120 | 120 | 121 | 121 | 121 | 121 | 121 | 121 | 121
08a | Distributed Generator Capacity < 1 MW |  | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111 | 111
08b | Other Capacity < 1 MW |  | 9 | 9 | 9 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10
09 | Total Net Generator Capacity (7d+8) |  | 67042 | 67771 | 67843 | 67988 | 69266 | 69953 | 71148 | 71516 | 71868 | 71996 | 72000
9b | Distributed Generator Capacity >= 1 MW |  | 357 | 358 | 358 | 358 | 358 | 358 | 358 | 358 | 358 | 358 | 358
10 | Capacity Purchases - Total |  | 2254 | 1871 | 2213 | 2383 | 2689 | 2856 | 2951 | 3248 | 3706 | 4768 | 4460
10a | Full Responsibility Purchases |  | 212 | 222 | 221 | 147 | 169 | 170 | 263 | 263 | 263 | 263 | 264
11 | Capacity Sales - Total |  | 2882 | 1423 | 1400 | 1408 | 1897 | 1904 | 1912 | 1919 | 1927 | 1934 | 1942
11a | Full Responsibility Sales |  | 208 | 210 | 212 | 220 | 217 | 219 | 222 | 224 | 227 | 229 | 232
12 | Net Capacity Resources (9+10-11) |  | 66414 | 68219 | 68656 | 68963 | 70058 | 70905 | 72187 | 72845 | 73647 | 74830 | 74518
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## MRO
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5n. Winter (MRO) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | MRO
Subregion
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 24526 | 24995 | 25413 | 25828 | 26322 | 26696 | 27119 | 27640 | 28036 | 28437 | 28894
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 24526 | 24995 | 25413 | 25828 | 26322 | 26696 | 27119 | 27640 | 28036 | 28437 | 28894
04 | Direct Control Load Management |  | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
05 | Interruptible Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06 | Net Internal Demand (03-04-05) |  | 24446 | 24915 | 25333 | 25748 | 26242 | 26616 | 27039 | 27560 | 27956 | 28357 | 28814
07 | Total Net Operable Capacity | 1 | 37500 | 33675 | 33724 | 34589 | 34939 | 35836 | 35836 | 35790 | 35840 | 35874 | 35873
07a | Uncommitted Capacity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107 | 107 | 107 | 107
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | Actual 2004/05: 0
07b2 | Reliability Derating Group Subtotal | 1 | Actual 2004/05: 0
07c | Other Generation | 1 | 4718 | 625 | 625 | 625 | 625 | 625 | 625 | 518 | 518 | 518 | 518
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) |  | 32782 | 33050 | 33099 | 33964 | 34314 | 35211 | 35211 | 35165 | 35215 | 35249 | 35248
08 | Generator Capacity, <1MW (8a+8b) |  | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 51 | 50 | 50 | 49
08a | Distributed Generator Capacity < 1 MW |  | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
08b | Other Capacity < 1 MW |  | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 44 | 44 | 43
09 | Total Net Generator Capacity (7d+8) |  | 32833 | 33101 | 33150 | 34015 | 34365 | 35262 | 35262 | 35216 | 35265 | 35299 | 35297
9b | Distributed Generator Capacity >= 1 MW |  | 17 | 17 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
10 | Capacity Purchases - Total |  | 3154 | 3019 | 2806 | 2714 | 2714 | 2634 | 2544 | 2544 | 2514 | 2514 | 2514
10a | Full Responsibility Purchases |  | 1209 | 1170 | 1170 | 1175 | 1175 | 1175 | 1175 | 1175 | 1175 | 1175 | 1175
11 | Capacity Sales - Total |  | 1616 | 1542 | 1517 | 1447 | 1372 | 1532 | 1434 | 1334 | 1334 | 1259 | 1259
11a | Full Responsibility Sales |  | 1241 | 1149 | 1149 | 1149 | 1074 | 1074 | 976 | 976 | 976 | 976 | 976
12 | Net Capacity Resources (9+10-11) |  | 34371 | 34578 | 34439 | 35282 | 35707 | 36364 | 36372 | 36426 | 36445 | 36554 | 36552
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## NPCC-NE
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5o. Winter (NPCC_NE) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | NPCC
Subregion | NE
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand | 3 | 22635 | 22830 | 23175 | 23540 | 23890 | 24245 | 24640 | 25095 | 25400 | 25680 | 26005
02 | Standby Demand
03 | Total Internal Demand (01+02) | 3 | 22635 | 22830 | 23175 | 23540 | 23890 | 24245 | 24640 | 25095 | 25400 | 25680 | 26005
04 | Direct Control Load Management
05 | Interruptible Demand |  | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317 | 317
06 | Net Internal Demand (03-04-05) |  | 22318 | 22513 | 22858 | 23223 | 23573 | 23928 | 24323 | 24778 | 25083 | 25363 | 25688
07 | Total Net Operable Capacity | 1 | Actual 2004/05: 33343
07a | Uncommitted Capacity | 2
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) | 2 | 33343 | 33396.3 | 33565.3 | 34759.3 | 34759.3 | 34759.3 | 34759.3 | 34759.3 | 34759.3 | 34759.3 | 34759.3
08 | Generator Capacity, <1MW (8a+8b) |  | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
08a | Distributed Generator Capacity < 1 MW | 5
08b | Other Capacity < 1 MW |  | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
09 | Total Net Generator Capacity (7d+8) |  | 33379 | 33432.3 | 33601.3 | 34795.3 | 34795.3 | 34795.3 | 34795.3 | 34795.3 | 34795.3 | 34795.3 | 34795.3
9b | Distributed Generator Capacity >= 1 MW | 5
10 | Capacity Purchases - Total |  | 411 | 410.7 | 410.7 | 410.7 | 410.7 | 410.7 | 403.7 | 403.7 | 403.7 | 403.7 | 403.7
10a | Full Responsibility Purchases
11 | Capacity Sales - Total |  | 950 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11a | Full Responsibility Sales
12 | Net Capacity Resources (9+10-11) |  | 32840 | 33843 | 34012 | 35206 | 35206 | 35206 | 35199 | 35199 | 35199 | 35199 | 35199
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.
3 | U.S., Canadian, and Mexican systems, and subregions of NPCC, SERC, SPP, and WECC summarized separately.
4 | Should correspond to peak hour demands reported in EIA-411 report, Item 1, line 07 (summer).
5 | These values will be available with the June 1st update.
The information in the lines highlighted in blue will most likely change with the June filing.

## NPCC-NY
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5p. Winter (NPCC_NY) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | NPCC
Subregion | NY
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 25541 | 25350 | 25670 | 25980 | 26290 | 26550 | 26790 | 26990 | 27160 | 27300 | 27410
02 | Standby Demand
03 | Total Internal Demand (01+02) |  | 25541 | 25350 | 25670 | 25980 | 26290 | 26550 | 26790 | 26990 | 27160 | 27300 | 27410
04 | Direct Control Load Management
05 | Interruptible Demand
06 | Net Internal Demand (03-04-05) |  | 25541 | 25350 | 25670 | 25980 | 26290 | 26550 | 26790 | 26990 | 27160 | 27300 | 27410
07 | Total Net Operable Capacity | 1 | 39503.8 | 39654.9 | 41184.9 | 41333.6 | 40526.5 | 39396.8 | 39396.8 | 39396.8 | 39396.8 | 39396.8 | 39396.8
07a | Uncommitted Capacity
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) |  | 39503.8 | 39654.9 | 41184.9 | 41333.6 | 40526.5 | 39396.8 | 39396.8 | 39396.8 | 39396.8 | 39396.8 | 39396.8
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW
08b | Other Capacity < 1 MW
09 | Total Net Generator Capacity (7d+8) |  | 39503.8 | 39654.9 | 41184.9 | 41333.6 | 40526.5 | 39396.8 | 39396.8 | 39396.8 | 39396.8 | 39396.8 | 39396.8
9b | Distributed Generator Capacity >= 1 MW
10 | Capacity Purchases - Total |  | 2233 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10a | Full Responsibility Purchases |  | 2233 | 80 | 80 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Capacity Sales - Total |  | 300 | 306 | 306 | 306 | 306 | 306 | 299 | 299 | 299 | 299 | 299
11a | Full Responsibility Sales |  | 300 | 306 | 306 | 306 | 306 | 306 | 299 | 299 | 299 | 299 | 299
12 | Net Capacity Resources (9+10-11) |  | 41436.8 | 39428.9 | 40958.9 | 41107.6 | 40220.5 | 39090.8 | 39097.8 | 39097.8 | 39097.8 | 39097.8 | 39097.8
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## SERC
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5q. Winter (SERC) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | SERC
Subregion
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 144337 | 147019 | 150031 | 152922 | 155489 | 157765 | 159668 | 162694 | 166030 | 169158 | 170909
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 144337 | 147019 | 150031 | 152922 | 155489 | 157765 | 159668 | 162694 | 166030 | 169158 | 170909
04 | Direct Control Load Management |  | 471 | 614 | 625 | 634 | 645 | 651 | 658 | 666 | 673 | 681 | 688
05 | Interruptible Demand |  | 4380 | 4181 | 4150 | 4176 | 4164 | 3992 | 3901 | 3860 | 3827 | 3805 | 3779
06 | Net Internal Demand (03-04-05) |  | 139486 | 142224 | 145256 | 148112 | 150680 | 153122 | 155109 | 158168 | 161530 | 164672 | 166442
07 | Total Net Operable Capacity | 1
07a | Uncommitted Capacity |  | 40936 | 42022 | 41813 | 42363 | 43207 | 40525 | 35414 | 37330 | 34073 | 32164 | 30980
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) |  | 175161.5 | 176417.5 | 178420.5 | 180008.9 | 181516.9 | 183564.9 | 184103.9 | 188085.9 | 190060.9 | 191353.9 | 193190.9
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 175161.5 | 176417.5 | 178420.5 | 180008.9 | 181516.9 | 183564.9 | 184103.9 | 188085.9 | 190060.9 | 191353.9 | 193190.9
9b | Distributed Generator Capacity >= 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Capacity Purchases - Total |  | 13825 | 13424 | 12103 | 11146 | 11545 | 11930 | 13830 | 14073 | 15137 | 16542 | 17657
10a | Full Responsibility Purchases |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Capacity Sales - Total |  | 2203 | 3379 | 3212 | 3128 | 3078 | 3079 | 2888 | 2888 | 2889 | 2889 | 2889
11a | Full Responsibility Sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Net Capacity Resources (9+10-11) |  | 186783.5 | 186462.5 | 187311.5 | 188026.9 | 189983.9 | 192415.9 | 195045.9 | 199270.9 | 202308.9 | 205006.9 | 207958.9
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## SPP
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5r. Winter (SPP) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | SPP
Subregion
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 29490.3 | 29480.5291 | 30021.2939 | 30363.1377 | 30993.8635 | 31644.7063 | 32083.3486 | 32472.3923 | 32746.9415 | 33329.5827 | 33910.1913
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 29490.3 | 29480.5291 | 30021.2939 | 30363.1377 | 30993.8635 | 31644.7063 | 32083.3486 | 32472.3923 | 32746.9415 | 33329.5827 | 33910.1913
04 | Direct Control Load Management |  | 13 | 27 | 27 | 27 | 28 | 30 | 31 | 31 | 31 | 31 | 31
05 | Interruptible Demand |  | 381 | 418 | 419 | 420 | 421 | 422 | 423 | 424 | 425 | 426 | 427
06 | Net Internal Demand (03-04-05) |  | 29096.3 | 29035.5291 | 29575.2939 | 29916.1377 | 30544.8635 | 31192.7063 | 31629.3486 | 32017.3923 | 32290.9415 | 32872.5827 | 33452.1913
07 | Total Net Operable Capacity | 1 | 55906.8 | 55906.8 | 55906.8 | 55906.8 | 55906.8 | 55906.8 | 55906.8 | 55906.8 | 55906.8 | 55906.8 | 55906.8
07a | Uncommitted Capacity |  | 9302.27 | 9302.27 | 9302.27 | 9302.27 | 9302.27 | 9302.27 | 9302.27 | 9302.27 | 9302.27 | 9302.27 | 9302.27
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42 | 42
07b2 | Reliability Derating Group Subtotal | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
07c | Other Generation | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) |  | 46557.53 | 46658 | 47000 | 47282.204 | 47692.204 | 48038.204 | 49343.204 | 49944.204 | 50780.204 | 50930.204 | 51445.204
08 | Generator Capacity, <1MW (8a+8b) |  | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1
08a | Distributed Generator Capacity < 1 MW |  | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1 | 3.1
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 46560.63 | 46661.1 | 47003.1 | 47285.304 | 47695.304 | 48041.304 | 49346.304 | 49947.304 | 50783.304 | 50933.304 | 51448.304
9b | Distributed Generator Capacity >= 1 MW |  | 358.2 | 370.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3 | 375.3
10 | Capacity Purchases - Total |  | 5354 | 5000 | 4257 | 3879 | 3860 | 3662 | 3678 | 3281 | 3376 | 3497 | 3407
10a | Full Responsibility Purchases |  | 3236 | 2566 | 2608 | 2579 | 2537 | 2411 | 2443 | 2240 | 2252 | 2213 | 2075
11 | Capacity Sales - Total |  | 2234 | 2300 | 1995 | 1995 | 1967 | 1928 | 2317 | 2255 | 2584 | 2704 | 2637
11a | Full Responsibility Sales |  | 1999 | 1947 | 1827 | 1827 | 1762 | 1758 | 2058 | 2058 | 2058 | 2058 | 2058
12 | Net Capacity Resources (9+10-11) |  | 49680.63 | 49361.1 | 49265.1 | 49169.304 | 49588.304 | 49775.304 | 50707.304 | 50973.304 | 51575.304 | 51726.304 | 52218.304
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## ERCOT
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5s. Winter (ERCOT) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | ERCOT
Subregion
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 44010 | 41672 | 42922 | 43803 | 44092 | 45732 | 46973 | 48079 | 48775 | 50305 | 51263
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 44010 | 41672 | 42922 | 43803 | 44092 | 45732 | 46973 | 48079 | 48775 | 50305 | 51263
04 | Direct Control Load Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05 | Interruptible Demand |  | 0 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150 | 1150
06 | Net Internal Demand (03-04-05) |  | 44010 | 40522 | 41772 | 42653 | 42942 | 44582 | 45823 | 46929 | 47625 | 49155 | 50113
07 | Total Net Operable Capacity | 1 | Actual 2004/05: 78870
07a | Uncommitted Capacity |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07b1 | Reliability Derating Unit Spec. Subtotal | 1 | Actual 2004/05: 0
07b2 | Reliability Derating Group Subtotal | 1 | Actual 2004/05: 1081
07c | Other Generation | 1 | Actual 2004/05: 6111
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) |  | 71678 | 73411 | 71993 | 72123 | 73808 | 74161 | 73981 | 73981 | 73981 | 73981 | 73981
08 | Generator Capacity, <1MW (8a+8b) |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
08a | Distributed Generator Capacity < 1 MW |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 71681 | 73414 | 71996 | 72126 | 73811 | 74164 | 73984 | 73984 | 73984 | 73984 | 73984
9b | Distributed Generator Capacity >= 1 MW |  | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93 | 93
10 | Capacity Purchases - Total |  | 310 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136
10a | Full Responsibility Purchases |  | 310 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136
11 | Capacity Sales - Total |  | 89 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189
11a | Full Responsibility Sales |  | 89 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189
12 | Net Capacity Resources (9+10-11) |  | 71902 | 73343 | 71927 | 72059 | 73746 | 74101 | 73923 | 73925 | 73927 | 73929 | 73931
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.

## WECC
Form EIA-411 for 2005
Released: September 26, 2007
Next Update: October 2007
Table 5t. Winter (WECC) Historical and Projected Demand and Capacity, Calendar Year 2004
(Megawatts)
Region | WECC
Subregion
Country | U
WINTER
|  |  | Actual | Projected
Line# | Category | Notes | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13 | 2013/14 | 2014/15
01 | Internal Demand |  | 102689 | 105996 | 108606 | 110906 | 113329 | 115767 | 118252 | 120922 | 123358 | 125923 | 128068
02 | Standby Demand |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 | Total Internal Demand (01+02) |  | 102689 | 105996 | 108606 | 110906 | 113329 | 115767 | 118252 | 120922 | 123358 | 125923 | 128068
04 | Direct Control Load Management |  | 336 | 310 | 311 | 312 | 311 | 312 | 311 | 311 | 311 | 312 | 312
05 | Interruptible Demand |  | 1351 | 1576 | 1550 | 1538 | 1554 | 1560 | 1560 | 1561 | 1562 | 1563 | 1564
06 | Net Internal Demand (03-04-05) |  | 101002 | 104110 | 106745 | 109056 | 111464 | 113895 | 116381 | 119050 | 121485 | 124048 | 126192
07 | Total Net Operable Capacity | 1
07a | Uncommitted Capacity |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07b1 | Reliability Derating Unit Spec. Subtotal | 1
07b2 | Reliability Derating Group Subtotal | 1
07c | Other Generation | 1
07d | Subtotal Committed Capacity (7-7a-7b1-7b2-7c) |  | 148650 | 152814 | 158453 | 164062 | 166529 | 167519 | 169051 | 169614 | 169994 | 171041 | 171120
08 | Generator Capacity, <1MW (8a+8b) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08a | Distributed Generator Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08b | Other Capacity < 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09 | Total Net Generator Capacity (7d+8) |  | 148650 | 152814 | 158453 | 164062 | 166529 | 167519 | 169051 | 169614 | 169994 | 171041 | 171120
9b | Distributed Generator Capacity >= 1 MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Capacity Purchases - Total |  | 987 | 728 | 693 | 683 | 680 | 688 | 596 | 452 | 454 | 459 | 475
10a | Full Responsibility Purchases |  | 987 | 728 | 693 | 683 | 680 | 688 | 596 | 452 | 454 | 459 | 475
11 | Capacity Sales - Total |  | 277 | 205 | 205 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179
11a | Full Responsibility Sales |  | 277 | 205 | 205 | 179 | 179 | 179 | 179 | 179 | 179 | 179 | 179
12 | Net Capacity Resources (9+10-11) |  | 149360 | 153337 | 158941 | 164566 | 167030 | 168028 | 169468 | 169887 | 170269 | 171321 | 171416
Notes
1 | These fields are not due until June 1, 2005 and are only required for the actual year.
2 | If you will file 7, 7b1, 7b2, & 7c at a later date, report lines 7a & 7d as independent values (i.e. disregard form calculations) for the actual year.
2 | Report lines 7a & 7d as independent values (i.e. disregard form calculations) for the projected years.
2 | To the extent that some of the existing and/or planned uncommitted capacity might become committed in future years, reduce the uncommitted projection accordingly.
Otherwise continue to report that capacity as uncommitted.