7-24-01 MK

LASER WIRE ESTIMATES

A cursory first approximation:  (See conclusions last page)

For a beam with 1.5x10^14 protons, comprised of 1000 mini-bunches, each mini-bunch/pulse will contain 1.5x10^11 protons.

The average peak current is;

assume the bunch width is about 650nS.

Amp

Assume a 1 Ohm wall current monitor for a power level analysis.

The instantaneous beam power is;

Watt

dBm

To quickly estimate the signal, consider a 2.5Mev beam, and a 50mJ (1064nm) laser with 12nS pulse width.  Shafer's simulation yields; 95%neutrals with a 32% yield (2mm beam and 0.5mm rms laser).  A 200mJ laser will yield 45% at the center, however it will have saturated, and the resulting profile will suffer somewhat.

The signal at the center of the beam profile is:

Amp

Watts

dBm

dBm

This is a 10 to 12 ns pulse and the power is spread over a wide bandwidth.  The power in a spectrum limited by the bandwidth of a filter (BW) is:

MathCAD had trouble with infinity

Note MathCAD error; The Integral to infinity is Pi*Tau

Thus, a large percentage of the power is preserved in this bandwidth

dBm

For 1/4 inch Heliax (50 Ohm, Foam Dielectric) FSJ1-50A; at 450MHz losses are 12.9dB per 100 meters (300ft).  For LDF1-50 it is 8.94dB/100m.  Therefore, for a worse case approximation assume losses of 13dB in 300ft of cable.

Therefore, the instantaneous power available at the electronics is;

dBm

The noise in a one (1) Ohm Resistor is for bandwidth BW:

dBm for 1 Ohm

dBm

The signal to noise ratio at the beam center will be;

dB

If we consider the signal on the skirts of the beam down by a factor of 1000, or require a resolution of 10 bits, the signal to noise ratio will drop by 60 dB to;

dB

Schwartz "Information Transmission Modulation and Noise" shows that when looking for a peak signal (as we are) in noise, passing the signal through a Gaussian filter of f*Tau =0.4 yields the best peak signal to noise ratio.

dBm

Pk signal is about;

m=0.51/(2*pi*0.4/tau) for -1 db per stage

Volts across 1 Ohm

Peak noise is about 3 times the rms noise

Volts

If one adds amplifier noise and other rseistor noise one could expect the noise to go up by about 2 times the noise of a 50 ohm resistor for matched cable impedances.  This could be reduced with the use of matching transformers.

As an alternate, consider using a 50 turn FCT transformer.  This transformer is matched to a 50 Ohm load and will deliver 25mV for 50ma.  Therefore, a 12mV input pulse will deliver about:

and from before, for an optimum bandwidth of OptBW we will expect a peak output signal of:

As before, the Noise will be:

adding noise of about 4 times a 50 Ohm resistor yields:

This is 6dB below the 1 Ohm wall current monitor since the basic transformer output sensitivity is roughly half that of the 1 Ohm wall current monitor.

Conclusion:

A total noise estimated at 4 times the noise of a 50 ohm resistor compared to a peak signal of 10mV, from a 1 Ohm wall current monitor, will yield a s/n ratio of about 450, or 53dB, at the beam center.  It should be noted that the yield for a higher energy like 1GeV is reduced to about 15% at the center, for a 200mJ 12ns laser, or a signal power reduced by a factor of 2 (15% vs. 32%).  This results in a signal to noise at the beam center of only about 225 (47dB) for the 1GeV case.  This analysis assumed a Gaussian  beam of 2mm and a laser of 0.5mm rms.  Also, a 50 turn FCT will yield a signal with about half the sensitivity as a 1 Ohm wall current Monitor ( 25mV instead of 50mV for a 50 Ohm transformer termination.   This will cause the signal to noise ratio to be reduced by 6dB.

Since the yield is proportional to the number of particles, and the gausian distribution is only slightly modified, the yield can be approximated by the gausian distribution as one moves off center.  The convolution of two Gaussians yields a Gaussian with sigma squared= to sum of squares of sigmas of each.  Therefore, at larger sigmas there is actually a larger yield than this estimate will predict.  ie: at sigma=3, the gaussian is 0.0111, while using the new sigma we have for 2mm beam and 0.5mm laser, sigma new=2.06, or at 6mm we get 0.01447.  This is 1.3 time the yield we will estimate (an improvement of 30%).

Sasha Aleksandrov (ORNL) points out that the beam size may vary and as it grows the yield will go down.  This is true, and simulations using software developed by Bob Shafer, show the yield for an 8mm beam will be about 5.6% with a laser beam of 0.5mm, and improves to 6.4% with a 1mm laser, and 6.6% with a 2mm laser.  A 4mm beam will suffer a yield reduction to 8.0% with a 0.5mm laser, and 8.9% with a 1mm laser.  This is to be compared with the original estimate of 15% for a 2mm beam and 0.5mm laser.