## Central Air Conditioner Calc
Life Cycle Cost Estimate for
1 ENERGY STAR Qualified Central Air Conditioner(s)
This energy savings calculator was developed by the U.S. EPA and U.S. DOE and is provided for estimating purposes only. Actual energy savings may vary based on use and other factors.
Enter your own values in the gray boxes or use our default values.
Enter your own values in the gray boxes or use our default values.
4
Number of units |  | 1
Electric Rate ($/kWh) |  | 0.1059
| ENERGY STAR Qualified Unit |  |  | Conventional Unit
Initial Cost per Unit (estimated retail price with installation)** |  | 1219 |  |  | 1126
Seasonal Energy Efficiency Ratio (SEER) rating |  | 14.5 |  |  | 13
Cooling Capacity of Air Conditioner (Btu/hr)
Use with programmable Thermostat (Yes/No)
**Prices represent equipment cost only and do not include installation. Customers should contact their contractor for a customized quote.
Annual and Life Cycle Costs and Savings for 1 Central Air Conditioner(s)
| 1 ENERGY STAR Qualified Units |  |  | 1 Conventional Units |  | Savings with ENERGY STAR
Annual Operating Costs*
Energy cost |  | 472.8533 |  |  | 627.873 |  | 155.0197
Energy consumption (kWh) |  | 4465.0924 |  |  | 5928.9231 |  | 1463.8307
Maintenance cost |  | 0 |  |  | 0 |  | 0
Total |  | 472.8533 |  |  | 627.873 |  | 155.0197
Life Cycle Costs*
Operating costs (energy and maintenance) |  | 4994.8074 |  |  | 6632.2992 |  | 1637.4918
Energy costs |  | 4994.8074 |  |  | 6632.2992 |  | 1637.4918
Energy consumption (kWh) |  | 62511.2938 |  |  | 83004.9231 |  | 20493.6293
Maintenance costs |  | 0 |  |  | 0 |  | 0
Purchase price for 1 unit(s) |  | 1219 |  |  | 1126 |  | -93
Total |  | 6213.8074 |  |  | 7758.2992 |  | 1544.4918
[6 empty] | Simple payback of initial additional cost (years)† | 0.59992
* Annual costs exclude the initial purchase price. All costs, except initial cost, are discounted over the products' lifetime using a real discount rate of 4%. See "Assumptions" to change factors including the discount rate.
† A simple payback period of zero years means that the payback is immediate.
Summary of Benefits for 1 Central Air Conditioner(s)
Initial cost difference | [6 empty] | 93
Life cycle savings | [6 empty] | 1637.4918
Net life cycle savings (life cycle savings - additional cost) | [6 empty] | 1544.4918
Simple payback of additional cost (years) | [6 empty] | 0.59992
Life cycle energy saved (kWh) | [6 empty] | 20493.6293
Life cycle air pollution reduction (lbs of CO2) | [6 empty] | 31560.1891
Air pollution reduction equivalence (number of cars removed from the road for a year) | [6 empty] | 2.6219
Air pollution reduction equivalence (acres of forest) | [6 empty] | 3.2536
Savings as a percent of retail price | [6 empty] | 126.7%
Choose your city from the menu at right

## Assumptions
Assumptions for Central Air Conditioners
| Category | Value |  | Data Source
Power
ENERGY STAR Qualified Unit
| Initial Cost Per Unit |  |  |  | 2 | 2.5 ton
| 2.5 ton | 1149 |  | Industry Data 2007 | 2 | 3 ton
| 3 ton | 1219 |  | Industry Data 2007 |  | 3.5 ton
| 3.5 ton | 1371 |  | Industry Data 2007 |  | 4 ton
| 4 ton | 1455 |  | Industry Data 2007 |  | 5 ton
| 5 ton | 1685 |  | Industry Data 2007
| Seasonal Energy Efficiency Ratio(SEER) rating | 14.5 |  | EPA 2009
| Cooling Capacity of Air Conditioner (Btu/hr) | 36000 | Btu/hr | Calculated
| Lifetime | 14 | years | EPA 2006
Conventional Unit
Initial Cost Per Unit
| 2.5 ton | 1110 |  | Industry Data 2007
| 3 ton | 1126 |  | Industry Data 2007
| 3.5 ton | 1275 |  | Industry Data 2007
| 4 ton | 1385 |  | Industry Data 2007
| 5 ton | 1581 |  | Industry Data 2007
| Seasonal Energy Efficiency Ratio(SEER) rating | 13 |  | EPA 2007
| Cooling Capacity of Air Conditioner (Btu/hr) | 36000 | Btu/hr | Calculated | 1 | Yes | ES
| Lifetime | 14 | years | EPA 2006 | 2 | No | Conventional
Maintenance
| Labor cost (per hour) | 20 |  | EPA 2004
| Labor time (hours) | 0 |  | EPA 2004
Usage
Full-Load Cooling Hours
| Full-Load Cooling Hours for Selected Location | 2141 |  | ARI Unitary Directory, August 1, 1992 - January 31, 1993
Discount Rate
| Commercial and Residential Discount Rate (real) | 4% |  | A real discount rate of 4 percent is assumed, which is roughly equivalent to the nominal discount rate of 7 percent (4 percent real discount rate + 3 percent inflation rate).
| Programable Thermostat Discount Rate | 16% |  | LBNL 2007 (Based on minimum estimated savings)
Energy and Water Prices
| Commercial Electricity Price | 0.0952 | $/kWh | EIA 2008
| Residential Electricity Price | 0.1059 | $/kWh | EIA 2008
Carbon Dioxide Emissions Factors
| Electricity Carbon Emission Factor | 1.54 | lbs CO2/kWh | EPA 2008
CO2 Equivalents
| Annual CO2 sequestration per forested acre | 9700 | lbs CO2/year | EPA 2007
| Annual CO2 emissions for "average" passenger car | 12037 | lbs CO2/year | EPA 2007
Usage
Full-Load Cooling Hours
13 | Full-Load Cooling Hours for Selected Location | 2141 |  | EPA 2002 |  |  | AK-Anchorage
1 | AK-Anchorage | 0 |  | EPA 2002 |  |  | AK-Barrow
2 | AK-Barrow | 0 |  | EPA 2002 |  |  | AK-Fairbanks
3 | AK-Fairbanks | 129 |  | EPA 2002 |  |  | AK-Juneau
4 | AK-Juneau | 0 |  | EPA 2002 |  |  | AK-Nome
5 | AK-Nome | 0 |  | EPA 2002 |  |  | AL-Birmingham
6 | AL-Birmingham | 1557 |  | EPA 2002 |  |  | AL-Huntsville
7 | AL-Huntsville | 1464 |  | EPA 2002 |  |  | AL-Mobile
8 | AL-Mobile | 2265 |  | EPA 2002 |  |  | AL-Montgomery
9 | AL-Montgomery | 1819 |  | EPA 2002 |  |  | AR-Fort Smith
10 | AR-Fort Smith | 1432 |  | EPA 2002 |  |  | AR-Little Rock
11 | AR-Little Rock | 1583 |  | EPA 2002 |  |  | AZ-Flagstaff
12 | AZ-Flagstaff | 179 |  | EPA 2002 |  |  | AZ-Phoenix
13 | AZ-Phoenix | 2141 |  | EPA 2002 |  |  | AZ-Tucson
14 | AZ-Tucson | 1842 |  | EPA 2002 |  |  | AZ-Winslow
15 | AZ-Winslow | 950 |  | EPA 2002 |  |  | AZ-Yuma
16 | AZ-Yuma | 2315 |  | EPA 2002 |  |  | CA-Beverly Hills
17 | CA-Beverly Hills | 1166 |  | EPA 2002 |  |  | CA-Los Angeles
18 | CA-Los Angeles | 1530 |  | EPA 2002 |  |  | CA-Palm Springs
19 | CA-Palm Springs | 2092 |  | EPA 2002 |  |  | CA-Sacramento
20 | CA-Sacramento | 871 |  | EPA 2002 |  |  | CA-San Diego
21 | CA-San Diego | 1347 |  | EPA 2002 |  |  | CA-San Francisco
22 | CA-San Francisco | 224 |  | EPA 2002 |  |  | CA-Stockton
23 | CA-Stockton | 1158 |  | EPA 2002 |  |  | CO-Alamosa
24 | CO-Alamosa | 97 |  | EPA 2002 |  |  | CO-Colorado Springs
25 | CO-Colorado Springs | 523 |  | EPA 2002 |  |  | CO-Denver
26 | CO-Denver | 628 |  | EPA 2002 |  |  | CO-Grand Junction
27 | CO-Grand Junction | 997 |  | EPA 2002 |  |  | CO-Pueblo
28 | CO-Pueblo | 834 |  | EPA 2002 |  |  | CT-Bridgeport
29 | CT-Bridgeport | 942 |  | EPA 2002 |  |  | CT-Hartford
30 | CT-Hartford | 695 |  | EPA 2002 |  |  | DC-Washington
31 | DC-Washington | 1320 |  | EPA 2002 |  |  | DE-Wilmington
32 | DE-Wilmington | 1015 |  | EPA 2002 |  |  | FL-Daytona Beach
33 | FL-Daytona Beach | 2763 |  | EPA 2002 |  |  | FL-Fort Myers
34 | FL-Fort Myers | 3288 |  | EPA 2002 |  |  | FL-Gainesville
35 | FL-Gainesville | 2228 |  | EPA 2002 |  |  | FL-Jacksonville
36 | FL-Jacksonville | 2086 |  | EPA 2002 |  |  | FL-Key West
37 | FL-Key West | 4566 |  | EPA 2002 |  |  | FL-Miami
38 | FL-Miami | 3931 |  | EPA 2002 |  |  | FL-Orlando
39 | FL-Orlando | 2915 |  | EPA 2002 |  |  | FL-Pensacola
40 | FL-Pensacola | 2297 |  | EPA 2002 |  |  | FL-Tallahassee
41 | FL-Tallahassee | 2215 |  | EPA 2002 |  |  | FL-Tampa
42 | FL-Tampa | 3068 |  | EPA 2002 |  |  | FL-W. Palm Beach
43 | FL-W. Palm Beach | 3479 |  | EPA 2002 |  |  | GA-Athens
44 | GA-Athens | 1493 |  | EPA 2002 |  |  | GA-Atlanta
45 | GA-Atlanta | 1484 |  | EPA 2002 |  |  | GA-Augusta
46 | GA-Augusta | 1548 |  | EPA 2002 |  |  | GA-Columbus
47 | GA-Columbus | 1845 |  | EPA 2002 |  |  | GA-Macon
48 | GA-Macon | 1900 |  | EPA 2002 |  |  | GA-Savannah
49 | GA-Savannah | 1963 |  | EPA 2002 |  |  | HI-Hilo
50 | HI-Hilo | 4179 |  | EPA 2002 |  |  | HI-Honolulu
51 | HI-Honolulu | 5016 |  | EPA 2002 |  |  | IA-Des Moines
52 | IA-Des Moines | 941 |  | EPA 2002 |  |  | IA-Dubuque
53 | IA-Dubuque | 605 |  | EPA 2002 |  |  | IA-Sioux City
54 | IA-Sioux City | 836 |  | EPA 2002 |  |  | IA-Waterloo
55 | IA-Waterloo | 667 |  | EPA 2002 |  |  | ID-Boise
56 | ID-Boise | 614 |  | EPA 2002 |  |  | ID-Lewiston
57 | ID-Lewiston | 636 |  | EPA 2002 |  |  | ID-Pocatello
58 | ID-Pocatello | 411 |  | EPA 2002 |  |  | IL-Chicago
59 | IL-Chicago | 683 |  | EPA 2002 |  |  | IL-Moline
60 | IL-Moline | 830 |  | EPA 2002 |  |  | IL-Peoria
61 | IL-Peoria | 948 |  | EPA 2002 |  |  | IL-Rockford
62 | IL-Rockford | 714 |  | EPA 2002 |  |  | IL-Springfield
63 | IL-Springfield | 1036 |  | EPA 2002 |  |  | IN-Evansville
64 | IN-Evansville | 1181 |  | EPA 2002 |  |  | IN-Fort Wayne
65 | IN-Fort Wayne | 786 |  | EPA 2002 |  |  | IN-Indianapolis
66 | IN-Indianapolis | 948 |  | EPA 2002 |  |  | IN-South Bend
67 | IN-South Bend | 710 |  | EPA 2002 |  |  | KS-Dodge City
68 | KS-Dodge City | 1109 |  | EPA 2002 |  |  | KS-Goodland
69 | KS-Goodland | 723 |  | EPA 2002 |  |  | KS-Topeka
70 | KS-Topeka | 1068 |  | EPA 2002 |  |  | KS-Wichita
71 | KS-Wichita | 1225 |  | EPA 2002 |  |  | KY-Lexington
72 | KY-Lexington | 1080 |  | EPA 2002 |  |  | KY-Louisville
73 | KY-Louisville | 1150 |  | EPA 2002 |  |  | KY-Paducah
74 | KY-Paducah | 1193 |  | EPA 2002 |  |  | LA-Baton Rouge
75 | LA-Baton Rouge | 2233 |  | EPA 2002 |  |  | LA-Lake Charles
76 | LA-Lake Charles | 2299 |  | EPA 2002 |  |  | LA-New Orleans
77 | LA-New Orleans | 2388 |  | EPA 2002 |  |  | LA-Shreveport
78 | LA-Shreveport | 1892 |  | EPA 2002 |  |  | MA-Boston
79 | MA-Boston | 729 |  | EPA 2002 |  |  | MA-Worcester
80 | MA-Worcester | 453 |  | EPA 2002 |  |  | MD-Baltimore
81 | MD-Baltimore | 1050 |  | EPA 2002 |  |  | ME-Caribou
82 | ME-Caribou | 220 |  | EPA 2002 |  |  | ME-Portland
83 | ME-Portland | 321 |  | EPA 2002 |  |  | MI-Alpena
84 | MI-Alpena | 216 |  | EPA 2002 |  |  | MI-Detroit
85 | MI-Detroit | 642 |  | EPA 2002 |  |  | MI-Flint
86 | MI-Flint | 497 |  | EPA 2002 |  |  | MI-Grand Rapids
87 | MI-Grand Rapids | 595 |  | EPA 2002 |  |  | MI-Lansing
88 | MI-Lansing | 578 |  | EPA 2002 |  |  | MI-Marquette
89 | MI-Marquette | 222 |  | EPA 2002 |  |  | MI-Muskegon
90 | MI-Muskegon | 570 |  | EPA 2002 |  |  | MI-Sault St Marie
91 | MI-Sault St Marie | 196 |  | EPA 2002 |  |  | MN-Duluth
92 | MN-Duluth | 212 |  | EPA 2002 |  |  | MN-International Falls
93 | MN-International Falls | 288 |  | EPA 2002 |  |  | MN-Minneapolis
94 | MN-Minneapolis | 662 |  | EPA 2002 |  |  | MN-Rochester
95 | MN-Rochester | 523 |  | EPA 2002 |  |  | MN-St. Cloud
96 | MN-St. Cloud | 414 |  | EPA 2002 |  |  | MO-Columbia
97 | MO-Columbia | 1050 |  | EPA 2002 |  |  | MO-Kansas City
98 | MO-Kansas City | 1032 |  | EPA 2002 |  |  | MO-Springfield
99 | MO-Springfield | 1178 |  | EPA 2002 |  |  | MO-St. Louis
100 | MO-St. Louis | 1215 |  | EPA 2002 |  |  | MS-Jackson
101 | MS-Jackson | 1832 |  | EPA 2002 |  |  | MS-Meridian
102 | MS-Meridian | 1726 |  | EPA 2002 |  |  | MS-Tupelo
103 | MS-Tupelo | 1623 |  | EPA 2002 |  |  | MT-Billings
104 | MT-Billings | 510 |  | EPA 2002 |  |  | MT-Glasgow
105 | MT-Glasgow | 465 |  | EPA 2002 |  |  | MT-Great Falls
106 | MT-Great Falls | 408 |  | EPA 2002 |  |  | MT-Havre
107 | MT-Havre | 403 |  | EPA 2002 |  |  | MT-Helena
108 | MT-Helena | 307 |  | EPA 2002 |  |  | MT-Kalispell
109 | MT-Kalispell | 193 |  | EPA 2002 |  |  | MT-Miles city
110 | MT-Miles city | 621 |  | EPA 2002 |  |  | MT-Missoula
111 | MT-Missoula | 225 |  | EPA 2002 |  |  | NC-Asheville
112 | NC-Asheville | 919 |  | EPA 2002 |  |  | NC-Charlotte
113 | NC-Charlotte | 1325 |  | EPA 2002 |  |  | NC-Greensboro
114 | NC-Greensboro | 1203 |  | EPA 2002 |  |  | NC-Raleigh
115 | NC-Raleigh | 1239 |  | EPA 2002 |  |  | NC-Wilmington
116 | NC-Wilmington | 1758 |  | EPA 2002 |  |  | ND-Bismarck
117 | ND-Bismarck | 437 |  | EPA 2002 |  |  | ND-Fargo
118 | ND-Fargo | 476 |  | EPA 2002 |  |  | ND-Williston
119 | ND-Williston | 459 |  | EPA 2002 |  |  | NE-Grand Island
120 | NE-Grand Island | 851 |  | EPA 2002 |  |  | NE-Lincoln
121 | NE-Lincoln | 899 |  | EPA 2002 |  |  | NE-Norfolk
122 | NE-Norfolk | 801 |  | EPA 2002 |  |  | NE-North Platte
123 | NE-North Platte | 640 |  | EPA 2002 |  |  | NE-Omaha
124 | NE-Omaha | 890 |  | EPA 2002 |  |  | NE-Scottsbluff
125 | NE-Scottsbluff | 647 |  | EPA 2002 |  |  | NH-Concord
126 | NH-Concord | 385 |  | EPA 2002 |  |  | NJ-Atlantic City
127 | NJ-Atlantic City | 832 |  | EPA 2002 |  |  | NJ-Newark
128 | NJ-Newark | 1007 |  | EPA 2002 |  |  | NM-Albuquerque
129 | NM-Albuquerque | 1038 |  | EPA 2002 |  |  | NM-Roswell
130 | NM-Roswell | 1355 |  | EPA 2002 |  |  | NV-Elko
131 | NV-Elko | 361 |  | EPA 2002 |  |  | NV-Ely
132 | NV-Ely | 209 |  | EPA 2002 |  |  | NV-Las Vegas
133 | NV-Las Vegas | 1773 |  | EPA 2002 |  |  | NV-Reno
134 | NV-Reno | 317 |  | EPA 2002 |  |  | NV-Winnemucca
135 | NV-Winnemucca | 418 |  | EPA 2002 |  |  | NY-Albany
136 | NY-Albany | 515 |  | EPA 2002 |  |  | NY-Binghamton
137 | NY-Binghamton | 440 |  | EPA 2002 |  |  | NY-Buffalo
138 | NY-Buffalo | 571 |  | EPA 2002 |  |  | NY-New York
139 | NY-New York | 1089 |  | EPA 2002 |  |  | NY-Rochester
140 | NY-Rochester | 554 |  | EPA 2002 |  |  | NY-Syracuse
141 | NY-Syracuse | 552 |  | EPA 2002 |  |  | OH-Akron
142 | OH-Akron | 714 |  | EPA 2002 |  |  | OH-Cincinnati
143 | OH-Cincinnati | 996 |  | EPA 2002 |  |  | OH-Cleveland
144 | OH-Cleveland | 639 |  | EPA 2002 |  |  | OH-Columbus
145 | OH-Columbus | 828 |  | EPA 2002 |  |  | OH-Dayton
146 | OH-Dayton | 947 |  | EPA 2002 |  |  | OH-Mansfield
147 | OH-Mansfield | 711 |  | EPA 2002 |  |  | OH-Toledo
148 | OH-Toledo | 649 |  | EPA 2002 |  |  | OH-Youngstown
149 | OH-Youngstown | 554 |  | EPA 2002 |  |  | OK-Oklahoma City
150 | OK-Oklahoma City | 1436 |  | EPA 2002 |  |  | OK-Tulsa
151 | OK-Tulsa | 1486 |  | EPA 2002 |  |  | OR-Astoria
152 | OR-Astoria | 56 |  | EPA 2002 |  |  | OR-Eugene
153 | OR-Eugene | 261 |  | EPA 2002 |  |  | OR-Medford
154 | OR-Medford | 534 |  | EPA 2002 |  |  | OR-Pendleton
155 | OR-Pendleton | 622 |  | EPA 2002 |  |  | OR-Portland
156 | OR-Portland | 379 |  | EPA 2002 |  |  | OR-Salem
157 | OR-Salem | 248 |  | EPA 2002 |  |  | PA-Allentown
158 | PA-Allentown | 784 |  | EPA 2002 |  |  | PA-Erie
159 | PA-Erie | 482 |  | EPA 2002 |  |  | PA-Harrisburg
160 | PA-Harrisburg | 929 |  | EPA 2002 |  |  | PA-Philadelphia
161 | PA-Philadelphia | 1032 |  | EPA 2002 |  |  | PA-Pittsburgh
162 | PA-Pittsburgh | 737 |  | EPA 2002 |  |  | PA-Scranton
163 | PA-Scranton | 621 |  | EPA 2002 |  |  | PA-Williamsport
164 | PA-Williamsport | 659 |  | EPA 2002 |  |  | RI-Providence
165 | RI-Providence | 656 |  | EPA 2002 |  |  | SC-Charleston
166 | SC-Charleston | 2127 |  | EPA 2002 |  |  | SC-Columbia
167 | SC-Columbia | 1626 |  | EPA 2002 |  |  | SC-Greenville
168 | SC-Greenville | 1386 |  | EPA 2002 |  |  | SD-Aberdeen
169 | SD-Aberdeen | 544 |  | EPA 2002 |  |  | SD-Huron
170 | SD-Huron | 633 |  | EPA 2002 |  |  | SD-Rapid City
171 | SD-Rapid City | 593 |  | EPA 2002 |  |  | SD-Sioux Falls
172 | SD-Sioux Falls | 691 |  | EPA 2002 |  |  | TN-Bristol
173 | TN-Bristol | 1066 |  | EPA 2002 |  |  | TN-Chattanooga
174 | TN-Chattanooga | 1353 |  | EPA 2002 |  |  | TN-Knoxville
175 | TN-Knoxville | 1288 |  | EPA 2002 |  |  | TN-Memphis
176 | TN-Memphis | 1654 |  | EPA 2002 |  |  | TN-Nashville
177 | TN-Nashville | 1375 |  | EPA 2002 |  |  | TX-Abilene
178 | TX-Abilene | 1741 |  | EPA 2002 |  |  | TX-Amarillo
179 | TX-Amarillo | 1142 |  | EPA 2002 |  |  | TX-Austin
180 | TX-Austin | 2412 |  | EPA 2002 |  |  | TX-Brownsville
181 | TX-Brownsville | 3233 |  | EPA 2002 |  |  | TX-Corpus Christi
182 | TX-Corpus Christi | 2958 |  | EPA 2002 |  |  | TX-Dallas
183 | TX-Dallas | 1926 |  | EPA 2002 |  |  | TX-Del Rio
184 | TX-Del Rio | 2380 |  | EPA 2002 |  |  | TX-El Paso
185 | TX-El Paso | 1524 |  | EPA 2002 |  |  | TX-Galveston
186 | TX-Galveston | 2967 |  | EPA 2002 |  |  | TX-Houston
187 | TX-Houston | 2209 |  | EPA 2002 |  |  | TX-Lubbock
188 | TX-Lubbock | 1298 |  | EPA 2002 |  |  | TX-Midland
189 | TX-Midland | 1546 |  | EPA 2002 |  |  | TX-Port Arthur
190 | TX-Port Arthur | 2452 |  | EPA 2002 |  |  | TX-San Angelo
191 | TX-San Angelo | 2225 |  | EPA 2002 |  |  | TX-San Antonio
192 | TX-San Antonio | 2237 |  | EPA 2002 |  |  | TX-Victoria
193 | TX-Victoria | 2465 |  | EPA 2002 |  |  | TX-Waco
194 | TX-Waco | 2041 |  | EPA 2002 |  |  | TX-Wichita Falls
195 | TX-Wichita Falls | 1671 |  | EPA 2002 |  |  | UT-Salt Lake City
196 | UT-Salt Lake City | 785 |  | EPA 2002 |  |  | VA-Lynchburg
197 | VA-Lynchburg | 1031 |  | EPA 2002 |  |  | VA-Norfolk
198 | VA-Norfolk | 1346 |  | EPA 2002 |  |  | VA-Richmond
199 | VA-Richmond | 1188 |  | EPA 2002 |  |  | VA-Roanoke
200 | VA-Roanoke | 1002 |  | EPA 2002 |  |  | VT-Burlington
201 | VT-Burlington | 455 |  | EPA 2002 |  |  | WA-Olympia
202 | WA-Olympia | 125 |  | EPA 2002 |  |  | WA-Seattle
203 | WA-Seattle | 282 |  | EPA 2002 |  |  | WA-Spokane
204 | WA-Spokane | 395 |  | EPA 2002 |  |  | WA-Walla Walla
205 | WA-Walla Walla | 714 |  | EPA 2002 |  |  | WA-Yakima
206 | WA-Yakima | 415 |  | EPA 2002 |  |  | WI-Green Bay
207 | WI-Green Bay | 457 |  | EPA 2002 |  |  | WI-La Crosse
208 | WI-La Crosse | 713 |  | EPA 2002 |  |  | WI-Madison
209 | WI-Madison | 487 |  | EPA 2002 |  |  | WI-Milwaukee
210 | WI-Milwaukee | 513 |  | EPA 2002 |  |  | WV-Beckley
211 | WV-Beckley | 699 |  | EPA 2002 |  |  | WV-Charleston
212 | WV-Charleston | 967 |  | EPA 2002 |  |  | WV-Elkins
213 | WV-Elkins | 477 |  | EPA 2002 |  |  | WV-Huntington
214 | WV-Huntington | 1035 |  | EPA 2002 |  |  | WY-Casper
215 | WY-Casper | 439 |  | EPA 2002 |  |  | WY-Cheyenne
216 | WY-Cheyenne | 353 |  | EPA 2002 |  |  | WY-Lander
217 | WY-Lander | 455 |  | EPA 2002 |  |  | WY-Sheridan
218 | WY-Sheridan | 387 |  | EPA 2002
| For questions or comments, please send your email to: | Escalcs@cadmusgroup.com
Calculator last updated: 01/09